## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2932-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2932-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2932-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2932-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2932-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2932-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2932-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2932-8_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2932-8_0_3_node_99 | 0.4 | n |  | TRUE
9 | bus_LV_2932-8_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_2932-8_0_3_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_2932-8_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2932-8_0_3_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_2932-8_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2932-8_0_3_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_2932-8_0_3_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_2932-8_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2932-8_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2932-8_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2932-8_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2932-8_0_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_2932-8_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2932-8_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2932-8_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2932-8_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2932-8_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2932-8_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2932-8_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2932-8_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2932-8_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2932-8_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2932-8_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2932-8_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2932-8_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2932-8_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_2932-8_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_2932-8_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2932-8_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2932-8_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2932-8_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2932-8_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_2932-8_0_3_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_2932-8_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2932-8_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_2932-8_0_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_2932-8_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_2932-8_0_3_node_188 | 0.4 | n |  | TRUE
47 | bus_LV_2932-8_0_3_node_189 | 0.4 | n |  | TRUE
48 | bus_LV_2932-8_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_2932-8_0_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_2932-8_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_2932-8_0_3_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_2932-8_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_2932-8_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_2932-8_0_3_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_2932-8_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_2932-8_0_3_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_2932-8_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_2932-8_0_3_node_90 | 0.4 | n |  | TRUE
59 | bus_LV_2932-8_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_2932-8_0_3_node_88 | 0.4 | n |  | TRUE
61 | bus_LV_2932-8_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_2932-8_0_3_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_2932-8_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_2932-8_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_2932-8_0_3_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_2932-8_0_3_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_2932-8_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_2932-8_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_2932-8_0_3_node_187 | 0.4 | n |  | TRUE
70 | bus_LV_2932-8_0_3_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_2932-8_0_3_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_2932-8_0_3_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_2932-8_0_3_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_2932-8_0_3_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_2932-8_0_3_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_2932-8_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_2932-8_0_3_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_2932-8_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_2932-8_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_2932-8_0_3_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_2932-8_0_3_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_2932-8_0_3_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_2932-8_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_2932-8_0_3_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_2932-8_0_3_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_2932-8_0_3_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_2932-8_0_3_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_2932-8_0_3_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_2932-8_0_3_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_2932-8_0_3_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_2932-8_0_3_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_2932-8_0_3_node_98 | 0.4 | n |  | TRUE
93 | bus_LV_2932-8_0_3_node_100 | 0.4 | n |  | TRUE
94 | bus_LV_2932-8_0_3_node_101 | 0.4 | n |  | TRUE
95 | bus_MV_400_1_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2932-8_0_3_load_0 | 0 | 0.0097158 | 0.002435 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2932-8_0_3_load_3 | 3 | 0.0059322 | 0.0014868 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2932-8_0_3_load_4 | 4 | 0.0041103 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2932-8_0_3_load_5 | 5 | 0.0028039 | 0.00070271 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2932-8_0_3_load_6 | 6 | 0.003321 | 0.00083232 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2932-8_0_3_load_7 | 7 | 0.0092139 | 0.0023092 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2932-8_0_3_load_99 | 8 | 0.0037536 | 0.00094074 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2932-8_0_3_load_14 | 9 | 0.0018077 | 0.00045304 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2932-8_0_3_load_46 | 10 | 0.0080221 | 0.0020105 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2932-8_0_3_load_8 | 11 | 0.0036262 | 0.00090882 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2932-8_0_3_load_13 | 13 | 0.0088541 | 0.0022191 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2932-8_0_3_load_44 | 15 | 0.0062862 | 0.0015755 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2932-8_0_3_load_9 | 16 | 0.0030175 | 0.00075626 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2932-8_0_3_load_10 | 17 | 0.0080468 | 0.0020167 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2932-8_0_3_load_11 | 18 | 0.0022218 | 0.00055683 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2932-8_0_3_load_12 | 19 | 0.0015987 | 0.00040068 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2932-8_0_3_load_51 | 20 | 0.0016174 | 0.00040536 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2932-8_0_3_load_23 | 21 | 0.0034445 | 0.00086328 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2932-8_0_3_load_15 | 22 | 0.0016361 | 0.00041004 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2932-8_0_3_load_16 | 23 | 0.0017534 | 0.00043944 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2932-8_0_3_load_17 | 24 | 0.0019139 | 0.00047968 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2932-8_0_3_load_18 | 25 | 0.0027255 | 0.00068307 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2932-8_0_3_load_25 | 26 | 0.0012185 | 0.00030539 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2932-8_0_3_load_26 | 27 | 0.0012472 | 0.00031257 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2932-8_0_3_load_19 | 28 | 0.0034154 | 0.00085598 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2932-8_0_3_load_20 | 29 | 0.0025685 | 0.00064372 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2932-8_0_3_load_21 | 30 | 0.0035486 | 0.00088935 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2932-8_0_3_load_22 | 31 | 0.0072043 | 0.0018056 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2932-8_0_3_load_24 | 32 | 0.0037812 | 0.00094767 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2932-8_0_3_load_28 | 34 | 0.0026011 | 0.00065188 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2932-8_0_3_load_29 | 35 | 0.0035164 | 0.0008813 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2932-8_0_3_load_30 | 36 | 0.0022673 | 0.00056825 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2932-8_0_3_load_35 | 37 | 0.0016792 | 0.00042085 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2932-8_0_3_load_33 | 38 | 0.0019671 | 0.00049301 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2932-8_0_3_load_31 | 39 | 0.0014249 | 0.00035712 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2932-8_0_3_load_49 | 40 | 0.0028953 | 0.00072563 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2932-8_0_3_load_34 | 42 | 0.00096487 | 0.00024182 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2932-8_0_3_load_42 | 43 | 0.0073102 | 0.0018321 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2932-8_0_3_load_43 | 44 | 0.0030335 | 0.00076026 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2932-8_0_3_load_45 | 45 | 0.0012694 | 0.00031814 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2932-8_0_3_load_189 | 47 | 0.004134 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2932-8_0_3_load_57 | 48 | 0.0024146 | 0.00060515 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2932-8_0_3_load_58 | 49 | 0.0023743 | 0.00059507 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2932-8_0_3_load_59 | 50 | 0.0031591 | 0.00079175 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2932-8_0_3_load_65 | 51 | 0.004852 | 0.001216 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2932-8_0_3_load_52 | 52 | 0.0021276 | 0.00053323 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2932-8_0_3_load_53 | 53 | 0.0028203 | 0.00070684 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2932-8_0_3_load_54 | 54 | 0.0026202 | 0.00065667 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2932-8_0_3_load_55 | 55 | 0.0025491 | 0.00063888 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2932-8_0_3_load_56 | 56 | 0.0021187 | 0.00053099 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2932-8_0_3_load_61 | 57 | 0.0036649 | 0.00091851 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2932-8_0_3_load_90 | 58 | 0.0018358 | 0.0004601 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2932-8_0_3_load_62 | 59 | 0.0035384 | 0.00088681 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2932-8_0_3_load_64 | 63 | 0.0030617 | 0.00076734 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2932-8_0_3_load_63 | 64 | 0.0027295 | 0.00068408 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2932-8_0_3_load_71 | 65 | 0.0040435 | 0.0010134 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2932-8_0_3_load_72 | 66 | 0.0027731 | 0.00069501 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2932-8_0_3_load_67 | 67 | 0.0038366 | 0.00096154 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2932-8_0_3_load_68 | 68 | 0.0014982 | 0.00037549 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2932-8_0_3_load_187 | 69 | 0.00058391 | 0.00014634 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2932-8_0_3_load_69 | 70 | 0.0028061 | 0.00070327 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2932-8_0_3_load_73 | 71 | 0.0031728 | 0.00079518 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2932-8_0_3_load_74 | 72 | 0.0040953 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2932-8_0_3_load_75 | 73 | 0.0032324 | 0.00081011 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2932-8_0_3_load_77 | 75 | 0.0044966 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2932-8_0_3_load_79 | 76 | 0.0034411 | 0.00086243 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2932-8_0_3_load_80 | 77 | 0.0019642 | 0.00049227 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2932-8_0_3_load_82 | 78 | 0.0033237 | 0.00083299 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2932-8_0_3_load_83 | 79 | 0.0022416 | 0.00056179 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2932-8_0_3_load_81 | 80 | 0.0021231 | 0.00053211 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2932-8_0_3_load_86 | 81 | 0.0022435 | 0.00056228 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2932-8_0_3_load_87 | 82 | 0.0031257 | 0.00078338 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2932-8_0_3_load_85 | 84 | 0.0017667 | 0.00044277 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2932-8_0_3_load_94 | 85 | 0.003092 | 0.00077493 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2932-8_0_3_load_89 | 87 | 0.0026497 | 0.00066407 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2932-8_0_3_load_91 | 88 | 0.0021952 | 0.00055017 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2932-8_0_3_load_93 | 89 | 0.001806 | 0.00045262 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2932-8_0_3_load_95 | 90 | 0.0035754 | 0.00089608 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2932-8_0_3_load_98 | 92 | 0.0032797 | 0.00082196 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2932-8_0_3_load_100 | 93 | 0.0022799 | 0.00057139 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2932-8_0_3_load_101 | 94 | 0.0020057 | 0.00050267 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2932-8_0_3_line_0 |  | 0 | 1 | 0.054487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2932-8_0_3_line_1 |  | 0 | 2 | 0.032212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2932-8_0_3_line_2 |  | 1 | 3 | 0.014821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2932-8_0_3_line_3 |  | 1 | 4 | 0.013493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2932-8_0_3_line_4 |  | 2 | 5 | 0.039438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2932-8_0_3_line_5 |  | 2 | 6 | 0.020024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2932-8_0_3_line_6 |  | 3 | 7 | 0.014482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2932-8_0_3_line_7 |  | 4 | 8 | 0.019427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2932-8_0_3_line_8 |  | 5 | 9 | 0.026852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2932-8_0_3_line_9 |  | 6 | 10 | 0.011925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2932-8_0_3_line_10 |  | 7 | 11 | 0.011245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2932-8_0_3_line_11 |  | 8 | 12 | 0.026249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2932-8_0_3_line_12 |  | 9 | 13 | 0.0075806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2932-8_0_3_line_13 |  | 10 | 14 | 0.040507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2932-8_0_3_line_14 |  | 10 | 15 | 0.029415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2932-8_0_3_line_15 |  | 11 | 16 | 0.011539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2932-8_0_3_line_16 |  | 12 | 91 | 0.009965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2932-8_0_3_line_17 |  | 12 | 92 | 0.0084038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2932-8_0_3_line_18 |  | 13 | 22 | 0.0026497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2932-8_0_3_line_19 |  | 14 | 46 | 0.090458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2932-8_0_3_line_20 |  | 15 | 43 | 0.0091389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2932-8_0_3_line_21 |  | 16 | 17 | 0.025828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2932-8_0_3_line_22 |  | 17 | 18 | 1.7172e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2932-8_0_3_line_23 |  | 18 | 19 | 0.014967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2932-8_0_3_line_24 |  | 19 | 20 | 0.0044479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2932-8_0_3_line_25 |  | 20 | 21 | 0.0089665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2932-8_0_3_line_26 |  | 21 | 30 | 0.0045514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2932-8_0_3_line_27 |  | 22 | 23 | 0.011209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2932-8_0_3_line_28 |  | 23 | 24 | 0.010837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2932-8_0_3_line_29 |  | 24 | 25 | 0.010506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2932-8_0_3_line_30 |  | 25 | 26 | 0.0021253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2932-8_0_3_line_31 |  | 26 | 27 | 0.0036269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2932-8_0_3_line_32 |  | 27 | 37 | 0.0066433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2932-8_0_3_line_33 |  | 28 | 29 | 0.0054187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2932-8_0_3_line_34 |  | 28 | 30 | 0.0043777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2932-8_0_3_line_35 |  | 29 | 31 | 0.02012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2932-8_0_3_line_36 |  | 31 | 32 | 0.0096491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2932-8_0_3_line_37 |  | 32 | 33 | 0.014845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2932-8_0_3_line_38 |  | 33 | 34 | 0.031195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2932-8_0_3_line_39 |  | 33 | 35 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2932-8_0_3_line_40 |  | 33 | 36 | 0.090115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2932-8_0_3_line_41 |  | 34 | 39 | 0.037534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2932-8_0_3_line_42 |  | 35 | 40 | 0.038981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2932-8_0_3_line_43 |  | 37 | 38 | 0.015807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2932-8_0_3_line_44 |  | 38 | 42 | 0.004861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2932-8_0_3_line_45 |  | 40 | 41 | 0.0092399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2932-8_0_3_line_46 |  | 41 | 48 | 0.0036076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2932-8_0_3_line_47 |  | 41 | 49 | 0.026566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2932-8_0_3_line_48 |  | 43 | 44 | 0.022057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2932-8_0_3_line_49 |  | 44 | 45 | 0.034094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2932-8_0_3_line_50 |  | 46 | 47 | 0.032302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2932-8_0_3_line_51 |  | 48 | 50 | 0.021341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2932-8_0_3_line_52 |  | 49 | 51 | 0.044212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2932-8_0_3_line_53 |  | 50 | 61 | 0.013475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2932-8_0_3_line_54 |  | 51 | 62 | 0.04928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2932-8_0_3_line_55 |  | 52 | 53 | 0.0088274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2932-8_0_3_line_56 |  | 52 | 54 | 0.006358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2932-8_0_3_line_57 |  | 53 | 55 | 0.005653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2932-8_0_3_line_58 |  | 54 | 56 | 0.022627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2932-8_0_3_line_59 |  | 55 | 57 | 0.015835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2932-8_0_3_line_60 |  | 56 | 58 | 0.0098799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2932-8_0_3_line_61 |  | 57 | 59 | 0.0045637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2932-8_0_3_line_62 |  | 58 | 60 | 0.0040185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2932-8_0_3_line_63 |  | 59 | 64 | 0.0027802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2932-8_0_3_line_64 |  | 60 | 87 | 0.016913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2932-8_0_3_line_65 |  | 60 | 82 | 0.025102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2932-8_0_3_line_66 |  | 61 | 63 | 0.00041901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2932-8_0_3_line_67 |  | 62 | 67 | 0.035731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2932-8_0_3_line_68 |  | 62 | 68 | 0.051503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2932-8_0_3_line_69 |  | 62 | 69 | 0.038811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2932-8_0_3_line_70 |  | 63 | 65 | 0.021522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2932-8_0_3_line_71 |  | 65 | 66 | 0.0075054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2932-8_0_3_line_72 |  | 66 | 71 | 0.0044773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2932-8_0_3_line_73 |  | 67 | 70 | 0.015593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2932-8_0_3_line_74 |  | 71 | 72 | 0.015875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2932-8_0_3_line_75 |  | 72 | 73 | 0.0068223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2932-8_0_3_line_76 |  | 73 | 74 | 0.010468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2932-8_0_3_line_77 |  | 74 | 75 | 0.012738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2932-8_0_3_line_78 |  | 75 | 76 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2932-8_0_3_line_79 |  | 76 | 77 | 0.0024169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2932-8_0_3_line_80 |  | 77 | 80 | 0.027544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2932-8_0_3_line_81 |  | 78 | 79 | 0.025393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2932-8_0_3_line_82 |  | 79 | 83 | 0.0068035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2932-8_0_3_line_83 |  | 80 | 81 | 0.026877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2932-8_0_3_line_84 |  | 81 | 82 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2932-8_0_3_line_85 |  | 83 | 84 | 0.0096816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2932-8_0_3_line_86 |  | 84 | 85 | 0.030034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2932-8_0_3_line_87 |  | 85 | 86 | 0.012065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2932-8_0_3_line_88 |  | 86 | 89 | 0.025035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2932-8_0_3_line_89 |  | 86 | 88 | 0.0127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2932-8_0_3_line_90 |  | 87 | 88 | 0.0030535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2932-8_0_3_line_91 |  | 89 | 90 | 0.015411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2932-8_0_3_line_92 |  | 91 | 93 | 0.04069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2932-8_0_3_line_93 |  | 92 | 94 | 0.015663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2932-8_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 95 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2684845.5527 | 1283869.521 | 2684844.712 | 1283842.419 | 2684843.8612 | 1283815.0604
1 | 2684842.8598 | 1283782.8636 | 2684843.8612 | 1283815.0604
2 | 2684845.5527 | 1283869.521 | 2684860.3441 | 1283868.5765
3 | 2684845.5527 | 1283869.521 | 2684833.1948 | 1283874.9387
4 | 2684842.8598 | 1283782.8636 | 2684881.3316 | 1283774.1852
5 | 2684842.8598 | 1283782.8636 | 2684841.221 | 1283762.9064
6 | 2684874.7971 | 1283867.6535 | 2684860.3441 | 1283868.5765
7 | 2684816.6921 | 1283885.1379 | 2684830.9642 | 1283875.9166 | 2684833.1948 | 1283874.9387
8 | 2684881.3316 | 1283774.1852 | 2684907.5256 | 1283768.2765
9 | 2684840.2481 | 1283751.0209 | 2684840.6372 | 1283755.7973 | 2684841.221 | 1283762.9064
10 | 2684874.7971 | 1283867.6535 | 2684885.9035 | 1283866.9442 | 2684886.0177 | 1283866.9233
11 | 2684793.708 | 1283897.688 | 2684806.4504 | 1283891.7552 | 2684816.6921 | 1283885.1379
12 | 2684914.9204 | 1283766.6084 | 2684907.5256 | 1283768.2765
13 | 2684835.9034 | 1283710.7461 | 2684840.2481 | 1283751.0209
14 | 2684840.2481 | 1283751.0209 | 2684867.0032 | 1283738.7971
15 | 2684886.0177 | 1283866.9233 | 2684897.3686 | 1283864.8463
16 | 2684793.708 | 1283897.688 | 2684783.9407 | 1283899.8049
17 | 2684793.708 | 1283897.688 | 2684785.381 | 1283896.5538
18 | 2684917.5052 | 1283766.0253 | 2684914.9204 | 1283766.6084
19 | 2684751.5331 | 1283742.7265 | 2684768.718 | 1283737.4691 | 2684804.7186 | 1283725.7991 | 2684817.2224 | 1283720.3077 | 2684835.9034 | 1283710.7461
20 | 2684875.3156 | 1283734.9993 | 2684867.0032 | 1283738.7971
21 | 2684922.7746 | 1283860.1973 | 2684897.3686 | 1283864.8463
22 | 2684922.7746 | 1283860.1973 | 2684922.7915 | 1283860.1942
23 | 2684937.5137 | 1283857.5002 | 2684922.7915 | 1283860.1942
24 | 2684941.889 | 1283856.6996 | 2684937.5137 | 1283857.5002
25 | 2684941.889 | 1283856.6996 | 2684950.709 | 1283855.0856
26 | 2684950.709 | 1283855.0856 | 2684955.186 | 1283854.2664
27 | 2684917.5052 | 1283766.0253 | 2684928.4391 | 1283763.5589
28 | 2684939.0105 | 1283761.1742 | 2684928.4391 | 1283763.5589
29 | 2684939.0105 | 1283761.1742 | 2684949.2586 | 1283758.8625
30 | 2684951.3318 | 1283758.3948 | 2684949.2586 | 1283758.8625
31 | 2684951.3318 | 1283758.3948 | 2684954.8698 | 1283757.5968
32 | 2684954.8698 | 1283757.5968 | 2684961.3503 | 1283756.1349
33 | 2684959.4922 | 1283853.4784 | 2684964.8224 | 1283852.503
34 | 2684955.186 | 1283854.2664 | 2684959.4922 | 1283853.4784
35 | 2684984.6136 | 1283848.8815 | 2684964.8224 | 1283852.503
36 | 2684994.1051 | 1283847.1446 | 2684984.6136 | 1283848.8815
37 | 2685008.7077 | 1283844.4725 | 2684994.1051 | 1283847.1446
38 | 2685008.7077 | 1283844.4725 | 2685008.6612 | 1283813.2778
39 | 2685008.7077 | 1283844.4725 | 2685006.0258 | 1283860.0896
40 | 2685008.7077 | 1283844.4725 | 2685055.9403 | 1283836.358 | 2685094.2724 | 1283818.7319
41 | 2685008.6612 | 1283813.2778 | 2685008.6052 | 1283775.7435
42 | 2685006.0258 | 1283860.0896 | 2684999.4282 | 1283898.5082
43 | 2684976.7701 | 1283752.6566 | 2684961.3503 | 1283756.1349
44 | 2684976.7701 | 1283752.6566 | 2684981.512 | 1283751.5869
45 | 2684997.8644 | 1283907.6148 | 2684999.4282 | 1283898.5082
46 | 2684997.8644 | 1283907.6148 | 2684997.0988 | 1283911.1402
47 | 2684997.8644 | 1283907.6148 | 2685023.9373 | 1283912.7086
48 | 2684875.3156 | 1283734.9993 | 2684892.4903 | 1283727.1526 | 2684895.2303 | 1283725.55
49 | 2684924.6602 | 1283708.3363 | 2684895.2303 | 1283725.55
50 | 2684751.5331 | 1283742.7265 | 2684755.7977 | 1283764.6066 | 2684763.368 | 1283771.1877
51 | 2684997.0988 | 1283911.1402 | 2684992.5698 | 1283931.9951
52 | 2685023.9373 | 1283912.7086 | 2685067.3289 | 1283921.1858
53 | 2684989.7103 | 1283945.1627 | 2684992.5698 | 1283931.9951
54 | 2685115.6942 | 1283930.6348 | 2685067.3289 | 1283921.1858
55 | 2684920.2001 | 1283937.0762 | 2684928.9684 | 1283938.0963
56 | 2684920.2001 | 1283937.0762 | 2684913.8847 | 1283936.3415
57 | 2684934.5835 | 1283938.7495 | 2684928.9684 | 1283938.0963
58 | 2684891.3767 | 1283934.085 | 2684898.7042 | 1283934.5755 | 2684913.8847 | 1283936.3415
59 | 2684950.3119 | 1283940.5793 | 2684934.5835 | 1283938.7495
60 | 2684881.7656 | 1283935.7992 | 2684888.5419 | 1283933.8952 | 2684891.3767 | 1283934.085
61 | 2684950.3119 | 1283940.5793 | 2684954.8451 | 1283941.1067
62 | 2684878.9911 | 1283938.7062 | 2684881.7656 | 1283935.7992
63 | 2684954.8451 | 1283941.1067 | 2684957.6066 | 1283941.4279
64 | 2684878.9911 | 1283938.7062 | 2684867.0377 | 1283950.6713
65 | 2684878.9911 | 1283938.7062 | 2684882.0417 | 1283947.3687 | 2684890.2584 | 1283961.0016
66 | 2684989.6297 | 1283945.5739 | 2684989.7103 | 1283945.1627
67 | 2685115.6942 | 1283930.6348 | 2685106.8999 | 1283965.2666
68 | 2685115.6942 | 1283930.6348 | 2685129.5166 | 1283881.0211
69 | 2685115.6942 | 1283930.6348 | 2685149.5702 | 1283949.5737
70 | 2684989.6297 | 1283945.5739 | 2684985.491 | 1283966.6944
71 | 2684984.0477 | 1283974.0597 | 2684985.491 | 1283966.6944
72 | 2684983.1867 | 1283978.4535 | 2684984.0477 | 1283974.0597
73 | 2685106.8999 | 1283965.2666 | 2685104.0486 | 1283976.4949 | 2685103.8449 | 1283980.4976
74 | 2684983.1867 | 1283978.4535 | 2684980.134 | 1283994.032
75 | 2684978.822 | 1284000.727 | 2684980.134 | 1283994.032
76 | 2684976.809 | 1284010.9999 | 2684978.822 | 1284000.727
77 | 2684976.809 | 1284010.9999 | 2684964.7927 | 1284006.7745
78 | 2684964.7927 | 1284006.7745 | 2684944.3975 | 1283999.6028
79 | 2684944.3975 | 1283999.6028 | 2684942.1175 | 1283998.8011
80 | 2684942.1175 | 1283998.8011 | 2684929.3202 | 1283994.3011 | 2684917.2988 | 1283987.167
81 | 2684914.0041 | 1284019.9115 | 2684911.6992 | 1284018.9128 | 2684900.648 | 1284013.2487 | 2684891.8826 | 1284007.536
82 | 2684886.1827 | 1284003.8212 | 2684891.8826 | 1284007.536
83 | 2684896.1327 | 1283970.7482 | 2684896.6392 | 1283971.5886 | 2684914.7238 | 1283985.6389 | 2684917.2988 | 1283987.167
84 | 2684896.1327 | 1283970.7482 | 2684890.2584 | 1283961.0016
85 | 2684886.1827 | 1284003.8212 | 2684880.5214 | 1283995.9673
86 | 2684862.9589 | 1283971.603 | 2684880.5214 | 1283995.9673
87 | 2684855.9041 | 1283961.8159 | 2684862.9589 | 1283971.603
88 | 2684855.9041 | 1283961.8159 | 2684839.1579 | 1283943.2066
89 | 2684855.9041 | 1283961.8159 | 2684864.8796 | 1283952.8315
90 | 2684864.8796 | 1283952.8315 | 2684867.0377 | 1283950.6713
91 | 2684839.1579 | 1283943.2066 | 2684828.8491 | 1283931.7508
92 | 2684783.9407 | 1283899.8049 | 2684788.6809 | 1283908.9698 | 2684796.4884 | 1283938.3207
93 | 2684785.381 | 1283896.5538 | 2684778.3709 | 1283895.599 | 2684773.278 | 1283893.7241 | 2684770.3113 | 1283892.6327

## bus_geodata
| x | y | coords
0 | 2684843.8612 | 1283815.0604
1 | 2684845.5527 | 1283869.521
2 | 2684842.8598 | 1283782.8636
3 | 2684860.3441 | 1283868.5765
4 | 2684833.1948 | 1283874.9387
5 | 2684881.3316 | 1283774.1852
6 | 2684841.221 | 1283762.9064
7 | 2684874.7971 | 1283867.6535
8 | 2684816.6921 | 1283885.1379
9 | 2684907.5256 | 1283768.2765
10 | 2684840.2481 | 1283751.0209
11 | 2684886.0177 | 1283866.9233
12 | 2684793.708 | 1283897.688
13 | 2684914.9204 | 1283766.6084
14 | 2684835.9034 | 1283710.7461
15 | 2684867.0032 | 1283738.7971
16 | 2684897.3686 | 1283864.8463
17 | 2684922.7746 | 1283860.1973
18 | 2684922.7915 | 1283860.1942
19 | 2684937.5137 | 1283857.5002
20 | 2684941.889 | 1283856.6996
21 | 2684950.709 | 1283855.0856
22 | 2684917.5052 | 1283766.0253
23 | 2684928.4391 | 1283763.5589
24 | 2684939.0105 | 1283761.1742
25 | 2684949.2586 | 1283758.8625
26 | 2684951.3318 | 1283758.3948
27 | 2684954.8698 | 1283757.5968
28 | 2684959.4922 | 1283853.4784
29 | 2684964.8224 | 1283852.503
30 | 2684955.186 | 1283854.2664
31 | 2684984.6136 | 1283848.8815
32 | 2684994.1051 | 1283847.1446
33 | 2685008.7077 | 1283844.4725
34 | 2685008.6612 | 1283813.2778
35 | 2685006.0258 | 1283860.0896
36 | 2685094.2724 | 1283818.7319
37 | 2684961.3503 | 1283756.1349
38 | 2684976.7701 | 1283752.6566
39 | 2685008.6052 | 1283775.7435
40 | 2684999.4282 | 1283898.5082
41 | 2684997.8644 | 1283907.6148
42 | 2684981.512 | 1283751.5869
43 | 2684875.3156 | 1283734.9993
44 | 2684895.2303 | 1283725.55
45 | 2684924.6602 | 1283708.3363
46 | 2684751.5331 | 1283742.7265
47 | 2684763.368 | 1283771.1877
48 | 2684997.0988 | 1283911.1402
49 | 2685023.9373 | 1283912.7086
50 | 2684992.5698 | 1283931.9951
51 | 2685067.3289 | 1283921.1858
52 | 2684920.2001 | 1283937.0762
53 | 2684928.9684 | 1283938.0963
54 | 2684913.8847 | 1283936.3415
55 | 2684934.5835 | 1283938.7495
56 | 2684891.3767 | 1283934.085
57 | 2684950.3119 | 1283940.5793
58 | 2684881.7656 | 1283935.7992
59 | 2684954.8451 | 1283941.1067
60 | 2684878.9911 | 1283938.7062
61 | 2684989.7103 | 1283945.1627
62 | 2685115.6942 | 1283930.6348
63 | 2684989.6297 | 1283945.5739
64 | 2684957.6066 | 1283941.4279
65 | 2684985.491 | 1283966.6944
66 | 2684984.0477 | 1283974.0597
67 | 2685106.8999 | 1283965.2666
68 | 2685129.5166 | 1283881.0211
69 | 2685149.5702 | 1283949.5737
70 | 2685103.8449 | 1283980.4976
71 | 2684983.1867 | 1283978.4535
72 | 2684980.134 | 1283994.032
73 | 2684978.822 | 1284000.727
74 | 2684976.809 | 1284010.9999
75 | 2684964.7927 | 1284006.7745
76 | 2684944.3975 | 1283999.6028
77 | 2684942.1175 | 1283998.8011
78 | 2684914.0041 | 1284019.9115
79 | 2684891.8826 | 1284007.536
80 | 2684917.2988 | 1283987.167
81 | 2684896.1327 | 1283970.7482
82 | 2684890.2584 | 1283961.0016
83 | 2684886.1827 | 1284003.8212
84 | 2684880.5214 | 1283995.9673
85 | 2684862.9589 | 1283971.603
86 | 2684855.9041 | 1283961.8159
87 | 2684867.0377 | 1283950.6713
88 | 2684864.8796 | 1283952.8315
89 | 2684839.1579 | 1283943.2066
90 | 2684828.8491 | 1283931.7508
91 | 2684783.9407 | 1283899.8049
92 | 2684785.381 | 1283896.5538
93 | 2684796.4884 | 1283938.3207
94 | 2684770.3113 | 1283892.6327
95 | 2684845.5527 | 1283869.521

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1