## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_294-11_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_294-11_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_294-11_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_294-11_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_294-11_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_294-11_0_2_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_294-11_0_2_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_294-11_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_294-11_0_2_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_294-11_0_2_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_294-11_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_294-11_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_294-11_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_294-11_0_2_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_294-11_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_294-11_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_294-11_0_2_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_294-11_0_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_294-11_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_294-11_0_2_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_294-11_0_2_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_294-11_0_2_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_294-11_0_2_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_294-11_0_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_294-11_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_294-11_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_294-11_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_294-11_0_2_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_294-11_0_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_294-11_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_294-11_0_2_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_294-11_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_294-11_0_2_node_86 | 0.4 | n |  | TRUE
33 | bus_LV_294-11_0_2_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_294-11_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_294-11_0_2_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_294-11_0_2_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_294-11_0_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_294-11_0_2_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_294-11_0_2_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_294-11_0_2_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_294-11_0_2_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_294-11_0_2_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_294-11_0_2_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_294-11_0_2_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_294-11_0_2_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_294-11_0_2_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_294-11_0_2_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_294-11_0_2_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_294-11_0_2_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_294-11_0_2_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_294-11_0_2_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_294-11_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_294-11_0_2_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_294-11_0_2_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_294-11_0_2_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_294-11_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_294-11_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_294-11_0_2_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_294-11_0_2_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_294-11_0_2_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_294-11_0_2_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_294-11_0_2_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_294-11_0_2_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_294-11_0_2_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_294-11_0_2_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_294-11_0_2_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_294-11_0_2_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_294-11_0_2_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_294-11_0_2_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_294-11_0_2_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_294-11_0_2_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_294-11_0_2_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_294-11_0_2_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_294-11_0_2_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_294-11_0_2_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_294-11_0_2_node_92 | 0.4 | n |  | TRUE
77 | bus_LV_294-11_0_2_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_294-11_0_2_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_294-11_0_2_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_294-11_0_2_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_294-11_0_2_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_294-11_0_2_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_294-11_0_2_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_294-11_0_2_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_294-11_0_2_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_294-11_0_2_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_294-11_0_2_node_90 | 0.4 | n |  | TRUE
88 | bus_MV_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_294-11_0_2_load_0 | 0 | 0.00074713 | 0.00018725 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_294-11_0_2_load_1 | 1 | 0.00037722 | 9.4541e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_294-11_0_2_load_3 | 2 | 0.00027207 | 6.8187e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_294-11_0_2_load_7 | 5 | 0.00044077 | 0.00011047 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_294-11_0_2_load_6 | 7 | 0.00036375 | 9.1166e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_294-11_0_2_load_18 | 8 | 0.00013744 | 3.4447e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_294-11_0_2_load_17 | 9 | 0.00026822 | 6.7222e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_294-11_0_2_load_14 | 11 | 0.00056141 | 0.0001407 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_294-11_0_2_load_16 | 13 | 0.00017792 | 4.459e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_294-11_0_2_load_12 | 15 | 0.00012577 | 3.152e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_294-11_0_2_load_24 | 17 | 0.00041888 | 0.00010498 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_294-11_0_2_load_85 | 19 | 0.00051033 | 0.0001279 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_294-11_0_2_load_80 | 20 | 0.00073313 | 0.00018374 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_294-11_0_2_load_23 | 21 | 0.0012489 | 0.000313 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_294-11_0_2_load_26 | 23 | 0.0003468 | 8.6917e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_294-11_0_2_load_19 | 24 | 0.00019775 | 4.9561e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_294-11_0_2_load_28 | 28 | 0.00086097 | 0.00021578 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_294-11_0_2_load_33 | 29 | 0.00018739 | 4.6965e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_294-11_0_2_load_32 | 30 | 0.00026224 | 6.5724e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_294-11_0_2_load_29 | 31 | 0.00032378 | 8.1148e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_294-11_0_2_load_30 | 34 | 0.0019446 | 0.00048737 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_294-11_0_2_load_34 | 35 | 0.00020367 | 5.1044e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_294-11_0_2_load_35 | 36 | 0.00037791 | 9.4713e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_294-11_0_2_load_49 | 39 | 0.00048675 | 0.00012199 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_294-11_0_2_load_78 | 41 | 0.00028337 | 7.1019e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_294-11_0_2_load_57 | 42 | 0.00095498 | 0.00023934 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_294-11_0_2_load_81 | 45 | 0.00093874 | 0.00023527 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_294-11_0_2_load_55 | 46 | 0.00076573 | 0.00019191 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_294-11_0_2_load_37 | 47 | 0.0016393 | 0.00041084 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_294-11_0_2_load_38 | 48 | 0.00092239 | 0.00023117 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_294-11_0_2_load_39 | 49 | 0.001489 | 0.00037318 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_294-11_0_2_load_40 | 50 | 0.0026073 | 0.00065344 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_294-11_0_2_load_42 | 53 | 0.00095841 | 0.0002402 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_294-11_0_2_load_46 | 54 | 0.0014414 | 0.00036125 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_294-11_0_2_load_47 | 55 | 0.0011247 | 0.00028188 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_294-11_0_2_load_43 | 56 | 0.00091541 | 0.00022942 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_294-11_0_2_load_44 | 57 | 0.0013831 | 0.00034663 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_294-11_0_2_load_73 | 60 | 0.0013532 | 0.00033915 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_294-11_0_2_load_74 | 61 | 0.0023547 | 0.00059016 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_294-11_0_2_load_82 | 62 | 0.0023048 | 0.00057763 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_294-11_0_2_load_79 | 64 | 0.00048028 | 0.00012037 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_294-11_0_2_load_58 | 65 | 0.00030622 | 7.6747e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_294-11_0_2_load_53 | 67 | 0.00058473 | 0.00014655 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_294-11_0_2_load_54 | 68 | 0.0040071 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_294-11_0_2_load_77 | 70 | 0.0013935 | 0.00034926 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_294-11_0_2_load_76 | 72 | 0.0027138 | 0.00068015 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_294-11_0_2_load_59 | 73 | 0.0012948 | 0.00032451 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_294-11_0_2_load_61 | 74 | 0.00057206 | 0.00014337 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_294-11_0_2_load_83 | 75 | 0.00092506 | 0.00023184 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_294-11_0_2_load_92 | 76 | 0.00088581 | 0.000222 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_294-11_0_2_load_65 | 77 | 0.0021572 | 0.00054064 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_294-11_0_2_load_68 | 80 | 0.0016892 | 0.00042336 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_294-11_0_2_load_84 | 82 | 0.00037232 | 9.3313e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_294-11_0_2_load_91 | 84 | 0.00025753 | 6.4542e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_294-11_0_2_load_88 | 85 | 5.3495e-05 | 1.3407e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_294-11_0_2_line_0 |  | 0 | 1 | 0.015985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_294-11_0_2_line_1 |  | 1 | 2 | 0.02753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_294-11_0_2_line_2 |  | 2 | 3 | 0.01763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_294-11_0_2_line_3 |  | 3 | 4 | 0.016814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_294-11_0_2_line_4 |  | 4 | 5 | 0.017163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_294-11_0_2_line_5 |  | 4 | 6 | 0.040752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_294-11_0_2_line_6 |  | 5 | 7 | 0.0039617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_294-11_0_2_line_7 |  | 6 | 8 | 0.012477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_294-11_0_2_line_8 |  | 6 | 9 | 0.024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_294-11_0_2_line_9 |  | 8 | 24 | 0.034321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_294-11_0_2_line_10 |  | 9 | 10 | 0.011779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_294-11_0_2_line_11 |  | 10 | 11 | 0.016871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_294-11_0_2_line_12 |  | 11 | 18 | 0.018385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_294-11_0_2_line_13 |  | 12 | 13 | 0.073594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_294-11_0_2_line_14 |  | 12 | 14 | 0.362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_294-11_0_2_line_15 |  | 12 | 15 | 0.036555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_294-11_0_2_line_16 |  | 14 | 16 | 0.54485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_294-11_0_2_line_17 |  | 14 | 17 | 0.077568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_294-11_0_2_line_18 |  | 15 | 18 | 0.034696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_294-11_0_2_line_19 |  | 16 | 19 | 0.030589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_294-11_0_2_line_20 |  | 16 | 20 | 0.46177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_294-11_0_2_line_21 |  | 17 | 21 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_294-11_0_2_line_22 |  | 19 | 32 | 0.042291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_294-11_0_2_line_23 |  | 20 | 33 | 0.044315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_294-11_0_2_line_24 |  | 21 | 22 | 0.011989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_294-11_0_2_line_25 |  | 22 | 23 | 0.0097205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_294-11_0_2_line_26 |  | 24 | 25 | 0.057872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_294-11_0_2_line_27 |  | 25 | 26 | 0.49904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_294-11_0_2_line_28 |  | 26 | 27 | 0.31765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_294-11_0_2_line_29 |  | 26 | 28 | 0.4124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_294-11_0_2_line_30 |  | 27 | 29 | 0.018618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_294-11_0_2_line_31 |  | 27 | 30 | 0.0092247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_294-11_0_2_line_32 |  | 28 | 31 | 0.022541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_294-11_0_2_line_33 |  | 31 | 34 | 0.0041954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_294-11_0_2_line_34 |  | 32 | 83 | 0.30223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_294-11_0_2_line_35 |  | 33 | 37 | 0.027542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_294-11_0_2_line_36 |  | 35 | 36 | 0.016234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_294-11_0_2_line_37 |  | 36 | 37 | 0.013949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_294-11_0_2_line_38 |  | 37 | 38 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_294-11_0_2_line_39 |  | 37 | 39 | 0.036682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_294-11_0_2_line_40 |  | 38 | 40 | 0.034726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_294-11_0_2_line_41 |  | 38 | 41 | 0.038867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_294-11_0_2_line_42 |  | 39 | 42 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_294-11_0_2_line_43 |  | 40 | 62 | 0.012142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_294-11_0_2_line_44 |  | 40 | 63 | 0.035018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_294-11_0_2_line_45 |  | 41 | 64 | 0.0041858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_294-11_0_2_line_46 |  | 42 | 65 | 0.0020671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_294-11_0_2_line_47 |  | 43 | 44 | 0.021395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_294-11_0_2_line_48 |  | 43 | 45 | 0.11487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_294-11_0_2_line_49 |  | 44 | 46 | 0.15499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_294-11_0_2_line_50 |  | 45 | 66 | 0.095095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_294-11_0_2_line_51 |  | 46 | 67 | 0.0023739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_294-11_0_2_line_52 |  | 47 | 48 | 0.01465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_294-11_0_2_line_53 |  | 47 | 49 | 0.0084827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_294-11_0_2_line_54 |  | 48 | 50 | 0.021729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_294-11_0_2_line_55 |  | 49 | 51 | 0.018358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_294-11_0_2_line_56 |  | 50 | 52 | 0.018526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_294-11_0_2_line_57 |  | 51 | 53 | 0.00099581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_294-11_0_2_line_58 |  | 52 | 54 | 0.012463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_294-11_0_2_line_59 |  | 52 | 55 | 0.011869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_294-11_0_2_line_60 |  | 53 | 56 | 0.0096315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_294-11_0_2_line_61 |  | 54 | 60 | 0.022748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_294-11_0_2_line_62 |  | 56 | 57 | 0.002384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_294-11_0_2_line_63 |  | 57 | 58 | 0.099011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_294-11_0_2_line_64 |  | 58 | 59 | 0.22154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_294-11_0_2_line_65 |  | 59 | 76 | 0.26731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_294-11_0_2_line_66 |  | 60 | 61 | 0.027219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_294-11_0_2_line_67 |  | 61 | 71 | 0.0025178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_294-11_0_2_line_68 |  | 62 | 75 | 0.015109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_294-11_0_2_line_69 |  | 63 | 74 | 0.010405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_294-11_0_2_line_70 |  | 63 | 73 | 0.033177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_294-11_0_2_line_71 |  | 66 | 78 | 0.068882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_294-11_0_2_line_72 |  | 67 | 68 | 0.042219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_294-11_0_2_line_73 |  | 68 | 69 | 0.010778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_294-11_0_2_line_74 |  | 69 | 70 | 0.028747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_294-11_0_2_line_75 |  | 69 | 71 | 0.021815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_294-11_0_2_line_76 |  | 71 | 72 | 0.034465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_294-11_0_2_line_77 |  | 75 | 81 | 0.0030911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_294-11_0_2_line_78 |  | 77 | 78 | 0.014674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_294-11_0_2_line_79 |  | 77 | 79 | 0.086156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_294-11_0_2_line_80 |  | 78 | 80 | 0.021575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_294-11_0_2_line_81 |  | 79 | 81 | 0.020838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_294-11_0_2_line_82 |  | 81 | 82 | 0.02539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_294-11_0_2_line_83 |  | 83 | 84 | 0.094336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_294-11_0_2_line_84 |  | 84 | 87 | 0.01892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_294-11_0_2_line_85 |  | 85 | 86 | 0.096291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_294-11_0_2_line_86 |  | 86 | 87 | 0.057928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_294-11_0_2_trafo_68 | 0.63 MVA 20/0.4 kV | 88 | 80 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2707961.3328 | 1258628.7413 | 2707960.2462 | 1258626.4906 | 2707960.2686 | 1258619.4852 | 2707964.0891 | 1258614.2505
1 | 2707964.0891 | 1258614.2505 | 2707964.0891 | 1258614.2505 | 2707973.7222 | 1258611.1347 | 2707981.5741 | 1258612.657 | 2707987.2454 | 1258620.1622
2 | 2707997.8745 | 1258634.228 | 2707987.2454 | 1258620.1622
3 | 2708009.3213 | 1258622.2269 | 2708005.3899 | 1258628.1601 | 2708001.6425 | 1258631.8726 | 2707997.8745 | 1258634.228
4 | 2708009.3213 | 1258622.2269 | 2708011.4953 | 1258614.6602 | 2708011.5342 | 1258605.3705
5 | 2708049.9591 | 1258626.6056 | 2708009.3213 | 1258622.2269
6 | 2708011.0771 | 1258601.4381 | 2708011.5357 | 1258605.0196 | 2708011.5342 | 1258605.3705
7 | 2708049.9591 | 1258626.6056 | 2708052.0948 | 1258638.898
8 | 2708049.9591 | 1258626.6056 | 2708048.5875 | 1258615.4267 | 2708044.8959 | 1258602.2353
9 | 2708053.1716 | 1258673.1779 | 2708052.4904 | 1258641.1751 | 2708052.0948 | 1258638.898
10 | 2708041.7215 | 1258590.892 | 2708044.8959 | 1258602.2353
11 | 2708041.7215 | 1258590.892 | 2708057.1459 | 1258584.0568
12 | 2708073.1366 | 1258592.4446 | 2708061.4254 | 1258584.6576 | 2708057.1459 | 1258584.0568
13 | 2708061.1908 | 1258530.2301 | 2708094.4551 | 1258513.5457 | 2708099.1238 | 1258513.898 | 2708104.4024 | 1258517.186 | 2708108.1552 | 1258523.5043 | 2708106.6945 | 1258530.3945 | 2708098.938 | 1258538.504
14 | 2708061.1908 | 1258530.2301 | 2708050.5387 | 1258533.8053 | 2708044.8681 | 1258532.99 | 2708134.2432 | 1258402.7799 | 2708183.2902 | 1258331.3165 | 2708215.2786 | 1258283.0609 | 2708224.506 | 1258281.5505 | 2708250.5364 | 1258260.976
15 | 2708061.1908 | 1258530.2301 | 2708077.9 | 1258550.8857 | 2708081.2664 | 1258560.2883
16 | 2708250.5364 | 1258260.976 | 2708224.506 | 1258281.5505 | 2708215.2786 | 1258283.0609 | 2708225.828 | 1258265.7615 | 2708245.0291 | 1258234.7423 | 2708259.2942 | 1258212.618 | 2708283.0959 | 1258174.1657 | 2708305.7913 | 1258137.6727 | 2708315.6307 | 1258114.7002 | 2708319.6662 | 1258098.9942 | 2708319.7707 | 1258080.9366 | 2708313.0939 | 1258004.9176 | 2708311.9721 | 1257981.3441 | 2708305.9649 | 1257949.8746 | 2708294.173 | 1257909.3695 | 2708286.4299 | 1257889.9116 | 2708245.316 | 1257825.1501
17 | 2708250.5364 | 1258260.976 | 2708284.0047 | 1258255.0944 | 2708315.4153 | 1258251.6328 | 2708320.9405 | 1258251.3448 | 2708327.2523 | 1258250.0002
18 | 2708073.1366 | 1258592.4446 | 2708076.5656 | 1258587.1806 | 2708079.1567 | 1258584.0364 | 2708082.1211 | 1258575.3166 | 2708081.8315 | 1258561.8667 | 2708081.2664 | 1258560.2883
19 | 2708245.316 | 1257825.1501 | 2708234.6165 | 1257808.1625 | 2708229.0124 | 1257799.2686
20 | 2708671.8636 | 1257648.2513 | 2708245.316 | 1257825.1501
21 | 2708341.2468 | 1258246.5795 | 2708338.6779 | 1258247.5663 | 2708327.2523 | 1258250.0002
22 | 2708206.4672 | 1257763.4884 | 2708229.0124 | 1257799.2686
23 | 2708715.926 | 1257652.9749 | 2708671.8636 | 1257648.2513
24 | 2708352.4387 | 1258242.2804 | 2708341.2468 | 1258246.5795
25 | 2708352.4387 | 1258242.2804 | 2708357.0736 | 1258247.3695 | 2708358.4026 | 1258249.8761
26 | 2708054.996 | 1258731.0181 | 2708054.6932 | 1258717.468 | 2708053.5088 | 1258689.0226 | 2708053.1716 | 1258673.1779
27 | 2708054.996 | 1258731.0181 | 2708056.3447 | 1258773.5784 | 2708058.5836 | 1258790.1108 | 2708063.8217 | 1258817.4738 | 2708072.9787 | 1258856.4848 | 2708077.1208 | 1258871.1949 | 2708083.3084 | 1258882.484 | 2708089.8824 | 1258890.7888 | 2708172.5493 | 1258948.592 | 2708208.9308 | 1258972.0099 | 2708217.3757 | 1258979.0035 | 2708237.5363 | 1258993.8958 | 2708260.7879 | 1259022.8008 | 2708269.2449 | 1259034.4764 | 2708280.1846 | 1259043.5731 | 2708289.6004 | 1259050.2398 | 2708313.121 | 1259058.6662 | 2708328.9058 | 1259067.5069 | 2708353.3166 | 1259089.0719
28 | 2708353.3166 | 1259089.0719 | 2708420.3776 | 1259157.2127 | 2708442.4985 | 1259187.6657 | 2708511.9474 | 1259199.9267 | 2708516.4372 | 1259200.9544 | 2708543.3005 | 1259207.1411 | 2708614.4517 | 1259221.1137 | 2708623.4816 | 1259222.892
29 | 2708353.3166 | 1259089.0719 | 2708353.4186 | 1259072.8045 | 2708356.6566 | 1259061.0984 | 2708362.535 | 1259049.7188 | 2708370.4838 | 1259041.3907 | 2708384.0251 | 1259037.7022 | 2708414.1048 | 1259040.8113 | 2708444.9625 | 1259043.4344 | 2708473.3519 | 1259043.7438 | 2708495.0557 | 1259038.5817 | 2708506.3945 | 1259028.3699 | 2708512.5467 | 1259009.4891 | 2708509.8503 | 1258979.3366 | 2708513.0875 | 1258970.5664 | 2708524.4931 | 1258966.1718 | 2708536.806 | 1258966.1643 | 2708542.5398 | 1258968.0265 | 2708548.6334 | 1258971.6524 | 2708552.9387 | 1258976.9914 | 2708555.8376 | 1258982.1378 | 2708560.728 | 1258993.804 | 2708563.4854 | 1259000.9049 | 2708567.0566 | 1259003.9285 | 2708574.1158 | 1259003.0017 | 2708579.8783 | 1258995.9126 | 2708588.286 | 1258983.5565 | 2708600.6248 | 1258974.7421 | 2708613.0913 | 1258967.5983 | 2708634.7529 | 1258960.2107
30 | 2708623.4816 | 1259222.892 | 2708641.8047 | 1259226.4869
31 | 2708623.4816 | 1259222.892 | 2708621.5083 | 1259213.8809
32 | 2708634.7529 | 1258960.2107 | 2708638.9267 | 1258958.7873 | 2708648.6846 | 1258958.7219 | 2708655.2395 | 1258963.9319
33 | 2708658.5238 | 1258966.5424 | 2708655.2395 | 1258963.9319
34 | 2708069.9836 | 1257900.0201 | 2708067.6204 | 1257882.8404 | 2708067.9524 | 1257871.2702 | 2708075.8867 | 1257817.1588 | 2708077.2356 | 1257789.149 | 2708069.8102 | 1257770.0086 | 2708070.2404 | 1257760.9089 | 2708074.1987 | 1257750.2278 | 2708091.6999 | 1257758.2095 | 2708104.7368 | 1257759.5709 | 2708121.5866 | 1257757.388 | 2708127.7176 | 1257754.0972 | 2708134.2883 | 1257748.6238 | 2708140.0932 | 1257743.7813 | 2708147.9436 | 1257735.5512 | 2708167.4977 | 1257742.6144 | 2708189.8286 | 1257756.6008 | 2708199.9707 | 1257763.2584 | 2708206.4672 | 1257763.4884
35 | 2708715.926 | 1257652.9749 | 2708738.9438 | 1257637.7516
36 | 2708736.1038 | 1257607.7302 | 2708737.0954 | 1257623.9343
37 | 2708738.9438 | 1257637.7516 | 2708737.2565 | 1257626.5668 | 2708737.0954 | 1257623.9343
38 | 2708755.5378 | 1257645.4184 | 2708747.0627 | 1257643.6835 | 2708738.9438 | 1257637.7516
39 | 2708738.9438 | 1257637.7516 | 2708728.1144 | 1257672.799
40 | 2708755.5378 | 1257645.4184 | 2708770.0461 | 1257648.3875 | 2708789.3859 | 1257653.5471
41 | 2708755.5378 | 1257645.4184 | 2708746.6855 | 1257683.2642
42 | 2708728.1144 | 1257672.799 | 2708723.8921 | 1257686.4636
43 | 2708789.3859 | 1257653.5471 | 2708800.9008 | 1257657.3991
44 | 2708789.3859 | 1257653.5471 | 2708788.9167 | 1257672.9102 | 2708786.2575 | 1257688.3298
45 | 2708745.7322 | 1257687.34 | 2708746.6855 | 1257683.2642
46 | 2708723.2819 | 1257688.4386 | 2708723.8921 | 1257686.4636
47 | 2708900.0817 | 1257560.9829 | 2708907.2855 | 1257540.8319
48 | 2708900.0817 | 1257560.9829 | 2708907.342 | 1257582.0007 | 2708937.2889 | 1257669.6562
49 | 2708907.2855 | 1257540.8319 | 2708981.4305 | 1257526.818 | 2709052.1877 | 1257515.7674 | 2709059.6864 | 1257513.238
50 | 2708968.281 | 1257759.5594 | 2708941.5832 | 1257682.2256 | 2708937.2889 | 1257669.6562
51 | 2709061.9358 | 1257512.4793 | 2709059.6864 | 1257513.238
52 | 2709239.514 | 1257473.7331 | 2709226.1161 | 1257467.8061
53 | 2709239.514 | 1257473.7331 | 2709245.0166 | 1257476.1673 | 2709247.2812 | 1257477.1427
54 | 2709205.4736 | 1257461.3784 | 2709217.5248 | 1257464.0054 | 2709226.1161 | 1257467.8061
55 | 2709264.1414 | 1257484.4049 | 2709247.2812 | 1257477.1427
56 | 2709187.373 | 1257457.4326 | 2709205.4736 | 1257461.3784
57 | 2709265.0277 | 1257484.8589 | 2709264.1414 | 1257484.4049
58 | 2709187.373 | 1257457.4326 | 2709174.9733 | 1257458.6884
59 | 2709187.373 | 1257457.4326 | 2709187.4023 | 1257445.5634
60 | 2709265.0277 | 1257484.8589 | 2709273.5999 | 1257489.2502
61 | 2709152.6626 | 1257462.727 | 2709163.224 | 1257459.8782 | 2709174.9733 | 1257458.6884
62 | 2709275.7529 | 1257490.2742 | 2709273.5999 | 1257489.2502 | 2709273.5999 | 1257489.2502
63 | 2709373.3052 | 1257503.0141 | 2709330.6203 | 1257499.645 | 2709306.8658 | 1257497.4824 | 2709285.958 | 1257495.1277 | 2709275.7529 | 1257490.2742
64 | 2709373.3052 | 1257503.0141 | 2709394.6799 | 1257562.0807 | 2709408.3534 | 1257597.1294 | 2709435.4613 | 1257656.8916 | 2709438.0543 | 1257665.5245 | 2709422.2262 | 1257678.0646 | 2709397.6208 | 1257687.2843
65 | 2709397.6208 | 1257687.2843 | 2709375.6966 | 1257692.6281 | 2709354.7754 | 1257697.1565 | 2709339.4978 | 1257696.6627 | 2709321.8915 | 1257690.766 | 2709313.058 | 1257687.2221 | 2709304.2353 | 1257686.7588 | 2709293.7138 | 1257690.0784 | 2709247.4192 | 1257712.7651 | 2709242.6931 | 1257715.0798 | 2709218.6594 | 1257726.8573 | 2709208.1609 | 1257730.5667 | 2709197.1002 | 1257732.0528 | 2709181.7669 | 1257730.9024 | 2709164.0216 | 1257728.8623 | 2709153.2583 | 1257727.7184 | 2709142.5374 | 1257729.589
66 | 2709152.6626 | 1257462.727 | 2709147.0946 | 1257464.2289 | 2709127.139 | 1257472.1012
67 | 2709124.7969 | 1257473.0252 | 2709127.139 | 1257472.1012
68 | 2708800.9008 | 1257657.3991 | 2708815.2297 | 1257662.1923
69 | 2708786.2575 | 1257688.3298 | 2708787.6219 | 1257698.6447
70 | 2708786.2575 | 1257688.3298 | 2708775.4596 | 1257700.5416 | 2708760.3493 | 1257708.0578
71 | 2708904.5725 | 1257736.9236 | 2708910.6718 | 1257743.1633 | 2708939.7924 | 1257752.8405 | 2708952.5929 | 1257757.6134 | 2708961.276 | 1257758.6853 | 2708968.281 | 1257759.5594
72 | 2709061.9358 | 1257512.4793 | 2709074.507 | 1257508.2389 | 2709096.0332 | 1257495.8697 | 2709099.37 | 1257493.4442
73 | 2709108.0883 | 1257487.1068 | 2709099.37 | 1257493.4442
74 | 2709108.0883 | 1257487.1068 | 2709119.7425 | 1257498.4422 | 2709124.537 | 1257510.0069
75 | 2709124.7969 | 1257473.0252 | 2709108.0883 | 1257487.1068
76 | 2709124.7969 | 1257473.0252 | 2709125.1804 | 1257462.8682 | 2709122.6635 | 1257455.8048 | 2709117.5489 | 1257451.3735 | 2709109.161 | 1257445.8641
77 | 2708818.1611 | 1257663.1729 | 2708815.2297 | 1257662.1923
78 | 2708904.5725 | 1257736.9236 | 2708899.2382 | 1257723.253
79 | 2708838.0353 | 1257669.6215 | 2708863.3907 | 1257679.0178 | 2708876.7955 | 1257686.6151 | 2708886.5831 | 1257695.7027 | 2708894.9222 | 1257712.1921 | 2708899.2382 | 1257723.253
80 | 2708904.5725 | 1257736.9236 | 2708894.8425 | 1257742.7384 | 2708889.3446 | 1257751.3768
81 | 2708818.1611 | 1257663.1729 | 2708820.2233 | 1257663.8114 | 2708838.0353 | 1257669.6215
82 | 2708818.1611 | 1257663.1729 | 2708830.5126 | 1257648.0985 | 2708825.9881 | 1257644.3102
83 | 2708069.9836 | 1257900.0201 | 2708075.6489 | 1257917.6716 | 2708085.0852 | 1257934.8805 | 2708089.7966 | 1257947.7773 | 2708089.7114 | 1257958.2177 | 2708086.14 | 1257965.0582 | 2708077.3442 | 1257974.7057 | 2708068.8048 | 1257981.9963
84 | 2708054.4158 | 1257994.2812 | 2708068.8048 | 1257981.9963
85 | 2708004.3792 | 1258023.6592 | 2707980.8957 | 1258006.3386 | 2707964.106 | 1257987.5055 | 2707952.861 | 1257973.5221 | 2707940.4222 | 1257953.0715
86 | 2708004.3792 | 1258023.6592 | 2708024.1365 | 1258012.5327 | 2708042.2707 | 1258002.3329 | 2708054.4158 | 1257994.2812

## bus_geodata
| x | y | coords
0 | 2707961.3328 | 1258628.7413
1 | 2707964.0891 | 1258614.2505
2 | 2707987.2454 | 1258620.1622
3 | 2707997.8745 | 1258634.228
4 | 2708009.3213 | 1258622.2269
5 | 2708011.5342 | 1258605.3705
6 | 2708049.9591 | 1258626.6056
7 | 2708011.0771 | 1258601.4381
8 | 2708052.0948 | 1258638.898
9 | 2708044.8959 | 1258602.2353
10 | 2708041.7215 | 1258590.892
11 | 2708057.1459 | 1258584.0568
12 | 2708061.1908 | 1258530.2301
13 | 2708098.938 | 1258538.504
14 | 2708250.5364 | 1258260.976
15 | 2708081.2664 | 1258560.2883
16 | 2708245.316 | 1257825.1501
17 | 2708327.2523 | 1258250.0002
18 | 2708073.1366 | 1258592.4446
19 | 2708229.0124 | 1257799.2686
20 | 2708671.8636 | 1257648.2513
21 | 2708341.2468 | 1258246.5795
22 | 2708352.4387 | 1258242.2804
23 | 2708358.4026 | 1258249.8761
24 | 2708053.1716 | 1258673.1779
25 | 2708054.996 | 1258731.0181
26 | 2708353.3166 | 1259089.0719
27 | 2708623.4816 | 1259222.892
28 | 2708634.7529 | 1258960.2107
29 | 2708641.8047 | 1259226.4869
30 | 2708621.5083 | 1259213.8809
31 | 2708655.2395 | 1258963.9319
32 | 2708206.4672 | 1257763.4884
33 | 2708715.926 | 1257652.9749
34 | 2708658.5238 | 1258966.5424
35 | 2708736.1038 | 1257607.7302
36 | 2708737.0954 | 1257623.9343
37 | 2708738.9439 | 1257637.7516
38 | 2708755.5378 | 1257645.4184
39 | 2708728.1144 | 1257672.799
40 | 2708789.3859 | 1257653.5471
41 | 2708746.6855 | 1257683.2642
42 | 2708723.8921 | 1257686.4636
43 | 2708900.0817 | 1257560.9829
44 | 2708907.2855 | 1257540.8319
45 | 2708937.2889 | 1257669.6562
46 | 2709059.6864 | 1257513.238
47 | 2709239.514 | 1257473.7331
48 | 2709226.1161 | 1257467.8061
49 | 2709247.2812 | 1257477.1427
50 | 2709205.4736 | 1257461.3784
51 | 2709264.1414 | 1257484.4049
52 | 2709187.373 | 1257457.4326
53 | 2709265.0277 | 1257484.8589
54 | 2709174.9733 | 1257458.6884
55 | 2709187.4023 | 1257445.5634
56 | 2709273.5999 | 1257489.2502
57 | 2709275.7529 | 1257490.2742
58 | 2709373.3052 | 1257503.0141
59 | 2709397.6208 | 1257687.2843
60 | 2709152.6626 | 1257462.727
61 | 2709127.139 | 1257472.1012
62 | 2708800.9008 | 1257657.3991
63 | 2708786.2575 | 1257688.3298
64 | 2708745.7322 | 1257687.34
65 | 2708723.2819 | 1257688.4386
66 | 2708968.281 | 1257759.5594
67 | 2709061.9358 | 1257512.4793
68 | 2709099.37 | 1257493.4442
69 | 2709108.0883 | 1257487.1068
70 | 2709124.537 | 1257510.0069
71 | 2709124.7969 | 1257473.0252
72 | 2709109.161 | 1257445.8641
73 | 2708760.3493 | 1257708.0578
74 | 2708787.6219 | 1257698.6447
75 | 2708815.2298 | 1257662.1923
76 | 2709142.5374 | 1257729.589
77 | 2708899.2382 | 1257723.253
78 | 2708904.5725 | 1257736.9236
79 | 2708838.0353 | 1257669.6215
80 | 2708889.3446 | 1257751.3768
81 | 2708818.1611 | 1257663.1729
82 | 2708825.9881 | 1257644.3102
83 | 2708069.9836 | 1257900.0201
84 | 2708068.8048 | 1257981.9963
85 | 2707940.4222 | 1257953.0715
86 | 2708004.3792 | 1258023.6592
87 | 2708054.4158 | 1257994.2812
88 | 2708889.3446 | 1257751.3768

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1