## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_294-4_1_4_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_294-4_1_4_node_126 | 0.4 | n |  | TRUE
2 | bus_LV_294-4_1_4_node_294 | 0.4 | n |  | TRUE
3 | bus_LV_294-4_1_4_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_294-4_1_4_node_134 | 0.4 | n |  | TRUE
5 | bus_LV_294-4_1_4_node_127 | 0.4 | n |  | TRUE
6 | bus_LV_294-4_1_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_294-4_1_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_294-4_1_4_node_156 | 0.4 | n |  | TRUE
9 | bus_LV_294-4_1_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_294-4_1_4_node_250 | 0.4 | n |  | TRUE
11 | bus_LV_294-4_1_4_node_249 | 0.4 | n |  | TRUE
12 | bus_LV_294-4_1_4_node_296 | 0.4 | n |  | TRUE
13 | bus_LV_294-4_1_4_node_85 | 0.4 | n |  | TRUE
14 | bus_LV_294-4_1_4_node_279 | 0.4 | n |  | TRUE
15 | bus_LV_294-4_1_4_node_114 | 0.4 | n |  | TRUE
16 | bus_LV_294-4_1_4_node_280 | 0.4 | n |  | TRUE
17 | bus_LV_294-4_1_4_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_294-4_1_4_node_158 | 0.4 | n |  | TRUE
19 | bus_LV_294-4_1_4_node_159 | 0.4 | n |  | TRUE
20 | bus_LV_294-4_1_4_node_111 | 0.4 | n |  | TRUE
21 | bus_LV_294-4_1_4_node_124 | 0.4 | n |  | TRUE
22 | bus_LV_294-4_1_4_node_295 | 0.4 | n |  | TRUE
23 | bus_LV_294-4_1_4_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_294-4_1_4_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_294-4_1_4_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_294-4_1_4_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_294-4_1_4_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_294-4_1_4_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_294-4_1_4_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_294-4_1_4_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_294-4_1_4_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_294-4_1_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_294-4_1_4_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_294-4_1_4_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_294-4_1_4_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_294-4_1_4_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_294-4_1_4_node_82 | 0.4 | n |  | TRUE
38 | bus_LV_294-4_1_4_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_294-4_1_4_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_294-4_1_4_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_294-4_1_4_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_294-4_1_4_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_294-4_1_4_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_294-4_1_4_node_122 | 0.4 | n |  | TRUE
45 | bus_LV_294-4_1_4_node_123 | 0.4 | n |  | TRUE
46 | bus_LV_294-4_1_4_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_294-4_1_4_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_294-4_1_4_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_294-4_1_4_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_294-4_1_4_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_294-4_1_4_node_104 | 0.4 | n |  | TRUE
52 | bus_LV_294-4_1_4_node_108 | 0.4 | n |  | TRUE
53 | bus_LV_294-4_1_4_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_294-4_1_4_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_294-4_1_4_node_107 | 0.4 | n |  | TRUE
56 | bus_LV_294-4_1_4_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_294-4_1_4_node_110 | 0.4 | n |  | TRUE
58 | bus_LV_294-4_1_4_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_294-4_1_4_node_113 | 0.4 | n |  | TRUE
60 | bus_LV_294-4_1_4_node_115 | 0.4 | n |  | TRUE
61 | bus_LV_294-4_1_4_node_117 | 0.4 | n |  | TRUE
62 | bus_LV_294-4_1_4_node_121 | 0.4 | n |  | TRUE
63 | bus_LV_294-4_1_4_node_125 | 0.4 | n |  | TRUE
64 | bus_MV_34_1_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_294-4_1_4_load_128 | 0 | 0.0012587 | 0.00031546 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_294-4_1_4_load_294 | 2 | 0.00092564 | 0.00023199 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_294-4_1_4_load_129 | 3 | 0.0014927 | 0.0003741 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_294-4_1_4_load_134 | 4 | 0.0014147 | 0.00035457 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_294-4_1_4_load_127 | 5 | 0.0011724 | 0.00029383 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_294-4_1_4_load_15 | 6 | 0.012584 | 0.0031539 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_294-4_1_4_load_156 | 8 | 0.0031814 | 0.00079733 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_294-4_1_4_load_250 | 10 | 0.0073393 | 0.0018394 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_294-4_1_4_load_249 | 11 | 0.00044961 | 0.00011268 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_294-4_1_4_load_296 | 12 | 0.001746 | 0.00043759 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_294-4_1_4_load_279 | 14 | 0.00075104 | 0.00018823 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_294-4_1_4_load_114 | 15 | 0.00075123 | 0.00018828 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_294-4_1_4_load_280 | 16 | 0.00017576 | 4.4049e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_294-4_1_4_load_84 | 17 | 0.0027265 | 0.00068332 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_294-4_1_4_load_158 | 18 | 0.0019863 | 0.00049782 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_294-4_1_4_load_159 | 19 | 0.0016227 | 0.00040668 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_294-4_1_4_load_111 | 20 | 0.00097823 | 0.00024517 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_294-4_1_4_load_124 | 21 | 0.00076611 | 0.00019201 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_294-4_1_4_load_295 | 22 | 0.0037809 | 0.00094758 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_294-4_1_4_load_59 | 23 | 0.0012283 | 0.00030784 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_294-4_1_4_load_60 | 24 | 0.0035488 | 0.00088942 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_294-4_1_4_load_74 | 29 | 0.0015285 | 0.00038307 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_294-4_1_4_load_77 | 30 | 0.0058683 | 0.0014707 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_294-4_1_4_load_75 | 33 | 0.00087531 | 0.00021937 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_294-4_1_4_load_72 | 34 | 0.00097392 | 0.00024409 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_294-4_1_4_load_71 | 35 | 0.00087158 | 0.00021844 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_294-4_1_4_load_73 | 36 | 0.00049582 | 0.00012426 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_294-4_1_4_load_82 | 37 | 0.0050993 | 0.001278 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_294-4_1_4_load_78 | 38 | 0.0081494 | 0.0020424 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_294-4_1_4_load_81 | 41 | 0.0053515 | 0.0013412 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_294-4_1_4_load_83 | 42 | 0.0017601 | 0.00044112 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_294-4_1_4_load_123 | 45 | 0.0031556 | 0.00079086 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_294-4_1_4_load_99 | 48 | 0.0024867 | 0.00062324 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_294-4_1_4_load_100 | 49 | 0.0012481 | 0.0003128 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_294-4_1_4_load_108 | 52 | 0.0029131 | 0.0007301 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_294-4_1_4_load_105 | 53 | 0.00079719 | 0.0001998 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_294-4_1_4_load_106 | 54 | 0.00097903 | 0.00024537 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_294-4_1_4_load_107 | 55 | 0.00076953 | 0.00019286 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_294-4_1_4_load_109 | 56 | 0.00084742 | 0.00021238 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_294-4_1_4_load_110 | 57 | 0.00077107 | 0.00019325 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_294-4_1_4_load_112 | 58 | 0.00076815 | 0.00019252 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_294-4_1_4_load_113 | 59 | 0.0025183 | 0.00063114 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_294-4_1_4_load_115 | 60 | 0.001682 | 0.00042154 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_294-4_1_4_load_121 | 62 | 0.002247 | 0.00056315 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_294-4_1_4_load_125 | 63 | 0.0031002 | 0.00077698 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_294-4_1_4_line_0 |  | 0 | 1 | 0.0010421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_294-4_1_4_line_1 |  | 0 | 2 | 0.016636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_294-4_1_4_line_2 |  | 1 | 5 | 0.0052587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_294-4_1_4_line_3 |  | 1 | 63 | 0.021826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_294-4_1_4_line_4 |  | 2 | 21 | 0.0081957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_294-4_1_4_line_5 |  | 3 | 4 | 0.040099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_294-4_1_4_line_6 |  | 4 | 5 | 0.0072189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_294-4_1_4_line_7 |  | 6 | 7 | 0.062267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_294-4_1_4_line_8 |  | 6 | 8 | 0.023364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_294-4_1_4_line_9 |  | 7 | 9 | 0.77638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_294-4_1_4_line_10 |  | 9 | 12 | 0.057757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_294-4_1_4_line_11 |  | 9 | 13 | 0.10232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_294-4_1_4_line_12 |  | 10 | 11 | 0.015924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_294-4_1_4_line_13 |  | 11 | 37 | 0.022005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_294-4_1_4_line_14 |  | 13 | 43 | 0.095493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_294-4_1_4_line_15 |  | 13 | 22 | 0.049881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_294-4_1_4_line_16 |  | 13 | 40 | 0.072884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_294-4_1_4_line_17 |  | 14 | 15 | 0.0018943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_294-4_1_4_line_18 |  | 15 | 51 | 0.01134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_294-4_1_4_line_19 |  | 16 | 17 | 0.023783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_294-4_1_4_line_20 |  | 17 | 40 | 0.098621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_294-4_1_4_line_21 |  | 18 | 19 | 0.0015678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_294-4_1_4_line_22 |  | 18 | 20 | 0.041833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_294-4_1_4_line_23 |  | 20 | 58 | 0.010189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_294-4_1_4_line_24 |  | 20 | 57 | 0.0027184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_294-4_1_4_line_25 |  | 21 | 47 | 0.020602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_294-4_1_4_line_26 |  | 23 | 24 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_294-4_1_4_line_27 |  | 23 | 25 | 0.0062346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_294-4_1_4_line_28 |  | 24 | 26 | 0.003695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_294-4_1_4_line_29 |  | 25 | 27 | 0.086277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_294-4_1_4_line_30 |  | 26 | 28 | 0.018956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_294-4_1_4_line_31 |  | 26 | 29 | 0.013023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_294-4_1_4_line_32 |  | 27 | 30 | 0.026065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_294-4_1_4_line_33 |  | 28 | 34 | 0.011236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_294-4_1_4_line_34 |  | 28 | 31 | 0.10013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_294-4_1_4_line_35 |  | 29 | 36 | 0.00299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_294-4_1_4_line_36 |  | 31 | 32 | 0.040321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_294-4_1_4_line_37 |  | 31 | 33 | 0.063864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_294-4_1_4_line_38 |  | 32 | 37 | 0.026865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_294-4_1_4_line_39 |  | 32 | 38 | 0.057889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_294-4_1_4_line_40 |  | 35 | 36 | 0.023827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_294-4_1_4_line_41 |  | 38 | 39 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_294-4_1_4_line_42 |  | 39 | 40 | 0.054311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_294-4_1_4_line_43 |  | 39 | 41 | 0.043704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_294-4_1_4_line_44 |  | 40 | 42 | 0.036964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_294-4_1_4_line_45 |  | 43 | 44 | 0.035109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_294-4_1_4_line_46 |  | 43 | 45 | 0.025663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_294-4_1_4_line_47 |  | 44 | 62 | 0.01602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_294-4_1_4_line_48 |  | 45 | 47 | 0.023362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_294-4_1_4_line_49 |  | 46 | 47 | 0.007563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_294-4_1_4_line_50 |  | 46 | 48 | 0.0052279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_294-4_1_4_line_51 |  | 48 | 49 | 0.01391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_294-4_1_4_line_52 |  | 49 | 50 | 0.030584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_294-4_1_4_line_53 |  | 50 | 51 | 0.007088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_294-4_1_4_line_54 |  | 51 | 52 | 0.014159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_294-4_1_4_line_55 |  | 52 | 54 | 0.0077418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_294-4_1_4_line_56 |  | 53 | 54 | 0.0035178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_294-4_1_4_line_57 |  | 53 | 55 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_294-4_1_4_line_58 |  | 55 | 56 | 0.0026837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_294-4_1_4_line_59 |  | 56 | 57 | 0.0034041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_294-4_1_4_line_60 |  | 58 | 59 | 0.0013566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_294-4_1_4_line_61 |  | 60 | 61 | 0.015596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_294-4_1_4_line_62 |  | 61 | 62 | 0.017289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_294-4_1_4_trafo_85 | 0.63 MVA 20/0.4 kV | 64 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34
0 | 2707930.9892 | 1261115.5908 | 2707931.9626 | 1261115.9628
1 | 2707931.9626 | 1261115.9628 | 2707947.5024 | 1261121.9023
2 | 2707930.9892 | 1261115.5908 | 2707926.0768 | 1261113.7142
3 | 2707930.9892 | 1261115.5908 | 2707926.056 | 1261131.9034 | 2707924.7739 | 1261136.5118
4 | 2707947.5024 | 1261121.9023 | 2707949.5668 | 1261122.6913 | 2707955.1453 | 1261124.8611
5 | 2707919.3332 | 1261111.1381 | 2707879.5469 | 1261116.1381
6 | 2707919.3332 | 1261111.1381 | 2707926.0768 | 1261113.7142
7 | 2708028.959 | 1260955.466 | 2707990.0824 | 1260962.0063 | 2707984.9488 | 1260962.8689 | 2707967.5416 | 1260965.7163
8 | 2707967.5416 | 1260965.7163 | 2707960.8969 | 1260988.1159
9 | 2708154.6397 | 1261187.2688 | 2708194.1005 | 1261187.8686 | 2708225.4323 | 1261188.2754 | 2708247.8307 | 1261189.197 | 2708266.4215 | 1261192.2509 | 2708355.7381 | 1261217.6297 | 2708377.2347 | 1261128.7817 | 2708387.2707 | 1261090.3331 | 2708392.2924 | 1261079.5382 | 2708408.3397 | 1261061.0166 | 2708400.4879 | 1261058.8486 | 2708387.6459 | 1261056.3001 | 2708373.3414 | 1261054.1807 | 2708366.0009 | 1261052.4893 | 2708356.5451 | 1261049.0132 | 2708348.0832 | 1261044.7657 | 2708340.0545 | 1261039.9146 | 2708283.4466 | 1261002.6246 | 2708271.4771 | 1260995.2326 | 2708263.6698 | 1260991.4532 | 2708252.0142 | 1260987.0807 | 2708240.5961 | 1260984.97 | 2708226.3555 | 1260982.6409 | 2708212.7225 | 1260982.1133 | 2708175.5425 | 1260984.0795 | 2708156.504 | 1260981.9741 | 2708138.7856 | 1260978.1581 | 2708120.6833 | 1260971.8442 | 2708102.7359 | 1260964.0653 | 2708091.3321 | 1260959.9312 | 2708078.042 | 1260957.5531 | 2708057.0617 | 1260956.936 | 2708034.8044 | 1260958.5531 | 2708031.0361 | 1260957.7058 | 2708028.959 | 1260955.466
10 | 2708154.6397 | 1261187.2688 | 2708156.2613 | 1261129.5386
11 | 2708154.6397 | 1261187.2688 | 2708052.031 | 1261185.1477
12 | 2708103.4007 | 1261366.6505 | 2708118.7654 | 1261362.4669
13 | 2708140.3913 | 1261359.2536 | 2708140.3913 | 1261359.2536 | 2708128.9271 | 1261359.7 | 2708118.7654 | 1261362.4669
14 | 2707971.7095 | 1261180.9556 | 2707996.2884 | 1261176.3892 | 2708019.4304 | 1261199.7314 | 2708030.295 | 1261189.6324 | 2708040.1182 | 1261184.9633 | 2708052.031 | 1261185.1477
15 | 2708016.9053 | 1261158.0835 | 2708023.434 | 1261155.1113 | 2708031.2896 | 1261157.4789 | 2708052.031 | 1261185.1477
16 | 2708052.031 | 1261185.1477 | 2708048.5394 | 1261229.7883 | 2708068.221 | 1261249.8536
17 | 2707977.252 | 1261069.8074 | 2707976.4418 | 1261071.5197
18 | 2707971.5916 | 1261081.7698 | 2707976.4418 | 1261071.5197
19 | 2707946.1819 | 1261257.3056 | 2707969.941 | 1261256.2425
20 | 2708068.221 | 1261249.8536 | 2708055.5271 | 1261252.4128 | 2707969.941 | 1261256.2425
21 | 2707933.8172 | 1261042.0989 | 2707932.3047 | 1261041.6862
22 | 2707975.3719 | 1261037.2844 | 2707933.8172 | 1261042.0989
23 | 2707974.3015 | 1261027.1518 | 2707975.3719 | 1261037.2844
24 | 2707975.6575 | 1261039.9878 | 2707975.3719 | 1261037.2844
25 | 2707974.3463 | 1261132.3293 | 2707955.1453 | 1261124.8611
26 | 2708281.0677 | 1261377.7484 | 2708283.6281 | 1261392.8021
27 | 2708284.6735 | 1261398.9484 | 2708283.6281 | 1261392.8021
28 | 2708280.4482 | 1261374.1057 | 2708281.0677 | 1261377.7484
29 | 2708284.6735 | 1261398.9484 | 2708287.6059 | 1261416.1945 | 2708302.9068 | 1261418.1874 | 2708318.4213 | 1261419.2167 | 2708356.2042 | 1261417.9297
30 | 2708280.4482 | 1261374.1057 | 2708261.559 | 1261376.2618
31 | 2708280.4482 | 1261374.1057 | 2708278.2656 | 1261361.267
32 | 2708356.2042 | 1261417.9297 | 2708354.5993 | 1261391.9138
33 | 2708261.559 | 1261376.2618 | 2708255.2045 | 1261375.0778 | 2708254.0468 | 1261370.4483
34 | 2708261.559 | 1261376.2618 | 2708253.5668 | 1261390.839 | 2708243.6762 | 1261402.9015 | 2708235.8022 | 1261399.499 | 2708220.6598 | 1261390.4922 | 2708197.3552 | 1261373.6517 | 2708191.4763 | 1261372.4209 | 2708184.6539 | 1261373.7417
35 | 2708278.2656 | 1261361.267 | 2708277.89 | 1261359.0572 | 2708277.6039 | 1261358.3655
36 | 2708160.3555 | 1261341.5925 | 2708167.4793 | 1261349.3404 | 2708184.6539 | 1261373.7417
37 | 2708184.6539 | 1261373.7417 | 2708189.5312 | 1261383.1611 | 2708208.5377 | 1261427.2904 | 2708210.9228 | 1261431.9209
38 | 2708160.3555 | 1261341.5925 | 2708142.3005 | 1261358.7103 | 2708140.3913 | 1261359.2536
39 | 2708160.3555 | 1261341.5925 | 2708149.5147 | 1261329.7955 | 2708119.971 | 1261300.1293
40 | 2708277.6039 | 1261358.3655 | 2708275.3134 | 1261352.827 | 2708267.7469 | 1261349.508 | 2708258.1787 | 1261349.722
41 | 2708107.4401 | 1261287.5464 | 2708119.971 | 1261300.1293
42 | 2708107.4401 | 1261287.5464 | 2708100.6852 | 1261281.0508 | 2708068.221 | 1261249.8536
43 | 2708107.4401 | 1261287.5464 | 2708128.5374 | 1261282.1162 | 2708149.7732 | 1261276.6869
44 | 2708068.221 | 1261249.8536 | 2708062.5068 | 1261286.373
45 | 2707939.7314 | 1261178.381 | 2707943.2979 | 1261178.713 | 2707949.2103 | 1261185.1374 | 2707971.7095 | 1261180.9556
46 | 2707971.7095 | 1261180.9556 | 2707973.6147 | 1261165.7775 | 2707972.1292 | 1261155.5182
47 | 2707939.7314 | 1261178.381 | 2707923.7797 | 1261176.9078
48 | 2707974.3463 | 1261132.3293 | 2707971.821 | 1261153.3899 | 2707972.1292 | 1261155.5182
49 | 2707981.411 | 1261135.0828 | 2707974.3463 | 1261132.3293
50 | 2707981.411 | 1261135.0828 | 2707981.2057 | 1261129.8589
51 | 2707981.2057 | 1261129.8589 | 2707980.7987 | 1261119.503 | 2707980.1141 | 1261116.0232
52 | 2707968.4306 | 1261088.1174 | 2707974.8397 | 1261098.2985 | 2707978.5986 | 1261108.32 | 2707980.1141 | 1261116.0232
53 | 2707968.4306 | 1261088.1174 | 2707971.5916 | 1261081.7698
54 | 2707971.5916 | 1261081.7698 | 2707970.8228 | 1261073.5154 | 2707973.9073 | 1261068.5226
55 | 2707977.9761 | 1261061.9362 | 2707973.9073 | 1261068.5226
56 | 2707977.9761 | 1261061.9362 | 2707977.9761 | 1261061.9362 | 2707977.6066 | 1261058.4379
57 | 2707976.297 | 1261046.0419 | 2707977.6066 | 1261058.4379
58 | 2707976.0151 | 1261043.373 | 2707976.297 | 1261046.0419
59 | 2707976.0151 | 1261043.373 | 2707975.6575 | 1261039.9878
60 | 2707974.159 | 1261025.8028 | 2707974.3015 | 1261027.1518
61 | 2707906.5639 | 1261175.3178 | 2707891.0338 | 1261173.8821
62 | 2707906.5639 | 1261175.3178 | 2707923.7797 | 1261176.9078

## bus_geodata
| x | y | coords
0 | 2707931.9626 | 1261115.9628
1 | 2707930.9892 | 1261115.5908
2 | 2707947.5024 | 1261121.9023
3 | 2707879.5469 | 1261116.1381
4 | 2707919.3332 | 1261111.1381
5 | 2707926.0768 | 1261113.7142
6 | 2707967.5416 | 1260965.7163
7 | 2708028.959 | 1260955.466
8 | 2707960.8969 | 1260988.1159
9 | 2708154.6397 | 1261187.2688
10 | 2708103.4007 | 1261366.6505
11 | 2708118.7654 | 1261362.4669
12 | 2708156.2613 | 1261129.5386
13 | 2708052.031 | 1261185.1477
14 | 2707977.252 | 1261069.8074
15 | 2707976.4418 | 1261071.5197
16 | 2707946.1819 | 1261257.3056
17 | 2707969.941 | 1261256.2425
18 | 2707933.8172 | 1261042.0989
19 | 2707932.3047 | 1261041.6862
20 | 2707975.3719 | 1261037.2844
21 | 2707955.1453 | 1261124.8611
22 | 2708016.9053 | 1261158.0835
23 | 2708283.6281 | 1261392.8021
24 | 2708281.0677 | 1261377.7484
25 | 2708284.6735 | 1261398.9484
26 | 2708280.4482 | 1261374.1057
27 | 2708356.2042 | 1261417.9297
28 | 2708261.559 | 1261376.2618
29 | 2708278.2656 | 1261361.267
30 | 2708354.5993 | 1261391.9138
31 | 2708184.6539 | 1261373.7417
32 | 2708160.3555 | 1261341.5925
33 | 2708210.9228 | 1261431.9209
34 | 2708254.0468 | 1261370.4483
35 | 2708258.1787 | 1261349.722
36 | 2708277.6039 | 1261358.3655
37 | 2708140.3913 | 1261359.2536
38 | 2708119.971 | 1261300.1293
39 | 2708107.4401 | 1261287.5464
40 | 2708068.221 | 1261249.8536
41 | 2708149.7732 | 1261276.6869
42 | 2708062.5068 | 1261286.373
43 | 2707971.7095 | 1261180.9556
44 | 2707939.7314 | 1261178.381
45 | 2707972.1292 | 1261155.5182
46 | 2707981.411 | 1261135.0828
47 | 2707974.3463 | 1261132.3293
48 | 2707981.2057 | 1261129.8589
49 | 2707980.1141 | 1261116.0232
50 | 2707968.4306 | 1261088.1174
51 | 2707971.5916 | 1261081.7698
52 | 2707973.9073 | 1261068.5226
53 | 2707977.6066 | 1261058.4379
54 | 2707977.9761 | 1261061.9362
55 | 2707976.297 | 1261046.0419
56 | 2707976.0151 | 1261043.373
57 | 2707975.6575 | 1261039.9878
58 | 2707974.3015 | 1261027.1518
59 | 2707974.159 | 1261025.8028
60 | 2707891.0338 | 1261173.8821
61 | 2707906.5639 | 1261175.3178
62 | 2707923.7797 | 1261176.9078
63 | 2707924.7739 | 1261136.5118
64 | 2708019.4304 | 1261199.7314

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1