## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_294-4_2_3_node_271 | 0.4 | n |  | TRUE
1 | bus_LV_294-4_2_3_node_243 | 0.4 | n |  | TRUE
2 | bus_LV_294-4_2_3_node_272 | 0.4 | n |  | TRUE
3 | bus_LV_294-4_2_3_node_65 | 0.4 | n |  | TRUE
4 | bus_LV_294-4_2_3_node_273 | 0.4 | n |  | TRUE
5 | bus_LV_294-4_2_3_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_294-4_2_3_node_274 | 0.4 | n |  | TRUE
7 | bus_LV_294-4_2_3_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_294-4_2_3_node_277 | 0.4 | n |  | TRUE
9 | bus_LV_294-4_2_3_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_294-4_2_3_node_278 | 0.4 | n |  | TRUE
11 | bus_LV_294-4_2_3_node_248 | 0.4 | n |  | TRUE
12 | bus_LV_294-4_2_3_node_160 | 0.4 | n |  | TRUE
13 | bus_LV_294-4_2_3_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_294-4_2_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_294-4_2_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_294-4_2_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_294-4_2_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_294-4_2_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_294-4_2_3_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_294-4_2_3_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_294-4_2_3_node_98 | 0.4 | n |  | TRUE
22 | bus_LV_294-4_2_3_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_294-4_2_3_node_94 | 0.4 | n |  | TRUE
24 | bus_LV_294-4_2_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_294-4_2_3_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_294-4_2_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_294-4_2_3_node_93 | 0.4 | n |  | TRUE
28 | bus_LV_294-4_2_3_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_294-4_2_3_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_294-4_2_3_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_294-4_2_3_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_294-4_2_3_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_294-4_2_3_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_294-4_2_3_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_294-4_2_3_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_294-4_2_3_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_294-4_2_3_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_294-4_2_3_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_294-4_2_3_node_238 | 0.4 | n |  | TRUE
40 | bus_LV_294-4_2_3_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_294-4_2_3_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_294-4_2_3_node_96 | 0.4 | n |  | TRUE
43 | bus_LV_294-4_2_3_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_294-4_2_3_node_232 | 0.4 | n |  | TRUE
45 | bus_LV_294-4_2_3_node_233 | 0.4 | n |  | TRUE
46 | bus_LV_294-4_2_3_node_234 | 0.4 | n |  | TRUE
47 | bus_LV_294-4_2_3_node_235 | 0.4 | n |  | TRUE
48 | bus_LV_294-4_2_3_node_236 | 0.4 | n |  | TRUE
49 | bus_LV_294-4_2_3_node_237 | 0.4 | n |  | TRUE
50 | bus_LV_294-4_2_3_node_242 | 0.4 | n |  | TRUE
51 | bus_LV_294-4_2_3_node_239 | 0.4 | n |  | TRUE
52 | bus_LV_294-4_2_3_node_240 | 0.4 | n |  | TRUE
53 | bus_LV_294-4_2_3_node_241 | 0.4 | n |  | TRUE
54 | bus_LV_294-4_2_3_node_247 | 0.4 | n |  | TRUE
55 | bus_LV_294-4_2_3_node_244 | 0.4 | n |  | TRUE
56 | bus_LV_294-4_2_3_node_245 | 0.4 | n |  | TRUE
57 | bus_LV_294-4_2_3_node_246 | 0.4 | n |  | TRUE
58 | bus_MV_34_1_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_294-4_2_3_load_271 | 0 | 0.0017959 | 0.00045011 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_294-4_2_3_load_272 | 2 | 0.00025553 | 6.4041e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_294-4_2_3_load_273 | 4 | 0.0025989 | 0.00065134 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_294-4_2_3_load_274 | 6 | 0.0026786 | 0.00067131 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_294-4_2_3_load_277 | 8 | 0.0010904 | 0.00027328 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_294-4_2_3_load_278 | 10 | 0.0027933 | 0.00070007 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_294-4_2_3_load_160 | 12 | 0.0010726 | 0.00026882 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_294-4_2_3_load_34 | 14 | 0.017091 | 0.0042835 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_294-4_2_3_load_52 | 19 | 0.011767 | 0.0029491 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_294-4_2_3_load_98 | 21 | 0.018618 | 0.0046661 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_294-4_2_3_load_94 | 23 | 0.018528 | 0.0046436 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_294-4_2_3_load_93 | 27 | 0.0017517 | 0.00043903 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_294-4_2_3_load_56 | 31 | 0.0062621 | 0.0015694 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_294-4_2_3_load_92 | 32 | 0.0042809 | 0.0010729 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_294-4_2_3_load_90 | 34 | 0.018749 | 0.004699 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_294-4_2_3_load_89 | 36 | 0.007701 | 0.00193 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_294-4_2_3_load_88 | 37 | 0.010815 | 0.0027105 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_294-4_2_3_load_238 | 39 | 0.0060934 | 0.0015271 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_294-4_2_3_load_91 | 40 | 0.010065 | 0.0025224 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_294-4_2_3_load_96 | 42 | 0.0017542 | 0.00043964 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_294-4_2_3_load_97 | 43 | 0.0015247 | 0.00038213 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_294-4_2_3_load_232 | 44 | 0.0027129 | 0.00067991 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_294-4_2_3_load_235 | 47 | 0.00086769 | 0.00021746 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_294-4_2_3_load_237 | 49 | 0.00073175 | 0.00018339 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_294-4_2_3_load_239 | 51 | 0.010088 | 0.0025282 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_294-4_2_3_load_240 | 52 | 0.0016138 | 0.00040445 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_294-4_2_3_load_241 | 53 | 0.0071592 | 0.0017943 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_294-4_2_3_load_247 | 54 | 0.00080791 | 0.00020248 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_294-4_2_3_load_244 | 55 | 0.0013953 | 0.00034971 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_294-4_2_3_load_245 | 56 | 0.0014859 | 0.0003724 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_294-4_2_3_load_246 | 57 | 0.00013693 | 3.4317e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_294-4_2_3_line_0 |  | 0 | 1 | 0.067966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_294-4_2_3_line_1 |  | 1 | 38 | 0.036979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_294-4_2_3_line_2 |  | 2 | 3 | 0.011357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_294-4_2_3_line_3 |  | 3 | 35 | 0.047837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_294-4_2_3_line_4 |  | 4 | 5 | 0.03007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_294-4_2_3_line_5 |  | 5 | 25 | 0.056735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_294-4_2_3_line_6 |  | 5 | 6 | 0.024239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_294-4_2_3_line_7 |  | 6 | 7 | 0.0040671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_294-4_2_3_line_8 |  | 7 | 17 | 0.013496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_294-4_2_3_line_9 |  | 8 | 9 | 0.24932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_294-4_2_3_line_10 |  | 8 | 10 | 0.0046587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_294-4_2_3_line_11 |  | 9 | 24 | 0.18565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_294-4_2_3_line_12 |  | 10 | 11 | 0.032574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_294-4_2_3_line_13 |  | 11 | 57 | 0.037378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_294-4_2_3_line_14 |  | 12 | 13 | 0.021096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_294-4_2_3_line_15 |  | 13 | 22 | 0.073315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_294-4_2_3_line_16 |  | 14 | 15 | 0.0050695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_294-4_2_3_line_17 |  | 14 | 16 | 0.044603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_294-4_2_3_line_18 |  | 15 | 17 | 0.083793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_294-4_2_3_line_19 |  | 16 | 18 | 0.028853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_294-4_2_3_line_20 |  | 17 | 19 | 0.062279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_294-4_2_3_line_21 |  | 18 | 28 | 0.029949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_294-4_2_3_line_22 |  | 19 | 29 | 0.050123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_294-4_2_3_line_23 |  | 20 | 21 | 0.04635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_294-4_2_3_line_24 |  | 20 | 22 | 0.0099746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_294-4_2_3_line_25 |  | 20 | 23 | 0.045283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_294-4_2_3_line_26 |  | 22 | 27 | 0.043386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_294-4_2_3_line_27 |  | 22 | 24 | 0.33576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_294-4_2_3_line_28 |  | 23 | 41 | 0.033452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_294-4_2_3_line_29 |  | 25 | 26 | 0.013429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_294-4_2_3_line_30 |  | 25 | 27 | 0.021606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_294-4_2_3_line_31 |  | 26 | 32 | 0.034002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_294-4_2_3_line_32 |  | 28 | 33 | 0.12934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_294-4_2_3_line_33 |  | 28 | 34 | 0.031958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_294-4_2_3_line_34 |  | 29 | 30 | 0.020245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_294-4_2_3_line_35 |  | 30 | 31 | 0.04425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_294-4_2_3_line_36 |  | 32 | 40 | 0.027752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_294-4_2_3_line_37 |  | 33 | 35 | 0.13358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_294-4_2_3_line_38 |  | 33 | 36 | 0.033154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_294-4_2_3_line_39 |  | 35 | 37 | 0.04202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_294-4_2_3_line_40 |  | 38 | 39 | 0.039095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_294-4_2_3_line_41 |  | 39 | 49 | 0.059577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_294-4_2_3_line_42 |  | 41 | 42 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_294-4_2_3_line_43 |  | 41 | 43 | 0.016173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_294-4_2_3_line_44 |  | 44 | 45 | 0.054371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_294-4_2_3_line_45 |  | 44 | 46 | 0.15988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_294-4_2_3_line_46 |  | 45 | 47 | 0.10324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_294-4_2_3_line_47 |  | 46 | 48 | 0.009931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_294-4_2_3_line_48 |  | 47 | 49 | 0.029896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_294-4_2_3_line_49 |  | 48 | 50 | 0.027315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_294-4_2_3_line_50 |  | 48 | 51 | 0.072094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_294-4_2_3_line_51 |  | 50 | 54 | 0.045664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_294-4_2_3_line_52 |  | 51 | 52 | 0.012026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_294-4_2_3_line_53 |  | 52 | 53 | 0.086521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_294-4_2_3_line_54 |  | 54 | 56 | 0.0053957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_294-4_2_3_line_55 |  | 55 | 56 | 0.0056598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_294-4_2_3_line_56 |  | 55 | 57 | 0.020841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_294-4_2_3_trafo_90 | 0.63 MVA 20/0.4 kV | 58 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2708294.8828 | 1261696.12 | 2708307.5317 | 1261688.9788 | 2708311.5793 | 1261683.6039 | 2708309.2551 | 1261668.1372 | 2708305.2658 | 1261665.8066 | 2708279.3045 | 1261670.877
1 | 2708294.8828 | 1261696.12 | 2708281.9597 | 1261703.4229 | 2708271.1691 | 1261704.9823 | 2708271.264 | 1261709.2654 | 2708271.4747 | 1261716.2752
2 | 2708018.7304 | 1261582.0081 | 2708007.6387 | 1261584.4503
3 | 2707997.5602 | 1261610.4678 | 2707994.1258 | 1261595.081 | 2708010.8042 | 1261591.3713 | 2708017.7359 | 1261589.8298 | 2708018.7304 | 1261582.0081
4 | 2707670.4935 | 1261649.9839 | 2707684.9987 | 1261653.0171 | 2707692.7173 | 1261652.1236 | 2707699.8547 | 1261649.8813
5 | 2707670.4935 | 1261649.9839 | 2707669.582 | 1261654.5156 | 2707670.8239 | 1261661.6331 | 2707671.9912 | 1261667.0589 | 2707633.5676 | 1261675.489
6 | 2707670.4935 | 1261649.9839 | 2707675.2504 | 1261626.2163
7 | 2707676.0486 | 1261622.2282 | 2707675.2504 | 1261626.2163
8 | 2707679.2643 | 1261609.1202 | 2707676.0486 | 1261622.2282
9 | 2707650.73 | 1261845.456 | 2707751.1717 | 1261867.4254 | 2707833.0697 | 1261886.3114 | 2707894.073 | 1261899.708
10 | 2707894.073 | 1261899.708 | 2707898.6233 | 1261900.7073
11 | 2707528.1767 | 1261835.4742 | 2707516.9096 | 1261847.5129 | 2707515.5913 | 1261850.3802 | 2707514.5468 | 1261853.942 | 2707514.1005 | 1261858.5934 | 2707515.4552 | 1261863.6668 | 2707520.6783 | 1261873.9926 | 2707526.5633 | 1261872.376 | 2707528.8771 | 1261869.8826 | 2707534.6011 | 1261876.7035 | 2707545.2801 | 1261872.9612 | 2707556.75 | 1261867.9989 | 2707562.5382 | 1261864.668 | 2707577.6485 | 1261855.9576 | 2707592.4419 | 1261851.0002 | 2707611.1242 | 1261847.2702 | 2707629.2002 | 1261844.9749 | 2707641.1906 | 1261844.5483 | 2707650.73 | 1261845.456
12 | 2707930.4386 | 1261907.6941 | 2707898.6233 | 1261900.7073
13 | 2707930.4386 | 1261907.6941 | 2707936.0754 | 1261881.7083 | 2707938.4862 | 1261877.2152 | 2707943.9772 | 1261875.7284
14 | 2707549.9555 | 1261649.9691 | 2707555.9402 | 1261652.8247 | 2707570.1157 | 1261655.7047
15 | 2707570.1672 | 1261689.7813 | 2707544.2621 | 1261695.7153 | 2707542.8606 | 1261690.3186 | 2707542.5838 | 1261683.1631 | 2707549.9555 | 1261649.9691
16 | 2707745.7696 | 1261617.6382 | 2707750.7213 | 1261616.5516
17 | 2707794.2879 | 1261606.9909 | 2707750.7213 | 1261616.5516
18 | 2707679.2643 | 1261609.1202 | 2707737.3352 | 1261595.3658 | 2707737.8236 | 1261602.8922 | 2707745.7696 | 1261617.6382
19 | 2707794.2879 | 1261606.9909 | 2707793.0237 | 1261635.8144
20 | 2707679.2643 | 1261609.1202 | 2707685.2017 | 1261580.6487 | 2707683.9706 | 1261578.7246 | 2707671.6995 | 1261576.3326 | 2707676.4549 | 1261558.5486
21 | 2707793.0237 | 1261635.8144 | 2707793.5642 | 1261639.6497 | 2707819.0201 | 1261633.9977
22 | 2707627.9509 | 1261546.4669 | 2707663.2403 | 1261554.1599 | 2707666.7783 | 1261556.0481 | 2707676.4549 | 1261558.5486
23 | 2707572.3793 | 1261699.5075 | 2707527.3709 | 1261710.5769
24 | 2707570.1672 | 1261689.7813 | 2707571.2348 | 1261694.4824 | 2707572.3793 | 1261699.5075
25 | 2707572.3793 | 1261699.5075 | 2707582.455 | 1261743.6549
26 | 2707570.1672 | 1261689.7813 | 2707612.4909 | 1261680.2403
27 | 2707528.1767 | 1261835.4742 | 2707516.9096 | 1261847.5129 | 2707515.5913 | 1261850.3802 | 2707514.5468 | 1261853.942 | 2707514.1005 | 1261858.5934 | 2707515.4552 | 1261863.6668 | 2707520.6783 | 1261873.9926 | 2707526.5633 | 1261872.376 | 2707528.8771 | 1261869.8826 | 2707530.0488 | 1261861.3968 | 2707534.3067 | 1261858.5051 | 2707538.5608 | 1261855.402 | 2707535.3754 | 1261851.5408 | 2707521.322 | 1261833.6369 | 2707500.1204 | 1261806.4064 | 2707491.7547 | 1261795.245 | 2707486.4538 | 1261786.697 | 2707479.9341 | 1261774.724 | 2707475.1954 | 1261763.028 | 2707472.272 | 1261754.2898 | 2707468.4641 | 1261739.0633 | 2707468.103 | 1261736.5435 | 2707470.4407 | 1261726.0994 | 2707473.3676 | 1261721.8045 | 2707476.0303 | 1261720.4295 | 2707527.5887 | 1261704.9867 | 2707546.8201 | 1261700.0988 | 2707571.2348 | 1261694.4824 | 2707570.1672 | 1261689.7813
28 | 2707589.8984 | 1261776.2686 | 2707582.455 | 1261743.6549
29 | 2707633.5676 | 1261675.489 | 2707636.2975 | 1261688.6387
30 | 2707633.5676 | 1261675.489 | 2707612.4909 | 1261680.2403
31 | 2707636.2975 | 1261688.6387 | 2707643.3655 | 1261721.8983
32 | 2707819.0201 | 1261633.9977 | 2707912.1953 | 1261613.2791 | 2707914.7889 | 1261637.5803 | 2707916.715 | 1261646.8343
33 | 2707819.0201 | 1261633.9977 | 2707826.4707 | 1261665.075
34 | 2707627.9509 | 1261546.4669 | 2707624.2737 | 1261562.1576 | 2707626.1283 | 1261565.8501
35 | 2707626.1283 | 1261565.8501 | 2707619.6598 | 1261595.3573 | 2707615.8921 | 1261608.8849
36 | 2707649.1342 | 1261749.0442 | 2707643.3655 | 1261721.8983
37 | 2707916.715 | 1261646.8343 | 2707914.7889 | 1261637.5803 | 2707912.1953 | 1261613.2791 | 2707994.1258 | 1261595.081 | 2707997.5602 | 1261610.4678
38 | 2707916.715 | 1261646.8343 | 2707884.2738 | 1261653.6706
39 | 2707997.5602 | 1261610.4678 | 2708000.094 | 1261621.5234 | 2708006.7341 | 1261651.4737
40 | 2708271.4747 | 1261716.2752 | 2708266.267 | 1261716.6914 | 2708255.8034 | 1261721.7931 | 2708249.6346 | 1261728.1856 | 2708243.4946 | 1261739.594 | 2708243.4359 | 1261739.98
41 | 2708240.0258 | 1261799.3968 | 2708240.5746 | 1261785.8687 | 2708241.7121 | 1261751.3269 | 2708243.4359 | 1261739.98
42 | 2707589.8984 | 1261776.2686 | 2707604.6991 | 1261773.762
43 | 2707589.8984 | 1261776.2686 | 2707574.079 | 1261779.6316
44 | 2708235.8641 | 1261932.3954 | 2708181.579 | 1261929.3351
45 | 2708021.9317 | 1261920.664 | 2708093.9166 | 1261924.3931 | 2708181.579 | 1261929.3351
46 | 2708235.8641 | 1261932.3954 | 2708235.011 | 1261923.0163 | 2708238.814 | 1261829.2685
47 | 2708021.9317 | 1261920.664 | 2708012.0071 | 1261919.8154
48 | 2708238.814 | 1261829.2685 | 2708240.0258 | 1261799.3968
49 | 2707984.6577 | 1261918.2036 | 2708012.0071 | 1261919.8154
50 | 2708012.0071 | 1261919.8154 | 2708015.0649 | 1261847.7859
51 | 2707984.6577 | 1261918.2036 | 2707986.279 | 1261903.2983 | 2707983.7198 | 1261894.0549 | 2707984.8239 | 1261884.7672 | 2707983.6848 | 1261881.5326 | 2707975.484 | 1261880.2687
52 | 2708015.575 | 1261835.7708 | 2708015.0649 | 1261847.7859
53 | 2708015.575 | 1261835.7708 | 2708016.4531 | 1261815.0857 | 2708018.7056 | 1261763.5833 | 2708018.9663 | 1261749.3204
54 | 2707970.1512 | 1261879.4469 | 2707975.484 | 1261880.2687
55 | 2707970.1512 | 1261879.4469 | 2707964.5575 | 1261878.5848
56 | 2707943.9772 | 1261875.7284 | 2707944.7193 | 1261875.5275 | 2707964.5575 | 1261878.5848

## bus_geodata
| x | y | coords
0 | 2708279.3045 | 1261670.877
1 | 2708294.8828 | 1261696.12
2 | 2708007.6387 | 1261584.4503
3 | 2708018.7304 | 1261582.0081
4 | 2707699.8547 | 1261649.8813
5 | 2707670.4935 | 1261649.9839
6 | 2707675.2504 | 1261626.2163
7 | 2707676.0486 | 1261622.2282
8 | 2707894.073 | 1261899.708
9 | 2707650.73 | 1261845.456
10 | 2707898.6233 | 1261900.7073
11 | 2707930.4386 | 1261907.6941
12 | 2707570.1157 | 1261655.7047
13 | 2707549.9555 | 1261649.9691
14 | 2707750.7213 | 1261616.5516
15 | 2707745.7696 | 1261617.6382
16 | 2707794.2879 | 1261606.9909
17 | 2707679.2643 | 1261609.1202
18 | 2707793.0237 | 1261635.8144
19 | 2707676.4549 | 1261558.5486
20 | 2707572.3793 | 1261699.5075
21 | 2707527.3709 | 1261710.5769
22 | 2707570.1672 | 1261689.7813
23 | 2707582.455 | 1261743.6549
24 | 2707528.1767 | 1261835.4742
25 | 2707633.5676 | 1261675.489
26 | 2707636.2975 | 1261688.6387
27 | 2707612.4909 | 1261680.2403
28 | 2707819.0201 | 1261633.9977
29 | 2707627.9509 | 1261546.4669
30 | 2707626.1283 | 1261565.8501
31 | 2707615.8921 | 1261608.8849
32 | 2707643.3655 | 1261721.8983
33 | 2707916.715 | 1261646.8343
34 | 2707826.4707 | 1261665.075
35 | 2707997.5602 | 1261610.4678
36 | 2707884.2738 | 1261653.6706
37 | 2708006.7341 | 1261651.4737
38 | 2708271.4747 | 1261716.2752
39 | 2708243.4359 | 1261739.98
40 | 2707649.1342 | 1261749.0442
41 | 2707589.8984 | 1261776.2686
42 | 2707604.6991 | 1261773.762
43 | 2707574.079 | 1261779.6316
44 | 2708181.579 | 1261929.3351
45 | 2708235.8641 | 1261932.3954
46 | 2708021.9317 | 1261920.664
47 | 2708238.814 | 1261829.2685
48 | 2708012.0071 | 1261919.8154
49 | 2708240.0258 | 1261799.3968
50 | 2707984.6577 | 1261918.2036
51 | 2708015.0649 | 1261847.7859
52 | 2708015.575 | 1261835.7708
53 | 2708018.9663 | 1261749.3204
54 | 2707975.484 | 1261880.2687
55 | 2707964.5575 | 1261878.5848
56 | 2707970.1512 | 1261879.4469
57 | 2707943.9772 | 1261875.7284
58 | 2707831.4584 | 1261685.8794

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1