## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_294-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_294-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_294-7_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_294-7_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_294-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_294-7_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_294-7_0_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_294-7_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_294-7_0_3_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_294-7_0_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_294-7_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_294-7_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_294-7_0_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_294-7_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_294-7_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_294-7_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_294-7_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_294-7_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_294-7_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_294-7_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_294-7_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_294-7_0_3_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_294-7_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_294-7_0_3_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_294-7_0_3_node_100 | 0.4 | n |  | TRUE
25 | bus_LV_294-7_0_3_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_294-7_0_3_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_294-7_0_3_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_294-7_0_3_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_294-7_0_3_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_294-7_0_3_node_99 | 0.4 | n |  | TRUE
31 | bus_LV_294-7_0_3_node_101 | 0.4 | n |  | TRUE
32 | bus_LV_294-7_0_3_node_97 | 0.4 | n |  | TRUE
33 | bus_LV_294-7_0_3_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_294-7_0_3_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_294-7_0_3_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_294-7_0_3_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_294-7_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_294-7_0_3_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_294-7_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_294-7_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_294-7_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_294-7_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_294-7_0_3_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_294-7_0_3_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_294-7_0_3_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_294-7_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_294-7_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_294-7_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_294-7_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_294-7_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_294-7_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_294-7_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_294-7_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_294-7_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_294-7_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_294-7_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_294-7_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_294-7_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_294-7_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_294-7_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_294-7_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_294-7_0_3_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_294-7_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_294-7_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_294-7_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_294-7_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_294-7_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_294-7_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_294-7_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_294-7_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_294-7_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_294-7_0_3_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_294-7_0_3_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_294-7_0_3_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_294-7_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_294-7_0_3_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_294-7_0_3_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_294-7_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_294-7_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_294-7_0_3_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_294-7_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_294-7_0_3_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_294-7_0_3_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_294-7_0_3_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_294-7_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_294-7_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_294-7_0_3_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_294-7_0_3_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_294-7_0_3_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_294-7_0_3_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_294-7_0_3_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_294-7_0_3_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_294-7_0_3_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_294-7_0_3_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_294-7_0_3_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_294-7_0_3_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_294-7_0_3_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_294-7_0_3_node_96 | 0.4 | n |  | TRUE
99 | bus_MV_34_1_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_294-7_0_3_load_0 | 0 | 0.010408 | 0.0026086 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_294-7_0_3_load_3 | 2 | 0.0040382 | 0.0010121 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_294-7_0_3_load_5 | 5 | 0.0025624 | 0.00064219 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_294-7_0_3_load_27 | 6 | 0.0044445 | 0.0011139 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_294-7_0_3_load_22 | 7 | 0.0037331 | 0.0009356 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_294-7_0_3_load_34 | 8 | 0.020124 | 0.0050435 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_294-7_0_3_load_32 | 9 | 0.0026383 | 0.00066121 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_294-7_0_3_load_20 | 11 | 0.0092728 | 0.002324 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_294-7_0_3_load_31 | 13 | 0.0028197 | 0.00070668 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_294-7_0_3_load_6 | 14 | 0.00013574 | 3.4019e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_294-7_0_3_load_9 | 17 | 0.00027597 | 6.9164e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_294-7_0_3_load_55 | 21 | 0.00010104 | 2.5324e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_294-7_0_3_load_90 | 23 | 0.00020921 | 5.2432e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_294-7_0_3_load_100 | 24 | 0.00080727 | 0.00020232 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_294-7_0_3_load_102 | 25 | 0.00060883 | 0.00015259 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_294-7_0_3_load_54 | 26 | 0.00019541 | 4.8974e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_294-7_0_3_load_49 | 27 | 0.0023019 | 0.00057691 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_294-7_0_3_load_89 | 28 | 0.0035974 | 0.00090161 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_294-7_0_3_load_101 | 31 | 0.000768 | 0.00019248 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_294-7_0_3_load_13 | 33 | 0.022099 | 0.0055386 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_294-7_0_3_load_17 | 35 | 0.023441 | 0.0058748 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_294-7_0_3_load_16 | 36 | 0.0031278 | 0.0007839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_294-7_0_3_load_18 | 37 | 0.0042219 | 0.0010581 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_294-7_0_3_load_24 | 39 | 0.0046141 | 0.0011564 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_294-7_0_3_load_21 | 41 | 0.049504 | 0.012407 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_294-7_0_3_load_23 | 42 | 0.0091149 | 0.0022844 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_294-7_0_3_load_80 | 44 | 0.0045204 | 0.0011329 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_294-7_0_3_load_35 | 46 | 0.0181 | 0.0045362 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_294-7_0_3_load_30 | 47 | 0.002358 | 0.00059096 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_294-7_0_3_load_33 | 48 | 0.0018211 | 0.00045642 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_294-7_0_3_load_40 | 49 | 0.0070986 | 0.0017791 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_294-7_0_3_load_37 | 50 | 0.0074097 | 0.001857 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_294-7_0_3_load_38 | 51 | 0.0035355 | 0.00088608 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_294-7_0_3_load_39 | 52 | 0.002951 | 0.0007396 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_294-7_0_3_load_47 | 54 | 0.0021522 | 0.00053939 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_294-7_0_3_load_46 | 55 | 0.0027714 | 0.00069459 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_294-7_0_3_load_59 | 56 | 0.002866 | 0.00071828 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_294-7_0_3_load_42 | 58 | 0.0040384 | 0.0010121 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_294-7_0_3_load_43 | 59 | 0.0049806 | 0.0012483 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_294-7_0_3_load_44 | 60 | 0.0053887 | 0.0013505 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_294-7_0_3_load_48 | 61 | 0.0051131 | 0.0012815 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_294-7_0_3_load_79 | 62 | 0.00358 | 0.00089724 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_294-7_0_3_load_50 | 64 | 0.0022345 | 0.00056002 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_294-7_0_3_load_51 | 65 | 0.0019651 | 0.00049249 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_294-7_0_3_load_52 | 66 | 0.0018864 | 0.00047277 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_294-7_0_3_load_53 | 67 | 0.0026658 | 0.00066811 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_294-7_0_3_load_56 | 68 | 0.006024 | 0.0015098 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_294-7_0_3_load_68 | 71 | 0.0034024 | 0.00085272 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_294-7_0_3_load_66 | 72 | 0.014151 | 0.0035466 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_294-7_0_3_load_81 | 73 | 0.0049849 | 0.0012493 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_294-7_0_3_load_60 | 75 | 0.012243 | 0.0030683 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_294-7_0_3_load_69 | 79 | 0.0042574 | 0.001067 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_294-7_0_3_load_70 | 81 | 0.0016913 | 0.00042389 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_294-7_0_3_load_72 | 82 | 0.0013352 | 0.00033464 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_294-7_0_3_load_85 | 84 | 0.0016757 | 0.00041997 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_294-7_0_3_load_83 | 85 | 0.00081138 | 0.00020335 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_294-7_0_3_load_78 | 86 | 0.00085352 | 0.00021391 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_294-7_0_3_load_71 | 87 | 0.016239 | 0.0040698 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_294-7_0_3_load_74 | 88 | 0.00089016 | 0.00022309 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_294-7_0_3_load_75 | 89 | 0.001111 | 0.00027845 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_294-7_0_3_load_77 | 90 | 0.0012512 | 0.00031357 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_294-7_0_3_load_76 | 91 | 0.00066046 | 0.00016553 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_294-7_0_3_load_87 | 92 | 0.0024979 | 0.00062604 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_294-7_0_3_load_88 | 93 | 0.0073141 | 0.0018331 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_294-7_0_3_load_91 | 94 | 0.0014859 | 0.0003724 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_294-7_0_3_load_93 | 96 | 0.00057565 | 0.00014427 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_294-7_0_3_load_95 | 97 | 0.00073544 | 0.00018432 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_294-7_0_3_load_96 | 98 | 0.0010784 | 0.00027027 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_294-7_0_3_line_0 |  | 0 | 1 | 0.024964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_294-7_0_3_line_1 |  | 1 | 2 | 0.0093928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_294-7_0_3_line_2 |  | 2 | 6 | 0.0093213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_294-7_0_3_line_3 |  | 3 | 4 | 0.023314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_294-7_0_3_line_4 |  | 3 | 5 | 0.0081947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_294-7_0_3_line_5 |  | 4 | 7 | 0.020313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_294-7_0_3_line_6 |  | 4 | 8 | 0.0087622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_294-7_0_3_line_7 |  | 5 | 9 | 0.0029594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_294-7_0_3_line_8 |  | 6 | 10 | 0.017484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_294-7_0_3_line_9 |  | 7 | 11 | 0.028881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_294-7_0_3_line_10 |  | 8 | 12 | 0.025825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_294-7_0_3_line_11 |  | 9 | 13 | 0.010946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_294-7_0_3_line_12 |  | 10 | 47 | 0.014785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_294-7_0_3_line_13 |  | 10 | 22 | 0.015578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_294-7_0_3_line_14 |  | 11 | 41 | 0.018363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_294-7_0_3_line_15 |  | 12 | 46 | 0.055218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_294-7_0_3_line_16 |  | 12 | 40 | 0.015552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_294-7_0_3_line_17 |  | 13 | 48 | 0.0027749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_294-7_0_3_line_18 |  | 14 | 15 | 0.016737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_294-7_0_3_line_19 |  | 14 | 16 | 0.021422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_294-7_0_3_line_20 |  | 15 | 17 | 0.02101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_294-7_0_3_line_21 |  | 15 | 18 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_294-7_0_3_line_22 |  | 16 | 19 | 0.034902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_294-7_0_3_line_23 |  | 16 | 20 | 0.003233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_294-7_0_3_line_24 |  | 17 | 21 | 0.0091722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_294-7_0_3_line_25 |  | 18 | 22 | 0.028097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_294-7_0_3_line_26 |  | 18 | 23 | 0.017558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_294-7_0_3_line_27 |  | 19 | 24 | 0.023872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_294-7_0_3_line_28 |  | 20 | 25 | 0.030041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_294-7_0_3_line_29 |  | 21 | 26 | 0.007709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_294-7_0_3_line_30 |  | 22 | 27 | 0.01146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_294-7_0_3_line_31 |  | 23 | 28 | 0.017991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_294-7_0_3_line_32 |  | 24 | 29 | 0.0095648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_294-7_0_3_line_33 |  | 26 | 67 | 0.01481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_294-7_0_3_line_34 |  | 27 | 49 | 0.014301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_294-7_0_3_line_35 |  | 29 | 31 | 0.01801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_294-7_0_3_line_36 |  | 30 | 31 | 0.0099344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_294-7_0_3_line_37 |  | 30 | 32 | 0.02499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_294-7_0_3_line_38 |  | 32 | 97 | 0.014264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_294-7_0_3_line_39 |  | 32 | 96 | 0.013184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_294-7_0_3_line_40 |  | 33 | 34 | 0.02333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_294-7_0_3_line_41 |  | 33 | 35 | 0.030067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_294-7_0_3_line_42 |  | 34 | 36 | 0.0036199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_294-7_0_3_line_43 |  | 35 | 37 | 0.014466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_294-7_0_3_line_44 |  | 37 | 38 | 0.062583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_294-7_0_3_line_45 |  | 38 | 39 | 0.040625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_294-7_0_3_line_46 |  | 39 | 40 | 0.0095228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_294-7_0_3_line_47 |  | 41 | 42 | 0.022904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_294-7_0_3_line_48 |  | 42 | 43 | 0.028468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_294-7_0_3_line_49 |  | 43 | 44 | 0.015277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_294-7_0_3_line_50 |  | 43 | 45 | 0.010206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_294-7_0_3_line_51 |  | 44 | 62 | 0.018116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_294-7_0_3_line_52 |  | 45 | 92 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_294-7_0_3_line_53 |  | 47 | 48 | 0.018078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_294-7_0_3_line_54 |  | 49 | 51 | 0.0045915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_294-7_0_3_line_55 |  | 50 | 51 | 0.020021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_294-7_0_3_line_56 |  | 50 | 52 | 0.0067004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_294-7_0_3_line_57 |  | 53 | 54 | 0.0063208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_294-7_0_3_line_58 |  | 53 | 55 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_294-7_0_3_line_59 |  | 54 | 56 | 0.016911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_294-7_0_3_line_60 |  | 55 | 57 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_294-7_0_3_line_61 |  | 56 | 63 | 0.016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_294-7_0_3_line_62 |  | 57 | 61 | 0.0076767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_294-7_0_3_line_63 |  | 57 | 60 | 0.011785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_294-7_0_3_line_64 |  | 58 | 59 | 0.016902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_294-7_0_3_line_65 |  | 59 | 60 | 0.00074612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_294-7_0_3_line_66 |  | 61 | 62 | 0.016429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_294-7_0_3_line_67 |  | 63 | 69 | 0.004077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_294-7_0_3_line_68 |  | 63 | 68 | 0.059922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_294-7_0_3_line_69 |  | 64 | 65 | 0.0061149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_294-7_0_3_line_70 |  | 64 | 66 | 0.0029412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_294-7_0_3_line_71 |  | 66 | 67 | 0.026932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_294-7_0_3_line_72 |  | 69 | 70 | 0.022332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_294-7_0_3_line_73 |  | 70 | 71 | 0.018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_294-7_0_3_line_74 |  | 70 | 72 | 0.0083584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_294-7_0_3_line_75 |  | 71 | 88 | 0.024092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_294-7_0_3_line_76 |  | 72 | 77 | 0.022731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_294-7_0_3_line_77 |  | 73 | 74 | 0.022954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_294-7_0_3_line_78 |  | 74 | 85 | 0.003263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_294-7_0_3_line_79 |  | 75 | 76 | 0.036574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_294-7_0_3_line_80 |  | 76 | 77 | 0.004183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_294-7_0_3_line_81 |  | 77 | 78 | 0.004461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_294-7_0_3_line_82 |  | 78 | 79 | 0.014213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_294-7_0_3_line_83 |  | 79 | 81 | 0.036497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_294-7_0_3_line_84 |  | 80 | 81 | 0.026222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_294-7_0_3_line_85 |  | 80 | 82 | 0.019175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_294-7_0_3_line_86 |  | 82 | 87 | 0.0013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_294-7_0_3_line_87 |  | 83 | 84 | 0.028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_294-7_0_3_line_88 |  | 83 | 85 | 0.019352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_294-7_0_3_line_89 |  | 83 | 86 | 0.011982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_294-7_0_3_line_90 |  | 86 | 90 | 0.0022523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_294-7_0_3_line_91 |  | 88 | 89 | 0.00051003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_294-7_0_3_line_92 |  | 89 | 91 | 0.013947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_294-7_0_3_line_93 |  | 90 | 91 | 0.0097196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_294-7_0_3_line_94 |  | 92 | 93 | 0.0049969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_294-7_0_3_line_95 |  | 94 | 95 | 0.024254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_294-7_0_3_line_96 |  | 95 | 96 | 0.024745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_294-7_0_3_line_97 |  | 97 | 98 | 0.016317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_294-7_0_3_trafo_21 | 0.63 MVA 20/0.4 kV | 99 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2707520.1103 | 1261420.0549 | 2707528.9719 | 1261422.2178 | 2707544.4018 | 1261425.8072
1 | 2707520.1103 | 1261420.0549 | 2707517.9844 | 1261429.2039
2 | 2707517.9844 | 1261429.2039 | 2707515.8746 | 1261438.2833
3 | 2707591.4479 | 1261471.2839 | 2707568.5054 | 1261466.774
4 | 2707568.5054 | 1261466.774 | 2707563.573 | 1261465.7168 | 2707560.4847 | 1261465.0948
5 | 2707591.4479 | 1261471.2839 | 2707587.357 | 1261491.1803
6 | 2707591.4479 | 1261471.2839 | 2707600.1817 | 1261471.9895
7 | 2707557.5835 | 1261464.5105 | 2707560.4847 | 1261465.0948
8 | 2707511.9172 | 1261455.3135 | 2707515.8746 | 1261438.2833
9 | 2707581.5405 | 1261519.47 | 2707587.357 | 1261491.1803
10 | 2707625.9228 | 1261474.0689 | 2707600.1817 | 1261471.9895
11 | 2707557.5835 | 1261464.5105 | 2707546.8532 | 1261462.3495
12 | 2707511.9172 | 1261455.3135 | 2707526.411 | 1261458.2325
13 | 2707508.2203 | 1261470.448 | 2707511.9172 | 1261455.3135
14 | 2707581.5405 | 1261519.47 | 2707577.8423 | 1261537.4567
15 | 2707625.9228 | 1261474.0689 | 2707630.0797 | 1261419.0073
16 | 2707641.4706 | 1261475.3306 | 2707625.9228 | 1261474.0689
17 | 2707544.1329 | 1261461.8016 | 2707546.8532 | 1261462.3495
18 | 2707488.9166 | 1261458.9653 | 2707472.4309 | 1261456.0766
19 | 2707451.5994 | 1261451.2476 | 2707455.8842 | 1261452.6933 | 2707462.2913 | 1261454.2999 | 2707472.4309 | 1261456.0766
20 | 2707488.9166 | 1261458.9653 | 2707482.5005 | 1261478.9712
21 | 2707492.1682 | 1261448.8381 | 2707488.9166 | 1261458.9653
22 | 2707441.7887 | 1261484.7198 | 2707451.1315 | 1261454.186 | 2707451.5994 | 1261451.2476
23 | 2707451.0166 | 1261448.0676 | 2707451.5994 | 1261451.2476
24 | 2707482.5005 | 1261478.9712 | 2707479.6994 | 1261487.7052
25 | 2707508.2203 | 1261470.448 | 2707500.5232 | 1261466.0044 | 2707494.562 | 1261456.4547 | 2707492.1682 | 1261448.8381
26 | 2707492.1682 | 1261448.8381 | 2707488.7521 | 1261434.8531 | 2707488.167 | 1261431.7456
27 | 2707441.7887 | 1261484.7198 | 2707418.7719 | 1261478.3867
28 | 2707451.0166 | 1261448.0676 | 2707455.9879 | 1261418.4411
29 | 2707477.3451 | 1261495.0459 | 2707479.6994 | 1261487.7052
30 | 2707508.2203 | 1261470.448 | 2707505.6272 | 1261481.6112
31 | 2707484.8381 | 1261414.0656 | 2707488.167 | 1261431.7456
32 | 2707409.5497 | 1261475.8492 | 2707418.7719 | 1261478.3867
33 | 2707477.3451 | 1261495.0459 | 2707472.8222 | 1261509.1485
34 | 2707505.6272 | 1261481.6112 | 2707502.3912 | 1261495.5417
35 | 2707409.5497 | 1261475.8492 | 2707414.7254 | 1261458.5989
36 | 2707417.5804 | 1261449.0835 | 2707414.7254 | 1261458.5989
37 | 2707393.4984 | 1261442.1516 | 2707417.5804 | 1261449.0835
38 | 2707393.4984 | 1261442.1516 | 2707389.5441 | 1261455.8564
39 | 2707393.4984 | 1261442.1516 | 2707395.8454 | 1261429.1786
40 | 2707627.9509 | 1261546.4669 | 2707650.7451 | 1261551.436
41 | 2707657.8373 | 1261522.2174 | 2707650.7451 | 1261551.436
42 | 2707627.9509 | 1261546.4669 | 2707628.6603 | 1261542.9172
43 | 2707657.8373 | 1261522.2174 | 2707669.9714 | 1261524.7354 | 2707672.0019 | 1261525.1528
44 | 2707691.4754 | 1261479.1216 | 2707691.2985 | 1261500.4141 | 2707684.8679 | 1261527.8202 | 2707673.7106 | 1261525.5041 | 2707672.0019 | 1261525.1528
45 | 2707691.4754 | 1261479.1216 | 2707650.9662 | 1261476.0505
46 | 2707641.4706 | 1261475.3306 | 2707650.9662 | 1261476.0505
47 | 2707577.8423 | 1261537.4567 | 2707577.2176 | 1261540.4946 | 2707572.6959 | 1261559.7738
48 | 2707566.1955 | 1261587.4894 | 2707572.6959 | 1261559.7738
49 | 2707566.1955 | 1261587.4894 | 2707551.3404 | 1261583.9247
50 | 2707566.1955 | 1261587.4894 | 2707563.8443 | 1261597.4217
51 | 2707533.7246 | 1261579.6976 | 2707551.3404 | 1261583.9247
52 | 2707563.8443 | 1261597.4217 | 2707586.9415 | 1261602.6235
53 | 2707526.411 | 1261458.2325 | 2707544.1329 | 1261461.8016
54 | 2707501.3523 | 1261500.0142 | 2707502.3912 | 1261495.5417
55 | 2707496.8222 | 1261519.5158 | 2707501.3523 | 1261500.0142
56 | 2707496.8222 | 1261519.5158 | 2707495.3061 | 1261526.0425
57 | 2707485.5297 | 1261568.1291 | 2707484.1229 | 1261574.2914
58 | 2707485.5297 | 1261568.1291 | 2707499.8203 | 1261571.5603
59 | 2707480.3592 | 1261590.7781 | 2707484.1229 | 1261574.2914
60 | 2707510.2848 | 1261574.0729 | 2707499.8203 | 1261571.5603
61 | 2707476.6203 | 1261607.1557 | 2707480.3592 | 1261590.7781
62 | 2707510.2848 | 1261574.0729 | 2707517.7495 | 1261575.8641
63 | 2707510.2848 | 1261574.0729 | 2707512.8868 | 1261562.5788
64 | 2707516.7834 | 1261545.3668 | 2707513.0516 | 1261561.8511
65 | 2707513.0516 | 1261561.8511 | 2707512.8868 | 1261562.5788
66 | 2707517.7495 | 1261575.8641 | 2707533.7246 | 1261579.6976
67 | 2707476.6203 | 1261607.1557 | 2707475.719 | 1261611.1316
68 | 2707476.6203 | 1261607.1557 | 2707449.9405 | 1261602.6228 | 2707445.0512 | 1261598.3749 | 2707442.907 | 1261589.0503 | 2707448.2594 | 1261573.1097
69 | 2707463.6993 | 1261537.5945 | 2707461.8318 | 1261543.4173
70 | 2707463.6993 | 1261537.5945 | 2707464.5975 | 1261534.7938
71 | 2707464.5975 | 1261534.7938 | 2707472.8222 | 1261509.1485
72 | 2707475.719 | 1261611.1316 | 2707470.7485 | 1261632.9041
73 | 2707470.7485 | 1261632.9041 | 2707488.8545 | 1261636.805
74 | 2707470.7485 | 1261632.9041 | 2707468.8902 | 1261641.0533
75 | 2707512.4056 | 1261641.879 | 2707488.8545 | 1261636.805
76 | 2707463.8366 | 1261663.2152 | 2707468.8902 | 1261641.0533
77 | 2707556.5141 | 1261628.3256 | 2707534.0631 | 1261623.5478
78 | 2707556.5141 | 1261628.3256 | 2707555.5678 | 1261631.4484
79 | 2707462.8433 | 1261667.2784 | 2707453.4877 | 1261662.46 | 2707441.3873 | 1261685.53
80 | 2707463.8366 | 1261663.2152 | 2707462.8433 | 1261667.2784
81 | 2707463.8366 | 1261663.2152 | 2707468.2905 | 1261663.6409
82 | 2707468.2905 | 1261663.6409 | 2707482.4375 | 1261665.0116
83 | 2707482.4375 | 1261665.0116 | 2707513.6478 | 1261668.0355 | 2707512.6961 | 1261673.0873
84 | 2707507.8418 | 1261698.856 | 2707512.6961 | 1261673.0873
85 | 2707507.8418 | 1261698.856 | 2707503.6045 | 1261692.329 | 2707495.6901 | 1261691.5623 | 2707492.3756 | 1261692.4913
86 | 2707491.0924 | 1261692.851 | 2707492.3756 | 1261692.4913
87 | 2707549.9555 | 1261649.9691 | 2707555.9402 | 1261652.8247 | 2707577.1229 | 1261657.1283
88 | 2707549.9555 | 1261649.9691 | 2707555.5678 | 1261631.4484
89 | 2707549.9555 | 1261649.9691 | 2707538.2419 | 1261647.4454
90 | 2707536.0401 | 1261646.971 | 2707538.2419 | 1261647.4454
91 | 2707512.9042 | 1261641.9865 | 2707512.4056 | 1261641.879
92 | 2707512.9042 | 1261641.9865 | 2707526.5385 | 1261644.9239
93 | 2707536.0401 | 1261646.971 | 2707526.5385 | 1261644.9239
94 | 2707586.9415 | 1261602.6235 | 2707591.8163 | 1261603.7214
95 | 2707397.3332 | 1261404.4783 | 2707387.8376 | 1261410.2442 | 2707374.6936 | 1261410.0947
96 | 2707397.3332 | 1261404.4783 | 2707395.8526 | 1261429.1389 | 2707395.8454 | 1261429.1786
97 | 2707389.5441 | 1261455.8564 | 2707385.0209 | 1261471.5336

## bus_geodata
| x | y | coords
0 | 2707544.4018 | 1261425.8072
1 | 2707520.1103 | 1261420.0549
2 | 2707517.9844 | 1261429.2039
3 | 2707568.5054 | 1261466.774
4 | 2707591.4479 | 1261471.2839
5 | 2707560.4847 | 1261465.0948
6 | 2707515.8746 | 1261438.2833
7 | 2707587.357 | 1261491.1803
8 | 2707600.1817 | 1261471.9895
9 | 2707557.5835 | 1261464.5105
10 | 2707511.9172 | 1261455.3135
11 | 2707581.5405 | 1261519.47
12 | 2707625.9228 | 1261474.0689
13 | 2707546.8532 | 1261462.3495
14 | 2707472.4309 | 1261456.0766
15 | 2707488.9166 | 1261458.9653
16 | 2707451.5994 | 1261451.2476
17 | 2707482.5005 | 1261478.9712
18 | 2707492.1682 | 1261448.8381
19 | 2707441.7887 | 1261484.7198
20 | 2707451.0166 | 1261448.0676
21 | 2707479.6994 | 1261487.7052
22 | 2707508.2203 | 1261470.448
23 | 2707488.167 | 1261431.7456
24 | 2707418.7719 | 1261478.3867
25 | 2707455.9879 | 1261418.4411
26 | 2707477.3451 | 1261495.0459
27 | 2707505.6272 | 1261481.6112
28 | 2707484.8381 | 1261414.0656
29 | 2707409.5497 | 1261475.8492
30 | 2707417.5804 | 1261449.0835
31 | 2707414.7254 | 1261458.5989
32 | 2707393.4984 | 1261442.1516
33 | 2707650.7451 | 1261551.436
34 | 2707627.9509 | 1261546.4669
35 | 2707657.8373 | 1261522.2174
36 | 2707628.6603 | 1261542.9172
37 | 2707672.0019 | 1261525.1528
38 | 2707691.4754 | 1261479.1216
39 | 2707650.9662 | 1261476.0505
40 | 2707641.4706 | 1261475.3306
41 | 2707577.8423 | 1261537.4567
42 | 2707572.6959 | 1261559.7738
43 | 2707566.1955 | 1261587.4894
44 | 2707551.3404 | 1261583.9247
45 | 2707563.8443 | 1261597.4217
46 | 2707630.0797 | 1261419.0073
47 | 2707526.411 | 1261458.2325
48 | 2707544.1329 | 1261461.8016
49 | 2707502.3912 | 1261495.5417
50 | 2707496.8222 | 1261519.5158
51 | 2707501.3523 | 1261500.0142
52 | 2707495.3061 | 1261526.0425
53 | 2707485.5297 | 1261568.1291
54 | 2707484.1229 | 1261574.2914
55 | 2707499.8203 | 1261571.5603
56 | 2707480.3592 | 1261590.7781
57 | 2707510.2848 | 1261574.0729
58 | 2707516.7834 | 1261545.3668
59 | 2707513.0516 | 1261561.8511
60 | 2707512.8868 | 1261562.5788
61 | 2707517.7495 | 1261575.8641
62 | 2707533.7246 | 1261579.6976
63 | 2707476.6203 | 1261607.1557
64 | 2707463.6993 | 1261537.5945
65 | 2707461.8318 | 1261543.4173
66 | 2707464.5975 | 1261534.7938
67 | 2707472.8222 | 1261509.1485
68 | 2707448.2594 | 1261573.1097
69 | 2707475.719 | 1261611.1316
70 | 2707470.7485 | 1261632.9041
71 | 2707488.8545 | 1261636.805
72 | 2707468.8902 | 1261641.0533
73 | 2707534.0631 | 1261623.5478
74 | 2707556.5141 | 1261628.3256
75 | 2707441.3873 | 1261685.53
76 | 2707462.8433 | 1261667.2784
77 | 2707463.8366 | 1261663.2152
78 | 2707468.2905 | 1261663.6409
79 | 2707482.4375 | 1261665.0116
80 | 2707507.8418 | 1261698.856
81 | 2707512.6961 | 1261673.0873
82 | 2707492.3756 | 1261692.4913
83 | 2707549.9555 | 1261649.9691
84 | 2707577.1229 | 1261657.1283
85 | 2707555.5678 | 1261631.4484
86 | 2707538.2419 | 1261647.4454
87 | 2707491.0924 | 1261692.851
88 | 2707512.4056 | 1261641.879
89 | 2707512.9042 | 1261641.9865
90 | 2707536.0401 | 1261646.971
91 | 2707526.5385 | 1261644.9239
92 | 2707586.9415 | 1261602.6235
93 | 2707591.8163 | 1261603.7214
94 | 2707374.6936 | 1261410.0947
95 | 2707397.3332 | 1261404.4783
96 | 2707395.8454 | 1261429.1785
97 | 2707389.5441 | 1261455.8564
98 | 2707385.0209 | 1261471.5336
99 | 2707566.1955 | 1261587.4894

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1