## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_294-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_294-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_294-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_294-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_294-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_294-9_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_294-9_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_294-9_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_294-9_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_294-9_0_4_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_294-9_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_294-9_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_294-9_0_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_294-9_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_294-9_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_294-9_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_294-9_0_4_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_294-9_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_294-9_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_294-9_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_294-9_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_294-9_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_294-9_0_4_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_294-9_0_4_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_294-9_0_4_node_7 | 0.4 | n |  | TRUE
25 | bus_LV_294-9_0_4_node_8 | 0.4 | n |  | TRUE
26 | bus_LV_294-9_0_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_294-9_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_294-9_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_294-9_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_294-9_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_294-9_0_4_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_294-9_0_4_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_294-9_0_4_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_294-9_0_4_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_294-9_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_294-9_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_294-9_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_294-9_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_294-9_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_294-9_0_4_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_294-9_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_294-9_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_294-9_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_294-9_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_294-9_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_294-9_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_294-9_0_4_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_294-9_0_4_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_294-9_0_4_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_294-9_0_4_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_294-9_0_4_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_294-9_0_4_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_294-9_0_4_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_294-9_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_294-9_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_294-9_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_294-9_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_294-9_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_294-9_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_294-9_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_294-9_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_294-9_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_294-9_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_294-9_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_294-9_0_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_294-9_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_294-9_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_294-9_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_294-9_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_294-9_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_294-9_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_294-9_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_294-9_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_294-9_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_294-9_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_294-9_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_294-9_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_294-9_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_294-9_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_294-9_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_294-9_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_294-9_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_294-9_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_294-9_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_294-9_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_294-9_0_4_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_294-9_0_4_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_294-9_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_294-9_0_4_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_294-9_0_4_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_294-9_0_4_node_98 | 0.4 | n |  | TRUE
92 | bus_LV_294-9_0_4_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_294-9_0_4_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_294-9_0_4_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_294-9_0_4_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_294-9_0_4_node_108 | 0.4 | n |  | TRUE
97 | bus_LV_294-9_0_4_node_107 | 0.4 | n |  | TRUE
98 | bus_LV_294-9_0_4_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_294-9_0_4_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_294-9_0_4_node_103 | 0.4 | n |  | TRUE
101 | bus_LV_294-9_0_4_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_294-9_0_4_node_102 | 0.4 | n |  | TRUE
103 | bus_LV_294-9_0_4_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_294-9_0_4_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_294-9_0_4_node_106 | 0.4 | n |  | TRUE
106 | bus_MV_34_1_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_294-9_0_4_load_0 | 0 | 0.0027769 | 0.00069595 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_294-9_0_4_load_3 | 3 | 0.0025289 | 0.00063381 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_294-9_0_4_load_5 | 5 | 0.0051682 | 0.0012953 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_294-9_0_4_load_6 | 6 | 0.0035735 | 0.0008956 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_294-9_0_4_load_12 | 7 | 0.0044735 | 0.0011212 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_294-9_0_4_load_19 | 8 | 0.0037751 | 0.00094612 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_294-9_0_4_load_38 | 9 | 0.0032876 | 0.00082394 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_294-9_0_4_load_13 | 10 | 0.022994 | 0.0057629 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_294-9_0_4_load_26 | 12 | 0.0053964 | 0.0013525 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_294-9_0_4_load_9 | 13 | 0.0053748 | 0.0013471 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_294-9_0_4_load_40 | 16 | 0.029636 | 0.0074274 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_294-9_0_4_load_14 | 20 | 0.0055808 | 0.0013987 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_294-9_0_4_load_20 | 21 | 0.0044153 | 0.0011066 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_294-9_0_4_load_69 | 22 | 0.0045779 | 0.0011473 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_294-9_0_4_load_7 | 24 | 0.012151 | 0.0030454 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_294-9_0_4_load_8 | 25 | 0.0042939 | 0.0010761 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_294-9_0_4_load_36 | 26 | 0.0041726 | 0.0010458 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_294-9_0_4_load_35 | 27 | 0.0018814 | 0.00047153 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_294-9_0_4_load_28 | 28 | 0.0031483 | 0.00078905 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_294-9_0_4_load_51 | 31 | 0.0040923 | 0.0010256 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_294-9_0_4_load_55 | 32 | 0.0073918 | 0.0018526 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_294-9_0_4_load_56 | 34 | 0.004625 | 0.0011591 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_294-9_0_4_load_22 | 36 | 0.0060655 | 0.0015201 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_294-9_0_4_load_27 | 39 | 0.0040013 | 0.0010028 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_294-9_0_4_load_47 | 40 | 0.033434 | 0.0083792 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_294-9_0_4_load_33 | 42 | 0.0053009 | 0.0013285 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_294-9_0_4_load_29 | 43 | 0.0043471 | 0.0010895 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_294-9_0_4_load_30 | 44 | 0.0035462 | 0.00088875 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_294-9_0_4_load_37 | 46 | 0.0020741 | 0.00051981 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_294-9_0_4_load_82 | 47 | 0.0016578 | 0.00041549 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_294-9_0_4_load_109 | 50 | 0.0024574 | 0.00061589 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_294-9_0_4_load_86 | 51 | 0.0024385 | 0.00061115 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_294-9_0_4_load_85 | 52 | 0.0054953 | 0.0013772 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_294-9_0_4_load_43 | 54 | 0.017895 | 0.0044849 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_294-9_0_4_load_44 | 55 | 0.023471 | 0.0058823 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_294-9_0_4_load_46 | 57 | 0.021443 | 0.0053742 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_294-9_0_4_load_48 | 58 | 0.0021383 | 0.00053592 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_294-9_0_4_load_49 | 59 | 0.0053009 | 0.0013285 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_294-9_0_4_load_52 | 61 | 0.0067359 | 0.0016882 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_294-9_0_4_load_54 | 63 | 0.0024716 | 0.00061943 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_294-9_0_4_load_57 | 64 | 0.0021523 | 0.00053941 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_294-9_0_4_load_58 | 65 | 0.0035968 | 0.00090145 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_294-9_0_4_load_60 | 67 | 0.0022708 | 0.00056911 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_294-9_0_4_load_62 | 68 | 0.0059667 | 0.0014954 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_294-9_0_4_load_63 | 69 | 0.0016757 | 0.00041996 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_294-9_0_4_load_70 | 70 | 0.0048851 | 0.0012243 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_294-9_0_4_load_65 | 72 | 0.0040876 | 0.0010245 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_294-9_0_4_load_66 | 73 | 0.0017545 | 0.00043972 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_294-9_0_4_load_67 | 74 | 0.0069115 | 0.0017322 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_294-9_0_4_load_74 | 76 | 0.0042354 | 0.0010615 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_294-9_0_4_load_72 | 77 | 0.0048851 | 0.0012243 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_294-9_0_4_load_75 | 78 | 0.0039768 | 0.00099667 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_294-9_0_4_load_73 | 79 | 0.0058141 | 0.0014571 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_294-9_0_4_load_76 | 80 | 0.0013163 | 0.0003299 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_294-9_0_4_load_78 | 82 | 0.001383 | 0.00034662 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_294-9_0_4_load_80 | 84 | 0.0019331 | 0.00048449 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_294-9_0_4_load_81 | 85 | 0.00012523 | 3.1386e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_294-9_0_4_load_94 | 86 | 0.00022814 | 5.7177e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_294-9_0_4_load_92 | 90 | 0.0044168 | 0.001107 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_294-9_0_4_load_98 | 91 | 0.0029108 | 0.0007295 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_294-9_0_4_load_89 | 92 | 0.0021643 | 0.00054243 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_294-9_0_4_load_90 | 93 | 0.0019302 | 0.00048374 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_294-9_0_4_load_108 | 96 | 0.0018868 | 0.00047288 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_294-9_0_4_load_107 | 97 | 0.0019431 | 0.000487 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_294-9_0_4_load_97 | 99 | 0.0018537 | 0.00046458 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_294-9_0_4_load_103 | 100 | 0.00046005 | 0.0001153 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_294-9_0_4_load_101 | 101 | 0.00024867 | 6.2323e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_294-9_0_4_load_102 | 102 | 0.00027696 | 6.9413e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_294-9_0_4_load_104 | 103 | 0.0020698 | 0.00051874 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_294-9_0_4_load_105 | 104 | 0.0021535 | 0.00053972 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_294-9_0_4_load_106 | 105 | 0.001355 | 0.0003396 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_294-9_0_4_line_0 |  | 0 | 1 | 0.012838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_294-9_0_4_line_1 |  | 0 | 2 | 0.012568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_294-9_0_4_line_2 |  | 1 | 3 | 0.011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_294-9_0_4_line_3 |  | 1 | 4 | 0.028124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_294-9_0_4_line_4 |  | 2 | 5 | 0.0071772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_294-9_0_4_line_5 |  | 2 | 6 | 0.014058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_294-9_0_4_line_6 |  | 3 | 7 | 0.0015361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_294-9_0_4_line_7 |  | 4 | 8 | 0.015074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_294-9_0_4_line_8 |  | 6 | 9 | 0.026539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_294-9_0_4_line_9 |  | 7 | 10 | 0.017316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_294-9_0_4_line_10 |  | 8 | 21 | 0.0013265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_294-9_0_4_line_11 |  | 9 | 23 | 0.0029332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_294-9_0_4_line_12 |  | 10 | 20 | 0.0037375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_294-9_0_4_line_13 |  | 11 | 12 | 0.014062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_294-9_0_4_line_14 |  | 11 | 13 | 0.017488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_294-9_0_4_line_15 |  | 12 | 30 | 0.014839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_294-9_0_4_line_16 |  | 13 | 24 | 0.004975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_294-9_0_4_line_17 |  | 14 | 15 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_294-9_0_4_line_18 |  | 14 | 16 | 0.022554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_294-9_0_4_line_19 |  | 15 | 35 | 0.028111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_294-9_0_4_line_20 |  | 15 | 36 | 0.015012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_294-9_0_4_line_21 |  | 16 | 37 | 0.031858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_294-9_0_4_line_22 |  | 17 | 18 | 0.024169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_294-9_0_4_line_23 |  | 17 | 19 | 0.026109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_294-9_0_4_line_24 |  | 17 | 20 | 0.014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_294-9_0_4_line_25 |  | 18 | 22 | 0.021011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_294-9_0_4_line_26 |  | 19 | 31 | 0.023352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_294-9_0_4_line_27 |  | 19 | 32 | 0.045717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_294-9_0_4_line_28 |  | 21 | 38 | 0.015471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_294-9_0_4_line_29 |  | 22 | 33 | 0.035569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_294-9_0_4_line_30 |  | 23 | 26 | 0.018642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_294-9_0_4_line_31 |  | 23 | 25 | 0.016047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_294-9_0_4_line_32 |  | 24 | 25 | 0.016643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_294-9_0_4_line_33 |  | 26 | 27 | 0.022959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_294-9_0_4_line_34 |  | 27 | 45 | 0.012975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_294-9_0_4_line_35 |  | 28 | 29 | 0.014598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_294-9_0_4_line_36 |  | 29 | 42 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_294-9_0_4_line_37 |  | 29 | 43 | 0.018567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_294-9_0_4_line_38 |  | 30 | 39 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_294-9_0_4_line_39 |  | 32 | 34 | 0.038019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_294-9_0_4_line_40 |  | 33 | 70 | 0.023223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_294-9_0_4_line_41 |  | 33 | 69 | 0.021182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_294-9_0_4_line_42 |  | 34 | 64 | 0.02972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_294-9_0_4_line_43 |  | 35 | 40 | 0.021334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_294-9_0_4_line_44 |  | 36 | 38 | 0.029374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_294-9_0_4_line_45 |  | 37 | 54 | 0.02807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_294-9_0_4_line_46 |  | 40 | 41 | 0.027131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_294-9_0_4_line_47 |  | 41 | 55 | 0.030225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_294-9_0_4_line_48 |  | 43 | 44 | 0.0016676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_294-9_0_4_line_49 |  | 44 | 45 | 0.03419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_294-9_0_4_line_50 |  | 45 | 46 | 0.010955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_294-9_0_4_line_51 |  | 46 | 47 | 0.020454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_294-9_0_4_line_52 |  | 47 | 53 | 0.0064314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_294-9_0_4_line_53 |  | 48 | 49 | 0.003898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_294-9_0_4_line_54 |  | 48 | 50 | 0.019841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_294-9_0_4_line_55 |  | 49 | 90 | 0.025253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_294-9_0_4_line_56 |  | 49 | 91 | 0.0041372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_294-9_0_4_line_57 |  | 51 | 52 | 3.5913e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_294-9_0_4_line_58 |  | 52 | 53 | 0.028628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_294-9_0_4_line_59 |  | 53 | 88 | 0.026593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_294-9_0_4_line_60 |  | 55 | 56 | 0.012493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_294-9_0_4_line_61 |  | 56 | 57 | 0.026285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_294-9_0_4_line_62 |  | 57 | 58 | 0.021568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_294-9_0_4_line_63 |  | 58 | 59 | 0.039172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_294-9_0_4_line_64 |  | 59 | 60 | 0.032229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_294-9_0_4_line_65 |  | 60 | 61 | 0.015692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_294-9_0_4_line_66 |  | 61 | 62 | 0.01816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_294-9_0_4_line_67 |  | 62 | 63 | 0.02994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_294-9_0_4_line_68 |  | 64 | 65 | 0.0073605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_294-9_0_4_line_69 |  | 65 | 66 | 0.027063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_294-9_0_4_line_70 |  | 66 | 67 | 0.062556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_294-9_0_4_line_71 |  | 68 | 69 | 0.014865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_294-9_0_4_line_72 |  | 70 | 71 | 0.01037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_294-9_0_4_line_73 |  | 71 | 73 | 0.015259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_294-9_0_4_line_74 |  | 72 | 73 | 0.0076793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_294-9_0_4_line_75 |  | 72 | 74 | 0.0079348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_294-9_0_4_line_76 |  | 75 | 76 | 0.037564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_294-9_0_4_line_77 |  | 75 | 77 | 0.019876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_294-9_0_4_line_78 |  | 76 | 78 | 0.01963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_294-9_0_4_line_79 |  | 77 | 79 | 0.00071253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_294-9_0_4_line_80 |  | 78 | 80 | 0.021194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_294-9_0_4_line_81 |  | 80 | 81 | 0.016583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_294-9_0_4_line_82 |  | 81 | 82 | 0.02251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_294-9_0_4_line_83 |  | 82 | 83 | 0.015148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_294-9_0_4_line_84 |  | 83 | 84 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_294-9_0_4_line_85 |  | 83 | 85 | 0.040132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_294-9_0_4_line_86 |  | 84 | 86 | 0.029446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_294-9_0_4_line_87 |  | 86 | 87 | 0.0023659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_294-9_0_4_line_88 |  | 87 | 89 | 0.009263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_294-9_0_4_line_89 |  | 87 | 88 | 0.006048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_294-9_0_4_line_90 |  | 89 | 98 | 0.021043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_294-9_0_4_line_91 |  | 89 | 99 | 0.0099071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_294-9_0_4_line_92 |  | 90 | 94 | 0.0069501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_294-9_0_4_line_93 |  | 91 | 99 | 0.020045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_294-9_0_4_line_94 |  | 92 | 93 | 0.022675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_294-9_0_4_line_95 |  | 93 | 94 | 0.010999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_294-9_0_4_line_96 |  | 94 | 95 | 0.012753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_294-9_0_4_line_97 |  | 95 | 96 | 0.039663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_294-9_0_4_line_98 |  | 96 | 97 | 0.0055809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_294-9_0_4_line_99 |  | 97 | 104 | 0.019616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_294-9_0_4_line_100 |  | 98 | 100 | 0.007647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_294-9_0_4_line_101 |  | 98 | 101 | 0.01843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_294-9_0_4_line_102 |  | 101 | 102 | 0.005649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_294-9_0_4_line_103 |  | 103 | 104 | 0.011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_294-9_0_4_line_104 |  | 103 | 105 | 0.0017182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_294-9_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 106 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2707511.5517 | 1260971.4882 | 2707498.7182 | 1260971.8168
1 | 2707486.1542 | 1260972.1384 | 2707498.7182 | 1260971.8168
2 | 2707511.5517 | 1260971.4882 | 2707511.5091 | 1260982.8549
3 | 2707539.7388 | 1260970.3885 | 2707511.5517 | 1260971.4882
4 | 2707486.1542 | 1260972.1384 | 2707486.3185 | 1260979.3137
5 | 2707486.1542 | 1260972.1384 | 2707486.0812 | 1260958.0805
6 | 2707511.5091 | 1260982.8549 | 2707511.5034 | 1260984.391
7 | 2707539.7388 | 1260970.3885 | 2707554.8007 | 1260969.7842
8 | 2707486.0812 | 1260958.0805 | 2707485.9433 | 1260931.542
9 | 2707511.4385 | 1261001.7068 | 2707511.5034 | 1260984.391
10 | 2707554.8007 | 1260969.7842 | 2707556.1261 | 1260969.731
11 | 2707485.9281 | 1260928.6088 | 2707485.9433 | 1260931.542
12 | 2707511.4245 | 1261005.4443 | 2707511.4385 | 1261001.7068
13 | 2707541.0416 | 1260926.5308 | 2707555.1036 | 1260926.4566
14 | 2707541.0416 | 1260926.5308 | 2707523.5658 | 1260927.1897
15 | 2707569.9427 | 1260926.3783 | 2707555.1036 | 1260926.4566
16 | 2707518.5943 | 1260927.3772 | 2707523.5658 | 1260927.1897
17 | 2707558.3861 | 1261013.4748 | 2707572.7746 | 1261013.4809
18 | 2707558.3861 | 1261013.4748 | 2707560.3798 | 1261035.9408
19 | 2707600.9687 | 1261013.2267 | 2707572.7746 | 1261013.4809
20 | 2707572.7746 | 1261013.4809 | 2707572.3722 | 1260998.4743
21 | 2707563.196 | 1261067.6746 | 2707560.3798 | 1261035.9408
22 | 2707487.3012 | 1261022.2237 | 2707501.9647 | 1261020.7889 | 2707511.3698 | 1261020.0369
23 | 2707488.8289 | 1261031.0588 | 2707501.9647 | 1261020.7889 | 2707511.3698 | 1261020.0369
24 | 2707511.3698 | 1261020.0369 | 2707511.4245 | 1261005.4443
25 | 2707487.3012 | 1261022.2237 | 2707480.2002 | 1261021.027 | 2707466.9125 | 1261017.2648
26 | 2707488.8289 | 1261031.0588 | 2707487.7003 | 1261048.7755 | 2707488.2963 | 1261054.3429
27 | 2707488.8289 | 1261031.0588 | 2707456.0484 | 1261062.9258
28 | 2707571.5846 | 1260969.1108 | 2707556.1261 | 1260969.731
29 | 2707432.6886 | 1261007.575 | 2707466.9125 | 1261017.2648
30 | 2707485.9281 | 1260928.6088 | 2707485.7517 | 1260909.9677
31 | 2707485.9281 | 1260928.6088 | 2707501.9634 | 1260928.0042
32 | 2707518.5943 | 1260927.3772 | 2707501.9634 | 1260928.0042
33 | 2707486.2092 | 1260887.02 | 2707485.6676 | 1260901.0698 | 2707485.7517 | 1260909.9677
34 | 2707486.709 | 1260874.0549 | 2707486.2092 | 1260887.02
35 | 2707541.1285 | 1260873.2765 | 2707541.1047 | 1260887.8747
36 | 2707541.1285 | 1260873.2765 | 2707559.5443 | 1260871.9893
37 | 2707541.1285 | 1260873.2765 | 2707522.563 | 1260873.5427
38 | 2707569.9427 | 1260926.3783 | 2707569.6303 | 1260909.862
39 | 2707456.0484 | 1261062.9258 | 2707428.7879 | 1261089.4267
40 | 2707432.6886 | 1261007.575 | 2707410.346 | 1261001.2418
41 | 2707432.6886 | 1261007.575 | 2707429.9861 | 1261028.5836
42 | 2707428.7879 | 1261089.4267 | 2707415.5691 | 1261102.2772 | 2707414.4861 | 1261106.2942 | 2707407.3644 | 1261106.1265
43 | 2707600.9687 | 1261013.2267 | 2707600.9159 | 1261034.5601
44 | 2707571.5846 | 1260969.1108 | 2707572.3722 | 1260998.4743
45 | 2707563.196 | 1261067.6746 | 2707545.3178 | 1261070.9857 | 2707535.4828 | 1261072.0084
46 | 2707600.117 | 1261061.6742 | 2707600.6448 | 1261049.24 | 2707600.894 | 1261043.4174 | 2707600.9159 | 1261034.5601
47 | 2707600.117 | 1261061.6742 | 2707597.5131 | 1261081.3323 | 2707595.1321 | 1261091.4509
48 | 2707522.563 | 1260873.5427 | 2707520.8956 | 1260873.5666
49 | 2707486.709 | 1260874.0549 | 2707511.3855 | 1260873.703 | 2707520.8956 | 1260873.5666
50 | 2707486.709 | 1260874.0549 | 2707487.0152 | 1260863.1042
51 | 2707487.0152 | 1260863.1042 | 2707487.3552 | 1260850.9472 | 2707488.2438 | 1260842.7024
52 | 2707488.9329 | 1260836.308 | 2707488.2438 | 1260842.7024
53 | 2707528.6142 | 1260790.5127 | 2707529.6236 | 1260794.2787
54 | 2707529.6236 | 1260794.2787 | 2707510.6613 | 1260800.1197
55 | 2707528.6142 | 1260790.5127 | 2707552.5962 | 1260782.6036
56 | 2707528.6142 | 1260790.5127 | 2707524.655 | 1260791.7135
57 | 2707517.5601 | 1260836.0482 | 2707517.5961 | 1260836.0479
58 | 2707488.9329 | 1260836.308 | 2707517.5601 | 1260836.0482
59 | 2707488.9329 | 1260836.308 | 2707490.8061 | 1260824.0762 | 2707493.2842 | 1260810.0761
60 | 2707592.2687 | 1261103.6112 | 2707593.1018 | 1261100.0789 | 2707595.1321 | 1261091.4509
61 | 2707592.2687 | 1261103.6112 | 2707584.3074 | 1261104.9676 | 2707576.6266 | 1261109.1314 | 2707568.2233 | 1261113.5026
62 | 2707568.2233 | 1261113.5026 | 2707557.6646 | 1261118.995 | 2707548.6074 | 1261122.3713
63 | 2707548.6074 | 1261122.3713 | 2707522.6508 | 1261132.0473 | 2707511.9123 | 1261136.0786
64 | 2707481.7389 | 1261147.4058 | 2707511.9123 | 1261136.0786
65 | 2707481.7389 | 1261147.4058 | 2707476.7722 | 1261140.3429 | 2707470.4295 | 1261137.2473
66 | 2707453.7114 | 1261144.3385 | 2707470.4295 | 1261137.2473
67 | 2707448.2964 | 1261115.0822 | 2707453.33 | 1261133.389 | 2707453.7114 | 1261144.3385
68 | 2707400.0059 | 1261105.9533 | 2707400.0059 | 1261105.9533 | 2707407.3644 | 1261106.1265
69 | 2707376.9635 | 1261120.1359 | 2707379.2226 | 1261118.5867 | 2707388.707 | 1261112.6316 | 2707400.0059 | 1261105.9533
70 | 2707376.9635 | 1261120.1359 | 2707361.9698 | 1261094.1196 | 2707352.4385 | 1261072.7732 | 2707349.6382 | 1261064.0614
71 | 2707428.0895 | 1261043.3269 | 2707429.9861 | 1261028.5836
72 | 2707400.3693 | 1260998.4138 | 2707410.346 | 1261001.2418
73 | 2707400.3693 | 1260998.4138 | 2707398.7563 | 1261013.5871
74 | 2707397.9445 | 1261021.2234 | 2707398.7563 | 1261013.5871
75 | 2707397.1057 | 1261029.1137 | 2707397.9445 | 1261021.2234
76 | 2707402.3491 | 1260956.2365 | 2707411.8682 | 1260927.2294 | 2707413.3758 | 1260920.3577
77 | 2707402.3491 | 1260956.2365 | 2707421.4787 | 1260961.631
78 | 2707413.3758 | 1260920.3577 | 2707415.2459 | 1260911.8333 | 2707417.016 | 1260901.0747
79 | 2707422.1645 | 1260961.8244 | 2707421.4787 | 1260961.631
80 | 2707417.016 | 1260901.0747 | 2707419.6604 | 1260885.002 | 2707420.0433 | 1260880.1113
81 | 2707416.7221 | 1260864.1867 | 2707419.7117 | 1260871.3915 | 2707420.3769 | 1260875.8517 | 2707420.0433 | 1260880.1113
82 | 2707416.7221 | 1260864.1867 | 2707422.1529 | 1260859.4146 | 2707434.0717 | 1260849.8531
83 | 2707445.8877 | 1260840.374 | 2707434.0717 | 1260849.8531
84 | 2707445.8877 | 1260840.374 | 2707463.7311 | 1260826.1144
85 | 2707439.938 | 1260804.0243 | 2707435.6832 | 1260814.5893 | 2707435.4673 | 1260816.5203 | 2707436.4141 | 1260818.339 | 2707440.61 | 1260823.4528 | 2707443.206 | 1260826.6026 | 2707444.167 | 1260829.3001 | 2707445.8877 | 1260840.374
86 | 2707463.7311 | 1260826.1144 | 2707486.7342 | 1260807.7312
87 | 2707488.5824 | 1260806.2541 | 2707486.7342 | 1260807.7312
88 | 2707496.1939 | 1260800.9435 | 2707488.5824 | 1260806.2541
89 | 2707488.5824 | 1260806.2541 | 2707493.2842 | 1260810.0761
90 | 2707496.1939 | 1260800.9435 | 2707483.7494 | 1260783.9476
91 | 2707496.1939 | 1260800.9435 | 2707500.2143 | 1260799.1261 | 2707505.4728 | 1260797.5313
92 | 2707559.1967 | 1260780.4268 | 2707552.5962 | 1260782.6036
93 | 2707505.4728 | 1260797.5313 | 2707524.655 | 1260791.7135
94 | 2707568.1111 | 1260812.8987 | 2707562.1084 | 1260791.0331
95 | 2707559.1967 | 1260780.4268 | 2707562.1084 | 1260791.0331
96 | 2707559.1967 | 1260780.4268 | 2707571.4016 | 1260776.6121
97 | 2707571.4016 | 1260776.6121 | 2707562.9554 | 1260749.0799 | 2707560.9547 | 1260746.7749 | 2707558.6828 | 1260745.6994 | 2707555.7123 | 1260745.3228 | 2707553.4308 | 1260745.6492
98 | 2707548.112 | 1260747.3165 | 2707552.9539 | 1260745.7175 | 2707553.4308 | 1260745.6492
99 | 2707529.485 | 1260753.4679 | 2707548.112 | 1260747.3165
100 | 2707478.9968 | 1260777.9451 | 2707483.7494 | 1260783.9476
101 | 2707483.7494 | 1260783.9476 | 2707483.1922 | 1260774.7964 | 2707483.6413 | 1260772.4804 | 2707484.9908 | 1260770.3921 | 2707488.6313 | 1260767.8917
102 | 2707493.2878 | 1260764.6936 | 2707488.6313 | 1260767.8917
103 | 2707518.8081 | 1260756.9939 | 2707529.485 | 1260753.4679
104 | 2707517.1765 | 1260757.5327 | 2707518.8081 | 1260756.9939

## bus_geodata
| x | y | coords
0 | 2707498.7182 | 1260971.8168
1 | 2707511.5517 | 1260971.4882
2 | 2707486.1542 | 1260972.1384
3 | 2707511.5091 | 1260982.8549
4 | 2707539.7388 | 1260970.3885
5 | 2707486.3185 | 1260979.3137
6 | 2707486.0812 | 1260958.0805
7 | 2707511.5034 | 1260984.391
8 | 2707554.8007 | 1260969.7842
9 | 2707485.9433 | 1260931.542
10 | 2707511.4385 | 1261001.7068
11 | 2707541.0416 | 1260926.5308
12 | 2707555.1036 | 1260926.4566
13 | 2707523.5658 | 1260927.1897
14 | 2707558.3861 | 1261013.4748
15 | 2707572.7746 | 1261013.4809
16 | 2707560.3798 | 1261035.9408
17 | 2707511.3698 | 1261020.0369
18 | 2707487.3012 | 1261022.2237
19 | 2707488.8289 | 1261031.0588
20 | 2707511.4245 | 1261005.4443
21 | 2707556.1261 | 1260969.731
22 | 2707466.9125 | 1261017.2648
23 | 2707485.9281 | 1260928.6088
24 | 2707518.5943 | 1260927.3772
25 | 2707501.9634 | 1260928.0042
26 | 2707485.7517 | 1260909.9677
27 | 2707486.2092 | 1260887.02
28 | 2707541.1047 | 1260887.8747
29 | 2707541.1285 | 1260873.2765
30 | 2707569.9427 | 1260926.3783
31 | 2707488.2963 | 1261054.3429
32 | 2707456.0484 | 1261062.9258
33 | 2707432.6886 | 1261007.575
34 | 2707428.7879 | 1261089.4267
35 | 2707600.9687 | 1261013.2267
36 | 2707572.3722 | 1260998.4743
37 | 2707563.196 | 1261067.6746
38 | 2707571.5846 | 1260969.1108
39 | 2707569.6303 | 1260909.862
40 | 2707600.9159 | 1261034.5601
41 | 2707600.117 | 1261061.6742
42 | 2707559.5443 | 1260871.9893
43 | 2707522.563 | 1260873.5427
44 | 2707520.8956 | 1260873.5666
45 | 2707486.709 | 1260874.0549
46 | 2707487.0152 | 1260863.1042
47 | 2707488.2438 | 1260842.7024
48 | 2707529.6236 | 1260794.2787
49 | 2707528.6142 | 1260790.5127
50 | 2707510.6613 | 1260800.1197
51 | 2707517.5961 | 1260836.0479
52 | 2707517.5601 | 1260836.0482
53 | 2707488.9329 | 1260836.308
54 | 2707535.4828 | 1261072.0084
55 | 2707595.1321 | 1261091.4509
56 | 2707592.2687 | 1261103.6112
57 | 2707568.2233 | 1261113.5026
58 | 2707548.6074 | 1261122.3713
59 | 2707511.9123 | 1261136.0786
60 | 2707481.7389 | 1261147.4058
61 | 2707470.4295 | 1261137.2473
62 | 2707453.7114 | 1261144.3385
63 | 2707448.2964 | 1261115.0822
64 | 2707407.3644 | 1261106.1265
65 | 2707400.0059 | 1261105.9533
66 | 2707376.9635 | 1261120.1359
67 | 2707349.6382 | 1261064.0614
68 | 2707428.0895 | 1261043.3269
69 | 2707429.9861 | 1261028.5836
70 | 2707410.346 | 1261001.2418
71 | 2707400.3693 | 1260998.4138
72 | 2707397.9445 | 1261021.2234
73 | 2707398.7563 | 1261013.5871
74 | 2707397.1057 | 1261029.1137
75 | 2707402.3491 | 1260956.2365
76 | 2707413.3758 | 1260920.3577
77 | 2707421.4787 | 1260961.631
78 | 2707417.016 | 1260901.0747
79 | 2707422.1645 | 1260961.8244
80 | 2707420.0433 | 1260880.1113
81 | 2707416.7221 | 1260864.1867
82 | 2707434.0717 | 1260849.8531
83 | 2707445.8877 | 1260840.374
84 | 2707463.7311 | 1260826.1144
85 | 2707439.938 | 1260804.0243
86 | 2707486.7342 | 1260807.7312
87 | 2707488.5824 | 1260806.2541
88 | 2707493.2842 | 1260810.0761
89 | 2707496.1939 | 1260800.9435
90 | 2707552.5962 | 1260782.6036
91 | 2707524.655 | 1260791.7135
92 | 2707568.1111 | 1260812.8987
93 | 2707562.1084 | 1260791.0331
94 | 2707559.1967 | 1260780.4268
95 | 2707571.4016 | 1260776.6121
96 | 2707553.4308 | 1260745.6492
97 | 2707548.112 | 1260747.3165
98 | 2707483.7494 | 1260783.9476
99 | 2707505.4728 | 1260797.5313
100 | 2707478.9968 | 1260777.9451
101 | 2707488.6313 | 1260767.8917
102 | 2707493.2878 | 1260764.6936
103 | 2707518.8081 | 1260756.9939
104 | 2707529.485 | 1260753.4679
105 | 2707517.1765 | 1260757.5327
106 | 2707511.3698 | 1261020.0369

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1