## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2952-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2952-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2952-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2952-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2952-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2952-1_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_2952-1_0_4_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_2952-1_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2952-1_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2952-1_0_4_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_2952-1_0_4_node_95 | 0.4 | n |  | TRUE
11 | bus_LV_2952-1_0_4_node_81 | 0.4 | n |  | TRUE
12 | bus_LV_2952-1_0_4_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_2952-1_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2952-1_0_4_node_80 | 0.4 | n |  | TRUE
15 | bus_LV_2952-1_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2952-1_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2952-1_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2952-1_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2952-1_0_4_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_2952-1_0_4_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_2952-1_0_4_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_2952-1_0_4_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_2952-1_0_4_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_2952-1_0_4_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_2952-1_0_4_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_2952-1_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_2952-1_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2952-1_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2952-1_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2952-1_0_4_node_103 | 0.4 | n |  | TRUE
31 | bus_LV_2952-1_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2952-1_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_2952-1_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2952-1_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_2952-1_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2952-1_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2952-1_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_2952-1_0_4_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_2952-1_0_4_node_107 | 0.4 | n |  | TRUE
40 | bus_LV_2952-1_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2952-1_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_2952-1_0_4_node_97 | 0.4 | n |  | TRUE
43 | bus_LV_2952-1_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_2952-1_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_2952-1_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_2952-1_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2952-1_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2952-1_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_2952-1_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_2952-1_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_2952-1_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_2952-1_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_2952-1_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_2952-1_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_2952-1_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2952-1_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_2952-1_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_2952-1_0_4_node_106 | 0.4 | n |  | TRUE
59 | bus_LV_2952-1_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_2952-1_0_4_node_105 | 0.4 | n |  | TRUE
61 | bus_LV_2952-1_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_2952-1_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_2952-1_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_2952-1_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_2952-1_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_2952-1_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_2952-1_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_2952-1_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_2952-1_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_2952-1_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_2952-1_0_4_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_2952-1_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_2952-1_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_2952-1_0_4_node_101 | 0.4 | n |  | TRUE
75 | bus_LV_2952-1_0_4_node_104 | 0.4 | n |  | TRUE
76 | bus_LV_2952-1_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_2952-1_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_2952-1_0_4_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_2952-1_0_4_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_2952-1_0_4_node_90 | 0.4 | n |  | TRUE
81 | bus_LV_2952-1_0_4_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_2952-1_0_4_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_2952-1_0_4_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_2952-1_0_4_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_2952-1_0_4_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_2952-1_0_4_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_2952-1_0_4_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_2952-1_0_4_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_2952-1_0_4_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_2952-1_0_4_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_2952-1_0_4_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_2952-1_0_4_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_2952-1_0_4_node_108 | 0.4 | n |  | TRUE
94 | bus_LV_2952-1_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_2952-1_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_2952-1_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_2952-1_0_4_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_2952-1_0_4_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_2952-1_0_4_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_2952-1_0_4_node_100 | 0.4 | n |  | TRUE
101 | bus_LV_2952-1_0_4_node_98 | 0.4 | n |  | TRUE
102 | bus_MV_400_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2952-1_0_4_load_0 | 0 | 0.029465 | 0.0073846 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2952-1_0_4_load_1 | 1 | 0.014202 | 0.0035593 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2952-1_0_4_load_4 | 4 | 0.0073307 | 0.0018372 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2952-1_0_4_load_15 | 5 | 0.0033635 | 0.00084298 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2952-1_0_4_load_84 | 6 | 0.002722 | 0.0006822 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2952-1_0_4_load_95 | 10 | 0.0059554 | 0.0014926 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2952-1_0_4_load_81 | 11 | 0.01196 | 0.0029974 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2952-1_0_4_load_83 | 12 | 0.011114 | 0.0027855 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2952-1_0_4_load_80 | 14 | 0.019336 | 0.004846 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2952-1_0_4_load_19 | 16 | 0.0031675 | 0.00079384 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2952-1_0_4_load_82 | 19 | 0.066964 | 0.016783 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2952-1_0_4_load_63 | 20 | 0.00097648 | 0.00024473 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2952-1_0_4_load_60 | 21 | 0.016196 | 0.004059 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2952-1_0_4_load_96 | 22 | 0.00081108 | 0.00020327 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2952-1_0_4_load_79 | 23 | 0.0067994 | 0.0017041 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2952-1_0_4_load_8 | 24 | 0.0053305 | 0.0013359 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2952-1_0_4_load_9 | 25 | 0.0050343 | 0.0012617 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2952-1_0_4_load_103 | 30 | 0.0093326 | 0.002339 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2952-1_0_4_load_26 | 31 | 0.0030573 | 0.00076624 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2952-1_0_4_load_28 | 32 | 0.00011092 | 2.78e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2952-1_0_4_load_23 | 33 | 0.00060525 | 0.00015169 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2952-1_0_4_load_21 | 36 | 0.0028483 | 0.00071386 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2952-1_0_4_load_20 | 37 | 0.015285 | 0.0038308 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2952-1_0_4_load_22 | 41 | 0.0019939 | 0.00049972 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2952-1_0_4_load_97 | 42 | 0.0024313 | 0.00060934 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2952-1_0_4_load_25 | 44 | 0.0021563 | 0.00054041 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2952-1_0_4_load_32 | 45 | 0.00013018 | 3.2625e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2952-1_0_4_load_29 | 46 | 0.00048205 | 0.00012081 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2952-1_0_4_load_30 | 47 | 0.0001577 | 3.9524e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2952-1_0_4_load_31 | 48 | 0.00098733 | 0.00024745 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2952-1_0_4_load_43 | 51 | 0.00082976 | 0.00020796 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2952-1_0_4_load_37 | 54 | 0.0002757 | 6.9097e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2952-1_0_4_load_38 | 56 | 0.0012582 | 0.00031532 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2952-1_0_4_load_40 | 57 | 0.0013671 | 0.00034262 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2952-1_0_4_load_106 | 58 | 0.0015116 | 0.00037883 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2952-1_0_4_load_105 | 60 | 0.0014228 | 0.00035658 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2952-1_0_4_load_44 | 62 | 0.00075614 | 0.00018951 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2952-1_0_4_load_49 | 63 | 0.0026887 | 0.00067385 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2952-1_0_4_load_50 | 64 | 0.0037974 | 0.00095171 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2952-1_0_4_load_51 | 65 | 0.0031883 | 0.00079907 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2952-1_0_4_load_52 | 66 | 0.0028346 | 0.00071043 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2952-1_0_4_load_53 | 67 | 0.0022342 | 0.00055994 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2952-1_0_4_load_55 | 69 | 0.00070779 | 0.00017739 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2952-1_0_4_load_102 | 71 | 0.0011803 | 0.00029582 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2952-1_0_4_load_57 | 73 | 0.0031666 | 0.00079363 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2952-1_0_4_load_101 | 74 | 0.00063927 | 0.00016022 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2952-1_0_4_load_104 | 75 | 0.0022414 | 0.00056174 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2952-1_0_4_load_64 | 77 | 0.0032564 | 0.00081614 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2952-1_0_4_load_65 | 78 | 0.0071223 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2952-1_0_4_load_85 | 79 | 0.001348 | 0.00033783 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2952-1_0_4_load_86 | 81 | 0.0015501 | 0.00038848 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2952-1_0_4_load_87 | 82 | 0.0013914 | 0.00034872 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2952-1_0_4_load_88 | 83 | 0.0019502 | 0.00048876 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2952-1_0_4_load_66 | 84 | 0.007246 | 0.001816 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2952-1_0_4_load_67 | 85 | 0.022033 | 0.005522 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2952-1_0_4_load_68 | 86 | 0.0075213 | 0.001885 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2952-1_0_4_load_72 | 88 | 0.031623 | 0.0079255 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2952-1_0_4_load_73 | 91 | 0.0068434 | 0.0017151 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2952-1_0_4_load_76 | 92 | 0.0059393 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2952-1_0_4_load_108 | 93 | 0.00027393 | 6.8654e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2952-1_0_4_load_89 | 94 | 0.0017978 | 0.00045057 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2952-1_0_4_load_91 | 95 | 0.0013849 | 0.00034709 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2952-1_0_4_load_92 | 96 | 0.0031773 | 0.00079631 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2952-1_0_4_load_93 | 97 | 0.0019872 | 0.00049804 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2952-1_0_4_load_94 | 98 | 0.0036995 | 0.00092719 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2952-1_0_4_load_100 | 100 | 0.00090537 | 0.00022691 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2952-1_0_4_load_98 | 101 | 0.0018851 | 0.00047245 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2952-1_0_4_line_0 |  | 0 | 1 | 0.011234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2952-1_0_4_line_1 |  | 0 | 2 | 0.032849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2952-1_0_4_line_2 |  | 1 | 3 | 0.011053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2952-1_0_4_line_3 |  | 2 | 4 | 0.018246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2952-1_0_4_line_4 |  | 3 | 5 | 0.069117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2952-1_0_4_line_5 |  | 4 | 6 | 0.017319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2952-1_0_4_line_6 |  | 5 | 18 | 0.053678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2952-1_0_4_line_7 |  | 6 | 19 | 0.0041408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2952-1_0_4_line_8 |  | 7 | 8 | 0.15079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2952-1_0_4_line_9 |  | 7 | 9 | 0.017759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2952-1_0_4_line_10 |  | 7 | 10 | 0.013193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2952-1_0_4_line_11 |  | 8 | 11 | 0.010026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2952-1_0_4_line_12 |  | 8 | 12 | 0.029337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2952-1_0_4_line_13 |  | 9 | 20 | 0.066453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2952-1_0_4_line_14 |  | 9 | 21 | 0.068365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2952-1_0_4_line_15 |  | 10 | 22 | 0.02153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2952-1_0_4_line_16 |  | 11 | 13 | 0.011013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2952-1_0_4_line_17 |  | 12 | 19 | 0.023409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2952-1_0_4_line_18 |  | 13 | 14 | 0.056547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2952-1_0_4_line_19 |  | 14 | 23 | 0.023477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2952-1_0_4_line_20 |  | 15 | 16 | 0.0077753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2952-1_0_4_line_21 |  | 15 | 17 | 0.066607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2952-1_0_4_line_22 |  | 16 | 37 | 0.04998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2952-1_0_4_line_23 |  | 17 | 18 | 0.028454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_2952-1_0_4_line_24 |  | 17 | 27 | 0.32343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2952-1_0_4_line_25 |  | 17 | 24 | 0.049084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2952-1_0_4_line_26 |  | 20 | 79 | 0.036578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2952-1_0_4_line_27 |  | 23 | 89 | 0.035255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2952-1_0_4_line_28 |  | 24 | 25 | 0.012736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2952-1_0_4_line_29 |  | 25 | 26 | 0.263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2952-1_0_4_line_30 |  | 26 | 28 | 0.11613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2952-1_0_4_line_31 |  | 26 | 29 | 0.43724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2952-1_0_4_line_32 |  | 27 | 30 | 0.12527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2952-1_0_4_line_33 |  | 28 | 31 | 0.15388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2952-1_0_4_line_34 |  | 29 | 32 | 0.016783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2952-1_0_4_line_35 |  | 29 | 33 | 0.18117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2952-1_0_4_line_36 |  | 30 | 38 | 0.046468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2952-1_0_4_line_37 |  | 32 | 40 | 0.21858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2952-1_0_4_line_38 |  | 33 | 41 | 0.008023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2952-1_0_4_line_39 |  | 34 | 35 | 0.09206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2952-1_0_4_line_40 |  | 34 | 36 | 0.062973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2952-1_0_4_line_41 |  | 35 | 42 | 0.091689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2952-1_0_4_line_42 |  | 36 | 37 | 0.037134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2952-1_0_4_line_43 |  | 38 | 39 | 0.53464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2952-1_0_4_line_44 |  | 39 | 93 | 0.1143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2952-1_0_4_line_45 |  | 40 | 45 | 0.35207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2952-1_0_4_line_46 |  | 41 | 43 | 0.046801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2952-1_0_4_line_47 |  | 43 | 44 | 0.06027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2952-1_0_4_line_48 |  | 45 | 47 | 0.012242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2952-1_0_4_line_49 |  | 46 | 47 | 0.019855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2952-1_0_4_line_50 |  | 46 | 48 | 0.014043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2952-1_0_4_line_51 |  | 48 | 49 | 0.034489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2952-1_0_4_line_52 |  | 49 | 50 | 0.3521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2952-1_0_4_line_53 |  | 50 | 51 | 0.077042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2952-1_0_4_line_54 |  | 51 | 55 | 0.076502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2952-1_0_4_line_55 |  | 52 | 53 | 0.020697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2952-1_0_4_line_56 |  | 52 | 54 | 0.077494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2952-1_0_4_line_57 |  | 53 | 58 | 0.12923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2952-1_0_4_line_58 |  | 53 | 59 | 0.38739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2952-1_0_4_line_59 |  | 54 | 56 | 0.036636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2952-1_0_4_line_60 |  | 55 | 57 | 0.007407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2952-1_0_4_line_61 |  | 56 | 57 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2952-1_0_4_line_62 |  | 59 | 60 | 0.22817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2952-1_0_4_line_63 |  | 59 | 61 | 0.42823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2952-1_0_4_line_64 |  | 61 | 62 | 0.070034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2952-1_0_4_line_65 |  | 63 | 64 | 0.027161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2952-1_0_4_line_66 |  | 64 | 65 | 0.024537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2952-1_0_4_line_67 |  | 65 | 66 | 0.0032565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2952-1_0_4_line_68 |  | 66 | 67 | 0.024149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2952-1_0_4_line_69 |  | 67 | 68 | 0.012354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2952-1_0_4_line_70 |  | 68 | 69 | 0.033015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2952-1_0_4_line_71 |  | 68 | 70 | 0.045866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2952-1_0_4_line_72 |  | 69 | 71 | 0.014838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2952-1_0_4_line_73 |  | 70 | 72 | 0.034597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2952-1_0_4_line_74 |  | 70 | 73 | 0.027842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2952-1_0_4_line_75 |  | 71 | 74 | 0.026554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2952-1_0_4_line_76 |  | 72 | 75 | 0.00097089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2952-1_0_4_line_77 |  | 74 | 100 | 0.026782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2952-1_0_4_line_78 |  | 76 | 77 | 0.053316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2952-1_0_4_line_79 |  | 76 | 78 | 0.064866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2952-1_0_4_line_80 |  | 77 | 80 | 0.083539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2952-1_0_4_line_81 |  | 79 | 81 | 0.016498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2952-1_0_4_line_82 |  | 80 | 82 | 0.023285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2952-1_0_4_line_83 |  | 80 | 83 | 0.020403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2952-1_0_4_line_84 |  | 81 | 82 | 0.014054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2952-1_0_4_line_85 |  | 83 | 94 | 0.032975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2952-1_0_4_line_86 |  | 84 | 85 | 0.026993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2952-1_0_4_line_87 |  | 84 | 86 | 0.0030352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2952-1_0_4_line_88 |  | 86 | 87 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2952-1_0_4_line_89 |  | 87 | 88 | 0.016848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2952-1_0_4_line_90 |  | 88 | 91 | 0.00023748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2952-1_0_4_line_91 |  | 89 | 90 | 0.014972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2952-1_0_4_line_92 |  | 90 | 92 | 0.0062387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2952-1_0_4_line_93 |  | 90 | 91 | 0.0074647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_2952-1_0_4_line_94 |  | 94 | 95 | 0.024673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2952-1_0_4_line_95 |  | 95 | 96 | 0.012888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_2952-1_0_4_line_96 |  | 96 | 97 | 0.041003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_2952-1_0_4_line_97 |  | 97 | 98 | 0.033276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2952-1_0_4_line_98 |  | 98 | 99 | 0.010726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2952-1_0_4_line_99 |  | 99 | 100 | 0.020839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2952-1_0_4_line_100 |  | 99 | 101 | 0.03728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2952-1_0_4_trafo_84 | 0.63 MVA 20/0.4 kV | 102 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2678070.3502 | 1288496.0034 | 2678075.7009 | 1288486.125
1 | 2678052.5263 | 1288523.5253 | 2678064.5484 | 1288506.7146 | 2678070.3502 | 1288496.0034
2 | 2678080.9652 | 1288476.4062 | 2678075.7009 | 1288486.125
3 | 2678052.5263 | 1288523.5253 | 2678041.9109 | 1288538.3657
4 | 2678080.9652 | 1288476.4062 | 2678080.2636 | 1288462.0067 | 2678073.115 | 1288416.2171 | 2678072.9839 | 1288407.8619
5 | 2678041.9109 | 1288538.3657 | 2678031.8351 | 1288552.4518
6 | 2678082.1211 | 1288355.362 | 2678081.7731 | 1288357.8484 | 2678077.3185 | 1288370.7672 | 2678072.7939 | 1288395.7508 | 2678072.9839 | 1288407.8619
7 | 2678029.4261 | 1288555.8197 | 2678031.8351 | 1288552.4518
8 | 2678002.413 | 1288600.9835 | 2678013.112 | 1288600.7806 | 2678075.6449 | 1288595.2933 | 2678078.9326 | 1288595.1256 | 2678083.2712 | 1288594.8941 | 2678144.7405 | 1288627.7153
9 | 2678133.7388 | 1288641.6813 | 2678144.7405 | 1288627.7153
10 | 2678144.7405 | 1288627.7153 | 2678149.5819 | 1288621.2517 | 2678152.648 | 1288617.1548
11 | 2678002.413 | 1288600.9835 | 2677997.7558 | 1288609.8619
12 | 2678002.413 | 1288600.9835 | 2678016.0449 | 1288575.0055
13 | 2678133.7388 | 1288641.6813 | 2678163.5599 | 1288662.7506 | 2678167.2849 | 1288668.0491 | 2678165.9366 | 1288674.1253 | 2678155.3267 | 1288687.7123
14 | 2678133.7388 | 1288641.6813 | 2678130.3742 | 1288645.9515 | 2678091.4357 | 1288695.3865
15 | 2678152.648 | 1288617.1548 | 2678165.5482 | 1288599.9177
16 | 2677992.64 | 1288619.6145 | 2677997.7558 | 1288609.8619
17 | 2678029.4261 | 1288555.8197 | 2678016.988 | 1288573.2082 | 2678016.0449 | 1288575.0055
18 | 2677992.64 | 1288619.6145 | 2677979.076 | 1288637.3391 | 2677962.6875 | 1288667.3885
19 | 2677953.6269 | 1288688.9548 | 2677958.0428 | 1288675.9049 | 2677962.6875 | 1288667.3885
20 | 2678142.1682 | 1288366.6792 | 2678149.9371 | 1288366.9949
21 | 2678096.0203 | 1288330.5361 | 2678091.8673 | 1288338.2432 | 2678096.598 | 1288340.6969 | 2678104.153 | 1288343.9999 | 2678110.3879 | 1288347.2854 | 2678142.1682 | 1288366.6792
22 | 2678149.9371 | 1288366.9949 | 2678164.5173 | 1288367.5876 | 2678180.581 | 1288359.4049 | 2678191.8936 | 1288346.2366
23 | 2678082.1211 | 1288355.362 | 2678091.8673 | 1288338.2432 | 2678096.0203 | 1288330.5361
24 | 2677854.674 | 1288117.9479 | 2677909.9995 | 1288167.6886 | 2678058.3802 | 1288299.3326 | 2678070.8268 | 1288309.9289 | 2678075.7621 | 1288315.0654 | 2678080.4874 | 1288324.1469 | 2678087.9311 | 1288328.4827 | 2678096.0203 | 1288330.5361
25 | 2678096.0203 | 1288330.5361 | 2678119.7745 | 1288287.5828
26 | 2678155.3267 | 1288687.7123 | 2678133.1557 | 1288716.1042 | 2678132.7868 | 1288716.5185
27 | 2677944.8772 | 1288723.0378 | 2677949.0967 | 1288702.3425 | 2677953.6269 | 1288688.9548
28 | 2678119.7745 | 1288287.5828 | 2678123.2739 | 1288281.2552 | 2678125.1844 | 1288276.0924
29 | 2678247.4036 | 1288049.5263 | 2678160.8267 | 1288156.3351 | 2678152.9573 | 1288170.4873 | 2678148.3413 | 1288184.2378 | 2678129.4983 | 1288264.4345 | 2678125.1844 | 1288276.0924
30 | 2678160.4783 | 1287974.1298 | 2678165.0145 | 1287983.3424 | 2678172.6629 | 1287993.1968 | 2678247.4036 | 1288049.5263
31 | 2678247.4036 | 1288049.5263 | 2678254.6632 | 1288053.0591 | 2678262.526 | 1288056.9224 | 2678334.7198 | 1288097.6392 | 2678351.4704 | 1288102.1769 | 2678366.3421 | 1288031.4808 | 2678373.2989 | 1288004.2278 | 2678383.8503 | 1287980.2698 | 2678394.9046 | 1287960.8002 | 2678455.2216 | 1287875.5969 | 2678494.7326 | 1287821.6881
32 | 2677854.674 | 1288117.9479 | 2677788.9075 | 1288198.0254 | 2677774.8816 | 1288214.5145
33 | 2678160.4783 | 1287974.1298 | 2678154.7242 | 1287953.2467 | 2678141.4759 | 1287935.1888 | 2678127.0853 | 1287925.1783 | 2678063.7917 | 1287902.6421 | 2678040.135 | 1287894.2213
34 | 2678494.7326 | 1287821.6881 | 2678505.3532 | 1287808.6936
35 | 2678494.7326 | 1287821.6881 | 2678490.7175 | 1287810.5584 | 2678495.7038 | 1287749.428 | 2678496.1652 | 1287714.2707 | 2678491.7713 | 1287692.7159 | 2678481.2079 | 1287667.9985 | 2678475.6014 | 1287645.1042 | 2678475.5567 | 1287644.7075
36 | 2677744.7739 | 1288249.9094 | 2677774.8816 | 1288214.5145
37 | 2678642.1499 | 1287638.3082 | 2678619.6489 | 1287669.9127 | 2678555.8892 | 1287746.8614 | 2678505.3532 | 1287808.6936
38 | 2678474.6572 | 1287636.7351 | 2678475.5567 | 1287644.7075
39 | 2678246.7887 | 1288454.0541 | 2678263.0797 | 1288427.0808 | 2678278.8925 | 1288390.3927 | 2678285.7377 | 1288370.9114
40 | 2678285.7377 | 1288370.9114 | 2678225.7077 | 1288351.8849
41 | 2678246.7887 | 1288454.0541 | 2678295.2792 | 1288493.2655 | 2678318.6973 | 1288510.9213
42 | 2678225.7077 | 1288351.8849 | 2678195.3163 | 1288342.2524 | 2678191.8936 | 1288346.2366
43 | 2677744.7739 | 1288249.9094 | 2677223.812 | 1288370.0594
44 | 2677223.812 | 1288370.0594 | 2677219.1889 | 1288386.246 | 2677218.548 | 1288409.3685 | 2677212.7415 | 1288423.7047 | 2677194.8531 | 1288448.169 | 2677187.5742 | 1288463.2532 | 2677185.3211 | 1288474.9003
45 | 2678642.1499 | 1287638.3082 | 2678685.9327 | 1287572.0806 | 2678710.2477 | 1287541.7683 | 2678734.5917 | 1287514.9151 | 2678767.3257 | 1287486.217 | 2678799.3441 | 1287462.2468 | 2678833.3226 | 1287441.5059 | 2678896.3865 | 1287402.3428
46 | 2678473.792 | 1287590.0663 | 2678472.9861 | 1287607.7484 | 2678472.6963 | 1287619.3545 | 2678474.6572 | 1287636.7351
47 | 2678473.792 | 1287590.0663 | 2678511.0032 | 1287556.867 | 2678518.7303 | 1287549.9043
48 | 2678896.3865 | 1287402.3428 | 2678906.7862 | 1287395.8845
49 | 2678923.6699 | 1287385.4373 | 2678919.3947 | 1287388.0236 | 2678909.6273 | 1287394.1202 | 2678906.7862 | 1287395.8845
50 | 2678923.6699 | 1287385.4373 | 2678933.8719 | 1287379.2656 | 2678935.6985 | 1287378.1904
51 | 2678968.1958 | 1287367.5267 | 2678953.5515 | 1287370.2772 | 2678941.0938 | 1287375.0143 | 2678935.6985 | 1287378.1904
52 | 2678968.1958 | 1287367.5267 | 2678974.2886 | 1287372.5015 | 2678978.8642 | 1287374.8092 | 2678999.969 | 1287387.6476 | 2679068.4999 | 1287425.9554 | 2679090.7801 | 1287442.3018 | 2679096.2312 | 1287447.0013 | 2679102.4049 | 1287454.8798 | 2679103.3286 | 1287460.953 | 2679113.7765 | 1287514.1945 | 2679124.0423 | 1287567.5781 | 2679129.4573 | 1287597.2763 | 2679141.0288 | 1287601.5132 | 2679145.6983 | 1287606.3022 | 2679146.4715 | 1287612.9628 | 2679143.3725 | 1287619.1487 | 2679137.8931 | 1287622.1443 | 2679131.1947 | 1287624.8566
53 | 2679131.1947 | 1287624.8566 | 2679133.2774 | 1287630.0891 | 2679138.0085 | 1287635.8798 | 2679147.3913 | 1287643.8683 | 2679153.6952 | 1287648.735 | 2679157.1767 | 1287657.0667 | 2679155.8793 | 1287669.3042 | 2679153.8801 | 1287677.3842 | 2679152.9935 | 1287691.3424
54 | 2679117.8942 | 1287748.1282 | 2679123.4695 | 1287745.2451 | 2679134.7648 | 1287742.1052 | 2679144.7255 | 1287736.1116 | 2679149.1844 | 1287731.4564 | 2679150.7585 | 1287726.5289 | 2679152.9935 | 1287691.3424
55 | 2678997.5381 | 1287693.4216 | 2678980.2716 | 1287704.9111
56 | 2678997.5381 | 1287693.4216 | 2679014.7382 | 1287706.4412 | 2679028.0293 | 1287712.2245 | 2679047.7013 | 1287720.4844 | 2679061.7245 | 1287723.6976 | 2679067.3508 | 1287724.6392
57 | 2678868.0957 | 1287769.6526 | 2678957.6302 | 1287718.3413 | 2678980.2716 | 1287704.9111
58 | 2678753.4298 | 1288006.6441 | 2678755.9089 | 1287993.4881 | 2678761.9456 | 1287971.2275 | 2678770.8651 | 1287950.4957 | 2678780.0869 | 1287936.8851 | 2678788.1903 | 1287926.6847 | 2678814.4691 | 1287894.1973 | 2678835.8325 | 1287874.7331 | 2678879.9731 | 1287850.1251 | 2678901.4545 | 1287828.6054 | 2678916.1209 | 1287814.0449 | 2678931.2571 | 1287789.0819 | 2678955.7103 | 1287746.8178 | 2678968.1877 | 1287726.5788 | 2678980.2716 | 1287704.9111
59 | 2679067.3508 | 1287724.6392 | 2679103.4847 | 1287730.6864
60 | 2679117.8942 | 1287748.1282 | 2679113.9502 | 1287741.8586
61 | 2679113.9502 | 1287741.8586 | 2679111.1 | 1287737.3277 | 2679103.4847 | 1287730.6864 | 2679103.4847 | 1287730.6864
62 | 2678753.4298 | 1288006.6441 | 2678744.4133 | 1288008.2916 | 2678729.5877 | 1288009.0163 | 2678721.546 | 1288015.1808 | 2678716.9206 | 1288028.4081 | 2678720.9363 | 1288046.7442 | 2678752.0934 | 1288098.6719 | 2678751.6419 | 1288104.3819 | 2678747.7 | 1288108.5772 | 2678667.7999 | 1288148.2474
63 | 2678753.4298 | 1288006.6441 | 2678752.7191 | 1288010.4267 | 2678755.035 | 1288030.764 | 2678762.9481 | 1288048.2293 | 2678774.4431 | 1288061.4944 | 2678800.483 | 1288086.5753 | 2678817.7087 | 1288118.3553 | 2678838.8757 | 1288152.6903 | 2678844.417 | 1288159.0254 | 2678857.0737 | 1288168.9812 | 2678872.2741 | 1288177.7589 | 2678881.8894 | 1288184.5935 | 2678882.5703 | 1288185.281 | 2678886.9968 | 1288189.7108 | 2678892.3425 | 1288194.3975 | 2678893.916 | 1288200.1346 | 2678896.5358 | 1288210.0671 | 2678899.8301 | 1288235.7222 | 2678901.4265 | 1288255.9721 | 2678904.3568 | 1288278.553 | 2678907.8736 | 1288297.1161 | 2678909.339 | 1288308.6678 | 2678906.9778 | 1288324.2051 | 2678902.2845 | 1288329.6136 | 2678895.446 | 1288337.8068 | 2678865.0806 | 1288359.0962
64 | 2678865.0806 | 1288359.0962 | 2678803.4833 | 1288392.4215
65 | 2678474.8485 | 1288912.3375 | 2678451.2619 | 1288898.869
66 | 2678451.2619 | 1288898.869 | 2678429.954 | 1288886.7017
67 | 2678427.126 | 1288885.0869 | 2678429.954 | 1288886.7017
68 | 2678427.126 | 1288885.0869 | 2678406.1548 | 1288873.1118
69 | 2678394.3616 | 1288873.2769 | 2678403.4823 | 1288871.5858 | 2678406.1548 | 1288873.1118
70 | 2678394.3616 | 1288873.2769 | 2678388.8102 | 1288865.463 | 2678373.2255 | 1288847.9683
71 | 2678408.2403 | 1288916.9882 | 2678402.9906 | 1288901.1714 | 2678397.5477 | 1288882.9721 | 2678394.3616 | 1288873.2769
72 | 2678363.3559 | 1288836.8892 | 2678373.2255 | 1288847.9683
73 | 2678377.4352 | 1288901.2535 | 2678378.4625 | 1288901.8344 | 2678387.5624 | 1288906.7708 | 2678388.5386 | 1288907.2509 | 2678408.2403 | 1288916.9882
74 | 2678408.2403 | 1288916.9882 | 2678416.8091 | 1288917.8697 | 2678433.448 | 1288927.507
75 | 2678363.3559 | 1288836.8892 | 2678360.3878 | 1288833.5573 | 2678345.5954 | 1288817.1493
76 | 2678377.4352 | 1288901.2535 | 2678376.5919 | 1288900.7724
77 | 2678327.5089 | 1288797.3991 | 2678334.2885 | 1288804.6075 | 2678345.5954 | 1288817.1493
78 | 2678022.0156 | 1288805.0185 | 2678059.0069 | 1288791.5971 | 2678071.9564 | 1288786.3686
79 | 2678022.0156 | 1288805.0185 | 2678023.2589 | 1288817.6013 | 2678028.4764 | 1288829.1359 | 2678034.5736 | 1288839.381 | 2678046.2844 | 1288849.9453 | 2678055.9265 | 1288856.8658
80 | 2678149.5552 | 1288755.4334 | 2678121.2736 | 1288766.4566 | 2678071.9564 | 1288786.3686
81 | 2678132.7868 | 1288716.5185 | 2678125.0313 | 1288725.2265 | 2678124.9671 | 1288730.0631 | 2678124.9671 | 1288730.0631
82 | 2678149.5552 | 1288755.4334 | 2678144.3976 | 1288741.6531 | 2678137.0366 | 1288737.2624
83 | 2678149.5552 | 1288755.4334 | 2678168.5652 | 1288748.0231
84 | 2678137.0366 | 1288737.2624 | 2678124.9671 | 1288730.0631
85 | 2678168.5652 | 1288748.0231 | 2678182.2476 | 1288742.6896 | 2678200.5369 | 1288742.8728
86 | 2677943.4804 | 1288762.0135 | 2677953.1344 | 1288787.2214
87 | 2677943.4804 | 1288762.0135 | 2677942.3949 | 1288759.179
88 | 2677938.7055 | 1288749.5456 | 2677942.3949 | 1288759.179
89 | 2677938.7055 | 1288749.5456 | 2677932.913 | 1288733.7245
90 | 2677932.913 | 1288733.7245 | 2677932.8314 | 1288733.5015
91 | 2677944.8772 | 1288723.0378 | 2677930.265 | 1288726.4919
92 | 2677930.265 | 1288726.4919 | 2677928.13 | 1288720.6298
93 | 2677930.265 | 1288726.4919 | 2677932.8314 | 1288733.5015
94 | 2678200.5369 | 1288742.8728 | 2678206.0293 | 1288742.9278 | 2678225.2081 | 1288743.1886
95 | 2678238.0948 | 1288743.3639 | 2678225.2081 | 1288743.1886
96 | 2678238.0948 | 1288743.3639 | 2678241.8688 | 1288743.4153 | 2678274.5774 | 1288761.1951
97 | 2678274.5774 | 1288761.1951 | 2678277.3309 | 1288762.6919 | 2678303.8097 | 1288777.0943
98 | 2678313.232 | 1288782.2193 | 2678303.8097 | 1288777.0943
99 | 2678313.232 | 1288782.2193 | 2678327.5089 | 1288797.3991
100 | 2678313.232 | 1288782.2193 | 2678306.1252 | 1288745.6229

## bus_geodata
| x | y | coords
0 | 2678070.3502 | 1288496.0034
1 | 2678075.7009 | 1288486.125
2 | 2678052.5263 | 1288523.5253
3 | 2678080.9652 | 1288476.4062
4 | 2678041.9109 | 1288538.3657
5 | 2678072.9839 | 1288407.8619
6 | 2678031.8351 | 1288552.4518
7 | 2678144.7405 | 1288627.7153
8 | 2678002.413 | 1288600.9835
9 | 2678133.7388 | 1288641.6813
10 | 2678152.648 | 1288617.1548
11 | 2677997.7558 | 1288609.8619
12 | 2678016.0449 | 1288575.0055
13 | 2677992.64 | 1288619.6145
14 | 2677962.6875 | 1288667.3885
15 | 2678142.1682 | 1288366.6792
16 | 2678149.9371 | 1288366.9949
17 | 2678096.0203 | 1288330.5361
18 | 2678082.1211 | 1288355.362
19 | 2678029.4261 | 1288555.8197
20 | 2678155.3267 | 1288687.7123
21 | 2678091.4357 | 1288695.3865
22 | 2678165.5482 | 1288599.9177
23 | 2677953.6269 | 1288688.9548
24 | 2678119.7745 | 1288287.5829
25 | 2678125.1844 | 1288276.0924
26 | 2678247.4036 | 1288049.5263
27 | 2677854.674 | 1288117.9479
28 | 2678160.4783 | 1287974.1298
29 | 2678494.7326 | 1287821.6881
30 | 2677774.8816 | 1288214.5145
31 | 2678040.135 | 1287894.2213
32 | 2678505.3532 | 1287808.6936
33 | 2678475.5567 | 1287644.7075
34 | 2678285.7377 | 1288370.9114
35 | 2678246.7887 | 1288454.0541
36 | 2678225.7077 | 1288351.8849
37 | 2678191.8936 | 1288346.2366
38 | 2677744.7739 | 1288249.9094
39 | 2677223.812 | 1288370.0594
40 | 2678642.1499 | 1287638.3082
41 | 2678474.6572 | 1287636.7351
42 | 2678318.6973 | 1288510.9213
43 | 2678473.792 | 1287590.0663
44 | 2678518.7303 | 1287549.9043
45 | 2678896.3865 | 1287402.3428
46 | 2678923.6699 | 1287385.4373
47 | 2678906.7862 | 1287395.8845
48 | 2678935.6985 | 1287378.1904
49 | 2678968.1958 | 1287367.5267
50 | 2679131.1947 | 1287624.8566
51 | 2679152.9935 | 1287691.3424
52 | 2678997.5381 | 1287693.4216
53 | 2678980.2716 | 1287704.9111
54 | 2679067.3508 | 1287724.6392
55 | 2679117.8942 | 1287748.1282
56 | 2679103.4847 | 1287730.6864
57 | 2679113.9502 | 1287741.8586
58 | 2678868.0957 | 1287769.6526
59 | 2678753.4298 | 1288006.6441
60 | 2678667.7999 | 1288148.2474
61 | 2678865.0806 | 1288359.0962
62 | 2678803.4833 | 1288392.4215
63 | 2678474.8485 | 1288912.3375
64 | 2678451.2619 | 1288898.869
65 | 2678429.954 | 1288886.7017
66 | 2678427.126 | 1288885.0869
67 | 2678406.1548 | 1288873.1118
68 | 2678394.3616 | 1288873.2769
69 | 2678373.2255 | 1288847.9683
70 | 2678408.2403 | 1288916.9882
71 | 2678363.3559 | 1288836.8892
72 | 2678377.4352 | 1288901.2535
73 | 2678433.448 | 1288927.507
74 | 2678345.5954 | 1288817.1493
75 | 2678376.5919 | 1288900.7724
76 | 2678022.0156 | 1288805.0185
77 | 2678071.9564 | 1288786.3686
78 | 2678055.9265 | 1288856.8658
79 | 2678132.7868 | 1288716.5185
80 | 2678149.5552 | 1288755.4334
81 | 2678124.9671 | 1288730.0631
82 | 2678137.0366 | 1288737.2624
83 | 2678168.5652 | 1288748.0231
84 | 2677943.4804 | 1288762.0135
85 | 2677953.1344 | 1288787.2214
86 | 2677942.3949 | 1288759.179
87 | 2677938.7055 | 1288749.5456
88 | 2677932.913 | 1288733.7245
89 | 2677944.8772 | 1288723.0378
90 | 2677930.265 | 1288726.4919
91 | 2677932.8314 | 1288733.5015
92 | 2677928.13 | 1288720.6298
93 | 2677185.3211 | 1288474.9003
94 | 2678200.5369 | 1288742.8728
95 | 2678225.2081 | 1288743.1886
96 | 2678238.0948 | 1288743.3639
97 | 2678274.5774 | 1288761.1951
98 | 2678303.8097 | 1288777.0943
99 | 2678313.232 | 1288782.2193
100 | 2678327.5089 | 1288797.3991
101 | 2678306.1252 | 1288745.6229
102 | 2678052.5263 | 1288523.5253

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1