## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2952-4_1_2_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_2952-4_1_2_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_2952-4_1_2_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_2952-4_1_2_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_2952-4_1_2_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_2952-4_1_2_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_2952-4_1_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2952-4_1_2_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_2952-4_1_2_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_2952-4_1_2_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_2952-4_1_2_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2952-4_1_2_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_2952-4_1_2_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_2952-4_1_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_2952-4_1_2_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_2952-4_1_2_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_2952-4_1_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_2952-4_1_2_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_2952-4_1_2_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_2952-4_1_2_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_2952-4_1_2_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_2952-4_1_2_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_2952-4_1_2_node_109 | 0.4 | n |  | TRUE
23 | bus_LV_2952-4_1_2_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_2952-4_1_2_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_2952-4_1_2_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_2952-4_1_2_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_2952-4_1_2_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_2952-4_1_2_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_2952-4_1_2_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_2952-4_1_2_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_2952-4_1_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_2952-4_1_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_2952-4_1_2_node_107 | 0.4 | n |  | TRUE
34 | bus_LV_2952-4_1_2_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_2952-4_1_2_node_108 | 0.4 | n |  | TRUE
36 | bus_LV_2952-4_1_2_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_2952-4_1_2_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_2952-4_1_2_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_2952-4_1_2_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_2952-4_1_2_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_2952-4_1_2_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_2952-4_1_2_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_2952-4_1_2_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_2952-4_1_2_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_2952-4_1_2_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_2952-4_1_2_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_2952-4_1_2_node_69 | 0.4 | n |  | TRUE
48 | bus_MV_400_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2952-4_1_2_load_11 | 0 | 0.00091898 | 0.00023032 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2952-4_1_2_load_14 | 2 | 0.0023499 | 0.00058894 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2952-4_1_2_load_18 | 4 | 0.00017528 | 4.393e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2952-4_1_2_load_39 | 5 | 0.0014029 | 0.0003516 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2952-4_1_2_load_20 | 7 | 0.0017401 | 0.00043612 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2952-4_1_2_load_47 | 9 | 0.0051538 | 0.0012917 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2952-4_1_2_load_50 | 12 | 0.00055341 | 0.0001387 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2952-4_1_2_load_43 | 14 | 0.00042022 | 0.00010532 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2952-4_1_2_load_40 | 15 | 0.00022124 | 5.5449e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2952-4_1_2_load_71 | 21 | 0.00019875 | 4.9812e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2952-4_1_2_load_109 | 22 | 0.0044754 | 0.0011216 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2952-4_1_2_load_73 | 23 | 0.0013588 | 0.00034056 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2952-4_1_2_load_49 | 24 | 0.0064708 | 0.0016217 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2952-4_1_2_load_41 | 25 | 8.7166e-05 | 2.1846e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2952-4_1_2_load_42 | 26 | 0.0094694 | 0.0023732 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2952-4_1_2_load_44 | 27 | 0.001145 | 0.00028697 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2952-4_1_2_load_54 | 29 | 0.00082761 | 0.00020742 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2952-4_1_2_load_48 | 30 | 0.034632 | 0.0086795 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2952-4_1_2_load_51 | 31 | 0.0014484 | 0.000363 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2952-4_1_2_load_52 | 32 | 0.0015866 | 0.00039764 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2952-4_1_2_load_107 | 33 | 8.8979e-05 | 2.23e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2952-4_1_2_load_108 | 35 | 0.00095687 | 0.00023981 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2952-4_1_2_load_57 | 36 | 0.0017863 | 0.0004477 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2952-4_1_2_load_59 | 38 | 0.000732 | 0.00018346 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2952-4_1_2_load_60 | 39 | 0.00036305 | 9.0989e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2952-4_1_2_load_62 | 40 | 0.00062264 | 0.00015605 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2952-4_1_2_load_63 | 41 | 0.002516 | 0.00063057 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2952-4_1_2_load_65 | 42 | 0.00080442 | 0.00020161 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2952-4_1_2_load_66 | 43 | 0.00019397 | 4.8612e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2952-4_1_2_load_72 | 46 | 7.7888e-05 | 1.9521e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2952-4_1_2_load_69 | 47 | 0.00030945 | 7.7556e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2952-4_1_2_line_0 |  | 0 | 1 | 0.036399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2952-4_1_2_line_1 |  | 1 | 2 | 0.046793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2952-4_1_2_line_2 |  | 1 | 3 | 0.082041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2952-4_1_2_line_3 |  | 2 | 4 | 0.056492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2952-4_1_2_line_4 |  | 3 | 5 | 0.092441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2952-4_1_2_line_5 |  | 3 | 6 | 0.17707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2952-4_1_2_line_6 |  | 3 | 7 | 0.14726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2952-4_1_2_line_7 |  | 4 | 13 | 0.0028852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2952-4_1_2_line_8 |  | 6 | 8 | 0.48508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2952-4_1_2_line_9 |  | 6 | 9 | 0.068025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2952-4_1_2_line_10 |  | 7 | 16 | 0.15405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2952-4_1_2_line_11 |  | 8 | 22 | 0.20567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2952-4_1_2_line_12 |  | 9 | 30 | 0.0017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2952-4_1_2_line_13 |  | 10 | 11 | 0.20107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2952-4_1_2_line_14 |  | 10 | 12 | 0.13204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2952-4_1_2_line_15 |  | 11 | 33 | 0.042732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2952-4_1_2_line_16 |  | 12 | 31 | 0.0098715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2952-4_1_2_line_17 |  | 13 | 14 | 0.036411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2952-4_1_2_line_18 |  | 13 | 15 | 0.032063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2952-4_1_2_line_19 |  | 14 | 27 | 0.0125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2952-4_1_2_line_20 |  | 15 | 25 | 0.029117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2952-4_1_2_line_21 |  | 16 | 17 | 0.34014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2952-4_1_2_line_22 |  | 17 | 23 | 0.074986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2952-4_1_2_line_23 |  | 18 | 19 | 0.25808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2952-4_1_2_line_24 |  | 18 | 20 | 0.042895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2952-4_1_2_line_25 |  | 18 | 21 | 0.014715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2952-4_1_2_line_26 |  | 19 | 24 | 0.21531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2952-4_1_2_line_27 |  | 20 | 41 | 0.11872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2952-4_1_2_line_28 |  | 20 | 38 | 0.020763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2952-4_1_2_line_29 |  | 21 | 44 | 0.010376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2952-4_1_2_line_30 |  | 24 | 30 | 0.42117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2952-4_1_2_line_31 |  | 25 | 26 | 0.46792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2952-4_1_2_line_32 |  | 27 | 28 | 0.017919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2952-4_1_2_line_33 |  | 28 | 29 | 0.0035904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2952-4_1_2_line_34 |  | 29 | 32 | 0.022385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2952-4_1_2_line_35 |  | 31 | 32 | 9.8077e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2952-4_1_2_line_36 |  | 33 | 34 | 0.19551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2952-4_1_2_line_37 |  | 34 | 35 | 0.076163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2952-4_1_2_line_38 |  | 36 | 37 | 0.042012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2952-4_1_2_line_39 |  | 37 | 42 | 0.032585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2952-4_1_2_line_40 |  | 37 | 43 | 0.054422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2952-4_1_2_line_41 |  | 37 | 44 | 0.21437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2952-4_1_2_line_42 |  | 38 | 39 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2952-4_1_2_line_43 |  | 39 | 40 | 0.00089254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2952-4_1_2_line_44 |  | 43 | 45 | 0.025073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2952-4_1_2_line_45 |  | 44 | 46 | 0.012395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2952-4_1_2_line_46 |  | 45 | 47 | 0.0052192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2952-4_1_2_trafo_48 | 0.63 MVA 20/0.4 kV | 48 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2679164.6524 | 1289958.9966 | 2679159.2197 | 1289953.1074 | 2679139.0288 | 1289933.1548
1 | 2679164.6524 | 1289958.9966 | 2679171.0166 | 1289965.8771 | 2679178.3168 | 1289973.9822 | 2679191.8877 | 1289989.2224 | 2679195.7795 | 1289993.9275
2 | 2679164.6524 | 1289958.9966 | 2679199.4119 | 1289914.937 | 2679199.9782 | 1289889.0221
3 | 2679195.7795 | 1289993.9275 | 2679208.985 | 1290009.8925 | 2679230.6483 | 1290038.3603
4 | 2679199.9782 | 1289889.0221 | 2679277.3158 | 1289838.0297
5 | 2679199.9782 | 1289889.0221 | 2679230.1332 | 1289912.9485 | 2679332.4912 | 1290006.3631
6 | 2679199.9782 | 1289889.0221 | 2679186.6593 | 1289878.4449 | 2679163.8011 | 1289853.9386 | 2679148.4616 | 1289831.3351 | 2679116.6072 | 1289769.6511
7 | 2679232.3955 | 1290040.6563 | 2679230.6483 | 1290038.3603
8 | 2679332.4912 | 1290006.3631 | 2679367.9362 | 1289989.3927 | 2679431.0092 | 1289960.1511 | 2679479.7904 | 1289971.3524 | 2679494.8164 | 1289982.6317 | 2679604.2665 | 1290116.2595 | 2679656.1443 | 1290080.2965 | 2679712.7308 | 1290046.0992 | 2679718.1821 | 1290046.1397
9 | 2679332.4912 | 1290006.3631 | 2679350.4921 | 1290022.275 | 2679371.5713 | 1290044.5785 | 2679380.235 | 1290054.6842
10 | 2679033.0979 | 1289640.4426 | 2679101.3471 | 1289740.1008 | 2679116.6072 | 1289769.6511
11 | 2679718.1821 | 1290046.1397 | 2679721.4912 | 1290041.5695 | 2679724.887 | 1290028.3818 | 2679735.1827 | 1290011.273 | 2679740.6329 | 1289994.7991 | 2679743.7752 | 1289978.1939 | 2679752.4097 | 1289927.0776 | 2679757.1219 | 1289913.6075 | 2679779.4285 | 1289885.1294 | 2679791.8183 | 1289875.1108 | 2679804.2266 | 1289868.6842
12 | 2679380.235 | 1290054.6842 | 2679381.3657 | 1290056.0031
13 | 2679036.6076 | 1290169.6815 | 2679028.9281 | 1290175.3055 | 2679024.3113 | 1290180.7038 | 2679020.7871 | 1290186.2613 | 2679017.9447 | 1290192.4285 | 2679015.8304 | 1290198.5388 | 2679013.1794 | 1290208.8789 | 2679011.2191 | 1290220.2736 | 2679009.8373 | 1290234.3895 | 2679010.2015 | 1290247.4724 | 2679011.7996 | 1290270.8586 | 2679013.1199 | 1290300.413 | 2679013.126 | 1290318.3843 | 2679012.261 | 1290326.9579 | 2679006.7665 | 1290351.372 | 2679005.1205 | 1290361.7033
14 | 2679036.6076 | 1290169.6815 | 2679093.6977 | 1290135.6074 | 2679125.3304 | 1290116.5047 | 2679139.4295 | 1290107.5197 | 2679149.4043 | 1290101.0613
15 | 2679005.1205 | 1290361.7033 | 2679046.8577 | 1290370.8707
16 | 2679149.4043 | 1290101.0613 | 2679157.6906 | 1290095.6963
17 | 2679232.3955 | 1290040.6563 | 2679207.6776 | 1290061.3306 | 2679204.2779 | 1290063.7739
18 | 2679232.3955 | 1290040.6563 | 2679251.2385 | 1290066.5981
19 | 2679194.1275 | 1290071.0686 | 2679204.2779 | 1290063.7739
20 | 2679268.2529 | 1290090.2264 | 2679252.7972 | 1290068.7441 | 2679251.2385 | 1290066.5981
21 | 2679033.0979 | 1289640.4426 | 2679031.8181 | 1289638.5683 | 2679002.455 | 1289606.8913 | 2679085.4884 | 1289569.1621 | 2679103.2967 | 1289562.173 | 2679121.47 | 1289557.6021 | 2679138.1031 | 1289556.0242 | 2679154.8048 | 1289556.0376 | 2679167.0266 | 1289556.8025 | 2679163.0159 | 1289543.8596 | 2679163.0663 | 1289535.6532 | 2679167.4263 | 1289525.4252 | 2679176.4017 | 1289509.9547 | 2679180.4512 | 1289497.7208 | 2679158.6014 | 1289477.8654 | 2679141.8124 | 1289456.9995
22 | 2679141.8124 | 1289456.9995 | 2679212.4899 | 1289431.9469
23 | 2679815.9401 | 1290513.2479 | 2679860.0142 | 1290568.6604 | 2679877.9028 | 1290588.1867 | 2679908.6231 | 1290619.1638 | 2679931.803 | 1290641.0642 | 2679957.8223 | 1290664.7937 | 2679989.4796 | 1290691.3135 | 2679996.9608 | 1290695.8858
24 | 2679996.9608 | 1290695.8858 | 2679967.6208 | 1290727.259
25 | 2679996.9608 | 1290695.8858 | 2680010.1593 | 1290702.393
26 | 2679815.9401 | 1290513.2479 | 2679805.2821 | 1290499.6249 | 2679793.5739 | 1290485.465 | 2679751.5361 | 1290436.2971 | 2679738.9509 | 1290423.2042 | 2679725.7355 | 1290411.237 | 2679709.8635 | 1290398.3109 | 2679662.4642 | 1290364.0461
27 | 2679967.6208 | 1290727.259 | 2679948.1342 | 1290715.5731 | 2679885.9209 | 1290695.1442 | 2679866.9402 | 1290688.7033 | 2679858.5288 | 1290681.95
28 | 2679967.6208 | 1290727.259 | 2679953.6355 | 1290742.606
29 | 2680018.6487 | 1290708.358 | 2680010.1593 | 1290702.393
30 | 2679381.3657 | 1290056.0031 | 2679402.321 | 1290080.4464 | 2679416.381 | 1290096.0606 | 2679440.5161 | 1290121.9308 | 2679491.2597 | 1290178.1533 | 2679502.6253 | 1290194.4543 | 2679516.4601 | 1290221.142 | 2679531.0785 | 1290245.3271 | 2679550.8736 | 1290273.1965 | 2679561.3502 | 1290285.8935 | 2679572.0409 | 1290297.1811 | 2679603.6611 | 1290321.1738 | 2679636.086 | 1290344.9774 | 2679662.4642 | 1290364.0461
31 | 2679268.2529 | 1290090.2264 | 2679289.0732 | 1290119.1651 | 2679305.6941 | 1290140.6298 | 2679322.7369 | 1290160.2764 | 2679340.6018 | 1290179.0111 | 2679359.4406 | 1290198.9156 | 2679377.8639 | 1290220.149 | 2679397.4711 | 1290246.4473 | 2679416.9996 | 1290275.7805 | 2679472.0064 | 1290363.2765 | 2679540.1326 | 1290469.6511
32 | 2679179.5766 | 1290081.5257 | 2679194.1275 | 1290071.0686
33 | 2679179.5766 | 1290081.5257 | 2679176.5628 | 1290083.4771
34 | 2679176.5628 | 1290083.4771 | 2679157.7729 | 1290095.643
35 | 2679157.6906 | 1290095.6963 | 2679157.7729 | 1290095.643
36 | 2679150.2417 | 1290497.7927 | 2679158.2004 | 1290479.7507 | 2679160.5423 | 1290471.2192 | 2679161.1994 | 1290462.5093 | 2679160.07 | 1290453.3751 | 2679156.77 | 1290443.3887 | 2679148.3803 | 1290425.4604 | 2679141.6082 | 1290416.0501 | 2679134.361 | 1290407.3896 | 2679122.2319 | 1290397.6404 | 2679107.9844 | 1290390.3871 | 2679072.3691 | 1290377.3084 | 2679056.7841 | 1290373.051 | 2679046.8577 | 1290370.8707
37 | 2679150.2417 | 1290497.7927 | 2679142.0406 | 1290502.075 | 2679133.8304 | 1290507.0468 | 2679105.2866 | 1290527.4476 | 2679087.0242 | 1290540.1191
38 | 2679976.8422 | 1290899.4455 | 2679959.2805 | 1290889.0535 | 2679940.9786 | 1290877.5698
39 | 2679976.8422 | 1290899.4455 | 2679982.0973 | 1290902.2749 | 2680005.5185 | 1290914.9189
40 | 2679976.8422 | 1290899.4455 | 2679940.823 | 1290940.2427
41 | 2679976.8422 | 1290899.4455 | 2679985.2273 | 1290889.3506 | 2680036.2462 | 1290825.8218 | 2680025.3862 | 1290790.1876 | 2680022.7445 | 1290781.5442 | 2680020.4782 | 1290769.0024 | 2680018.2862 | 1290739.4135 | 2680018.6487 | 1290708.358
42 | 2679953.6355 | 1290742.606 | 2679946.6502 | 1290750.2714
43 | 2679946.049 | 1290750.9311 | 2679946.6502 | 1290750.2714
44 | 2679924.2285 | 1290959.0386 | 2679940.823 | 1290940.2427
45 | 2680018.6487 | 1290708.358 | 2680030.4091 | 1290712.2717
46 | 2679924.2285 | 1290959.0386 | 2679920.5547 | 1290962.7458

## bus_geodata
| x | y | coords
0 | 2679139.0288 | 1289933.1548
1 | 2679164.6524 | 1289958.9966
2 | 2679195.7795 | 1289993.9275
3 | 2679199.9782 | 1289889.0221
4 | 2679230.6483 | 1290038.3603
5 | 2679277.3158 | 1289838.0297
6 | 2679332.4912 | 1290006.3631
7 | 2679116.6072 | 1289769.6511
8 | 2679718.1821 | 1290046.1397
9 | 2679380.235 | 1290054.6842
10 | 2679036.6076 | 1290169.6815
11 | 2679005.1205 | 1290361.7033
12 | 2679149.4043 | 1290101.0613
13 | 2679232.3955 | 1290040.6563
14 | 2679204.2779 | 1290063.7739
15 | 2679251.2385 | 1290066.5981
16 | 2679033.0979 | 1289640.4426
17 | 2679141.8124 | 1289456.9995
18 | 2679996.9608 | 1290695.8858
19 | 2679815.9401 | 1290513.2479
20 | 2679967.6208 | 1290727.259
21 | 2680010.1593 | 1290702.393
22 | 2679804.2266 | 1289868.6842
23 | 2679212.4899 | 1289431.9469
24 | 2679662.4642 | 1290364.0461
25 | 2679268.2529 | 1290090.2264
26 | 2679540.1326 | 1290469.6511
27 | 2679194.1275 | 1290071.0686
28 | 2679179.5766 | 1290081.5257
29 | 2679176.5628 | 1290083.4771
30 | 2679381.3657 | 1290056.0031
31 | 2679157.6906 | 1290095.6963
32 | 2679157.7729 | 1290095.643
33 | 2679046.8577 | 1290370.8707
34 | 2679150.2417 | 1290497.7927
35 | 2679087.0242 | 1290540.1191
36 | 2679940.9786 | 1290877.5698
37 | 2679976.8422 | 1290899.4455
38 | 2679953.6355 | 1290742.606
39 | 2679946.6502 | 1290750.2714
40 | 2679946.049 | 1290750.9311
41 | 2679858.5288 | 1290681.95
42 | 2680005.5185 | 1290914.9189
43 | 2679940.823 | 1290940.2427
44 | 2680018.6487 | 1290708.358
45 | 2679924.2285 | 1290959.0386
46 | 2680030.4091 | 1290712.2717
47 | 2679920.5547 | 1290962.7458
48 | 2679332.4912 | 1290006.3631

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1