## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2974-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2974-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2974-5_0_6_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_2974-5_0_6_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_2974-5_0_6_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_2974-5_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2974-5_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2974-5_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2974-5_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2974-5_0_6_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2974-5_0_6_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_2974-5_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2974-5_0_6_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_2974-5_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2974-5_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2974-5_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2974-5_0_6_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2974-5_0_6_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_2974-5_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2974-5_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2974-5_0_6_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_2974-5_0_6_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_2974-5_0_6_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_2974-5_0_6_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_2974-5_0_6_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_2974-5_0_6_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_2974-5_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2974-5_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2974-5_0_6_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2974-5_0_6_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2974-5_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2974-5_0_6_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_2974-5_0_6_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_2974-5_0_6_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2974-5_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2974-5_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2974-5_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2974-5_0_6_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_2974-5_0_6_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_2974-5_0_6_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_2974-5_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2974-5_0_6_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_2974-5_0_6_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2974-5_0_6_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2974-5_0_6_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2974-5_0_6_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2974-5_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_2974-5_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2974-5_0_6_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_2974-5_0_6_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_2974-5_0_6_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_2974-5_0_6_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_2974-5_0_6_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_2974-5_0_6_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_2974-5_0_6_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_2974-5_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2974-5_0_6_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2974-5_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_2974-5_0_6_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_2974-5_0_6_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_2974-5_0_6_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_2974-5_0_6_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_2974-5_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_2974-5_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2974-5_0_6_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_2974-5_0_6_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_2974-5_0_6_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_2974-5_0_6_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_2974-5_0_6_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_2974-5_0_6_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_2974-5_0_6_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_2974-5_0_6_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_2974-5_0_6_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_2974-5_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_2974-5_0_6_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_2974-5_0_6_node_73 | 0.4 | n |  | TRUE
76 | bus_MV_400_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2974-5_0_6_load_0 | 0 | 0.00028916 | 7.247e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2974-5_0_6_load_7 | 3 | 0.00071873 | 0.00018013 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2974-5_0_6_load_2 | 4 | 0.0018469 | 0.00046286 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2974-5_0_6_load_3 | 5 | 0.0007815 | 0.00019586 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2974-5_0_6_load_4 | 6 | 0.00065525 | 0.00016422 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2974-5_0_6_load_6 | 8 | 0.0010166 | 0.00025479 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2974-5_0_6_load_21 | 9 | 0.00071531 | 0.00017927 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2974-5_0_6_load_19 | 10 | 0.00097474 | 0.00024429 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2974-5_0_6_load_11 | 11 | 0.00068258 | 0.00017107 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2974-5_0_6_load_18 | 12 | 0.0014226 | 0.00035653 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2974-5_0_6_load_8 | 14 | 0.00029207 | 7.3199e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2974-5_0_6_load_17 | 17 | 0.0044844 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2974-5_0_6_load_13 | 18 | 0.00022996 | 5.7634e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2974-5_0_6_load_80 | 20 | 0.0035191 | 0.00088198 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2974-5_0_6_load_51 | 22 | 0.0025636 | 0.0006425 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2974-5_0_6_load_25 | 23 | 0.023535 | 0.0058983 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2974-5_0_6_load_28 | 24 | 0.022094 | 0.0055372 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2974-5_0_6_load_50 | 25 | 0.00078966 | 0.00019791 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2974-5_0_6_load_22 | 26 | 0.0025497 | 0.00063902 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2974-5_0_6_load_23 | 27 | 0.056542 | 0.014171 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2974-5_0_6_load_26 | 29 | 0.017495 | 0.0043847 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2974-5_0_6_load_27 | 30 | 0.0062715 | 0.0015718 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2974-5_0_6_load_34 | 31 | 0.036262 | 0.0090882 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2974-5_0_6_load_42 | 32 | 0.0018004 | 0.00045123 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2974-5_0_6_load_33 | 33 | 0.032184 | 0.0080661 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2974-5_0_6_load_29 | 34 | 0.050655 | 0.012695 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2974-5_0_6_load_77 | 37 | 0.017869 | 0.0044783 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2974-5_0_6_load_78 | 38 | 0.058568 | 0.014678 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2974-5_0_6_load_75 | 39 | 0.043208 | 0.010829 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2974-5_0_6_load_36 | 41 | 0.0059919 | 0.0015017 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2974-5_0_6_load_37 | 42 | 0.062388 | 0.015636 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2974-5_0_6_load_38 | 43 | 0.0059516 | 0.0014916 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2974-5_0_6_load_41 | 47 | 0.0042532 | 0.001066 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2974-5_0_6_load_61 | 48 | 0.0012935 | 0.00032418 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2974-5_0_6_load_46 | 50 | 0.0036833 | 0.00092312 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2974-5_0_6_load_79 | 52 | 0.015127 | 0.0037913 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2974-5_0_6_load_44 | 54 | 0.0011676 | 0.00029264 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2974-5_0_6_load_45 | 55 | 0.0015598 | 0.00039093 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2974-5_0_6_load_47 | 56 | 0.0033674 | 0.00084395 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2974-5_0_6_load_48 | 57 | 0.0014246 | 0.00035705 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2974-5_0_6_load_49 | 58 | 0.00080796 | 0.00020249 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2974-5_0_6_load_52 | 59 | 0.0072413 | 0.0018148 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2974-5_0_6_load_58 | 63 | 0.002183 | 0.00054712 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2974-5_0_6_load_76 | 64 | 0.00035323 | 8.8528e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2974-5_0_6_load_63 | 65 | 0.0041436 | 0.0010385 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2974-5_0_6_load_62 | 66 | 0.0030743 | 0.00077049 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2974-5_0_6_load_66 | 70 | 0.0069194 | 0.0017342 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2974-5_0_6_load_74 | 72 | 0.0017287 | 0.00043326 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2974-5_0_6_load_72 | 73 | 0.00061079 | 0.00015308 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2974-5_0_6_load_71 | 74 | 0.0019178 | 0.00048066 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2974-5_0_6_load_73 | 75 | 0.00018436 | 4.6205e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2974-5_0_6_line_0 |  | 0 | 1 | 0.017787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2974-5_0_6_line_1 |  | 1 | 2 | 0.12766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2974-5_0_6_line_2 |  | 2 | 3 | 0.023816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2974-5_0_6_line_3 |  | 3 | 14 | 0.030827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2974-5_0_6_line_4 |  | 4 | 5 | 0.025532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2974-5_0_6_line_5 |  | 4 | 6 | 0.020129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2974-5_0_6_line_6 |  | 5 | 7 | 0.037053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2974-5_0_6_line_7 |  | 6 | 8 | 0.0076061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2974-5_0_6_line_8 |  | 7 | 9 | 0.0040179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2974-5_0_6_line_9 |  | 7 | 10 | 0.004663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2974-5_0_6_line_10 |  | 8 | 11 | 0.019519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2974-5_0_6_line_11 |  | 10 | 12 | 0.029969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2974-5_0_6_line_12 |  | 11 | 13 | 0.020997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2974-5_0_6_line_13 |  | 13 | 15 | 0.060951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2974-5_0_6_line_14 |  | 13 | 14 | 0.017407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2974-5_0_6_line_15 |  | 15 | 16 | 0.032257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2974-5_0_6_line_16 |  | 16 | 17 | 0.014335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2974-5_0_6_line_17 |  | 16 | 18 | 0.019202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2974-5_0_6_line_18 |  | 17 | 22 | 0.0022186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2974-5_0_6_line_19 |  | 19 | 20 | 0.032029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2974-5_0_6_line_20 |  | 19 | 21 | 0.045626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2974-5_0_6_line_21 |  | 21 | 23 | 0.019701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2974-5_0_6_line_22 |  | 21 | 24 | 0.021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2974-5_0_6_line_23 |  | 22 | 25 | 0.022628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2974-5_0_6_line_24 |  | 23 | 27 | 0.02218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2974-5_0_6_line_25 |  | 24 | 34 | 0.01659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2974-5_0_6_line_26 |  | 25 | 58 | 0.0025025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2974-5_0_6_line_27 |  | 26 | 27 | 0.0091112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2974-5_0_6_line_28 |  | 26 | 28 | 0.0060383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2974-5_0_6_line_29 |  | 28 | 29 | 0.025183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2974-5_0_6_line_30 |  | 28 | 30 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2974-5_0_6_line_31 |  | 29 | 31 | 0.023618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2974-5_0_6_line_32 |  | 30 | 32 | 0.021587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2974-5_0_6_line_33 |  | 31 | 33 | 0.0002372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2974-5_0_6_line_34 |  | 33 | 40 | 0.013377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2974-5_0_6_line_35 |  | 34 | 35 | 0.019336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2974-5_0_6_line_36 |  | 35 | 36 | 0.007653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2974-5_0_6_line_37 |  | 36 | 37 | 0.019358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2974-5_0_6_line_38 |  | 36 | 38 | 0.020146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2974-5_0_6_line_39 |  | 37 | 39 | 0.02276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2974-5_0_6_line_40 |  | 39 | 64 | 0.039612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2974-5_0_6_line_41 |  | 40 | 41 | 0.027315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2974-5_0_6_line_42 |  | 40 | 42 | 0.0048412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2974-5_0_6_line_43 |  | 41 | 43 | 0.0091217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2974-5_0_6_line_44 |  | 43 | 44 | 0.012551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2974-5_0_6_line_45 |  | 44 | 45 | 0.0068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2974-5_0_6_line_46 |  | 45 | 46 | 0.01105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2974-5_0_6_line_47 |  | 46 | 49 | 0.021644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2974-5_0_6_line_48 |  | 46 | 50 | 0.01851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2974-5_0_6_line_49 |  | 47 | 48 | 0.0029306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2974-5_0_6_line_50 |  | 48 | 51 | 0.012472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2974-5_0_6_line_51 |  | 49 | 52 | 0.007865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2974-5_0_6_line_52 |  | 49 | 53 | 0.02077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2974-5_0_6_line_53 |  | 50 | 54 | 0.040306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2974-5_0_6_line_54 |  | 51 | 63 | 0.022611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2974-5_0_6_line_55 |  | 53 | 72 | 0.019504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2974-5_0_6_line_56 |  | 53 | 71 | 0.026364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2974-5_0_6_line_57 |  | 54 | 55 | 0.0304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2974-5_0_6_line_58 |  | 55 | 56 | 0.013186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2974-5_0_6_line_59 |  | 56 | 57 | 0.00065139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2974-5_0_6_line_60 |  | 57 | 58 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2974-5_0_6_line_61 |  | 59 | 60 | 0.0059619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2974-5_0_6_line_62 |  | 60 | 61 | 0.013522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2974-5_0_6_line_63 |  | 61 | 62 | 0.045902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2974-5_0_6_line_64 |  | 61 | 63 | 0.023574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2974-5_0_6_line_65 |  | 62 | 65 | 0.0029457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2974-5_0_6_line_66 |  | 65 | 66 | 0.038898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2974-5_0_6_line_67 |  | 66 | 67 | 0.050634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2974-5_0_6_line_68 |  | 67 | 68 | 0.035304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2974-5_0_6_line_69 |  | 68 | 69 | 0.042131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2974-5_0_6_line_70 |  | 69 | 70 | 0.021062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2974-5_0_6_line_71 |  | 70 | 71 | 0.0094156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2974-5_0_6_line_72 |  | 72 | 73 | 0.01391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2974-5_0_6_line_73 |  | 73 | 74 | 0.0091897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2974-5_0_6_line_74 |  | 74 | 75 | 0.0019988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2974-5_0_6_trafo_34 | 0.63 MVA 20/0.4 kV | 76 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2677449.5233 | 1279735.9403 | 2677466.3153 | 1279730.0758
1 | 2677370.1143 | 1279835.903 | 2677449.5233 | 1279735.9403
2 | 2677370.1143 | 1279835.903 | 2677370.5371 | 1279839.1779 | 2677372.6785 | 1279859.5799
3 | 2677372.6785 | 1279859.5799 | 2677373.4883 | 1279867.2954 | 2677374.8888 | 1279888.2199 | 2677374.8337 | 1279890.3173
4 | 2677439.7383 | 1279913.7881 | 2677444.7582 | 1279938.8213
5 | 2677439.7383 | 1279913.7881 | 2677439.0438 | 1279910.3245 | 2677422.4606 | 1279909.6561
6 | 2677451.1031 | 1279975.292 | 2677450.1334 | 1279965.6269 | 2677444.7582 | 1279938.8213
7 | 2677414.8607 | 1279909.3498 | 2677422.4606 | 1279909.6561
8 | 2677451.1031 | 1279975.292 | 2677447.0858 | 1279975.3625
9 | 2677451.1031 | 1279975.292 | 2677455.766 | 1279975.2643
10 | 2677414.8607 | 1279909.3498 | 2677395.3574 | 1279908.5638
11 | 2677485.7348 | 1279975.086 | 2677455.766 | 1279975.2643
12 | 2677374.3774 | 1279907.7182 | 2677395.3574 | 1279908.5638
13 | 2677370.0487 | 1279968.5116 | 2677373.6677 | 1279921.7204 | 2677374.3774 | 1279907.7182
14 | 2677374.3774 | 1279907.7182 | 2677374.8337 | 1279890.3173
15 | 2677370.0487 | 1279968.5116 | 2677370.1071 | 1279978.365 | 2677373.1934 | 1279988.7473 | 2677378.0659 | 1279999.2533
16 | 2677378.0659 | 1279999.2533 | 2677380.4785 | 1280003.7331 | 2677385.224 | 1280011.669
17 | 2677378.0659 | 1279999.2533 | 2677360.1741 | 1280004.8677 | 2677359.7391 | 1280004.9842
18 | 2677385.224 | 1280011.669 | 2677386.3626 | 1280013.5731
19 | 2677299.34 | 1280066.3876 | 2677331.4399 | 1280065.0851
20 | 2677299.34 | 1280066.3876 | 2677312.6114 | 1280110.0532
21 | 2677312.6114 | 1280110.0532 | 2677323.8279 | 1280105.363 | 2677331.211 | 1280103.8168
22 | 2677312.6114 | 1280110.0532 | 2677316.8154 | 1280131.0475
23 | 2677397.9756 | 1280032.9937 | 2677386.3626 | 1280013.5731
24 | 2677331.211 | 1280103.8168 | 2677343.6155 | 1280101.219 | 2677352.9246 | 1280099.2902
25 | 2677316.8154 | 1280131.0475 | 2677317.9341 | 1280136.6338 | 2677317.5693 | 1280147.5204
26 | 2677397.9756 | 1280032.9937 | 2677399.2599 | 1280035.1415
27 | 2677361.8464 | 1280097.4417 | 2677352.9246 | 1280099.2902
28 | 2677367.826 | 1280097.1999 | 2677364.2086 | 1280096.9522 | 2677361.8464 | 1280097.4417
29 | 2677367.826 | 1280097.1999 | 2677373.3229 | 1280121.776
30 | 2677367.826 | 1280097.1999 | 2677386.5234 | 1280104.7377
31 | 2677377.923 | 1280144.9245 | 2677377.0286 | 1280138.3435 | 2677373.3229 | 1280121.776
32 | 2677406.5445 | 1280112.8092 | 2677386.5234 | 1280104.7377
33 | 2677377.955 | 1280145.1596 | 2677377.923 | 1280144.9245
34 | 2677379.8074 | 1280158.4076 | 2677378.8849 | 1280152.0013 | 2677377.955 | 1280145.1596
35 | 2677316.9218 | 1280166.8455 | 2677317.5693 | 1280147.5204
36 | 2677316.9218 | 1280166.8455 | 2677324.5944 | 1280166.6014
37 | 2677324.5944 | 1280166.6014 | 2677325.6619 | 1280177.9804 | 2677325.3539 | 1280185.9037
38 | 2677324.5944 | 1280166.6014 | 2677344.5991 | 1280164.2173
39 | 2677324.8375 | 1280208.6568 | 2677325.0497 | 1280193.7298 | 2677325.3539 | 1280185.9037
40 | 2677324.8375 | 1280208.6568 | 2677324.2743 | 1280248.2643
41 | 2677379.8074 | 1280158.4076 | 2677406.7985 | 1280154.2108
42 | 2677379.8074 | 1280158.4076 | 2677375.0307 | 1280159.1958
43 | 2677415.8119 | 1280152.8094 | 2677406.7985 | 1280154.2108
44 | 2677428.2137 | 1280150.8811 | 2677415.8119 | 1280152.8094
45 | 2677428.2137 | 1280150.8811 | 2677434.9367 | 1280149.735
46 | 2677434.9367 | 1280149.735 | 2677438.7809 | 1280148.7291 | 2677441.4448 | 1280147.2184 | 2677444.5214 | 1280144.6011
47 | 2677465.7486 | 1280146.9484 | 2677454.3679 | 1280146.9879 | 2677450.4463 | 1280147.0253 | 2677448.054 | 1280146.1599 | 2677444.5214 | 1280144.6011
48 | 2677444.5214 | 1280144.6011 | 2677446.5673 | 1280140.9694 | 2677447.3054 | 1280137.3872 | 2677446.9504 | 1280132.3895 | 2677445.7577 | 1280127.1251 | 2677445.67 | 1280126.8627
49 | 2677437.3255 | 1280215.8975 | 2677437.7322 | 1280218.7997
50 | 2677439.4631 | 1280231.1507 | 2677437.7322 | 1280218.7997
51 | 2677465.7486 | 1280146.9484 | 2677473.1151 | 1280149.7039
52 | 2677465.7486 | 1280146.9484 | 2677470.6362 | 1280131.144 | 2677472.6979 | 1280127.4458
53 | 2677429.7755 | 1280089.8969 | 2677434.3114 | 1280098.4177 | 2677440.7302 | 1280112.9918 | 2677442.9245 | 1280118.6475 | 2677445.67 | 1280126.8627
54 | 2677439.4631 | 1280231.1507 | 2677442.3973 | 1280253.5706
55 | 2677472.6979 | 1280127.4458 | 2677470.5703 | 1280109.87 | 2677470.3166 | 1280108.0883
56 | 2677472.6979 | 1280127.4458 | 2677476.5491 | 1280124.1937 | 2677481.4966 | 1280121.5454 | 2677496.088 | 1280115.5543
57 | 2677429.7755 | 1280089.8969 | 2677415.4907 | 1280063.0626
58 | 2677415.4907 | 1280063.0626 | 2677411.7177 | 1280055.975 | 2677409.0711 | 1280051.5489
59 | 2677408.7368 | 1280050.9899 | 2677409.0711 | 1280051.5489
60 | 2677399.2599 | 1280035.1415 | 2677408.7368 | 1280050.9899
61 | 2677434.026 | 1280284.2232 | 2677429.0038 | 1280287.4359
62 | 2677445.4565 | 1280276.945 | 2677434.026 | 1280284.2232
63 | 2677445.4565 | 1280276.945 | 2677483.3345 | 1280250.8542
64 | 2677445.4565 | 1280276.945 | 2677442.3973 | 1280253.5706
65 | 2677483.3345 | 1280250.8542 | 2677485.7073 | 1280249.1087
66 | 2677516.791 | 1280225.7373 | 2677510.4962 | 1280230.8723 | 2677485.7073 | 1280249.1087
67 | 2677551.6523 | 1280189.1788 | 2677539.4516 | 1280203.0188 | 2677525.8569 | 1280218.3416 | 2677516.791 | 1280225.7373
68 | 2677551.6523 | 1280189.1788 | 2677542.9534 | 1280180.0792 | 2677533.5623 | 1280173.3501 | 2677523.4096 | 1280168.5461
69 | 2677521.4243 | 1280131.0223 | 2677527.3171 | 1280135.3144 | 2677530.5363 | 1280143.5635 | 2677528.6196 | 1280152.2233 | 2677526.6587 | 1280159.1032 | 2677523.4096 | 1280168.5461
70 | 2677521.4243 | 1280131.0223 | 2677510.8802 | 1280127.9923 | 2677502.3732 | 1280122.5649
71 | 2677496.088 | 1280115.5543 | 2677502.3732 | 1280122.5649
72 | 2677468.3559 | 1280094.3169 | 2677468.3559 | 1280094.3169 | 2677470.3166 | 1280108.0883
73 | 2677463.6286 | 1280086.4364 | 2677468.3559 | 1280094.3169
74 | 2677462.6003 | 1280084.7223 | 2677463.6286 | 1280086.4364

## bus_geodata
| x | y | coords
0 | 2677466.3153 | 1279730.0758
1 | 2677449.5233 | 1279735.9403
2 | 2677370.1143 | 1279835.903
3 | 2677372.6785 | 1279859.5799
4 | 2677439.7383 | 1279913.7881
5 | 2677444.7582 | 1279938.8213
6 | 2677422.4606 | 1279909.6561
7 | 2677451.1031 | 1279975.292
8 | 2677414.8607 | 1279909.3498
9 | 2677447.0858 | 1279975.3625
10 | 2677455.766 | 1279975.2643
11 | 2677395.3574 | 1279908.5638
12 | 2677485.7348 | 1279975.086
13 | 2677374.3774 | 1279907.7182
14 | 2677374.8337 | 1279890.3173
15 | 2677370.0487 | 1279968.5116
16 | 2677378.0659 | 1279999.2533
17 | 2677385.224 | 1280011.669
18 | 2677359.7391 | 1280004.9842
19 | 2677299.34 | 1280066.3876
20 | 2677331.4399 | 1280065.0851
21 | 2677312.6114 | 1280110.0532
22 | 2677386.3626 | 1280013.5731
23 | 2677331.211 | 1280103.8168
24 | 2677316.8154 | 1280131.0475
25 | 2677397.9756 | 1280032.9937
26 | 2677361.8464 | 1280097.4417
27 | 2677352.9246 | 1280099.2902
28 | 2677367.826 | 1280097.1999
29 | 2677373.3229 | 1280121.776
30 | 2677386.5234 | 1280104.7377
31 | 2677377.923 | 1280144.9245
32 | 2677406.5445 | 1280112.8092
33 | 2677377.955 | 1280145.1596
34 | 2677317.5693 | 1280147.5204
35 | 2677316.9218 | 1280166.8455
36 | 2677324.5944 | 1280166.6014
37 | 2677325.3539 | 1280185.9037
38 | 2677344.5991 | 1280164.2173
39 | 2677324.8375 | 1280208.6568
40 | 2677379.8074 | 1280158.4076
41 | 2677406.7985 | 1280154.2108
42 | 2677375.0307 | 1280159.1958
43 | 2677415.8119 | 1280152.8094
44 | 2677428.2137 | 1280150.8811
45 | 2677434.9367 | 1280149.735
46 | 2677444.5214 | 1280144.6011
47 | 2677437.3255 | 1280215.8975
48 | 2677437.7322 | 1280218.7997
49 | 2677465.7486 | 1280146.9484
50 | 2677445.67 | 1280126.8627
51 | 2677439.4631 | 1280231.1507
52 | 2677473.1151 | 1280149.7039
53 | 2677472.6979 | 1280127.4458
54 | 2677429.7755 | 1280089.8969
55 | 2677415.4907 | 1280063.0626
56 | 2677409.0711 | 1280051.5489
57 | 2677408.7368 | 1280050.9899
58 | 2677399.2599 | 1280035.1415
59 | 2677429.0038 | 1280287.4359
60 | 2677434.026 | 1280284.2232
61 | 2677445.4565 | 1280276.945
62 | 2677483.3345 | 1280250.8542
63 | 2677442.3973 | 1280253.5706
64 | 2677324.2743 | 1280248.2643
65 | 2677485.7073 | 1280249.1087
66 | 2677516.791 | 1280225.7373
67 | 2677551.6523 | 1280189.1788
68 | 2677523.4096 | 1280168.5461
69 | 2677521.4243 | 1280131.0223
70 | 2677502.3732 | 1280122.5649
71 | 2677496.088 | 1280115.5543
72 | 2677470.3166 | 1280108.0883
73 | 2677468.3559 | 1280094.3169
74 | 2677463.6286 | 1280086.4364
75 | 2677462.6003 | 1280084.7223
76 | 2677379.8074 | 1280158.4076

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1