## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_298-10_1_1_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_298-10_1_1_node_117 | 0.4 | n |  | TRUE
2 | bus_LV_298-10_1_1_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_298-10_1_1_node_119 | 0.4 | n |  | TRUE
4 | bus_LV_298-10_1_1_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_298-10_1_1_node_118 | 0.4 | n |  | TRUE
6 | bus_LV_298-10_1_1_node_131 | 0.4 | n |  | TRUE
7 | bus_LV_298-10_1_1_node_124 | 0.4 | n |  | TRUE
8 | bus_LV_298-10_1_1_node_132 | 0.4 | n |  | TRUE
9 | bus_LV_298-10_1_1_node_133 | 0.4 | n |  | TRUE
10 | bus_LV_298-10_1_1_node_134 | 0.4 | n |  | TRUE
11 | bus_LV_298-10_1_1_node_116 | 0.4 | n |  | TRUE
12 | bus_LV_298-10_1_1_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_298-10_1_1_node_136 | 0.4 | n |  | TRUE
14 | bus_LV_298-10_1_1_node_137 | 0.4 | n |  | TRUE
15 | bus_LV_298-10_1_1_node_157 | 0.4 | n |  | TRUE
16 | bus_LV_298-10_1_1_node_158 | 0.4 | n |  | TRUE
17 | bus_LV_298-10_1_1_node_138 | 0.4 | n |  | TRUE
18 | bus_LV_298-10_1_1_node_139 | 0.4 | n |  | TRUE
19 | bus_LV_298-10_1_1_node_144 | 0.4 | n |  | TRUE
20 | bus_LV_298-10_1_1_node_163 | 0.4 | n |  | TRUE
21 | bus_LV_298-10_1_1_node_150 | 0.4 | n |  | TRUE
22 | bus_LV_298-10_1_1_node_140 | 0.4 | n |  | TRUE
23 | bus_LV_298-10_1_1_node_141 | 0.4 | n |  | TRUE
24 | bus_LV_298-10_1_1_node_143 | 0.4 | n |  | TRUE
25 | bus_LV_298-10_1_1_node_142 | 0.4 | n |  | TRUE
26 | bus_LV_298-10_1_1_node_127 | 0.4 | n |  | TRUE
27 | bus_LV_298-10_1_1_node_171 | 0.4 | n |  | TRUE
28 | bus_LV_298-10_1_1_node_145 | 0.4 | n |  | TRUE
29 | bus_LV_298-10_1_1_node_146 | 0.4 | n |  | TRUE
30 | bus_LV_298-10_1_1_node_147 | 0.4 | n |  | TRUE
31 | bus_LV_298-10_1_1_node_148 | 0.4 | n |  | TRUE
32 | bus_LV_298-10_1_1_node_149 | 0.4 | n |  | TRUE
33 | bus_LV_298-10_1_1_node_164 | 0.4 | n |  | TRUE
34 | bus_LV_298-10_1_1_node_162 | 0.4 | n |  | TRUE
35 | bus_LV_298-10_1_1_node_151 | 0.4 | n |  | TRUE
36 | bus_LV_298-10_1_1_node_155 | 0.4 | n |  | TRUE
37 | bus_LV_298-10_1_1_node_160 | 0.4 | n |  | TRUE
38 | bus_LV_298-10_1_1_node_152 | 0.4 | n |  | TRUE
39 | bus_LV_298-10_1_1_node_125 | 0.4 | n |  | TRUE
40 | bus_LV_298-10_1_1_node_153 | 0.4 | n |  | TRUE
41 | bus_LV_298-10_1_1_node_154 | 0.4 | n |  | TRUE
42 | bus_LV_298-10_1_1_node_166 | 0.4 | n |  | TRUE
43 | bus_LV_298-10_1_1_node_156 | 0.4 | n |  | TRUE
44 | bus_LV_298-10_1_1_node_115 | 0.4 | n |  | TRUE
45 | bus_LV_298-10_1_1_node_159 | 0.4 | n |  | TRUE
46 | bus_LV_298-10_1_1_node_161 | 0.4 | n |  | TRUE
47 | bus_LV_298-10_1_1_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_298-10_1_1_node_169 | 0.4 | n |  | TRUE
49 | bus_LV_298-10_1_1_node_165 | 0.4 | n |  | TRUE
50 | bus_LV_298-10_1_1_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_298-10_1_1_node_112 | 0.4 | n |  | TRUE
52 | bus_LV_298-10_1_1_node_113 | 0.4 | n |  | TRUE
53 | bus_LV_298-10_1_1_node_114 | 0.4 | n |  | TRUE
54 | bus_LV_298-10_1_1_node_121 | 0.4 | n |  | TRUE
55 | bus_LV_298-10_1_1_node_122 | 0.4 | n |  | TRUE
56 | bus_LV_298-10_1_1_node_126 | 0.4 | n |  | TRUE
57 | bus_LV_298-10_1_1_node_123 | 0.4 | n |  | TRUE
58 | bus_MV_0_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_298-10_1_1_load_128 | 0 | 3.1606e-05 | 7.9213e-06 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_298-10_1_1_load_129 | 2 | 0.0033906 | 0.00084976 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_298-10_1_1_load_131 | 6 | 0.00021031 | 5.2708e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_298-10_1_1_load_124 | 7 | 0.0011075 | 0.00027756 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_298-10_1_1_load_132 | 8 | 0.00011211 | 2.8097e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_298-10_1_1_load_133 | 9 | 0.00027941 | 7.0028e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_298-10_1_1_load_135 | 12 | 0.000572 | 0.00014336 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_298-10_1_1_load_158 | 16 | 4.0033e-05 | 1.0033e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_298-10_1_1_load_144 | 19 | 0.00029582 | 7.414e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_298-10_1_1_load_163 | 20 | 0.00052404 | 0.00013134 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_298-10_1_1_load_150 | 21 | 0.0010407 | 0.00026082 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_298-10_1_1_load_140 | 22 | 0.0019172 | 0.00048049 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_298-10_1_1_load_142 | 25 | 0.0036536 | 0.00091569 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_298-10_1_1_load_171 | 27 | 0.0016401 | 0.00041106 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_298-10_1_1_load_145 | 28 | 0.0022752 | 0.00057023 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_298-10_1_1_load_146 | 29 | 0.00057212 | 0.00014339 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_298-10_1_1_load_147 | 30 | 0.0021957 | 0.00055029 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_298-10_1_1_load_164 | 33 | 0.0092795 | 0.0023257 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_298-10_1_1_load_162 | 34 | 0.00046773 | 0.00011723 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_298-10_1_1_load_160 | 37 | 0.00024342 | 6.1007e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_298-10_1_1_load_152 | 38 | 3.4086e-05 | 8.5427e-06 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_298-10_1_1_load_125 | 39 | 2.475e-05 | 6.203e-06 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_298-10_1_1_load_153 | 40 | 0.0010427 | 0.00026133 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_298-10_1_1_load_154 | 41 | 0.00036797 | 9.2221e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_298-10_1_1_load_166 | 42 | 0.00026401 | 6.6168e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_298-10_1_1_load_156 | 43 | 0.0012235 | 0.00030665 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_298-10_1_1_load_159 | 45 | 0.00053617 | 0.00013438 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_298-10_1_1_load_169 | 48 | 5.5469e-05 | 1.3902e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_298-10_1_1_load_165 | 49 | 0.00043135 | 0.00010811 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_298-10_1_1_load_111 | 50 | 0.00010345 | 2.5927e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_298-10_1_1_load_122 | 55 | 0.004009 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_298-10_1_1_load_126 | 56 | 0.0023469 | 0.0005882 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_298-10_1_1_load_123 | 57 | 9.4564e-05 | 2.37e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_298-10_1_1_line_0 |  | 0 | 1 | 0.083006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_298-10_1_1_line_1 |  | 1 | 5 | 0.026922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_298-10_1_1_line_2 |  | 1 | 47 | 0.21544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_298-10_1_1_line_3 |  | 2 | 3 | 0.053448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_298-10_1_1_line_4 |  | 2 | 4 | 0.063666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_298-10_1_1_line_5 |  | 3 | 51 | 0.077941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_298-10_1_1_line_6 |  | 4 | 5 | 0.021805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_298-10_1_1_line_7 |  | 5 | 6 | 0.043123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_298-10_1_1_line_8 |  | 6 | 7 | 0.086285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_298-10_1_1_line_9 |  | 8 | 9 | 0.012141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_298-10_1_1_line_10 |  | 8 | 10 | 0.029895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_298-10_1_1_line_11 |  | 10 | 11 | 0.019415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_298-10_1_1_line_12 |  | 10 | 12 | 0.013355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_298-10_1_1_line_13 |  | 10 | 13 | 0.021222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_298-10_1_1_line_14 |  | 11 | 37 | 0.012814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_298-10_1_1_line_15 |  | 12 | 14 | 0.011657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_298-10_1_1_line_16 |  | 13 | 15 | 0.015056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_298-10_1_1_line_17 |  | 13 | 16 | 0.0051777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_298-10_1_1_line_18 |  | 14 | 17 | 0.008048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_298-10_1_1_line_19 |  | 14 | 18 | 0.008846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_298-10_1_1_line_20 |  | 15 | 45 | 0.0024134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_298-10_1_1_line_21 |  | 16 | 44 | 0.0074146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_298-10_1_1_line_22 |  | 17 | 19 | 0.010111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_298-10_1_1_line_23 |  | 17 | 20 | 0.015877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_298-10_1_1_line_24 |  | 18 | 21 | 0.013835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_298-10_1_1_line_25 |  | 19 | 23 | 0.062473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_298-10_1_1_line_26 |  | 22 | 23 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_298-10_1_1_line_27 |  | 23 | 24 | 0.019202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_298-10_1_1_line_28 |  | 24 | 27 | 0.015257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_298-10_1_1_line_29 |  | 25 | 26 | 0.008002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_298-10_1_1_line_30 |  | 26 | 32 | 0.007916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_298-10_1_1_line_31 |  | 28 | 29 | 0.0094665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_298-10_1_1_line_32 |  | 28 | 30 | 0.020541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_298-10_1_1_line_33 |  | 29 | 31 | 0.013809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_298-10_1_1_line_34 |  | 30 | 32 | 0.0033993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_298-10_1_1_line_35 |  | 31 | 33 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_298-10_1_1_line_36 |  | 31 | 34 | 0.0015922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_298-10_1_1_line_37 |  | 34 | 46 | 0.014866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_298-10_1_1_line_38 |  | 35 | 36 | 0.036477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_298-10_1_1_line_39 |  | 35 | 37 | 0.0077197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_298-10_1_1_line_40 |  | 36 | 42 | 0.009621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_298-10_1_1_line_41 |  | 36 | 41 | 0.006453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_298-10_1_1_line_42 |  | 38 | 39 | 0.0046801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_298-10_1_1_line_43 |  | 39 | 54 | 0.013099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_298-10_1_1_line_44 |  | 40 | 41 | 0.026529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_298-10_1_1_line_45 |  | 42 | 49 | 0.0035423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_298-10_1_1_line_46 |  | 43 | 44 | 0.010427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_298-10_1_1_line_47 |  | 44 | 51 | 0.02016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_298-10_1_1_line_48 |  | 45 | 46 | 0.0073112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_298-10_1_1_line_49 |  | 47 | 48 | 0.066486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_298-10_1_1_line_50 |  | 50 | 51 | 0.020835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_298-10_1_1_line_51 |  | 50 | 52 | 0.0079792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_298-10_1_1_line_52 |  | 51 | 53 | 0.0256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_298-10_1_1_line_53 |  | 52 | 54 | 0.013659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_298-10_1_1_line_54 |  | 52 | 55 | 0.008534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_298-10_1_1_line_55 |  | 53 | 56 | 0.019428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_298-10_1_1_line_56 |  | 54 | 57 | 0.020703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_298-10_1_1_trafo_156 | 0.63 MVA 20/0.4 kV | 58 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2704154.1456 | 1267192.6553 | 2704149.7723 | 1267187.0401 | 2704149.2562 | 1267175.7436 | 2704160.3414 | 1267135.071 | 2704160.4357 | 1267122.0394 | 2704157.6681 | 1267113.0639
1 | 2704154.1456 | 1267192.6553 | 2704151.601 | 1267206.2999 | 2704157.2559 | 1267207.5561 | 2704164.336 | 1267209.1156
2 | 2704154.1456 | 1267192.6553 | 2704176.3824 | 1267124.2 | 2704187.777 | 1267100.1471 | 2704201.2289 | 1267075.997 | 2704212.0237 | 1267089.788 | 2704241.0427 | 1267038.9787 | 2704247.9057 | 1267029.8141 | 2704248.9615 | 1267028.4427
3 | 2704159.5519 | 1267337.7742 | 2704156.9841 | 1267284.3883
4 | 2704166.3624 | 1267230.8253 | 2704155.6485 | 1267231.6706 | 2704154.6213 | 1267235.2666 | 2704156.9841 | 1267284.3883
5 | 2704139.9891 | 1267398.103 | 2704140.6146 | 1267339.1527 | 2704159.5519 | 1267337.7742
6 | 2704164.336 | 1267209.1156 | 2704166.3624 | 1267230.8253
7 | 2704164.336 | 1267209.1156 | 2704182.2459 | 1267213.0791 | 2704199.3167 | 1267212.9577 | 2704206.9923 | 1267212.2453
8 | 2704277.8128 | 1267248.7644 | 2704248.1607 | 1267216.6888 | 2704233.1194 | 1267210.1736 | 2704221.1647 | 1267210.93 | 2704206.9923 | 1267212.2453
9 | 2704099.9324 | 1267351.8949 | 2704099.8978 | 1267357.4955 | 2704103.2623 | 1267363.104
10 | 2704088.4878 | 1267387.598 | 2704093.4367 | 1267378.9222 | 2704103.2609 | 1267369.1647 | 2704103.2623 | 1267363.104
11 | 2704080.6547 | 1267369.8227 | 2704088.4878 | 1267387.598
12 | 2704088.4878 | 1267387.598 | 2704076.8167 | 1267394.0887
13 | 2704107.2308 | 1267397.6589 | 2704088.4878 | 1267387.598
14 | 2704080.6547 | 1267369.8227 | 2704068.1933 | 1267372.8092
15 | 2704067.9295 | 1267401.5033 | 2704073.8738 | 1267395.7253 | 2704076.8167 | 1267394.0887
16 | 2704101.1827 | 1267411.453 | 2704107.2308 | 1267397.6589
17 | 2704107.2308 | 1267397.6589 | 2704112.3899 | 1267398.0974
18 | 2704067.9295 | 1267401.5033 | 2704062.1462 | 1267407.1174
19 | 2704067.9295 | 1267401.5033 | 2704062.0685 | 1267394.8612
20 | 2704101.1827 | 1267411.453 | 2704100.2133 | 1267413.6631
21 | 2704119.7778 | 1267398.7253 | 2704112.3899 | 1267398.0974
22 | 2704062.1462 | 1267407.1174 | 2704059.5569 | 1267409.6406 | 2704055.5435 | 1267414.7481
23 | 2704062.1462 | 1267407.1174 | 2704068.6876 | 1267411.0359 | 2704076.621 | 1267413.3073
24 | 2704062.0685 | 1267394.8612 | 2704048.417 | 1267397.1054
25 | 2704016.9439 | 1267463.87 | 2704055.5435 | 1267414.7481
26 | 2704016.9439 | 1267463.87 | 2704034.863 | 1267472.8264 | 2704036.6899 | 1267473.5278
27 | 2703997.8459 | 1267466.2804 | 2704005.5222 | 1267465.6038 | 2704016.9439 | 1267463.87
28 | 2703998.3026 | 1267451.031 | 2703997.8459 | 1267466.2804
29 | 2704119.4537 | 1267469.2018 | 2704116.3036 | 1267476.5577
30 | 2704113.0925 | 1267464.4635 | 2704119.4537 | 1267469.2018
31 | 2704085.1254 | 1267448.0792 | 2704087.7115 | 1267452.9956 | 2704091.2759 | 1267454.6061
32 | 2704109.9948 | 1267463.0638 | 2704091.2759 | 1267454.6061
33 | 2704090.6712 | 1267435.4327 | 2704085.1254 | 1267448.0792 | 2704085.1254 | 1267448.0792
34 | 2704113.0925 | 1267464.4635 | 2704109.9948 | 1267463.0638
35 | 2704090.6712 | 1267435.4327 | 2704108.3781 | 1267442.9377
36 | 2704090.6712 | 1267435.4327 | 2704091.3102 | 1267433.9744
37 | 2704097.2763 | 1267420.3584 | 2704091.3102 | 1267433.9744
38 | 2704060.6862 | 1267374.6085 | 2704048.5679 | 1267372.282 | 2704025.5676 | 1267379.9281
39 | 2704060.6862 | 1267374.6085 | 2704068.1933 | 1267372.8092
40 | 2704025.5676 | 1267379.9281 | 2704025.2677 | 1267389.5445
41 | 2704025.5676 | 1267379.9281 | 2704019.1461 | 1267380.5654
42 | 2704183.8142 | 1267390.2643 | 2704184.395 | 1267385.6204
43 | 2704182.1883 | 1267403.2623 | 2704183.8142 | 1267390.2643
44 | 2704019.1461 | 1267380.5654 | 2704009.3896 | 1267381.5336 | 2703992.8278 | 1267379.2074
45 | 2704025.1573 | 1267393.085 | 2704025.2677 | 1267389.5445
46 | 2704119.7778 | 1267398.7253 | 2704115.8713 | 1267408.3925
47 | 2704119.7778 | 1267398.7253 | 2704139.9891 | 1267398.103
48 | 2704097.2763 | 1267420.3584 | 2704100.2133 | 1267413.6631
49 | 2704248.9615 | 1267028.4427 | 2704259.7147 | 1267040.3202 | 2704272.9912 | 1267053.8437 | 2704277.3267 | 1267059.4695 | 2704287.5021 | 1267067.8228 | 2704296.3467 | 1267070.0919 | 2704297.7256 | 1267071.6945
50 | 2704139.9891 | 1267398.103 | 2704160.67 | 1267400.6309
51 | 2704168.5902 | 1267401.5989 | 2704160.67 | 1267400.6309
52 | 2704139.9891 | 1267398.103 | 2704137.973 | 1267423.6226
53 | 2704168.5902 | 1267401.5989 | 2704182.1883 | 1267403.2623
54 | 2704168.5902 | 1267401.5989 | 2704167.3346 | 1267410.0396
55 | 2704137.973 | 1267423.6226 | 2704156.823 | 1267428.3282
56 | 2704182.1883 | 1267403.2623 | 2704202.716 | 1267405.9475

## bus_geodata
| x | y | coords
0 | 2704157.6681 | 1267113.0639
1 | 2704154.1456 | 1267192.6553
2 | 2704156.9841 | 1267284.3883
3 | 2704159.5519 | 1267337.7742
4 | 2704166.3624 | 1267230.8253
5 | 2704164.336 | 1267209.1156
6 | 2704206.9923 | 1267212.2453
7 | 2704277.8128 | 1267248.7644
8 | 2704103.2623 | 1267363.104
9 | 2704099.9324 | 1267351.8949
10 | 2704088.4878 | 1267387.598
11 | 2704080.6547 | 1267369.8227
12 | 2704076.8167 | 1267394.0887
13 | 2704107.2308 | 1267397.6589
14 | 2704067.9295 | 1267401.5033
15 | 2704101.1827 | 1267411.453
16 | 2704112.3899 | 1267398.0974
17 | 2704062.1462 | 1267407.1174
18 | 2704062.0685 | 1267394.8612
19 | 2704055.5435 | 1267414.7481
20 | 2704076.621 | 1267413.3073
21 | 2704048.417 | 1267397.1054
22 | 2704036.6899 | 1267473.5278
23 | 2704016.9439 | 1267463.87
24 | 2703997.8459 | 1267466.2804
25 | 2704116.3036 | 1267476.5577
26 | 2704119.4537 | 1267469.2018
27 | 2703998.3026 | 1267451.031
28 | 2704091.2759 | 1267454.6061
29 | 2704085.1254 | 1267448.0792
30 | 2704109.9948 | 1267463.0638
31 | 2704090.6712 | 1267435.4327
32 | 2704113.0925 | 1267464.4635
33 | 2704108.3781 | 1267442.9377
34 | 2704091.3102 | 1267433.9744
35 | 2704060.6862 | 1267374.6085
36 | 2704025.5676 | 1267379.9281
37 | 2704068.1933 | 1267372.8092
38 | 2704184.395 | 1267385.6204
39 | 2704183.8142 | 1267390.2643
40 | 2703992.8278 | 1267379.2074
41 | 2704019.1461 | 1267380.5654
42 | 2704025.2677 | 1267389.5445
43 | 2704115.8713 | 1267408.3925
44 | 2704119.7778 | 1267398.7253
45 | 2704100.2133 | 1267413.6631
46 | 2704097.2763 | 1267420.3584
47 | 2704248.9615 | 1267028.4427
48 | 2704297.7256 | 1267071.6945
49 | 2704025.1573 | 1267393.085
50 | 2704160.67 | 1267400.6309
51 | 2704139.9891 | 1267398.103
52 | 2704168.5902 | 1267401.5989
53 | 2704137.973 | 1267423.6226
54 | 2704182.1883 | 1267403.2623
55 | 2704167.3346 | 1267410.0396
56 | 2704156.823 | 1267428.3282
57 | 2704202.716 | 1267405.9475
58 | 2704115.8713 | 1267408.3925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1