## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_298-4_1_5_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_298-4_1_5_node_15 | 0.4 | n |  | TRUE
2 | bus_LV_298-4_1_5_node_157 | 0.4 | n |  | TRUE
3 | bus_LV_298-4_1_5_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_298-4_1_5_node_362 | 0.4 | n |  | TRUE
5 | bus_LV_298-4_1_5_node_172 | 0.4 | n |  | TRUE
6 | bus_LV_298-4_1_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_298-4_1_5_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_298-4_1_5_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_298-4_1_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_298-4_1_5_node_154 | 0.4 | n |  | TRUE
11 | bus_LV_298-4_1_5_node_169 | 0.4 | n |  | TRUE
12 | bus_LV_298-4_1_5_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_298-4_1_5_node_168 | 0.4 | n |  | TRUE
14 | bus_LV_298-4_1_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_298-4_1_5_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_298-4_1_5_node_115 | 0.4 | n |  | TRUE
17 | bus_LV_298-4_1_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_298-4_1_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_298-4_1_5_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_298-4_1_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_298-4_1_5_node_167 | 0.4 | n |  | TRUE
22 | bus_LV_298-4_1_5_node_166 | 0.4 | n |  | TRUE
23 | bus_LV_298-4_1_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_298-4_1_5_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_298-4_1_5_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_298-4_1_5_node_185 | 0.4 | n |  | TRUE
27 | bus_LV_298-4_1_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_298-4_1_5_node_180 | 0.4 | n |  | TRUE
29 | bus_LV_298-4_1_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_298-4_1_5_node_181 | 0.4 | n |  | TRUE
31 | bus_LV_298-4_1_5_node_179 | 0.4 | n |  | TRUE
32 | bus_LV_298-4_1_5_node_206 | 0.4 | n |  | TRUE
33 | bus_LV_298-4_1_5_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_298-4_1_5_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_298-4_1_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_298-4_1_5_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_298-4_1_5_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_298-4_1_5_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_298-4_1_5_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_298-4_1_5_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_298-4_1_5_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_298-4_1_5_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_298-4_1_5_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_298-4_1_5_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_298-4_1_5_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_298-4_1_5_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_298-4_1_5_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_298-4_1_5_node_102 | 0.4 | n |  | TRUE
49 | bus_LV_298-4_1_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_298-4_1_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_298-4_1_5_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_298-4_1_5_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_298-4_1_5_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_298-4_1_5_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_298-4_1_5_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_298-4_1_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_298-4_1_5_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_298-4_1_5_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_298-4_1_5_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_298-4_1_5_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_298-4_1_5_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_298-4_1_5_node_134 | 0.4 | n |  | TRUE
63 | bus_LV_298-4_1_5_node_123 | 0.4 | n |  | TRUE
64 | bus_LV_298-4_1_5_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_298-4_1_5_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_298-4_1_5_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_298-4_1_5_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_298-4_1_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_298-4_1_5_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_298-4_1_5_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_298-4_1_5_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_298-4_1_5_node_95 | 0.4 | n |  | TRUE
73 | bus_LV_298-4_1_5_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_298-4_1_5_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_298-4_1_5_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_298-4_1_5_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_298-4_1_5_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_298-4_1_5_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_298-4_1_5_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_298-4_1_5_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_298-4_1_5_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_298-4_1_5_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_298-4_1_5_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_298-4_1_5_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_298-4_1_5_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_298-4_1_5_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_298-4_1_5_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_298-4_1_5_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_298-4_1_5_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_298-4_1_5_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_298-4_1_5_node_105 | 0.4 | n |  | TRUE
92 | bus_LV_298-4_1_5_node_121 | 0.4 | n |  | TRUE
93 | bus_LV_298-4_1_5_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_298-4_1_5_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_298-4_1_5_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_298-4_1_5_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_298-4_1_5_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_298-4_1_5_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_298-4_1_5_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_298-4_1_5_node_142 | 0.4 | n |  | TRUE
101 | bus_LV_298-4_1_5_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_298-4_1_5_node_104 | 0.4 | n |  | TRUE
103 | bus_LV_298-4_1_5_node_106 | 0.4 | n |  | TRUE
104 | bus_LV_298-4_1_5_node_107 | 0.4 | n |  | TRUE
105 | bus_LV_298-4_1_5_node_135 | 0.4 | n |  | TRUE
106 | bus_LV_298-4_1_5_node_108 | 0.4 | n |  | TRUE
107 | bus_LV_298-4_1_5_node_109 | 0.4 | n |  | TRUE
108 | bus_LV_298-4_1_5_node_110 | 0.4 | n |  | TRUE
109 | bus_LV_298-4_1_5_node_111 | 0.4 | n |  | TRUE
110 | bus_LV_298-4_1_5_node_113 | 0.4 | n |  | TRUE
111 | bus_LV_298-4_1_5_node_114 | 0.4 | n |  | TRUE
112 | bus_LV_298-4_1_5_node_112 | 0.4 | n |  | TRUE
113 | bus_LV_298-4_1_5_node_117 | 0.4 | n |  | TRUE
114 | bus_LV_298-4_1_5_node_120 | 0.4 | n |  | TRUE
115 | bus_LV_298-4_1_5_node_122 | 0.4 | n |  | TRUE
116 | bus_LV_298-4_1_5_node_152 | 0.4 | n |  | TRUE
117 | bus_LV_298-4_1_5_node_118 | 0.4 | n |  | TRUE
118 | bus_LV_298-4_1_5_node_119 | 0.4 | n |  | TRUE
119 | bus_LV_298-4_1_5_node_390 | 0.4 | n |  | TRUE
120 | bus_LV_298-4_1_5_node_360 | 0.4 | n |  | TRUE
121 | bus_LV_298-4_1_5_node_359 | 0.4 | n |  | TRUE
122 | bus_LV_298-4_1_5_node_150 | 0.4 | n |  | TRUE
123 | bus_LV_298-4_1_5_node_124 | 0.4 | n |  | TRUE
124 | bus_LV_298-4_1_5_node_125 | 0.4 | n |  | TRUE
125 | bus_LV_298-4_1_5_node_127 | 0.4 | n |  | TRUE
126 | bus_LV_298-4_1_5_node_128 | 0.4 | n |  | TRUE
127 | bus_LV_298-4_1_5_node_358 | 0.4 | n |  | TRUE
128 | bus_LV_298-4_1_5_node_129 | 0.4 | n |  | TRUE
129 | bus_LV_298-4_1_5_node_174 | 0.4 | n |  | TRUE
130 | bus_LV_298-4_1_5_node_177 | 0.4 | n |  | TRUE
131 | bus_LV_298-4_1_5_node_130 | 0.4 | n |  | TRUE
132 | bus_LV_298-4_1_5_node_131 | 0.4 | n |  | TRUE
133 | bus_LV_298-4_1_5_node_178 | 0.4 | n |  | TRUE
134 | bus_LV_298-4_1_5_node_133 | 0.4 | n |  | TRUE
135 | bus_LV_298-4_1_5_node_361 | 0.4 | n |  | TRUE
136 | bus_LV_298-4_1_5_node_136 | 0.4 | n |  | TRUE
137 | bus_LV_298-4_1_5_node_137 | 0.4 | n |  | TRUE
138 | bus_LV_298-4_1_5_node_138 | 0.4 | n |  | TRUE
139 | bus_LV_298-4_1_5_node_139 | 0.4 | n |  | TRUE
140 | bus_LV_298-4_1_5_node_141 | 0.4 | n |  | TRUE
141 | bus_LV_298-4_1_5_node_140 | 0.4 | n |  | TRUE
142 | bus_LV_298-4_1_5_node_153 | 0.4 | n |  | TRUE
143 | bus_LV_298-4_1_5_node_143 | 0.4 | n |  | TRUE
144 | bus_LV_298-4_1_5_node_144 | 0.4 | n |  | TRUE
145 | bus_LV_298-4_1_5_node_145 | 0.4 | n |  | TRUE
146 | bus_LV_298-4_1_5_node_146 | 0.4 | n |  | TRUE
147 | bus_LV_298-4_1_5_node_147 | 0.4 | n |  | TRUE
148 | bus_LV_298-4_1_5_node_148 | 0.4 | n |  | TRUE
149 | bus_LV_298-4_1_5_node_149 | 0.4 | n |  | TRUE
150 | bus_LV_298-4_1_5_node_151 | 0.4 | n |  | TRUE
151 | bus_LV_298-4_1_5_node_160 | 0.4 | n |  | TRUE
152 | bus_LV_298-4_1_5_node_158 | 0.4 | n |  | TRUE
153 | bus_LV_298-4_1_5_node_155 | 0.4 | n |  | TRUE
154 | bus_LV_298-4_1_5_node_156 | 0.4 | n |  | TRUE
155 | bus_LV_298-4_1_5_node_159 | 0.4 | n |  | TRUE
156 | bus_LV_298-4_1_5_node_161 | 0.4 | n |  | TRUE
157 | bus_LV_298-4_1_5_node_162 | 0.4 | n |  | TRUE
158 | bus_LV_298-4_1_5_node_164 | 0.4 | n |  | TRUE
159 | bus_LV_298-4_1_5_node_165 | 0.4 | n |  | TRUE
160 | bus_LV_298-4_1_5_node_176 | 0.4 | n |  | TRUE
161 | bus_LV_298-4_1_5_node_170 | 0.4 | n |  | TRUE
162 | bus_LV_298-4_1_5_node_171 | 0.4 | n |  | TRUE
163 | bus_LV_298-4_1_5_node_173 | 0.4 | n |  | TRUE
164 | bus_LV_298-4_1_5_node_175 | 0.4 | n |  | TRUE
165 | bus_LV_298-4_1_5_node_182 | 0.4 | n |  | TRUE
166 | bus_LV_298-4_1_5_node_184 | 0.4 | n |  | TRUE
167 | bus_MV_369_0_node_193 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_298-4_1_5_load_157 | 2 | 0.00063309 | 0.00015867 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_298-4_1_5_load_362 | 4 | 0.0016326 | 0.00040918 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_298-4_1_5_load_172 | 5 | 0.0046846 | 0.0011741 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_298-4_1_5_load_40 | 7 | 0.0016117 | 0.00040394 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_298-4_1_5_load_41 | 8 | 0.0032948 | 0.00082576 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_298-4_1_5_load_169 | 11 | 0.0011834 | 0.00029659 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_298-4_1_5_load_168 | 13 | 0.0035562 | 0.00089126 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_298-4_1_5_load_115 | 16 | 0.0012954 | 0.00032466 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_298-4_1_5_load_72 | 19 | 0.00097179 | 0.00024355 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_298-4_1_5_load_167 | 21 | 0.00099141 | 0.00024847 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_298-4_1_5_load_166 | 22 | 0.00073904 | 0.00018522 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_298-4_1_5_load_78 | 24 | 0.0017787 | 0.00044578 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_298-4_1_5_load_185 | 26 | 0.00034112 | 8.5492e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_298-4_1_5_load_181 | 30 | 0.00068884 | 0.00017264 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_298-4_1_5_load_179 | 31 | 0.00612 | 0.0015338 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_298-4_1_5_load_206 | 32 | 0.0023352 | 0.00058526 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_298-4_1_5_load_37 | 33 | 0.0018689 | 0.00046839 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_298-4_1_5_load_38 | 34 | 0.0013987 | 0.00035054 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_298-4_1_5_load_42 | 36 | 0.0017911 | 0.00044888 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_298-4_1_5_load_43 | 37 | 0.0040425 | 0.0010131 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_298-4_1_5_load_44 | 38 | 0.0018732 | 0.00046946 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_298-4_1_5_load_45 | 39 | 0.0013089 | 0.00032804 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_298-4_1_5_load_46 | 40 | 0.0051819 | 0.0012987 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_298-4_1_5_load_47 | 41 | 0.0014755 | 0.0003698 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_298-4_1_5_load_49 | 43 | 0.001191 | 0.0002985 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_298-4_1_5_load_61 | 44 | 0.00077562 | 0.00019439 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_298-4_1_5_load_85 | 46 | 0.00040229 | 0.00010082 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_298-4_1_5_load_64 | 47 | 0.0018164 | 0.00045524 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_298-4_1_5_load_102 | 48 | 0.0013129 | 0.00032903 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_298-4_1_5_load_50 | 49 | 0.0013975 | 0.00035023 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_298-4_1_5_load_51 | 50 | 0.001471 | 0.00036868 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_298-4_1_5_load_57 | 54 | 0.0014327 | 0.00035908 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_298-4_1_5_load_58 | 55 | 0.00071079 | 0.00017814 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_298-4_1_5_load_59 | 56 | 0.00060513 | 0.00015166 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_298-4_1_5_load_55 | 57 | 0.0011003 | 0.00027576 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_298-4_1_5_load_60 | 58 | 0.0010476 | 0.00026256 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_298-4_1_5_load_56 | 59 | 0.0010627 | 0.00026634 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_298-4_1_5_load_69 | 60 | 0.001132 | 0.0002837 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_298-4_1_5_load_70 | 61 | 0.0010005 | 0.00025076 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_298-4_1_5_load_134 | 62 | 0.00078472 | 0.00019667 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_298-4_1_5_load_123 | 63 | 0.00073274 | 0.00018364 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_298-4_1_5_load_62 | 65 | 0.0018078 | 0.00045308 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_298-4_1_5_load_63 | 67 | 0.0034488 | 0.00086436 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_298-4_1_5_load_66 | 68 | 0.0024143 | 0.00060508 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_298-4_1_5_load_68 | 69 | 0.0031626 | 0.00079263 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_298-4_1_5_load_67 | 70 | 0.0027416 | 0.00068711 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_298-4_1_5_load_81 | 71 | 0.00068613 | 0.00017196 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_298-4_1_5_load_84 | 73 | 0.0015887 | 0.00039816 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_298-4_1_5_load_73 | 74 | 0.00065815 | 0.00016495 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_298-4_1_5_load_101 | 75 | 0.0010078 | 0.00025258 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_298-4_1_5_load_74 | 76 | 0.0039156 | 0.00098135 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_298-4_1_5_load_77 | 79 | 0.0048427 | 0.0012137 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_298-4_1_5_load_79 | 80 | 0.0012239 | 0.00030673 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_298-4_1_5_load_80 | 81 | 0.00067988 | 0.00017039 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_298-4_1_5_load_90 | 82 | 0.0015068 | 0.00037763 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_298-4_1_5_load_83 | 84 | 0.00054221 | 0.00013589 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_298-4_1_5_load_87 | 85 | 0.00066583 | 0.00016687 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_298-4_1_5_load_88 | 87 | 0.001834 | 0.00045964 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_298-4_1_5_load_89 | 88 | 0.0007231 | 0.00018123 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_298-4_1_5_load_91 | 89 | 0.0018173 | 0.00045546 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_298-4_1_5_load_92 | 90 | 0.0003372 | 8.4511e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_298-4_1_5_load_105 | 91 | 0.001601 | 0.00040124 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_298-4_1_5_load_93 | 93 | 0.0018085 | 0.00045325 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_298-4_1_5_load_94 | 94 | 0.0016723 | 0.00041912 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_298-4_1_5_load_96 | 95 | 0.001509 | 0.0003782 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_298-4_1_5_load_97 | 96 | 0.00071654 | 0.00017958 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_298-4_1_5_load_98 | 97 | 0.00064547 | 0.00016177 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_298-4_1_5_load_99 | 98 | 0.0019297 | 0.00048364 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_298-4_1_5_load_100 | 99 | 0.0018643 | 0.00046724 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_298-4_1_5_load_142 | 100 | 0.0018884 | 0.00047327 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_298-4_1_5_load_103 | 101 | 0.0014286 | 0.00035803 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_298-4_1_5_load_104 | 102 | 0.0018301 | 0.00045866 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_298-4_1_5_load_106 | 103 | 0.0018311 | 0.00045893 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_298-4_1_5_load_107 | 104 | 0.0015133 | 0.00037927 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_298-4_1_5_load_135 | 105 | 0.0012856 | 0.00032221 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_298-4_1_5_load_108 | 106 | 0.0081532 | 0.0020434 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_298-4_1_5_load_109 | 107 | 0.0068081 | 0.0017063 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_298-4_1_5_load_111 | 109 | 0.0011067 | 0.00027737 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_298-4_1_5_load_113 | 110 | 0.006773 | 0.0016975 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_298-4_1_5_load_117 | 113 | 0.0027053 | 0.00067801 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_298-4_1_5_load_120 | 114 | 0.0027303 | 0.00068429 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_298-4_1_5_load_122 | 115 | 0.00039512 | 9.9028e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_298-4_1_5_load_152 | 116 | 0.00082283 | 0.00020622 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_298-4_1_5_load_390 | 119 | 0.0062586 | 0.0015685 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_298-4_1_5_load_360 | 120 | 0.022356 | 0.005603 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_298-4_1_5_load_150 | 122 | 0.0039932 | 0.0010008 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_298-4_1_5_load_125 | 124 | 0.0022524 | 0.0005645 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_298-4_1_5_load_358 | 127 | 0.039455 | 0.0098883 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_298-4_1_5_load_177 | 130 | 0.0036699 | 0.00091977 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_298-4_1_5_load_178 | 133 | 0.010167 | 0.0025481 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_298-4_1_5_load_361 | 135 | 0.0063318 | 0.0015869 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_298-4_1_5_load_136 | 136 | 0.0040214 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_298-4_1_5_load_139 | 139 | 0.0043414 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_298-4_1_5_load_141 | 140 | 0.0034141 | 0.00085566 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_298-4_1_5_load_153 | 142 | 0.0035051 | 0.00087846 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_298-4_1_5_load_143 | 143 | 0.0039855 | 0.00099887 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_298-4_1_5_load_144 | 144 | 0.0044086 | 0.0011049 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_298-4_1_5_load_145 | 145 | 0.004033 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_298-4_1_5_load_146 | 146 | 0.0041818 | 0.0010481 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_298-4_1_5_load_148 | 148 | 0.0037569 | 0.00094158 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_298-4_1_5_load_149 | 149 | 0.0035897 | 0.00089967 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_298-4_1_5_load_160 | 151 | 0.055509 | 0.013912 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_298-4_1_5_load_158 | 152 | 0.0078391 | 0.0019647 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_298-4_1_5_load_155 | 153 | 0.003963 | 0.00099321 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_298-4_1_5_load_156 | 154 | 0.00093968 | 0.00023551 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_298-4_1_5_load_161 | 156 | 0.0034367 | 0.00086131 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_298-4_1_5_load_164 | 158 | 0.0015655 | 0.00039236 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_298-4_1_5_load_165 | 159 | 0.0076358 | 0.0019137 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_298-4_1_5_load_176 | 160 | 0.0017282 | 0.00043313 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_298-4_1_5_load_171 | 162 | 0.0096463 | 0.0024176 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_298-4_1_5_load_173 | 163 | 0.0036147 | 0.00090592 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_298-4_1_5_load_175 | 164 | 0.011553 | 0.0028955 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_298-4_1_5_load_182 | 165 | 0.0012292 | 0.00030807 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 92 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_298-4_1_5_line_0 |  | 0 | 1 | 0.25391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_298-4_1_5_line_1 |  | 0 | 2 | 0.019088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_298-4_1_5_line_2 |  | 1 | 12 | 0.027304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_298-4_1_5_line_3 |  | 2 | 154 | 0.016415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_298-4_1_5_line_4 |  | 3 | 4 | 0.007015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_298-4_1_5_line_5 |  | 3 | 5 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_298-4_1_5_line_6 |  | 5 | 161 | 0.0093877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_298-4_1_5_line_7 |  | 6 | 7 | 0.013857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_298-4_1_5_line_8 |  | 6 | 8 | 0.054925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_298-4_1_5_line_9 |  | 7 | 39 | 0.0249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_298-4_1_5_line_10 |  | 8 | 40 | 0.045812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_298-4_1_5_line_11 |  | 9 | 10 | 0.032397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_298-4_1_5_line_12 |  | 9 | 11 | 0.041307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_298-4_1_5_line_13 |  | 10 | 141 | 0.007829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_298-4_1_5_line_14 |  | 10 | 148 | 0.016188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_298-4_1_5_line_15 |  | 11 | 161 | 0.013811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_298-4_1_5_line_16 |  | 12 | 13 | 0.015938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_298-4_1_5_line_17 |  | 13 | 21 | 0.010055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_298-4_1_5_line_18 |  | 14 | 15 | 0.004404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_298-4_1_5_line_19 |  | 14 | 16 | 0.021566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_298-4_1_5_line_20 |  | 15 | 20 | 0.39563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_298-4_1_5_line_21 |  | 15 | 23 | 0.055555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_298-4_1_5_line_22 |  | 16 | 109 | 0.023677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_298-4_1_5_line_23 |  | 17 | 18 | 0.24267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_298-4_1_5_line_24 |  | 17 | 19 | 0.029615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_298-4_1_5_line_25 |  | 18 | 32 | 0.025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_298-4_1_5_line_26 |  | 18 | 25 | 0.13033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_298-4_1_5_line_27 |  | 18 | 27 | 0.22519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_298-4_1_5_line_28 |  | 19 | 66 | 0.0010034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_298-4_1_5_line_29 |  | 20 | 21 | 0.0066014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_298-4_1_5_line_30 |  | 20 | 22 | 0.018827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_298-4_1_5_line_31 |  | 23 | 24 | 0.017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_298-4_1_5_line_32 |  | 24 | 78 | 0.01777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_298-4_1_5_line_33 |  | 25 | 26 | 0.03193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_298-4_1_5_line_34 |  | 27 | 28 | 0.032805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_298-4_1_5_line_35 |  | 28 | 165 | 0.036164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_298-4_1_5_line_36 |  | 29 | 30 | 0.01888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_298-4_1_5_line_37 |  | 29 | 31 | 0.029929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_298-4_1_5_line_38 |  | 30 | 166 | 0.058081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_298-4_1_5_line_39 |  | 33 | 34 | 0.014635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_298-4_1_5_line_40 |  | 34 | 35 | 0.0306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_298-4_1_5_line_41 |  | 35 | 36 | 0.017664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_298-4_1_5_line_42 |  | 35 | 37 | 0.038785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_298-4_1_5_line_43 |  | 35 | 38 | 0.025838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_298-4_1_5_line_44 |  | 36 | 41 | 0.027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_298-4_1_5_line_45 |  | 37 | 42 | 0.018825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_298-4_1_5_line_46 |  | 38 | 43 | 0.0094035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_298-4_1_5_line_47 |  | 39 | 44 | 0.019361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_298-4_1_5_line_48 |  | 40 | 45 | 0.032588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_298-4_1_5_line_49 |  | 41 | 46 | 0.001941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_298-4_1_5_line_50 |  | 42 | 47 | 0.0050244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_298-4_1_5_line_51 |  | 43 | 48 | 0.01736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_298-4_1_5_line_52 |  | 44 | 65 | 0.02524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_298-4_1_5_line_53 |  | 45 | 68 | 0.043829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_298-4_1_5_line_54 |  | 46 | 86 | 0.019086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_298-4_1_5_line_55 |  | 47 | 67 | 0.0085313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_298-4_1_5_line_56 |  | 48 | 101 | 0.0054374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_298-4_1_5_line_57 |  | 49 | 50 | 0.030505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_298-4_1_5_line_58 |  | 49 | 51 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_298-4_1_5_line_59 |  | 50 | 52 | 0.0041038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_298-4_1_5_line_60 |  | 51 | 53 | 0.004147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_298-4_1_5_line_61 |  | 52 | 54 | 0.020095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_298-4_1_5_line_62 |  | 53 | 55 | 0.019016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_298-4_1_5_line_63 |  | 53 | 56 | 0.015032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_298-4_1_5_line_64 |  | 54 | 61 | 0.00037625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_298-4_1_5_line_65 |  | 55 | 62 | 0.021395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_298-4_1_5_line_66 |  | 56 | 63 | 0.01444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_298-4_1_5_line_67 |  | 57 | 58 | 0.029974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_298-4_1_5_line_68 |  | 58 | 64 | 0.035757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_298-4_1_5_line_69 |  | 59 | 60 | 0.0043126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_298-4_1_5_line_70 |  | 60 | 72 | 0.021077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_298-4_1_5_line_71 |  | 61 | 73 | 0.031138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_298-4_1_5_line_72 |  | 62 | 116 | 0.021036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_298-4_1_5_line_73 |  | 63 | 123 | 0.019754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_298-4_1_5_line_74 |  | 64 | 92 | 0.006365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_298-4_1_5_line_75 |  | 64 | 112 | 0.002863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_298-4_1_5_line_76 |  | 65 | 66 | 0.035774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_298-4_1_5_line_77 |  | 66 | 74 | 0.023479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_298-4_1_5_line_78 |  | 68 | 69 | 0.054589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_298-4_1_5_line_79 |  | 70 | 71 | 0.0027598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_298-4_1_5_line_80 |  | 71 | 83 | 0.021333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_298-4_1_5_line_81 |  | 72 | 96 | 0.013892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_298-4_1_5_line_82 |  | 72 | 93 | 0.0076165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_298-4_1_5_line_83 |  | 74 | 75 | 0.004625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_298-4_1_5_line_84 |  | 75 | 99 | 0.0064551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_298-4_1_5_line_85 |  | 76 | 77 | 0.016158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_298-4_1_5_line_86 |  | 77 | 78 | 0.026932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_298-4_1_5_line_87 |  | 77 | 79 | 0.014841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_298-4_1_5_line_88 |  | 78 | 80 | 0.016272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_298-4_1_5_line_89 |  | 79 | 81 | 0.028599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_298-4_1_5_line_90 |  | 80 | 82 | 0.0011937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_298-4_1_5_line_91 |  | 81 | 83 | 0.020402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_298-4_1_5_line_92 |  | 83 | 84 | 0.0031006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_298-4_1_5_line_93 |  | 84 | 85 | 0.029731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_298-4_1_5_line_94 |  | 85 | 86 | 0.034169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_298-4_1_5_line_95 |  | 86 | 87 | 0.01812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_298-4_1_5_line_96 |  | 86 | 88 | 0.021988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_298-4_1_5_line_97 |  | 87 | 89 | 0.026631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_298-4_1_5_line_98 |  | 88 | 90 | 0.022933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_298-4_1_5_line_99 |  | 89 | 91 | 0.001542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_298-4_1_5_line_100 |  | 90 | 92 | 0.017149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_298-4_1_5_line_101 |  | 91 | 103 | 0.024801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_298-4_1_5_line_102 |  | 93 | 94 | 0.029874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_298-4_1_5_line_103 |  | 94 | 95 | 0.0025301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_298-4_1_5_line_104 |  | 95 | 97 | 0.0077251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_298-4_1_5_line_105 |  | 96 | 98 | 0.0057473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_298-4_1_5_line_106 |  | 97 | 99 | 0.010125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_298-4_1_5_line_107 |  | 98 | 100 | 0.020426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_298-4_1_5_line_108 |  | 100 | 102 | 0.0048837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_298-4_1_5_line_109 |  | 101 | 102 | 0.020278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_298-4_1_5_line_110 |  | 103 | 104 | 0.00078899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_298-4_1_5_line_111 |  | 104 | 105 | 0.010466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_298-4_1_5_line_112 |  | 106 | 107 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_298-4_1_5_line_113 |  | 106 | 108 | 0.038895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_298-4_1_5_line_114 |  | 107 | 109 | 0.01945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_298-4_1_5_line_115 |  | 108 | 110 | 0.015896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_298-4_1_5_line_116 |  | 108 | 111 | 0.004018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_298-4_1_5_line_117 |  | 110 | 114 | 0.01875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_298-4_1_5_line_118 |  | 111 | 115 | 0.00025085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_298-4_1_5_line_119 |  | 112 | 113 | 0.02174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_298-4_1_5_line_120 |  | 113 | 116 | 0.026207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_298-4_1_5_line_121 |  | 114 | 122 | 0.010573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
122 | LV_298-4_1_5_line_122 |  | 117 | 118 | 0.014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_298-4_1_5_line_123 |  | 117 | 119 | 0.017951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_298-4_1_5_line_124 |  | 118 | 120 | 0.030251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_298-4_1_5_line_125 |  | 118 | 121 | 0.039859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_298-4_1_5_line_126 |  | 121 | 127 | 0.03589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_298-4_1_5_line_127 |  | 121 | 134 | 0.006762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_298-4_1_5_line_128 |  | 122 | 147 | 0.034397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
129 | LV_298-4_1_5_line_129 |  | 123 | 124 | 0.028404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_298-4_1_5_line_130 |  | 124 | 125 | 0.010769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_298-4_1_5_line_131 |  | 125 | 126 | 0.032715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_298-4_1_5_line_132 |  | 126 | 127 | 0.04094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_298-4_1_5_line_133 |  | 128 | 129 | 0.047239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_298-4_1_5_line_134 |  | 128 | 130 | 0.018149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_298-4_1_5_line_135 |  | 129 | 164 | 0.005021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_298-4_1_5_line_136 |  | 129 | 163 | 0.031815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_298-4_1_5_line_137 |  | 130 | 132 | 0.022204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_298-4_1_5_line_138 |  | 131 | 132 | 0.043524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
139 | LV_298-4_1_5_line_139 |  | 131 | 133 | 0.039167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
140 | LV_298-4_1_5_line_140 |  | 133 | 159 | 0.046134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
141 | LV_298-4_1_5_line_141 |  | 134 | 135 | 0.021015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_298-4_1_5_line_142 |  | 136 | 137 | 0.021967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_298-4_1_5_line_143 |  | 137 | 138 | 0.014943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_298-4_1_5_line_144 |  | 137 | 139 | 0.0078494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_298-4_1_5_line_145 |  | 138 | 140 | 0.019397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_298-4_1_5_line_146 |  | 139 | 141 | 0.017564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_298-4_1_5_line_147 |  | 140 | 142 | 0.0035591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_298-4_1_5_line_148 |  | 143 | 144 | 0.00072692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_298-4_1_5_line_149 |  | 143 | 145 | 0.020008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_298-4_1_5_line_150 |  | 144 | 146 | 0.018508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_298-4_1_5_line_151 |  | 145 | 147 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
152 | LV_298-4_1_5_line_152 |  | 146 | 148 | 0.0076005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_298-4_1_5_line_153 |  | 147 | 149 | 0.023635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_298-4_1_5_line_154 |  | 147 | 150 | 0.026121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
155 | LV_298-4_1_5_line_155 |  | 150 | 151 | 0.021914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_298-4_1_5_line_156 |  | 150 | 152 | 0.030026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
157 | LV_298-4_1_5_line_157 |  | 152 | 155 | 0.018916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
158 | LV_298-4_1_5_line_158 |  | 153 | 154 | 0.0036736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_298-4_1_5_line_159 |  | 155 | 156 | 0.021212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_298-4_1_5_line_160 |  | 155 | 157 | 0.034267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
161 | LV_298-4_1_5_line_161 |  | 157 | 158 | 0.015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_298-4_1_5_line_162 |  | 157 | 159 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
163 | LV_298-4_1_5_line_163 |  | 158 | 160 | 0.0077639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_298-4_1_5_line_164 |  | 161 | 162 | 0.03194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_298-4_1_5_line_165 |  | 165 | 166 | 0.021613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_298-4_1_5_trafo_121 | 0.63 MVA 20/0.4 kV | 167 | 92 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2701870.8675 | 1265066.5719 | 2701865.8255 | 1265082.0424 | 2701861.4562 | 1265086.026 | 2701864.5783 | 1265089.7274 | 2701991.9447 | 1265242.2287 | 2701963.7902 | 1265243.6109
1 | 2701963.7902 | 1265243.6109 | 2701962.833 | 1265262.6751
2 | 2701853.7077 | 1265045.2917 | 2701870.8675 | 1265066.5719
3 | 2701962.833 | 1265262.6751 | 2701962.0098 | 1265279.0691
4 | 2701682.7136 | 1264578.2246 | 2701684.1622 | 1264585.0886
5 | 2701684.1622 | 1264585.0886 | 2701688.9001 | 1264582.9015 | 2701693.5702 | 1264582.0256 | 2701703.9407 | 1264585.7341
6 | 2701712.7803 | 1264588.8951 | 2701703.9407 | 1264585.7341
7 | 2701982.4655 | 1264788.2848 | 2701995.122 | 1264782.6438
8 | 2701982.4655 | 1264788.2848 | 2701932.4657 | 1264811.0184
9 | 2702017.8652 | 1264772.5073 | 2701995.122 | 1264782.6438
10 | 2701891.7973 | 1264831.7813 | 2701895.2715 | 1264828.9601 | 2701902.6079 | 1264824.5939 | 2701932.4657 | 1264811.0184
11 | 2701722.5726 | 1264656.698 | 2701713.8068 | 1264648.2735 | 2701705.5076 | 1264644.2496 | 2701694.8972 | 1264641.031
12 | 2701694.8972 | 1264641.031 | 2701708.2993 | 1264601.9586
13 | 2701722.5726 | 1264656.698 | 2701728.2569 | 1264662.1003
14 | 2701722.5726 | 1264656.698 | 2701732.9271 | 1264644.2543
15 | 2701712.7803 | 1264588.8951 | 2701708.2993 | 1264601.9586
16 | 2701853.7077 | 1265045.2917 | 2701865.7729 | 1265034.8772
17 | 2701869.8654 | 1265026.3379 | 2701868.915 | 1265032.165 | 2701865.7729 | 1265034.8772
18 | 2701736.0962 | 1264747.9403 | 2701733.2697 | 1264744.5555
19 | 2701733.2697 | 1264744.5555 | 2701742.6155 | 1264735.909 | 2701748.0983 | 1264728.982
20 | 2701736.0962 | 1264747.9403 | 2701727.2834 | 1264754.5052 | 2701718.4104 | 1264759.757 | 2701698.8367 | 1264769.673 | 2701693.2442 | 1264772.9462 | 2701696.6415 | 1264779.0542 | 2701693.6757 | 1264782.8842 | 2701691.8616 | 1264786.7562 | 2701691.7655 | 1264791.0248 | 2701692.3666 | 1264796.7955 | 2701696.7596 | 1264809.8264 | 2701706.167 | 1264833.0299 | 2701709.1455 | 1264841.5883 | 2701711.81 | 1264851.32 | 2701714.3199 | 1264851.6635 | 2701720.8986 | 1264855.4131 | 2701794.1742 | 1264992.0552 | 2701839.1922 | 1264981.1547 | 2701842.1959 | 1264987.8008 | 2701870.928 | 1265019.8226
21 | 2701736.0962 | 1264747.9403 | 2701739.2107 | 1264751.6636 | 2701737.5497 | 1264754.5152 | 2701737.2211 | 1264758.2905 | 2701738.4184 | 1264761.3692 | 2701735.461 | 1264763.8315 | 2701761.4206 | 1264789.433
22 | 2701761.8794 | 1264709.747 | 2701753.2181 | 1264722.5136 | 2701748.0983 | 1264728.982
23 | 2702103.8007 | 1264760.9003 | 2702126.4377 | 1264781.2305 | 2702130.6382 | 1264787.4749 | 2702137.7573 | 1264814.4205 | 2702143.085 | 1264839.111 | 2702147.9603 | 1264849.0146 | 2702153.2499 | 1264855.4336 | 2702200.3173 | 1264879.8674 | 2702240.053 | 1264901.4058 | 2702237.9473 | 1264909.4873 | 2702234.1797 | 1264916.1054 | 2702216.1497 | 1264916.4384
24 | 2702103.8007 | 1264760.9003 | 2702089.0176 | 1264735.2392
25 | 2702216.1497 | 1264916.4384 | 2702211.5854 | 1264911.2107 | 2702193.0169 | 1264911.3232 | 2702192.972 | 1264911.1316
26 | 2702216.1497 | 1264916.4384 | 2702234.1797 | 1264916.1054 | 2702237.9473 | 1264909.4873 | 2702240.053 | 1264901.4058 | 2702249.2792 | 1264904.4901 | 2702252.1089 | 1264895.9208 | 2702253.4058 | 1264882.7877 | 2702252.4117 | 1264870.16 | 2702237.9371 | 1264831.733 | 2702237.2398 | 1264821.1009
27 | 2702216.1497 | 1264916.4384 | 2702234.1797 | 1264916.1054 | 2702237.9473 | 1264909.4873 | 2702240.053 | 1264901.4058 | 2702249.2792 | 1264904.4901 | 2702273.8392 | 1264909.8305 | 2702302.5594 | 1264911.9847 | 2702318.713 | 1264913.4432 | 2702342.8635 | 1264919.3773 | 2702362.7132 | 1264925.7373 | 2702376.9754 | 1264926.3737 | 2702404.707 | 1264924.2855 | 2702428.0841 | 1264921.8217
28 | 2702088.5167 | 1264734.3697 | 2702089.0176 | 1264735.2392
29 | 2701870.928 | 1265019.8226 | 2701869.8654 | 1265026.3379
30 | 2701870.928 | 1265019.8226 | 2701879.1699 | 1265028.0048 | 2701883.8119 | 1265033.5263
31 | 2701761.4206 | 1264789.433 | 2701773.9314 | 1264776.8239
32 | 2701786.4478 | 1264764.2093 | 2701773.9314 | 1264776.8239
33 | 2702237.2398 | 1264821.1009 | 2702214.917 | 1264819.2134 | 2702205.5047 | 1264817.7384
34 | 2702460.7245 | 1264917.6837 | 2702428.0841 | 1264921.8217
35 | 2702460.7245 | 1264917.6837 | 2702469.1674 | 1264929.0062 | 2702480.3443 | 1264948.0026
36 | 2702449.3993 | 1265001.7692 | 2702454.8304 | 1264996.0918 | 2702464.8193 | 1264991.4294
37 | 2702449.3993 | 1265001.7692 | 2702443.2145 | 1264994.8784 | 2702441.8453 | 1264990.8736 | 2702436.549 | 1264975.3132
38 | 2702499.5597 | 1264952.4193 | 2702499.691 | 1264964.3872 | 2702496.4727 | 1264972.327 | 2702489.5856 | 1264979.8695 | 2702464.8193 | 1264991.4294
39 | 2701954.1571 | 1264749.3699 | 2701947.1814 | 1264736.504
40 | 2701932.5964 | 1264709.6035 | 2701947.1814 | 1264736.504
41 | 2701932.5964 | 1264709.6035 | 2701923.1349 | 1264694.6877
42 | 2701932.5964 | 1264709.6035 | 2701908.1628 | 1264724.8173 | 2701900.976 | 1264731.7735
43 | 2701932.5964 | 1264709.6035 | 2701955.1964 | 1264697.079
44 | 2701923.1349 | 1264694.6877 | 2701908.4487 | 1264671.5355
45 | 2701887.4497 | 1264744.866 | 2701900.976 | 1264731.7735
46 | 2701963.4213 | 1264692.5209 | 2701955.1964 | 1264697.079
47 | 2702017.8652 | 1264772.5073 | 2702035.5489 | 1264764.6257
48 | 2701864.4953 | 1264849.0466 | 2701877.7321 | 1264843.2031 | 2701891.7973 | 1264831.7813
49 | 2701907.409 | 1264669.8964 | 2701908.4487 | 1264671.5355
50 | 2701887.4497 | 1264744.866 | 2701885.0038 | 1264749.2549
51 | 2701978.6054 | 1264684.106 | 2701963.4213 | 1264692.5209
52 | 2702057.534 | 1264752.2543 | 2702037.9759 | 1264763.544 | 2702035.5489 | 1264764.6257
53 | 2701864.4953 | 1264849.0466 | 2701857.0489 | 1264852.8103 | 2701848.0166 | 1264871.2368 | 2701834.4354 | 1264877.5197
54 | 2701897.1857 | 1264653.7798 | 2701907.409 | 1264669.8964
55 | 2701885.0038 | 1264749.2549 | 2701880.8507 | 1264756.7071
56 | 2701978.6054 | 1264684.106 | 2701983.018 | 1264681.6607 | 2701983.3829 | 1264681.516
57 | 2701981.2422 | 1264566.2632 | 2701997.9657 | 1264591.775
58 | 2701971.2499 | 1264550.4479 | 2701973.0384 | 1264553.7482 | 2701981.2422 | 1264566.2632
59 | 2702000.2155 | 1264595.2072 | 2701997.9657 | 1264591.775
60 | 2701971.2499 | 1264550.4479 | 2701969.7404 | 1264547.5639 | 2701969.3324 | 1264546.7673
61 | 2702000.2155 | 1264595.2072 | 2702017.3357 | 1264584.6847
62 | 2701969.3324 | 1264546.7673 | 2701952.0011 | 1264554.5927
63 | 2701969.3324 | 1264546.7673 | 2701962.4951 | 1264533.3803
64 | 2702017.6563 | 1264584.4877 | 2702017.3357 | 1264584.6847
65 | 2701952.0011 | 1264554.5927 | 2701932.5018 | 1264563.397
66 | 2701956.7535 | 1264520.1491 | 2701958.4842 | 1264524.5839 | 2701960.0496 | 1264528.5921 | 2701962.4951 | 1264533.3803
67 | 2701931.1519 | 1264568.4888 | 2701903.8167 | 1264580.7874
68 | 2701871.5083 | 1264596.0891 | 2701886.2944 | 1264588.671 | 2701903.8167 | 1264580.7874
69 | 2702030.2371 | 1264637.1379 | 2702027.7265 | 1264633.6315
70 | 2702042.507 | 1264654.2752 | 2702030.2371 | 1264637.1379
71 | 2702044.1846 | 1264568.1828 | 2702017.6563 | 1264584.4877
72 | 2701932.5018 | 1264563.397 | 2701913.3292 | 1264572.0538
73 | 2701951.1283 | 1264501.2487 | 2701954.3292 | 1264513.9367 | 2701956.7535 | 1264520.1491
74 | 2701866.5211 | 1264600.0621 | 2701871.5083 | 1264596.0891
75 | 2701870.4848 | 1264593.4137 | 2701871.5083 | 1264596.0891
76 | 2702088.5167 | 1264734.3697 | 2702057.534 | 1264752.2543
77 | 2702088.5167 | 1264734.3697 | 2702077.5016 | 1264713.6347
78 | 2701834.4354 | 1264877.5197 | 2701819.1873 | 1264884.5737 | 2701802.4504 | 1264850.6945
79 | 2701859.6985 | 1264712.3469 | 2701857.9071 | 1264710.2476
80 | 2701844.0591 | 1264694.0204 | 2701857.9071 | 1264710.2476
81 | 2702042.507 | 1264654.2752 | 2702030.3465 | 1264660.9908
82 | 2702042.507 | 1264654.2752 | 2702046.6823 | 1264660.6452
83 | 2702077.5016 | 1264713.6347 | 2702075.3318 | 1264709.5503
84 | 2702072.3035 | 1264703.8496 | 2702075.3318 | 1264709.5503
85 | 2701803.6179 | 1264743.4209 | 2701791.3797 | 1264732.8702
86 | 2701803.6179 | 1264743.4209 | 2701786.4478 | 1264764.2093
87 | 2701803.6179 | 1264743.4209 | 2701813.0193 | 1264731.9368
88 | 2701786.4478 | 1264764.2093 | 2701774.8257 | 1264752.8212
89 | 2701813.0193 | 1264731.9368 | 2701831.1352 | 1264709.8074
90 | 2701774.8257 | 1264752.8212 | 2701773.9731 | 1264751.9857
91 | 2701844.0591 | 1264694.0204 | 2701831.1352 | 1264709.8074
92 | 2701844.0591 | 1264694.0204 | 2701846.3255 | 1264691.9045
93 | 2701846.3255 | 1264691.9045 | 2701868.0574 | 1264671.6157
94 | 2701897.1857 | 1264653.7798 | 2701868.5493 | 1264671.1565 | 2701868.0574 | 1264671.6157
95 | 2701897.1857 | 1264653.7798 | 2701913.7472 | 1264646.4289
96 | 2701897.1857 | 1264653.7798 | 2701887.0885 | 1264634.247
97 | 2701938.0879 | 1264635.625 | 2701913.7472 | 1264646.4289
98 | 2701887.0885 | 1264634.247 | 2701876.5576 | 1264613.8753
99 | 2701938.0879 | 1264635.625 | 2701939.4974 | 1264634.9994
100 | 2701866.5211 | 1264600.0621 | 2701874.385 | 1264609.6722 | 2701876.5576 | 1264613.8753
101 | 2701939.4974 | 1264634.9994 | 2701962.1661 | 1264624.9377
102 | 2702046.6823 | 1264660.6452 | 2702052.1651 | 1264669.0097 | 2702062.3895 | 1264686.0507
103 | 2702062.3895 | 1264686.0507 | 2702063.6913 | 1264688.2202
104 | 2702067.5534 | 1264694.9079 | 2702066.3909 | 1264692.7196 | 2702063.6913 | 1264688.2202
105 | 2702025.3154 | 1264663.7692 | 2702030.3465 | 1264660.9908
106 | 2702072.3035 | 1264703.8496 | 2702067.5534 | 1264694.9079
107 | 2702025.3154 | 1264663.7692 | 2702018.08 | 1264667.765 | 2702006.7745 | 1264672.2455
108 | 2702006.7745 | 1264672.2455 | 2702002.2344 | 1264674.0449
109 | 2701983.3829 | 1264681.516 | 2702002.2344 | 1264674.0449
110 | 2701962.8873 | 1264624.6176 | 2701962.1661 | 1264624.9377
111 | 2701972.4534 | 1264620.3716 | 2701962.8873 | 1264624.6176
112 | 2701783.2816 | 1264682.7997 | 2701782.3036 | 1264683.8485 | 2701773.7383 | 1264694.351
113 | 2701809.8077 | 1264654.3529 | 2701783.2816 | 1264682.7997
114 | 2701761.8794 | 1264709.747 | 2701765.3287 | 1264704.6627 | 2701773.7383 | 1264694.351
115 | 2701809.8077 | 1264654.3529 | 2701798.2075 | 1264643.4853
116 | 2701812.7431 | 1264657.1058 | 2701809.8077 | 1264654.3529
117 | 2701784.6916 | 1264630.4915 | 2701792.8178 | 1264638.436 | 2701798.2075 | 1264643.4853
118 | 2701812.5757 | 1264657.2926 | 2701812.7431 | 1264657.1058
119 | 2701870.4848 | 1264593.4137 | 2701880.0343 | 1264587.3954 | 2701889.5189 | 1264583.0029
120 | 2701889.5189 | 1264583.0029 | 2701906.6102 | 1264575.0875 | 2701913.3292 | 1264572.0538
121 | 2701777.4394 | 1264622.8275 | 2701779.1433 | 1264625.0672 | 2701784.6916 | 1264630.4915
122 | 2701847.4227 | 1264533.8555 | 2701850.2366 | 1264540.5985 | 2701857.4274 | 1264538.5762
123 | 2701857.4274 | 1264538.5762 | 2701874.7048 | 1264533.704
124 | 2701847.4227 | 1264533.8555 | 2701817.9467 | 1264540.6611
125 | 2701847.4227 | 1264533.8555 | 2701838.1026 | 1264495.0959
126 | 2701838.1026 | 1264495.0959 | 2701872.9922 | 1264486.6816
127 | 2701836.4455 | 1264488.5397 | 2701837.2099 | 1264491.3886 | 2701838.1026 | 1264495.0959
128 | 2701758.4566 | 1264594.1742 | 2701772.0281 | 1264615.7147 | 2701777.4394 | 1264622.8275
129 | 2701951.1283 | 1264501.2487 | 2701925.2553 | 1264512.9701
130 | 2701915.4464 | 1264517.4138 | 2701925.2553 | 1264512.9701
131 | 2701907.5651 | 1264485.6625 | 2701911.8419 | 1264502.795 | 2701915.4464 | 1264517.4138
132 | 2701907.5651 | 1264485.6625 | 2701905.0993 | 1264486.2539 | 2701903.4256 | 1264479.3526 | 2701897.1398 | 1264480.8677 | 2701881.0512 | 1264484.7382 | 2701877.4356 | 1264485.61 | 2701872.9922 | 1264486.6816
133 | 2701757.0576 | 1264387.622 | 2701759.592 | 1264414.9774 | 2701761.9658 | 1264434.6013
134 | 2701757.0576 | 1264387.622 | 2701739.0863 | 1264390.1525
135 | 2701761.9658 | 1264434.6013 | 2701762.679 | 1264439.5714
136 | 2701761.9658 | 1264434.6013 | 2701785.2299 | 1264431.7882 | 2701793.5468 | 1264430.7477
137 | 2701717.4709 | 1264395.1917 | 2701737.0021 | 1264390.446 | 2701739.0863 | 1264390.1525
138 | 2701680.19 | 1264393.9717 | 2701688.3451 | 1264392.8221 | 2701705.633 | 1264390.1728 | 2701705.8869 | 1264392.4902 | 2701706.3566 | 1264396.7129 | 2701717.4709 | 1264395.1917
139 | 2701680.19 | 1264393.9717 | 2701686.4071 | 1264432.6423
140 | 2701695.8933 | 1264477.7192 | 2701694.9955 | 1264475.1497 | 2701690.3283 | 1264457.0321 | 2701686.4071 | 1264432.6423
141 | 2701836.4455 | 1264488.5397 | 2701856.2645 | 1264481.5509
142 | 2701736.2429 | 1264682.9996 | 2701736.2198 | 1264690.461 | 2701727.1396 | 1264701.7732
143 | 2701736.2429 | 1264682.9996 | 2701738.7127 | 1264682.6084 | 2701740.9316 | 1264681.479 | 2701742.7018 | 1264679.7191 | 2701743.8322 | 1264677.5034 | 2701744.2211 | 1264675.0413 | 2701743.8342 | 1264672.577
144 | 2701736.2429 | 1264682.9996 | 2701733.659 | 1264682.577 | 2701731.3529 | 1264681.3363 | 2701729.5705 | 1264679.4262
145 | 2701743.8342 | 1264672.577 | 2701749.8869 | 1264671.458 | 2701753.9227 | 1264669.3591 | 2701758.8663 | 1264662.2091
146 | 2701728.2569 | 1264662.1003 | 2701728.2703 | 1264674.4442 | 2701728.5043 | 1264677.0392 | 2701729.5705 | 1264679.4262
147 | 2701760.8904 | 1264659.2817 | 2701758.8663 | 1264662.2091
148 | 2701750.0919 | 1264623.6262 | 2701749.6269 | 1264624.185
149 | 2701755.4461 | 1264605.8578 | 2701756.2078 | 1264616.2762 | 2701750.0919 | 1264623.6262
150 | 2701737.7885 | 1264638.4119 | 2701749.6269 | 1264624.185
151 | 2701758.4566 | 1264594.1742 | 2701754.824 | 1264597.3477 | 2701755.4461 | 1264605.8578
152 | 2701737.7885 | 1264638.4119 | 2701732.9271 | 1264644.2543
153 | 2701781.4116 | 1264588.2755 | 2701758.4566 | 1264594.1742
154 | 2701744.6858 | 1264571.952 | 2701758.4566 | 1264594.1742
155 | 2701761.9871 | 1264558.4385 | 2701744.6858 | 1264571.952
156 | 2701744.6858 | 1264571.952 | 2701728.3958 | 1264546.7286
157 | 2701718.1336 | 1264530.8386 | 2701728.3958 | 1264546.7286
158 | 2701961.8256 | 1265282.7381 | 2701962.0098 | 1265279.0691
159 | 2701718.1336 | 1264530.8386 | 2701697.4928 | 1264535.7288
160 | 2701703.6031 | 1264499.785 | 2701712.4728 | 1264518.809 | 2701718.1336 | 1264530.8386
161 | 2701703.6031 | 1264499.785 | 2701688.7644 | 1264502.8541
162 | 2701703.6031 | 1264499.785 | 2701695.8933 | 1264477.7192
163 | 2701688.7644 | 1264502.8541 | 2701681.1614 | 1264504.4266
164 | 2701712.7803 | 1264588.8951 | 2701731.5693 | 1264596.5914 | 2701735.6971 | 1264585.6533
165 | 2702499.5597 | 1264952.4193 | 2702492.9411 | 1264953.6056 | 2702482.527 | 1264951.7124 | 2702480.3443 | 1264948.0026

## bus_geodata
| x | y | coords
0 | 2701963.7902 | 1265243.6109
1 | 2701870.8675 | 1265066.5719
2 | 2701962.833 | 1265262.6751
3 | 2701684.1622 | 1264585.0886
4 | 2701682.7136 | 1264578.2246
5 | 2701703.9407 | 1264585.7341
6 | 2701982.4655 | 1264788.2848
7 | 2701995.122 | 1264782.6438
8 | 2701932.4657 | 1264811.0184
9 | 2701694.8972 | 1264641.031
10 | 2701722.5726 | 1264656.698
11 | 2701708.2993 | 1264601.9586
12 | 2701853.7077 | 1265045.2917
13 | 2701865.7729 | 1265034.8772
14 | 2701733.2697 | 1264744.5555
15 | 2701736.0962 | 1264747.9403
16 | 2701748.0983 | 1264728.982
17 | 2702103.8007 | 1264760.9003
18 | 2702216.1497 | 1264916.4384
19 | 2702089.0176 | 1264735.2392
20 | 2701870.928 | 1265019.8226
21 | 2701869.8654 | 1265026.3379
22 | 2701883.8119 | 1265033.5263
23 | 2701761.4206 | 1264789.433
24 | 2701773.9314 | 1264776.8239
25 | 2702237.2398 | 1264821.1009
26 | 2702205.5047 | 1264817.7384
27 | 2702428.0841 | 1264921.8217
28 | 2702460.7245 | 1264917.6837
29 | 2702449.3993 | 1265001.7692
30 | 2702464.8193 | 1264991.4294
31 | 2702436.549 | 1264975.3132
32 | 2702192.972 | 1264911.1316
33 | 2701954.1571 | 1264749.3699
34 | 2701947.1814 | 1264736.504
35 | 2701932.5964 | 1264709.6035
36 | 2701923.1349 | 1264694.6877
37 | 2701900.976 | 1264731.7735
38 | 2701955.1964 | 1264697.079
39 | 2702017.8652 | 1264772.5073
40 | 2701891.7973 | 1264831.7813
41 | 2701908.4487 | 1264671.5355
42 | 2701887.4497 | 1264744.866
43 | 2701963.4213 | 1264692.5209
44 | 2702035.5489 | 1264764.6257
45 | 2701864.4953 | 1264849.0466
46 | 2701907.409 | 1264669.8964
47 | 2701885.0038 | 1264749.2549
48 | 2701978.6054 | 1264684.106
49 | 2701981.2422 | 1264566.2632
50 | 2701997.9657 | 1264591.775
51 | 2701971.2499 | 1264550.4479
52 | 2702000.2155 | 1264595.2072
53 | 2701969.3324 | 1264546.7673
54 | 2702017.3357 | 1264584.6847
55 | 2701952.0011 | 1264554.5927
56 | 2701962.4951 | 1264533.3803
57 | 2701931.1519 | 1264568.4888
58 | 2701903.8167 | 1264580.7874
59 | 2702027.7265 | 1264633.6315
60 | 2702030.2371 | 1264637.1379
61 | 2702017.6563 | 1264584.4877
62 | 2701932.5018 | 1264563.397
63 | 2701956.7535 | 1264520.1491
64 | 2701871.5083 | 1264596.0891
65 | 2702057.534 | 1264752.2543
66 | 2702088.5167 | 1264734.3697
67 | 2701880.8507 | 1264756.7071
68 | 2701834.4354 | 1264877.5197
69 | 2701802.4504 | 1264850.6945
70 | 2701859.6985 | 1264712.3469
71 | 2701857.9071 | 1264710.2476
72 | 2702042.507 | 1264654.2752
73 | 2702044.1846 | 1264568.1828
74 | 2702077.5016 | 1264713.6347
75 | 2702075.3318 | 1264709.5503
76 | 2701791.3797 | 1264732.8702
77 | 2701803.6179 | 1264743.4209
78 | 2701786.4478 | 1264764.2093
79 | 2701813.0193 | 1264731.9368
80 | 2701774.8257 | 1264752.8212
81 | 2701831.1352 | 1264709.8074
82 | 2701773.9731 | 1264751.9857
83 | 2701844.0591 | 1264694.0204
84 | 2701846.3255 | 1264691.9045
85 | 2701868.0574 | 1264671.6157
86 | 2701897.1857 | 1264653.7798
87 | 2701913.7472 | 1264646.4289
88 | 2701887.0885 | 1264634.247
89 | 2701938.0879 | 1264635.625
90 | 2701876.5576 | 1264613.8753
91 | 2701939.4974 | 1264634.9994
92 | 2701866.5211 | 1264600.0621
93 | 2702046.6823 | 1264660.6452
94 | 2702062.3895 | 1264686.0507
95 | 2702063.6913 | 1264688.2202
96 | 2702030.3465 | 1264660.9908
97 | 2702067.5534 | 1264694.9079
98 | 2702025.3154 | 1264663.7692
99 | 2702072.3035 | 1264703.8496
100 | 2702006.7745 | 1264672.2455
101 | 2701983.3829 | 1264681.516
102 | 2702002.2344 | 1264674.0449
103 | 2701962.1661 | 1264624.9377
104 | 2701962.8873 | 1264624.6176
105 | 2701972.4534 | 1264620.3716
106 | 2701783.2816 | 1264682.7997
107 | 2701773.7383 | 1264694.351
108 | 2701809.8077 | 1264654.3529
109 | 2701761.8794 | 1264709.747
110 | 2701798.2075 | 1264643.4853
111 | 2701812.7431 | 1264657.1058
112 | 2701870.4848 | 1264593.4137
113 | 2701889.5189 | 1264583.0029
114 | 2701784.6916 | 1264630.4915
115 | 2701812.5757 | 1264657.2926
116 | 2701913.3292 | 1264572.0538
117 | 2701857.4274 | 1264538.5762
118 | 2701847.4227 | 1264533.8555
119 | 2701874.7048 | 1264533.704
120 | 2701817.9467 | 1264540.6611
121 | 2701838.1026 | 1264495.0959
122 | 2701777.4394 | 1264622.8275
123 | 2701951.1283 | 1264501.2487
124 | 2701925.2553 | 1264512.9701
125 | 2701915.4464 | 1264517.4138
126 | 2701907.5651 | 1264485.6625
127 | 2701872.9922 | 1264486.6816
128 | 2701757.0576 | 1264387.622
129 | 2701761.9658 | 1264434.6013
130 | 2701739.0863 | 1264390.1525
131 | 2701680.19 | 1264393.9717
132 | 2701717.4709 | 1264395.1917
133 | 2701686.4071 | 1264432.6423
134 | 2701836.4455 | 1264488.5397
135 | 2701856.2645 | 1264481.5509
136 | 2701727.1396 | 1264701.7732
137 | 2701736.2429 | 1264682.9996
138 | 2701743.8342 | 1264672.577
139 | 2701729.5705 | 1264679.4262
140 | 2701758.8663 | 1264662.2091
141 | 2701728.2569 | 1264662.1003
142 | 2701760.8904 | 1264659.2817
143 | 2701750.0919 | 1264623.6262
144 | 2701749.6269 | 1264624.185
145 | 2701755.4461 | 1264605.8578
146 | 2701737.7885 | 1264638.4119
147 | 2701758.4566 | 1264594.1742
148 | 2701732.9271 | 1264644.2543
149 | 2701781.4116 | 1264588.2755
150 | 2701744.6858 | 1264571.952
151 | 2701761.9871 | 1264558.4385
152 | 2701728.3958 | 1264546.7286
153 | 2701961.8256 | 1265282.7381
154 | 2701962.0098 | 1265279.0691
155 | 2701718.1336 | 1264530.8386
156 | 2701697.4928 | 1264535.7288
157 | 2701703.6031 | 1264499.785
158 | 2701688.7644 | 1264502.8541
159 | 2701695.8933 | 1264477.7192
160 | 2701681.1614 | 1264504.4266
161 | 2701712.7803 | 1264588.8951
162 | 2701735.6971 | 1264585.6533
163 | 2701793.5468 | 1264430.7477
164 | 2701762.679 | 1264439.5714
165 | 2702480.3443 | 1264948.0026
166 | 2702499.5597 | 1264952.4193
167 | 2701871.5083 | 1264596.0891

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1