## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_298-6_1_4_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_298-6_1_4_node_163 | 0.4 | n |  | TRUE
2 | bus_LV_298-6_1_4_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_298-6_1_4_node_204 | 0.4 | n |  | TRUE
4 | bus_LV_298-6_1_4_node_180 | 0.4 | n |  | TRUE
5 | bus_LV_298-6_1_4_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_298-6_1_4_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_298-6_1_4_node_146 | 0.4 | n |  | TRUE
8 | bus_LV_298-6_1_4_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_298-6_1_4_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_298-6_1_4_node_153 | 0.4 | n |  | TRUE
11 | bus_LV_298-6_1_4_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_298-6_1_4_node_150 | 0.4 | n |  | TRUE
13 | bus_LV_298-6_1_4_node_128 | 0.4 | n |  | TRUE
14 | bus_LV_298-6_1_4_node_154 | 0.4 | n |  | TRUE
15 | bus_LV_298-6_1_4_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_298-6_1_4_node_122 | 0.4 | n |  | TRUE
17 | bus_LV_298-6_1_4_node_121 | 0.4 | n |  | TRUE
18 | bus_LV_298-6_1_4_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_298-6_1_4_node_166 | 0.4 | n |  | TRUE
20 | bus_LV_298-6_1_4_node_158 | 0.4 | n |  | TRUE
21 | bus_LV_298-6_1_4_node_108 | 0.4 | n |  | TRUE
22 | bus_LV_298-6_1_4_node_109 | 0.4 | n |  | TRUE
23 | bus_LV_298-6_1_4_node_110 | 0.4 | n |  | TRUE
24 | bus_LV_298-6_1_4_node_111 | 0.4 | n |  | TRUE
25 | bus_LV_298-6_1_4_node_112 | 0.4 | n |  | TRUE
26 | bus_LV_298-6_1_4_node_113 | 0.4 | n |  | TRUE
27 | bus_LV_298-6_1_4_node_142 | 0.4 | n |  | TRUE
28 | bus_LV_298-6_1_4_node_184 | 0.4 | n |  | TRUE
29 | bus_LV_298-6_1_4_node_116 | 0.4 | n |  | TRUE
30 | bus_LV_298-6_1_4_node_114 | 0.4 | n |  | TRUE
31 | bus_LV_298-6_1_4_node_115 | 0.4 | n |  | TRUE
32 | bus_LV_298-6_1_4_node_117 | 0.4 | n |  | TRUE
33 | bus_LV_298-6_1_4_node_118 | 0.4 | n |  | TRUE
34 | bus_LV_298-6_1_4_node_119 | 0.4 | n |  | TRUE
35 | bus_LV_298-6_1_4_node_120 | 0.4 | n |  | TRUE
36 | bus_LV_298-6_1_4_node_137 | 0.4 | n |  | TRUE
37 | bus_LV_298-6_1_4_node_149 | 0.4 | n |  | TRUE
38 | bus_LV_298-6_1_4_node_213 | 0.4 | n |  | TRUE
39 | bus_LV_298-6_1_4_node_138 | 0.4 | n |  | TRUE
40 | bus_LV_298-6_1_4_node_139 | 0.4 | n |  | TRUE
41 | bus_LV_298-6_1_4_node_140 | 0.4 | n |  | TRUE
42 | bus_LV_298-6_1_4_node_141 | 0.4 | n |  | TRUE
43 | bus_LV_298-6_1_4_node_143 | 0.4 | n |  | TRUE
44 | bus_LV_298-6_1_4_node_224 | 0.4 | n |  | TRUE
45 | bus_LV_298-6_1_4_node_147 | 0.4 | n |  | TRUE
46 | bus_LV_298-6_1_4_node_155 | 0.4 | n |  | TRUE
47 | bus_LV_298-6_1_4_node_160 | 0.4 | n |  | TRUE
48 | bus_LV_298-6_1_4_node_161 | 0.4 | n |  | TRUE
49 | bus_LV_298-6_1_4_node_162 | 0.4 | n |  | TRUE
50 | bus_LV_298-6_1_4_node_164 | 0.4 | n |  | TRUE
51 | bus_LV_298-6_1_4_node_165 | 0.4 | n |  | TRUE
52 | bus_LV_298-6_1_4_node_175 | 0.4 | n |  | TRUE
53 | bus_LV_298-6_1_4_node_190 | 0.4 | n |  | TRUE
54 | bus_LV_298-6_1_4_node_202 | 0.4 | n |  | TRUE
55 | bus_LV_298-6_1_4_node_167 | 0.4 | n |  | TRUE
56 | bus_LV_298-6_1_4_node_168 | 0.4 | n |  | TRUE
57 | bus_LV_298-6_1_4_node_169 | 0.4 | n |  | TRUE
58 | bus_LV_298-6_1_4_node_170 | 0.4 | n |  | TRUE
59 | bus_LV_298-6_1_4_node_171 | 0.4 | n |  | TRUE
60 | bus_LV_298-6_1_4_node_172 | 0.4 | n |  | TRUE
61 | bus_LV_298-6_1_4_node_191 | 0.4 | n |  | TRUE
62 | bus_LV_298-6_1_4_node_173 | 0.4 | n |  | TRUE
63 | bus_LV_298-6_1_4_node_174 | 0.4 | n |  | TRUE
64 | bus_LV_298-6_1_4_node_176 | 0.4 | n |  | TRUE
65 | bus_LV_298-6_1_4_node_208 | 0.4 | n |  | TRUE
66 | bus_LV_298-6_1_4_node_182 | 0.4 | n |  | TRUE
67 | bus_LV_298-6_1_4_node_177 | 0.4 | n |  | TRUE
68 | bus_LV_298-6_1_4_node_178 | 0.4 | n |  | TRUE
69 | bus_LV_298-6_1_4_node_181 | 0.4 | n |  | TRUE
70 | bus_LV_298-6_1_4_node_193 | 0.4 | n |  | TRUE
71 | bus_LV_298-6_1_4_node_192 | 0.4 | n |  | TRUE
72 | bus_LV_298-6_1_4_node_183 | 0.4 | n |  | TRUE
73 | bus_LV_298-6_1_4_node_185 | 0.4 | n |  | TRUE
74 | bus_LV_298-6_1_4_node_186 | 0.4 | n |  | TRUE
75 | bus_LV_298-6_1_4_node_187 | 0.4 | n |  | TRUE
76 | bus_LV_298-6_1_4_node_188 | 0.4 | n |  | TRUE
77 | bus_LV_298-6_1_4_node_189 | 0.4 | n |  | TRUE
78 | bus_LV_298-6_1_4_node_209 | 0.4 | n |  | TRUE
79 | bus_LV_298-6_1_4_node_194 | 0.4 | n |  | TRUE
80 | bus_LV_298-6_1_4_node_210 | 0.4 | n |  | TRUE
81 | bus_LV_298-6_1_4_node_195 | 0.4 | n |  | TRUE
82 | bus_LV_298-6_1_4_node_196 | 0.4 | n |  | TRUE
83 | bus_LV_298-6_1_4_node_197 | 0.4 | n |  | TRUE
84 | bus_LV_298-6_1_4_node_198 | 0.4 | n |  | TRUE
85 | bus_LV_298-6_1_4_node_199 | 0.4 | n |  | TRUE
86 | bus_LV_298-6_1_4_node_203 | 0.4 | n |  | TRUE
87 | bus_LV_298-6_1_4_node_200 | 0.4 | n |  | TRUE
88 | bus_LV_298-6_1_4_node_211 | 0.4 | n |  | TRUE
89 | bus_LV_298-6_1_4_node_201 | 0.4 | n |  | TRUE
90 | bus_LV_298-6_1_4_node_215 | 0.4 | n |  | TRUE
91 | bus_LV_298-6_1_4_node_217 | 0.4 | n |  | TRUE
92 | bus_LV_298-6_1_4_node_205 | 0.4 | n |  | TRUE
93 | bus_LV_298-6_1_4_node_206 | 0.4 | n |  | TRUE
94 | bus_LV_298-6_1_4_node_207 | 0.4 | n |  | TRUE
95 | bus_LV_298-6_1_4_node_212 | 0.4 | n |  | TRUE
96 | bus_LV_298-6_1_4_node_214 | 0.4 | n |  | TRUE
97 | bus_LV_298-6_1_4_node_216 | 0.4 | n |  | TRUE
98 | bus_MV_369_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_298-6_1_4_load_163 | 1 | 0.0025897 | 0.00064905 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_298-6_1_4_load_204 | 3 | 0.0010592 | 0.00026547 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_298-6_1_4_load_180 | 4 | 0.0023945 | 0.00060011 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_298-6_1_4_load_146 | 7 | 0.00093942 | 0.00023544 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_298-6_1_4_load_153 | 10 | 0.011836 | 0.0029664 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_298-6_1_4_load_150 | 12 | 0.002648 | 0.00066364 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_298-6_1_4_load_128 | 13 | 0.0019282 | 0.00048325 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_298-6_1_4_load_121 | 17 | 0.017248 | 0.0043227 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_298-6_1_4_load_166 | 19 | 0.00091252 | 0.0002287 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_298-6_1_4_load_158 | 20 | 0.030141 | 0.0075541 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_298-6_1_4_load_108 | 21 | 0.0019281 | 0.00048323 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_298-6_1_4_load_109 | 22 | 0.0028646 | 0.00071794 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_298-6_1_4_load_112 | 25 | 0.001047 | 0.00026241 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_298-6_1_4_load_113 | 26 | 0.0022319 | 0.00055936 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_298-6_1_4_load_142 | 27 | 0.0025858 | 0.00064807 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_298-6_1_4_load_184 | 28 | 0.0012949 | 0.00032453 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_298-6_1_4_load_114 | 30 | 0.0058012 | 0.0014539 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_298-6_1_4_load_118 | 33 | 0.00408 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_298-6_1_4_load_119 | 34 | 0.00068513 | 0.00017171 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_298-6_1_4_load_120 | 35 | 0.0037748 | 0.00094606 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_298-6_1_4_load_137 | 36 | 0.0017621 | 0.00044161 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_298-6_1_4_load_149 | 37 | 0.00095884 | 0.00024031 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_298-6_1_4_load_213 | 38 | 0.0042983 | 0.0010773 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_298-6_1_4_load_138 | 39 | 0.037778 | 0.0094681 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_298-6_1_4_load_139 | 40 | 0.025601 | 0.0064161 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_298-6_1_4_load_140 | 41 | 0.0036621 | 0.00091781 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_298-6_1_4_load_141 | 42 | 0.018789 | 0.0047089 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_298-6_1_4_load_143 | 43 | 0.005734 | 0.0014371 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_298-6_1_4_load_147 | 45 | 0.0019792 | 0.00049602 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_298-6_1_4_load_155 | 46 | 0.026419 | 0.0066212 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_298-6_1_4_load_160 | 47 | 0.0033633 | 0.00084292 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_298-6_1_4_load_161 | 48 | 0.0011663 | 0.00029231 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_298-6_1_4_load_164 | 50 | 0.001531 | 0.0003837 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_298-6_1_4_load_165 | 51 | 0.0017029 | 0.00042679 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_298-6_1_4_load_175 | 52 | 0.0033619 | 0.00084257 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_298-6_1_4_load_190 | 53 | 0.0015234 | 0.0003818 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_298-6_1_4_load_202 | 54 | 0.00086045 | 0.00021565 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_298-6_1_4_load_167 | 55 | 0.0044418 | 0.0011132 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_298-6_1_4_load_168 | 56 | 0.0024539 | 0.000615 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_298-6_1_4_load_169 | 57 | 0.0017261 | 0.0004326 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_298-6_1_4_load_170 | 58 | 0.0032285 | 0.00080913 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_298-6_1_4_load_171 | 59 | 0.0041468 | 0.0010393 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_298-6_1_4_load_191 | 61 | 0.0013065 | 0.00032744 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_298-6_1_4_load_174 | 63 | 0.0044382 | 0.0011123 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_298-6_1_4_load_176 | 64 | 0.0016276 | 0.00040791 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_298-6_1_4_load_208 | 65 | 0.0027472 | 0.0006885 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_298-6_1_4_load_182 | 66 | 0.0013624 | 0.00034145 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_298-6_1_4_load_177 | 67 | 0.0054002 | 0.0013534 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_298-6_1_4_load_178 | 68 | 0.0043723 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_298-6_1_4_load_192 | 71 | 0.00070932 | 0.00017777 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_298-6_1_4_load_183 | 72 | 0.0014776 | 0.00037032 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_298-6_1_4_load_185 | 73 | 0.0016145 | 0.00040462 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_298-6_1_4_load_186 | 74 | 0.0013827 | 0.00034654 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_298-6_1_4_load_187 | 75 | 0.0016625 | 0.00041666 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_298-6_1_4_load_188 | 76 | 0.0016374 | 0.00041037 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_298-6_1_4_load_189 | 77 | 0.0013743 | 0.00034442 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_298-6_1_4_load_209 | 78 | 0.001342 | 0.00033633 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_298-6_1_4_load_210 | 80 | 0.0016492 | 0.00041332 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_298-6_1_4_load_195 | 81 | 0.0057632 | 0.0014444 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_298-6_1_4_load_196 | 82 | 0.001244 | 0.00031177 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_298-6_1_4_load_197 | 83 | 0.0047075 | 0.0011798 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_298-6_1_4_load_198 | 84 | 0.0021607 | 0.00054153 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_298-6_1_4_load_199 | 85 | 0.0013935 | 0.00034925 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_298-6_1_4_load_203 | 86 | 0.0025821 | 0.00064714 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_298-6_1_4_load_200 | 87 | 0.0013328 | 0.00033404 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_298-6_1_4_load_211 | 88 | 0.00069418 | 0.00017398 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_298-6_1_4_load_201 | 89 | 0.0016174 | 0.00040537 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_298-6_1_4_load_217 | 91 | 0.0021133 | 0.00052963 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_298-6_1_4_load_206 | 93 | 0.0017659 | 0.00044257 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_298-6_1_4_load_207 | 94 | 0.0060017 | 0.0015042 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_298-6_1_4_load_212 | 95 | 0.0063279 | 0.0015859 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_298-6_1_4_load_214 | 96 | 0.0025538 | 0.00064004 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_298-6_1_4_load_216 | 97 | 0.00058873 | 0.00014755 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_298-6_1_4_line_0 |  | 0 | 1 | 0.018803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_298-6_1_4_line_1 |  | 0 | 2 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_298-6_1_4_line_2 |  | 0 | 3 | 0.028699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_298-6_1_4_line_3 |  | 1 | 48 | 0.015136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_298-6_1_4_line_4 |  | 2 | 4 | 0.020327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_298-6_1_4_line_5 |  | 3 | 92 | 0.0001419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_298-6_1_4_line_6 |  | 4 | 68 | 0.00096478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_298-6_1_4_line_7 |  | 5 | 6 | 0.079028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_298-6_1_4_line_8 |  | 5 | 7 | 0.019208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_298-6_1_4_line_9 |  | 6 | 14 | 0.02756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_298-6_1_4_line_10 |  | 7 | 45 | 0.0060348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_298-6_1_4_line_11 |  | 8 | 9 | 0.074045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_298-6_1_4_line_12 |  | 8 | 10 | 0.05624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_298-6_1_4_line_13 |  | 9 | 13 | 0.027991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_298-6_1_4_line_14 |  | 9 | 11 | 0.025147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_298-6_1_4_line_15 |  | 11 | 12 | 0.0036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_298-6_1_4_line_16 |  | 12 | 37 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_298-6_1_4_line_17 |  | 14 | 46 | 0.028425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_298-6_1_4_line_18 |  | 14 | 42 | 0.017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_298-6_1_4_line_19 |  | 15 | 16 | 0.005265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_298-6_1_4_line_20 |  | 15 | 17 | 0.022196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_298-6_1_4_line_21 |  | 16 | 38 | 0.01314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_298-6_1_4_line_22 |  | 16 | 32 | 0.026374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_298-6_1_4_line_23 |  | 18 | 19 | 0.0092763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_298-6_1_4_line_24 |  | 18 | 20 | 0.0034613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_298-6_1_4_line_25 |  | 19 | 54 | 0.014292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_298-6_1_4_line_26 |  | 20 | 46 | 0.014178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_298-6_1_4_line_27 |  | 21 | 22 | 0.0067082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_298-6_1_4_line_28 |  | 21 | 23 | 0.016136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_298-6_1_4_line_29 |  | 22 | 24 | 0.011716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_298-6_1_4_line_30 |  | 23 | 25 | 0.0091615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_298-6_1_4_line_31 |  | 23 | 26 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_298-6_1_4_line_32 |  | 24 | 27 | 0.013312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_298-6_1_4_line_33 |  | 25 | 28 | 0.0059629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_298-6_1_4_line_34 |  | 26 | 29 | 0.019125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_298-6_1_4_line_35 |  | 27 | 32 | 0.0062499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_298-6_1_4_line_36 |  | 28 | 72 | 0.0070589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_298-6_1_4_line_37 |  | 29 | 35 | 0.028155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_298-6_1_4_line_38 |  | 30 | 31 | 0.018148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_298-6_1_4_line_39 |  | 31 | 32 | 0.029095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_298-6_1_4_line_40 |  | 31 | 33 | 0.022975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_298-6_1_4_line_41 |  | 31 | 34 | 0.039755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_298-6_1_4_line_42 |  | 33 | 36 | 0.018262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_298-6_1_4_line_43 |  | 34 | 37 | 0.0049369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_298-6_1_4_line_44 |  | 39 | 40 | 0.00038402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_298-6_1_4_line_45 |  | 39 | 41 | 0.022253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_298-6_1_4_line_46 |  | 40 | 42 | 0.0022024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_298-6_1_4_line_47 |  | 43 | 44 | 0.012439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_298-6_1_4_line_48 |  | 44 | 77 | 0.010131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_298-6_1_4_line_49 |  | 47 | 48 | 0.005995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_298-6_1_4_line_50 |  | 47 | 49 | 0.010869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_298-6_1_4_line_51 |  | 49 | 50 | 0.001375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_298-6_1_4_line_52 |  | 49 | 51 | 0.013484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_298-6_1_4_line_53 |  | 50 | 52 | 0.0080638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_298-6_1_4_line_54 |  | 51 | 53 | 0.0050178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_298-6_1_4_line_55 |  | 52 | 62 | 0.015123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_298-6_1_4_line_56 |  | 53 | 76 | 0.0014135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_298-6_1_4_line_57 |  | 54 | 89 | 0.011948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_298-6_1_4_line_58 |  | 55 | 56 | 0.001562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_298-6_1_4_line_59 |  | 55 | 57 | 0.0072466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_298-6_1_4_line_60 |  | 56 | 58 | 0.021764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_298-6_1_4_line_61 |  | 57 | 59 | 0.010005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_298-6_1_4_line_62 |  | 58 | 60 | 0.022035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_298-6_1_4_line_63 |  | 59 | 61 | 0.021075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_298-6_1_4_line_64 |  | 60 | 62 | 0.026749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_298-6_1_4_line_65 |  | 60 | 63 | 0.015068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_298-6_1_4_line_66 |  | 61 | 71 | 0.0065826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_298-6_1_4_line_67 |  | 62 | 64 | 0.013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_298-6_1_4_line_68 |  | 63 | 65 | 0.0054468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_298-6_1_4_line_69 |  | 64 | 66 | 0.0065561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_298-6_1_4_line_70 |  | 66 | 72 | 0.015373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_298-6_1_4_line_71 |  | 67 | 68 | 0.027659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_298-6_1_4_line_72 |  | 69 | 70 | 0.0488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_298-6_1_4_line_73 |  | 69 | 71 | 0.037224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_298-6_1_4_line_74 |  | 70 | 78 | 0.023798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_298-6_1_4_line_75 |  | 73 | 74 | 0.0063214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_298-6_1_4_line_76 |  | 73 | 75 | 0.006911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_298-6_1_4_line_77 |  | 74 | 76 | 0.015189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_298-6_1_4_line_78 |  | 75 | 77 | 0.0064013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_298-6_1_4_line_79 |  | 78 | 79 | 0.017757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_298-6_1_4_line_80 |  | 79 | 80 | 0.022867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_298-6_1_4_line_81 |  | 80 | 88 | 0.0083314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_298-6_1_4_line_82 |  | 81 | 82 | 0.0053515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_298-6_1_4_line_83 |  | 81 | 83 | 0.026442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_298-6_1_4_line_84 |  | 82 | 84 | 0.016683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_298-6_1_4_line_85 |  | 83 | 85 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_298-6_1_4_line_86 |  | 84 | 86 | 0.010628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_298-6_1_4_line_87 |  | 84 | 87 | 0.0099192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_298-6_1_4_line_88 |  | 85 | 88 | 0.0083748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_298-6_1_4_line_89 |  | 86 | 90 | 0.016271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_298-6_1_4_line_90 |  | 86 | 91 | 0.017921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_298-6_1_4_line_91 |  | 87 | 89 | 0.010419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_298-6_1_4_line_92 |  | 88 | 95 | 0.0093804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_298-6_1_4_line_93 |  | 90 | 97 | 0.029355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_298-6_1_4_line_94 |  | 90 | 96 | 0.016011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_298-6_1_4_line_95 |  | 92 | 93 | 0.015768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_298-6_1_4_line_96 |  | 92 | 94 | 0.031813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_298-6_1_4_trafo_120 | 0.63 MVA 20/0.4 kV | 98 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2701943.8509 | 1264463.3249 | 2701940.4732 | 1264444.8278
1 | 2701943.8509 | 1264463.3249 | 2701945.8332 | 1264474.1681 | 2701947.3269 | 1264482.334
2 | 2701943.8509 | 1264463.3249 | 2701931.9764 | 1264462.6307 | 2701925.9385 | 1264460.258 | 2701917.7393 | 1264453.9955
3 | 2701937.7543 | 1264429.9381 | 2701940.4732 | 1264444.8278
4 | 2701947.3269 | 1264482.334 | 2701967.1974 | 1264478.0528
5 | 2701917.7393 | 1264453.9955 | 2701917.6265 | 1264453.9094
6 | 2701967.1974 | 1264478.0528 | 2701968.1406 | 1264477.8496
7 | 2701771.2954 | 1264293.544 | 2701771.9367 | 1264289.1069 | 2701770.7847 | 1264283.3934 | 2701777.254 | 1264259.8629 | 2701781.8887 | 1264261.9333 | 2701794.9715 | 1264268.5974 | 2701803.1699 | 1264271.9413 | 2701812.9977 | 1264274.7128 | 2701818.372 | 1264275.8285
8 | 2701771.2954 | 1264293.544 | 2701769.6874 | 1264304.6812 | 2701777.3069 | 1264306.9688
9 | 2701818.372 | 1264275.8285 | 2701823.7694 | 1264276.0439 | 2701830.8836 | 1264275.4214 | 2701845.9203 | 1264274.0459
10 | 2701783.0867 | 1264308.7041 | 2701777.3069 | 1264306.9688
11 | 2701680.19 | 1264393.9717 | 2701688.3451 | 1264392.8221 | 2701705.633 | 1264390.1728 | 2701705.1769 | 1264386.0392 | 2701714.0666 | 1264385.1025 | 2701740.1627 | 1264381.4372 | 2701739.9463 | 1264372.5706
12 | 2701680.19 | 1264393.9717 | 2701689.1172 | 1264449.499
13 | 2701739.9463 | 1264372.5706 | 2701739.3245 | 1264348.7511 | 2701738.7041 | 1264344.6338
14 | 2701756.337 | 1264379.6029 | 2701740.1627 | 1264381.4372 | 2701739.9463 | 1264372.5706
15 | 2701756.337 | 1264379.6029 | 2701759.904 | 1264379.1166
16 | 2701774.6819 | 1264377.1017 | 2701759.904 | 1264379.1166
17 | 2701845.9203 | 1264274.0459 | 2701874.2346 | 1264271.5353
18 | 2701845.9203 | 1264274.0459 | 2701847.0507 | 1264291.0665
19 | 2701822.6989 | 1264427.7633 | 2701817.4185 | 1264427.7612
20 | 2701817.4185 | 1264427.7612 | 2701815.5753 | 1264425.005 | 2701814.7579 | 1264420.4204 | 2701814.6619 | 1264406.1973
21 | 2701822.6989 | 1264427.7633 | 2701824.3808 | 1264439.8801 | 2701824.5989 | 1264440.7601
22 | 2701822.6989 | 1264427.7633 | 2701821.955 | 1264412.3598 | 2701823.7006 | 1264401.5475
23 | 2701891.8053 | 1264269.9774 | 2701901.0777 | 1264269.708
24 | 2701891.8053 | 1264269.9774 | 2701888.3575 | 1264270.2831
25 | 2701915.3377 | 1264269.9698 | 2701910.3003 | 1264269.4401 | 2701901.0777 | 1264269.708
26 | 2701874.2346 | 1264271.5353 | 2701888.3575 | 1264270.2831
27 | 2701857.8214 | 1264402.9296 | 2701851.267 | 1264404.3579 | 2701851.267 | 1264404.3579
28 | 2701873.5874 | 1264399.4939 | 2701857.8214 | 1264402.9296
29 | 2701841.1834 | 1264410.3226 | 2701851.267 | 1264404.3579
30 | 2701873.5874 | 1264399.4939 | 2701879.4815 | 1264398.4168 | 2701882.6003 | 1264397.8504
31 | 2701873.5874 | 1264399.4939 | 2701871.377 | 1264388.0466
32 | 2701841.1834 | 1264410.3226 | 2701829.2863 | 1264404.3511
33 | 2701888.4672 | 1264396.7849 | 2701882.6003 | 1264397.8504
34 | 2701867.7509 | 1264369.2681 | 2701871.377 | 1264388.0466
35 | 2701823.7006 | 1264401.5475 | 2701829.2863 | 1264404.3511
36 | 2701895.4124 | 1264395.5235 | 2701888.4672 | 1264396.7849
37 | 2701867.7509 | 1264369.2681 | 2701895.7343 | 1264366.1679
38 | 2701819.1413 | 1264372.8117 | 2701837.2631 | 1264371.829
39 | 2701819.1413 | 1264372.8117 | 2701823.7006 | 1264401.5475
40 | 2701819.1413 | 1264372.8117 | 2701815.9822 | 1264350.0551
41 | 2701819.1413 | 1264372.8117 | 2701793.4852 | 1264374.5381 | 2701779.5735 | 1264376.4348
42 | 2701815.9822 | 1264350.0551 | 2701813.471 | 1264331.9662
43 | 2701779.5735 | 1264376.4348 | 2701774.6819 | 1264377.1017
44 | 2701847.1966 | 1264293.2641 | 2701847.2221 | 1264293.6472
45 | 2701850.3257 | 1264315.6343 | 2701847.8759 | 1264303.493 | 2701847.2221 | 1264293.6472
46 | 2701847.0507 | 1264291.0665 | 2701847.1966 | 1264293.2641
47 | 2701870.8555 | 1264424.6901 | 2701859.6118 | 1264419.3705
48 | 2701870.8555 | 1264424.6901 | 2701880.8306 | 1264422.9187
49 | 2701937.7543 | 1264429.9381 | 2701936.6774 | 1264424.0406
50 | 2701934.7249 | 1264413.348 | 2701936.6774 | 1264424.0406
51 | 2701934.7249 | 1264413.348 | 2701934.4779 | 1264411.9953
52 | 2701934.7249 | 1264413.348 | 2701921.4489 | 1264415.7056
53 | 2701933.0296 | 1264404.0626 | 2701934.4779 | 1264411.9953
54 | 2701921.4489 | 1264415.7056 | 2701916.5084 | 1264416.5829
55 | 2701930.3133 | 1264389.1851 | 2701933.0296 | 1264404.0626
56 | 2701915.1166 | 1264416.8301 | 2701916.5084 | 1264416.5829
57 | 2701915.3377 | 1264269.9698 | 2701923.3311 | 1264270.8103 | 2701927.1436 | 1264271.68
58 | 2701970.5314 | 1264357.3403 | 2701968.9811 | 1264357.5307
59 | 2701977.724 | 1264356.4571 | 2701970.5314 | 1264357.3403
60 | 2701947.3796 | 1264360.1834 | 2701968.9811 | 1264357.5307
61 | 2701987.6727 | 1264355.477 | 2701984.9785 | 1264355.5662 | 2701977.724 | 1264356.4571
62 | 2701925.5094 | 1264362.8692 | 2701947.3796 | 1264360.1834
63 | 2701987.6727 | 1264355.477 | 2702008.736 | 1264354.7794
64 | 2701925.5094 | 1264362.8692 | 2701930.3133 | 1264389.1851
65 | 2701925.5094 | 1264362.8692 | 2701925.516 | 1264358.1209 | 2701926.947 | 1264347.9006
66 | 2702008.736 | 1264354.7794 | 2702015.315 | 1264354.5616
67 | 2701930.3133 | 1264389.1851 | 2701916.9885 | 1264391.605
68 | 2701927.7023 | 1264342.5064 | 2701926.947 | 1264347.9006
69 | 2701916.9885 | 1264391.605 | 2701910.538 | 1264392.7765
70 | 2701895.4124 | 1264395.5235 | 2701910.538 | 1264392.7765
71 | 2701968.1406 | 1264477.8496 | 2701979.1046 | 1264475.4874 | 2701994.1323 | 1264468.8114
72 | 2702052.5183 | 1264353.3295 | 2702063.1425 | 1264353.1572 | 2702068.5184 | 1264315.3629
73 | 2702052.5183 | 1264353.3295 | 2702015.315 | 1264354.5616
74 | 2702068.5184 | 1264315.3629 | 2702059.7661 | 1264310.0852 | 2702053.8286 | 1264305.3787 | 2702049.8154 | 1264300.9169
75 | 2701900.1619 | 1264419.4858 | 2701893.9378 | 1264420.5911
76 | 2701887.1333 | 1264421.7995 | 2701893.9378 | 1264420.5911
77 | 2701900.1619 | 1264419.4858 | 2701915.1166 | 1264416.8301
78 | 2701887.1333 | 1264421.7995 | 2701880.8306 | 1264422.9187
79 | 2702045.0706 | 1264283.8541 | 2702047.2804 | 1264294.1675 | 2702049.8154 | 1264300.9169
80 | 2702045.0706 | 1264283.8541 | 2702022.5323 | 1264287.7196
81 | 2702014.3208 | 1264289.1279 | 2702022.5323 | 1264287.7196
82 | 2701968.0533 | 1264282.6911 | 2701962.8829 | 1264281.3109
83 | 2701993.754 | 1264288.7976 | 2701987.9315 | 1264287.9161 | 2701973.3984 | 1264284.1179 | 2701968.0533 | 1264282.6911
84 | 2701946.7644 | 1264277.0083 | 2701962.8829 | 1264281.3109
85 | 2701993.754 | 1264288.7976 | 2701995.1442 | 1264289.0081 | 2702002.794 | 1264289.6517 | 2702005.9546 | 1264289.5081
86 | 2701949.945 | 1264266.8657 | 2701946.7644 | 1264277.0083
87 | 2701946.7644 | 1264277.0083 | 2701937.2364 | 1264274.2501
88 | 2702014.3208 | 1264289.1279 | 2702005.9546 | 1264289.5081
89 | 2701965.3156 | 1264272.3353 | 2701949.945 | 1264266.8657
90 | 2701949.945 | 1264266.8657 | 2701935.848 | 1264263.1085 | 2701932.5576 | 1264262.5864
91 | 2701937.2364 | 1264274.2501 | 2701932.8754 | 1264272.9877 | 2701927.1436 | 1264271.68
92 | 2702014.3208 | 1264289.1279 | 2702012.7317 | 1264284.3076 | 2702011.1524 | 1264281.9784 | 2702009.8209 | 1264281.3079
93 | 2701965.3156 | 1264272.3353 | 2701970.9574 | 1264256.208 | 2701975.4062 | 1264248.9676 | 2701978.441 | 1264246.7289
94 | 2701965.3156 | 1264272.3353 | 2701973.5191 | 1264274.9456 | 2701980.7143 | 1264276.6862
95 | 2701917.6265 | 1264453.9094 | 2701905.0964 | 1264444.3375
96 | 2701917.6265 | 1264453.9094 | 2701910.4968 | 1264462.427 | 2701890.9696 | 1264469.3128

## bus_geodata
| x | y | coords
0 | 2701943.8509 | 1264463.3249
1 | 2701940.4732 | 1264444.8278
2 | 2701947.3269 | 1264482.334
3 | 2701917.7393 | 1264453.9955
4 | 2701967.1974 | 1264478.0528
5 | 2701771.2954 | 1264293.544
6 | 2701818.372 | 1264275.8285
7 | 2701777.3069 | 1264306.9688
8 | 2701680.19 | 1264393.9717
9 | 2701739.9463 | 1264372.5706
10 | 2701689.1172 | 1264449.499
11 | 2701756.337 | 1264379.6029
12 | 2701759.904 | 1264379.1166
13 | 2701738.7041 | 1264344.6338
14 | 2701845.9203 | 1264274.0459
15 | 2701817.4185 | 1264427.7612
16 | 2701822.6989 | 1264427.7633
17 | 2701814.6619 | 1264406.1973
18 | 2701891.8053 | 1264269.9774
19 | 2701901.0777 | 1264269.708
20 | 2701888.3575 | 1264270.2831
21 | 2701857.8214 | 1264402.9296
22 | 2701851.267 | 1264404.3579
23 | 2701873.5874 | 1264399.4939
24 | 2701841.1834 | 1264410.3226
25 | 2701882.6003 | 1264397.8504
26 | 2701871.377 | 1264388.0466
27 | 2701829.2863 | 1264404.3511
28 | 2701888.4672 | 1264396.7849
29 | 2701867.7509 | 1264369.2681
30 | 2701837.2631 | 1264371.829
31 | 2701819.1413 | 1264372.8117
32 | 2701823.7006 | 1264401.5475
33 | 2701815.9822 | 1264350.0551
34 | 2701779.5735 | 1264376.4348
35 | 2701895.7343 | 1264366.1679
36 | 2701813.471 | 1264331.9662
37 | 2701774.6819 | 1264377.1017
38 | 2701824.5989 | 1264440.7601
39 | 2701847.2221 | 1264293.6472
40 | 2701847.1966 | 1264293.2641
41 | 2701850.3257 | 1264315.6343
42 | 2701847.0507 | 1264291.0665
43 | 2701859.6118 | 1264419.3704
44 | 2701870.8555 | 1264424.6901
45 | 2701783.0867 | 1264308.7041
46 | 2701874.2346 | 1264271.5353
47 | 2701936.6774 | 1264424.0406
48 | 2701937.7543 | 1264429.9381
49 | 2701934.7249 | 1264413.348
50 | 2701934.4779 | 1264411.9953
51 | 2701921.4489 | 1264415.7056
52 | 2701933.0296 | 1264404.0626
53 | 2701916.5084 | 1264416.5829
54 | 2701915.3377 | 1264269.9698
55 | 2701970.5314 | 1264357.3403
56 | 2701968.9811 | 1264357.5307
57 | 2701977.724 | 1264356.4571
58 | 2701947.3796 | 1264360.1834
59 | 2701987.6727 | 1264355.477
60 | 2701925.5094 | 1264362.8692
61 | 2702008.736 | 1264354.7794
62 | 2701930.3133 | 1264389.1851
63 | 2701926.947 | 1264347.9006
64 | 2701916.9885 | 1264391.605
65 | 2701927.7023 | 1264342.5064
66 | 2701910.538 | 1264392.7765
67 | 2701994.1323 | 1264468.8114
68 | 2701968.1406 | 1264477.8496
69 | 2702052.5183 | 1264353.3295
70 | 2702068.5184 | 1264315.3629
71 | 2702015.315 | 1264354.5616
72 | 2701895.4124 | 1264395.5235
73 | 2701893.9378 | 1264420.5911
74 | 2701900.1619 | 1264419.4858
75 | 2701887.1333 | 1264421.7995
76 | 2701915.1166 | 1264416.8301
77 | 2701880.8306 | 1264422.9187
78 | 2702049.8154 | 1264300.9169
79 | 2702045.0706 | 1264283.8541
80 | 2702022.5323 | 1264287.7196
81 | 2701968.0533 | 1264282.6911
82 | 2701962.8829 | 1264281.3109
83 | 2701993.754 | 1264288.7976
84 | 2701946.7644 | 1264277.0083
85 | 2702005.9546 | 1264289.5081
86 | 2701949.945 | 1264266.8657
87 | 2701937.2364 | 1264274.2501
88 | 2702014.3208 | 1264289.1279
89 | 2701927.1436 | 1264271.68
90 | 2701965.3156 | 1264272.3353
91 | 2701932.5576 | 1264262.5864
92 | 2701917.6265 | 1264453.9094
93 | 2701905.0964 | 1264444.3375
94 | 2701890.9696 | 1264469.3128
95 | 2702009.8209 | 1264281.3079
96 | 2701980.7143 | 1264276.6862
97 | 2701978.441 | 1264246.7289
98 | 2701867.7509 | 1264369.2681

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1