## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_298-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_298-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_298-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_298-9_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_298-9_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_298-9_0_5_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_298-9_0_5_node_76 | 0.4 | n |  | TRUE
7 | bus_LV_298-9_0_5_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_298-9_0_5_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_298-9_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_298-9_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_298-9_0_5_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_298-9_0_5_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_298-9_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_298-9_0_5_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_298-9_0_5_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_298-9_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_298-9_0_5_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_298-9_0_5_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_298-9_0_5_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_298-9_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_298-9_0_5_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_298-9_0_5_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_298-9_0_5_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_298-9_0_5_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_298-9_0_5_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_298-9_0_5_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_298-9_0_5_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_298-9_0_5_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_298-9_0_5_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_298-9_0_5_node_10 | 0.4 | n |  | TRUE
31 | bus_LV_298-9_0_5_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_298-9_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_298-9_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_298-9_0_5_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_298-9_0_5_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_298-9_0_5_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_298-9_0_5_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_298-9_0_5_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_298-9_0_5_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_298-9_0_5_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_298-9_0_5_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_298-9_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_298-9_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_298-9_0_5_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_298-9_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_298-9_0_5_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_298-9_0_5_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_298-9_0_5_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_298-9_0_5_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_298-9_0_5_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_298-9_0_5_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_298-9_0_5_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_298-9_0_5_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_298-9_0_5_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_298-9_0_5_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_298-9_0_5_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_298-9_0_5_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_298-9_0_5_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_298-9_0_5_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_298-9_0_5_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_298-9_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_298-9_0_5_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_298-9_0_5_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_298-9_0_5_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_298-9_0_5_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_298-9_0_5_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_298-9_0_5_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_298-9_0_5_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_298-9_0_5_node_91 | 0.4 | n |  | TRUE
70 | bus_LV_298-9_0_5_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_298-9_0_5_node_40 | 0.4 | n |  | TRUE
72 | bus_LV_298-9_0_5_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_298-9_0_5_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_298-9_0_5_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_298-9_0_5_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_298-9_0_5_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_298-9_0_5_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_298-9_0_5_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_298-9_0_5_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_298-9_0_5_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_298-9_0_5_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_298-9_0_5_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_298-9_0_5_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_298-9_0_5_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_298-9_0_5_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_298-9_0_5_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_298-9_0_5_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_298-9_0_5_node_88 | 0.4 | n |  | TRUE
89 | bus_MV_369_0_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_298-9_0_5_load_0 | 0 | 0.010926 | 0.0027384 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_298-9_0_5_load_1 | 1 | 0.0024779 | 0.00062103 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_298-9_0_5_load_21 | 5 | 0.0060316 | 0.0015117 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_298-9_0_5_load_76 | 6 | 0.0029136 | 0.00073021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_298-9_0_5_load_45 | 8 | 0.0068286 | 0.0017114 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_298-9_0_5_load_13 | 9 | 0.0069463 | 0.0017409 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_298-9_0_5_load_15 | 13 | 0.0043839 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_298-9_0_5_load_49 | 14 | 0.021644 | 0.0054245 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_298-9_0_5_load_41 | 15 | 0.01683 | 0.0042181 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_298-9_0_5_load_14 | 16 | 0.009594 | 0.0024045 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_298-9_0_5_load_75 | 17 | 0.0019189 | 0.00048093 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_298-9_0_5_load_30 | 18 | 0.0041302 | 0.0010351 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_298-9_0_5_load_44 | 19 | 0.0035281 | 0.00088422 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_298-9_0_5_load_16 | 20 | 0.035369 | 0.0088643 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_298-9_0_5_load_43 | 21 | 0.006748 | 0.0016912 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_298-9_0_5_load_70 | 24 | 0.0015326 | 0.00038411 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_298-9_0_5_load_83 | 25 | 0.0014108 | 0.00035358 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_298-9_0_5_load_84 | 26 | 0.0017886 | 0.00044825 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_298-9_0_5_load_61 | 28 | 0.0021375 | 0.00053572 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_298-9_0_5_load_60 | 29 | 0.0011197 | 0.00028061 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_298-9_0_5_load_10 | 30 | 0.0013493 | 0.00033817 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_298-9_0_5_load_11 | 31 | 0.00084993 | 0.00021301 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_298-9_0_5_load_77 | 34 | 0.02188 | 0.0054836 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_298-9_0_5_load_73 | 35 | 0.02113 | 0.0052957 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_298-9_0_5_load_39 | 37 | 0.061933 | 0.015522 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_298-9_0_5_load_42 | 38 | 0.018485 | 0.0046327 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_298-9_0_5_load_72 | 39 | 0.018011 | 0.0045141 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_298-9_0_5_load_22 | 40 | 0.0034007 | 0.00085229 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_298-9_0_5_load_23 | 41 | 0.0019942 | 0.0004998 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_298-9_0_5_load_25 | 43 | 0.027476 | 0.0068862 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_298-9_0_5_load_71 | 44 | 0.0089454 | 0.0022419 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_298-9_0_5_load_82 | 46 | 0.0015962 | 0.00040004 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_298-9_0_5_load_78 | 47 | 0.00067886 | 0.00017014 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_298-9_0_5_load_58 | 51 | 0.0019765 | 0.00049536 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_298-9_0_5_load_51 | 52 | 0.0042738 | 0.0010711 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_298-9_0_5_load_94 | 53 | 0.00091181 | 0.00022852 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_298-9_0_5_load_96 | 55 | 0.0016594 | 0.00041589 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_298-9_0_5_load_89 | 56 | 0.0055432 | 0.0013892 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_298-9_0_5_load_56 | 57 | 0.0012491 | 0.00031305 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_298-9_0_5_load_81 | 58 | 0.00079617 | 0.00019954 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_298-9_0_5_load_31 | 59 | 0.010817 | 0.002711 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_298-9_0_5_load_33 | 60 | 0.0089986 | 0.0022553 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_298-9_0_5_load_47 | 61 | 0.091192 | 0.022855 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_298-9_0_5_load_46 | 62 | 0.028548 | 0.0071548 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_298-9_0_5_load_34 | 63 | 0.00086095 | 0.00021577 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_298-9_0_5_load_35 | 64 | 0.00086232 | 0.00021612 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_298-9_0_5_load_36 | 65 | 0.00080301 | 0.00020125 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_298-9_0_5_load_37 | 66 | 0.01276 | 0.003198 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_298-9_0_5_load_38 | 67 | 0.00082797 | 0.00020751 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_298-9_0_5_load_50 | 68 | 0.010978 | 0.0027513 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_298-9_0_5_load_91 | 69 | 0.00071987 | 0.00018042 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_298-9_0_5_load_80 | 70 | 0.00071062 | 0.0001781 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_298-9_0_5_load_40 | 71 | 0.016247 | 0.0040719 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_298-9_0_5_load_68 | 72 | 0.0013444 | 0.00033693 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_298-9_0_5_load_69 | 73 | 0.0028227 | 0.00070744 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_298-9_0_5_load_57 | 74 | 0.0012435 | 0.00031165 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_298-9_0_5_load_63 | 76 | 0.0026517 | 0.00066457 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_298-9_0_5_load_64 | 77 | 0.0047725 | 0.0011961 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_298-9_0_5_load_74 | 79 | 0.0038828 | 0.00097311 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_298-9_0_5_load_66 | 80 | 0.0023002 | 0.00057648 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_298-9_0_5_load_67 | 81 | 0.0059603 | 0.0014938 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_298-9_0_5_load_92 | 82 | 0.0031478 | 0.00078892 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_298-9_0_5_load_93 | 83 | 0.0030922 | 0.00077497 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_298-9_0_5_load_95 | 84 | 0.025988 | 0.0065131 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_298-9_0_5_load_85 | 85 | 0.0067553 | 0.001693 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_298-9_0_5_load_86 | 86 | 0.0023937 | 0.00059993 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_298-9_0_5_load_87 | 87 | 0.0018371 | 0.00046042 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_298-9_0_5_load_88 | 88 | 0.0022955 | 0.00057532 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_298-9_0_5_line_0 |  | 0 | 1 | 0.016154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_298-9_0_5_line_1 |  | 0 | 2 | 0.02521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_298-9_0_5_line_2 |  | 2 | 3 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_298-9_0_5_line_3 |  | 2 | 4 | 0.038873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_298-9_0_5_line_4 |  | 3 | 5 | 0.012624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_298-9_0_5_line_5 |  | 4 | 6 | 0.034806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_298-9_0_5_line_6 |  | 4 | 7 | 0.033081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_298-9_0_5_line_7 |  | 4 | 8 | 0.011584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_298-9_0_5_line_8 |  | 5 | 16 | 0.0063286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_298-9_0_5_line_9 |  | 6 | 17 | 0.0057479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_298-9_0_5_line_10 |  | 7 | 18 | 0.012804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_298-9_0_5_line_11 |  | 8 | 19 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_298-9_0_5_line_12 |  | 9 | 10 | 0.036084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_298-9_0_5_line_13 |  | 10 | 16 | 0.015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_298-9_0_5_line_14 |  | 10 | 31 | 0.012994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_298-9_0_5_line_15 |  | 11 | 12 | 0.015867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_298-9_0_5_line_16 |  | 11 | 13 | 0.018832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_298-9_0_5_line_17 |  | 12 | 14 | 0.017964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_298-9_0_5_line_18 |  | 12 | 15 | 0.019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_298-9_0_5_line_19 |  | 13 | 20 | 0.0053398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_298-9_0_5_line_20 |  | 14 | 36 | 0.013236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_298-9_0_5_line_21 |  | 15 | 37 | 0.0088754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_298-9_0_5_line_22 |  | 17 | 79 | 0.0037752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_298-9_0_5_line_23 |  | 18 | 59 | 0.0043042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_298-9_0_5_line_24 |  | 19 | 21 | 0.0032309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_298-9_0_5_line_25 |  | 22 | 23 | 0.031541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_298-9_0_5_line_26 |  | 22 | 24 | 0.0063426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_298-9_0_5_line_27 |  | 23 | 25 | 0.017689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_298-9_0_5_line_28 |  | 24 | 73 | 0.01391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_298-9_0_5_line_29 |  | 25 | 27 | 0.022012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_298-9_0_5_line_30 |  | 26 | 27 | 0.022853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_298-9_0_5_line_31 |  | 27 | 74 | 0.0016134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_298-9_0_5_line_32 |  | 28 | 29 | 0.023066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_298-9_0_5_line_33 |  | 29 | 75 | 0.016348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_298-9_0_5_line_34 |  | 30 | 31 | 0.0090946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_298-9_0_5_line_35 |  | 32 | 33 | 0.012602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_298-9_0_5_line_36 |  | 32 | 34 | 0.0045394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_298-9_0_5_line_37 |  | 33 | 35 | 0.012782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_298-9_0_5_line_38 |  | 34 | 38 | 0.017458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_298-9_0_5_line_39 |  | 35 | 39 | 0.015407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_298-9_0_5_line_40 |  | 36 | 62 | 0.013409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_298-9_0_5_line_41 |  | 36 | 68 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_298-9_0_5_line_42 |  | 37 | 71 | 0.019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_298-9_0_5_line_43 |  | 38 | 71 | 0.0081483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_298-9_0_5_line_44 |  | 39 | 44 | 0.0013739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_298-9_0_5_line_45 |  | 40 | 41 | 0.0019552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_298-9_0_5_line_46 |  | 41 | 42 | 0.026774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_298-9_0_5_line_47 |  | 42 | 43 | 0.019585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_298-9_0_5_line_48 |  | 43 | 44 | 0.010914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_298-9_0_5_line_49 |  | 45 | 46 | 0.028686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_298-9_0_5_line_50 |  | 45 | 47 | 0.026323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_298-9_0_5_line_51 |  | 46 | 53 | 0.003773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_298-9_0_5_line_52 |  | 47 | 54 | 0.014271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_298-9_0_5_line_53 |  | 48 | 49 | 0.029186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_298-9_0_5_line_54 |  | 48 | 50 | 0.020338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_298-9_0_5_line_55 |  | 48 | 51 | 0.022783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_298-9_0_5_line_56 |  | 49 | 55 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_298-9_0_5_line_57 |  | 49 | 56 | 0.0066263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_298-9_0_5_line_58 |  | 50 | 52 | 0.0076653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_298-9_0_5_line_59 |  | 51 | 57 | 0.019724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_298-9_0_5_line_60 |  | 53 | 84 | 0.009626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_298-9_0_5_line_61 |  | 54 | 70 | 0.0087544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_298-9_0_5_line_62 |  | 54 | 58 | 0.0060779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_298-9_0_5_line_63 |  | 55 | 88 | 0.0075614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_298-9_0_5_line_64 |  | 56 | 80 | 0.0073965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_298-9_0_5_line_65 |  | 57 | 74 | 0.00016151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_298-9_0_5_line_66 |  | 59 | 60 | 4.3484e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_298-9_0_5_line_67 |  | 60 | 61 | 0.043611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_298-9_0_5_line_68 |  | 61 | 62 | 0.011567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_298-9_0_5_line_69 |  | 63 | 64 | 0.0042378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_298-9_0_5_line_70 |  | 63 | 65 | 0.0045739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_298-9_0_5_line_71 |  | 64 | 66 | 0.028641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_298-9_0_5_line_72 |  | 65 | 67 | 0.0039616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_298-9_0_5_line_73 |  | 66 | 68 | 0.0064092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_298-9_0_5_line_74 |  | 67 | 69 | 0.014379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_298-9_0_5_line_75 |  | 69 | 70 | 0.0071905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_298-9_0_5_line_76 |  | 72 | 73 | 0.011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_298-9_0_5_line_77 |  | 75 | 76 | 0.012106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_298-9_0_5_line_78 |  | 75 | 77 | 0.018954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_298-9_0_5_line_79 |  | 76 | 78 | 0.018392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_298-9_0_5_line_80 |  | 77 | 79 | 0.0012188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_298-9_0_5_line_81 |  | 78 | 80 | 0.0049967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_298-9_0_5_line_82 |  | 78 | 81 | 0.026042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_298-9_0_5_line_83 |  | 81 | 82 | 0.0023407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_298-9_0_5_line_84 |  | 82 | 83 | 0.012842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_298-9_0_5_line_85 |  | 85 | 86 | 0.014377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_298-9_0_5_line_86 |  | 85 | 87 | 0.009231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_298-9_0_5_line_87 |  | 86 | 88 | 0.0043923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_298-9_0_5_trafo_48 | 0.63 MVA 20/0.4 kV | 89 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2701739.6672 | 1264256.2428 | 2701724.4061 | 1264254.0153 | 2701724.2797 | 1264254.7353
1 | 2701760.1564 | 1264251.8731 | 2701757.1445 | 1264258.7937 | 2701739.6672 | 1264256.2428
2 | 2701777.254 | 1264259.8629 | 2701769.0915 | 1264255.7412 | 2701760.1564 | 1264251.8731
3 | 2701735.8678 | 1264231.4604 | 2701734.126 | 1264242.4952 | 2701750.5482 | 1264247.7154 | 2701760.1564 | 1264251.8731
4 | 2701777.254 | 1264259.8629 | 2701773.9074 | 1264272.0355
5 | 2701735.8678 | 1264231.4604 | 2701739.2203 | 1264196.8158
6 | 2701735.8678 | 1264231.4604 | 2701742.9438 | 1264233.4949 | 2701766.6788 | 1264243.6229
7 | 2701735.8678 | 1264231.4604 | 2701724.3553 | 1264230.1736
8 | 2701773.9074 | 1264272.0355 | 2701772.2297 | 1264278.1377
9 | 2701739.774 | 1264191.0946 | 2701739.2203 | 1264196.8158
10 | 2701766.6788 | 1264243.6229 | 2701771.6139 | 1264231.8085
11 | 2701724.3553 | 1264230.1736 | 2701710.0618 | 1264228.576
12 | 2701771.2954 | 1264293.544 | 2701753.1834 | 1264289.7848 | 2701748.5642 | 1264290.7505 | 2701745.4822 | 1264293.4331 | 2701736.82 | 1264291.9956
13 | 2701771.2954 | 1264293.544 | 2701771.9367 | 1264289.1069 | 2701770.7847 | 1264283.3934 | 2701772.2297 | 1264278.1377
14 | 2701771.2954 | 1264293.544 | 2701769.6874 | 1264304.6812 | 2701771.3548 | 1264305.1818
15 | 2701818.372 | 1264275.8285 | 2701812.9977 | 1264274.7128 | 2701813.9141 | 1264264.3755
16 | 2701818.372 | 1264275.8285 | 2701815.7598 | 1264294.4785
17 | 2701813.9141 | 1264264.3755 | 2701814.3594 | 1264248.1474 | 2701814.9302 | 1264246.5145
18 | 2701813.9141 | 1264264.3755 | 2701823.9629 | 1264264.8156 | 2701833.1711 | 1264264.0983
19 | 2701815.7598 | 1264294.4785 | 2701815.0191 | 1264299.7667
20 | 2701820.9157 | 1264234.8826 | 2701817.3228 | 1264239.6691 | 2701814.9302 | 1264246.5145
21 | 2701842.0196 | 1264263.4089 | 2701833.1711 | 1264264.0983
22 | 2701740.1376 | 1264187.337 | 2701739.774 | 1264191.0946
23 | 2701773.2729 | 1264227.8369 | 2701771.6139 | 1264231.8085
24 | 2701706.8509 | 1264228.2171 | 2701710.0618 | 1264228.576
25 | 2701671.5431 | 1264069.5523 | 2701672.4387 | 1264066.0982 | 2701675.2909 | 1264054.0038 | 2701681.2258 | 1264039.6272
26 | 2701681.2258 | 1264039.6272 | 2701686.3073 | 1264035.8314
27 | 2701671.5431 | 1264069.5523 | 2701688.7659 | 1264073.5846
28 | 2701686.3073 | 1264035.8314 | 2701697.4516 | 1264027.5069
29 | 2701710.1979 | 1264078.6024 | 2701688.7659 | 1264073.5846
30 | 2701710.1979 | 1264078.6024 | 2701705.3613 | 1264100.9372
31 | 2701710.1979 | 1264078.6024 | 2701711.7627 | 1264078.9952
32 | 2701725.8296 | 1264165.4792 | 2701713.2685 | 1264164.1043 | 2701702.9039 | 1264162.9368
33 | 2701742.0806 | 1264167.2581 | 2701725.8296 | 1264165.4792
34 | 2701780.0653 | 1264307.7969 | 2701771.3548 | 1264305.1818
35 | 2701891.6388 | 1264259.5436 | 2701904.2781 | 1264259.5947
36 | 2701891.6388 | 1264259.5436 | 2701887.113 | 1264259.8961
37 | 2701904.2781 | 1264259.5947 | 2701905.0968 | 1264246.8391
38 | 2701887.113 | 1264259.8961 | 2701869.7075 | 1264261.252
39 | 2701905.0968 | 1264246.8391 | 2701906.0837 | 1264231.4635
40 | 2701820.9157 | 1264234.8826 | 2701809.6028 | 1264227.6834
41 | 2701820.9157 | 1264234.8826 | 2701826.3881 | 1264228.5604 | 2701828.6848 | 1264223.3623 | 2701828.9676 | 1264220.6357
42 | 2701842.0196 | 1264263.4089 | 2701861.5838 | 1264261.8849
43 | 2701861.5838 | 1264261.8849 | 2701869.7075 | 1264261.252
44 | 2701906.1717 | 1264230.0924 | 2701906.0837 | 1264231.4635
45 | 2701941.1264 | 1264206.8058 | 2701939.2186 | 1264206.378
46 | 2701913.0936 | 1264200.5195 | 2701939.2186 | 1264206.378
47 | 2701913.0936 | 1264200.5195 | 2701907.6801 | 1264219.3417
48 | 2701906.1717 | 1264230.0924 | 2701906.6266 | 1264223.0047 | 2701907.6801 | 1264219.3417
49 | 2701877.8867 | 1264154.5189 | 2701876.7288 | 1264158.3244 | 2701882.4462 | 1264160.0799 | 2701883.4442 | 1264162.0543 | 2701878.9945 | 1264177.9583
50 | 2701877.8867 | 1264154.5189 | 2701852.4149 | 1264147.8784
51 | 2701878.9945 | 1264177.9583 | 2701877.9779 | 1264181.5917
52 | 2701838.6053 | 1264144.2782 | 2701852.4149 | 1264147.8784
53 | 2701748.2595 | 1264118.1568 | 2701752.6516 | 1264092.333 | 2701753.1468 | 1264089.3835
54 | 2701756.9861 | 1264069.4107 | 2701754.0323 | 1264084.7727 | 2701753.1468 | 1264089.3835
55 | 2701753.1468 | 1264089.3835 | 2701731.0498 | 1264083.8367
56 | 2701748.2595 | 1264118.1568 | 2701737.723 | 1264116.5973
57 | 2701748.2595 | 1264118.1568 | 2701747.1471 | 1264124.6891
58 | 2701756.9861 | 1264069.4107 | 2701758.433 | 1264061.8832
59 | 2701711.9194 | 1264079.0345 | 2701731.0498 | 1264083.8367
60 | 2701875.3844 | 1264190.8617 | 2701877.9779 | 1264181.5917
61 | 2701838.6053 | 1264144.2782 | 2701836.7254 | 1264152.8284
62 | 2701838.6053 | 1264144.2782 | 2701839.7669 | 1264138.3124
63 | 2701737.723 | 1264116.5973 | 2701730.2431 | 1264115.4902
64 | 2701745.9054 | 1264131.9806 | 2701747.1471 | 1264124.6891
65 | 2701711.7627 | 1264078.9952 | 2701711.9194 | 1264079.0345
66 | 2701773.2729 | 1264227.8369 | 2701773.2896 | 1264227.7967
67 | 2701803.5546 | 1264218.9261 | 2701780.6484 | 1264210.1798 | 2701773.2896 | 1264227.7967
68 | 2701809.6028 | 1264227.6834 | 2701808.271 | 1264226.8359 | 2701806.0855 | 1264219.8925 | 2701803.5546 | 1264218.9261
69 | 2701830.2608 | 1264182.2313 | 2701829.3508 | 1264186.3702
70 | 2701830.2608 | 1264182.2313 | 2701831.243 | 1264177.7641
71 | 2701829.3508 | 1264186.3702 | 2701827.6688 | 1264194.0203 | 2701828.433 | 1264197.3251 | 2701830.1253 | 1264200.9684 | 2701830.6904 | 1264204.0251 | 2701829.6288 | 1264214.2607
72 | 2701831.243 | 1264177.7641 | 2701832.0937 | 1264173.8949
73 | 2701829.6288 | 1264214.2607 | 2701828.9676 | 1264220.6357
74 | 2701835.1814 | 1264159.8511 | 2701832.0937 | 1264173.8949
75 | 2701836.7254 | 1264152.8284 | 2701835.1814 | 1264159.8511
76 | 2701706.509 | 1264020.7413 | 2701697.4516 | 1264027.5069
77 | 2701742.0806 | 1264167.2581 | 2701743.2659 | 1264155.21
78 | 2701742.0806 | 1264167.2581 | 2701740.255 | 1264186.1239
79 | 2701745.0666 | 1264136.9064 | 2701743.2659 | 1264155.21
80 | 2701740.1376 | 1264187.337 | 2701740.255 | 1264186.1239
81 | 2701745.0666 | 1264136.9064 | 2701745.9054 | 1264131.9806
82 | 2701745.0666 | 1264136.9064 | 2701770.1956 | 1264143.7429
83 | 2701772.4542 | 1264144.3573 | 2701770.1956 | 1264143.7429
84 | 2701772.4542 | 1264144.3573 | 2701784.8454 | 1264147.7284
85 | 2701724.7431 | 1264129.1773 | 2701725.8981 | 1264114.8471
86 | 2701724.0015 | 1264138.3785 | 2701724.7431 | 1264129.1773
87 | 2701725.8981 | 1264114.8471 | 2701725.8981 | 1264114.8471 | 2701730.2431 | 1264115.4902

## bus_geodata
| x | y | coords
0 | 2701739.6672 | 1264256.2428
1 | 2701724.2797 | 1264254.7353
2 | 2701760.1564 | 1264251.8731
3 | 2701777.254 | 1264259.8629
4 | 2701735.8678 | 1264231.4604
5 | 2701773.9074 | 1264272.0355
6 | 2701739.2203 | 1264196.8158
7 | 2701766.6788 | 1264243.6229
8 | 2701724.3553 | 1264230.1736
9 | 2701736.82 | 1264291.9956
10 | 2701771.2954 | 1264293.544
11 | 2701818.372 | 1264275.8285
12 | 2701813.9141 | 1264264.3755
13 | 2701815.7598 | 1264294.4785
14 | 2701814.9302 | 1264246.5145
15 | 2701833.1711 | 1264264.0983
16 | 2701772.2297 | 1264278.1377
17 | 2701739.774 | 1264191.0946
18 | 2701771.6139 | 1264231.8085
19 | 2701710.0618 | 1264228.576
20 | 2701815.0191 | 1264299.7667
21 | 2701706.8509 | 1264228.2171
22 | 2701681.2258 | 1264039.6272
23 | 2701671.5431 | 1264069.5523
24 | 2701686.3073 | 1264035.8314
25 | 2701688.7659 | 1264073.5846
26 | 2701705.3613 | 1264100.9372
27 | 2701710.1979 | 1264078.6024
28 | 2701702.9039 | 1264162.9368
29 | 2701725.8296 | 1264165.4792
30 | 2701780.0653 | 1264307.7969
31 | 2701771.3548 | 1264305.1818
32 | 2701891.6388 | 1264259.5436
33 | 2701904.2781 | 1264259.5947
34 | 2701887.113 | 1264259.8961
35 | 2701905.0968 | 1264246.8391
36 | 2701820.9157 | 1264234.8826
37 | 2701842.0196 | 1264263.4089
38 | 2701869.7075 | 1264261.252
39 | 2701906.0837 | 1264231.4635
40 | 2701941.1264 | 1264206.8058
41 | 2701939.2186 | 1264206.378
42 | 2701913.0936 | 1264200.5195
43 | 2701907.6801 | 1264219.3417
44 | 2701906.1717 | 1264230.0924
45 | 2701877.8867 | 1264154.5189
46 | 2701878.9945 | 1264177.9583
47 | 2701852.4149 | 1264147.8784
48 | 2701753.1468 | 1264089.3835
49 | 2701748.2595 | 1264118.1568
50 | 2701756.9861 | 1264069.4107
51 | 2701731.0498 | 1264083.8367
52 | 2701758.433 | 1264061.8832
53 | 2701877.9779 | 1264181.5917
54 | 2701838.6053 | 1264144.2782
55 | 2701737.723 | 1264116.5973
56 | 2701747.1471 | 1264124.6891
57 | 2701711.9194 | 1264079.0345
58 | 2701839.7669 | 1264138.3124
59 | 2701773.2729 | 1264227.8369
60 | 2701773.2896 | 1264227.7967
61 | 2701803.5546 | 1264218.9261
62 | 2701809.6028 | 1264227.6834
63 | 2701830.2608 | 1264182.2313
64 | 2701829.3508 | 1264186.3702
65 | 2701831.243 | 1264177.7641
66 | 2701829.6288 | 1264214.2607
67 | 2701832.0937 | 1264173.8949
68 | 2701828.9676 | 1264220.6357
69 | 2701835.1814 | 1264159.8511
70 | 2701836.7254 | 1264152.8284
71 | 2701861.5838 | 1264261.8849
72 | 2701706.5091 | 1264020.7413
73 | 2701697.4516 | 1264027.5069
74 | 2701711.7627 | 1264078.9952
75 | 2701742.0806 | 1264167.2581
76 | 2701743.2659 | 1264155.21
77 | 2701740.255 | 1264186.1239
78 | 2701745.0666 | 1264136.9064
79 | 2701740.1376 | 1264187.337
80 | 2701745.9054 | 1264131.9806
81 | 2701770.1956 | 1264143.7429
82 | 2701772.4542 | 1264144.3573
83 | 2701784.8454 | 1264147.7284
84 | 2701875.3844 | 1264190.8617
85 | 2701724.7431 | 1264129.1773
86 | 2701725.8981 | 1264114.8471
87 | 2701724.0015 | 1264138.3785
88 | 2701730.2431 | 1264115.4902
89 | 2701813.9141 | 1264264.3755

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1