## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3-2_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_3-2_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3-2_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3-2_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3-2_0_2_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_3-2_0_2_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_3-2_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3-2_0_2_node_346 | 0.4 | n |  | TRUE
13 | bus_LV_3-2_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3-2_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3-2_0_2_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_3-2_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3-2_0_2_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_3-2_0_2_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_3-2_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3-2_0_2_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_3-2_0_2_node_345 | 0.4 | n |  | TRUE
22 | bus_LV_3-2_0_2_node_344 | 0.4 | n |  | TRUE
23 | bus_LV_3-2_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3-2_0_2_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_3-2_0_2_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_3-2_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3-2_0_2_node_347 | 0.4 | n |  | TRUE
28 | bus_LV_3-2_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3-2_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3-2_0_2_node_156 | 0.4 | n |  | TRUE
31 | bus_LV_3-2_0_2_node_348 | 0.4 | n |  | TRUE
32 | bus_LV_3-2_0_2_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_3-2_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_3-2_0_2_node_349 | 0.4 | n |  | TRUE
35 | bus_LV_3-2_0_2_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3-2_0_2_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_3-2_0_2_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_3-2_0_2_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_3-2_0_2_node_350 | 0.4 | n |  | TRUE
40 | bus_LV_3-2_0_2_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_3-2_0_2_node_322 | 0.4 | n |  | TRUE
42 | bus_LV_3-2_0_2_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_3-2_0_2_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_3-2_0_2_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_3-2_0_2_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_3-2_0_2_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_3-2_0_2_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_3-2_0_2_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_3-2_0_2_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_3-2_0_2_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_3-2_0_2_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_3-2_0_2_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_3-2_0_2_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_3-2_0_2_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_3-2_0_2_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_3-2_0_2_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_3-2_0_2_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_3-2_0_2_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_3-2_0_2_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_3-2_0_2_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_3-2_0_2_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_3-2_0_2_node_323 | 0.4 | n |  | TRUE
63 | bus_LV_3-2_0_2_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_3-2_0_2_node_324 | 0.4 | n |  | TRUE
65 | bus_LV_3-2_0_2_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_3-2_0_2_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_3-2_0_2_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_3-2_0_2_node_80 | 0.4 | n |  | TRUE
69 | bus_LV_3-2_0_2_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_3-2_0_2_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_3-2_0_2_node_334 | 0.4 | n |  | TRUE
72 | bus_LV_3-2_0_2_node_330 | 0.4 | n |  | TRUE
73 | bus_LV_3-2_0_2_node_333 | 0.4 | n |  | TRUE
74 | bus_LV_3-2_0_2_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_3-2_0_2_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_3-2_0_2_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_3-2_0_2_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_3-2_0_2_node_105 | 0.4 | n |  | TRUE
79 | bus_LV_3-2_0_2_node_106 | 0.4 | n |  | TRUE
80 | bus_LV_3-2_0_2_node_329 | 0.4 | n |  | TRUE
81 | bus_LV_3-2_0_2_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_3-2_0_2_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_3-2_0_2_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_3-2_0_2_node_94 | 0.4 | n |  | TRUE
85 | bus_LV_3-2_0_2_node_95 | 0.4 | n |  | TRUE
86 | bus_LV_3-2_0_2_node_104 | 0.4 | n |  | TRUE
87 | bus_LV_3-2_0_2_node_101 | 0.4 | n |  | TRUE
88 | bus_LV_3-2_0_2_node_98 | 0.4 | n |  | TRUE
89 | bus_LV_3-2_0_2_node_99 | 0.4 | n |  | TRUE
90 | bus_LV_3-2_0_2_node_100 | 0.4 | n |  | TRUE
91 | bus_LV_3-2_0_2_node_102 | 0.4 | n |  | TRUE
92 | bus_LV_3-2_0_2_node_162 | 0.4 | n |  | TRUE
93 | bus_LV_3-2_0_2_node_103 | 0.4 | n |  | TRUE
94 | bus_LV_3-2_0_2_node_109 | 0.4 | n |  | TRUE
95 | bus_LV_3-2_0_2_node_107 | 0.4 | n |  | TRUE
96 | bus_LV_3-2_0_2_node_108 | 0.4 | n |  | TRUE
97 | bus_LV_3-2_0_2_node_114 | 0.4 | n |  | TRUE
98 | bus_LV_3-2_0_2_node_111 | 0.4 | n |  | TRUE
99 | bus_LV_3-2_0_2_node_110 | 0.4 | n |  | TRUE
100 | bus_LV_3-2_0_2_node_112 | 0.4 | n |  | TRUE
101 | bus_LV_3-2_0_2_node_113 | 0.4 | n |  | TRUE
102 | bus_LV_3-2_0_2_node_157 | 0.4 | n |  | TRUE
103 | bus_LV_3-2_0_2_node_158 | 0.4 | n |  | TRUE
104 | bus_LV_3-2_0_2_node_159 | 0.4 | n |  | TRUE
105 | bus_LV_3-2_0_2_node_160 | 0.4 | n |  | TRUE
106 | bus_LV_3-2_0_2_node_325 | 0.4 | n |  | TRUE
107 | bus_LV_3-2_0_2_node_342 | 0.4 | n |  | TRUE
108 | bus_LV_3-2_0_2_node_326 | 0.4 | n |  | TRUE
109 | bus_LV_3-2_0_2_node_327 | 0.4 | n |  | TRUE
110 | bus_LV_3-2_0_2_node_331 | 0.4 | n |  | TRUE
111 | bus_LV_3-2_0_2_node_332 | 0.4 | n |  | TRUE
112 | bus_LV_3-2_0_2_node_335 | 0.4 | n |  | TRUE
113 | bus_LV_3-2_0_2_node_336 | 0.4 | n |  | TRUE
114 | bus_LV_3-2_0_2_node_337 | 0.4 | n |  | TRUE
115 | bus_LV_3-2_0_2_node_338 | 0.4 | n |  | TRUE
116 | bus_LV_3-2_0_2_node_339 | 0.4 | n |  | TRUE
117 | bus_LV_3-2_0_2_node_340 | 0.4 | n |  | TRUE
118 | bus_LV_3-2_0_2_node_341 | 0.4 | n |  | TRUE
119 | bus_LV_3-2_0_2_node_343 | 0.4 | n |  | TRUE
120 | bus_MV_358_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3-2_0_2_load_0 | 0 | 0.0021886 | 0.00054853 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3-2_0_2_load_4 | 4 | 0.00099721 | 0.00024992 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3-2_0_2_load_9 | 5 | 0.00096708 | 0.00024237 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3-2_0_2_load_6 | 7 | 0.00021275 | 5.3321e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3-2_0_2_load_346 | 12 | 0.0020789 | 0.00052103 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3-2_0_2_load_57 | 15 | 0.00085266 | 0.0002137 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3-2_0_2_load_89 | 17 | 0.0013399 | 0.0003358 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3-2_0_2_load_86 | 18 | 0.0014355 | 0.00035976 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3-2_0_2_load_55 | 20 | 0.0033959 | 0.00085109 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3-2_0_2_load_345 | 21 | 0.0019531 | 0.00048949 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3-2_0_2_load_344 | 22 | 0.00088632 | 0.00022213 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3-2_0_2_load_50 | 25 | 0.019969 | 0.0050046 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3-2_0_2_load_347 | 27 | 0.019433 | 0.0048704 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3-2_0_2_load_156 | 30 | 0.0054029 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3-2_0_2_load_348 | 31 | 0.025423 | 0.0063716 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3-2_0_2_load_349 | 34 | 0.016391 | 0.004108 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3-2_0_2_load_60 | 36 | 0.0020658 | 0.00051773 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3-2_0_2_load_58 | 38 | 0.0005571 | 0.00013962 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3-2_0_2_load_350 | 39 | 0.02152 | 0.0053935 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3-2_0_2_load_322 | 41 | 0.00088187 | 0.00022102 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3-2_0_2_load_56 | 42 | 0.010619 | 0.0026615 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3-2_0_2_load_61 | 44 | 0.0011159 | 0.00027967 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3-2_0_2_load_62 | 45 | 0.00096617 | 0.00024215 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3-2_0_2_load_65 | 48 | 0.0017877 | 0.00044805 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3-2_0_2_load_96 | 49 | 0.0010198 | 0.00025559 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3-2_0_2_load_97 | 50 | 0.0011951 | 0.00029953 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3-2_0_2_load_69 | 51 | 0.00096479 | 0.0002418 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3-2_0_2_load_66 | 52 | 0.00091609 | 0.00022959 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3-2_0_2_load_72 | 56 | 0.00088908 | 0.00022282 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3-2_0_2_load_74 | 57 | 0.00089526 | 0.00022437 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3-2_0_2_load_75 | 58 | 0.00095134 | 0.00023843 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3-2_0_2_load_76 | 59 | 0.0028491 | 0.00071404 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3-2_0_2_load_71 | 60 | 0.0027527 | 0.00068988 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3-2_0_2_load_77 | 61 | 0.00080146 | 0.00020086 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3-2_0_2_load_323 | 62 | 0.00089123 | 0.00022336 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3-2_0_2_load_73 | 63 | 0.0010055 | 0.00025199 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3-2_0_2_load_324 | 64 | 0.00074226 | 0.00018603 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3-2_0_2_load_81 | 65 | 0.00071794 | 0.00017993 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3-2_0_2_load_90 | 67 | 0.0014834 | 0.00037178 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3-2_0_2_load_80 | 68 | 0.00082972 | 0.00020795 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3-2_0_2_load_82 | 69 | 0.00087274 | 0.00021873 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3-2_0_2_load_83 | 70 | 0.00084885 | 0.00021274 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3-2_0_2_load_334 | 71 | 0.00070589 | 0.00017691 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3-2_0_2_load_330 | 72 | 0.00088691 | 0.00022228 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3-2_0_2_load_333 | 73 | 0.00085832 | 0.00021512 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3-2_0_2_load_84 | 74 | 0.0034152 | 0.00085594 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3-2_0_2_load_85 | 75 | 0.0021469 | 0.00053808 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3-2_0_2_load_87 | 76 | 0.00036771 | 9.2157e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3-2_0_2_load_106 | 79 | 0.00029696 | 7.4424e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3-2_0_2_load_329 | 80 | 0.0008915 | 0.00022343 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3-2_0_2_load_91 | 81 | 0.0007962 | 0.00019955 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3-2_0_2_load_92 | 82 | 0.0030485 | 0.00076403 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3-2_0_2_load_93 | 83 | 0.00075374 | 0.00018891 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3-2_0_2_load_94 | 84 | 0.001751 | 0.00043885 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3-2_0_2_load_95 | 85 | 0.00091119 | 0.00022837 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3-2_0_2_load_104 | 86 | 0.00043747 | 0.00010964 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3-2_0_2_load_101 | 87 | 0.0015507 | 0.00038865 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3-2_0_2_load_98 | 88 | 0.00085626 | 0.0002146 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3-2_0_2_load_99 | 89 | 0.00073387 | 0.00018393 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3-2_0_2_load_100 | 90 | 0.00044797 | 0.00011227 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3-2_0_2_load_102 | 91 | 0.00051841 | 0.00012993 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3-2_0_2_load_162 | 92 | 0.00057606 | 0.00014438 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3-2_0_2_load_103 | 93 | 0.0011779 | 0.00029522 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3-2_0_2_load_109 | 94 | 0.0013798 | 0.0003458 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3-2_0_2_load_107 | 95 | 0.0020001 | 0.00050127 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3-2_0_2_load_114 | 97 | 0.0021268 | 0.00053302 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3-2_0_2_load_111 | 98 | 0.003129 | 0.00078421 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3-2_0_2_load_112 | 100 | 0.0059221 | 0.0014842 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3-2_0_2_load_113 | 101 | 0.0026952 | 0.00067549 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3-2_0_2_load_157 | 102 | 0.00086024 | 0.0002156 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3-2_0_2_load_158 | 103 | 0.0092954 | 0.0023296 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3-2_0_2_load_159 | 104 | 0.0035176 | 0.00088161 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3-2_0_2_load_160 | 105 | 0.00062925 | 0.00015771 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3-2_0_2_load_325 | 106 | 0.00091272 | 0.00022875 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3-2_0_2_load_342 | 107 | 0.00076185 | 0.00019094 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3-2_0_2_load_326 | 108 | 0.00086538 | 0.00021688 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3-2_0_2_load_327 | 109 | 0.00089057 | 0.0002232 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3-2_0_2_load_331 | 110 | 0.00088016 | 0.00022059 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3-2_0_2_load_332 | 111 | 0.00089703 | 0.00022482 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3-2_0_2_load_335 | 112 | 0.00095658 | 0.00023974 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3-2_0_2_load_336 | 113 | 0.0010077 | 0.00025254 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3-2_0_2_load_337 | 114 | 0.00076361 | 0.00019138 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3-2_0_2_load_338 | 115 | 0.0009269 | 0.0002323 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3-2_0_2_load_339 | 116 | 0.00074262 | 0.00018612 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3-2_0_2_load_340 | 117 | 0.001015 | 0.00025437 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3-2_0_2_load_341 | 118 | 0.0010051 | 0.0002519 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3-2_0_2_load_343 | 119 | 0.0054299 | 0.0013609 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3-2_0_2_line_0 |  | 0 | 1 | 0.0074346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3-2_0_2_line_1 |  | 1 | 2 | 0.055252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3-2_0_2_line_2 |  | 2 | 3 | 0.002571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_3-2_0_2_line_3 |  | 2 | 4 | 0.012767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_3-2_0_2_line_4 |  | 3 | 5 | 0.024129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_3-2_0_2_line_5 |  | 4 | 6 | 0.02786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_3-2_0_2_line_6 |  | 5 | 11 | 0.012882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_3-2_0_2_line_7 |  | 6 | 7 | 0.020726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3-2_0_2_line_8 |  | 7 | 8 | 0.0061302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_3-2_0_2_line_9 |  | 8 | 9 | 0.011402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_3-2_0_2_line_10 |  | 8 | 10 | 0.017982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3-2_0_2_line_11 |  | 9 | 30 | 0.04455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3-2_0_2_line_12 |  | 10 | 38 | 0.035399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3-2_0_2_line_13 |  | 11 | 12 | 0.0081701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_3-2_0_2_line_14 |  | 11 | 13 | 0.065495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3-2_0_2_line_15 |  | 13 | 17 | 0.018552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3-2_0_2_line_16 |  | 13 | 18 | 0.018417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3-2_0_2_line_17 |  | 14 | 15 | 0.021874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3-2_0_2_line_18 |  | 14 | 16 | 0.005699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3-2_0_2_line_19 |  | 15 | 43 | 0.0092758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3-2_0_2_line_20 |  | 16 | 19 | 0.061485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3-2_0_2_line_21 |  | 16 | 20 | 0.019312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3-2_0_2_line_22 |  | 17 | 80 | 0.0066233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3-2_0_2_line_23 |  | 18 | 74 | 0.0093373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3-2_0_2_line_24 |  | 19 | 21 | 0.013646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3-2_0_2_line_25 |  | 19 | 22 | 0.010178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3-2_0_2_line_26 |  | 22 | 119 | 0.0047547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3-2_0_2_line_27 |  | 23 | 24 | 0.085436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3-2_0_2_line_28 |  | 23 | 25 | 0.035081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3-2_0_2_line_29 |  | 24 | 42 | 0.033644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3-2_0_2_line_30 |  | 24 | 40 | 0.005126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3-2_0_2_line_31 |  | 26 | 27 | 0.022489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3-2_0_2_line_32 |  | 26 | 28 | 0.013332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3-2_0_2_line_33 |  | 28 | 31 | 0.025826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3-2_0_2_line_34 |  | 28 | 32 | 0.033869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3-2_0_2_line_35 |  | 28 | 29 | 0.15877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3-2_0_2_line_36 |  | 29 | 30 | 0.089305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3-2_0_2_line_37 |  | 32 | 39 | 0.02827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3-2_0_2_line_38 |  | 32 | 33 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3-2_0_2_line_39 |  | 33 | 34 | 0.028211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3-2_0_2_line_40 |  | 35 | 36 | 0.006319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3-2_0_2_line_41 |  | 35 | 37 | 0.019236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3-2_0_2_line_42 |  | 37 | 38 | 0.013702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3-2_0_2_line_43 |  | 40 | 41 | 0.031553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3-2_0_2_line_44 |  | 41 | 57 | 0.0021699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3-2_0_2_line_45 |  | 43 | 69 | 0.017417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3-2_0_2_line_46 |  | 43 | 66 | 0.004231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3-2_0_2_line_47 |  | 44 | 45 | 0.027959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3-2_0_2_line_48 |  | 45 | 46 | 0.0533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3-2_0_2_line_49 |  | 46 | 47 | 0.005041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3-2_0_2_line_50 |  | 46 | 48 | 0.01569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3-2_0_2_line_51 |  | 47 | 49 | 0.1826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3-2_0_2_line_52 |  | 47 | 50 | 0.040833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3-2_0_2_line_53 |  | 48 | 51 | 0.0022127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3-2_0_2_line_54 |  | 49 | 87 | 0.00093744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3-2_0_2_line_55 |  | 50 | 88 | 0.019699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3-2_0_2_line_56 |  | 51 | 53 | 0.025846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3-2_0_2_line_57 |  | 52 | 53 | 0.042139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3-2_0_2_line_58 |  | 53 | 54 | 0.004077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3-2_0_2_line_59 |  | 54 | 58 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3-2_0_2_line_60 |  | 54 | 59 | 0.01486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3-2_0_2_line_61 |  | 55 | 56 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3-2_0_2_line_62 |  | 55 | 57 | 0.01446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3-2_0_2_line_63 |  | 56 | 62 | 0.0059974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3-2_0_2_line_64 |  | 58 | 65 | 0.007829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3-2_0_2_line_65 |  | 59 | 66 | 0.019844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3-2_0_2_line_66 |  | 60 | 61 | 0.008557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3-2_0_2_line_67 |  | 61 | 67 | 0.024805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3-2_0_2_line_68 |  | 62 | 106 | 0.019522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3-2_0_2_line_69 |  | 63 | 64 | 0.0065767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3-2_0_2_line_70 |  | 64 | 107 | 0.0066104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3-2_0_2_line_71 |  | 65 | 71 | 0.0064771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3-2_0_2_line_72 |  | 66 | 68 | 0.016115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3-2_0_2_line_73 |  | 67 | 81 | 0.025325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3-2_0_2_line_74 |  | 68 | 70 | 0.0068893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3-2_0_2_line_75 |  | 69 | 72 | 0.0065941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3-2_0_2_line_76 |  | 70 | 73 | 0.0061273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3-2_0_2_line_77 |  | 71 | 112 | 0.007054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3-2_0_2_line_78 |  | 72 | 80 | 0.031378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3-2_0_2_line_79 |  | 73 | 111 | 0.019706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3-2_0_2_line_80 |  | 74 | 75 | 0.026521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3-2_0_2_line_81 |  | 75 | 76 | 0.022747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3-2_0_2_line_82 |  | 76 | 77 | 0.034973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3-2_0_2_line_83 |  | 77 | 78 | 0.030839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3-2_0_2_line_84 |  | 77 | 79 | 0.01409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3-2_0_2_line_85 |  | 78 | 95 | 0.016881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3-2_0_2_line_86 |  | 78 | 86 | 0.015225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3-2_0_2_line_87 |  | 81 | 82 | 0.0075156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3-2_0_2_line_88 |  | 82 | 83 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3-2_0_2_line_89 |  | 83 | 84 | 0.015543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3-2_0_2_line_90 |  | 84 | 85 | 0.0051433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3-2_0_2_line_91 |  | 85 | 86 | 0.02156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3-2_0_2_line_92 |  | 87 | 92 | 0.0022457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3-2_0_2_line_93 |  | 88 | 89 | 0.020607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3-2_0_2_line_94 |  | 90 | 91 | 0.0083496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3-2_0_2_line_95 |  | 91 | 93 | 0.030474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3-2_0_2_line_96 |  | 92 | 105 | 0.023824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3-2_0_2_line_97 |  | 93 | 94 | 0.0084993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3-2_0_2_line_98 |  | 94 | 99 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3-2_0_2_line_99 |  | 95 | 96 | 0.0049286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3-2_0_2_line_100 |  | 96 | 97 | 0.0099308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3-2_0_2_line_101 |  | 96 | 98 | 0.022402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3-2_0_2_line_102 |  | 98 | 99 | 0.015105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3-2_0_2_line_103 |  | 99 | 100 | 0.012243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3-2_0_2_line_104 |  | 100 | 101 | 0.010101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3-2_0_2_line_105 |  | 102 | 103 | 0.0088471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3-2_0_2_line_106 |  | 102 | 104 | 0.035521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3-2_0_2_line_107 |  | 103 | 105 | 0.0095163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3-2_0_2_line_108 |  | 106 | 108 | 0.0059657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3-2_0_2_line_109 |  | 107 | 118 | 0.0069776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3-2_0_2_line_110 |  | 108 | 109 | 0.0085606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3-2_0_2_line_111 |  | 109 | 110 | 0.0061057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3-2_0_2_line_112 |  | 110 | 111 | 0.0061241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3-2_0_2_line_113 |  | 112 | 113 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3-2_0_2_line_114 |  | 113 | 114 | 0.0071507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3-2_0_2_line_115 |  | 114 | 115 | 0.0060309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3-2_0_2_line_116 |  | 115 | 116 | 0.0060603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3-2_0_2_line_117 |  | 116 | 117 | 0.0067099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3-2_0_2_line_118 |  | 117 | 118 | 0.017151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3-2_0_2_trafo_346 | 0.63 MVA 20/0.4 kV | 120 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2678108.9002 | 1241906.5747 | 2678109.0514 | 1241914.0077
1 | 2678108.9002 | 1241906.5747 | 2678106.7011 | 1241851.3732
2 | 2678109.2741 | 1241851.1959 | 2678106.7011 | 1241851.3732
3 | 2678106.7011 | 1241851.3732 | 2678093.9849 | 1241852.5057
4 | 2678109.2741 | 1241851.1959 | 2678115.9204 | 1241843.1109 | 2678120.133 | 1241841.8543 | 2678119.9482 | 1241832.5896
5 | 2678066.2351 | 1241854.9768 | 2678093.9849 | 1241852.5057
6 | 2678119.6913 | 1241819.7106 | 2678119.9482 | 1241832.5896
7 | 2678066.2351 | 1241854.9768 | 2678045.5707 | 1241856.5756
8 | 2678039.4587 | 1241857.0485 | 2678045.5707 | 1241856.5756
9 | 2678039.4587 | 1241857.0485 | 2678038.8222 | 1241845.6654
10 | 2678039.4587 | 1241857.0485 | 2678021.4768 | 1241858.4242
11 | 2678038.8222 | 1241845.6654 | 2678048.2346 | 1241845.1221 | 2678046.9428 | 1241810.0235
12 | 2678021.4768 | 1241858.4242 | 2678022.0471 | 1241885.7733 | 2678014.0071 | 1241886.0123
13 | 2678119.6913 | 1241819.7106 | 2678114.5323 | 1241820.4877 | 2678111.612 | 1241820.9255
14 | 2678119.6913 | 1241819.7106 | 2678130.651 | 1241809.6143 | 2678131.3545 | 1241823.9337 | 2678133.2682 | 1241823.87 | 2678136.68 | 1241823.7148 | 2678144.1699 | 1241823.3465 | 2678167.5813 | 1241822.4763
15 | 2678167.5813 | 1241822.4763 | 2678166.8528 | 1241803.9382
16 | 2678167.5813 | 1241822.4763 | 2678168.4503 | 1241840.8726
17 | 2678133.4665 | 1241740.5024 | 2678155.3165 | 1241741.532
18 | 2678127.7518 | 1241740.416 | 2678129.5736 | 1241740.44 | 2678133.4665 | 1241740.5024
19 | 2678164.582 | 1241741.9686 | 2678155.3165 | 1241741.532
20 | 2678097.5301 | 1241771.5515 | 2678107.5736 | 1241771.3279 | 2678110.7357 | 1241771.1917 | 2678128.9747 | 1241770.4089 | 2678127.7518 | 1241740.416
21 | 2678127.7518 | 1241740.416 | 2678126.9626 | 1241721.1204
22 | 2678166.8528 | 1241803.9382 | 2678166.5927 | 1241797.3201
23 | 2678168.4503 | 1241840.8726 | 2678168.8909 | 1241850.1995
24 | 2678097.5301 | 1241771.5515 | 2678086.6073 | 1241771.9526 | 2678083.8925 | 1241772.0423
25 | 2678097.5301 | 1241771.5515 | 2678097.1906 | 1241761.3795
26 | 2678097.0319 | 1241756.6274 | 2678097.1906 | 1241761.3795
27 | 2678123.6211 | 1241632.0959 | 2678123.2399 | 1241624.2965 | 2678121.1899 | 1241624.3807 | 2678111.1183 | 1241623.8478 | 2678100.8892 | 1241621.5004 | 2678049.7336 | 1241601.3133
28 | 2678049.7336 | 1241601.3133 | 2678047.9451 | 1241608.5283 | 2678046.2966 | 1241625.7855 | 2678046.7604 | 1241636.0867
29 | 2678123.6211 | 1241632.0959 | 2678124.7689 | 1241665.7203
30 | 2678123.6211 | 1241632.0959 | 2678127.4791 | 1241631.9466 | 2678128.7578 | 1241631.8745
31 | 2677886.2067 | 1241847.2845 | 2677886.4641 | 1241851.2907 | 2677904.9508 | 1241850.0435
32 | 2677918.2474 | 1241849.0729 | 2677913.0945 | 1241849.3943 | 2677904.9508 | 1241850.0435
33 | 2677939.3263 | 1241842.734 | 2677939.4777 | 1241847.317 | 2677918.2474 | 1241849.0729
34 | 2677921.1611 | 1241882.8128 | 2677918.2474 | 1241849.0729
35 | 2677918.2474 | 1241849.0729 | 2677913.0945 | 1241849.3943 | 2677910.5501 | 1241817.4605 | 2677963.283 | 1241813.0163 | 2677973.6254 | 1241813.0522 | 2677978.9636 | 1241813.0223 | 2677981.7685 | 1241813.0258 | 2677980.7244 | 1241775.1186 | 2677992.973 | 1241775.0906
36 | 2677992.973 | 1241775.0906 | 2678045.5946 | 1241773.392 | 2678046.9428 | 1241810.0235
37 | 2677944.3449 | 1241876.2236 | 2677944.4993 | 1241881.1625 | 2677921.1611 | 1241882.8128
38 | 2677908.2259 | 1241883.8994 | 2677921.1611 | 1241882.8128
39 | 2677908.2259 | 1241883.8994 | 2677884.5999 | 1241885.5905 | 2677884.5468 | 1241880.9977
40 | 2678021.6269 | 1241911.9753 | 2678026.4133 | 1241911.927 | 2678027.9635 | 1241911.903
41 | 2678021.6269 | 1241911.9753 | 2678021.1382 | 1241899.6935 | 2678014.1747 | 1241899.7131
42 | 2678014.1747 | 1241899.7131 | 2678014.0071 | 1241886.0123
43 | 2678128.7578 | 1241631.8745 | 2678131.1641 | 1241631.7283 | 2678131.9203 | 1241631.716 | 2678131.8919 | 1241629.8587 | 2678132.0008 | 1241627.9032 | 2678132.4688 | 1241626.2415 | 2678133.6353 | 1241624.3556 | 2678135.3762 | 1241622.4883 | 2678137.7861 | 1241620.9189 | 2678141.1803 | 1241619.8183 | 2678146.1905 | 1241619.4395 | 2678152.7741 | 1241618.9131
44 | 2678154.9371 | 1241618.7402 | 2678152.7741 | 1241618.9131
45 | 2678164.582 | 1241741.9686 | 2678164.9031 | 1241754.326 | 2678165.1016 | 1241759.3774
46 | 2678168.8211 | 1241742.1578 | 2678164.582 | 1241741.9686
47 | 2678241.2213 | 1241694.7146 | 2678239.3681 | 1241685.5248 | 2678235.4421 | 1241667.3598
48 | 2678251.2056 | 1241747.0578 | 2678249.8426 | 1241737.4664 | 2678241.2213 | 1241694.7146
49 | 2678251.5248 | 1241752.0878 | 2678251.2056 | 1241747.0578
50 | 2678251.2056 | 1241747.0578 | 2678244.9965 | 1241746.6201 | 2678235.556 | 1241745.9368
51 | 2678251.5248 | 1241752.0878 | 2678259.7581 | 1241760.1354 | 2678264.5926 | 1241762.7565 | 2678270.5566 | 1241762.2793 | 2678274.7964 | 1241758.3991 | 2678277.6819 | 1241752.8777 | 2678290.0029 | 1241719.8611 | 2678292.242 | 1241713.475 | 2678296.0435 | 1241709.0109 | 2678303.3677 | 1241706.8838 | 2678309.5586 | 1241708.7 | 2678314.3816 | 1241712.7665 | 2678325.8586 | 1241733.9663 | 2678330.3403 | 1241750.1369 | 2678332.0608 | 1241764.7033 | 2678331.2021 | 1241788.5049
52 | 2678251.5248 | 1241752.0878 | 2678246.3647 | 1241792.5932
53 | 2678235.556 | 1241745.9368 | 2678233.3491 | 1241745.7771 | 2678233.3491 | 1241745.7771
54 | 2678331.2021 | 1241788.5049 | 2678331.1683 | 1241789.4417
55 | 2678246.3647 | 1241792.5932 | 2678245.191 | 1241801.8063 | 2678245.7301 | 1241812.2037
56 | 2678207.5187 | 1241744.8694 | 2678233.3491 | 1241745.7771
57 | 2678207.5187 | 1241744.8694 | 2678209.3743 | 1241708.4903 | 2678209.3534 | 1241702.7776
58 | 2678203.4397 | 1241744.5822 | 2678207.5187 | 1241744.8694
59 | 2678203.4397 | 1241744.5822 | 2678203.6305 | 1241742.7278 | 2678204.7376 | 1241730.8461
60 | 2678203.4397 | 1241744.5822 | 2678188.6164 | 1241743.5441
61 | 2678169.3511 | 1241617.5876 | 2678170.5466 | 1241641.1691
62 | 2678169.3511 | 1241617.5876 | 2678154.9371 | 1241618.7402
63 | 2678170.5466 | 1241641.1691 | 2678170.8503 | 1241647.1589
64 | 2678204.7376 | 1241730.8461 | 2678204.8546 | 1241729.5902 | 2678205.0412 | 1241723.0252
65 | 2678168.8211 | 1241742.1578 | 2678188.6164 | 1241743.5441
66 | 2678198.4613 | 1241801.0105 | 2678197.4458 | 1241809.5071
67 | 2678197.4458 | 1241809.5071 | 2678196.8304 | 1241814.6559 | 2678197.677 | 1241824.4185 | 2678199.5959 | 1241833.7059 | 2678199.682 | 1241834.031
68 | 2678170.8503 | 1241647.1589 | 2678171.8387 | 1241666.6554
69 | 2678203.0513 | 1241635.2821 | 2678202.692 | 1241628.7152
70 | 2678203.4125 | 1241641.8827 | 2678203.0513 | 1241635.2821
71 | 2678205.0412 | 1241723.0252 | 2678205.2253 | 1241716.5507
72 | 2678168.8211 | 1241742.1578 | 2678169.6116 | 1241726.062
73 | 2678204.96 | 1241858.7581 | 2678203.4202 | 1241848.1443 | 2678199.682 | 1241834.031
74 | 2678169.9496 | 1241719.1811 | 2678169.6116 | 1241726.062
75 | 2678165.3605 | 1241765.9664 | 2678165.1016 | 1241759.3774
76 | 2678170.2502 | 1241713.0612 | 2678169.9496 | 1241719.1811
77 | 2678205.2253 | 1241716.5507 | 2678205.2493 | 1241715.7078 | 2678205.247 | 1241709.4971
78 | 2678166.5927 | 1241797.3201 | 2678165.3605 | 1241765.9664
79 | 2678171.2169 | 1241693.3787 | 2678170.2502 | 1241713.0612
80 | 2678170.1416 | 1241876.6908 | 2678170.0878 | 1241875.5358 | 2678168.8909 | 1241850.1995
81 | 2678170.1416 | 1241876.6908 | 2678171.2002 | 1241899.4131
82 | 2678172.609 | 1241934.3552 | 2678172.4452 | 1241926.1361 | 2678171.2002 | 1241899.4131
83 | 2678203.5271 | 1241935.2409 | 2678172.609 | 1241934.3552
84 | 2678172.609 | 1241934.3552 | 2678158.5198 | 1241934.4781
85 | 2678203.5271 | 1241935.2409 | 2678220.4072 | 1241935.4189
86 | 2678203.5271 | 1241935.2409 | 2678204.8292 | 1241927.6526 | 2678204.9109 | 1241920.1274
87 | 2678205.4959 | 1241866.2321 | 2678205.5341 | 1241862.7158 | 2678204.96 | 1241858.7581
88 | 2678205.4959 | 1241866.2321 | 2678205.3695 | 1241877.8831
89 | 2678205.2007 | 1241893.4255 | 2678205.3695 | 1241877.8831
90 | 2678205.2007 | 1241893.4255 | 2678205.1449 | 1241898.5685
91 | 2678204.9109 | 1241920.1274 | 2678205.1449 | 1241898.5685
92 | 2678331.1683 | 1241789.4417 | 2678331.0873 | 1241791.6859
93 | 2678245.7301 | 1241812.2037 | 2678246.7972 | 1241832.7828
94 | 2678258.9766 | 1241881.3319 | 2678257.895 | 1241873.0527
95 | 2678258.9766 | 1241881.3319 | 2678260.5003 | 1241892.995 | 2678260.9313 | 1241911.7015
96 | 2678331.3296 | 1241815.4892 | 2678330.7132 | 1241802.0565 | 2678331.0873 | 1241791.6859
97 | 2678261.1253 | 1241920.1986 | 2678261.0868 | 1241918.4542 | 2678260.9313 | 1241911.7015
98 | 2678261.4796 | 1241936.2497 | 2678261.1253 | 1241920.1986
99 | 2678224.6534 | 1241937.9211 | 2678220.4072 | 1241935.4189
100 | 2678224.6534 | 1241937.9211 | 2678226.7304 | 1241942.0959 | 2678227.4084 | 1241947.32
101 | 2678224.6534 | 1241937.9211 | 2678227.1971 | 1241935.9421 | 2678241.6648 | 1241936.1663 | 2678246.3747 | 1241936.1861
102 | 2678261.4796 | 1241936.2497 | 2678246.3747 | 1241936.1861
103 | 2678261.4796 | 1241936.2497 | 2678263.2744 | 1241948.3605
104 | 2678264.7489 | 1241958.353 | 2678263.479 | 1241949.7412 | 2678263.2744 | 1241948.3605
105 | 2678335.0286 | 1241833.3826 | 2678332.6949 | 1241824.8489
106 | 2678345.603 | 1241867.2651 | 2678340.1242 | 1241852.0162 | 2678335.0286 | 1241833.3826
107 | 2678331.3296 | 1241815.4892 | 2678331.5704 | 1241820.7366 | 2678332.6949 | 1241824.8489
108 | 2678171.8387 | 1241666.6554 | 2678172.1408 | 1241672.6134
109 | 2678203.7937 | 1241648.8498 | 2678203.4125 | 1241641.8827
110 | 2678172.1408 | 1241672.6134 | 2678172.1896 | 1241673.5758 | 2678171.8169 | 1241681.1636
111 | 2678171.8169 | 1241681.1636 | 2678171.5174 | 1241687.2619
112 | 2678171.5174 | 1241687.2619 | 2678171.2169 | 1241693.3787
113 | 2678205.247 | 1241709.4971 | 2678205.2416 | 1241695.0708 | 2678205.1606 | 1241691.9294
114 | 2678205.1606 | 1241691.9294 | 2678204.9763 | 1241684.781
115 | 2678204.9763 | 1241684.781 | 2678204.8208 | 1241678.7521
116 | 2678204.8208 | 1241678.7521 | 2678204.6646 | 1241672.6938
117 | 2678204.6646 | 1241672.6938 | 2678204.5762 | 1241669.2659 | 2678204.4651 | 1241665.987
118 | 2678204.4651 | 1241665.987 | 2678204.0319 | 1241653.2029 | 2678203.7937 | 1241648.8498

## bus_geodata
| x | y | coords
0 | 2678109.0514 | 1241914.0077
1 | 2678108.9002 | 1241906.5747
2 | 2678106.7011 | 1241851.3732
3 | 2678109.2741 | 1241851.1959
4 | 2678093.9849 | 1241852.5057
5 | 2678119.9482 | 1241832.5896
6 | 2678066.2351 | 1241854.9768
7 | 2678045.5707 | 1241856.5756
8 | 2678039.4587 | 1241857.0485
9 | 2678038.8222 | 1241845.6654
10 | 2678021.4768 | 1241858.4242
11 | 2678119.6913 | 1241819.7106
12 | 2678111.612 | 1241820.9255
13 | 2678167.5813 | 1241822.4763
14 | 2678133.4665 | 1241740.5024
15 | 2678155.3165 | 1241741.532
16 | 2678127.7518 | 1241740.416
17 | 2678166.8528 | 1241803.9382
18 | 2678168.4503 | 1241840.8726
19 | 2678097.5301 | 1241771.5515
20 | 2678126.9626 | 1241721.1204
21 | 2678083.8925 | 1241772.0423
22 | 2678097.1906 | 1241761.3795
23 | 2678049.7336 | 1241601.3133
24 | 2678123.6211 | 1241632.0959
25 | 2678046.7604 | 1241636.0867
26 | 2677904.9508 | 1241850.0435
27 | 2677886.2067 | 1241847.2845
28 | 2677918.2474 | 1241849.0729
29 | 2677992.973 | 1241775.0906
30 | 2678046.9428 | 1241810.0235
31 | 2677939.3263 | 1241842.734
32 | 2677921.1611 | 1241882.8128
33 | 2677908.2259 | 1241883.8994
34 | 2677884.5468 | 1241880.9977
35 | 2678021.6269 | 1241911.9753
36 | 2678027.9635 | 1241911.903
37 | 2678014.1747 | 1241899.7131
38 | 2678014.0071 | 1241886.0123
39 | 2677944.3449 | 1241876.2236
40 | 2678128.7578 | 1241631.8745
41 | 2678152.7741 | 1241618.9131
42 | 2678124.7689 | 1241665.7203
43 | 2678164.582 | 1241741.9686
44 | 2678235.4421 | 1241667.3598
45 | 2678241.2213 | 1241694.7146
46 | 2678251.2056 | 1241747.0578
47 | 2678251.5248 | 1241752.0878
48 | 2678235.556 | 1241745.9368
49 | 2678331.2021 | 1241788.5049
50 | 2678246.3647 | 1241792.5932
51 | 2678233.3491 | 1241745.7771
52 | 2678209.3534 | 1241702.7776
53 | 2678207.5187 | 1241744.8694
54 | 2678203.4397 | 1241744.5822
55 | 2678169.3511 | 1241617.5876
56 | 2678170.5466 | 1241641.1691
57 | 2678154.9371 | 1241618.7402
58 | 2678204.7376 | 1241730.8461
59 | 2678188.6164 | 1241743.5441
60 | 2678198.4613 | 1241801.0105
61 | 2678197.4458 | 1241809.5071
62 | 2678170.8503 | 1241647.1589
63 | 2678202.692 | 1241628.7152
64 | 2678203.0513 | 1241635.2821
65 | 2678205.0412 | 1241723.0252
66 | 2678168.8211 | 1241742.1578
67 | 2678199.682 | 1241834.031
68 | 2678169.6116 | 1241726.062
69 | 2678165.1016 | 1241759.3774
70 | 2678169.9496 | 1241719.1811
71 | 2678205.2253 | 1241716.5507
72 | 2678165.3605 | 1241765.9664
73 | 2678170.2502 | 1241713.0612
74 | 2678168.8909 | 1241850.1995
75 | 2678170.1416 | 1241876.6908
76 | 2678171.2002 | 1241899.4131
77 | 2678172.609 | 1241934.3552
78 | 2678203.5271 | 1241935.2409
79 | 2678158.5198 | 1241934.4781
80 | 2678166.5927 | 1241797.3201
81 | 2678204.96 | 1241858.7581
82 | 2678205.4959 | 1241866.2321
83 | 2678205.3695 | 1241877.8831
84 | 2678205.2008 | 1241893.4255
85 | 2678205.1449 | 1241898.5685
86 | 2678204.9109 | 1241920.1274
87 | 2678331.1683 | 1241789.4417
88 | 2678245.7301 | 1241812.2037
89 | 2678246.7972 | 1241832.7828
90 | 2678257.895 | 1241873.0527
91 | 2678258.9766 | 1241881.3319
92 | 2678331.0873 | 1241791.6859
93 | 2678260.9313 | 1241911.7015
94 | 2678261.1253 | 1241920.1986
95 | 2678220.4072 | 1241935.4189
96 | 2678224.6534 | 1241937.9211
97 | 2678227.4084 | 1241947.32
98 | 2678246.3747 | 1241936.1861
99 | 2678261.4796 | 1241936.2497
100 | 2678263.2744 | 1241948.3605
101 | 2678264.7489 | 1241958.353
102 | 2678335.0286 | 1241833.3826
103 | 2678332.6949 | 1241824.8489
104 | 2678345.603 | 1241867.2651
105 | 2678331.3296 | 1241815.4892
106 | 2678171.8387 | 1241666.6554
107 | 2678203.4125 | 1241641.8827
108 | 2678172.1408 | 1241672.6134
109 | 2678171.8169 | 1241681.1636
110 | 2678171.5174 | 1241687.2619
111 | 2678171.2169 | 1241693.3787
112 | 2678205.247 | 1241709.4971
113 | 2678205.1606 | 1241691.9294
114 | 2678204.9763 | 1241684.781
115 | 2678204.8208 | 1241678.7521
116 | 2678204.6646 | 1241672.6938
117 | 2678204.4651 | 1241665.987
118 | 2678203.7937 | 1241648.8498
119 | 2678097.0319 | 1241756.6274
120 | 2678108.737 | 1241821.3565

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1