## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3-8_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3-8_0_2_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_3-8_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3-8_0_2_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_3-8_0_2_node_223 | 0.4 | n |  | TRUE
7 | bus_LV_3-8_0_2_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_3-8_0_2_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_3-8_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3-8_0_2_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_3-8_0_2_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_3-8_0_2_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_3-8_0_2_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_3-8_0_2_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_3-8_0_2_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_3-8_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3-8_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3-8_0_2_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_3-8_0_2_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_3-8_0_2_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_3-8_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_3-8_0_2_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_3-8_0_2_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_3-8_0_2_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3-8_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3-8_0_2_node_160 | 0.4 | n |  | TRUE
27 | bus_LV_3-8_0_2_node_157 | 0.4 | n |  | TRUE
28 | bus_LV_3-8_0_2_node_168 | 0.4 | n |  | TRUE
29 | bus_LV_3-8_0_2_node_161 | 0.4 | n |  | TRUE
30 | bus_LV_3-8_0_2_node_203 | 0.4 | n |  | TRUE
31 | bus_LV_3-8_0_2_node_159 | 0.4 | n |  | TRUE
32 | bus_LV_3-8_0_2_node_158 | 0.4 | n |  | TRUE
33 | bus_LV_3-8_0_2_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_3-8_0_2_node_204 | 0.4 | n |  | TRUE
35 | bus_LV_3-8_0_2_node_205 | 0.4 | n |  | TRUE
36 | bus_LV_3-8_0_2_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_3-8_0_2_node_167 | 0.4 | n |  | TRUE
38 | bus_LV_3-8_0_2_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_3-8_0_2_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_3-8_0_2_node_186 | 0.4 | n |  | TRUE
41 | bus_LV_3-8_0_2_node_189 | 0.4 | n |  | TRUE
42 | bus_LV_3-8_0_2_node_185 | 0.4 | n |  | TRUE
43 | bus_LV_3-8_0_2_node_193 | 0.4 | n |  | TRUE
44 | bus_LV_3-8_0_2_node_192 | 0.4 | n |  | TRUE
45 | bus_LV_3-8_0_2_node_188 | 0.4 | n |  | TRUE
46 | bus_LV_3-8_0_2_node_218 | 0.4 | n |  | TRUE
47 | bus_LV_3-8_0_2_node_219 | 0.4 | n |  | TRUE
48 | bus_LV_3-8_0_2_node_217 | 0.4 | n |  | TRUE
49 | bus_LV_3-8_0_2_node_260 | 0.4 | n |  | TRUE
50 | bus_LV_3-8_0_2_node_261 | 0.4 | n |  | TRUE
51 | bus_LV_3-8_0_2_node_187 | 0.4 | n |  | TRUE
52 | bus_LV_3-8_0_2_node_184 | 0.4 | n |  | TRUE
53 | bus_LV_3-8_0_2_node_206 | 0.4 | n |  | TRUE
54 | bus_LV_3-8_0_2_node_140 | 0.4 | n |  | TRUE
55 | bus_LV_3-8_0_2_node_118 | 0.4 | n |  | TRUE
56 | bus_LV_3-8_0_2_node_262 | 0.4 | n |  | TRUE
57 | bus_LV_3-8_0_2_node_264 | 0.4 | n |  | TRUE
58 | bus_LV_3-8_0_2_node_117 | 0.4 | n |  | TRUE
59 | bus_LV_3-8_0_2_node_113 | 0.4 | n |  | TRUE
60 | bus_LV_3-8_0_2_node_115 | 0.4 | n |  | TRUE
61 | bus_LV_3-8_0_2_node_116 | 0.4 | n |  | TRUE
62 | bus_LV_3-8_0_2_node_111 | 0.4 | n |  | TRUE
63 | bus_LV_3-8_0_2_node_163 | 0.4 | n |  | TRUE
64 | bus_LV_3-8_0_2_node_166 | 0.4 | n |  | TRUE
65 | bus_LV_3-8_0_2_node_190 | 0.4 | n |  | TRUE
66 | bus_LV_3-8_0_2_node_191 | 0.4 | n |  | TRUE
67 | bus_LV_3-8_0_2_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_3-8_0_2_node_137 | 0.4 | n |  | TRUE
69 | bus_LV_3-8_0_2_node_136 | 0.4 | n |  | TRUE
70 | bus_LV_3-8_0_2_node_120 | 0.4 | n |  | TRUE
71 | bus_LV_3-8_0_2_node_148 | 0.4 | n |  | TRUE
72 | bus_LV_3-8_0_2_node_155 | 0.4 | n |  | TRUE
73 | bus_LV_3-8_0_2_node_165 | 0.4 | n |  | TRUE
74 | bus_LV_3-8_0_2_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_3-8_0_2_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_3-8_0_2_node_151 | 0.4 | n |  | TRUE
77 | bus_LV_3-8_0_2_node_156 | 0.4 | n |  | TRUE
78 | bus_LV_3-8_0_2_node_225 | 0.4 | n |  | TRUE
79 | bus_LV_3-8_0_2_node_177 | 0.4 | n |  | TRUE
80 | bus_LV_3-8_0_2_node_178 | 0.4 | n |  | TRUE
81 | bus_LV_3-8_0_2_node_152 | 0.4 | n |  | TRUE
82 | bus_LV_3-8_0_2_node_224 | 0.4 | n |  | TRUE
83 | bus_LV_3-8_0_2_node_227 | 0.4 | n |  | TRUE
84 | bus_LV_3-8_0_2_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3-8_0_2_node_109 | 0.4 | n |  | TRUE
86 | bus_LV_3-8_0_2_node_107 | 0.4 | n |  | TRUE
87 | bus_LV_3-8_0_2_node_114 | 0.4 | n |  | TRUE
88 | bus_LV_3-8_0_2_node_106 | 0.4 | n |  | TRUE
89 | bus_LV_3-8_0_2_node_108 | 0.4 | n |  | TRUE
90 | bus_LV_3-8_0_2_node_110 | 0.4 | n |  | TRUE
91 | bus_LV_3-8_0_2_node_135 | 0.4 | n |  | TRUE
92 | bus_LV_3-8_0_2_node_112 | 0.4 | n |  | TRUE
93 | bus_LV_3-8_0_2_node_164 | 0.4 | n |  | TRUE
94 | bus_LV_3-8_0_2_node_162 | 0.4 | n |  | TRUE
95 | bus_LV_3-8_0_2_node_273 | 0.4 | n |  | TRUE
96 | bus_LV_3-8_0_2_node_146 | 0.4 | n |  | TRUE
97 | bus_LV_3-8_0_2_node_229 | 0.4 | n |  | TRUE
98 | bus_LV_3-8_0_2_node_147 | 0.4 | n |  | TRUE
99 | bus_LV_3-8_0_2_node_230 | 0.4 | n |  | TRUE
100 | bus_LV_3-8_0_2_node_153 | 0.4 | n |  | TRUE
101 | bus_LV_3-8_0_2_node_211 | 0.4 | n |  | TRUE
102 | bus_LV_3-8_0_2_node_154 | 0.4 | n |  | TRUE
103 | bus_LV_3-8_0_2_node_212 | 0.4 | n |  | TRUE
104 | bus_LV_3-8_0_2_node_213 | 0.4 | n |  | TRUE
105 | bus_LV_3-8_0_2_node_221 | 0.4 | n |  | TRUE
106 | bus_LV_3-8_0_2_node_174 | 0.4 | n |  | TRUE
107 | bus_LV_3-8_0_2_node_197 | 0.4 | n |  | TRUE
108 | bus_LV_3-8_0_2_node_202 | 0.4 | n |  | TRUE
109 | bus_LV_3-8_0_2_node_195 | 0.4 | n |  | TRUE
110 | bus_LV_3-8_0_2_node_169 | 0.4 | n |  | TRUE
111 | bus_LV_3-8_0_2_node_220 | 0.4 | n |  | TRUE
112 | bus_LV_3-8_0_2_node_208 | 0.4 | n |  | TRUE
113 | bus_LV_3-8_0_2_node_210 | 0.4 | n |  | TRUE
114 | bus_LV_3-8_0_2_node_207 | 0.4 | n |  | TRUE
115 | bus_LV_3-8_0_2_node_175 | 0.4 | n |  | TRUE
116 | bus_LV_3-8_0_2_node_176 | 0.4 | n |  | TRUE
117 | bus_LV_3-8_0_2_node_170 | 0.4 | n |  | TRUE
118 | bus_LV_3-8_0_2_node_171 | 0.4 | n |  | TRUE
119 | bus_LV_3-8_0_2_node_172 | 0.4 | n |  | TRUE
120 | bus_LV_3-8_0_2_node_173 | 0.4 | n |  | TRUE
121 | bus_LV_3-8_0_2_node_215 | 0.4 | n |  | TRUE
122 | bus_LV_3-8_0_2_node_216 | 0.4 | n |  | TRUE
123 | bus_LV_3-8_0_2_node_180 | 0.4 | n |  | TRUE
124 | bus_LV_3-8_0_2_node_181 | 0.4 | n |  | TRUE
125 | bus_LV_3-8_0_2_node_182 | 0.4 | n |  | TRUE
126 | bus_LV_3-8_0_2_node_183 | 0.4 | n |  | TRUE
127 | bus_LV_3-8_0_2_node_266 | 0.4 | n |  | TRUE
128 | bus_LV_3-8_0_2_node_267 | 0.4 | n |  | TRUE
129 | bus_LV_3-8_0_2_node_263 | 0.4 | n |  | TRUE
130 | bus_LV_3-8_0_2_node_194 | 0.4 | n |  | TRUE
131 | bus_LV_3-8_0_2_node_196 | 0.4 | n |  | TRUE
132 | bus_LV_3-8_0_2_node_259 | 0.4 | n |  | TRUE
133 | bus_LV_3-8_0_2_node_198 | 0.4 | n |  | TRUE
134 | bus_LV_3-8_0_2_node_199 | 0.4 | n |  | TRUE
135 | bus_LV_3-8_0_2_node_200 | 0.4 | n |  | TRUE
136 | bus_LV_3-8_0_2_node_201 | 0.4 | n |  | TRUE
137 | bus_LV_3-8_0_2_node_222 | 0.4 | n |  | TRUE
138 | bus_LV_3-8_0_2_node_214 | 0.4 | n |  | TRUE
139 | bus_LV_3-8_0_2_node_209 | 0.4 | n |  | TRUE
140 | bus_LV_3-8_0_2_node_268 | 0.4 | n |  | TRUE
141 | bus_LV_3-8_0_2_node_269 | 0.4 | n |  | TRUE
142 | bus_LV_3-8_0_2_node_231 | 0.4 | n |  | TRUE
143 | bus_LV_3-8_0_2_node_232 | 0.4 | n |  | TRUE
144 | bus_LV_3-8_0_2_node_233 | 0.4 | n |  | TRUE
145 | bus_LV_3-8_0_2_node_234 | 0.4 | n |  | TRUE
146 | bus_LV_3-8_0_2_node_235 | 0.4 | n |  | TRUE
147 | bus_LV_3-8_0_2_node_236 | 0.4 | n |  | TRUE
148 | bus_LV_3-8_0_2_node_272 | 0.4 | n |  | TRUE
149 | bus_LV_3-8_0_2_node_270 | 0.4 | n |  | TRUE
150 | bus_LV_3-8_0_2_node_271 | 0.4 | n |  | TRUE
151 | bus_MV_358_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3-8_0_2_load_0 | 0 | 0.00067035 | 0.00016801 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3-8_0_2_load_1 | 1 | 0.001994 | 0.00049974 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3-8_0_2_load_3 | 2 | 0.0012063 | 0.00030234 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3-8_0_2_load_40 | 3 | 0.0010564 | 0.00026476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3-8_0_2_load_223 | 6 | 0.0013377 | 0.00033525 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3-8_0_2_load_39 | 7 | 0.0012796 | 0.0003207 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3-8_0_2_load_25 | 10 | 0.00025817 | 6.4703e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3-8_0_2_load_26 | 11 | 0.0017049 | 0.00042729 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3-8_0_2_load_43 | 14 | 0.0013019 | 0.00032629 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3-8_0_2_load_9 | 16 | 0.0010192 | 0.00025544 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3-8_0_2_load_10 | 17 | 0.0042855 | 0.001074 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3-8_0_2_load_6 | 18 | 0.0029593 | 0.00074166 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3-8_0_2_load_38 | 20 | 0.000196 | 4.9121e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3-8_0_2_load_12 | 22 | 0.00094293 | 0.00023632 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3-8_0_2_load_15 | 25 | 0.0015378 | 0.0003854 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3-8_0_2_load_160 | 26 | 0.00058229 | 0.00014593 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3-8_0_2_load_157 | 27 | 0.00066223 | 0.00016597 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3-8_0_2_load_168 | 28 | 0.00093628 | 0.00023465 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3-8_0_2_load_158 | 32 | 0.0012697 | 0.00031821 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3-8_0_2_load_204 | 34 | 0.0017011 | 0.00042635 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3-8_0_2_load_167 | 37 | 0.0029137 | 0.00073024 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3-8_0_2_load_41 | 38 | 0.0013108 | 0.00032851 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3-8_0_2_load_186 | 40 | 0.00074962 | 0.00018787 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3-8_0_2_load_193 | 43 | 0.0026853 | 0.00067299 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3-8_0_2_load_192 | 44 | 0.0024105 | 0.00060414 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3-8_0_2_load_217 | 48 | 0.0083273 | 0.002087 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3-8_0_2_load_261 | 50 | 0.00067703 | 0.00016968 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3-8_0_2_load_187 | 51 | 0.00081048 | 0.00020313 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3-8_0_2_load_184 | 52 | 0.00078539 | 0.00019684 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3-8_0_2_load_206 | 53 | 0.00066845 | 0.00016753 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3-8_0_2_load_140 | 54 | 0.0058152 | 0.0014574 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3-8_0_2_load_264 | 57 | 0.0023065 | 0.00057806 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3-8_0_2_load_115 | 60 | 0.001975 | 0.00049497 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3-8_0_2_load_111 | 62 | 0.0017643 | 0.00044219 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3-8_0_2_load_166 | 64 | 0.0020594 | 0.00051614 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3-8_0_2_load_190 | 65 | 0.0016996 | 0.00042595 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3-8_0_2_load_191 | 66 | 0.0022223 | 0.00055697 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3-8_0_2_load_137 | 68 | 0.0019516 | 0.00048912 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3-8_0_2_load_136 | 69 | 0.001723 | 0.00043184 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3-8_0_2_load_155 | 72 | 0.0027878 | 0.00069869 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3-8_0_2_load_165 | 73 | 0.0022563 | 0.00056548 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3-8_0_2_load_151 | 76 | 0.0024057 | 0.00060292 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3-8_0_2_load_156 | 77 | 0.0050387 | 0.0012628 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3-8_0_2_load_225 | 78 | 0.0030306 | 0.00075953 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3-8_0_2_load_177 | 79 | 0.0032101 | 0.00080452 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3-8_0_2_load_178 | 80 | 0.0016463 | 0.00041261 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3-8_0_2_load_224 | 82 | 0.0023603 | 0.00059154 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3-8_0_2_load_227 | 83 | 0.0018011 | 0.0004514 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3-8_0_2_load_82 | 84 | 0.012173 | 0.0030508 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3-8_0_2_load_109 | 85 | 0.0067095 | 0.0016816 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3-8_0_2_load_107 | 86 | 0.0068607 | 0.0017195 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3-8_0_2_load_114 | 87 | 0.012621 | 0.003163 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3-8_0_2_load_106 | 88 | 0.0017085 | 0.00042818 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3-8_0_2_load_108 | 89 | 0.0017262 | 0.00043262 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3-8_0_2_load_110 | 90 | 0.0017625 | 0.00044173 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3-8_0_2_load_135 | 91 | 0.0017802 | 0.00044616 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3-8_0_2_load_112 | 92 | 0.0017939 | 0.00044958 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3-8_0_2_load_164 | 93 | 0.002688 | 0.00067366 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3-8_0_2_load_162 | 94 | 0.0020589 | 0.000516 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3-8_0_2_load_273 | 95 | 0.0016079 | 0.00040297 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3-8_0_2_load_146 | 96 | 0.001819 | 0.00045588 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3-8_0_2_load_229 | 97 | 0.0018208 | 0.00045634 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3-8_0_2_load_147 | 98 | 0.0018052 | 0.00045242 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3-8_0_2_load_230 | 99 | 0.0018021 | 0.00045164 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3-8_0_2_load_211 | 101 | 0.00075184 | 0.00018843 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3-8_0_2_load_154 | 102 | 0.0024295 | 0.0006089 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3-8_0_2_load_213 | 104 | 0.0012371 | 0.00031004 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3-8_0_2_load_195 | 109 | 0.00096891 | 0.00024283 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3-8_0_2_load_169 | 110 | 0.0014026 | 0.00035154 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3-8_0_2_load_220 | 111 | 0.0014094 | 0.00035322 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3-8_0_2_load_210 | 113 | 0.0021538 | 0.0005398 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3-8_0_2_load_207 | 114 | 0.0022061 | 0.00055289 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3-8_0_2_load_175 | 115 | 0.001219 | 0.0003055 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3-8_0_2_load_176 | 116 | 0.00081468 | 0.00020418 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3-8_0_2_load_170 | 117 | 0.00074139 | 0.00018581 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3-8_0_2_load_171 | 118 | 0.00071014 | 0.00017798 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3-8_0_2_load_172 | 119 | 0.0015354 | 0.00038482 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3-8_0_2_load_173 | 120 | 0.0023072 | 0.00057825 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3-8_0_2_load_215 | 121 | 0.0013872 | 0.00034766 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3-8_0_2_load_216 | 122 | 0.0013817 | 0.0003463 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3-8_0_2_load_180 | 123 | 0.00085616 | 0.00021457 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3-8_0_2_load_181 | 124 | 0.0014126 | 0.00035402 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3-8_0_2_load_182 | 125 | 0.0013937 | 0.0003493 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3-8_0_2_load_183 | 126 | 0.001134 | 0.0002842 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3-8_0_2_load_266 | 127 | 0.00084925 | 0.00021284 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3-8_0_2_load_263 | 129 | 0.00090191 | 0.00022604 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3-8_0_2_load_194 | 130 | 0.0014377 | 0.00036033 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3-8_0_2_load_196 | 131 | 0.001333 | 0.00033408 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3-8_0_2_load_259 | 132 | 0.0057831 | 0.0014494 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3-8_0_2_load_198 | 133 | 0.00036773 | 9.2161e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3-8_0_2_load_199 | 134 | 0.0022197 | 0.00055632 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3-8_0_2_load_200 | 135 | 0.00037239 | 9.3331e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3-8_0_2_load_201 | 136 | 0.0012585 | 0.0003154 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3-8_0_2_load_222 | 137 | 0.0023852 | 0.00059779 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3-8_0_2_load_214 | 138 | 0.00069042 | 0.00017304 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3-8_0_2_load_209 | 139 | 0.0042198 | 0.0010576 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3-8_0_2_load_268 | 140 | 0.00068781 | 0.00017238 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3-8_0_2_load_231 | 142 | 0.0016889 | 0.00042329 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3-8_0_2_load_232 | 143 | 0.0016986 | 0.00042571 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3-8_0_2_load_233 | 144 | 0.001791 | 0.00044886 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3-8_0_2_load_234 | 145 | 0.0018034 | 0.00045199 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3-8_0_2_load_235 | 146 | 0.0016938 | 0.0004245 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3-8_0_2_load_236 | 147 | 0.001687 | 0.00042279 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3-8_0_2_load_272 | 148 | 0.00068523 | 0.00017173 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3-8_0_2_load_271 | 150 | 0.00068591 | 0.0001719 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 150 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3-8_0_2_line_0 |  | 0 | 1 | 0.022466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3-8_0_2_line_1 |  | 1 | 2 | 0.001446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3-8_0_2_line_2 |  | 2 | 3 | 0.012095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3-8_0_2_line_3 |  | 3 | 7 | 0.017253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3-8_0_2_line_4 |  | 4 | 5 | 0.084226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3-8_0_2_line_5 |  | 4 | 6 | 0.01444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3-8_0_2_line_6 |  | 5 | 11 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3-8_0_2_line_7 |  | 6 | 15 | 0.053852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3-8_0_2_line_8 |  | 7 | 38 | 0.024006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3-8_0_2_line_9 |  | 8 | 9 | 0.24673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3-8_0_2_line_10 |  | 8 | 10 | 0.070709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3-8_0_2_line_11 |  | 9 | 20 | 0.1189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3-8_0_2_line_12 |  | 9 | 19 | 0.057433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3-8_0_2_line_13 |  | 10 | 11 | 0.0065623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3-8_0_2_line_14 |  | 12 | 13 | 0.13728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3-8_0_2_line_15 |  | 12 | 14 | 0.06418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3-8_0_2_line_16 |  | 13 | 33 | 0.05133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3-8_0_2_line_17 |  | 13 | 34 | 0.039358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3-8_0_2_line_18 |  | 15 | 35 | 0.005037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3-8_0_2_line_19 |  | 16 | 17 | 0.03377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3-8_0_2_line_20 |  | 17 | 21 | 0.025037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3-8_0_2_line_21 |  | 18 | 19 | 0.036993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3-8_0_2_line_22 |  | 21 | 22 | 0.012615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3-8_0_2_line_23 |  | 22 | 23 | 0.044736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3-8_0_2_line_24 |  | 23 | 24 | 0.030647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3-8_0_2_line_25 |  | 23 | 25 | 0.082545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3-8_0_2_line_26 |  | 24 | 26 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3-8_0_2_line_27 |  | 24 | 27 | 0.021694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3-8_0_2_line_28 |  | 26 | 28 | 0.021447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3-8_0_2_line_29 |  | 27 | 32 | 0.02527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3-8_0_2_line_30 |  | 28 | 110 | 1.8204e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3-8_0_2_line_31 |  | 29 | 30 | 0.013789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3-8_0_2_line_32 |  | 29 | 31 | 0.004618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3-8_0_2_line_33 |  | 30 | 48 | 0.014978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3-8_0_2_line_34 |  | 30 | 107 | 0.011627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3-8_0_2_line_35 |  | 31 | 32 | 0.0018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3-8_0_2_line_36 |  | 33 | 36 | 0.0095641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3-8_0_2_line_37 |  | 33 | 37 | 0.017097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3-8_0_2_line_38 |  | 34 | 35 | 0.059649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3-8_0_2_line_39 |  | 35 | 53 | 0.024078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3-8_0_2_line_40 |  | 36 | 54 | 0.0062642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3-8_0_2_line_41 |  | 37 | 73 | 0.021265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3-8_0_2_line_42 |  | 38 | 39 | 0.0097476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3-8_0_2_line_43 |  | 39 | 40 | 0.018285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_3-8_0_2_line_44 |  | 39 | 41 | 0.039509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_3-8_0_2_line_45 |  | 40 | 42 | 0.019681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_3-8_0_2_line_46 |  | 41 | 49 | 0.007308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_3-8_0_2_line_47 |  | 41 | 50 | 0.018371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3-8_0_2_line_48 |  | 42 | 51 | 0.011172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3-8_0_2_line_49 |  | 42 | 52 | 0.033815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3-8_0_2_line_50 |  | 43 | 44 | 0.028343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3-8_0_2_line_51 |  | 44 | 66 | 0.022828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3-8_0_2_line_52 |  | 45 | 46 | 0.026862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_3-8_0_2_line_53 |  | 45 | 47 | 0.002897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3-8_0_2_line_54 |  | 45 | 48 | 0.023817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3-8_0_2_line_55 |  | 46 | 127 | 0.014969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3-8_0_2_line_56 |  | 46 | 128 | 0.006734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_3-8_0_2_line_57 |  | 47 | 51 | 0.0067308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_3-8_0_2_line_58 |  | 47 | 111 | 0.013141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3-8_0_2_line_59 |  | 49 | 129 | 0.030723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3-8_0_2_line_60 |  | 49 | 56 | 0.023435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_3-8_0_2_line_61 |  | 52 | 125 | 0.00095901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3-8_0_2_line_62 |  | 53 | 138 | 0.017714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3-8_0_2_line_63 |  | 54 | 87 | 0.019025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3-8_0_2_line_64 |  | 55 | 56 | 0.009028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3-8_0_2_line_65 |  | 55 | 57 | 0.032894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3-8_0_2_line_66 |  | 55 | 58 | 0.041244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_3-8_0_2_line_67 |  | 56 | 95 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3-8_0_2_line_68 |  | 58 | 66 | 0.018429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3-8_0_2_line_69 |  | 58 | 65 | 0.0021174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3-8_0_2_line_70 |  | 59 | 60 | 0.0095625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3-8_0_2_line_71 |  | 59 | 61 | 0.017065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3-8_0_2_line_72 |  | 59 | 62 | 0.028227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3-8_0_2_line_73 |  | 60 | 67 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3-8_0_2_line_74 |  | 61 | 63 | 0.02401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3-8_0_2_line_75 |  | 61 | 64 | 0.016526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3-8_0_2_line_76 |  | 61 | 65 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3-8_0_2_line_77 |  | 62 | 92 | 0.00024731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3-8_0_2_line_78 |  | 63 | 93 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3-8_0_2_line_79 |  | 63 | 94 | 0.034822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3-8_0_2_line_80 |  | 64 | 73 | 0.019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3-8_0_2_line_81 |  | 67 | 68 | 0.018421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3-8_0_2_line_82 |  | 67 | 69 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3-8_0_2_line_83 |  | 68 | 96 | 0.011041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3-8_0_2_line_84 |  | 69 | 91 | 0.0012616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3-8_0_2_line_85 |  | 70 | 71 | 0.003774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3-8_0_2_line_86 |  | 70 | 72 | 0.035739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3-8_0_2_line_87 |  | 71 | 97 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3-8_0_2_line_88 |  | 71 | 98 | 0.018779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3-8_0_2_line_89 |  | 71 | 83 | 0.022097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3-8_0_2_line_90 |  | 74 | 75 | 0.005514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3-8_0_2_line_91 |  | 74 | 76 | 0.014494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3-8_0_2_line_92 |  | 75 | 77 | 0.0038524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3-8_0_2_line_93 |  | 75 | 78 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3-8_0_2_line_94 |  | 76 | 81 | 0.015182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3-8_0_2_line_95 |  | 78 | 82 | 0.024111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3-8_0_2_line_96 |  | 79 | 80 | 9.5415e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3-8_0_2_line_97 |  | 80 | 121 | 0.043088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3-8_0_2_line_98 |  | 81 | 100 | 0.008655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3-8_0_2_line_99 |  | 82 | 137 | 0.012035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3-8_0_2_line_100 |  | 84 | 85 | 0.033224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3-8_0_2_line_101 |  | 85 | 86 | 0.030578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3-8_0_2_line_102 |  | 86 | 88 | 0.030303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3-8_0_2_line_103 |  | 88 | 89 | 9.565e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3-8_0_2_line_104 |  | 89 | 90 | 9.4776e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3-8_0_2_line_105 |  | 90 | 91 | 0.0066015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3-8_0_2_line_106 |  | 93 | 112 | 0.017585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3-8_0_2_line_107 |  | 96 | 98 | 0.026751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3-8_0_2_line_108 |  | 97 | 99 | 0.0030129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3-8_0_2_line_109 |  | 99 | 142 | 0.015556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3-8_0_2_line_110 |  | 100 | 101 | 0.013731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3-8_0_2_line_111 |  | 101 | 103 | 0.0051265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3-8_0_2_line_112 |  | 102 | 103 | 0.0059792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3-8_0_2_line_113 |  | 103 | 106 | 0.010433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3-8_0_2_line_114 |  | 104 | 105 | 0.0035013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3-8_0_2_line_115 |  | 105 | 137 | 0.020651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3-8_0_2_line_116 |  | 105 | 108 | 0.024928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3-8_0_2_line_117 |  | 106 | 121 | 0.0080589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3-8_0_2_line_118 |  | 106 | 119 | 0.0086162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3-8_0_2_line_119 |  | 107 | 108 | 0.012086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3-8_0_2_line_120 |  | 107 | 109 | 0.035729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3-8_0_2_line_121 |  | 108 | 132 | 0.057407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3-8_0_2_line_122 |  | 109 | 130 | 0.026267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3-8_0_2_line_123 |  | 110 | 115 | 0.023858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3-8_0_2_line_124 |  | 112 | 113 | 0.0086636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_3-8_0_2_line_125 |  | 112 | 114 | 0.012737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3-8_0_2_line_126 |  | 113 | 136 | 0.0077617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3-8_0_2_line_127 |  | 114 | 139 | 0.015711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_3-8_0_2_line_128 |  | 115 | 116 | 0.0004577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_3-8_0_2_line_129 |  | 116 | 123 | 0.0083726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3-8_0_2_line_130 |  | 117 | 118 | 0.00034816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_3-8_0_2_line_131 |  | 117 | 119 | 0.011613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_3-8_0_2_line_132 |  | 118 | 120 | 0.0036777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_3-8_0_2_line_133 |  | 121 | 122 | 0.012094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_3-8_0_2_line_134 |  | 124 | 125 | 0.011555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_3-8_0_2_line_135 |  | 124 | 126 | 0.011783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_3-8_0_2_line_136 |  | 128 | 140 | 0.026882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_3-8_0_2_line_137 |  | 128 | 141 | 0.026619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
138 | LV_3-8_0_2_line_138 |  | 130 | 131 | 0.0098749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_3-8_0_2_line_139 |  | 133 | 134 | 0.018734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3-8_0_2_line_140 |  | 133 | 135 | 0.018664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3-8_0_2_line_141 |  | 134 | 136 | 0.010828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_3-8_0_2_line_142 |  | 141 | 148 | 0.015807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_3-8_0_2_line_143 |  | 141 | 149 | 0.005826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
144 | LV_3-8_0_2_line_144 |  | 142 | 143 | 0.00010488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_3-8_0_2_line_145 |  | 143 | 144 | 0.0043865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_3-8_0_2_line_146 |  | 144 | 145 | 5.6433e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_3-8_0_2_line_147 |  | 145 | 146 | 0.013956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_3-8_0_2_line_148 |  | 146 | 147 | 5.3909e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_3-8_0_2_line_149 |  | 149 | 150 | 0.0282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3-8_0_2_trafo_271 | 0.63 MVA 20/0.4 kV | 151 | 150 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2677255.5519 | 1241001.3518 | 2677261.5488 | 1240997.3213 | 2677273.8876 | 1240988.376
1 | 2677273.8876 | 1240988.376 | 2677275.0583 | 1240987.5272
2 | 2677284.952 | 1240980.5935 | 2677283.8621 | 1240981.1447 | 2677275.0583 | 1240987.5272
3 | 2677300.3699 | 1240972.8498 | 2677294.3435 | 1240975.8441 | 2677284.952 | 1240980.5935
4 | 2677223.266 | 1241133.7306 | 2677222.6256 | 1241139.3596 | 2677214.71 | 1241156.1129 | 2677207.9875 | 1241168.9345 | 2677191.7217 | 1241161.4733 | 2677181.6149 | 1241156.6163 | 2677167.2232 | 1241148.6569
5 | 2677223.266 | 1241133.7306 | 2677237.4675 | 1241136.3462
6 | 2677167.2232 | 1241148.6569 | 2677170.1627 | 1241166.887
7 | 2677290.7614 | 1241144.005 | 2677270.8464 | 1241141.5552 | 2677245.0285 | 1241137.7387 | 2677237.4675 | 1241136.3462
8 | 2677300.3699 | 1240972.8498 | 2677316.3466 | 1240964.9118 | 2677322.3331 | 1240963.434
9 | 2677164.597 | 1241240.1206 | 2677150.0958 | 1241244.6687 | 2677133.5706 | 1241245.5435 | 2677123.2838 | 1241244.6426 | 2677110.5931 | 1241240.7973 | 2677100.4407 | 1241235.3727 | 2677090.022 | 1241227.7542 | 2677078.4169 | 1241217.7409 | 2677044.195 | 1241182.1828 | 2677038.1339 | 1241174.9546 | 2677028.5307 | 1241162.1654 | 2677024.8587 | 1241158.4485 | 2677020.8791 | 1241153.9715 | 2677013.307 | 1241153.6286 | 2677006.3326 | 1241154.4276 | 2676999.0163 | 1241156.523 | 2676991.9079 | 1241159.4885 | 2676980.2706 | 1241165.9199 | 2676968.9633 | 1241173.7344 | 2676961.658 | 1241178.4764
10 | 2677164.597 | 1241240.1206 | 2677163.34 | 1241236.7686 | 2677175.5607 | 1241216.8801 | 2677174.0522 | 1241191.0089 | 2677171.2074 | 1241173.3656
11 | 2676961.658 | 1241178.4764 | 2676962.5167 | 1241185.1477 | 2676961.5583 | 1241191.9957 | 2676959.0377 | 1241205.606 | 2676955.1717 | 1241223.8465 | 2676951.7733 | 1241236.9339 | 2676945.8111 | 1241254.7247 | 2676935.8232 | 1241278.5899 | 2676929.8872 | 1241290.2879 | 2676929.1196 | 1241291.5723
12 | 2676905.0676 | 1241180.9114 | 2676928.4126 | 1241183.5824 | 2676941.087 | 1241184.047 | 2676947.7839 | 1241183.0664 | 2676955.8266 | 1241180.9358 | 2676961.658 | 1241178.4764
13 | 2677170.1627 | 1241166.887 | 2677171.2074 | 1241173.3656
14 | 2677315.745 | 1241264.0595 | 2677322.2381 | 1241256.094 | 2677334.2148 | 1241238.1373 | 2677337.1004 | 1241231.9705 | 2677340.1427 | 1241225.3833 | 2677349.0159 | 1241225.6769 | 2677357.4896 | 1241227.0327 | 2677358.0514 | 1241225.1164 | 2677369.7768 | 1241184.6962 | 2677371.591 | 1241179.5162 | 2677373.5754 | 1241176.9403 | 2677376.5756 | 1241175.3338 | 2677379.5091 | 1241174.1934 | 2677380.8496 | 1241171.131 | 2677382.4946 | 1241167.3386 | 2677383.0169 | 1241166.1335 | 2677383.2585 | 1241165.5807 | 2677384.8799 | 1241161.8547 | 2677385.3009 | 1241160.8817
15 | 2677315.745 | 1241264.0595 | 2677309.4428 | 1241271.3048 | 2677296.4027 | 1241285.0002 | 2677270.0099 | 1241308.991
16 | 2677428.0613 | 1241141.1253 | 2677426.8978 | 1241143.9454 | 2677424.902 | 1241145.654 | 2677422.3404 | 1241146.6768 | 2677416.6359 | 1241148.0812 | 2677410.3678 | 1241150.3789 | 2677405.5483 | 1241154.0742 | 2677402.4919 | 1241158.2595 | 2677399.9058 | 1241161.1612 | 2677396.6662 | 1241162.5755 | 2677391.8993 | 1241162.8247 | 2677387.5352 | 1241161.7559 | 2677385.3009 | 1241160.8817
17 | 2677385.3009 | 1241160.8817 | 2677378.1159 | 1241158.1084 | 2677363.0194 | 1241153.197 | 2677347.768 | 1241149.142
18 | 2677288.9854 | 1241139.2897 | 2677290.7614 | 1241144.005
19 | 2677241.881 | 1240807.0418 | 2677272.9733 | 1240820.2194
20 | 2677295.8607 | 1240830.3612 | 2677284.3227 | 1240825.0295 | 2677272.9733 | 1240820.2194
21 | 2676905.0676 | 1241180.9114 | 2676868.2021 | 1241177.8414
22 | 2677295.8607 | 1240830.3612 | 2677304.0975 | 1240834.8494 | 2677306.74 | 1240836.7156
23 | 2677342.2231 | 1240863.9331 | 2677333.0181 | 1240856.5636 | 2677318.4538 | 1240844.9879 | 2677306.74 | 1240836.7156
24 | 2677366.3549 | 1240882.8942 | 2677350.6506 | 1240870.025 | 2677342.2231 | 1240863.9331
25 | 2677342.2231 | 1240863.9331 | 2677348.6849 | 1240853.1764 | 2677386.2467 | 1240794.1113
26 | 2677366.3549 | 1240882.8942 | 2677375.6719 | 1240868.5717
27 | 2677366.3549 | 1240882.8942 | 2677372.8107 | 1240883.6233 | 2677384.679 | 1240893.1147
28 | 2677387.3665 | 1240850.5941 | 2677375.6719 | 1240868.5717
29 | 2677405.3692 | 1240907.5435 | 2677401.6617 | 1240905.4258 | 2677396.1715 | 1240901.974 | 2677391.8492 | 1240898.8488 | 2677384.679 | 1240893.1147
30 | 2677387.3675 | 1240850.5925 | 2677387.3665 | 1240850.5941
31 | 2677404.1753 | 1240912.1411 | 2677414.3295 | 1240921.5023
32 | 2677404.1753 | 1240912.1411 | 2677406.553 | 1240908.9921 | 2677406.9608 | 1240908.4526
33 | 2677414.3295 | 1240921.5023 | 2677402.9038 | 1240931.1876
34 | 2677414.3295 | 1240921.5023 | 2677419.1642 | 1240919.5529 | 2677425.1162 | 1240917.1621
35 | 2677406.9608 | 1240908.4526 | 2677405.3692 | 1240907.5435
36 | 2677428.0613 | 1241141.1253 | 2677428.9429 | 1241140.781 | 2677432.5756 | 1241139.3718 | 2677435.9955 | 1241138.0488 | 2677436.976 | 1241137.6613
37 | 2677428.0613 | 1241141.1253 | 2677427.7649 | 1241138.3417 | 2677426.2649 | 1241135.6647 | 2677423.1386 | 1241131.8657 | 2677418.9884 | 1241127.1142
38 | 2677288.9854 | 1241139.2897 | 2677311.0685 | 1241141.9013 | 2677329.4668 | 1241145.2766 | 2677346.6603 | 1241148.8475 | 2677347.768 | 1241149.142
39 | 2677288.9854 | 1241139.2897 | 2677280.4789 | 1241116.764
40 | 2677436.976 | 1241137.6613 | 2677435.3567 | 1241134.2711 | 2677433.9136 | 1241132.221
41 | 2677418.9884 | 1241127.1142 | 2677411.1141 | 1241118.0992 | 2677405.1335 | 1241110.9835
42 | 2677331.9142 | 1240964.4697 | 2677323.834 | 1240963.0635 | 2677322.3331 | 1240963.434
43 | 2677331.9142 | 1240964.4697 | 2677334.3434 | 1240960.8433 | 2677336.1269 | 1240958.5982 | 2677338.5981 | 1240956.3955 | 2677341.7409 | 1240954.2906 | 2677345.3538 | 1240952.6698
44 | 2677331.9142 | 1240964.4697 | 2677334.419 | 1240964.9027 | 2677332.6744 | 1240969.9613 | 2677332.977 | 1240980.3948 | 2677342.0814 | 1240999.5158
45 | 2677363.8673 | 1240946.0953 | 2677357.4936 | 1240948.9364 | 2677350.3251 | 1240951.2558 | 2677345.3538 | 1240952.6698
46 | 2677342.0814 | 1240999.5158 | 2677345.2242 | 1241006.1169
47 | 2677342.0814 | 1240999.5158 | 2677357.1766 | 1240989.4831 | 2677357.0209 | 1240989.2476
48 | 2677363.8673 | 1240946.0953 | 2677368.3091 | 1240944.1184 | 2677374.0828 | 1240941.5737
49 | 2677363.8673 | 1240946.0953 | 2677345.0117 | 1240918.0256
50 | 2677354.6349 | 1241034.5893 | 2677352.3736 | 1241030.1937 | 2677343.2183 | 1241010.3382 | 2677342.5859 | 1241008.9397
51 | 2677354.6349 | 1241034.5893 | 2677358.524 | 1241042.149 | 2677365.716 | 1241054.5396
52 | 2677381.4857 | 1240941.4772 | 2677396.5682 | 1240963.7339
53 | 2677380.2419 | 1240938.8591 | 2677380.5068 | 1240939.4185 | 2677381.4857 | 1240941.4772
54 | 2677381.4857 | 1240941.4772 | 2677401.6826 | 1240932.2228 | 2677402.9038 | 1240931.1876
55 | 2677396.5682 | 1240963.7339 | 2677383.9999 | 1240971.9203
56 | 2677400.2222 | 1240969.3966 | 2677396.5682 | 1240963.7339
57 | 2677380.2419 | 1240938.8591 | 2677374.0828 | 1240941.5737
58 | 2677380.2419 | 1240938.8591 | 2677392.2628 | 1240933.5514
59 | 2677360.7039 | 1240986.8939 | 2677364.7001 | 1240992.9836 | 2677345.2242 | 1241006.1169
60 | 2677345.2242 | 1241006.1169 | 2677354.8816 | 1241027.4801
61 | 2677345.0117 | 1240918.0256 | 2677344.4769 | 1240917.2296
62 | 2677274.2206 | 1241100.1921 | 2677280.4789 | 1241116.764
63 | 2677433.9136 | 1241132.221 | 2677431.9047 | 1241129.3671 | 2677421.5598 | 1241118.4245 | 2677421.2413 | 1241118.0698
64 | 2677354.8816 | 1241027.4801 | 2677358.7145 | 1241035.658
65 | 2677376.7726 | 1241015.2789 | 2677380.3631 | 1241021.1743 | 2677358.7145 | 1241035.658
66 | 2677358.7145 | 1241035.658 | 2677361.9249 | 1241041.7041 | 2677371.3463 | 1241057.9605 | 2677378.0071 | 1241068.4659 | 2677375.9172 | 1241069.8507 | 2677375.3754 | 1241070.2328
67 | 2677354.8816 | 1241027.4801 | 2677365.1601 | 1241021.4986 | 2677368.7002 | 1241018.4982
68 | 2677375.3754 | 1241070.2328 | 2677367.3097 | 1241057.2852 | 2677365.716 | 1241054.5396
69 | 2677375.3754 | 1241070.2328 | 2677376.5342 | 1241072.005
70 | 2677397.1769 | 1241072.4185 | 2677404.3139 | 1241066.0542
71 | 2677397.1769 | 1241072.4185 | 2677385.8256 | 1241081.2323 | 2677383.4868 | 1241082.5695
72 | 2677397.1769 | 1241072.4185 | 2677398.8593 | 1241074.453 | 2677399.507 | 1241075.2287 | 2677396.5916 | 1241077.8703 | 2677394.7576 | 1241080.5038 | 2677394.344 | 1241083.2337 | 2677394.9145 | 1241085.8652 | 2677398.1532 | 1241090.3217 | 2677402.2289 | 1241095.3476
73 | 2677413.9392 | 1241057.471 | 2677404.3139 | 1241066.0542
74 | 2677365.5318 | 1241098.5356 | 2677369.4279 | 1241094.9061 | 2677379.08 | 1241085.9255 | 2677383.4868 | 1241082.5695
75 | 2677383.4868 | 1241082.5695 | 2677386.7644 | 1241087.5157 | 2677393.2545 | 1241095.8866
76 | 2677383.4868 | 1241082.5695 | 2677379.4306 | 1241076.4345 | 2677376.5342 | 1241072.005
77 | 2677402.3847 | 1241095.5397 | 2677402.2289 | 1241095.3476
78 | 2677365.5318 | 1241098.5356 | 2677360.2716 | 1241101.2357 | 2677350.1795 | 1241105.3454
79 | 2677365.5318 | 1241098.5356 | 2677371.497 | 1241106.708 | 2677379.9751 | 1241129.9121
80 | 2677405.1335 | 1241110.9835 | 2677402.2982 | 1241107.6101 | 2677393.6356 | 1241096.3782 | 2677393.2545 | 1241095.8866
81 | 2677413.9392 | 1241057.471 | 2677427.7084 | 1241045.2343
82 | 2677413.9392 | 1241057.471 | 2677416.0916 | 1241059.4115 | 2677428.8856 | 1241068.7172
83 | 2677427.7084 | 1241045.2343 | 2677435.9609 | 1241037.9002
84 | 2677428.8856 | 1241068.7172 | 2677429.9059 | 1241069.4593
85 | 2677467.4203 | 1241004.887 | 2677468.0541 | 1241005.5735 | 2677469.9929 | 1241007.6558
86 | 2677467.4203 | 1241004.887 | 2677485.7904 | 1240988.4484 | 2677493.9978 | 1240980.9931
87 | 2677469.9929 | 1241007.6558 | 2677471.9018 | 1241009.7155 | 2677473.4847 | 1241011.2595 | 2677479.0416 | 1241017.4117
88 | 2677469.9929 | 1241007.6558 | 2677455.9564 | 1241020.1301
89 | 2677469.9929 | 1241007.6558 | 2677486.3861 | 1240992.8389
90 | 2677523.4784 | 1240923.5612 | 2677523.806 | 1240924.5329 | 2677521.03 | 1240928.0658
91 | 2677523.4784 | 1240923.5612 | 2677521.5205 | 1240923.5134 | 2677519.5791 | 1240922.7876 | 2677517.5828 | 1240921.0492 | 2677512.5411 | 1240916.847 | 2677511.5109 | 1240916.1355
92 | 2677521.03 | 1240928.0658 | 2677519.1308 | 1240930.476 | 2677518.6613 | 1240931.1037
93 | 2677521.03 | 1240928.0658 | 2677518.4047 | 1240926.4415 | 2677512.417 | 1240921.1811
94 | 2677498.7054 | 1240907.9935 | 2677506.4859 | 1240912.665 | 2677511.5109 | 1240916.1355
95 | 2677491.9449 | 1240908.5783 | 2677497.0319 | 1240911.0738 | 2677501.6335 | 1240913.658 | 2677510.555 | 1240919.5452 | 2677512.417 | 1240921.1811
96 | 2677537.2065 | 1240850.3777 | 2677537.1257 | 1240850.327
97 | 2677513.8765 | 1240886.6045 | 2677537.1257 | 1240850.327
98 | 2677498.7054 | 1240907.9935 | 2677490.7114 | 1240904.6201
99 | 2677480.5126 | 1240904.9818 | 2677482.0147 | 1240905.2515 | 2677489.2779 | 1240907.27 | 2677491.9449 | 1240908.5783
100 | 2677484.6338 | 1241109.2654 | 2677492.336 | 1241114.8675 | 2677474.5272 | 1241130.5053
101 | 2677459.9047 | 1241091.2788 | 2677484.6338 | 1241109.2654
102 | 2677435.3985 | 1241073.4543 | 2677459.9047 | 1241091.2788
103 | 2677435.3985 | 1241073.4543 | 2677435.3212 | 1241073.3981
104 | 2677435.3212 | 1241073.3981 | 2677435.2445 | 1241073.3423
105 | 2677435.2445 | 1241073.3423 | 2677429.9059 | 1241069.4593
106 | 2677333.8933 | 1241111.9774 | 2677350.1795 | 1241105.3454
107 | 2677455.9564 | 1241020.1301 | 2677435.9609 | 1241037.9002
108 | 2677481.061 | 1241019.6476 | 2677479.0416 | 1241017.4117
109 | 2677481.061 | 1241019.6476 | 2677491.4883 | 1241031.1919
110 | 2677490.7114 | 1240904.6201 | 2677497.2519 | 1240892.547
111 | 2677501.4673 | 1240891.0621 | 2677498.0803 | 1240891.0178 | 2677497.2519 | 1240892.547
112 | 2677501.4673 | 1240891.0621 | 2677503.3773 | 1240894.2003 | 2677502.1606 | 1240896.1586
113 | 2677501.4673 | 1240891.0621 | 2677507.0872 | 1240882.2626
114 | 2677460.0849 | 1240904.7428 | 2677459.922 | 1240902.1611 | 2677459.7749 | 1240901.2585
115 | 2677460.0849 | 1240904.7428 | 2677471.5964 | 1240903.3809 | 2677480.5126 | 1240904.9818
116 | 2677460.0849 | 1240904.7428 | 2677436.5781 | 1240913.2311
117 | 2677507.0872 | 1240882.2626 | 2677513.8765 | 1240886.6045
118 | 2677507.0872 | 1240882.2626 | 2677499.8279 | 1240877.6214
119 | 2677425.1162 | 1240917.1621 | 2677436.5781 | 1240913.2311
120 | 2677425.1162 | 1240917.1621 | 2677422.2509 | 1240910.7425 | 2677423.5795 | 1240906.2789 | 2677436.8125 | 1240886.2061
121 | 2677436.5781 | 1240913.2311 | 2677446.1155 | 1240926.9763 | 2677446.6605 | 1240934.4664 | 2677457.2806 | 1240950.4162 | 2677460.4801 | 1240952.6596 | 2677462.3198 | 1240953.0727 | 2677466.9366 | 1240951.5875 | 2677467.9884 | 1240950.9563 | 2677466.7721 | 1240949.128
122 | 2677451.2703 | 1240864.2755 | 2677436.8125 | 1240886.2061
123 | 2677387.3675 | 1240850.5925 | 2677400.377 | 1240830.5936
124 | 2677333.8933 | 1241111.9774 | 2677325.8113 | 1241115.0983
125 | 2677333.8933 | 1241111.9774 | 2677329.3968 | 1241100.0602
126 | 2677318.5707 | 1241117.8943 | 2677325.8113 | 1241115.0983
127 | 2677323.8507 | 1241085.3611 | 2677329.3968 | 1241100.0602
128 | 2677400.6266 | 1240830.2099 | 2677400.377 | 1240830.5936
129 | 2677405.1921 | 1240823.1916 | 2677400.6266 | 1240830.2099
130 | 2677490.044 | 1240871.3662 | 2677489.7506 | 1240871.1787
131 | 2677499.8279 | 1240877.6214 | 2677490.044 | 1240871.3662
132 | 2677486.6521 | 1240869.1977 | 2677489.7506 | 1240871.1787
133 | 2677524.065 | 1240893.1205 | 2677513.8765 | 1240886.6045
134 | 2677340.5569 | 1240906.4747 | 2677340.5569 | 1240906.4747 | 2677342.9122 | 1240914.9003 | 2677344.4769 | 1240917.2296
135 | 2677344.5578 | 1240895.3968 | 2677342.8724 | 1240900.5563 | 2677340.5569 | 1240906.4747
136 | 2677400.2222 | 1240969.3966 | 2677385.2804 | 1240979.2533 | 2677379.4252 | 1240978.2874 | 2677377.8037 | 1240975.6422
137 | 2677400.2222 | 1240969.3966 | 2677414.7898 | 1240991.7023
138 | 2677456.7055 | 1240856.031 | 2677451.2703 | 1240864.2755
139 | 2677309.1967 | 1241120.1141 | 2677302.1469 | 1241102.7571
140 | 2677295.1233 | 1241085.4649 | 2677302.1469 | 1241102.7571
141 | 2677309.1967 | 1241120.1141 | 2677309.6883 | 1241121.3243 | 2677318.5707 | 1241117.8943
142 | 2677400.582 | 1240996.8874 | 2677402.1222 | 1240995.9068 | 2677407.7587 | 1240996.2472 | 2677414.7898 | 1240991.7023
143 | 2677414.7898 | 1240991.7023 | 2677417.8632 | 1240996.657
144 | 2677491.5586 | 1241031.2698 | 2677491.4883 | 1241031.1919
145 | 2677494.4988 | 1241034.525 | 2677491.5586 | 1241031.2698
146 | 2677494.5366 | 1241034.5669 | 2677494.4988 | 1241034.525
147 | 2677494.5366 | 1241034.5669 | 2677503.891 | 1241044.9235
148 | 2677503.9272 | 1241044.9635 | 2677503.891 | 1241044.9235
149 | 2677394.7559 | 1241003.5384 | 2677395.9191 | 1241005.377 | 2677397.6148 | 1241005.8106 | 2677401.4734 | 1241007.9624 | 2677417.8632 | 1240996.657

## bus_geodata
| x | y | coords
0 | 2677255.5519 | 1241001.3518
1 | 2677273.8876 | 1240988.376
2 | 2677275.0583 | 1240987.5272
3 | 2677284.952 | 1240980.5935
4 | 2677223.266 | 1241133.7306
5 | 2677167.2232 | 1241148.6569
6 | 2677237.4675 | 1241136.3462
7 | 2677300.3699 | 1240972.8498
8 | 2677164.597 | 1241240.1206
9 | 2676961.658 | 1241178.4764
10 | 2677171.2074 | 1241173.3656
11 | 2677170.1627 | 1241166.887
12 | 2677315.745 | 1241264.0595
13 | 2677385.3009 | 1241160.8817
14 | 2677270.0099 | 1241308.991
15 | 2677290.7614 | 1241144.005
16 | 2677241.881 | 1240807.0418
17 | 2677272.9733 | 1240820.2194
18 | 2676868.2021 | 1241177.8414
19 | 2676905.0676 | 1241180.9114
20 | 2676929.1196 | 1241291.5723
21 | 2677295.8607 | 1240830.3612
22 | 2677306.74 | 1240836.7156
23 | 2677342.2231 | 1240863.9331
24 | 2677366.3549 | 1240882.8942
25 | 2677386.2467 | 1240794.1113
26 | 2677375.6719 | 1240868.5717
27 | 2677384.679 | 1240893.1147
28 | 2677387.3665 | 1240850.5941
29 | 2677404.1753 | 1240912.1411
30 | 2677414.3295 | 1240921.5023
31 | 2677406.9608 | 1240908.4526
32 | 2677405.3692 | 1240907.5435
33 | 2677428.0613 | 1241141.1253
34 | 2677347.768 | 1241149.142
35 | 2677288.9854 | 1241139.2897
36 | 2677436.976 | 1241137.6613
37 | 2677418.9884 | 1241127.1142
38 | 2677322.3331 | 1240963.434
39 | 2677331.9142 | 1240964.4697
40 | 2677345.3538 | 1240952.6698
41 | 2677342.0814 | 1240999.5158
42 | 2677363.8673 | 1240946.0953
43 | 2677342.5859 | 1241008.9397
44 | 2677354.6349 | 1241034.5893
45 | 2677381.4857 | 1240941.4772
46 | 2677396.5682 | 1240963.7339
47 | 2677380.2419 | 1240938.8591
48 | 2677402.9038 | 1240931.1876
49 | 2677345.2242 | 1241006.1169
50 | 2677357.0209 | 1240989.2476
51 | 2677374.0828 | 1240941.5737
52 | 2677345.0117 | 1240918.0256
53 | 2677280.4789 | 1241116.764
54 | 2677433.9136 | 1241132.221
55 | 2677358.7145 | 1241035.658
56 | 2677354.8816 | 1241027.4801
57 | 2677376.7726 | 1241015.2789
58 | 2677375.3754 | 1241070.2328
59 | 2677397.1769 | 1241072.4185
60 | 2677404.3139 | 1241066.0542
61 | 2677383.4868 | 1241082.5695
62 | 2677402.2289 | 1241095.3476
63 | 2677365.5318 | 1241098.5356
64 | 2677393.2545 | 1241095.8866
65 | 2677376.5342 | 1241072.005
66 | 2677365.716 | 1241054.5396
67 | 2677413.9392 | 1241057.471
68 | 2677427.7084 | 1241045.2343
69 | 2677428.8856 | 1241068.7172
70 | 2677467.4203 | 1241004.887
71 | 2677469.9929 | 1241007.6558
72 | 2677493.9978 | 1240980.9931
73 | 2677405.1335 | 1241110.9835
74 | 2677523.4784 | 1240923.5612
75 | 2677521.03 | 1240928.0658
76 | 2677511.5109 | 1240916.1355
77 | 2677518.6613 | 1240931.1037
78 | 2677512.417 | 1240921.1811
79 | 2677537.2065 | 1240850.3777
80 | 2677537.1257 | 1240850.327
81 | 2677498.7054 | 1240907.9935
82 | 2677491.9449 | 1240908.5783
83 | 2677486.3861 | 1240992.8389
84 | 2677474.5272 | 1241130.5053
85 | 2677484.6338 | 1241109.2654
86 | 2677459.9047 | 1241091.2788
87 | 2677421.2413 | 1241118.0698
88 | 2677435.3985 | 1241073.4543
89 | 2677435.3212 | 1241073.3981
90 | 2677435.2445 | 1241073.3423
91 | 2677429.9059 | 1241069.4593
92 | 2677402.3847 | 1241095.5397
93 | 2677350.1795 | 1241105.3454
94 | 2677379.9751 | 1241129.9121
95 | 2677368.7002 | 1241018.4982
96 | 2677435.9609 | 1241037.9002
97 | 2677479.0416 | 1241017.4117
98 | 2677455.9564 | 1241020.1301
99 | 2677481.061 | 1241019.6476
100 | 2677490.7114 | 1240904.6201
101 | 2677497.2519 | 1240892.547
102 | 2677502.1606 | 1240896.1586
103 | 2677501.4673 | 1240891.0621
104 | 2677459.7749 | 1240901.2585
105 | 2677460.0849 | 1240904.7428
106 | 2677507.0872 | 1240882.2625
107 | 2677425.1162 | 1240917.1621
108 | 2677436.5781 | 1240913.2311
109 | 2677436.8125 | 1240886.2061
110 | 2677387.3675 | 1240850.5925
111 | 2677392.2628 | 1240933.5514
112 | 2677333.8933 | 1241111.9774
113 | 2677325.8113 | 1241115.0983
114 | 2677329.3968 | 1241100.0602
115 | 2677400.377 | 1240830.5936
116 | 2677400.6266 | 1240830.2099
117 | 2677490.044 | 1240871.3662
118 | 2677489.7506 | 1240871.1787
119 | 2677499.8279 | 1240877.6214
120 | 2677486.6521 | 1240869.1977
121 | 2677513.8765 | 1240886.6045
122 | 2677524.065 | 1240893.1205
123 | 2677405.1921 | 1240823.1916
124 | 2677340.5569 | 1240906.4747
125 | 2677344.4769 | 1240917.2296
126 | 2677344.5578 | 1240895.3968
127 | 2677383.9999 | 1240971.9203
128 | 2677400.2222 | 1240969.3966
129 | 2677360.7038 | 1240986.8939
130 | 2677451.2703 | 1240864.2755
131 | 2677456.7055 | 1240856.031
132 | 2677466.7721 | 1240949.128
133 | 2677302.1469 | 1241102.7571
134 | 2677309.1967 | 1241120.1141
135 | 2677295.1233 | 1241085.4649
136 | 2677318.5707 | 1241117.8943
137 | 2677480.5126 | 1240904.9818
138 | 2677274.2206 | 1241100.1921
139 | 2677323.8507 | 1241085.3611
140 | 2677377.8037 | 1240975.6422
141 | 2677414.7898 | 1240991.7023
142 | 2677491.4883 | 1241031.1919
143 | 2677491.5586 | 1241031.2698
144 | 2677494.4988 | 1241034.525
145 | 2677494.5366 | 1241034.5669
146 | 2677503.891 | 1241044.9235
147 | 2677503.9272 | 1241044.9635
148 | 2677400.582 | 1240996.8874
149 | 2677417.8632 | 1240996.657
150 | 2677394.7559 | 1241003.5384
151 | 2677417.8632 | 1240996.657

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1