## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_30-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_30-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_30-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_30-3_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_30-3_0_6_node_61 | 0.4 | n |  | TRUE
5 | bus_LV_30-3_0_6_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_30-3_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_30-3_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_30-3_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_30-3_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_30-3_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_30-3_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_30-3_0_6_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_30-3_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_30-3_0_6_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_30-3_0_6_node_89 | 0.4 | n |  | TRUE
16 | bus_LV_30-3_0_6_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_30-3_0_6_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_30-3_0_6_node_107 | 0.4 | n |  | TRUE
19 | bus_LV_30-3_0_6_node_91 | 0.4 | n |  | TRUE
20 | bus_LV_30-3_0_6_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_30-3_0_6_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_30-3_0_6_node_85 | 0.4 | n |  | TRUE
23 | bus_LV_30-3_0_6_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_30-3_0_6_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_30-3_0_6_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_30-3_0_6_node_106 | 0.4 | n |  | TRUE
27 | bus_LV_30-3_0_6_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_30-3_0_6_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_30-3_0_6_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_30-3_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_30-3_0_6_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_30-3_0_6_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_30-3_0_6_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_30-3_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_30-3_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_30-3_0_6_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_30-3_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_30-3_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_30-3_0_6_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_30-3_0_6_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_30-3_0_6_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_30-3_0_6_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_30-3_0_6_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_30-3_0_6_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_30-3_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_30-3_0_6_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_30-3_0_6_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_30-3_0_6_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_30-3_0_6_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_30-3_0_6_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_30-3_0_6_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_30-3_0_6_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_30-3_0_6_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_30-3_0_6_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_30-3_0_6_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_30-3_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_30-3_0_6_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_30-3_0_6_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_30-3_0_6_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_30-3_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_30-3_0_6_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_30-3_0_6_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_30-3_0_6_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_30-3_0_6_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_30-3_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_30-3_0_6_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_30-3_0_6_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_30-3_0_6_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_30-3_0_6_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_30-3_0_6_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_30-3_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_30-3_0_6_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_30-3_0_6_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_30-3_0_6_node_97 | 0.4 | n |  | TRUE
75 | bus_LV_30-3_0_6_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_30-3_0_6_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_30-3_0_6_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_30-3_0_6_node_109 | 0.4 | n |  | TRUE
79 | bus_LV_30-3_0_6_node_98 | 0.4 | n |  | TRUE
80 | bus_LV_30-3_0_6_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_30-3_0_6_node_56 | 0.4 | n |  | TRUE
82 | bus_LV_30-3_0_6_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_30-3_0_6_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_30-3_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_30-3_0_6_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_30-3_0_6_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_30-3_0_6_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_30-3_0_6_node_100 | 0.4 | n |  | TRUE
89 | bus_LV_30-3_0_6_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_30-3_0_6_node_101 | 0.4 | n |  | TRUE
91 | bus_LV_30-3_0_6_node_99 | 0.4 | n |  | TRUE
92 | bus_LV_30-3_0_6_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_30-3_0_6_node_76 | 0.4 | n |  | TRUE
94 | bus_LV_30-3_0_6_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_30-3_0_6_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_30-3_0_6_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_30-3_0_6_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_30-3_0_6_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_30-3_0_6_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_30-3_0_6_node_104 | 0.4 | n |  | TRUE
101 | bus_MV_368_0_node_159 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_30-3_0_6_load_0 | 0 | 0.0016609 | 0.00041627 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_30-3_0_6_load_1 | 1 | 0.0012407 | 0.00031096 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_30-3_0_6_load_2 | 2 | 0.0011479 | 0.0002877 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_30-3_0_6_load_4 | 3 | 0.0011548 | 0.00028943 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_30-3_0_6_load_61 | 4 | 0.00080096 | 0.00020074 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_30-3_0_6_load_5 | 6 | 0.0039125 | 0.00098057 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_30-3_0_6_load_6 | 7 | 0.0021389 | 0.00053605 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_30-3_0_6_load_7 | 8 | 0.0014764 | 0.00037003 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_30-3_0_6_load_8 | 9 | 0.0024469 | 0.00061325 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_30-3_0_6_load_11 | 13 | 0.002751 | 0.00068947 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_30-3_0_6_load_34 | 14 | 0.0024875 | 0.00062343 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_30-3_0_6_load_89 | 15 | 0.0014678 | 0.00036785 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_30-3_0_6_load_33 | 16 | 0.0013506 | 0.00033849 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_30-3_0_6_load_107 | 18 | 0.013518 | 0.0033879 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_30-3_0_6_load_91 | 19 | 0.0035761 | 0.00089625 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_30-3_0_6_load_85 | 22 | 0.019526 | 0.0048937 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_30-3_0_6_load_93 | 24 | 0.027617 | 0.0069216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_30-3_0_6_load_106 | 26 | 0.0017929 | 0.00044933 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_30-3_0_6_load_105 | 27 | 0.0038931 | 0.0009757 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_30-3_0_6_load_13 | 28 | 0.004314 | 0.0010812 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_30-3_0_6_load_14 | 29 | 0.0186 | 0.0046616 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_30-3_0_6_load_35 | 31 | 0.0031207 | 0.00078213 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_30-3_0_6_load_16 | 33 | 0.0073919 | 0.0018526 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_30-3_0_6_load_17 | 34 | 0.005336 | 0.0013373 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_30-3_0_6_load_18 | 35 | 0.000615 | 0.00015413 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_30-3_0_6_load_20 | 36 | 0.00068039 | 0.00017052 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_30-3_0_6_load_24 | 37 | 0.00063659 | 0.00015954 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_30-3_0_6_load_21 | 39 | 0.00091702 | 0.00022983 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_30-3_0_6_load_68 | 42 | 0.0020479 | 0.00051325 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_30-3_0_6_load_67 | 43 | 0.0056621 | 0.001419 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_30-3_0_6_load_26 | 44 | 0.0024199 | 0.00060649 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_30-3_0_6_load_27 | 45 | 0.0055456 | 0.0013899 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_30-3_0_6_load_62 | 48 | 0.0050159 | 0.0012571 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_30-3_0_6_load_29 | 51 | 0.0035776 | 0.00089663 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_30-3_0_6_load_31 | 53 | 0.0020728 | 0.00051949 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_30-3_0_6_load_102 | 54 | 0.0013092 | 0.00032812 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_30-3_0_6_load_103 | 55 | 0.0011171 | 0.00027998 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_30-3_0_6_load_36 | 58 | 0.040681 | 0.010196 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_30-3_0_6_load_37 | 59 | 0.030259 | 0.0075835 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_30-3_0_6_load_40 | 60 | 0.017721 | 0.0044413 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_30-3_0_6_load_43 | 63 | 0.030246 | 0.0075804 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_30-3_0_6_load_66 | 64 | 0.0073087 | 0.0018317 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_30-3_0_6_load_45 | 66 | 0.011396 | 0.0028561 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_30-3_0_6_load_46 | 67 | 0.010631 | 0.0026643 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_30-3_0_6_load_50 | 70 | 0.0048488 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_30-3_0_6_load_63 | 72 | 0.0011321 | 0.00028372 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_30-3_0_6_load_97 | 74 | 0.0065335 | 0.0016375 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_30-3_0_6_load_74 | 75 | 0.0057365 | 0.0014377 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_30-3_0_6_load_109 | 78 | 0.0089037 | 0.0022315 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_30-3_0_6_load_98 | 79 | 0.00585 | 0.0014662 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_30-3_0_6_load_81 | 80 | 0.032637 | 0.0081797 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_30-3_0_6_load_56 | 81 | 0.0051874 | 0.0013001 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_30-3_0_6_load_84 | 82 | 0.008939 | 0.0022403 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_30-3_0_6_load_83 | 83 | 0.0051125 | 0.0012813 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_30-3_0_6_load_82 | 84 | 0.0089793 | 0.0022504 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_30-3_0_6_load_69 | 85 | 0.0032493 | 0.00081435 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_30-3_0_6_load_70 | 86 | 0.0080591 | 0.0020198 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_30-3_0_6_load_72 | 87 | 0.0061406 | 0.001539 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_30-3_0_6_load_100 | 88 | 0.0055718 | 0.0013964 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_30-3_0_6_load_99 | 91 | 0.0095911 | 0.0024038 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_30-3_0_6_load_77 | 92 | 0.016736 | 0.0041944 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_30-3_0_6_load_76 | 93 | 0.0054756 | 0.0013723 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_30-3_0_6_load_80 | 95 | 0.016348 | 0.0040972 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_30-3_0_6_load_95 | 96 | 0.0039067 | 0.0009791 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_30-3_0_6_load_96 | 97 | 0.0021824 | 0.00054695 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_30-3_0_6_load_92 | 98 | 0.013569 | 0.0034008 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_30-3_0_6_load_90 | 99 | 0.013696 | 0.0034325 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_30-3_0_6_load_104 | 100 | 0.0015418 | 0.00038641 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_30-3_0_6_line_0 |  | 0 | 1 | 0.028385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_30-3_0_6_line_1 |  | 0 | 2 | 0.024367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_30-3_0_6_line_2 |  | 2 | 3 | 0.024325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_30-3_0_6_line_3 |  | 3 | 4 | 0.0021152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_30-3_0_6_line_4 |  | 4 | 5 | 0.035154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_30-3_0_6_line_5 |  | 5 | 46 | 0.00555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_30-3_0_6_line_6 |  | 5 | 81 | 0.024544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_30-3_0_6_line_7 |  | 6 | 7 | 0.015857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_30-3_0_6_line_8 |  | 6 | 8 | 0.0016914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_30-3_0_6_line_9 |  | 7 | 9 | 0.0063319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_30-3_0_6_line_10 |  | 8 | 10 | 0.033983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_30-3_0_6_line_11 |  | 9 | 11 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_30-3_0_6_line_12 |  | 10 | 12 | 0.0283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_30-3_0_6_line_13 |  | 11 | 13 | 0.012914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_30-3_0_6_line_14 |  | 12 | 14 | 0.0044623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_30-3_0_6_line_15 |  | 13 | 15 | 0.0011849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_30-3_0_6_line_16 |  | 15 | 16 | 0.023222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_30-3_0_6_line_17 |  | 16 | 52 | 0.01557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_30-3_0_6_line_18 |  | 17 | 18 | 0.022623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_30-3_0_6_line_19 |  | 17 | 19 | 0.052755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_30-3_0_6_line_20 |  | 17 | 20 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_30-3_0_6_line_21 |  | 19 | 99 | 0.0025847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_30-3_0_6_line_22 |  | 20 | 21 | 0.017041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_30-3_0_6_line_23 |  | 20 | 22 | 0.010535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_30-3_0_6_line_24 |  | 21 | 54 | 0.0047375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_30-3_0_6_line_25 |  | 21 | 52 | 0.016749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_30-3_0_6_line_26 |  | 22 | 56 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_30-3_0_6_line_27 |  | 23 | 24 | 0.021121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_30-3_0_6_line_28 |  | 23 | 25 | 0.009445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_30-3_0_6_line_29 |  | 24 | 98 | 0.0091392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_30-3_0_6_line_30 |  | 25 | 92 | 0.014657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_30-3_0_6_line_31 |  | 25 | 77 | 0.030434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_30-3_0_6_line_32 |  | 26 | 27 | 0.0039614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_30-3_0_6_line_33 |  | 27 | 100 | 0.0054002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_30-3_0_6_line_34 |  | 28 | 29 | 0.030648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_30-3_0_6_line_35 |  | 29 | 30 | 0.026499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_30-3_0_6_line_36 |  | 30 | 31 | 0.011445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_30-3_0_6_line_37 |  | 31 | 32 | 0.0013833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_30-3_0_6_line_38 |  | 32 | 56 | 0.019722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_30-3_0_6_line_39 |  | 32 | 57 | 0.009393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_30-3_0_6_line_40 |  | 33 | 34 | 0.037145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_30-3_0_6_line_41 |  | 33 | 35 | 0.028223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_30-3_0_6_line_42 |  | 35 | 36 | 0.032825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_30-3_0_6_line_43 |  | 36 | 37 | 0.033878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_30-3_0_6_line_44 |  | 37 | 38 | 0.034298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_30-3_0_6_line_45 |  | 38 | 44 | 0.013691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_30-3_0_6_line_46 |  | 38 | 45 | 0.038493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_30-3_0_6_line_47 |  | 39 | 40 | 0.0071649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_30-3_0_6_line_48 |  | 40 | 41 | 0.023878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_30-3_0_6_line_49 |  | 41 | 42 | 0.02059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_30-3_0_6_line_50 |  | 42 | 43 | 0.039055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_30-3_0_6_line_51 |  | 43 | 65 | 0.011767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_30-3_0_6_line_52 |  | 44 | 46 | 0.031422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_30-3_0_6_line_53 |  | 45 | 47 | 0.034142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_30-3_0_6_line_54 |  | 46 | 48 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_30-3_0_6_line_55 |  | 47 | 49 | 0.035548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_30-3_0_6_line_56 |  | 47 | 50 | 0.032044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_30-3_0_6_line_57 |  | 48 | 83 | 0.0055809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_30-3_0_6_line_58 |  | 49 | 70 | 0.00096495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_30-3_0_6_line_59 |  | 50 | 73 | 0.016097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_30-3_0_6_line_60 |  | 50 | 74 | 0.01214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_30-3_0_6_line_61 |  | 51 | 52 | 0.016851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_30-3_0_6_line_62 |  | 51 | 53 | 0.012081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_30-3_0_6_line_63 |  | 54 | 55 | 0.015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_30-3_0_6_line_64 |  | 55 | 100 | 0.008037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_30-3_0_6_line_65 |  | 56 | 62 | 0.010399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_30-3_0_6_line_66 |  | 57 | 59 | 0.016839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_30-3_0_6_line_67 |  | 58 | 59 | 0.011825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_30-3_0_6_line_68 |  | 60 | 61 | 0.024236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_30-3_0_6_line_69 |  | 61 | 64 | 0.018315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_30-3_0_6_line_70 |  | 61 | 65 | 0.028149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_30-3_0_6_line_71 |  | 62 | 63 | 0.014484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_30-3_0_6_line_72 |  | 64 | 84 | 0.0019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_30-3_0_6_line_73 |  | 66 | 67 | 0.029925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_30-3_0_6_line_74 |  | 66 | 68 | 0.023765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_30-3_0_6_line_75 |  | 68 | 69 | 0.020965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_30-3_0_6_line_76 |  | 69 | 71 | 0.071611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_30-3_0_6_line_77 |  | 69 | 72 | 0.019919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_30-3_0_6_line_78 |  | 70 | 72 | 0.036062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_30-3_0_6_line_79 |  | 71 | 78 | 0.11587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_30-3_0_6_line_80 |  | 73 | 75 | 0.012902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_30-3_0_6_line_81 |  | 74 | 79 | 0.024014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_30-3_0_6_line_82 |  | 75 | 76 | 0.0024854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_30-3_0_6_line_83 |  | 76 | 77 | 0.035017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_30-3_0_6_line_84 |  | 77 | 80 | 0.030467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_30-3_0_6_line_85 |  | 79 | 91 | 0.044852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_30-3_0_6_line_86 |  | 80 | 84 | 0.0032391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_30-3_0_6_line_87 |  | 82 | 83 | 0.045369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_30-3_0_6_line_88 |  | 85 | 86 | 0.023654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_30-3_0_6_line_89 |  | 86 | 87 | 0.029689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_30-3_0_6_line_90 |  | 87 | 88 | 0.028755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_30-3_0_6_line_91 |  | 88 | 89 | 0.028114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_30-3_0_6_line_92 |  | 89 | 90 | 0.016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_30-3_0_6_line_93 |  | 90 | 91 | 0.053137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_30-3_0_6_line_94 |  | 92 | 93 | 0.00016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_30-3_0_6_line_95 |  | 93 | 94 | 0.0060468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_30-3_0_6_line_96 |  | 94 | 95 | 0.027028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_30-3_0_6_line_97 |  | 95 | 96 | 0.022291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_30-3_0_6_line_98 |  | 96 | 97 | 0.0038144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_30-3_0_6_line_99 |  | 98 | 99 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_30-3_0_6_trafo_65 | 0.63 MVA 20/0.4 kV | 101 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2693138.4511 | 1272096.0849 | 2693111.8797 | 1272086.1018
1 | 2693138.4511 | 1272096.0849 | 2693161.2611 | 1272104.6549
2 | 2693184.689 | 1272110.5542 | 2693173.0378 | 1272109.0795 | 2693161.2611 | 1272104.6549
3 | 2693184.689 | 1272110.5542 | 2693186.7875 | 1272110.8198
4 | 2693221.664 | 1272115.2298 | 2693211.6864 | 1272113.9713 | 2693186.7875 | 1272110.8198
5 | 2693221.664 | 1272115.2298 | 2693226.464 | 1272118.0413
6 | 2693221.664 | 1272115.2298 | 2693221.8254 | 1272104.0563 | 2693222.0242 | 1272090.6885
7 | 2693173.8766 | 1272370.7661 | 2693170.9453 | 1272370.71 | 2693158.1358 | 1272368.9829
8 | 2693156.4596 | 1272368.7568 | 2693158.1358 | 1272368.9829
9 | 2693173.8766 | 1272370.7661 | 2693180.2074 | 1272370.8873
10 | 2693122.5906 | 1272366.555 | 2693144.8838 | 1272367.196 | 2693156.4596 | 1272368.7568
11 | 2693194.2344 | 1272371.1557 | 2693180.2074 | 1272370.8873
12 | 2693122.5906 | 1272366.555 | 2693122.8642 | 1272338.2578
13 | 2693194.2344 | 1272371.1557 | 2693197.0257 | 1272364.9278 | 2693197.9157 | 1272358.9038
14 | 2693122.8642 | 1272338.2578 | 2693123.1512 | 1272333.8048
15 | 2693197.9157 | 1272358.9038 | 2693198.0889 | 1272357.7316
16 | 2693198.0889 | 1272357.7316 | 2693199.5188 | 1272348.053 | 2693200.2756 | 1272342.527 | 2693200.0246 | 1272337.4633 | 2693199.2488 | 1272334.7822
17 | 2693191.2407 | 1272322.0895 | 2693192.2049 | 1272324.8626 | 2693195.5107 | 1272327.973 | 2693197.849 | 1272329.9449 | 2693199.2488 | 1272334.7822
18 | 2693226.0243 | 1272314.421 | 2693223.842 | 1272314.4755 | 2693221.4111 | 1272312.6467 | 2693215.0661 | 1272306.6971 | 2693206.7599 | 1272303.9415
19 | 2693206.7599 | 1272303.9415 | 2693209.5321 | 1272296.0675 | 2693218.9574 | 1272281.315 | 2693230.3288 | 1272275.7454 | 2693244.5658 | 1272275.5507
20 | 2693195.0032 | 1272301.5206 | 2693204.6765 | 1272308.2122 | 2693206.7599 | 1272303.9415
21 | 2693247.1503 | 1272275.5153 | 2693244.5658 | 1272275.5507
22 | 2693201.1214 | 1272313.7385 | 2693199.1913 | 1272310.6832 | 2693197.5009 | 1272309.6001 | 2693192.7799 | 1272306.5564 | 2693192.4994 | 1272305.262 | 2693195.0032 | 1272301.5206
23 | 2693195.0032 | 1272301.5206 | 2693186.2605 | 1272295.6419
24 | 2693201.1214 | 1272313.7385 | 2693204.9921 | 1272316.4701
25 | 2693191.2407 | 1272322.0895 | 2693190.7446 | 1272320.6361 | 2693191.4636 | 1272317.5003 | 2693192.9422 | 1272314.3766 | 2693197.0664 | 1272312.8182 | 2693201.1214 | 1272313.7385
26 | 2693171.5712 | 1272287.2389 | 2693175.6285 | 1272288.4928 | 2693186.2605 | 1272295.6419
27 | 2693287.2844 | 1272283.5625 | 2693282.5843 | 1272282.5319 | 2693266.6518 | 1272279.0456
28 | 2693286.7264 | 1272274.1347 | 2693287.2844 | 1272283.5625
29 | 2693266.6518 | 1272279.0456 | 2693257.7239 | 1272277.092
30 | 2693286.7264 | 1272274.1347 | 2693294.8033 | 1272272.3608 | 2693300.8695 | 1272270.359
31 | 2693286.7264 | 1272274.1347 | 2693282.7295 | 1272253.8323 | 2693283.1542 | 1272244.0975
32 | 2693232.4376 | 1272333.7112 | 2693228.7891 | 1272332.1679
33 | 2693223.9394 | 1272329.8414 | 2693224.9123 | 1272330.5281 | 2693228.7891 | 1272332.1679
34 | 2693118.001 | 1272276.4925 | 2693114.3543 | 1272275.004 | 2693089.6248 | 1272264.9129
35 | 2693140.0896 | 1272289.6777 | 2693138.2231 | 1272286.401 | 2693134.7587 | 1272283.3327 | 2693118.001 | 1272276.4925
36 | 2693140.0896 | 1272289.6777 | 2693146.6713 | 1272286.8347 | 2693150.8196 | 1272285.7995
37 | 2693152.1617 | 1272285.4645 | 2693150.8196 | 1272285.7995
38 | 2693152.1617 | 1272285.4645 | 2693153.8155 | 1272285.057 | 2693164.6918 | 1272285.1175 | 2693171.5712 | 1272287.2389
39 | 2693152.1617 | 1272285.4645 | 2693150.2307 | 1272276.2708
40 | 2693093.4495 | 1272155.2891 | 2693077.219 | 1272154.6846 | 2693070.1442 | 1272150.6252 | 2693057.7307 | 1272147.7286
41 | 2693093.4495 | 1272155.2891 | 2693121.6533 | 1272156.3397
42 | 2693121.6533 | 1272156.3397 | 2693154.4556 | 1272157.5615
43 | 2693188.251 | 1272159.8675 | 2693160.6164 | 1272157.791 | 2693154.4556 | 1272157.5615
44 | 2693222.4527 | 1272162.4373 | 2693188.251 | 1272159.8675
45 | 2693222.4527 | 1272162.4373 | 2693222.6842 | 1272158.2597 | 2693222.9155 | 1272148.7554
46 | 2693222.4527 | 1272162.4373 | 2693250.686 | 1272165.1965 | 2693260.3306 | 1272168.2787
47 | 2693155.5494 | 1272184.7559 | 2693162.69 | 1272185.3461
48 | 2693155.5494 | 1272184.7559 | 2693151.5518 | 1272184.4815 | 2693151.3735 | 1272186.2468 | 2693150.3929 | 1272196.8958 | 2693157.6929 | 1272198.1231
49 | 2693178.2327 | 1272200.2712 | 2693157.6929 | 1272198.1231
50 | 2693178.2327 | 1272200.2712 | 2693179.1083 | 1272201.9864 | 2693182.1508 | 1272204.1473 | 2693186.3622 | 1272206.1266 | 2693196.265 | 1272208.2957 | 2693214.8637 | 1272208.8193
51 | 2693226.4777 | 1272207.6387 | 2693220.5665 | 1272208.9799 | 2693214.8637 | 1272208.8193
52 | 2693226.464 | 1272118.0413 | 2693223.5208 | 1272123.8775 | 2693222.9155 | 1272148.7554
53 | 2693285.7317 | 1272158.6222 | 2693281.9022 | 1272168.6479 | 2693278.9024 | 1272170.9247 | 2693276.6484 | 1272172.179 | 2693274.1877 | 1272172.7072 | 2693260.3306 | 1272168.2787
54 | 2693226.464 | 1272118.0413 | 2693240.1794 | 1272112.6866 | 2693240.6645 | 1272112.2869
55 | 2693285.7317 | 1272158.6222 | 2693287.4688 | 1272137.7211 | 2693289.2833 | 1272136.6711 | 2693293.1162 | 1272136.4203 | 2693292.5152 | 1272127.8036
56 | 2693285.7317 | 1272158.6222 | 2693287.5535 | 1272159.4851 | 2693288.7961 | 1272165.1094 | 2693289.6283 | 1272170.516 | 2693290.1951 | 1272176.0629 | 2693290.6308 | 1272179.4281 | 2693292.0841 | 1272180.2852 | 2693292.5849 | 1272182.3948 | 2693297.9813 | 1272179.8335
57 | 2693244.9717 | 1272108.738 | 2693240.6645 | 1272112.2869
58 | 2693292.5152 | 1272127.8036 | 2693292.5035 | 1272126.8387
59 | 2693297.2759 | 1272195.9025 | 2693297.7151 | 1272191.439 | 2693297.9193 | 1272188.0394 | 2693297.9813 | 1272179.8335
60 | 2693297.9813 | 1272179.8335 | 2693309.557 | 1272183.4921
61 | 2693191.2407 | 1272322.0895 | 2693188.4672 | 1272325.2818 | 2693184.7374 | 1272329.4931 | 2693181.8431 | 1272332.2386 | 2693179.0905 | 1272333.4499
62 | 2693167.4295 | 1272336.1145 | 2693172.8893 | 1272335.7225 | 2693178.086 | 1272333.8919 | 2693179.0905 | 1272333.4499
63 | 2693204.9921 | 1272316.4701 | 2693217.3729 | 1272325.2074
64 | 2693217.3729 | 1272325.2074 | 2693223.9394 | 1272329.8414
65 | 2693171.5712 | 1272287.2389 | 2693176.8878 | 1272278.2931
66 | 2693150.2307 | 1272276.2708 | 2693146.7724 | 1272259.7908
67 | 2693144.344 | 1272248.2183 | 2693146.7724 | 1272259.7908
68 | 2693231.4885 | 1272228.5353 | 2693207.9944 | 1272222.5855
69 | 2693231.4885 | 1272228.5353 | 2693249.0558 | 1272233.7147
70 | 2693231.4885 | 1272228.5353 | 2693230.6688 | 1272219.4703 | 2693231.3385 | 1272214.6991 | 2693231.7022 | 1272205.9642 | 2693226.4777 | 1272207.6387
71 | 2693176.8878 | 1272278.2931 | 2693180.7357 | 1272271.3702 | 2693187.1898 | 1272270.1745
72 | 2693250.919 | 1272234.2641 | 2693249.0558 | 1272233.7147
73 | 2693285.9365 | 1272063.4904 | 2693282.8556 | 1272077.887 | 2693281.7997 | 1272093.0528
74 | 2693299.9069 | 1272050.4333 | 2693288.517 | 1272051.432 | 2693285.9365 | 1272063.4904
75 | 2693299.9069 | 1272050.4333 | 2693296.3456 | 1272071.0944
76 | 2693357.0536 | 1272038.2262 | 2693335.4763 | 1272057.8794 | 2693328.5162 | 1272063.6965 | 2693319.9078 | 1272068.142 | 2693310.4562 | 1272070.2499 | 2693296.3456 | 1272071.0944
77 | 2693296.3456 | 1272071.0944 | 2693294.0727 | 1272089.7185 | 2693293.9486 | 1272090.8687
78 | 2693293.9486 | 1272090.8687 | 2693292.257 | 1272106.5484 | 2693292.5035 | 1272126.8387
79 | 2693357.0536 | 1272038.2262 | 2693357.8899 | 1272045.2787 | 2693356.3878 | 1272055.5858 | 2693353.9687 | 1272068.2248 | 2693346.3436 | 1272103.7117 | 2693344.1176 | 1272129.8206 | 2693347.4966 | 1272152.5598
80 | 2693297.2759 | 1272195.9025 | 2693295.0063 | 1272208.6036
81 | 2693309.557 | 1272183.4921 | 2693332.4548 | 1272190.7291
82 | 2693294.5691 | 1272211.0502 | 2693295.0063 | 1272208.6036
83 | 2693294.5691 | 1272211.0502 | 2693290.4905 | 1272222.0839 | 2693285.4713 | 1272234.5706 | 2693283.1542 | 1272244.0975
84 | 2693283.1542 | 1272244.0975 | 2693274.3317 | 1272241.1669 | 2693254.0259 | 1272235.1801
85 | 2693375.1895 | 1272204.3468 | 2693345.2791 | 1272194.7823 | 2693332.4548 | 1272190.7291
86 | 2693254.0259 | 1272235.1801 | 2693250.919 | 1272234.2641
87 | 2693244.9717 | 1272108.738 | 2693247.2905 | 1272106.8273 | 2693252.414 | 1272097.2669 | 2693255.9109 | 1272084.9563 | 2693257.37 | 1272066.2931
88 | 2693395.7214 | 1272099.7373 | 2693395.55 | 1272100.2868 | 2693393.0075 | 1272114.0582 | 2693393.7525 | 1272123.1023
89 | 2693393.7525 | 1272123.1023 | 2693394.2632 | 1272129.3019 | 2693398.4212 | 1272152.3991
90 | 2693398.4212 | 1272152.3991 | 2693399.0274 | 1272155.7661 | 2693406.0298 | 1272180.1129
91 | 2693413.8007 | 1272207.1316 | 2693406.0298 | 1272180.1129
92 | 2693423.5262 | 1272220.4967 | 2693418.6081 | 1272215.6482 | 2693413.8007 | 1272207.1316
93 | 2693423.5262 | 1272220.4967 | 2693399.05 | 1272212.792 | 2693394.8144 | 1272207.1202 | 2693393.0175 | 1272207.5366 | 2693389.4842 | 1272208.3481 | 2693387.866 | 1272208.4003 | 2693375.1895 | 1272204.3468
94 | 2693300.8695 | 1272270.359 | 2693301.0238 | 1272270.308
95 | 2693306.766 | 1272268.4131 | 2693301.0238 | 1272270.308
96 | 2693306.766 | 1272268.4131 | 2693324.7701 | 1272260.6022 | 2693329.7957 | 1272255.1674
97 | 2693329.7957 | 1272255.1674 | 2693331.4896 | 1272253.3356 | 2693337.0503 | 1272245.6171 | 2693343.3328 | 1272241.2571 | 2693345.8433 | 1272240.4534
98 | 2693349.5118 | 1272239.5123 | 2693348.7613 | 1272239.5193 | 2693345.8433 | 1272240.4534
99 | 2693247.1503 | 1272275.5153 | 2693250.3199 | 1272275.472 | 2693257.7239 | 1272277.092

## bus_geodata
| x | y | coords
0 | 2693138.4511 | 1272096.0849
1 | 2693111.8797 | 1272086.1018
2 | 2693161.2611 | 1272104.6549
3 | 2693184.689 | 1272110.5542
4 | 2693186.7875 | 1272110.8198
5 | 2693221.664 | 1272115.2298
6 | 2693158.1358 | 1272368.9829
7 | 2693173.8766 | 1272370.7661
8 | 2693156.4596 | 1272368.7568
9 | 2693180.2074 | 1272370.8873
10 | 2693122.5906 | 1272366.555
11 | 2693194.2344 | 1272371.1557
12 | 2693122.8642 | 1272338.2578
13 | 2693197.9157 | 1272358.9038
14 | 2693123.1512 | 1272333.8048
15 | 2693198.0889 | 1272357.7316
16 | 2693199.2488 | 1272334.7822
17 | 2693206.7599 | 1272303.9415
18 | 2693226.0243 | 1272314.421
19 | 2693244.5658 | 1272275.5507
20 | 2693195.0032 | 1272301.5206
21 | 2693201.1214 | 1272313.7385
22 | 2693186.2605 | 1272295.6419
23 | 2693287.2844 | 1272283.5625
24 | 2693266.6518 | 1272279.0456
25 | 2693286.7264 | 1272274.1347
26 | 2693232.4376 | 1272333.7112
27 | 2693228.7891 | 1272332.1679
28 | 2693089.6248 | 1272264.9129
29 | 2693118.001 | 1272276.4925
30 | 2693140.0896 | 1272289.6777
31 | 2693150.8196 | 1272285.7995
32 | 2693152.1617 | 1272285.4645
33 | 2693093.4495 | 1272155.2891
34 | 2693057.7307 | 1272147.7286
35 | 2693121.6533 | 1272156.3397
36 | 2693154.4556 | 1272157.5615
37 | 2693188.251 | 1272159.8675
38 | 2693222.4527 | 1272162.4373
39 | 2693162.69 | 1272185.3461
40 | 2693155.5494 | 1272184.7559
41 | 2693157.6929 | 1272198.1231
42 | 2693178.2327 | 1272200.2712
43 | 2693214.8637 | 1272208.8193
44 | 2693222.9155 | 1272148.7554
45 | 2693260.3306 | 1272168.2787
46 | 2693226.464 | 1272118.0413
47 | 2693285.7317 | 1272158.6222
48 | 2693240.6645 | 1272112.2869
49 | 2693292.5152 | 1272127.8036
50 | 2693297.9813 | 1272179.8335
51 | 2693179.0905 | 1272333.4499
52 | 2693191.2407 | 1272322.0895
53 | 2693167.4295 | 1272336.1145
54 | 2693204.9921 | 1272316.4701
55 | 2693217.3729 | 1272325.2074
56 | 2693171.5712 | 1272287.2389
57 | 2693150.2307 | 1272276.2708
58 | 2693144.344 | 1272248.2183
59 | 2693146.7724 | 1272259.7908
60 | 2693207.9944 | 1272222.5855
61 | 2693231.4885 | 1272228.5353
62 | 2693176.8878 | 1272278.2931
63 | 2693187.1898 | 1272270.1745
64 | 2693249.0558 | 1272233.7147
65 | 2693226.4777 | 1272207.6387
66 | 2693285.9365 | 1272063.4904
67 | 2693281.7997 | 1272093.0528
68 | 2693299.9069 | 1272050.4333
69 | 2693296.3456 | 1272071.0944
70 | 2693292.5035 | 1272126.8387
71 | 2693357.0536 | 1272038.2262
72 | 2693293.9486 | 1272090.8687
73 | 2693297.2759 | 1272195.9025
74 | 2693309.557 | 1272183.4921
75 | 2693295.0063 | 1272208.6036
76 | 2693294.5691 | 1272211.0502
77 | 2693283.1542 | 1272244.0975
78 | 2693347.4966 | 1272152.5598
79 | 2693332.4548 | 1272190.7291
80 | 2693254.0259 | 1272235.1801
81 | 2693222.0242 | 1272090.6885
82 | 2693257.37 | 1272066.2931
83 | 2693244.9717 | 1272108.738
84 | 2693250.919 | 1272234.2641
85 | 2693395.7214 | 1272099.7373
86 | 2693393.7525 | 1272123.1023
87 | 2693398.4212 | 1272152.3991
88 | 2693406.0298 | 1272180.1129
89 | 2693413.8007 | 1272207.1316
90 | 2693423.5262 | 1272220.4967
91 | 2693375.1895 | 1272204.3468
92 | 2693300.8695 | 1272270.359
93 | 2693301.0238 | 1272270.308
94 | 2693306.766 | 1272268.4131
95 | 2693329.7957 | 1272255.1674
96 | 2693345.8433 | 1272240.4534
97 | 2693349.5118 | 1272239.5123
98 | 2693257.7239 | 1272277.092
99 | 2693247.1503 | 1272275.5153
100 | 2693223.9394 | 1272329.8414
101 | 2693235.2952 | 1272217.0858

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1