## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_301-12_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_301-12_1_3_node_102 | 0.4 | n |  | TRUE
2 | bus_LV_301-12_1_3_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_301-12_1_3_node_130 | 0.4 | n |  | TRUE
4 | bus_LV_301-12_1_3_node_150 | 0.4 | n |  | TRUE
5 | bus_LV_301-12_1_3_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_301-12_1_3_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_301-12_1_3_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_301-12_1_3_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_301-12_1_3_node_127 | 0.4 | n |  | TRUE
10 | bus_LV_301-12_1_3_node_135 | 0.4 | n |  | TRUE
11 | bus_LV_301-12_1_3_node_101 | 0.4 | n |  | TRUE
12 | bus_LV_301-12_1_3_node_136 | 0.4 | n |  | TRUE
13 | bus_LV_301-12_1_3_node_122 | 0.4 | n |  | TRUE
14 | bus_LV_301-12_1_3_node_137 | 0.4 | n |  | TRUE
15 | bus_LV_301-12_1_3_node_138 | 0.4 | n |  | TRUE
16 | bus_LV_301-12_1_3_node_141 | 0.4 | n |  | TRUE
17 | bus_LV_301-12_1_3_node_139 | 0.4 | n |  | TRUE
18 | bus_LV_301-12_1_3_node_111 | 0.4 | n |  | TRUE
19 | bus_LV_301-12_1_3_node_117 | 0.4 | n |  | TRUE
20 | bus_LV_301-12_1_3_node_140 | 0.4 | n |  | TRUE
21 | bus_LV_301-12_1_3_node_160 | 0.4 | n |  | TRUE
22 | bus_LV_301-12_1_3_node_142 | 0.4 | n |  | TRUE
23 | bus_LV_301-12_1_3_node_143 | 0.4 | n |  | TRUE
24 | bus_LV_301-12_1_3_node_144 | 0.4 | n |  | TRUE
25 | bus_LV_301-12_1_3_node_145 | 0.4 | n |  | TRUE
26 | bus_LV_301-12_1_3_node_146 | 0.4 | n |  | TRUE
27 | bus_LV_301-12_1_3_node_147 | 0.4 | n |  | TRUE
28 | bus_LV_301-12_1_3_node_165 | 0.4 | n |  | TRUE
29 | bus_LV_301-12_1_3_node_148 | 0.4 | n |  | TRUE
30 | bus_LV_301-12_1_3_node_162 | 0.4 | n |  | TRUE
31 | bus_LV_301-12_1_3_node_149 | 0.4 | n |  | TRUE
32 | bus_LV_301-12_1_3_node_163 | 0.4 | n |  | TRUE
33 | bus_LV_301-12_1_3_node_151 | 0.4 | n |  | TRUE
34 | bus_LV_301-12_1_3_node_166 | 0.4 | n |  | TRUE
35 | bus_LV_301-12_1_3_node_152 | 0.4 | n |  | TRUE
36 | bus_LV_301-12_1_3_node_153 | 0.4 | n |  | TRUE
37 | bus_LV_301-12_1_3_node_155 | 0.4 | n |  | TRUE
38 | bus_LV_301-12_1_3_node_164 | 0.4 | n |  | TRUE
39 | bus_LV_301-12_1_3_node_161 | 0.4 | n |  | TRUE
40 | bus_LV_301-12_1_3_node_171 | 0.4 | n |  | TRUE
41 | bus_LV_301-12_1_3_node_116 | 0.4 | n |  | TRUE
42 | bus_LV_301-12_1_3_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_301-12_1_3_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_301-12_1_3_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_301-12_1_3_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_301-12_1_3_node_115 | 0.4 | n |  | TRUE
47 | bus_LV_301-12_1_3_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_301-12_1_3_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_301-12_1_3_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_301-12_1_3_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_301-12_1_3_node_104 | 0.4 | n |  | TRUE
52 | bus_LV_301-12_1_3_node_105 | 0.4 | n |  | TRUE
53 | bus_LV_301-12_1_3_node_106 | 0.4 | n |  | TRUE
54 | bus_LV_301-12_1_3_node_107 | 0.4 | n |  | TRUE
55 | bus_LV_301-12_1_3_node_125 | 0.4 | n |  | TRUE
56 | bus_LV_301-12_1_3_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_301-12_1_3_node_108 | 0.4 | n |  | TRUE
58 | bus_LV_301-12_1_3_node_110 | 0.4 | n |  | TRUE
59 | bus_LV_301-12_1_3_node_112 | 0.4 | n |  | TRUE
60 | bus_LV_301-12_1_3_node_113 | 0.4 | n |  | TRUE
61 | bus_LV_301-12_1_3_node_118 | 0.4 | n |  | TRUE
62 | bus_LV_301-12_1_3_node_119 | 0.4 | n |  | TRUE
63 | bus_LV_301-12_1_3_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_301-12_1_3_node_121 | 0.4 | n |  | TRUE
65 | bus_LV_301-12_1_3_node_123 | 0.4 | n |  | TRUE
66 | bus_LV_301-12_1_3_node_124 | 0.4 | n |  | TRUE
67 | bus_LV_301-12_1_3_node_126 | 0.4 | n |  | TRUE
68 | bus_MV_403_0_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_301-12_1_3_load_128 | 0 | 0.00053962 | 0.00013524 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_301-12_1_3_load_102 | 1 | 0.00017134 | 4.2943e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_301-12_1_3_load_130 | 3 | 0.00033525 | 8.4022e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_301-12_1_3_load_131 | 5 | 0.0010628 | 0.00026636 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_301-12_1_3_load_132 | 6 | 0.00027291 | 6.8398e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_301-12_1_3_load_96 | 7 | 0.0014108 | 0.00035359 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_301-12_1_3_load_134 | 8 | 0.0003377 | 8.4636e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_301-12_1_3_load_127 | 9 | 0.00090794 | 0.00022755 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_301-12_1_3_load_135 | 10 | 0.00082368 | 0.00020643 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_301-12_1_3_load_101 | 11 | 0.0001813 | 4.5439e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_301-12_1_3_load_136 | 12 | 0.0018511 | 0.00046392 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_301-12_1_3_load_122 | 13 | 0.00089073 | 0.00022324 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_301-12_1_3_load_141 | 16 | 0.000249 | 6.2405e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_301-12_1_3_load_111 | 18 | 0.00057135 | 0.00014319 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_301-12_1_3_load_117 | 19 | 0.00091699 | 0.00022982 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_301-12_1_3_load_140 | 20 | 0.0003641 | 9.1252e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_301-12_1_3_load_160 | 21 | 0.00071274 | 0.00017863 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_301-12_1_3_load_142 | 22 | 0.00025778 | 6.4605e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_301-12_1_3_load_143 | 23 | 0.0010326 | 0.00025879 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_301-12_1_3_load_144 | 24 | 0.016203 | 0.0040609 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_301-12_1_3_load_145 | 25 | 0.0071085 | 0.0017816 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_301-12_1_3_load_146 | 26 | 0.0048096 | 0.0012054 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_301-12_1_3_load_147 | 27 | 0.16597 | 0.041596 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_301-12_1_3_load_149 | 31 | 9.6454e-05 | 2.4174e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_301-12_1_3_load_163 | 32 | 0.015724 | 0.0039407 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_301-12_1_3_load_151 | 33 | 0.0021934 | 0.00054973 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_301-12_1_3_load_166 | 34 | 0.0026364 | 0.00066075 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_301-12_1_3_load_152 | 35 | 0.015987 | 0.0040067 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_301-12_1_3_load_153 | 36 | 0.0092287 | 0.0023129 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_301-12_1_3_load_164 | 38 | 0.004014 | 0.001006 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_301-12_1_3_load_161 | 39 | 0.0085578 | 0.0021448 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_301-12_1_3_load_171 | 40 | 0.0013325 | 0.00033396 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_301-12_1_3_load_93 | 42 | 0.0011918 | 0.0002987 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_301-12_1_3_load_94 | 43 | 0.0019257 | 0.00048262 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_301-12_1_3_load_97 | 45 | 0.00076331 | 0.0001913 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_301-12_1_3_load_98 | 47 | 0.00029729 | 7.4508e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_301-12_1_3_load_99 | 48 | 0.00070167 | 0.00017586 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_301-12_1_3_load_100 | 49 | 0.00042834 | 0.00010735 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_301-12_1_3_load_103 | 50 | 0.0003696 | 9.2631e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_301-12_1_3_load_104 | 51 | 0.00034537 | 8.6559e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_301-12_1_3_load_105 | 52 | 0.0004425 | 0.0001109 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_301-12_1_3_load_106 | 53 | 0.00030966 | 7.7609e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_301-12_1_3_load_107 | 54 | 0.0018999 | 0.00047615 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_301-12_1_3_load_109 | 56 | 0.00052315 | 0.00013111 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_301-12_1_3_load_108 | 57 | 0.00061129 | 0.0001532 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_301-12_1_3_load_110 | 58 | 0.00015132 | 3.7923e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_301-12_1_3_load_112 | 59 | 0.0058723 | 0.0014717 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_301-12_1_3_load_118 | 61 | 0.00061899 | 0.00015513 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_301-12_1_3_load_119 | 62 | 0.00060313 | 0.00015116 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_301-12_1_3_load_120 | 63 | 0.00040778 | 0.0001022 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_301-12_1_3_load_121 | 64 | 0.0020882 | 0.00052334 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_301-12_1_3_load_123 | 65 | 0.00066075 | 0.0001656 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_301-12_1_3_load_124 | 66 | 0.0010391 | 0.00026042 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_301-12_1_3_load_126 | 67 | 0.00045455 | 0.00011392 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_301-12_1_3_line_0 |  | 0 | 1 | 0.0060293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_301-12_1_3_line_1 |  | 0 | 2 | 0.020584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_301-12_1_3_line_2 |  | 1 | 49 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_301-12_1_3_line_3 |  | 2 | 3 | 0.061595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_301-12_1_3_line_4 |  | 2 | 4 | 0.22004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_301-12_1_3_line_5 |  | 4 | 32 | 0.18908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_301-12_1_3_line_6 |  | 4 | 31 | 0.086479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_301-12_1_3_line_7 |  | 5 | 6 | 0.0035067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_301-12_1_3_line_8 |  | 6 | 7 | 0.015566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_301-12_1_3_line_9 |  | 7 | 43 | 0.11933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_301-12_1_3_line_10 |  | 8 | 9 | 0.0025593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_301-12_1_3_line_11 |  | 8 | 10 | 0.027932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_301-12_1_3_line_12 |  | 9 | 55 | 0.014833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_301-12_1_3_line_13 |  | 10 | 11 | 0.00062258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_301-12_1_3_line_14 |  | 11 | 48 | 0.0060245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_301-12_1_3_line_15 |  | 12 | 13 | 0.019641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_301-12_1_3_line_16 |  | 12 | 14 | 0.11318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_301-12_1_3_line_17 |  | 13 | 63 | 0.022884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_301-12_1_3_line_18 |  | 14 | 15 | 0.035569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_301-12_1_3_line_19 |  | 15 | 16 | 0.13212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_301-12_1_3_line_20 |  | 16 | 22 | 0.012006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_301-12_1_3_line_21 |  | 17 | 18 | 0.033176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_301-12_1_3_line_22 |  | 17 | 19 | 0.013377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_301-12_1_3_line_23 |  | 17 | 20 | 0.016998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_301-12_1_3_line_24 |  | 18 | 58 | 0.018031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_301-12_1_3_line_25 |  | 19 | 46 | 0.025879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_301-12_1_3_line_26 |  | 20 | 21 | 0.032958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_301-12_1_3_line_27 |  | 22 | 23 | 0.0093883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_301-12_1_3_line_28 |  | 24 | 25 | 0.0080257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_301-12_1_3_line_29 |  | 24 | 26 | 0.0036152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_301-12_1_3_line_30 |  | 25 | 27 | 0.0040884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_301-12_1_3_line_31 |  | 25 | 28 | 0.27243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_301-12_1_3_line_32 |  | 26 | 29 | 0.018552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_301-12_1_3_line_33 |  | 28 | 38 | 0.043558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_301-12_1_3_line_34 |  | 29 | 30 | 0.055134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_301-12_1_3_line_35 |  | 30 | 39 | 0.031677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_301-12_1_3_line_36 |  | 32 | 39 | 0.031063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_301-12_1_3_line_37 |  | 33 | 34 | 0.045647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_301-12_1_3_line_38 |  | 34 | 37 | 0.17372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_301-12_1_3_line_39 |  | 35 | 36 | 0.020753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_301-12_1_3_line_40 |  | 36 | 37 | 0.12625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_301-12_1_3_line_41 |  | 37 | 38 | 0.40985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_301-12_1_3_line_42 |  | 40 | 41 | 0.024906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_301-12_1_3_line_43 |  | 41 | 60 | 0.023023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_301-12_1_3_line_44 |  | 42 | 43 | 0.027947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_301-12_1_3_line_45 |  | 42 | 44 | 0.031195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_301-12_1_3_line_46 |  | 44 | 45 | 0.0095232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_301-12_1_3_line_47 |  | 45 | 46 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_301-12_1_3_line_48 |  | 46 | 60 | 0.076286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_301-12_1_3_line_49 |  | 47 | 48 | 0.18222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_301-12_1_3_line_50 |  | 47 | 49 | 0.0039385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_301-12_1_3_line_51 |  | 50 | 51 | 0.012125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_301-12_1_3_line_52 |  | 50 | 52 | 0.012097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_301-12_1_3_line_53 |  | 51 | 53 | 0.016747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_301-12_1_3_line_54 |  | 52 | 54 | 0.0060508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_301-12_1_3_line_55 |  | 53 | 55 | 0.038005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_301-12_1_3_line_56 |  | 54 | 56 | 0.002211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_301-12_1_3_line_57 |  | 55 | 64 | 0.034867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_301-12_1_3_line_58 |  | 55 | 65 | 0.012598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_301-12_1_3_line_59 |  | 56 | 57 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_301-12_1_3_line_60 |  | 57 | 58 | 0.0017954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_301-12_1_3_line_61 |  | 59 | 60 | 0.023398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_301-12_1_3_line_62 |  | 61 | 62 | 0.0047482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_301-12_1_3_line_63 |  | 61 | 63 | 0.0089137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_301-12_1_3_line_64 |  | 62 | 64 | 0.019333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_301-12_1_3_line_65 |  | 65 | 66 | 0.027763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_301-12_1_3_line_66 |  | 66 | 67 | 0.00049016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_301-12_1_3_trafo_163 | 0.63 MVA 20/0.4 kV | 68 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2589058.0828 | 1210993.6875 | 2589064.0723 | 1210994.3791
1 | 2589037.635 | 1210991.3263 | 2589058.0828 | 1210993.6875
2 | 2589064.0723 | 1210994.3791 | 2589080.7801 | 1210996.3084
3 | 2589037.635 | 1210991.3263 | 2589032.5384 | 1210996.5497 | 2589027.1105 | 1211003.4192 | 2589026.3468 | 1211009.5018 | 2589028.5203 | 1211013.8112 | 2589037.8466 | 1211019.4304 | 2589050.9963 | 1211025.7652 | 2589059.1563 | 1211029.7944
4 | 2589037.635 | 1210991.3263 | 2588852.4232 | 1210872.5281
5 | 2588786.6118 | 1211049.7844 | 2588852.4232 | 1210872.5281
6 | 2588852.4232 | 1210872.5281 | 2588851.0616 | 1210851.5857 | 2588845.2946 | 1210831.6966 | 2588832.8862 | 1210811.7755 | 2588817.7977 | 1210796.7209
7 | 2589051.6938 | 1211222.9452 | 2589048.1968 | 1211223.2057
8 | 2589051.6938 | 1211222.9452 | 2589067.2166 | 1211221.7889 | 2589067.2166 | 1211221.7889
9 | 2589182.5557 | 1211251.3416 | 2589156.4537 | 1211243.8927 | 2589121.164 | 1211233.8852 | 2589081.1309 | 1211222.7527 | 2589067.2166 | 1211221.7889
10 | 2589290.0178 | 1211043.8406 | 2589287.8727 | 1211042.4446
11 | 2589264.4615 | 1211027.2086 | 2589287.8727 | 1211042.4446
12 | 2589302.4495 | 1211051.9312 | 2589290.0178 | 1211043.8406
13 | 2589263.9397 | 1211026.869 | 2589264.4615 | 1211027.2086
14 | 2589258.8904 | 1211023.5829 | 2589263.9397 | 1211026.869
15 | 2589323.416 | 1210943.6836 | 2589320.4768 | 1210963.1031
16 | 2589314.3793 | 1210833.1434 | 2589326.7451 | 1210868.2629 | 2589329.4159 | 1210899.809 | 2589326.0593 | 1210926.2186 | 2589323.416 | 1210943.6836
17 | 2589316.9909 | 1210985.7199 | 2589319.5189 | 1210969.4323 | 2589320.4768 | 1210963.1031
18 | 2589300.8472 | 1210800.3052 | 2589307.8259 | 1210814.5338 | 2589314.3793 | 1210833.1434
19 | 2589300.8472 | 1210800.3052 | 2589283.121 | 1210784.5729 | 2589234.7386 | 1210742.604 | 2589216.5849 | 1210734.2991 | 2589198.4433 | 1210732.709 | 2589192.5243 | 1210734.5576
20 | 2589192.5243 | 1210734.5576 | 2589186.0186 | 1210736.5894 | 2589181.3778 | 1210738.9133
21 | 2589253.5288 | 1211205.9723 | 2589262.3073 | 1211173.9788
22 | 2589252.2157 | 1211219.2821 | 2589253.5288 | 1211205.9723
23 | 2589253.5288 | 1211205.9723 | 2589246.7939 | 1211204.4504 | 2589239.19 | 1211197.8137
24 | 2589267.0785 | 1211156.5903 | 2589262.3073 | 1211173.9788
25 | 2589258.1954 | 1211244.3186 | 2589254.1021 | 1211232.9308 | 2589252.2157 | 1211219.2821
26 | 2589212.3654 | 1211208.3708 | 2589223.9538 | 1211196.3652 | 2589232.9241 | 1211194.5145 | 2589238.4301 | 1211197.1504 | 2589239.19 | 1211197.8137
27 | 2589172.9832 | 1210743.1169 | 2589181.3778 | 1210738.9133
28 | 2588712.5275 | 1211063.4508 | 2588705.8181 | 1211059.0468
29 | 2588702.7957 | 1211057.0631 | 2588705.8181 | 1211059.0468
30 | 2588715.9454 | 1211065.6941 | 2588712.5275 | 1211063.4508
31 | 2588712.5275 | 1211063.4508 | 2588564.6027 | 1211292.2218
32 | 2588687.2859 | 1211046.8828 | 2588702.7957 | 1211057.0631
33 | 2588564.6027 | 1211292.2218 | 2588543.1348 | 1211306.4157 | 2588529.1578 | 1211317.4737
34 | 2588687.2859 | 1211046.8828 | 2588695.3818 | 1211036.7839 | 2588702.3645 | 1211032.6238 | 2588723.988 | 1211023.5665 | 2588734.1482 | 1211020.1008
35 | 2588734.1482 | 1211020.1008 | 2588759.3715 | 1211039.2635
36 | 2588786.6118 | 1211049.7844 | 2588780.3299 | 1211050.8524 | 2588775.4515 | 1211050.8061 | 2588770.7425 | 1211047.9023 | 2588759.3715 | 1211039.2635
37 | 2588794.6136 | 1211672.4513 | 2588762.4756 | 1211704.8674
38 | 2588589.6863 | 1211722.8249 | 2588762.4756 | 1211704.8674
39 | 2588584.7145 | 1211869.7265 | 2588584.8505 | 1211848.9735
40 | 2588589.6863 | 1211722.8249 | 2588588.2235 | 1211760.1263 | 2588584.9357 | 1211835.975 | 2588584.8505 | 1211848.9735
41 | 2588529.1578 | 1211317.4737 | 2588589.6863 | 1211722.8249
42 | 2589337.1168 | 1211302.2304 | 2589342.2053 | 1211288.3246 | 2589341.3134 | 1211278.2651
43 | 2589316.0754 | 1211292.7519 | 2589337.1168 | 1211302.2304
44 | 2589182.5557 | 1211251.3416 | 2589209.4298 | 1211259.0109
45 | 2589239.9575 | 1211264.0849 | 2589226.0521 | 1211263.7545 | 2589209.4298 | 1211259.0109
46 | 2589239.9575 | 1211264.0849 | 2589246.4154 | 1211257.0858
47 | 2589258.1954 | 1211244.3186 | 2589246.4154 | 1211257.0858
48 | 2589258.1954 | 1211244.3186 | 2589273.7836 | 1211263.3342 | 2589291.7137 | 1211279.1551 | 2589307.2761 | 1211288.232 | 2589316.0754 | 1211292.7519
49 | 2589084.6926 | 1210996.7602 | 2589090.8897 | 1210997.4758 | 2589128.8551 | 1210998.9624 | 2589177.6218 | 1210994.2371 | 2589196.299 | 1210994.1362 | 2589214.6086 | 1210996.6598 | 2589242.1152 | 1211013.1968 | 2589253.3886 | 1211020.0023 | 2589258.8904 | 1211023.5829
50 | 2589084.6926 | 1210996.7602 | 2589080.7801 | 1210996.3084
51 | 2589278.2669 | 1211114.0849 | 2589281.3256 | 1211102.3516
52 | 2589275.2154 | 1211125.7906 | 2589278.2669 | 1211114.0849
53 | 2589281.3256 | 1211102.3516 | 2589283.1896 | 1211095.2013 | 2589286.995 | 1211086.6521
54 | 2589275.2154 | 1211125.7906 | 2589273.689 | 1211131.6457
55 | 2589302.4495 | 1211051.9312 | 2589286.995 | 1211086.6521
56 | 2589273.1313 | 1211133.7852 | 2589273.689 | 1211131.6457
57 | 2589302.4495 | 1211051.9312 | 2589311.0842 | 1211018.1508
58 | 2589302.4495 | 1211051.9312 | 2589314.0411 | 1211056.8658
59 | 2589267.5535 | 1211154.8589 | 2589269.2371 | 1211148.7231 | 2589273.1313 | 1211133.7852
60 | 2589267.0785 | 1211156.5903 | 2589267.5535 | 1211154.8589
61 | 2589316.0754 | 1211292.7519 | 2589325.2759 | 1211271.2383
62 | 2589315.6238 | 1210994.5282 | 2589314.8956 | 1210999.2202
63 | 2589315.6238 | 1210994.5282 | 2589316.9909 | 1210985.7199
64 | 2589311.0842 | 1211018.1508 | 2589313.3071 | 1211009.4546 | 2589314.8956 | 1210999.2202
65 | 2589314.0411 | 1211056.8658 | 2589339.5857 | 1211067.7401
66 | 2589340.0367 | 1211067.9321 | 2589339.5857 | 1211067.7401

## bus_geodata
| x | y | coords
0 | 2589058.0828 | 1210993.6875
1 | 2589064.0723 | 1210994.3791
2 | 2589037.635 | 1210991.3263
3 | 2589059.1563 | 1211029.7944
4 | 2588852.4232 | 1210872.5281
5 | 2589048.1968 | 1211223.2057
6 | 2589051.6938 | 1211222.9452
7 | 2589067.2166 | 1211221.7889
8 | 2589287.8727 | 1211042.4446
9 | 2589290.0178 | 1211043.8406
10 | 2589264.4615 | 1211027.2086
11 | 2589263.9397 | 1211026.869
12 | 2589323.416 | 1210943.6836
13 | 2589320.4768 | 1210963.1031
14 | 2589314.3793 | 1210833.1434
15 | 2589300.8472 | 1210800.3052
16 | 2589192.5243 | 1210734.5576
17 | 2589253.5288 | 1211205.9723
18 | 2589262.3073 | 1211173.9788
19 | 2589252.2157 | 1211219.2821
20 | 2589239.19 | 1211197.8137
21 | 2589212.3654 | 1211208.3708
22 | 2589181.3778 | 1210738.9133
23 | 2589172.9832 | 1210743.1169
24 | 2588705.8181 | 1211059.0468
25 | 2588712.5275 | 1211063.4508
26 | 2588702.7957 | 1211057.0631
27 | 2588715.9454 | 1211065.6941
28 | 2588564.6027 | 1211292.2218
29 | 2588687.2859 | 1211046.8828
30 | 2588734.1482 | 1211020.1008
31 | 2588817.7977 | 1210796.7209
32 | 2588786.6118 | 1211049.7844
33 | 2588794.6136 | 1211672.4513
34 | 2588762.4756 | 1211704.8674
35 | 2588584.7145 | 1211869.7265
36 | 2588584.8505 | 1211848.9735
37 | 2588589.6863 | 1211722.8249
38 | 2588529.1578 | 1211317.4737
39 | 2588759.3715 | 1211039.2635
40 | 2589341.3134 | 1211278.2651
41 | 2589337.1168 | 1211302.2304
42 | 2589209.4298 | 1211259.0109
43 | 2589182.5557 | 1211251.3416
44 | 2589239.9575 | 1211264.0849
45 | 2589246.4154 | 1211257.0858
46 | 2589258.1954 | 1211244.3186
47 | 2589084.6926 | 1210996.7602
48 | 2589258.8904 | 1211023.5829
49 | 2589080.7801 | 1210996.3084
50 | 2589278.2669 | 1211114.0849
51 | 2589281.3256 | 1211102.3516
52 | 2589275.2154 | 1211125.7906
53 | 2589286.995 | 1211086.6521
54 | 2589273.689 | 1211131.6457
55 | 2589302.4495 | 1211051.9312
56 | 2589273.1313 | 1211133.7852
57 | 2589267.5535 | 1211154.8589
58 | 2589267.0785 | 1211156.5903
59 | 2589325.2759 | 1211271.2383
60 | 2589316.0754 | 1211292.752
61 | 2589315.6238 | 1210994.5282
62 | 2589314.8956 | 1210999.2202
63 | 2589316.9909 | 1210985.7199
64 | 2589311.0842 | 1211018.1508
65 | 2589314.0411 | 1211056.8658
66 | 2589339.5857 | 1211067.7401
67 | 2589340.0367 | 1211067.9321
68 | 2588734.1482 | 1211020.1008

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1