## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_301-13_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_301-13_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_301-13_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_301-13_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_301-13_0_5_node_100 | 0.4 | n |  | TRUE
5 | bus_LV_301-13_0_5_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_301-13_0_5_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_301-13_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_301-13_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_301-13_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_301-13_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_301-13_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_301-13_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_301-13_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_301-13_0_5_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_301-13_0_5_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_301-13_0_5_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_301-13_0_5_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_301-13_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_301-13_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_301-13_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_301-13_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_301-13_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_301-13_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_301-13_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_301-13_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_301-13_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_301-13_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_301-13_0_5_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_301-13_0_5_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_301-13_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_301-13_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_301-13_0_5_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_301-13_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_301-13_0_5_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_301-13_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_301-13_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_301-13_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_301-13_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_301-13_0_5_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_301-13_0_5_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_301-13_0_5_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_301-13_0_5_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_301-13_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_301-13_0_5_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_301-13_0_5_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_301-13_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_301-13_0_5_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_301-13_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_301-13_0_5_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_301-13_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_301-13_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_301-13_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_301-13_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_301-13_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_301-13_0_5_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_301-13_0_5_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_301-13_0_5_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_301-13_0_5_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_301-13_0_5_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_301-13_0_5_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_301-13_0_5_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_301-13_0_5_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_301-13_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_301-13_0_5_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_301-13_0_5_node_99 | 0.4 | n |  | TRUE
66 | bus_LV_301-13_0_5_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_301-13_0_5_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_301-13_0_5_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_301-13_0_5_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_301-13_0_5_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_301-13_0_5_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_301-13_0_5_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_301-13_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_301-13_0_5_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_301-13_0_5_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_301-13_0_5_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_301-13_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_301-13_0_5_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_301-13_0_5_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_301-13_0_5_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_301-13_0_5_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_301-13_0_5_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_301-13_0_5_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_301-13_0_5_node_96 | 0.4 | n |  | TRUE
85 | bus_LV_301-13_0_5_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_301-13_0_5_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_301-13_0_5_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_301-13_0_5_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_301-13_0_5_node_97 | 0.4 | n |  | TRUE
90 | bus_LV_301-13_0_5_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_301-13_0_5_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_301-13_0_5_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_301-13_0_5_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_301-13_0_5_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_301-13_0_5_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_301-13_0_5_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_301-13_0_5_node_86 | 0.4 | n |  | TRUE
98 | bus_MV_403_0_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_301-13_0_5_load_0 | 0 | 0.0055971 | 0.0014028 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_301-13_0_5_load_1 | 1 | 0.0034863 | 0.00087376 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_301-13_0_5_load_2 | 2 | 0.0029449 | 0.00073806 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_301-13_0_5_load_100 | 4 | 0.0093814 | 0.0023512 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_301-13_0_5_load_16 | 6 | 0.004426 | 0.0011093 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_301-13_0_5_load_4 | 7 | 0.003161 | 0.00079222 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_301-13_0_5_load_5 | 8 | 0.0039333 | 0.00098577 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_301-13_0_5_load_6 | 9 | 0.0034427 | 0.00086281 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_301-13_0_5_load_7 | 10 | 0.0031541 | 0.00079048 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_301-13_0_5_load_8 | 11 | 0.0027533 | 0.00069003 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_301-13_0_5_load_9 | 12 | 0.0025713 | 0.00064443 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_301-13_0_5_load_10 | 13 | 0.0034318 | 0.00086008 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_301-13_0_5_load_25 | 14 | 0.0028763 | 0.00072086 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_301-13_0_5_load_22 | 15 | 0.0047454 | 0.0011893 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_301-13_0_5_load_24 | 16 | 0.0017668 | 0.00044281 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_301-13_0_5_load_20 | 17 | 0.0041806 | 0.0010478 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_301-13_0_5_load_11 | 18 | 0.0056642 | 0.0014196 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_301-13_0_5_load_13 | 20 | 0.0047775 | 0.0011974 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_301-13_0_5_load_14 | 21 | 0.0038413 | 0.00096272 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_301-13_0_5_load_15 | 22 | 0.0031312 | 0.00078474 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_301-13_0_5_load_23 | 23 | 0.0026248 | 0.00065785 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_301-13_0_5_load_17 | 24 | 0.0036481 | 0.00091429 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_301-13_0_5_load_19 | 26 | 0.0031932 | 0.0008003 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_301-13_0_5_load_35 | 28 | 0.012505 | 0.003134 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_301-13_0_5_load_26 | 30 | 0.010441 | 0.0026167 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_301-13_0_5_load_27 | 31 | 0.0080415 | 0.0020154 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_301-13_0_5_load_29 | 33 | 0.0017409 | 0.00043631 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_301-13_0_5_load_30 | 34 | 0.0062799 | 0.0015739 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_301-13_0_5_load_31 | 35 | 0.0049285 | 0.0012352 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_301-13_0_5_load_32 | 36 | 0.0077534 | 0.0019432 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_301-13_0_5_load_33 | 37 | 0.0039804 | 0.00099757 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_301-13_0_5_load_83 | 39 | 0.0012678 | 0.00031773 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_301-13_0_5_load_81 | 40 | 0.01165 | 0.0029197 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_301-13_0_5_load_79 | 41 | 0.008221 | 0.0020604 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_301-13_0_5_load_58 | 42 | 0.0028704 | 0.00071938 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_301-13_0_5_load_37 | 43 | 0.0061937 | 0.0015523 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_301-13_0_5_load_80 | 45 | 0.0075861 | 0.0019013 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_301-13_0_5_load_82 | 47 | 0.006019 | 0.0015085 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_301-13_0_5_load_40 | 48 | 0.0059434 | 0.0014896 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_301-13_0_5_load_41 | 49 | 0.0027882 | 0.0006988 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_301-13_0_5_load_42 | 50 | 0.0049957 | 0.001252 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_301-13_0_5_load_45 | 53 | 0.0073156 | 0.0018335 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_301-13_0_5_load_46 | 54 | 0.0048336 | 0.0012114 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_301-13_0_5_load_51 | 55 | 0.0018687 | 0.00046835 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_301-13_0_5_load_47 | 57 | 0.011865 | 0.0029736 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_301-13_0_5_load_92 | 59 | 0.0027863 | 0.00069832 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_301-13_0_5_load_94 | 60 | 0.0011269 | 0.00028242 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_301-13_0_5_load_90 | 61 | 0.0043571 | 0.001092 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_301-13_0_5_load_87 | 62 | 0.0011342 | 0.00028426 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_301-13_0_5_load_49 | 63 | 0.010554 | 0.0026451 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_301-13_0_5_load_95 | 64 | 0.0017793 | 0.00044594 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_301-13_0_5_load_99 | 65 | 0.015065 | 0.0037757 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_301-13_0_5_load_88 | 66 | 0.0018774 | 0.00047051 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_301-13_0_5_load_64 | 68 | 0.004191 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_301-13_0_5_load_52 | 69 | 0.0021228 | 0.00053201 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_301-13_0_5_load_56 | 71 | 0.0013169 | 0.00033004 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_301-13_0_5_load_55 | 72 | 0.0013692 | 0.00034315 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_301-13_0_5_load_77 | 74 | 0.0018166 | 0.00045528 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_301-13_0_5_load_78 | 75 | 0.0073065 | 0.0018312 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_301-13_0_5_load_59 | 76 | 0.0018303 | 0.00045873 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_301-13_0_5_load_60 | 77 | 0.0037122 | 0.00093036 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_301-13_0_5_load_61 | 78 | 0.0014733 | 0.00036924 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_301-13_0_5_load_62 | 79 | 0.0023379 | 0.00058593 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_301-13_0_5_load_65 | 81 | 0.0032898 | 0.0008245 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_301-13_0_5_load_66 | 82 | 0.0018053 | 0.00045245 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_301-13_0_5_load_93 | 83 | 0.0016523 | 0.00041411 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_301-13_0_5_load_96 | 84 | 0.0061142 | 0.0015324 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_301-13_0_5_load_67 | 85 | 0.0031968 | 0.00080119 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_301-13_0_5_load_68 | 86 | 0.0034817 | 0.00087261 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_301-13_0_5_load_69 | 87 | 0.0039179 | 0.00098191 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_301-13_0_5_load_97 | 89 | 0.0042717 | 0.0010706 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_301-13_0_5_load_72 | 90 | 0.0039157 | 0.00098137 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_301-13_0_5_load_74 | 92 | 0.0030532 | 0.00076519 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_301-13_0_5_load_75 | 93 | 0.0022567 | 0.00056558 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_301-13_0_5_load_76 | 94 | 0.002249 | 0.00056366 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_301-13_0_5_load_84 | 95 | 0.0013609 | 0.00034107 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_301-13_0_5_load_86 | 97 | 0.0051044 | 0.0012793 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_301-13_0_5_line_0 |  | 0 | 1 | 0.0079829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_301-13_0_5_line_1 |  | 0 | 2 | 0.0061927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_301-13_0_5_line_2 |  | 2 | 3 | 0.017332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_301-13_0_5_line_3 |  | 3 | 4 | 0.024451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_301-13_0_5_line_4 |  | 3 | 5 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_301-13_0_5_line_5 |  | 5 | 6 | 0.03297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_301-13_0_5_line_6 |  | 6 | 21 | 0.025213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_301-13_0_5_line_7 |  | 7 | 8 | 0.012786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_301-13_0_5_line_8 |  | 7 | 9 | 0.0081651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_301-13_0_5_line_9 |  | 8 | 10 | 0.007156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_301-13_0_5_line_10 |  | 9 | 11 | 0.010069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_301-13_0_5_line_11 |  | 10 | 12 | 0.012214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_301-13_0_5_line_12 |  | 11 | 13 | 0.010992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_301-13_0_5_line_13 |  | 12 | 14 | 0.0070869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_301-13_0_5_line_14 |  | 13 | 15 | 0.0071138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_301-13_0_5_line_15 |  | 14 | 16 | 0.015557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_301-13_0_5_line_16 |  | 15 | 17 | 0.010993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_301-13_0_5_line_17 |  | 16 | 23 | 0.0024741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_301-13_0_5_line_18 |  | 17 | 25 | 0.02709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_301-13_0_5_line_19 |  | 18 | 19 | 0.02246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_301-13_0_5_line_20 |  | 19 | 20 | 0.032091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_301-13_0_5_line_21 |  | 19 | 21 | 0.011321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_301-13_0_5_line_22 |  | 20 | 22 | 0.018435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_301-13_0_5_line_23 |  | 22 | 23 | 0.0072435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_301-13_0_5_line_24 |  | 24 | 25 | 0.017879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_301-13_0_5_line_25 |  | 25 | 26 | 0.010366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_301-13_0_5_line_26 |  | 26 | 27 | 0.038343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_301-13_0_5_line_27 |  | 27 | 28 | 0.028342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_301-13_0_5_line_28 |  | 28 | 29 | 0.02444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_301-13_0_5_line_29 |  | 29 | 43 | 0.017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_301-13_0_5_line_30 |  | 29 | 37 | 0.017459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_301-13_0_5_line_31 |  | 30 | 31 | 0.0028132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_301-13_0_5_line_32 |  | 30 | 32 | 0.019164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_301-13_0_5_line_33 |  | 31 | 33 | 0.030549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_301-13_0_5_line_34 |  | 32 | 34 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_301-13_0_5_line_35 |  | 32 | 35 | 0.017141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_301-13_0_5_line_36 |  | 33 | 36 | 0.0072186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_301-13_0_5_line_37 |  | 34 | 37 | 0.023719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_301-13_0_5_line_38 |  | 35 | 38 | 0.014594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_301-13_0_5_line_39 |  | 36 | 39 | 0.030735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_301-13_0_5_line_40 |  | 38 | 40 | 0.032449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_301-13_0_5_line_41 |  | 38 | 41 | 0.020009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_301-13_0_5_line_42 |  | 39 | 42 | 0.011149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_301-13_0_5_line_43 |  | 40 | 44 | 0.025909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_301-13_0_5_line_44 |  | 41 | 45 | 0.018679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_301-13_0_5_line_45 |  | 42 | 71 | 0.01822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_301-13_0_5_line_46 |  | 44 | 65 | 0.027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_301-13_0_5_line_47 |  | 45 | 46 | 0.015131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_301-13_0_5_line_48 |  | 46 | 47 | 0.0038114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_301-13_0_5_line_49 |  | 48 | 49 | 1.3405e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_301-13_0_5_line_50 |  | 48 | 50 | 0.023304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_301-13_0_5_line_51 |  | 49 | 51 | 0.027602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_301-13_0_5_line_52 |  | 50 | 52 | 0.019223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_301-13_0_5_line_53 |  | 51 | 53 | 0.0027474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_301-13_0_5_line_54 |  | 52 | 54 | 0.0039126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_301-13_0_5_line_55 |  | 53 | 55 | 0.022155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_301-13_0_5_line_56 |  | 54 | 56 | 0.0052217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_301-13_0_5_line_57 |  | 55 | 59 | 0.020046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_301-13_0_5_line_58 |  | 56 | 60 | 0.016334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_301-13_0_5_line_59 |  | 56 | 61 | 0.016253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_301-13_0_5_line_60 |  | 57 | 58 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_301-13_0_5_line_61 |  | 58 | 60 | 0.016724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_301-13_0_5_line_62 |  | 58 | 62 | 0.0067447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_301-13_0_5_line_63 |  | 59 | 68 | 0.00058129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_301-13_0_5_line_64 |  | 61 | 94 | 0.0047669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_301-13_0_5_line_65 |  | 62 | 96 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_301-13_0_5_line_66 |  | 63 | 64 | 0.00026175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_301-13_0_5_line_67 |  | 64 | 66 | 0.0079851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_301-13_0_5_line_68 |  | 65 | 67 | 0.0018957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_301-13_0_5_line_69 |  | 66 | 97 | 0.027256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_301-13_0_5_line_70 |  | 67 | 89 | 0.015148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_301-13_0_5_line_71 |  | 67 | 88 | 0.023754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_301-13_0_5_line_72 |  | 68 | 79 | 0.02129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_301-13_0_5_line_73 |  | 69 | 70 | 0.019033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_301-13_0_5_line_74 |  | 70 | 71 | 0.0095326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_301-13_0_5_line_75 |  | 72 | 73 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_301-13_0_5_line_76 |  | 73 | 74 | 0.013943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_301-13_0_5_line_77 |  | 74 | 75 | 0.0083989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_301-13_0_5_line_78 |  | 75 | 95 | 0.019684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_301-13_0_5_line_79 |  | 76 | 77 | 0.021378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_301-13_0_5_line_80 |  | 76 | 78 | 8.353e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_301-13_0_5_line_81 |  | 77 | 79 | 0.024603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_301-13_0_5_line_82 |  | 78 | 80 | 0.02384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_301-13_0_5_line_83 |  | 79 | 81 | 0.025968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_301-13_0_5_line_84 |  | 80 | 82 | 0.033872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_301-13_0_5_line_85 |  | 81 | 83 | 0.0033483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_301-13_0_5_line_86 |  | 83 | 84 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_301-13_0_5_line_87 |  | 84 | 89 | 0.0069059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_301-13_0_5_line_88 |  | 85 | 86 | 0.030594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_301-13_0_5_line_89 |  | 85 | 87 | 0.0075847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_301-13_0_5_line_90 |  | 86 | 88 | 0.018771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_301-13_0_5_line_91 |  | 90 | 91 | 0.011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_301-13_0_5_line_92 |  | 91 | 92 | 0.016741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_301-13_0_5_line_93 |  | 91 | 93 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_301-13_0_5_line_94 |  | 92 | 94 | 0.024317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_301-13_0_5_line_95 |  | 95 | 96 | 0.017752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_301-13_0_5_line_96 |  | 96 | 97 | 0.025196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_301-13_0_5_trafo_34 | 0.63 MVA 20/0.4 kV | 98 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2588141.855 | 1210371.3178 | 2588140.6778 | 1210379.2135
1 | 2588140.6778 | 1210379.2135 | 2588138.2498 | 1210384.9104
2 | 2588123.3853 | 1210392.4555 | 2588133.366 | 1210390.0008 | 2588138.2498 | 1210384.9104
3 | 2588136.9883 | 1210373.551 | 2588136.6 | 1210376.9871 | 2588134.7788 | 1210382.0713 | 2588130.7048 | 1210385.537 | 2588126.0221 | 1210388.5925 | 2588123.3853 | 1210392.4555
4 | 2588114.7041 | 1210398.6763 | 2588123.3853 | 1210392.4555
5 | 2588114.7041 | 1210398.6763 | 2588136.0484 | 1210423.8048
6 | 2588152.3706 | 1210443.0209 | 2588136.0484 | 1210423.8048
7 | 2588260.0559 | 1210395.4009 | 2588248.9019 | 1210401.6525
8 | 2588260.0559 | 1210395.4009 | 2588267.1785 | 1210391.4087
9 | 2588248.9019 | 1210401.6525 | 2588242.6595 | 1210405.1513
10 | 2588267.1785 | 1210391.4087 | 2588275.9618 | 1210386.4859
11 | 2588232.0048 | 1210411.1231 | 2588242.6595 | 1210405.1513
12 | 2588285.5505 | 1210381.1116 | 2588275.9618 | 1210386.4859
13 | 2588225.8227 | 1210414.588 | 2588232.0048 | 1210411.1231
14 | 2588285.5505 | 1210381.1116 | 2588291.756 | 1210377.6334
15 | 2588225.8227 | 1210414.588 | 2588212.2516 | 1210422.1944
16 | 2588301.3452 | 1210372.2589 | 2588291.756 | 1210377.6334
17 | 2588212.2516 | 1210422.1944 | 2588210.0934 | 1210423.4041
18 | 2588324.9763 | 1210359.014 | 2588301.3452 | 1210372.2589
19 | 2588159.6995 | 1210451.6491 | 2588173.9079 | 1210469.0432
20 | 2588159.6995 | 1210451.6491 | 2588187.693 | 1210435.9591
21 | 2588159.6995 | 1210451.6491 | 2588152.3706 | 1210443.0209
22 | 2588187.693 | 1210435.9591 | 2588203.7746 | 1210426.9456
23 | 2588210.0934 | 1210423.4041 | 2588203.7746 | 1210426.9456
24 | 2588324.9763 | 1210359.014 | 2588335.6207 | 1210373.3791
25 | 2588324.9763 | 1210359.014 | 2588322.0537 | 1210349.0687
26 | 2588311.2431 | 1210312.2818 | 2588322.0537 | 1210349.0687
27 | 2588311.2431 | 1210312.2818 | 2588290.3905 | 1210316.2918 | 2588283.4111 | 1210317.6356
28 | 2588259.4117 | 1210322.2565 | 2588283.4111 | 1210317.6356
29 | 2588259.4117 | 1210322.2565 | 2588255.97 | 1210305.0249
30 | 2588259.4117 | 1210322.2565 | 2588242.2667 | 1210325.5526
31 | 2588186.4934 | 1210336.4019 | 2588189.2529 | 1210335.8552
32 | 2588208.0514 | 1210332.1306 | 2588189.2529 | 1210335.8552
33 | 2588186.4934 | 1210336.4019 | 2588156.5265 | 1210342.3394
34 | 2588208.0514 | 1210332.1306 | 2588218.9742 | 1210330.0307
35 | 2588208.0514 | 1210332.1306 | 2588204.652 | 1210315.3297
36 | 2588156.5265 | 1210342.3394 | 2588149.4455 | 1210343.7423
37 | 2588218.9742 | 1210330.0307 | 2588242.2667 | 1210325.5526
38 | 2588201.7579 | 1210301.0258 | 2588204.652 | 1210315.3297
39 | 2588149.4455 | 1210343.7423 | 2588119.297 | 1210349.7158
40 | 2588201.7579 | 1210301.0258 | 2588201.1361 | 1210297.9365 | 2588193.0131 | 1210271.6491 | 2588192.2341 | 1210270.0448
41 | 2588201.7579 | 1210301.0258 | 2588219.9536 | 1210292.7025
42 | 2588108.3609 | 1210351.8825 | 2588119.297 | 1210349.7158
43 | 2588180.9181 | 1210246.7372 | 2588192.2341 | 1210270.0448
44 | 2588219.9536 | 1210292.7025 | 2588236.9401 | 1210284.9324
45 | 2588090.4888 | 1210355.4236 | 2588108.3609 | 1210351.8825
46 | 2588180.9181 | 1210246.7372 | 2588205.6663 | 1210234.9377
47 | 2588250.6997 | 1210278.6384 | 2588236.9401 | 1210284.9324
48 | 2588250.6997 | 1210278.6384 | 2588249.9523 | 1210274.901
49 | 2588092.837 | 1210231.0279 | 2588092.8483 | 1210231.0207
50 | 2588092.837 | 1210231.0279 | 2588073.1981 | 1210243.5742
51 | 2588116.1085 | 1210216.1609 | 2588092.8483 | 1210231.0207
52 | 2588056.999 | 1210253.923 | 2588073.1981 | 1210243.5742
53 | 2588116.1085 | 1210216.1609 | 2588118.448 | 1210214.7206
54 | 2588056.999 | 1210253.923 | 2588053.6633 | 1210255.9678
55 | 2588118.448 | 1210214.7206 | 2588127.9569 | 1210208.8665 | 2588132.4443 | 1210206.9008 | 2588137.5576 | 1210203.5935
56 | 2588049.2115 | 1210258.6969 | 2588053.6633 | 1210255.9678
57 | 2588154.3894 | 1210192.7063 | 2588137.5576 | 1210203.5935
58 | 2588049.2115 | 1210258.6969 | 2588058.0745 | 1210272.4172
59 | 2588049.2115 | 1210258.6969 | 2588035.288 | 1210267.0817
60 | 2588067.1492 | 1210286.4651 | 2588073.3289 | 1210283.3731 | 2588073.6037 | 1210280.2042 | 2588070.7766 | 1210275.7296
61 | 2588067.1492 | 1210286.4651 | 2588058.0745 | 1210272.4172
62 | 2588067.1492 | 1210286.4651 | 2588070.7051 | 1210292.1962
63 | 2588154.3894 | 1210192.7063 | 2588154.8775 | 1210192.3906
64 | 2588031.7254 | 1210270.2053 | 2588034.1523 | 1210267.7657 | 2588035.288 | 1210267.0817
65 | 2588078.2958 | 1210304.4304 | 2588070.7051 | 1210292.1962
66 | 2588129.2075 | 1210271.9535 | 2588129.4381 | 1210271.8296
67 | 2588129.2075 | 1210271.9535 | 2588122.1737 | 1210275.7333
68 | 2588207.3774 | 1210234.1219 | 2588205.6663 | 1210234.9377
69 | 2588099.2423 | 1210290.4276 | 2588117.3276 | 1210278.3375 | 2588122.1737 | 1210275.7333
70 | 2588207.3774 | 1210234.1219 | 2588199.1249 | 1210221.4194
71 | 2588207.3774 | 1210234.1219 | 2588228.9478 | 1210224.0401
72 | 2588172.7537 | 1210180.828 | 2588154.8775 | 1210192.3906
73 | 2588081.138 | 1210357.2763 | 2588072.9113 | 1210359.016 | 2588062.5653 | 1210361.4331
74 | 2588081.138 | 1210357.2763 | 2588090.4888 | 1210355.4236
75 | 2588029.196 | 1210338.5261 | 2588021.4523 | 1210347.5701
76 | 2588029.196 | 1210338.5261 | 2588040.6483 | 1210330.5735
77 | 2588040.6483 | 1210330.5735 | 2588047.547 | 1210325.7829
78 | 2588063.715 | 1210314.5556 | 2588047.547 | 1210325.7829
79 | 2588211.6206 | 1210156.2606 | 2588193.5501 | 1210167.6828
80 | 2588211.6912 | 1210156.216 | 2588211.6206 | 1210156.2606
81 | 2588172.7537 | 1210180.828 | 2588193.5501 | 1210167.6828
82 | 2588231.8427 | 1210143.4784 | 2588211.6912 | 1210156.216
83 | 2588172.7537 | 1210180.828 | 2588186.9009 | 1210202.6037
84 | 2588231.8427 | 1210143.4784 | 2588250.7217 | 1210171.6014
85 | 2588186.9009 | 1210202.6037 | 2588188.725 | 1210205.4115
86 | 2588195.3626 | 1210215.6283 | 2588188.725 | 1210205.4115
87 | 2588195.3626 | 1210215.6283 | 2588199.1249 | 1210221.4194
88 | 2588258.8663 | 1210247.21 | 2588245.991 | 1210253.3225 | 2588239.6534 | 1210249.722 | 2588236.1704 | 1210241.3664
89 | 2588258.8663 | 1210247.21 | 2588265.7181 | 1210243.9571
90 | 2588228.9478 | 1210224.0401 | 2588236.1704 | 1210241.3664
91 | 2587997.7524 | 1210287.4391 | 2587989.1678 | 1210292.5927 | 2587988.3394 | 1210293.2148
92 | 2587997.7524 | 1210287.4391 | 2588011.9143 | 1210278.5122
93 | 2587997.7524 | 1210287.4391 | 2588004.2719 | 1210298.0314
94 | 2588011.9143 | 1210278.5122 | 2588020.0286 | 1210273.3973 | 2588022.0023 | 1210276.106 | 2588031.7254 | 1210270.2053 | 2588031.7254 | 1210270.2053
95 | 2588078.2958 | 1210304.4304 | 2588063.715 | 1210314.5556
96 | 2588078.2958 | 1210304.4304 | 2588099.2423 | 1210290.4276

## bus_geodata
| x | y | coords
0 | 2588140.6778 | 1210379.2135
1 | 2588141.855 | 1210371.3178
2 | 2588138.2498 | 1210384.9104
3 | 2588123.3853 | 1210392.4555
4 | 2588136.9883 | 1210373.551
5 | 2588114.7041 | 1210398.6763
6 | 2588136.0484 | 1210423.8048
7 | 2588260.0559 | 1210395.4009
8 | 2588248.9019 | 1210401.6525
9 | 2588267.1785 | 1210391.4087
10 | 2588242.6595 | 1210405.1512
11 | 2588275.9618 | 1210386.4859
12 | 2588232.0048 | 1210411.1231
13 | 2588285.5505 | 1210381.1116
14 | 2588225.8227 | 1210414.588
15 | 2588291.756 | 1210377.6334
16 | 2588212.2516 | 1210422.1944
17 | 2588301.3452 | 1210372.2589
18 | 2588173.9079 | 1210469.0432
19 | 2588159.6995 | 1210451.6491
20 | 2588187.693 | 1210435.9591
21 | 2588152.3706 | 1210443.0209
22 | 2588203.7746 | 1210426.9456
23 | 2588210.0934 | 1210423.4041
24 | 2588335.6207 | 1210373.3791
25 | 2588324.9763 | 1210359.014
26 | 2588322.0537 | 1210349.0687
27 | 2588311.2431 | 1210312.2818
28 | 2588283.4111 | 1210317.6356
29 | 2588259.4117 | 1210322.2565
30 | 2588189.2529 | 1210335.8552
31 | 2588186.4934 | 1210336.4019
32 | 2588208.0514 | 1210332.1306
33 | 2588156.5265 | 1210342.3394
34 | 2588218.9742 | 1210330.0307
35 | 2588204.652 | 1210315.3297
36 | 2588149.4455 | 1210343.7423
37 | 2588242.2667 | 1210325.5526
38 | 2588201.7579 | 1210301.0258
39 | 2588119.297 | 1210349.7158
40 | 2588192.2341 | 1210270.0448
41 | 2588219.9536 | 1210292.7025
42 | 2588108.3609 | 1210351.8825
43 | 2588255.97 | 1210305.0249
44 | 2588180.9181 | 1210246.7372
45 | 2588236.9401 | 1210284.9324
46 | 2588250.6997 | 1210278.6384
47 | 2588249.9523 | 1210274.901
48 | 2588092.837 | 1210231.0279
49 | 2588092.8483 | 1210231.0207
50 | 2588073.1981 | 1210243.5742
51 | 2588116.1085 | 1210216.1609
52 | 2588056.999 | 1210253.923
53 | 2588118.448 | 1210214.7206
54 | 2588053.6633 | 1210255.9678
55 | 2588137.5576 | 1210203.5935
56 | 2588049.2115 | 1210258.6969
57 | 2588070.7766 | 1210275.7296
58 | 2588067.1492 | 1210286.4651
59 | 2588154.3894 | 1210192.7063
60 | 2588058.0745 | 1210272.4172
61 | 2588035.288 | 1210267.0817
62 | 2588070.7051 | 1210292.1962
63 | 2588129.4381 | 1210271.8296
64 | 2588129.2075 | 1210271.9535
65 | 2588205.6663 | 1210234.9377
66 | 2588122.1737 | 1210275.7333
67 | 2588207.3774 | 1210234.1219
68 | 2588154.8775 | 1210192.3906
69 | 2588062.5653 | 1210361.4331
70 | 2588081.138 | 1210357.2763
71 | 2588090.4888 | 1210355.4236
72 | 2588021.4523 | 1210347.5701
73 | 2588029.196 | 1210338.5261
74 | 2588040.6483 | 1210330.5735
75 | 2588047.547 | 1210325.7829
76 | 2588211.6206 | 1210156.2606
77 | 2588193.5501 | 1210167.6828
78 | 2588211.6912 | 1210156.216
79 | 2588172.7537 | 1210180.828
80 | 2588231.8427 | 1210143.4784
81 | 2588186.9009 | 1210202.6037
82 | 2588250.7217 | 1210171.6014
83 | 2588188.725 | 1210205.4115
84 | 2588195.3626 | 1210215.6283
85 | 2588258.8663 | 1210247.21
86 | 2588236.1704 | 1210241.3664
87 | 2588265.7181 | 1210243.9571
88 | 2588228.9478 | 1210224.0401
89 | 2588199.1249 | 1210221.4194
90 | 2587988.3394 | 1210293.2148
91 | 2587997.7524 | 1210287.4391
92 | 2588011.9143 | 1210278.5122
93 | 2588004.2719 | 1210298.0314
94 | 2588031.7254 | 1210270.2053
95 | 2588063.715 | 1210314.5556
96 | 2588078.2958 | 1210304.4304
97 | 2588099.2423 | 1210290.4276
98 | 2588208.0514 | 1210332.1306

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1