## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_301-5_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_301-5_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_301-5_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_301-5_0_7_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_301-5_0_7_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_301-5_0_7_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_301-5_0_7_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_301-5_0_7_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_301-5_0_7_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_301-5_0_7_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_301-5_0_7_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_301-5_0_7_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_301-5_0_7_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_301-5_0_7_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_301-5_0_7_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_301-5_0_7_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_301-5_0_7_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_301-5_0_7_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_301-5_0_7_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_301-5_0_7_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_301-5_0_7_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_301-5_0_7_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_301-5_0_7_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_301-5_0_7_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_301-5_0_7_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_301-5_0_7_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_301-5_0_7_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_301-5_0_7_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_301-5_0_7_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_301-5_0_7_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_301-5_0_7_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_301-5_0_7_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_301-5_0_7_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_301-5_0_7_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_301-5_0_7_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_301-5_0_7_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_301-5_0_7_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_301-5_0_7_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_301-5_0_7_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_301-5_0_7_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_301-5_0_7_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_301-5_0_7_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_301-5_0_7_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_301-5_0_7_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_301-5_0_7_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_301-5_0_7_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_301-5_0_7_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_301-5_0_7_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_301-5_0_7_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_301-5_0_7_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_301-5_0_7_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_301-5_0_7_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_301-5_0_7_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_301-5_0_7_node_51 | 0.4 | n |  | TRUE
54 | bus_MV_403_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_301-5_0_7_load_0 | 0 | 0.045061 | 0.011293 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_301-5_0_7_load_1 | 1 | 0.047534 | 0.011913 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_301-5_0_7_load_4 | 3 | 0.020139 | 0.0050474 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_301-5_0_7_load_13 | 5 | 0.0048893 | 0.0012254 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_301-5_0_7_load_54 | 6 | 0.010023 | 0.0025121 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_301-5_0_7_load_32 | 9 | 0.021873 | 0.005482 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_301-5_0_7_load_11 | 10 | 0.019509 | 0.0048893 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_301-5_0_7_load_37 | 11 | 0.007846 | 0.0019664 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_301-5_0_7_load_38 | 14 | 0.0022096 | 0.00055377 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_301-5_0_7_load_43 | 16 | 0.01905 | 0.0047745 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_301-5_0_7_load_47 | 21 | 0.0056818 | 0.001424 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_301-5_0_7_load_15 | 22 | 0.0078546 | 0.0019685 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_301-5_0_7_load_14 | 23 | 0.0050577 | 0.0012676 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_301-5_0_7_load_9 | 24 | 0.006925 | 0.0017356 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_301-5_0_7_load_10 | 25 | 0.0046802 | 0.001173 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_301-5_0_7_load_12 | 26 | 0.011224 | 0.0028131 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_301-5_0_7_load_17 | 29 | 0.0086222 | 0.0021609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_301-5_0_7_load_41 | 30 | 0.0085923 | 0.0021534 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_301-5_0_7_load_33 | 31 | 0.011083 | 0.0027778 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_301-5_0_7_load_42 | 32 | 0.012025 | 0.0030138 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_301-5_0_7_load_39 | 33 | 0.017621 | 0.0044162 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_301-5_0_7_load_34 | 36 | 0.0018641 | 0.00046719 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_301-5_0_7_load_53 | 37 | 0.0095264 | 0.0023875 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_301-5_0_7_load_52 | 38 | 0.0044706 | 0.0011204 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_301-5_0_7_load_46 | 39 | 0.0098511 | 0.0024689 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_301-5_0_7_load_22 | 40 | 0.014259 | 0.0035738 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_301-5_0_7_load_26 | 41 | 0.012718 | 0.0031875 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_301-5_0_7_load_49 | 42 | 0.005706 | 0.0014301 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_301-5_0_7_load_40 | 43 | 0.019099 | 0.0047868 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_301-5_0_7_load_50 | 44 | 0.0063894 | 0.0016013 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_301-5_0_7_load_28 | 45 | 0.01279 | 0.0032055 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_301-5_0_7_load_29 | 46 | 0.0040703 | 0.0010201 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_301-5_0_7_load_31 | 47 | 0.0857 | 0.021478 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_301-5_0_7_load_56 | 48 | 0.0051887 | 0.0013004 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_301-5_0_7_load_55 | 49 | 0.013726 | 0.0034401 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_301-5_0_7_load_57 | 50 | 0.0010934 | 0.00027403 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_301-5_0_7_load_44 | 51 | 0.0093684 | 0.0023479 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_301-5_0_7_load_45 | 52 | 0.007245 | 0.0018158 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_301-5_0_7_load_51 | 53 | 0.006696 | 0.0016782 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_301-5_0_7_line_0 |  | 0 | 1 | 0.013386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_301-5_0_7_line_1 |  | 0 | 2 | 0.0078376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_301-5_0_7_line_2 |  | 2 | 3 | 0.013019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_301-5_0_7_line_3 |  | 2 | 4 | 0.057601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_301-5_0_7_line_4 |  | 3 | 5 | 0.0085823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_301-5_0_7_line_5 |  | 4 | 6 | 0.011848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_301-5_0_7_line_6 |  | 5 | 10 | 0.004385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_301-5_0_7_line_7 |  | 7 | 8 | 0.088395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_301-5_0_7_line_8 |  | 7 | 9 | 0.017965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_301-5_0_7_line_9 |  | 8 | 11 | 0.042774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_301-5_0_7_line_10 |  | 9 | 18 | 0.031339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_301-5_0_7_line_11 |  | 10 | 24 | 0.0076739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_301-5_0_7_line_12 |  | 12 | 13 | 0.20719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_301-5_0_7_line_13 |  | 12 | 14 | 0.054565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_301-5_0_7_line_14 |  | 13 | 31 | 0.030944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_301-5_0_7_line_15 |  | 14 | 33 | 0.016765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_301-5_0_7_line_16 |  | 15 | 16 | 0.013755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_301-5_0_7_line_17 |  | 15 | 17 | 0.002954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_301-5_0_7_line_18 |  | 16 | 43 | 0.0076455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_301-5_0_7_line_19 |  | 17 | 41 | 0.021706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_301-5_0_7_line_20 |  | 17 | 40 | 0.0099152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_301-5_0_7_line_21 |  | 18 | 45 | 0.010015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_301-5_0_7_line_22 |  | 19 | 20 | 0.007407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_301-5_0_7_line_23 |  | 19 | 21 | 0.028231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_301-5_0_7_line_24 |  | 20 | 37 | 0.017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_301-5_0_7_line_25 |  | 20 | 38 | 0.01056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_301-5_0_7_line_26 |  | 21 | 39 | 0.0047793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_301-5_0_7_line_27 |  | 22 | 23 | 0.014726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_301-5_0_7_line_28 |  | 23 | 28 | 0.019872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_301-5_0_7_line_29 |  | 24 | 25 | 0.0045906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_301-5_0_7_line_30 |  | 25 | 26 | 0.015771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_301-5_0_7_line_31 |  | 26 | 27 | 0.070612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_301-5_0_7_line_32 |  | 27 | 28 | 0.09536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_301-5_0_7_line_33 |  | 28 | 29 | 0.019369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_301-5_0_7_line_34 |  | 29 | 30 | 0.012864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_301-5_0_7_line_35 |  | 30 | 32 | 0.0058525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_301-5_0_7_line_36 |  | 31 | 36 | 0.037475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_301-5_0_7_line_37 |  | 32 | 51 | 0.0056488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_301-5_0_7_line_38 |  | 33 | 43 | 0.027879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_301-5_0_7_line_39 |  | 34 | 35 | 0.040467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_301-5_0_7_line_40 |  | 34 | 36 | 0.017844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_301-5_0_7_line_41 |  | 35 | 50 | 0.010271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_301-5_0_7_line_42 |  | 37 | 49 | 9.8265e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_301-5_0_7_line_43 |  | 38 | 53 | 0.0057433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_301-5_0_7_line_44 |  | 39 | 52 | 0.023085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_301-5_0_7_line_45 |  | 41 | 42 | 0.0090401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_301-5_0_7_line_46 |  | 42 | 44 | 0.001916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_301-5_0_7_line_47 |  | 44 | 53 | 0.0011944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_301-5_0_7_line_48 |  | 45 | 46 | 0.013194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_301-5_0_7_line_49 |  | 46 | 47 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_301-5_0_7_line_50 |  | 47 | 48 | 0.002665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_301-5_0_7_line_51 |  | 48 | 49 | 0.0024801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_301-5_0_7_line_52 |  | 51 | 52 | 0.0048548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_301-5_0_7_trafo_21 | 0.63 MVA 20/0.4 kV | 54 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2587740.76 | 1210398.4086 | 2587745.2435 | 1210408.6455 | 2587745.9393 | 1210410.7433
1 | 2587737.6157 | 1210391.2294 | 2587740.76 | 1210398.4086
2 | 2587737.6157 | 1210391.2294 | 2587729.2226 | 1210381.2768
3 | 2587737.6157 | 1210391.2294 | 2587761.4181 | 1210380.7188 | 2587746.2 | 1210353.046
4 | 2587729.2226 | 1210381.2768 | 2587727.7046 | 1210379.4767 | 2587723.8066 | 1210374.6199
5 | 2587746.2 | 1210353.046 | 2587739.4613 | 1210343.3013
6 | 2587723.8066 | 1210374.6199 | 2587721.062 | 1210371.2001
7 | 2587676.4443 | 1210619.4166 | 2587667.6878 | 1210607.2948 | 2587664.4506 | 1210589.0691 | 2587668.6302 | 1210574.5412 | 2587690.5912 | 1210541.3326
8 | 2587690.5912 | 1210541.3326 | 2587679.8469 | 1210534.4845 | 2587677.6539 | 1210532.3879 | 2587676.5253 | 1210530.5114
9 | 2587676.4443 | 1210619.4166 | 2587703.7799 | 1210586.5175
10 | 2587686.1313 | 1210501.5531 | 2587676.4171 | 1210522.3071 | 2587675.7536 | 1210524.8321 | 2587675.6059 | 1210526.9113 | 2587675.8601 | 1210528.5339 | 2587676.5253 | 1210530.5114
11 | 2587716.2588 | 1210365.2154 | 2587721.062 | 1210371.2001
12 | 2587410.6868 | 1210475.3283 | 2587413.9392 | 1210453.7872 | 2587419.0486 | 1210437.1893 | 2587420.475 | 1210432.5393 | 2587432.6562 | 1210400.0287 | 2587434.0089 | 1210392.8996 | 2587432.76 | 1210384.4865 | 2587438.7342 | 1210381.4165 | 2587446.0146 | 1210377.9436 | 2587446.2654 | 1210377.9542 | 2587455.1572 | 1210378.1911 | 2587467.0811 | 1210378.3659 | 2587475.4058 | 1210379.9937 | 2587483.2582 | 1210381.0221 | 2587505.4943 | 1210381.1419 | 2587521.794 | 1210380.7074 | 2587538.5194 | 1210380.2719 | 2587542.8756 | 1210377.4946
13 | 2587542.8756 | 1210377.4946 | 2587556.3865 | 1210377.0882 | 2587559.9213 | 1210377.6255 | 2587562.2339 | 1210378.7768 | 2587564.2206 | 1210380.3069 | 2587565.7905 | 1210382.3936 | 2587580.8893 | 1210408.0504
14 | 2587410.6868 | 1210475.3283 | 2587408.0446 | 1210506.1595
15 | 2587580.8893 | 1210408.0504 | 2587581.9435 | 1210409.8417 | 2587591.8014 | 1210420.7276
16 | 2587624.8801 | 1210457.256 | 2587615.6471 | 1210447.0601
17 | 2587626.8605 | 1210459.4531 | 2587624.8801 | 1210457.256
18 | 2587610.5151 | 1210441.393 | 2587615.6471 | 1210447.0601
19 | 2587626.8605 | 1210459.4531 | 2587640.3867 | 1210459.1692 | 2587648.5613 | 1210458.9739
20 | 2587626.8605 | 1210459.4531 | 2587621.0664 | 1210467.4992
21 | 2587686.1313 | 1210501.5531 | 2587684.093 | 1210493.4195 | 2587683.9377 | 1210491.7967 | 2587683.9377 | 1210491.7967
22 | 2587675.0454 | 1210451.0592 | 2587680.5826 | 1210446.1227
23 | 2587680.5826 | 1210446.1227 | 2587664.4949 | 1210422.9244
24 | 2587675.0454 | 1210451.0592 | 2587681.583 | 1210459.4391 | 2587685.4213 | 1210465.0524
25 | 2587675.0454 | 1210451.0592 | 2587669.9015 | 1210455.1166 | 2587668.3221 | 1210455.7535 | 2587666.7951 | 1210455.9679 | 2587666.0318 | 1210455.9695
26 | 2587661.7713 | 1210418.997 | 2587664.4949 | 1210422.9244
27 | 2587654.3923 | 1210381.4445 | 2587660.7813 | 1210388.9432 | 2587663.8519 | 1210392.7291
28 | 2587641.5076 | 1210366.3152 | 2587644.1968 | 1210369.478 | 2587654.3923 | 1210381.4445
29 | 2587716.2588 | 1210365.2154 | 2587713.3854 | 1210361.6352
30 | 2587713.3854 | 1210361.6352 | 2587703.5141 | 1210349.3357
31 | 2587654.2261 | 1210299.2847 | 2587681.9057 | 1210322.2732 | 2587702.8968 | 1210348.5665 | 2587703.5141 | 1210349.3357
32 | 2587641.5076 | 1210366.3152 | 2587635.3844 | 1210359.9689 | 2587629.5838 | 1210355.2561 | 2587620.267 | 1210347.9938 | 2587614.2553 | 1210344.1042 | 2587624.7437 | 1210333.7654 | 2587629.118 | 1210328.6979 | 2587639.8832 | 1210316.2018 | 2587643.9465 | 1210311.4129 | 2587648.4495 | 1210306.1005 | 2587652.7706 | 1210300.9998 | 2587654.2261 | 1210299.2847
33 | 2587641.5076 | 1210366.3152 | 2587627.4815 | 1210378.3734 | 2587628.0481 | 1210379.036
34 | 2587628.0481 | 1210379.036 | 2587636.4087 | 1210388.8121
35 | 2587636.4087 | 1210388.8121 | 2587640.2125 | 1210393.2599
36 | 2587408.0446 | 1210506.1595 | 2587404.8447 | 1210543.498
37 | 2587640.2125 | 1210393.2599 | 2587643.8839 | 1210397.553
38 | 2587591.8014 | 1210420.7276 | 2587610.5151 | 1210441.393
39 | 2587403.0195 | 1210561.248 | 2587402.0192 | 1210569.7215 | 2587433.2206 | 1210576.5257
40 | 2587403.0195 | 1210561.248 | 2587404.5396 | 1210547.0591 | 2587404.8447 | 1210543.498
41 | 2587433.2206 | 1210576.5257 | 2587434.62 | 1210566.3504
42 | 2587685.4213 | 1210465.0524 | 2587685.4768 | 1210465.1335
43 | 2587660.3214 | 1210456.3816 | 2587662.3117 | 1210456.0217 | 2587664.4014 | 1210455.9729 | 2587666.0318 | 1210455.9695
44 | 2587647.0392 | 1210401.2426 | 2587659.8349 | 1210416.2047 | 2587661.7713 | 1210418.997
45 | 2587648.5613 | 1210458.9739 | 2587651.6027 | 1210458.9012 | 2587653.6007 | 1210458.6302 | 2587655.4843 | 1210458.126 | 2587657.3955 | 1210457.4368
46 | 2587659.1978 | 1210456.7868 | 2587657.3955 | 1210457.4368
47 | 2587659.1978 | 1210456.7868 | 2587660.3214 | 1210456.3816 | 2587660.3214 | 1210456.3816
48 | 2587690.9669 | 1210480.7871 | 2587684.8515 | 1210489.071 | 2587684.1933 | 1210490.4732 | 2587683.9377 | 1210491.7967
49 | 2587690.9669 | 1210480.7871 | 2587690.9669 | 1210480.7871 | 2587691.7622 | 1210479.5291 | 2587692.0872 | 1210478.6724 | 2587692.3432 | 1210477.5268 | 2587692.3176 | 1210476.1817 | 2587692.0567 | 1210474.9816 | 2587691.5452 | 1210473.8709 | 2587688.9691 | 1210470.2409 | 2587688.3809 | 1210469.3807
50 | 2587686.8767 | 1210467.1808 | 2587688.3809 | 1210469.3807
51 | 2587685.4768 | 1210465.1335 | 2587686.8767 | 1210467.1808
52 | 2587643.8839 | 1210397.553 | 2587647.0392 | 1210401.2426

## bus_geodata
| x | y | coords
0 | 2587740.76 | 1210398.4086
1 | 2587745.9393 | 1210410.7433
2 | 2587737.6157 | 1210391.2294
3 | 2587729.2226 | 1210381.2768
4 | 2587746.2 | 1210353.046
5 | 2587723.8066 | 1210374.6199
6 | 2587739.4613 | 1210343.3013
7 | 2587690.5912 | 1210541.3326
8 | 2587676.4443 | 1210619.4166
9 | 2587676.5253 | 1210530.5114
10 | 2587721.062 | 1210371.2001
11 | 2587703.7799 | 1210586.5175
12 | 2587542.8756 | 1210377.4946
13 | 2587410.6868 | 1210475.3283
14 | 2587580.8893 | 1210408.0504
15 | 2587624.8801 | 1210457.256
16 | 2587615.6471 | 1210447.0601
17 | 2587626.8605 | 1210459.4531
18 | 2587686.1313 | 1210501.5531
19 | 2587680.5826 | 1210446.1227
20 | 2587675.0454 | 1210451.0592
21 | 2587664.4949 | 1210422.9244
22 | 2587663.8519 | 1210392.7291
23 | 2587654.3923 | 1210381.4445
24 | 2587716.2588 | 1210365.2154
25 | 2587713.3854 | 1210361.6352
26 | 2587703.5141 | 1210349.3357
27 | 2587654.2261 | 1210299.2847
28 | 2587641.5076 | 1210366.3152
29 | 2587628.0481 | 1210379.036
30 | 2587636.4087 | 1210388.8121
31 | 2587408.0446 | 1210506.1595
32 | 2587640.2125 | 1210393.2599
33 | 2587591.8014 | 1210420.7276
34 | 2587403.0195 | 1210561.248
35 | 2587433.2206 | 1210576.5257
36 | 2587404.8447 | 1210543.498
37 | 2587685.4213 | 1210465.0524
38 | 2587666.0318 | 1210455.9695
39 | 2587661.7713 | 1210418.997
40 | 2587621.0664 | 1210467.4992
41 | 2587648.5613 | 1210458.9739
42 | 2587657.3955 | 1210457.4368
43 | 2587610.5151 | 1210441.393
44 | 2587659.1978 | 1210456.7868
45 | 2587683.9377 | 1210491.7967
46 | 2587690.9669 | 1210480.7871
47 | 2587688.3809 | 1210469.3807
48 | 2587686.8767 | 1210467.1808
49 | 2587685.4768 | 1210465.1335
50 | 2587434.62 | 1210566.3504
51 | 2587643.8839 | 1210397.553
52 | 2587647.0392 | 1210401.2426
53 | 2587660.3214 | 1210456.3816
54 | 2587675.0454 | 1210451.0592

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1