## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_305-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_305-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_305-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_305-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_305-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_305-2_0_2_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_305-2_0_2_node_76 | 0.4 | n |  | TRUE
7 | bus_LV_305-2_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_305-2_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_305-2_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_305-2_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_305-2_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_305-2_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_305-2_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_305-2_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_305-2_0_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_305-2_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_305-2_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_305-2_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_305-2_0_2_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_305-2_0_2_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_305-2_0_2_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_305-2_0_2_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_305-2_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_305-2_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_305-2_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_305-2_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_305-2_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_305-2_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_305-2_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_305-2_0_2_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_305-2_0_2_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_305-2_0_2_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_305-2_0_2_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_305-2_0_2_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_305-2_0_2_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_305-2_0_2_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_305-2_0_2_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_305-2_0_2_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_305-2_0_2_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_305-2_0_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_305-2_0_2_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_305-2_0_2_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_305-2_0_2_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_305-2_0_2_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_305-2_0_2_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_305-2_0_2_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_305-2_0_2_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_305-2_0_2_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_305-2_0_2_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_305-2_0_2_node_107 | 0.4 | n |  | TRUE
51 | bus_LV_305-2_0_2_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_305-2_0_2_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_305-2_0_2_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_305-2_0_2_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_305-2_0_2_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_305-2_0_2_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_305-2_0_2_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_305-2_0_2_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_305-2_0_2_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_305-2_0_2_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_305-2_0_2_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_305-2_0_2_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_305-2_0_2_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_305-2_0_2_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_305-2_0_2_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_305-2_0_2_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_305-2_0_2_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_305-2_0_2_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_305-2_0_2_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_305-2_0_2_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_305-2_0_2_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_305-2_0_2_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_305-2_0_2_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_305-2_0_2_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_305-2_0_2_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_305-2_0_2_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_305-2_0_2_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_305-2_0_2_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_305-2_0_2_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_305-2_0_2_node_106 | 0.4 | n |  | TRUE
81 | bus_LV_305-2_0_2_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_305-2_0_2_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_305-2_0_2_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_305-2_0_2_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_305-2_0_2_node_108 | 0.4 | n |  | TRUE
86 | bus_LV_305-2_0_2_node_103 | 0.4 | n |  | TRUE
87 | bus_LV_305-2_0_2_node_109 | 0.4 | n |  | TRUE
88 | bus_LV_305-2_0_2_node_102 | 0.4 | n |  | TRUE
89 | bus_LV_305-2_0_2_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_305-2_0_2_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_305-2_0_2_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_305-2_0_2_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_305-2_0_2_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_305-2_0_2_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_305-2_0_2_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_305-2_0_2_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_305-2_0_2_node_101 | 0.4 | n |  | TRUE
98 | bus_LV_305-2_0_2_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_305-2_0_2_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_305-2_0_2_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_305-2_0_2_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_305-2_0_2_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_305-2_0_2_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_305-2_0_2_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_305-2_0_2_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_305-2_0_2_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_305-2_0_2_node_116 | 0.4 | n |  | TRUE
108 | bus_LV_305-2_0_2_node_114 | 0.4 | n |  | TRUE
109 | bus_LV_305-2_0_2_node_111 | 0.4 | n |  | TRUE
110 | bus_LV_305-2_0_2_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_305-2_0_2_node_118 | 0.4 | n |  | TRUE
112 | bus_LV_305-2_0_2_node_113 | 0.4 | n |  | TRUE
113 | bus_LV_305-2_0_2_node_115 | 0.4 | n |  | TRUE
114 | bus_LV_305-2_0_2_node_117 | 0.4 | n |  | TRUE
115 | bus_LV_305-2_0_2_node_119 | 0.4 | n |  | TRUE
116 | bus_MV_403_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_305-2_0_2_load_0 | 0 | 0.002585 | 0.00064785 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_305-2_0_2_load_1 | 1 | 0.00038309 | 9.601e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_305-2_0_2_load_3 | 3 | 0.00022468 | 5.6309e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_305-2_0_2_load_76 | 6 | 0.00024793 | 6.2136e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_305-2_0_2_load_5 | 7 | 0.00016676 | 4.1793e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_305-2_0_2_load_7 | 8 | 0.00044827 | 0.00011235 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_305-2_0_2_load_6 | 9 | 0.0013659 | 0.00034232 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_305-2_0_2_load_8 | 10 | 0.00049689 | 0.00012453 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_305-2_0_2_load_9 | 12 | 9.1051e-05 | 2.282e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_305-2_0_2_load_12 | 13 | 0.00060972 | 0.00015281 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_305-2_0_2_load_13 | 14 | 0.00099255 | 0.00024876 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_305-2_0_2_load_15 | 16 | 0.0013875 | 0.00034775 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_305-2_0_2_load_16 | 17 | 0.0031977 | 0.00080141 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_305-2_0_2_load_17 | 18 | 0.00039275 | 9.8432e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_305-2_0_2_load_38 | 19 | 0.0012128 | 0.00030396 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_305-2_0_2_load_30 | 20 | 0.0050619 | 0.0012686 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_305-2_0_2_load_53 | 21 | 0.0022211 | 0.00055667 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_305-2_0_2_load_18 | 23 | 0.0028062 | 0.0007033 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_305-2_0_2_load_19 | 24 | 0.0032382 | 0.00081156 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_305-2_0_2_load_20 | 25 | 0.0012874 | 0.00032265 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_305-2_0_2_load_22 | 27 | 0.0014758 | 0.00036988 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_305-2_0_2_load_23 | 28 | 0.0037795 | 0.00094724 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_305-2_0_2_load_57 | 30 | 0.0028611 | 0.00071707 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_305-2_0_2_load_67 | 31 | 0.0031578 | 0.00079141 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_305-2_0_2_load_66 | 32 | 0.0018037 | 0.00045204 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_305-2_0_2_load_55 | 33 | 0.0027528 | 0.00068991 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_305-2_0_2_load_62 | 34 | 0.0016878 | 0.000423 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_305-2_0_2_load_37 | 35 | 0.0018092 | 0.00045343 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_305-2_0_2_load_25 | 36 | 0.003735 | 0.00093608 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_305-2_0_2_load_26 | 37 | 0.0017813 | 0.00044643 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_305-2_0_2_load_27 | 38 | 0.0030206 | 0.00075704 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_305-2_0_2_load_54 | 41 | 0.0021769 | 0.00054557 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_305-2_0_2_load_56 | 42 | 0.00070955 | 0.00017783 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_305-2_0_2_load_63 | 43 | 0.0039453 | 0.00098878 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_305-2_0_2_load_85 | 44 | 0.00025966 | 6.5077e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_305-2_0_2_load_32 | 45 | 0.0011943 | 0.00029932 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_305-2_0_2_load_33 | 46 | 0.0029611 | 0.00074212 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_305-2_0_2_load_49 | 47 | 0.013915 | 0.0034875 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_305-2_0_2_load_34 | 52 | 0.0062785 | 0.0015735 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_305-2_0_2_load_35 | 53 | 0.00067481 | 0.00016912 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_305-2_0_2_load_39 | 54 | 0.0030803 | 0.00077199 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_305-2_0_2_load_40 | 55 | 0.0023305 | 0.00058407 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_305-2_0_2_load_41 | 56 | 0.0010265 | 0.00025727 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_305-2_0_2_load_42 | 57 | 0.0023316 | 0.00058435 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_305-2_0_2_load_43 | 58 | 0.0030504 | 0.00076449 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_305-2_0_2_load_71 | 59 | 0.0027132 | 0.00067999 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_305-2_0_2_load_73 | 60 | 0.00036329 | 9.105e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_305-2_0_2_load_69 | 61 | 0.0023961 | 0.00060052 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_305-2_0_2_load_74 | 62 | 0.001721 | 0.00043132 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_305-2_0_2_load_44 | 63 | 0.005183 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_305-2_0_2_load_45 | 64 | 0.0083416 | 0.0020906 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_305-2_0_2_load_46 | 65 | 0.0018194 | 0.00045599 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_305-2_0_2_load_47 | 66 | 0.0095598 | 0.0023959 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_305-2_0_2_load_48 | 67 | 0.0010979 | 0.00027516 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_305-2_0_2_load_65 | 69 | 0.0021843 | 0.00054745 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_305-2_0_2_load_51 | 70 | 0.0020078 | 0.0005032 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_305-2_0_2_load_61 | 71 | 0.0042799 | 0.0010726 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_305-2_0_2_load_59 | 72 | 0.0040011 | 0.0010028 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_305-2_0_2_load_79 | 73 | 0.00028515 | 7.1465e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_305-2_0_2_load_58 | 74 | 0.00199 | 0.00049874 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_305-2_0_2_load_68 | 77 | 0.0026788 | 0.00067136 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_305-2_0_2_load_70 | 78 | 0.0027574 | 0.00069107 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_305-2_0_2_load_83 | 79 | 0.00015137 | 3.7937e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_305-2_0_2_load_106 | 80 | 0.0011109 | 0.00027842 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_305-2_0_2_load_75 | 81 | 0.00046474 | 0.00011647 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_305-2_0_2_load_84 | 83 | 0.0011878 | 0.00029769 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_305-2_0_2_load_77 | 84 | 0.00018067 | 4.528e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_305-2_0_2_load_108 | 85 | 0.003562 | 0.00089273 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_305-2_0_2_load_109 | 87 | 0.0017025 | 0.00042668 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_305-2_0_2_load_86 | 89 | 0.0045375 | 0.0011372 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_305-2_0_2_load_87 | 90 | 0.0039558 | 0.00099142 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_305-2_0_2_load_89 | 91 | 0.00033808 | 8.4731e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_305-2_0_2_load_93 | 92 | 0.00047832 | 0.00011988 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_305-2_0_2_load_94 | 93 | 0.0008457 | 0.00021195 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_305-2_0_2_load_90 | 94 | 0.001866 | 0.00046765 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_305-2_0_2_load_91 | 95 | 0.0011773 | 0.00029506 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_305-2_0_2_load_92 | 96 | 0.0021522 | 0.00053939 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_305-2_0_2_load_101 | 97 | 0.0032143 | 0.00080558 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_305-2_0_2_load_100 | 98 | 0.0025169 | 0.00063079 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_305-2_0_2_load_99 | 99 | 0.00061226 | 0.00015345 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_305-2_0_2_load_97 | 100 | 0.00026844 | 6.7277e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_305-2_0_2_load_95 | 101 | 0.00027726 | 6.9488e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_305-2_0_2_load_96 | 102 | 0.0028209 | 0.00070699 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_305-2_0_2_load_98 | 103 | 0.0014007 | 0.00035106 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_305-2_0_2_load_105 | 104 | 0.0016874 | 0.00042291 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_305-2_0_2_load_104 | 105 | 0.0043509 | 0.0010904 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_305-2_0_2_load_110 | 106 | 0.0010639 | 0.00026664 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_305-2_0_2_load_114 | 108 | 0.00023968 | 6.007e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_305-2_0_2_load_111 | 109 | 0.0026463 | 0.00066322 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_305-2_0_2_load_112 | 110 | 0.0011876 | 0.00029763 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_305-2_0_2_load_118 | 111 | 0.0029025 | 0.00072744 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_305-2_0_2_load_113 | 112 | 0.0002295 | 5.7519e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_305-2_0_2_load_115 | 113 | 0.0019152 | 0.00047999 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_305-2_0_2_load_117 | 114 | 0.0013958 | 0.00034983 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_305-2_0_2_load_119 | 115 | 0.0027704 | 0.00069432 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_305-2_0_2_line_0 |  | 0 | 1 | 0.0048593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_305-2_0_2_line_1 |  | 0 | 2 | 0.094443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_305-2_0_2_line_2 |  | 1 | 3 | 0.016461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_305-2_0_2_line_3 |  | 2 | 4 | 0.006175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_305-2_0_2_line_4 |  | 3 | 7 | 0.0013007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_305-2_0_2_line_5 |  | 4 | 8 | 0.083525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_305-2_0_2_line_6 |  | 4 | 5 | 0.16983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_305-2_0_2_line_7 |  | 5 | 6 | 0.020824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_305-2_0_2_line_8 |  | 6 | 84 | 0.020373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_305-2_0_2_line_9 |  | 7 | 9 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_305-2_0_2_line_10 |  | 8 | 10 | 0.023813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_305-2_0_2_line_11 |  | 9 | 11 | 0.25176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_305-2_0_2_line_12 |  | 11 | 12 | 0.086599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_305-2_0_2_line_13 |  | 13 | 14 | 0.01245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_305-2_0_2_line_14 |  | 13 | 15 | 0.0077223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_305-2_0_2_line_15 |  | 14 | 16 | 0.0096973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_305-2_0_2_line_16 |  | 15 | 17 | 0.041067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_305-2_0_2_line_17 |  | 15 | 18 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_305-2_0_2_line_18 |  | 16 | 19 | 0.0087482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_305-2_0_2_line_19 |  | 17 | 20 | 0.023863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_305-2_0_2_line_20 |  | 19 | 21 | 0.017823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_305-2_0_2_line_21 |  | 20 | 22 | 0.025728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_305-2_0_2_line_22 |  | 21 | 39 | 0.006619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_305-2_0_2_line_23 |  | 22 | 45 | 0.030193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_305-2_0_2_line_24 |  | 22 | 46 | 0.022394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_305-2_0_2_line_25 |  | 23 | 24 | 0.027221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_305-2_0_2_line_26 |  | 23 | 25 | 0.023791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_305-2_0_2_line_27 |  | 24 | 26 | 0.010259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_305-2_0_2_line_28 |  | 25 | 27 | 0.010885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_305-2_0_2_line_29 |  | 26 | 28 | 0.019696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_305-2_0_2_line_30 |  | 26 | 29 | 0.014942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_305-2_0_2_line_31 |  | 28 | 30 | 0.021481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_305-2_0_2_line_32 |  | 29 | 31 | 0.026668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_305-2_0_2_line_33 |  | 29 | 32 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_305-2_0_2_line_34 |  | 30 | 33 | 0.018385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_305-2_0_2_line_35 |  | 31 | 34 | 0.0022673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_305-2_0_2_line_36 |  | 32 | 35 | 0.001996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_305-2_0_2_line_37 |  | 33 | 40 | 0.012183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_305-2_0_2_line_38 |  | 34 | 75 | 0.01632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_305-2_0_2_line_39 |  | 35 | 53 | 0.038655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_305-2_0_2_line_40 |  | 36 | 37 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_305-2_0_2_line_41 |  | 36 | 38 | 0.013958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_305-2_0_2_line_42 |  | 37 | 39 | 0.017806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_305-2_0_2_line_43 |  | 38 | 40 | 0.010582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_305-2_0_2_line_44 |  | 39 | 41 | 0.017123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_305-2_0_2_line_45 |  | 40 | 42 | 0.029009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_305-2_0_2_line_46 |  | 41 | 43 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_305-2_0_2_line_47 |  | 42 | 44 | 0.0064897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_305-2_0_2_line_48 |  | 44 | 73 | 0.007186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_305-2_0_2_line_49 |  | 45 | 47 | 0.016951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_305-2_0_2_line_50 |  | 47 | 48 | 0.023418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_305-2_0_2_line_51 |  | 48 | 70 | 0.017955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_305-2_0_2_line_52 |  | 48 | 68 | 0.002633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_305-2_0_2_line_53 |  | 49 | 50 | 0.004761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_305-2_0_2_line_54 |  | 49 | 51 | 0.008692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_305-2_0_2_line_55 |  | 50 | 85 | 0.030385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_305-2_0_2_line_56 |  | 51 | 76 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_305-2_0_2_line_57 |  | 51 | 69 | 0.023089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_305-2_0_2_line_58 |  | 52 | 53 | 0.020131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_305-2_0_2_line_59 |  | 54 | 55 | 0.025994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_305-2_0_2_line_60 |  | 54 | 56 | 0.0010806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_305-2_0_2_line_61 |  | 55 | 57 | 0.0011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_305-2_0_2_line_62 |  | 56 | 58 | 0.018766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_305-2_0_2_line_63 |  | 57 | 59 | 0.02543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_305-2_0_2_line_64 |  | 58 | 60 | 0.0068842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_305-2_0_2_line_65 |  | 59 | 61 | 0.00012446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_305-2_0_2_line_66 |  | 60 | 62 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_305-2_0_2_line_67 |  | 61 | 77 | 0.023924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_305-2_0_2_line_68 |  | 62 | 81 | 0.0063144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_305-2_0_2_line_69 |  | 63 | 64 | 0.0209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_305-2_0_2_line_70 |  | 63 | 65 | 0.0061085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_305-2_0_2_line_71 |  | 64 | 66 | 0.037074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_305-2_0_2_line_72 |  | 65 | 67 | 0.018754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_305-2_0_2_line_73 |  | 66 | 68 | 0.016778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_305-2_0_2_line_74 |  | 67 | 69 | 0.0073181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_305-2_0_2_line_75 |  | 71 | 72 | 0.0067842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_305-2_0_2_line_76 |  | 72 | 74 | 0.01441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_305-2_0_2_line_77 |  | 73 | 84 | 0.0065975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_305-2_0_2_line_78 |  | 74 | 75 | 0.0083511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_305-2_0_2_line_79 |  | 76 | 79 | 0.020357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_305-2_0_2_line_80 |  | 76 | 80 | 0.0076638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_305-2_0_2_line_81 |  | 77 | 78 | 0.00082357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_305-2_0_2_line_82 |  | 79 | 82 | 0.0045936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_305-2_0_2_line_83 |  | 81 | 82 | 0.020737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_305-2_0_2_line_84 |  | 82 | 83 | 0.012339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_305-2_0_2_line_85 |  | 83 | 86 | 0.042666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_305-2_0_2_line_86 |  | 85 | 107 | 0.027492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_305-2_0_2_line_87 |  | 86 | 87 | 0.018582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_305-2_0_2_line_88 |  | 86 | 88 | 0.002911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_305-2_0_2_line_89 |  | 87 | 106 | 0.017533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_305-2_0_2_line_90 |  | 88 | 105 | 0.031214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_305-2_0_2_line_91 |  | 88 | 98 | 0.018047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_305-2_0_2_line_92 |  | 89 | 90 | 0.014081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_305-2_0_2_line_93 |  | 90 | 91 | 0.015958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_305-2_0_2_line_94 |  | 91 | 92 | 0.025998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_305-2_0_2_line_95 |  | 92 | 93 | 0.007551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_305-2_0_2_line_96 |  | 93 | 99 | 0.0040067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_305-2_0_2_line_97 |  | 94 | 95 | 0.0060221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_305-2_0_2_line_98 |  | 95 | 96 | 0.030811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_305-2_0_2_line_99 |  | 96 | 97 | 0.01888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_305-2_0_2_line_100 |  | 97 | 98 | 0.0051188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_305-2_0_2_line_101 |  | 99 | 100 | 0.013651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_305-2_0_2_line_102 |  | 100 | 101 | 0.00032221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_305-2_0_2_line_103 |  | 101 | 102 | 0.010837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_305-2_0_2_line_104 |  | 102 | 103 | 0.0044249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_305-2_0_2_line_105 |  | 103 | 104 | 0.036382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_305-2_0_2_line_106 |  | 104 | 105 | 0.024798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_305-2_0_2_line_107 |  | 106 | 109 | 0.02478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_305-2_0_2_line_108 |  | 107 | 108 | 0.061091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_305-2_0_2_line_109 |  | 108 | 112 | 0.016627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_305-2_0_2_line_110 |  | 109 | 110 | 0.006365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_305-2_0_2_line_111 |  | 110 | 111 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_305-2_0_2_line_112 |  | 112 | 113 | 0.017737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_305-2_0_2_line_113 |  | 113 | 114 | 0.021756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_305-2_0_2_line_114 |  | 114 | 115 | 0.11348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_305-2_0_2_trafo_45 | 0.63 MVA 20/0.4 kV | 116 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2587111.9938 | 1213300.7568 | 2587113.225 | 1213305.4576
1 | 2587088.0631 | 1213209.3957 | 2587102.2637 | 1213263.6063 | 2587111.9938 | 1213300.7568
2 | 2587113.225 | 1213305.4576 | 2587117.2071 | 1213320.6615 | 2587117.3958 | 1213321.3816
3 | 2587088.0631 | 1213209.3957 | 2587092.6419 | 1213205.2389
4 | 2587117.7255 | 1213322.6399 | 2587117.3958 | 1213321.3816
5 | 2587092.6419 | 1213205.2389 | 2587110.3904 | 1213273.7388 | 2587113.5904 | 1213286.0941
6 | 2587046.4438 | 1213041.8146 | 2587092.6419 | 1213205.2389
7 | 2587046.4438 | 1213041.8146 | 2587064.0225 | 1213030.6512
8 | 2587081.2207 | 1213019.7293 | 2587064.0225 | 1213030.6512
9 | 2587117.7255 | 1213322.6399 | 2587120.6064 | 1213333.6351
10 | 2587113.5904 | 1213286.0941 | 2587119.561 | 1213309.1468
11 | 2587120.6064 | 1213333.6351 | 2587188.6801 | 1213576.0167
12 | 2587188.6801 | 1213576.0167 | 2587210.7989 | 1213659.7437
13 | 2587049.393 | 1212977.5599 | 2587038.7002 | 1212983.9378
14 | 2587032.068 | 1212987.8936 | 2587038.7002 | 1212983.9378
15 | 2587049.393 | 1212977.5599 | 2587057.7214 | 1212972.5924
16 | 2587032.068 | 1212987.8936 | 2587021.2248 | 1212948.2836
17 | 2587032.068 | 1212987.8936 | 2587036.2104 | 1213003.431
18 | 2587057.7214 | 1212972.5924 | 2587065.2346 | 1212968.111
19 | 2587014.9241 | 1212925.2676 | 2587021.2248 | 1212948.2836
20 | 2587065.2346 | 1212968.111 | 2587080.5413 | 1212958.9812
21 | 2587008.1309 | 1212900.4525 | 2587014.9241 | 1212925.2676
22 | 2587086.2259 | 1212955.5905 | 2587080.5413 | 1212958.9812
23 | 2587008.1309 | 1212900.4525 | 2587033.6164 | 1212884.2635
24 | 2587008.1309 | 1212900.4525 | 2587002.2177 | 1212878.8538
25 | 2587192.1993 | 1212961.4118 | 2587203.5772 | 1212969.188 | 2587215.3457 | 1212975.6783
26 | 2587236.8619 | 1212985.7109 | 2587225.404 | 1212981.2254 | 2587215.3457 | 1212975.6783
27 | 2587183.7297 | 1212955.6233 | 2587192.1993 | 1212961.4118
28 | 2587236.8619 | 1212985.7109 | 2587246.9974 | 1212989.6787
29 | 2587183.7297 | 1212955.6233 | 2587167.1612 | 1212966.2738
30 | 2587183.7297 | 1212955.6233 | 2587171.3677 | 1212947.1786
31 | 2587148.6308 | 1212976.928 | 2587157.2688 | 1212971.445 | 2587160.9275 | 1212970.2809 | 2587167.1612 | 1212966.2738
32 | 2587171.3677 | 1212947.1786 | 2587149.9726 | 1212931.2598
33 | 2587171.3677 | 1212947.1786 | 2587185.6898 | 1212939.0406
34 | 2587148.6308 | 1212976.928 | 2587133.1086 | 1212986.7807
35 | 2587149.9726 | 1212931.2598 | 2587148.1536 | 1212929.9063
36 | 2587187.4252 | 1212938.0545 | 2587185.6898 | 1212939.0406
37 | 2587122.8225 | 1212993.3098 | 2587133.1086 | 1212986.7807
38 | 2587135.0603 | 1212920.1644 | 2587148.1536 | 1212929.9063
39 | 2587221.0334 | 1212918.9579 | 2587187.4252 | 1212938.0545
40 | 2587109.8107 | 1212972.5042 | 2587100.486 | 1212977.5051 | 2587095.9373 | 1212970.5148
41 | 2587109.8107 | 1212972.5042 | 2587109.8107 | 1212972.5042 | 2587117.2116 | 1212984.3382
42 | 2587086.2259 | 1212955.5905 | 2587095.9373 | 1212970.5148
43 | 2587122.8225 | 1212993.3098 | 2587117.2116 | 1212984.3382
44 | 2587086.2259 | 1212955.5905 | 2587100.9303 | 1212946.8172
45 | 2587122.8225 | 1212993.3098 | 2587098.3346 | 1213008.861
46 | 2587110.9366 | 1212940.8469 | 2587100.9303 | 1212946.8172
47 | 2587098.3346 | 1213008.861 | 2587092.8562 | 1213012.3401
48 | 2587092.8562 | 1213012.3401 | 2587086.7901 | 1213016.1924
49 | 2587047.9246 | 1212875.1746 | 2587033.6164 | 1212884.2635
50 | 2587066.2308 | 1212860.692 | 2587057.7479 | 1212868.5927 | 2587049.7002 | 1212874.0467 | 2587047.9246 | 1212875.1746
51 | 2587066.2308 | 1212860.692 | 2587079.8929 | 1212872.3426
52 | 2587064.2217 | 1212858.9843 | 2587066.2308 | 1212860.692
53 | 2586973.8528 | 1212777.67 | 2586969.2752 | 1212779.0252
54 | 2586973.8528 | 1212777.67 | 2586975.4596 | 1212769.1283
55 | 2586969.2752 | 1212779.0252 | 2586940.3063 | 1212788.1942
56 | 2586975.4596 | 1212769.1283 | 2586974.0842 | 1212755.1012 | 2586971.9548 | 1212750.5256
57 | 2586975.4596 | 1212769.1283 | 2586987.4577 | 1212770.6917 | 2586993.6943 | 1212779.7395
58 | 2587238.8995 | 1212909.6876 | 2587223.6105 | 1212917.4935 | 2587221.0334 | 1212918.9579
59 | 2587022.8033 | 1212684.33 | 2587043.7815 | 1212668.9804
60 | 2587022.8033 | 1212684.33 | 2587021.9312 | 1212684.9681
61 | 2587043.7815 | 1212668.9804 | 2587044.7315 | 1212668.2853
62 | 2587021.9312 | 1212684.9681 | 2587007.4232 | 1212695.5835 | 2587006.7806 | 1212696.0412
63 | 2587065.2542 | 1212653.2689 | 2587044.7315 | 1212668.2853
64 | 2587001.1732 | 1212700.0349 | 2587006.7806 | 1212696.0412
65 | 2587065.3546 | 1212653.1954 | 2587065.2542 | 1212653.2689
66 | 2587001.1732 | 1212700.0349 | 2586984.989 | 1212711.5616
67 | 2587084.662 | 1212639.0684 | 2587065.3546 | 1212653.1954
68 | 2586979.8457 | 1212715.2247 | 2586984.989 | 1212711.5616
69 | 2587011.4226 | 1212806.586 | 2587015.4444 | 1212813.0652 | 2587024.0139 | 1212823.2032
70 | 2587011.4226 | 1212806.586 | 2587008.2011 | 1212801.396
71 | 2587024.0139 | 1212823.2032 | 2587025.7717 | 1212825.2828 | 2587051.6042 | 1212847.925
72 | 2587008.2011 | 1212801.396 | 2587004.3907 | 1212795.2572 | 2586997.8476 | 1212785.7649
73 | 2587064.2217 | 1212858.9843 | 2587051.6042 | 1212847.925
74 | 2586997.8476 | 1212785.7649 | 2586993.6943 | 1212779.7395
75 | 2587112.8027 | 1212900.7345 | 2587117.9135 | 1212905.196
76 | 2587128.7691 | 1212914.6725 | 2587117.9135 | 1212905.196
77 | 2587081.2207 | 1213019.7293 | 2587086.7901 | 1213016.1924
78 | 2587135.0603 | 1212920.1644 | 2587128.7691 | 1212914.6725
79 | 2586971.9548 | 1212750.5256 | 2586964.6119 | 1212731.5389
80 | 2586971.9548 | 1212750.5256 | 2586968.9704 | 1212754.4454 | 2586969.6991 | 1212757.0838
81 | 2587085.3266 | 1212638.582 | 2587084.662 | 1212639.0684
82 | 2586962.955 | 1212727.2545 | 2586964.6119 | 1212731.5389
83 | 2586962.955 | 1212727.2545 | 2586979.8457 | 1212715.2247
84 | 2586962.955 | 1212727.2545 | 2586959.6331 | 1212715.3708
85 | 2586948.1468 | 1212674.2796 | 2586959.6331 | 1212715.3708
86 | 2586914.096 | 1212796.4899 | 2586940.3063 | 1212788.1942
87 | 2586948.1468 | 1212674.2796 | 2586930.1588 | 1212678.9396
88 | 2586948.1468 | 1212674.2796 | 2586947.586 | 1212671.4237
89 | 2586913.1857 | 1212683.3366 | 2586930.1588 | 1212678.9396
90 | 2586947.586 | 1212671.4237 | 2586942.2229 | 1212650.7795 | 2586940.386 | 1212641.067 | 2586940.386 | 1212641.067
91 | 2586947.586 | 1212671.4237 | 2586956.7784 | 1212668.2795 | 2586963.6324 | 1212663.5416
92 | 2586963.0316 | 1212485.2498 | 2586960.1671 | 1212499.0367
93 | 2586957.0297 | 1212514.6829 | 2586958.2868 | 1212508.0863 | 2586960.1671 | 1212499.0367
94 | 2586957.0297 | 1212514.6829 | 2586952.1627 | 1212540.221
95 | 2586950.7491 | 1212547.6385 | 2586952.1627 | 1212540.221
96 | 2586949.9991 | 1212551.5743 | 2586950.7491 | 1212547.6385
97 | 2587003.7191 | 1212626.3523 | 2587007.7228 | 1212621.8539
98 | 2587003.7191 | 1212626.3523 | 2586992.5162 | 1212638.94 | 2586981.9699 | 1212648.0857
99 | 2586967.7065 | 1212660.4548 | 2586981.9699 | 1212648.0857
100 | 2586963.6324 | 1212663.5416 | 2586966.1686 | 1212661.7885 | 2586967.7065 | 1212660.4548
101 | 2586949.9991 | 1212551.5743 | 2586947.4435 | 1212564.9842
102 | 2586947.4435 | 1212564.9842 | 2586947.3832 | 1212565.3007
103 | 2586947.3832 | 1212565.3007 | 2586945.3544 | 1212575.9461
104 | 2586944.526 | 1212580.2928 | 2586945.3544 | 1212575.9461
105 | 2586944.526 | 1212580.2928 | 2586940.6688 | 1212600.5325 | 2586939.8955 | 1212616.2916
106 | 2586940.386 | 1212641.067 | 2586939.6147 | 1212622.0136 | 2586939.8955 | 1212616.2916
107 | 2586913.1857 | 1212683.3366 | 2586903.695 | 1212685.7953 | 2586897.2193 | 1212684.2309 | 2586893.6903 | 1212676.7035
108 | 2586914.096 | 1212796.4899 | 2586888.6072 | 1212740.9706
109 | 2586881.6699 | 1212725.8597 | 2586881.6781 | 1212725.8776 | 2586888.6072 | 1212740.9706
110 | 2586890.9884 | 1212670.9405 | 2586893.6903 | 1212676.7035
111 | 2586890.9884 | 1212670.9405 | 2586882.2764 | 1212652.3581
112 | 2586881.6699 | 1212725.8597 | 2586874.2893 | 1212709.7309
113 | 2586874.2893 | 1212709.7309 | 2586865.2364 | 1212689.9475
114 | 2586865.2364 | 1212689.9475 | 2586845.6711 | 1212647.191 | 2586818.7482 | 1212586.4326

## bus_geodata
| x | y | coords
0 | 2587111.9938 | 1213300.7568
1 | 2587113.225 | 1213305.4576
2 | 2587088.0631 | 1213209.3957
3 | 2587117.3958 | 1213321.3816
4 | 2587092.6419 | 1213205.2389
5 | 2587046.4438 | 1213041.8146
6 | 2587064.0225 | 1213030.6512
7 | 2587117.7255 | 1213322.6399
8 | 2587113.5904 | 1213286.0941
9 | 2587120.6064 | 1213333.6351
10 | 2587119.561 | 1213309.1468
11 | 2587188.6801 | 1213576.0167
12 | 2587210.7989 | 1213659.7437
13 | 2587038.7002 | 1212983.9377
14 | 2587049.393 | 1212977.5599
15 | 2587032.068 | 1212987.8936
16 | 2587057.7214 | 1212972.5924
17 | 2587021.2248 | 1212948.2836
18 | 2587036.2104 | 1213003.431
19 | 2587065.2346 | 1212968.111
20 | 2587014.9241 | 1212925.2676
21 | 2587080.5413 | 1212958.9812
22 | 2587008.1309 | 1212900.4525
23 | 2587215.3457 | 1212975.6783
24 | 2587192.1993 | 1212961.4118
25 | 2587236.8619 | 1212985.7109
26 | 2587183.7297 | 1212955.6233
27 | 2587246.9974 | 1212989.6787
28 | 2587167.1612 | 1212966.2738
29 | 2587171.3677 | 1212947.1786
30 | 2587148.6308 | 1212976.928
31 | 2587149.9726 | 1212931.2598
32 | 2587185.6898 | 1212939.0406
33 | 2587133.1086 | 1212986.7807
34 | 2587148.1536 | 1212929.9063
35 | 2587187.4252 | 1212938.0545
36 | 2587109.8107 | 1212972.5042
37 | 2587095.9373 | 1212970.5148
38 | 2587117.2116 | 1212984.3382
39 | 2587086.2259 | 1212955.5905
40 | 2587122.8225 | 1212993.3098
41 | 2587100.9303 | 1212946.8172
42 | 2587098.3346 | 1213008.861
43 | 2587110.9366 | 1212940.8469
44 | 2587092.8562 | 1213012.3401
45 | 2587033.6164 | 1212884.2635
46 | 2587002.2177 | 1212878.8538
47 | 2587047.9246 | 1212875.1746
48 | 2587066.2308 | 1212860.692
49 | 2586973.8528 | 1212777.67
50 | 2586969.2752 | 1212779.0252
51 | 2586975.4596 | 1212769.1283
52 | 2587238.8995 | 1212909.6876
53 | 2587221.0334 | 1212918.9579
54 | 2587022.8033 | 1212684.33
55 | 2587043.7815 | 1212668.9804
56 | 2587021.9312 | 1212684.9681
57 | 2587044.7315 | 1212668.2853
58 | 2587006.7806 | 1212696.0412
59 | 2587065.2542 | 1212653.2689
60 | 2587001.1732 | 1212700.0349
61 | 2587065.3546 | 1212653.1954
62 | 2586984.989 | 1212711.5616
63 | 2587011.4226 | 1212806.586
64 | 2587024.0139 | 1212823.2032
65 | 2587008.2011 | 1212801.396
66 | 2587051.6042 | 1212847.925
67 | 2586997.8476 | 1212785.7649
68 | 2587064.2217 | 1212858.9843
69 | 2586993.6943 | 1212779.7395
70 | 2587079.8929 | 1212872.3426
71 | 2587112.8027 | 1212900.7345
72 | 2587117.9135 | 1212905.196
73 | 2587086.7901 | 1213016.1924
74 | 2587128.7691 | 1212914.6725
75 | 2587135.0603 | 1212920.1644
76 | 2586971.9548 | 1212750.5256
77 | 2587084.662 | 1212639.0684
78 | 2587085.3266 | 1212638.582
79 | 2586964.6119 | 1212731.5389
80 | 2586969.6991 | 1212757.0838
81 | 2586979.8457 | 1212715.2247
82 | 2586962.955 | 1212727.2545
83 | 2586959.6331 | 1212715.3708
84 | 2587081.2207 | 1213019.7293
85 | 2586940.3063 | 1212788.1942
86 | 2586948.1468 | 1212674.2796
87 | 2586930.1588 | 1212678.9396
88 | 2586947.586 | 1212671.4237
89 | 2586963.0316 | 1212485.2498
90 | 2586960.1671 | 1212499.0367
91 | 2586957.0297 | 1212514.6829
92 | 2586952.1627 | 1212540.221
93 | 2586950.7491 | 1212547.6385
94 | 2587007.7227 | 1212621.8539
95 | 2587003.7191 | 1212626.3523
96 | 2586981.9699 | 1212648.0857
97 | 2586967.7065 | 1212660.4548
98 | 2586963.6324 | 1212663.5416
99 | 2586949.9991 | 1212551.5743
100 | 2586947.4435 | 1212564.9842
101 | 2586947.3832 | 1212565.3007
102 | 2586945.3544 | 1212575.9461
103 | 2586944.526 | 1212580.2928
104 | 2586939.8955 | 1212616.2916
105 | 2586940.386 | 1212641.067
106 | 2586913.1857 | 1212683.3366
107 | 2586914.096 | 1212796.4899
108 | 2586888.6072 | 1212740.9706
109 | 2586893.6903 | 1212676.7035
110 | 2586890.9884 | 1212670.9405
111 | 2586882.2764 | 1212652.3581
112 | 2586881.6699 | 1212725.8597
113 | 2586874.2893 | 1212709.7309
114 | 2586865.2364 | 1212689.9475
115 | 2586818.7482 | 1212586.4326
116 | 2587064.2217 | 1212858.9843

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1