## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_307-6_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_307-6_1_2_node_42 | 0.4 | n |  | TRUE
2 | bus_LV_307-6_1_2_node_69 | 0.4 | n |  | TRUE
3 | bus_LV_307-6_1_2_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_307-6_1_2_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_307-6_1_2_node_123 | 0.4 | n |  | TRUE
6 | bus_LV_307-6_1_2_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_307-6_1_2_node_2 | 0.4 | n |  | TRUE
8 | bus_LV_307-6_1_2_node_97 | 0.4 | n |  | TRUE
9 | bus_LV_307-6_1_2_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_307-6_1_2_node_129 | 0.4 | n |  | TRUE
11 | bus_LV_307-6_1_2_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_307-6_1_2_node_132 | 0.4 | n |  | TRUE
13 | bus_LV_307-6_1_2_node_120 | 0.4 | n |  | TRUE
14 | bus_LV_307-6_1_2_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_307-6_1_2_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_307-6_1_2_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_307-6_1_2_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_307-6_1_2_node_134 | 0.4 | n |  | TRUE
19 | bus_LV_307-6_1_2_node_157 | 0.4 | n |  | TRUE
20 | bus_LV_307-6_1_2_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_307-6_1_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_307-6_1_2_node_105 | 0.4 | n |  | TRUE
23 | bus_LV_307-6_1_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_307-6_1_2_node_102 | 0.4 | n |  | TRUE
25 | bus_LV_307-6_1_2_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_307-6_1_2_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_307-6_1_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_307-6_1_2_node_106 | 0.4 | n |  | TRUE
29 | bus_LV_307-6_1_2_node_142 | 0.4 | n |  | TRUE
30 | bus_LV_307-6_1_2_node_125 | 0.4 | n |  | TRUE
31 | bus_LV_307-6_1_2_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_307-6_1_2_node_150 | 0.4 | n |  | TRUE
33 | bus_LV_307-6_1_2_node_145 | 0.4 | n |  | TRUE
34 | bus_LV_307-6_1_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_307-6_1_2_node_148 | 0.4 | n |  | TRUE
36 | bus_LV_307-6_1_2_node_152 | 0.4 | n |  | TRUE
37 | bus_LV_307-6_1_2_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_307-6_1_2_node_127 | 0.4 | n |  | TRUE
39 | bus_LV_307-6_1_2_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_307-6_1_2_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_307-6_1_2_node_101 | 0.4 | n |  | TRUE
42 | bus_LV_307-6_1_2_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_307-6_1_2_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_307-6_1_2_node_151 | 0.4 | n |  | TRUE
45 | bus_LV_307-6_1_2_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_307-6_1_2_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_307-6_1_2_node_155 | 0.4 | n |  | TRUE
48 | bus_LV_307-6_1_2_node_117 | 0.4 | n |  | TRUE
49 | bus_LV_307-6_1_2_node_156 | 0.4 | n |  | TRUE
50 | bus_LV_307-6_1_2_node_108 | 0.4 | n |  | TRUE
51 | bus_LV_307-6_1_2_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_307-6_1_2_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_307-6_1_2_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_307-6_1_2_node_161 | 0.4 | n |  | TRUE
55 | bus_LV_307-6_1_2_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_307-6_1_2_node_163 | 0.4 | n |  | TRUE
57 | bus_LV_307-6_1_2_node_110 | 0.4 | n |  | TRUE
58 | bus_LV_307-6_1_2_node_115 | 0.4 | n |  | TRUE
59 | bus_LV_307-6_1_2_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_307-6_1_2_node_164 | 0.4 | n |  | TRUE
61 | bus_LV_307-6_1_2_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_307-6_1_2_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_307-6_1_2_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_307-6_1_2_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_307-6_1_2_node_85 | 0.4 | n |  | TRUE
66 | bus_MV_405_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_307-6_1_2_load_42 | 1 | 0.00057747 | 0.00014473 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_307-6_1_2_load_69 | 2 | 0.0019178 | 0.00048064 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_307-6_1_2_load_123 | 5 | 0.00053185 | 0.00013329 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_307-6_1_2_load_97 | 8 | 0.00042231 | 0.00010584 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_307-6_1_2_load_62 | 9 | 0.00035966 | 9.0139e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_307-6_1_2_load_129 | 10 | 0.00041516 | 0.00010405 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_307-6_1_2_load_132 | 12 | 0.00037359 | 9.3629e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_307-6_1_2_load_120 | 13 | 0.00078704 | 0.00019725 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_307-6_1_2_load_79 | 17 | 0.00071048 | 0.00017806 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_307-6_1_2_load_134 | 18 | 0.00058989 | 0.00014784 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_307-6_1_2_load_157 | 19 | 0.0005427 | 0.00013601 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_307-6_1_2_load_9 | 20 | 0.00062517 | 0.00015668 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_307-6_1_2_load_10 | 21 | 0.0016748 | 0.00041975 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_307-6_1_2_load_12 | 23 | 0.0015797 | 0.00039591 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_307-6_1_2_load_13 | 26 | 0.00024392 | 6.1133e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_307-6_1_2_load_25 | 27 | 0.00050926 | 0.00012763 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_307-6_1_2_load_106 | 28 | 0.00026643 | 6.6773e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_307-6_1_2_load_125 | 30 | 0.00080963 | 0.00020291 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_307-6_1_2_load_150 | 32 | 0.001756 | 0.0004401 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_307-6_1_2_load_145 | 33 | 0.00052722 | 0.00013213 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_307-6_1_2_load_30 | 34 | 0.00051877 | 0.00013002 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_307-6_1_2_load_148 | 35 | 0.00054217 | 0.00013588 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_307-6_1_2_load_21 | 37 | 0.0019484 | 0.00048832 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_307-6_1_2_load_127 | 38 | 0.010144 | 0.0025423 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_307-6_1_2_load_43 | 39 | 0.0013054 | 0.00032716 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_307-6_1_2_load_87 | 40 | 0.013236 | 0.0033174 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_307-6_1_2_load_101 | 41 | 0.010085 | 0.0025274 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_307-6_1_2_load_24 | 42 | 0.0023005 | 0.00057655 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_307-6_1_2_load_26 | 43 | 0.00098683 | 0.00024732 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_307-6_1_2_load_151 | 44 | 0.0019493 | 0.00048853 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_307-6_1_2_load_81 | 45 | 0.00098126 | 0.00024593 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_307-6_1_2_load_155 | 47 | 0.0025505 | 0.00063922 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_307-6_1_2_load_117 | 48 | 0.0008362 | 0.00020957 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_307-6_1_2_load_156 | 49 | 0.00023937 | 5.9992e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_307-6_1_2_load_108 | 50 | 0.00018636 | 4.6707e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_307-6_1_2_load_32 | 51 | 0.00096 | 0.0002406 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_307-6_1_2_load_53 | 52 | 0.0045686 | 0.001145 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_307-6_1_2_load_57 | 53 | 0.037937 | 0.009508 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_307-6_1_2_load_161 | 54 | 0.0035163 | 0.00088128 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_307-6_1_2_load_163 | 56 | 0.00047856 | 0.00011994 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_307-6_1_2_load_115 | 58 | 0.00023973 | 6.0082e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_307-6_1_2_load_38 | 59 | 0.0028162 | 0.00070581 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_307-6_1_2_load_164 | 60 | 0.00082194 | 0.000206 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_307-6_1_2_load_59 | 61 | 0.0002296 | 5.7543e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_307-6_1_2_load_40 | 62 | 0.00044765 | 0.00011219 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_307-6_1_2_load_84 | 63 | 0.00047081 | 0.000118 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_307-6_1_2_load_83 | 64 | 0.0033734 | 0.00084547 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_307-6_1_2_load_85 | 65 | 0.0005641 | 0.00014138 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_307-6_1_2_line_0 |  | 0 | 1 | 0.010252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_307-6_1_2_line_1 |  | 0 | 2 | 0.011053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_307-6_1_2_line_2 |  | 0 | 3 | 0.008682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_307-6_1_2_line_3 |  | 1 | 4 | 0.024225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_307-6_1_2_line_4 |  | 3 | 41 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_307-6_1_2_line_5 |  | 4 | 5 | 0.019281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_307-6_1_2_line_6 |  | 4 | 6 | 0.007777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_307-6_1_2_line_7 |  | 5 | 18 | 0.018545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_307-6_1_2_line_8 |  | 6 | 10 | 0.056211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_307-6_1_2_line_9 |  | 7 | 8 | 0.012504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_307-6_1_2_line_10 |  | 7 | 9 | 0.014766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_307-6_1_2_line_11 |  | 8 | 58 | 0.00083493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_307-6_1_2_line_12 |  | 9 | 42 | 0.023588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_307-6_1_2_line_13 |  | 10 | 11 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_307-6_1_2_line_14 |  | 11 | 42 | 0.017695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_307-6_1_2_line_15 |  | 12 | 13 | 0.21894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_307-6_1_2_line_16 |  | 12 | 14 | 0.013169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_307-6_1_2_line_17 |  | 14 | 30 | 0.642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_307-6_1_2_line_18 |  | 15 | 16 | 0.026819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_307-6_1_2_line_19 |  | 15 | 17 | 0.045564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_307-6_1_2_line_20 |  | 16 | 63 | 0.033508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_307-6_1_2_line_21 |  | 16 | 32 | 0.068042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_307-6_1_2_line_22 |  | 17 | 62 | 0.13948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_307-6_1_2_line_23 |  | 18 | 19 | 0.011576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_307-6_1_2_line_24 |  | 19 | 33 | 0.0082631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_307-6_1_2_line_25 |  | 20 | 21 | 0.0011859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_307-6_1_2_line_26 |  | 20 | 22 | 0.040266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_307-6_1_2_line_27 |  | 22 | 59 | 0.012181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_307-6_1_2_line_28 |  | 23 | 24 | 0.031525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_307-6_1_2_line_29 |  | 23 | 25 | 0.02573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_307-6_1_2_line_30 |  | 24 | 55 | 0.55932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_307-6_1_2_line_31 |  | 24 | 62 | 0.042823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_307-6_1_2_line_32 |  | 25 | 50 | 0.003776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_307-6_1_2_line_33 |  | 25 | 59 | 0.027459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_307-6_1_2_line_34 |  | 26 | 27 | 0.029166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_307-6_1_2_line_35 |  | 26 | 28 | 0.0064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_307-6_1_2_line_36 |  | 27 | 35 | 0.023821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_307-6_1_2_line_37 |  | 29 | 30 | 0.056988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_307-6_1_2_line_38 |  | 29 | 31 | 0.048847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_307-6_1_2_line_39 |  | 29 | 32 | 0.017357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_307-6_1_2_line_40 |  | 31 | 54 | 0.014202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_307-6_1_2_line_41 |  | 33 | 34 | 0.018088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_307-6_1_2_line_42 |  | 34 | 47 | 0.0033855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_307-6_1_2_line_43 |  | 35 | 36 | 0.064427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_307-6_1_2_line_44 |  | 36 | 46 | 0.038814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_307-6_1_2_line_45 |  | 37 | 38 | 0.0042222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_307-6_1_2_line_46 |  | 37 | 39 | 0.019052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_307-6_1_2_line_47 |  | 37 | 40 | 0.08102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_307-6_1_2_line_48 |  | 39 | 55 | 0.028586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_307-6_1_2_line_49 |  | 40 | 53 | 0.15377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_307-6_1_2_line_50 |  | 43 | 44 | 0.00087611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_307-6_1_2_line_51 |  | 43 | 45 | 0.0061238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_307-6_1_2_line_52 |  | 44 | 46 | 0.0031654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_307-6_1_2_line_53 |  | 45 | 57 | 0.0065289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_307-6_1_2_line_54 |  | 47 | 48 | 0.0049643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_307-6_1_2_line_55 |  | 48 | 52 | 0.011728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_307-6_1_2_line_56 |  | 49 | 50 | 0.0007292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_307-6_1_2_line_57 |  | 51 | 52 | 0.00049709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_307-6_1_2_line_58 |  | 51 | 53 | 0.0058232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_307-6_1_2_line_59 |  | 56 | 57 | 0.028213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_307-6_1_2_line_60 |  | 56 | 58 | 0.04348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_307-6_1_2_line_61 |  | 57 | 61 | 0.013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_307-6_1_2_line_62 |  | 60 | 61 | 0.0065591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_307-6_1_2_line_63 |  | 63 | 65 | 0.015004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_307-6_1_2_line_64 |  | 64 | 65 | 0.00016666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_307-6_1_2_trafo_57 | 0.63 MVA 20/0.4 kV | 66 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2595815.9228 | 1205479.6752 | 2595825.3498 | 1205483.7049
1 | 2595815.9228 | 1205479.6752 | 2595805.8497 | 1205475.1244
2 | 2595820.4809 | 1205472.279 | 2595815.9228 | 1205479.6752
3 | 2595847.625 | 1205493.2267 | 2595825.3498 | 1205483.7049
4 | 2595831.6931 | 1205463.7108 | 2595820.4809 | 1205472.279
5 | 2595847.625 | 1205493.2267 | 2595844.5196 | 1205500.6441 | 2595839.4172 | 1205510.659
6 | 2595850.9361 | 1205486.1872 | 2595847.625 | 1205493.2267
7 | 2595839.4172 | 1205510.659 | 2595830.9987 | 1205527.183
8 | 2595850.9361 | 1205486.1872 | 2595871.6605 | 1205441.8039 | 2595873.4581 | 1205434.8032
9 | 2595822.0439 | 1205413.6348 | 2595809.5416 | 1205413.8229
10 | 2595822.0439 | 1205413.6348 | 2595836.8057 | 1205413.9714
11 | 2595809.5416 | 1205413.8229 | 2595808.7068 | 1205413.8355
12 | 2595836.8057 | 1205413.9714 | 2595848.0482 | 1205414.2278 | 2595860.3187 | 1205415.5576
13 | 2595877.9104 | 1205417.464 | 2595873.4581 | 1205434.8032
14 | 2595877.9104 | 1205417.464 | 2595860.3187 | 1205415.5576
15 | 2596171.9167 | 1205306.8123 | 2596068.0772 | 1205114.0679
16 | 2596163.111 | 1205316.6042 | 2596171.9167 | 1205306.8123
17 | 2596163.111 | 1205316.6042 | 2596379.7709 | 1205920.9424
18 | 2596330.6804 | 1206016.4344 | 2596311.916 | 1206035.6456
19 | 2596311.916 | 1206035.6456 | 2596314.309 | 1206043.7596 | 2596317.4183 | 1206054.0522 | 2596320.0983 | 1206070.982 | 2596324.0428 | 1206079.3063
20 | 2596330.6804 | 1206016.4344 | 2596346.3344 | 1206021.3273 | 2596354.0946 | 1206026.403 | 2596355.4571 | 1206034.1176
21 | 2596330.6804 | 1206016.4344 | 2596357.4909 | 1205996.9403 | 2596386.4425 | 1205977.4637
22 | 2596324.0428 | 1206079.3063 | 2596203.8068 | 1206150.0002
23 | 2595825.7438 | 1205537.4974 | 2595830.9987 | 1205527.183
24 | 2595825.7438 | 1205537.4974 | 2595821.9927 | 1205544.8601
25 | 2596246.4626 | 1206217.2236 | 2596245.2767 | 1206217.2192
26 | 2596207.7243 | 1206228.1508 | 2596223.5588 | 1206218.7465 | 2596232.9419 | 1206217.173 | 2596245.2767 | 1206217.2192
27 | 2596207.7243 | 1206228.1508 | 2596195.5688 | 1206228.9375
28 | 2596167.6951 | 1206172.7132 | 2596167.9419 | 1206204.2375
29 | 2596168.1433 | 1206229.9665 | 2596167.9419 | 1206204.2375
30 | 2595733.3152 | 1205820.3541 | 2596167.6951 | 1206172.7132
31 | 2596167.6951 | 1206172.7132 | 2596185.3095 | 1206163.8302 | 2596203.8068 | 1206150.0002
32 | 2596168.1433 | 1206229.9665 | 2596168.1824 | 1206233.7423
33 | 2596168.1433 | 1206229.9665 | 2596179.786 | 1206229.9588 | 2596195.5688 | 1206228.9375
34 | 2595778.8283 | 1205354.836 | 2595805.3339 | 1205342.6672
35 | 2595810.9103 | 1205339.5377 | 2595806.5303 | 1205342.118 | 2595805.3339 | 1205342.6672
36 | 2595778.8283 | 1205354.836 | 2595773.6918 | 1205357.1942 | 2595756.7106 | 1205363.6568
37 | 2596400.844 | 1205967.7753 | 2596391.3912 | 1205955.8524 | 2596377.8619 | 1205943.6541 | 2596375.7441 | 1205937.7522 | 2596379.7709 | 1205920.9424
38 | 2596400.844 | 1205967.7753 | 2596422.6762 | 1205952.6092 | 2596436.3773 | 1205934.969
39 | 2596400.844 | 1205967.7753 | 2596386.4425 | 1205977.4637
40 | 2596422.4734 | 1205931.8869 | 2596436.3773 | 1205934.969
41 | 2595813.7816 | 1205560.9769 | 2595821.9927 | 1205544.8601
42 | 2595813.7816 | 1205560.9769 | 2595812.2447 | 1205563.9935
43 | 2595694.4106 | 1205379.6975 | 2595745.1857 | 1205368.0429 | 2595756.7106 | 1205363.6568
44 | 2595721.2868 | 1205407.6153 | 2595713.4863 | 1205401.2063 | 2595707.6712 | 1205395.3518 | 2595694.4106 | 1205379.6975
45 | 2595698.6384 | 1205782.7811 | 2595701.3481 | 1205786.0191
46 | 2595714.8103 | 1205799.2558 | 2595709.3864 | 1205795.6247 | 2595701.3481 | 1205786.0191
47 | 2595701.3481 | 1205786.0191 | 2595762.8288 | 1205733.2518
48 | 2595733.3152 | 1205820.3541 | 2595731.7231 | 1205816.8422 | 2595722.3748 | 1205804.3199 | 2595714.8103 | 1205799.2558
49 | 2595801.7982 | 1205584.4981 | 2595762.8288 | 1205733.2518
50 | 2595724.0996 | 1205409.0673 | 2595724.8781 | 1205409.4692 | 2595724.8781 | 1205409.4692
51 | 2595730.7358 | 1205411.2548 | 2595730.7358 | 1205411.2548 | 2595724.8781 | 1205409.4692
52 | 2595721.2868 | 1205407.6153 | 2595724.0996 | 1205409.0673
53 | 2595737.1255 | 1205412.5953 | 2595730.7358 | 1205411.2548
54 | 2595809.9912 | 1205568.4168 | 2595812.2447 | 1205563.9935
55 | 2595804.6673 | 1205578.8666 | 2595809.9912 | 1205568.4168
56 | 2596168.1899 | 1206234.4714 | 2596168.1824 | 1206233.7423
57 | 2595804.4417 | 1205579.3095 | 2595804.6673 | 1205578.8666
58 | 2595801.7982 | 1205584.4981 | 2595804.4417 | 1205579.3095
59 | 2595737.1255 | 1205412.5953 | 2595745.6295 | 1205413.712 | 2595757.6472 | 1205414.6038 | 2595765.2314 | 1205414.4897
60 | 2595808.7068 | 1205413.8355 | 2595765.2314 | 1205414.4897
61 | 2595737.1255 | 1205412.5953 | 2595733.1133 | 1205400.0799
62 | 2595731.111 | 1205393.8339 | 2595733.1133 | 1205400.0799
63 | 2596355.9322 | 1206049.0922 | 2596355.7889 | 1206035.9961 | 2596355.4571 | 1206034.1176
64 | 2596355.934 | 1206049.2588 | 2596355.9322 | 1206049.0922

## bus_geodata
| x | y | coords
0 | 2595815.9228 | 1205479.6752
1 | 2595825.3498 | 1205483.7049
2 | 2595805.8497 | 1205475.1244
3 | 2595820.4809 | 1205472.279
4 | 2595847.625 | 1205493.2267
5 | 2595839.4172 | 1205510.659
6 | 2595850.9361 | 1205486.1872
7 | 2595822.0439 | 1205413.6348
8 | 2595809.5416 | 1205413.8229
9 | 2595836.8057 | 1205413.9714
10 | 2595873.4581 | 1205434.8032
11 | 2595877.9104 | 1205417.464
12 | 2596171.9167 | 1205306.8123
13 | 2596068.0772 | 1205114.0679
14 | 2596163.111 | 1205316.6042
15 | 2596311.916 | 1206035.6456
16 | 2596330.6804 | 1206016.4344
17 | 2596324.0428 | 1206079.3063
18 | 2595830.9987 | 1205527.183
19 | 2595825.7438 | 1205537.4974
20 | 2596245.2767 | 1206217.2192
21 | 2596246.4626 | 1206217.2236
22 | 2596207.7243 | 1206228.1508
23 | 2596167.9419 | 1206204.2375
24 | 2596167.6951 | 1206172.7132
25 | 2596168.1433 | 1206229.9665
26 | 2595805.3339 | 1205342.6672
27 | 2595778.8283 | 1205354.836
28 | 2595810.9103 | 1205339.5377
29 | 2596400.844 | 1205967.7753
30 | 2596379.7709 | 1205920.9424
31 | 2596436.3773 | 1205934.969
32 | 2596386.4425 | 1205977.4637
33 | 2595821.9927 | 1205544.8601
34 | 2595813.7816 | 1205560.9769
35 | 2595756.7107 | 1205363.6568
36 | 2595694.4106 | 1205379.6975
37 | 2595701.3481 | 1205786.0191
38 | 2595698.6384 | 1205782.7811
39 | 2595714.8103 | 1205799.2558
40 | 2595762.8288 | 1205733.2518
41 | 2595831.6931 | 1205463.7108
42 | 2595860.3187 | 1205415.5576
43 | 2595724.8781 | 1205409.4692
44 | 2595724.0996 | 1205409.0673
45 | 2595730.7358 | 1205411.2548
46 | 2595721.2868 | 1205407.6153
47 | 2595812.2447 | 1205563.9935
48 | 2595809.9912 | 1205568.4168
49 | 2596168.1899 | 1206234.4714
50 | 2596168.1824 | 1206233.7423
51 | 2595804.4417 | 1205579.3095
52 | 2595804.6673 | 1205578.8666
53 | 2595801.7982 | 1205584.4981
54 | 2596422.4734 | 1205931.8869
55 | 2595733.3152 | 1205820.3541
56 | 2595765.2314 | 1205414.4897
57 | 2595737.1255 | 1205412.5953
58 | 2595808.7068 | 1205413.8355
59 | 2596195.5688 | 1206228.9374
60 | 2595731.111 | 1205393.8339
61 | 2595733.1133 | 1205400.0799
62 | 2596203.8068 | 1206150.0002
63 | 2596355.4571 | 1206034.1176
64 | 2596355.934 | 1206049.2588
65 | 2596355.9322 | 1206049.0922
66 | 2595847.625 | 1205493.2267

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1