## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_310-1_2_2_node_256 | 0.4 | n |  | TRUE
1 | bus_LV_310-1_2_2_node_238 | 0.4 | n |  | TRUE
2 | bus_LV_310-1_2_2_node_255 | 0.4 | n |  | TRUE
3 | bus_LV_310-1_2_2_node_257 | 0.4 | n |  | TRUE
4 | bus_LV_310-1_2_2_node_322 | 0.4 | n |  | TRUE
5 | bus_LV_310-1_2_2_node_321 | 0.4 | n |  | TRUE
6 | bus_LV_310-1_2_2_node_258 | 0.4 | n |  | TRUE
7 | bus_LV_310-1_2_2_node_220 | 0.4 | n |  | TRUE
8 | bus_LV_310-1_2_2_node_317 | 0.4 | n |  | TRUE
9 | bus_LV_310-1_2_2_node_259 | 0.4 | n |  | TRUE
10 | bus_LV_310-1_2_2_node_260 | 0.4 | n |  | TRUE
11 | bus_LV_310-1_2_2_node_261 | 0.4 | n |  | TRUE
12 | bus_LV_310-1_2_2_node_250 | 0.4 | n |  | TRUE
13 | bus_LV_310-1_2_2_node_262 | 0.4 | n |  | TRUE
14 | bus_LV_310-1_2_2_node_313 | 0.4 | n |  | TRUE
15 | bus_LV_310-1_2_2_node_311 | 0.4 | n |  | TRUE
16 | bus_LV_310-1_2_2_node_298 | 0.4 | n |  | TRUE
17 | bus_LV_310-1_2_2_node_299 | 0.4 | n |  | TRUE
18 | bus_LV_310-1_2_2_node_300 | 0.4 | n |  | TRUE
19 | bus_LV_310-1_2_2_node_303 | 0.4 | n |  | TRUE
20 | bus_LV_310-1_2_2_node_302 | 0.4 | n |  | TRUE
21 | bus_LV_310-1_2_2_node_304 | 0.4 | n |  | TRUE
22 | bus_LV_310-1_2_2_node_305 | 0.4 | n |  | TRUE
23 | bus_LV_310-1_2_2_node_253 | 0.4 | n |  | TRUE
24 | bus_LV_310-1_2_2_node_306 | 0.4 | n |  | TRUE
25 | bus_LV_310-1_2_2_node_307 | 0.4 | n |  | TRUE
26 | bus_LV_310-1_2_2_node_251 | 0.4 | n |  | TRUE
27 | bus_LV_310-1_2_2_node_312 | 0.4 | n |  | TRUE
28 | bus_LV_310-1_2_2_node_208 | 0.4 | n |  | TRUE
29 | bus_LV_310-1_2_2_node_209 | 0.4 | n |  | TRUE
30 | bus_LV_310-1_2_2_node_210 | 0.4 | n |  | TRUE
31 | bus_LV_310-1_2_2_node_211 | 0.4 | n |  | TRUE
32 | bus_LV_310-1_2_2_node_212 | 0.4 | n |  | TRUE
33 | bus_LV_310-1_2_2_node_213 | 0.4 | n |  | TRUE
34 | bus_LV_310-1_2_2_node_214 | 0.4 | n |  | TRUE
35 | bus_LV_310-1_2_2_node_217 | 0.4 | n |  | TRUE
36 | bus_LV_310-1_2_2_node_242 | 0.4 | n |  | TRUE
37 | bus_LV_310-1_2_2_node_239 | 0.4 | n |  | TRUE
38 | bus_LV_310-1_2_2_node_215 | 0.4 | n |  | TRUE
39 | bus_LV_310-1_2_2_node_216 | 0.4 | n |  | TRUE
40 | bus_LV_310-1_2_2_node_218 | 0.4 | n |  | TRUE
41 | bus_LV_310-1_2_2_node_219 | 0.4 | n |  | TRUE
42 | bus_LV_310-1_2_2_node_221 | 0.4 | n |  | TRUE
43 | bus_LV_310-1_2_2_node_229 | 0.4 | n |  | TRUE
44 | bus_LV_310-1_2_2_node_222 | 0.4 | n |  | TRUE
45 | bus_LV_310-1_2_2_node_224 | 0.4 | n |  | TRUE
46 | bus_LV_310-1_2_2_node_223 | 0.4 | n |  | TRUE
47 | bus_LV_310-1_2_2_node_225 | 0.4 | n |  | TRUE
48 | bus_LV_310-1_2_2_node_226 | 0.4 | n |  | TRUE
49 | bus_LV_310-1_2_2_node_227 | 0.4 | n |  | TRUE
50 | bus_LV_310-1_2_2_node_230 | 0.4 | n |  | TRUE
51 | bus_LV_310-1_2_2_node_231 | 0.4 | n |  | TRUE
52 | bus_LV_310-1_2_2_node_235 | 0.4 | n |  | TRUE
53 | bus_LV_310-1_2_2_node_232 | 0.4 | n |  | TRUE
54 | bus_LV_310-1_2_2_node_233 | 0.4 | n |  | TRUE
55 | bus_LV_310-1_2_2_node_234 | 0.4 | n |  | TRUE
56 | bus_LV_310-1_2_2_node_236 | 0.4 | n |  | TRUE
57 | bus_LV_310-1_2_2_node_237 | 0.4 | n |  | TRUE
58 | bus_LV_310-1_2_2_node_240 | 0.4 | n |  | TRUE
59 | bus_LV_310-1_2_2_node_241 | 0.4 | n |  | TRUE
60 | bus_LV_310-1_2_2_node_243 | 0.4 | n |  | TRUE
61 | bus_LV_310-1_2_2_node_244 | 0.4 | n |  | TRUE
62 | bus_LV_310-1_2_2_node_245 | 0.4 | n |  | TRUE
63 | bus_LV_310-1_2_2_node_246 | 0.4 | n |  | TRUE
64 | bus_LV_310-1_2_2_node_247 | 0.4 | n |  | TRUE
65 | bus_LV_310-1_2_2_node_254 | 0.4 | n |  | TRUE
66 | bus_LV_310-1_2_2_node_248 | 0.4 | n |  | TRUE
67 | bus_LV_310-1_2_2_node_252 | 0.4 | n |  | TRUE
68 | bus_LV_310-1_2_2_node_249 | 0.4 | n |  | TRUE
69 | bus_MV_387_1_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_310-1_2_2_load_255 | 2 | 0.0016265 | 0.00040764 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_310-1_2_2_load_322 | 4 | 0.00046903 | 0.00011755 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_310-1_2_2_load_321 | 5 | 0.00053862 | 0.00013499 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_310-1_2_2_load_258 | 6 | 0.001045 | 0.00026189 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_310-1_2_2_load_220 | 7 | 0.00054987 | 0.00013781 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_310-1_2_2_load_317 | 8 | 0.0028893 | 0.00072413 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_310-1_2_2_load_259 | 9 | 0.0040655 | 0.0010189 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_310-1_2_2_load_260 | 10 | 0.0018378 | 0.00046061 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_310-1_2_2_load_261 | 11 | 0.001243 | 0.00031153 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_310-1_2_2_load_250 | 12 | 0.0014012 | 0.00035117 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_310-1_2_2_load_313 | 14 | 0.0022478 | 0.00056335 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_310-1_2_2_load_311 | 15 | 0.00040204 | 0.00010076 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_310-1_2_2_load_299 | 17 | 0.00054477 | 0.00013653 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_310-1_2_2_load_300 | 18 | 0.0042473 | 0.0010645 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_310-1_2_2_load_303 | 19 | 0.0014757 | 0.00036985 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_310-1_2_2_load_302 | 20 | 0.001533 | 0.00038421 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_310-1_2_2_load_304 | 21 | 0.00068715 | 0.00017222 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_310-1_2_2_load_305 | 22 | 0.0012646 | 0.00031695 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_310-1_2_2_load_306 | 24 | 0.0013929 | 0.0003491 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_310-1_2_2_load_307 | 25 | 0.0016995 | 0.00042594 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_310-1_2_2_load_312 | 27 | 0.0020603 | 0.00051636 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_310-1_2_2_load_208 | 28 | 0.004531 | 0.0011356 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_310-1_2_2_load_209 | 29 | 0.0028361 | 0.00071079 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_310-1_2_2_load_210 | 30 | 0.00086741 | 0.00021739 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_310-1_2_2_load_211 | 31 | 0.00099913 | 0.00025041 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_310-1_2_2_load_212 | 32 | 0.0024938 | 0.000625 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_310-1_2_2_load_213 | 33 | 0.001422 | 0.00035638 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_310-1_2_2_load_242 | 36 | 0.0018218 | 0.00045658 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_310-1_2_2_load_239 | 37 | 0.0024305 | 0.00060915 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_310-1_2_2_load_215 | 38 | 0.0067653 | 0.0016956 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_310-1_2_2_load_216 | 39 | 0.0028525 | 0.0007149 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_310-1_2_2_load_218 | 40 | 0.001132 | 0.0002837 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_310-1_2_2_load_219 | 41 | 0.00070759 | 0.00017734 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_310-1_2_2_load_221 | 42 | 0.004075 | 0.0010213 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_310-1_2_2_load_229 | 43 | 0.0022952 | 0.00057524 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_310-1_2_2_load_222 | 44 | 0.0044998 | 0.0011278 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_310-1_2_2_load_224 | 45 | 0.00055209 | 0.00013837 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_310-1_2_2_load_223 | 46 | 0.0088616 | 0.0022209 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_310-1_2_2_load_227 | 49 | 0.0010354 | 0.00025948 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_310-1_2_2_load_230 | 50 | 0.0013218 | 0.00033128 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_310-1_2_2_load_235 | 52 | 0.00082913 | 0.0002078 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_310-1_2_2_load_232 | 53 | 0.0010915 | 0.00027357 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_310-1_2_2_load_233 | 54 | 0.00072536 | 0.00018179 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_310-1_2_2_load_234 | 55 | 0.0053883 | 0.0013504 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_310-1_2_2_load_236 | 56 | 0.00089517 | 0.00022435 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_310-1_2_2_load_240 | 58 | 0.00068988 | 0.0001729 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_310-1_2_2_load_243 | 60 | 0.00029223 | 7.324e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_310-1_2_2_load_244 | 61 | 0.00084203 | 0.00021103 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_310-1_2_2_load_245 | 62 | 0.0025519 | 0.00063956 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_310-1_2_2_load_246 | 63 | 0.0010327 | 0.00025882 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_310-1_2_2_load_247 | 64 | 0.00081374 | 0.00020394 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_310-1_2_2_load_254 | 65 | 0.0056692 | 0.0014208 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_310-1_2_2_load_248 | 66 | 0.0013698 | 0.00034329 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_310-1_2_2_line_0 |  | 0 | 1 | 0.11229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_310-1_2_2_line_1 |  | 0 | 2 | 0.02196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_310-1_2_2_line_2 |  | 1 | 5 | 0.042353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_310-1_2_2_line_3 |  | 1 | 57 | 0.27202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_310-1_2_2_line_4 |  | 2 | 65 | 0.030314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_310-1_2_2_line_5 |  | 3 | 4 | 0.12441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_310-1_2_2_line_6 |  | 3 | 5 | 0.10738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_310-1_2_2_line_7 |  | 6 | 7 | 0.00053883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_310-1_2_2_line_8 |  | 6 | 8 | 0.0026901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_310-1_2_2_line_9 |  | 7 | 40 | 0.0050366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_310-1_2_2_line_10 |  | 9 | 10 | 0.033751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_310-1_2_2_line_11 |  | 9 | 11 | 0.00050967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_310-1_2_2_line_12 |  | 11 | 12 | 0.013748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_310-1_2_2_line_13 |  | 12 | 68 | 0.27952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_310-1_2_2_line_14 |  | 13 | 14 | 0.020296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_310-1_2_2_line_15 |  | 13 | 15 | 0.022786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_310-1_2_2_line_16 |  | 15 | 26 | 0.10259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_310-1_2_2_line_17 |  | 16 | 17 | 0.061746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_310-1_2_2_line_18 |  | 16 | 18 | 0.018766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_310-1_2_2_line_19 |  | 17 | 19 | 0.015812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_310-1_2_2_line_20 |  | 18 | 20 | 0.037747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_310-1_2_2_line_21 |  | 19 | 21 | 0.0054348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_310-1_2_2_line_22 |  | 21 | 22 | 0.004186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_310-1_2_2_line_23 |  | 22 | 23 | 0.054478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_310-1_2_2_line_24 |  | 23 | 24 | 0.017998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_310-1_2_2_line_25 |  | 23 | 67 | 0.35038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_310-1_2_2_line_26 |  | 24 | 25 | 0.0022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_310-1_2_2_line_27 |  | 26 | 27 | 0.026189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_310-1_2_2_line_28 |  | 26 | 68 | 0.26817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_310-1_2_2_line_29 |  | 28 | 29 | 0.0047713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_310-1_2_2_line_30 |  | 28 | 30 | 0.0031574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_310-1_2_2_line_31 |  | 29 | 31 | 0.013704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_310-1_2_2_line_32 |  | 30 | 32 | 0.0078864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_310-1_2_2_line_33 |  | 31 | 33 | 0.0079163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_310-1_2_2_line_34 |  | 32 | 34 | 0.021065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_310-1_2_2_line_35 |  | 33 | 35 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_310-1_2_2_line_36 |  | 34 | 36 | 0.059219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_310-1_2_2_line_37 |  | 34 | 37 | 0.016623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_310-1_2_2_line_38 |  | 35 | 41 | 0.0025056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_310-1_2_2_line_39 |  | 35 | 38 | 0.02816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_310-1_2_2_line_40 |  | 36 | 62 | 0.03236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_310-1_2_2_line_41 |  | 37 | 58 | 0.013217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_310-1_2_2_line_42 |  | 38 | 39 | 0.015394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_310-1_2_2_line_43 |  | 39 | 40 | 0.010289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_310-1_2_2_line_44 |  | 41 | 42 | 0.011663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_310-1_2_2_line_45 |  | 42 | 43 | 0.0070021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_310-1_2_2_line_46 |  | 43 | 48 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_310-1_2_2_line_47 |  | 44 | 45 | 0.011379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_310-1_2_2_line_48 |  | 45 | 48 | 0.017366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_310-1_2_2_line_49 |  | 46 | 47 | 0.023966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_310-1_2_2_line_50 |  | 47 | 49 | 0.0094617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_310-1_2_2_line_51 |  | 48 | 50 | 0.032713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_310-1_2_2_line_52 |  | 49 | 51 | 0.025419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_310-1_2_2_line_53 |  | 50 | 52 | 0.0078379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_310-1_2_2_line_54 |  | 51 | 53 | 0.0024591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_310-1_2_2_line_55 |  | 51 | 54 | 0.047566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_310-1_2_2_line_56 |  | 52 | 54 | 0.0036767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_310-1_2_2_line_57 |  | 53 | 55 | 0.044791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_310-1_2_2_line_58 |  | 56 | 57 | 0.16665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_310-1_2_2_line_59 |  | 58 | 59 | 0.017337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_310-1_2_2_line_60 |  | 59 | 60 | 0.023369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_310-1_2_2_line_61 |  | 59 | 61 | 0.055342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_310-1_2_2_line_62 |  | 60 | 63 | 0.0055999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_310-1_2_2_line_63 |  | 61 | 64 | 0.027383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_310-1_2_2_line_64 |  | 62 | 65 | 0.0062361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_310-1_2_2_line_65 |  | 63 | 66 | 0.048079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_310-1_2_2_line_66 |  | 64 | 67 | 0.088133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_310-1_2_2_line_67 |  | 66 | 68 | 0.16518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_310-1_2_2_trafo_239 | 0.63 MVA 20/0.4 kV | 69 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2600744.1827 | 1211485.6692 | 2600748.441 | 1211455.0193 | 2600750.4788 | 1211441.7789 | 2600753.4818 | 1211425.5257 | 2600756.3552 | 1211414.5199 | 2600759.6233 | 1211406.0378 | 2600764.0996 | 1211396.9555 | 2600775.4759 | 1211379.5027
1 | 2600744.1827 | 1211485.6692 | 2600741.2501 | 1211507.4328
2 | 2600775.4759 | 1211379.5027 | 2600760.6385 | 1211339.8335
3 | 2600775.4759 | 1211379.5027 | 2600779.7542 | 1211374.9006 | 2600786.1981 | 1211369.2205 | 2600840.0503 | 1211334.5523 | 2601014.7717 | 1211416.7787
4 | 2600737.202 | 1211537.475 | 2600741.2501 | 1211507.4328
5 | 2600708.2623 | 1211246.3545 | 2600650.0765 | 1211150.8844 | 2600641.4445 | 1211141.6949
6 | 2600708.2623 | 1211246.3545 | 2600754.9294 | 1211324.5698 | 2600760.6385 | 1211339.8335
7 | 2600786.8443 | 1211582.3243 | 2600787.3806 | 1211582.2724 | 2600787.3806 | 1211582.2724
8 | 2600784.1667 | 1211582.5833 | 2600786.8443 | 1211582.3243
9 | 2600787.3806 | 1211582.2724 | 2600792.3495 | 1211583.0957 | 2600792.3495 | 1211583.0957
10 | 2600778.5194 | 1211890.1324 | 2600778.2494 | 1211891.4768 | 2600776.4251 | 1211898.7473 | 2600778.8557 | 1211903.5836 | 2600787.5316 | 1211906.6753 | 2600796.5224 | 1211911.6199
11 | 2600778.5194 | 1211890.1324 | 2600778.6198 | 1211889.6327
12 | 2600778.6198 | 1211889.6327 | 2600780.0738 | 1211882.3942 | 2600779.1035 | 1211876.1033
13 | 2600512.808 | 1211820.2116 | 2600744.3238 | 1211851.5395 | 2600764.0234 | 1211857.2783 | 2600778.0469 | 1211869.2533 | 2600779.1035 | 1211876.1033
14 | 2600576.2709 | 1212080.2059 | 2600580.0256 | 1212060.2618
15 | 2600576.2709 | 1212080.2059 | 2600554.3197 | 1212074.096
16 | 2600455.979 | 1212049.8022 | 2600499.1082 | 1212053.1737 | 2600510.838 | 1212057.7326 | 2600524.5504 | 1212065.4713 | 2600537.5565 | 1212069.4301 | 2600554.3197 | 1212074.096
17 | 2600009.7812 | 1211580.8069 | 2600068.0717 | 1211589.1 | 2600070.8903 | 1211589.634
18 | 2600009.7812 | 1211580.8069 | 2599991.1322 | 1211578.7177
19 | 2600070.8903 | 1211589.634 | 2600086.4264 | 1211592.5771
20 | 2599953.6469 | 1211574.2891 | 2599966.5191 | 1211575.9603 | 2599991.1322 | 1211578.7177
21 | 2600091.7662 | 1211593.5887 | 2600086.4264 | 1211592.5771
22 | 2600091.7662 | 1211593.5887 | 2600095.8791 | 1211594.3678
23 | 2600149.3986 | 1211604.5424 | 2600111.6755 | 1211597.3603 | 2600095.8791 | 1211594.3678
24 | 2600149.3986 | 1211604.5424 | 2600145.1287 | 1211622.0269
25 | 2600149.3986 | 1211604.5424 | 2600206.1994 | 1211618.0176 | 2600224.0693 | 1211621.1531 | 2600237.9048 | 1211622.7433 | 2600252.5685 | 1211623.6108 | 2600284.783 | 1211624.2011 | 2600299.3479 | 1211624.6463 | 2600325.4614 | 1211625.6368 | 2600375.6749 | 1211629.4858 | 2600421.3904 | 1211633.9129 | 2600496.7366 | 1211644.1124
26 | 2600144.6041 | 1211624.1751 | 2600145.1287 | 1211622.0269
27 | 2600465.1808 | 1212025.278 | 2600455.979 | 1212049.8022
28 | 2600512.808 | 1211820.2116 | 2600498.5762 | 1211842.9677 | 2600475.2405 | 1211900.1646 | 2600457.3989 | 1211944.2101 | 2600441.8827 | 1211982.5194 | 2600431.0754 | 1212047.2215 | 2600444.4996 | 1212049.5236 | 2600455.979 | 1212049.8022
29 | 2600745.7388 | 1211632.4722 | 2600750.5093 | 1211632.5603
30 | 2600745.7388 | 1211632.4722 | 2600742.5819 | 1211632.4139
31 | 2600750.5093 | 1211632.5603 | 2600764.2105 | 1211632.8134
32 | 2600734.6969 | 1211632.2683 | 2600742.5819 | 1211632.4139
33 | 2600772.1251 | 1211632.9753 | 2600766.3895 | 1211632.8536 | 2600764.2105 | 1211632.8134
34 | 2600713.6383 | 1211632.1807 | 2600719.1543 | 1211631.9812 | 2600734.6969 | 1211632.2683
35 | 2600787.4733 | 1211633.3008 | 2600772.1251 | 1211632.9753
36 | 2600713.6383 | 1211632.1807 | 2600713.9127 | 1211624.1096 | 2600715.1671 | 1211617.0947 | 2600726.9075 | 1211574.6726
37 | 2600713.6383 | 1211632.1807 | 2600707.7272 | 1211633.1028 | 2600697.3873 | 1211635.6153
38 | 2600787.4733 | 1211633.3008 | 2600789.9737 | 1211633.4616
39 | 2600787.4733 | 1211633.3008 | 2600794.699 | 1211606.0834
40 | 2600735.5386 | 1211543.4852 | 2600726.9075 | 1211574.6726
41 | 2600697.3873 | 1211635.6153 | 2600693.3215 | 1211636.6032 | 2600684.4802 | 1211638.4529
42 | 2600794.699 | 1211606.0834 | 2600797.2865 | 1211596.337 | 2600797.8417 | 1211591.0564
43 | 2600797.8417 | 1211591.0564 | 2600797.4242 | 1211588.0546 | 2600795.4568 | 1211585.0638 | 2600792.3495 | 1211583.0957
44 | 2600801.6131 | 1211634.2099 | 2600789.9737 | 1211633.4616
45 | 2600801.6131 | 1211634.2099 | 2600808.6008 | 1211634.6592
46 | 2600826.1076 | 1211635.1177 | 2600816.4053 | 1211635.161 | 2600808.6008 | 1211634.6592
47 | 2600847.2954 | 1211653.6863 | 2600847.2954 | 1211653.6863 | 2600840.9896 | 1211651.0285 | 2600837.2898 | 1211648.4043
48 | 2600826.1076 | 1211635.1177 | 2600837.2898 | 1211648.4043
49 | 2600922.3208 | 1211669.0162 | 2600914.2219 | 1211666.9695 | 2600909.8382 | 1211665.9683 | 2600899.343 | 1211662.3051
50 | 2600922.3208 | 1211669.0162 | 2600921.3646 | 1211661.5452 | 2600921.107 | 1211659.6327
51 | 2600826.1076 | 1211635.1177 | 2600836.8357 | 1211634.4854 | 2600857.9274 | 1211632.3981 | 2600858.6977 | 1211632.3617
52 | 2600917.7139 | 1211634.4407 | 2600921.107 | 1211659.6327
53 | 2600858.6977 | 1211632.3617 | 2600865.9127 | 1211632.0212 | 2600866.5269 | 1211632.0498
54 | 2600917.7139 | 1211634.4407 | 2600920.1717 | 1211634.3612
55 | 2600917.7139 | 1211634.4407 | 2600870.1996 | 1211632.2214
56 | 2600866.5269 | 1211632.0498 | 2600870.1996 | 1211632.2214
57 | 2600920.1717 | 1211634.3612 | 2600931.3899 | 1211633.998 | 2600939.778 | 1211632.843 | 2600953.5531 | 1211630.2436 | 2600964.4038 | 1211627.9957
58 | 2601014.7717 | 1211416.7787 | 2600988.8797 | 1211452.1943 | 2600981.4234 | 1211469.8474 | 2600972.9985 | 1211573.118
59 | 2600667.3823 | 1211641.2143 | 2600676.1122 | 1211640.2035 | 2600684.4802 | 1211638.4529
60 | 2600667.3823 | 1211641.2143 | 2600663.8638 | 1211648.3401 | 2600657.7651 | 1211662.5052
61 | 2600667.3823 | 1211641.2143 | 2600612.1099 | 1211643.9899
62 | 2600655.5506 | 1211667.6487 | 2600657.7651 | 1211662.5052
63 | 2600612.1099 | 1211643.9899 | 2600584.761 | 1211645.3633
64 | 2600735.5386 | 1211543.4852 | 2600737.202 | 1211537.475 | 2600737.202 | 1211537.475
65 | 2600655.5506 | 1211667.6487 | 2600645.3744 | 1211691.2844 | 2600639.8575 | 1211701.1783 | 2600634.3572 | 1211710.7243
66 | 2600496.7366 | 1211644.1124 | 2600516.8705 | 1211645.6814 | 2600532.8561 | 1211646.6276 | 2600554.1602 | 1211646.318 | 2600575.677 | 1211645.8195 | 2600584.761 | 1211645.3633
67 | 2600512.808 | 1211820.2116 | 2600548.5114 | 1211787.1515 | 2600591.8655 | 1211760.2735 | 2600599.5928 | 1211753.0701 | 2600608.3157 | 1211744.4995 | 2600616.4991 | 1211735.2617 | 2600624.3408 | 1211725.4348 | 2600633.292 | 1211712.5729 | 2600634.3572 | 1211710.7243

## bus_geodata
| x | y | coords
0 | 2600744.1827 | 1211485.6692
1 | 2600775.4759 | 1211379.5027
2 | 2600741.2501 | 1211507.4328
3 | 2600708.2623 | 1211246.3545
4 | 2600641.4445 | 1211141.6949
5 | 2600760.6385 | 1211339.8335
6 | 2600786.8443 | 1211582.3243
7 | 2600787.3806 | 1211582.2724
8 | 2600784.1667 | 1211582.5833
9 | 2600778.5194 | 1211890.1324
10 | 2600796.5224 | 1211911.6199
11 | 2600778.6198 | 1211889.6327
12 | 2600779.1035 | 1211876.1033
13 | 2600576.2709 | 1212080.2059
14 | 2600580.0256 | 1212060.2618
15 | 2600554.3197 | 1212074.096
16 | 2600009.7812 | 1211580.8069
17 | 2600070.8903 | 1211589.634
18 | 2599991.1322 | 1211578.7177
19 | 2600086.4264 | 1211592.5771
20 | 2599953.6469 | 1211574.2891
21 | 2600091.7662 | 1211593.5887
22 | 2600095.8791 | 1211594.3678
23 | 2600149.3986 | 1211604.5424
24 | 2600145.1287 | 1211622.0269
25 | 2600144.6041 | 1211624.1751
26 | 2600455.979 | 1212049.8022
27 | 2600465.1808 | 1212025.278
28 | 2600745.7388 | 1211632.4722
29 | 2600750.5093 | 1211632.5603
30 | 2600742.5819 | 1211632.4139
31 | 2600764.2105 | 1211632.8134
32 | 2600734.6969 | 1211632.2683
33 | 2600772.1251 | 1211632.9753
34 | 2600713.6383 | 1211632.1807
35 | 2600787.4733 | 1211633.3008
36 | 2600726.9075 | 1211574.6726
37 | 2600697.3873 | 1211635.6153
38 | 2600794.699 | 1211606.0834
39 | 2600797.8417 | 1211591.0564
40 | 2600792.3495 | 1211583.0957
41 | 2600789.9737 | 1211633.4616
42 | 2600801.6131 | 1211634.2099
43 | 2600808.6008 | 1211634.6592
44 | 2600847.2954 | 1211653.6863
45 | 2600837.2898 | 1211648.4043
46 | 2600899.343 | 1211662.3051
47 | 2600922.3208 | 1211669.0162
48 | 2600826.1076 | 1211635.1177
49 | 2600921.107 | 1211659.6327
50 | 2600858.6977 | 1211632.3617
51 | 2600917.7139 | 1211634.4407
52 | 2600866.5269 | 1211632.0498
53 | 2600920.1717 | 1211634.3612
54 | 2600870.1996 | 1211632.2214
55 | 2600964.4038 | 1211627.9957
56 | 2600972.9985 | 1211573.118
57 | 2601014.7717 | 1211416.7787
58 | 2600684.4802 | 1211638.4529
59 | 2600667.3823 | 1211641.2143
60 | 2600657.7651 | 1211662.5052
61 | 2600612.1099 | 1211643.9899
62 | 2600735.5386 | 1211543.4852
63 | 2600655.5506 | 1211667.6487
64 | 2600584.761 | 1211645.3633
65 | 2600737.202 | 1211537.475
66 | 2600634.3572 | 1211710.7243
67 | 2600496.7366 | 1211644.1124
68 | 2600512.808 | 1211820.2116
69 | 2600713.6383 | 1211632.1807

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1