## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_310-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_310-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_310-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_310-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_310-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_310-4_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_310-4_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_310-4_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_310-4_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_310-4_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_310-4_0_3_node_268 | 0.4 | n |  | TRUE
11 | bus_LV_310-4_0_3_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_310-4_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_310-4_0_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_310-4_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_310-4_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_310-4_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_310-4_0_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_310-4_0_3_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_310-4_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_310-4_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_310-4_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_310-4_0_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_310-4_0_3_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_310-4_0_3_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_310-4_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_310-4_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_310-4_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_310-4_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_310-4_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_310-4_0_3_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_310-4_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_310-4_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_310-4_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_310-4_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_310-4_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_310-4_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_310-4_0_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_310-4_0_3_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_310-4_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_310-4_0_3_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_310-4_0_3_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_310-4_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_310-4_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_310-4_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_310-4_0_3_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_310-4_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_310-4_0_3_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_310-4_0_3_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_310-4_0_3_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_310-4_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_310-4_0_3_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_310-4_0_3_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_310-4_0_3_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_310-4_0_3_node_259 | 0.4 | n |  | TRUE
55 | bus_LV_310-4_0_3_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_310-4_0_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_310-4_0_3_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_310-4_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_310-4_0_3_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_310-4_0_3_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_310-4_0_3_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_310-4_0_3_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_310-4_0_3_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_310-4_0_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_310-4_0_3_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_310-4_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_310-4_0_3_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_310-4_0_3_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_310-4_0_3_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_310-4_0_3_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_310-4_0_3_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_310-4_0_3_node_273 | 0.4 | n |  | TRUE
73 | bus_LV_310-4_0_3_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_310-4_0_3_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_310-4_0_3_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_310-4_0_3_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_310-4_0_3_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_310-4_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_310-4_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_310-4_0_3_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_310-4_0_3_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_310-4_0_3_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_310-4_0_3_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_310-4_0_3_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_310-4_0_3_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_310-4_0_3_node_260 | 0.4 | n |  | TRUE
87 | bus_LV_310-4_0_3_node_261 | 0.4 | n |  | TRUE
88 | bus_LV_310-4_0_3_node_262 | 0.4 | n |  | TRUE
89 | bus_LV_310-4_0_3_node_263 | 0.4 | n |  | TRUE
90 | bus_LV_310-4_0_3_node_264 | 0.4 | n |  | TRUE
91 | bus_LV_310-4_0_3_node_266 | 0.4 | n |  | TRUE
92 | bus_LV_310-4_0_3_node_267 | 0.4 | n |  | TRUE
93 | bus_MV_387_1_node_194 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_310-4_0_3_load_0 | 0 | 0.015234 | 0.0038179 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_310-4_0_3_load_4 | 4 | 0.0013958 | 0.00034983 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_310-4_0_3_load_6 | 5 | 0.01783 | 0.0044687 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_310-4_0_3_load_5 | 7 | 0.032049 | 0.0080323 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_310-4_0_3_load_8 | 9 | 0.0020173 | 0.00050558 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_310-4_0_3_load_92 | 11 | 0.0047911 | 0.0012008 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_310-4_0_3_load_18 | 12 | 0.00088467 | 0.00022172 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_310-4_0_3_load_19 | 13 | 0.0011362 | 0.00028476 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_310-4_0_3_load_21 | 15 | 0.001438 | 0.0003604 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_310-4_0_3_load_22 | 16 | 0.0010463 | 0.00026222 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_310-4_0_3_load_23 | 17 | 0.00054286 | 0.00013605 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_310-4_0_3_load_26 | 21 | 0.00034668 | 8.6887e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_310-4_0_3_load_42 | 22 | 0.00077062 | 0.00019313 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_310-4_0_3_load_39 | 23 | 0.0010732 | 0.00026897 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_310-4_0_3_load_52 | 24 | 0.00016762 | 4.201e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_310-4_0_3_load_28 | 25 | 0.0003252 | 8.1504e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_310-4_0_3_load_29 | 26 | 0.00082404 | 0.00020652 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_310-4_0_3_load_30 | 27 | 0.0042338 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_310-4_0_3_load_32 | 29 | 0.001421 | 0.00035615 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_310-4_0_3_load_33 | 31 | 0.011706 | 0.0029338 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_310-4_0_3_load_34 | 32 | 0.0032512 | 0.00081484 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_310-4_0_3_load_36 | 34 | 0.00085982 | 0.00021549 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_310-4_0_3_load_37 | 35 | 0.00095234 | 0.00023868 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_310-4_0_3_load_40 | 38 | 0.00039244 | 9.8354e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_310-4_0_3_load_41 | 39 | 0.00032064 | 8.0359e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_310-4_0_3_load_56 | 41 | 0.0013521 | 0.00033886 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_310-4_0_3_load_50 | 42 | 0.00012797 | 3.2072e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_310-4_0_3_load_46 | 43 | 0.00043613 | 0.0001093 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_310-4_0_3_load_47 | 44 | 0.00040345 | 0.00010111 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_310-4_0_3_load_48 | 45 | 0.00036322 | 9.1031e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_310-4_0_3_load_49 | 46 | 0.0002126 | 5.3283e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_310-4_0_3_load_51 | 47 | 0.00039821 | 9.98e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_310-4_0_3_load_78 | 48 | 0.0053589 | 0.0013431 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_310-4_0_3_load_54 | 49 | 0.0013293 | 0.00033315 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_310-4_0_3_load_57 | 50 | 0.0012088 | 0.00030295 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_310-4_0_3_load_58 | 51 | 0.00037944 | 9.5098e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_310-4_0_3_load_59 | 52 | 0.0002611 | 6.5438e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_310-4_0_3_load_259 | 54 | 0.00058232 | 0.00014594 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_310-4_0_3_load_61 | 55 | 0.0021352 | 0.00053513 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_310-4_0_3_load_62 | 56 | 0.0010466 | 0.0002623 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_310-4_0_3_load_63 | 57 | 0.0010925 | 0.00027381 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_310-4_0_3_load_64 | 58 | 0.0021249 | 0.00053256 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_310-4_0_3_load_71 | 60 | 0.0044337 | 0.0011112 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_310-4_0_3_load_72 | 62 | 0.0022863 | 0.00057299 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_310-4_0_3_load_66 | 63 | 0.0014402 | 0.00036094 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_310-4_0_3_load_68 | 65 | 0.00084018 | 0.00021057 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_310-4_0_3_load_69 | 66 | 0.0010383 | 0.00026022 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_310-4_0_3_load_70 | 67 | 0.00015954 | 3.9984e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_310-4_0_3_load_93 | 68 | 0.004769 | 0.0011952 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_310-4_0_3_load_75 | 71 | 0.0043081 | 0.0010797 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_310-4_0_3_load_273 | 72 | 0.0015972 | 0.00040029 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_310-4_0_3_load_79 | 73 | 0.0021771 | 0.00054564 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_310-4_0_3_load_84 | 74 | 0.0020627 | 0.00051697 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_310-4_0_3_load_77 | 75 | 0.0020305 | 0.0005089 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_310-4_0_3_load_80 | 76 | 0.00095284 | 0.0002388 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_310-4_0_3_load_81 | 77 | 0.0023592 | 0.00059126 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_310-4_0_3_load_82 | 78 | 0.001046 | 0.00026215 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_310-4_0_3_load_83 | 79 | 0.0010756 | 0.00026958 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_310-4_0_3_load_85 | 80 | 0.00014924 | 3.7403e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_310-4_0_3_load_89 | 83 | 0.00042837 | 0.00010736 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_310-4_0_3_load_91 | 84 | 0.0014633 | 0.00036673 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_310-4_0_3_load_90 | 85 | 0.00045125 | 0.00011309 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_310-4_0_3_load_260 | 86 | 0.00038182 | 9.5693e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_310-4_0_3_load_261 | 87 | 0.0014115 | 0.00035375 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_310-4_0_3_load_262 | 88 | 0.00030889 | 7.7415e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_310-4_0_3_load_263 | 89 | 0.0016129 | 0.00040424 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_310-4_0_3_load_264 | 90 | 0.00090214 | 0.0002261 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_310-4_0_3_load_267 | 92 | 0.036718 | 0.0092024 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_310-4_0_3_line_0 |  | 0 | 1 | 0.021232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_310-4_0_3_line_1 |  | 0 | 2 | 0.052932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_310-4_0_3_line_2 |  | 1 | 3 | 0.055304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_310-4_0_3_line_3 |  | 2 | 4 | 0.025674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_310-4_0_3_line_4 |  | 3 | 5 | 0.031338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_310-4_0_3_line_5 |  | 3 | 6 | 0.087257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_310-4_0_3_line_6 |  | 5 | 7 | 0.028209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_310-4_0_3_line_7 |  | 6 | 11 | 0.025619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_310-4_0_3_line_8 |  | 7 | 8 | 0.033387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_310-4_0_3_line_9 |  | 8 | 9 | 0.016333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_310-4_0_3_line_10 |  | 9 | 10 | 0.021577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_310-4_0_3_line_11 |  | 10 | 91 | 0.076845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_310-4_0_3_line_12 |  | 11 | 60 | 0.015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_310-4_0_3_line_13 |  | 12 | 13 | 0.008109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_310-4_0_3_line_14 |  | 12 | 14 | 0.0069225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_310-4_0_3_line_15 |  | 13 | 15 | 0.020174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_310-4_0_3_line_16 |  | 14 | 16 | 0.026279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_310-4_0_3_line_17 |  | 14 | 17 | 0.0152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_310-4_0_3_line_18 |  | 15 | 18 | 0.017726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_310-4_0_3_line_19 |  | 17 | 19 | 0.030786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_310-4_0_3_line_20 |  | 18 | 25 | 0.016815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_310-4_0_3_line_21 |  | 19 | 20 | 0.009351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_310-4_0_3_line_22 |  | 19 | 21 | 0.024743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_310-4_0_3_line_23 |  | 20 | 22 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_310-4_0_3_line_24 |  | 20 | 23 | 0.018234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_310-4_0_3_line_25 |  | 21 | 24 | 0.0088951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_310-4_0_3_line_26 |  | 23 | 38 | 0.031035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_310-4_0_3_line_27 |  | 24 | 30 | 0.016762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_310-4_0_3_line_28 |  | 26 | 27 | 0.0086376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_310-4_0_3_line_29 |  | 26 | 28 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_310-4_0_3_line_30 |  | 28 | 29 | 0.015429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_310-4_0_3_line_31 |  | 29 | 30 | 0.01946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_310-4_0_3_line_32 |  | 30 | 37 | 0.02997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_310-4_0_3_line_33 |  | 31 | 32 | 0.030951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_310-4_0_3_line_34 |  | 31 | 33 | 0.025004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_310-4_0_3_line_35 |  | 32 | 34 | 0.029218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_310-4_0_3_line_36 |  | 33 | 35 | 0.084886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_310-4_0_3_line_37 |  | 34 | 36 | 0.056987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_310-4_0_3_line_38 |  | 35 | 37 | 0.0031363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_310-4_0_3_line_39 |  | 36 | 41 | 0.0089907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_310-4_0_3_line_40 |  | 36 | 42 | 0.021187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_310-4_0_3_line_41 |  | 37 | 49 | 0.022355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_310-4_0_3_line_42 |  | 38 | 39 | 0.034586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_310-4_0_3_line_43 |  | 39 | 40 | 0.015284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_310-4_0_3_line_44 |  | 40 | 54 | 0.018872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_310-4_0_3_line_45 |  | 41 | 50 | 0.013014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_310-4_0_3_line_46 |  | 42 | 45 | 0.0074793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_310-4_0_3_line_47 |  | 43 | 44 | 0.018605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_310-4_0_3_line_48 |  | 43 | 45 | 0.011606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_310-4_0_3_line_49 |  | 44 | 46 | 0.0010244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_310-4_0_3_line_50 |  | 46 | 47 | 0.019112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_310-4_0_3_line_51 |  | 47 | 48 | 0.014095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_310-4_0_3_line_52 |  | 48 | 75 | 0.03133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_310-4_0_3_line_53 |  | 50 | 51 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_310-4_0_3_line_54 |  | 51 | 52 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_310-4_0_3_line_55 |  | 52 | 53 | 0.020571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_310-4_0_3_line_56 |  | 53 | 66 | 0.025715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_310-4_0_3_line_57 |  | 53 | 80 | 0.011703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_310-4_0_3_line_58 |  | 54 | 86 | 0.016159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_310-4_0_3_line_59 |  | 55 | 56 | 0.000976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_310-4_0_3_line_60 |  | 55 | 57 | 0.025401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_310-4_0_3_line_61 |  | 56 | 58 | 0.00028093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_310-4_0_3_line_62 |  | 57 | 59 | 0.0072494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_310-4_0_3_line_63 |  | 58 | 60 | 0.032614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_310-4_0_3_line_64 |  | 59 | 61 | 0.011315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_310-4_0_3_line_65 |  | 59 | 62 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_310-4_0_3_line_66 |  | 61 | 73 | 0.035074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_310-4_0_3_line_67 |  | 61 | 74 | 0.014286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_310-4_0_3_line_68 |  | 62 | 69 | 0.03643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_310-4_0_3_line_69 |  | 63 | 64 | 0.023166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_310-4_0_3_line_70 |  | 63 | 65 | 0.0016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_310-4_0_3_line_71 |  | 64 | 66 | 0.0058483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_310-4_0_3_line_72 |  | 64 | 67 | 0.015911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_310-4_0_3_line_73 |  | 67 | 68 | 0.016582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_310-4_0_3_line_74 |  | 69 | 70 | 0.028826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_310-4_0_3_line_75 |  | 69 | 71 | 0.014445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_310-4_0_3_line_76 |  | 70 | 72 | 0.040853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_310-4_0_3_line_77 |  | 73 | 75 | 0.014747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_310-4_0_3_line_78 |  | 74 | 79 | 0.017514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_310-4_0_3_line_79 |  | 76 | 77 | 0.0093748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_310-4_0_3_line_80 |  | 76 | 78 | 0.0098158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_310-4_0_3_line_81 |  | 78 | 79 | 0.0035554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_310-4_0_3_line_82 |  | 80 | 81 | 0.0057653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_310-4_0_3_line_83 |  | 81 | 82 | 0.033232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_310-4_0_3_line_84 |  | 81 | 83 | 0.034319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_310-4_0_3_line_85 |  | 82 | 84 | 0.016442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_310-4_0_3_line_86 |  | 82 | 85 | 0.026826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_310-4_0_3_line_87 |  | 86 | 87 | 0.0068564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_310-4_0_3_line_88 |  | 87 | 88 | 0.0134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_310-4_0_3_line_89 |  | 88 | 89 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_310-4_0_3_line_90 |  | 89 | 90 | 0.0049998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_310-4_0_3_line_91 |  | 91 | 92 | 0.020361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_310-4_0_3_trafo_1 | 0.63 MVA 20/0.4 kV | 93 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2597289.6137 | 1212473.2313 | 2597288.8626 | 1212452.0127
1 | 2597252.874 | 1212436.5837 | 2597288.2434 | 1212434.5215 | 2597288.8626 | 1212452.0127
2 | 2597234.3795 | 1212476.0145 | 2597254.9584 | 1212474.9708 | 2597289.6137 | 1212473.2313
3 | 2597252.874 | 1212436.5837 | 2597232.7452 | 1212420.646
4 | 2597234.3795 | 1212476.0145 | 2597212.4949 | 1212453.5836
5 | 2597228.9179 | 1212540.5754 | 2597212.6687 | 1212477.1033 | 2597234.3795 | 1212476.0145
6 | 2597195.1526 | 1212446.2124 | 2597198.2774 | 1212439.0112 | 2597212.4949 | 1212453.5836
7 | 2597228.9179 | 1212540.5754 | 2597238.0654 | 1212564.5057
8 | 2597188.1624 | 1212478.249 | 2597187.4744 | 1212469.4889 | 2597190.5525 | 1212456.8137 | 2597195.1526 | 1212446.2124
9 | 2597188.1624 | 1212478.249 | 2597171.8474 | 1212479.0138
10 | 2597150.2938 | 1212480.024 | 2597171.8474 | 1212479.0138
11 | 2597150.2938 | 1212480.024 | 2597151.0703 | 1212467.9614 | 2597167.8133 | 1212405.4072
12 | 2597243.4384 | 1212578.5618 | 2597238.0654 | 1212564.5057
13 | 2597574.9593 | 1212452.3657 | 2597566.989 | 1212453.8593
14 | 2597560.185 | 1212455.1344 | 2597566.989 | 1212453.8593
15 | 2597574.9593 | 1212452.3657 | 2597594.7883 | 1212448.6499
16 | 2597560.185 | 1212455.1344 | 2597557.3465 | 1212443.4068 | 2597557.1202 | 1212429.199
17 | 2597560.185 | 1212455.1344 | 2597545.3611 | 1212458.4928
18 | 2597612.2109 | 1212445.385 | 2597594.7883 | 1212448.6499
19 | 2597514.9956 | 1212463.2581 | 2597524.6279 | 1212462.4647 | 2597535.3082 | 1212460.7703 | 2597545.3611 | 1212458.4928
20 | 2597612.2109 | 1212445.385 | 2597613.7811 | 1212428.6438
21 | 2597505.6214 | 1212463.5512 | 2597514.9956 | 1212463.2581
22 | 2597514.9956 | 1212463.2581 | 2597511.2793 | 1212477.2119 | 2597507.6094 | 1212486.8394
23 | 2597505.6214 | 1212463.5512 | 2597488.1666 | 1212464.0926
24 | 2597505.6214 | 1212463.5512 | 2597505.3373 | 1212445.3195
25 | 2597504.4411 | 1212495.1511 | 2597507.6094 | 1212486.8394
26 | 2597505.3373 | 1212445.3195 | 2597505.0355 | 1212425.9527 | 2597505.8852 | 1212414.3182
27 | 2597498.4706 | 1212510.814 | 2597504.4411 | 1212495.1511
28 | 2597558.5863 | 1212519.2153 | 2597549.951 | 1212519.022
29 | 2597532.5068 | 1212518.4815 | 2597534.7023 | 1212518.6806 | 2597549.951 | 1212519.022
30 | 2597532.5068 | 1212518.4815 | 2597517.4551 | 1212515.0907
31 | 2597498.4706 | 1212510.814 | 2597517.4551 | 1212515.0907
32 | 2597498.4706 | 1212510.814 | 2597486.8445 | 1212538.4456
33 | 2597442.0145 | 1212642.195 | 2597430.2694 | 1212670.8312
34 | 2597451.5026 | 1212619.0616 | 2597442.0145 | 1212642.195
35 | 2597430.2694 | 1212670.8312 | 2597428.7225 | 1212674.6027 | 2597423.1479 | 1212699.119
36 | 2597451.5026 | 1212619.0616 | 2597485.5853 | 1212541.3179
37 | 2597416.4903 | 1212755.3866 | 2597419.0846 | 1212747.2475 | 2597421.2973 | 1212734.9841 | 2597422.2175 | 1212703.2104 | 2597423.1479 | 1212699.119
38 | 2597486.8445 | 1212538.4456 | 2597485.5853 | 1212541.3179
39 | 2597416.4903 | 1212755.3866 | 2597422.8604 | 1212761.7312
40 | 2597416.4903 | 1212755.3866 | 2597397.0739 | 1212746.907
41 | 2597486.8445 | 1212538.4456 | 2597508.0123 | 1212545.6336
42 | 2597508.0337 | 1212379.8057 | 2597507.792 | 1212388.2082 | 2597505.8852 | 1212414.3182
43 | 2597508.4731 | 1212364.5281 | 2597508.0337 | 1212379.8057
44 | 2597508.4731 | 1212364.5281 | 2597527.2284 | 1212362.4309
45 | 2597432.0813 | 1212770.9153 | 2597422.8604 | 1212761.7312
46 | 2597397.0739 | 1212746.907 | 2597390.2197 | 1212743.9136
47 | 2597379.5837 | 1212739.2686 | 2597376.8448 | 1212738.0725 | 2597365.6279 | 1212727.2071
48 | 2597379.5837 | 1212739.2686 | 2597390.2197 | 1212743.9136
49 | 2597364.8921 | 1212726.4944 | 2597365.6279 | 1212727.2071
50 | 2597364.8921 | 1212726.4944 | 2597360.5207 | 1212722.2599 | 2597352.0015 | 1212712.4067
51 | 2597352.0015 | 1212712.4067 | 2597342.7825 | 1212701.7442
52 | 2597322.2916 | 1212678.0448 | 2597342.7825 | 1212701.7442
53 | 2597432.0813 | 1212770.9153 | 2597436.0595 | 1212774.8776 | 2597440.4988 | 1212779.006
54 | 2597440.4988 | 1212779.006 | 2597450.924 | 1212788.701 | 2597452.759 | 1212790.1661
55 | 2597468.8347 | 1212803.0012 | 2597452.759 | 1212790.1661
56 | 2597468.8347 | 1212803.0012 | 2597471.127 | 1212816.341 | 2597469.6799 | 1212828.4339
57 | 2597468.8347 | 1212803.0012 | 2597480.5346 | 1212802.7279
58 | 2597527.2284 | 1212362.4309 | 2597543.2878 | 1212360.6353
59 | 2597260.6868 | 1212607.321 | 2597260.0934 | 1212606.5462
60 | 2597260.6868 | 1212607.321 | 2597261.8434 | 1212608.8312 | 2597277.4742 | 1212626.377
61 | 2597260.0934 | 1212606.5462 | 2597259.9225 | 1212606.3232
62 | 2597282.2964 | 1212631.79 | 2597277.4742 | 1212626.377
63 | 2597259.9225 | 1212606.3232 | 2597248.1992 | 1212591.0166 | 2597243.4384 | 1212578.5618
64 | 2597282.2964 | 1212631.79 | 2597289.707 | 1212640.3579
65 | 2597282.2964 | 1212631.79 | 2597278.4592 | 1212643.3227
66 | 2597289.707 | 1212640.3579 | 2597312.6466 | 1212666.8895
67 | 2597289.707 | 1212640.3579 | 2597297.3517 | 1212628.2891
68 | 2597266.958 | 1212677.8896 | 2597278.4592 | 1212643.3227
69 | 2597468.9851 | 1212834.2408 | 2597489.7622 | 1212844.4868
70 | 2597491.2164 | 1212845.2039 | 2597489.7622 | 1212844.4868
71 | 2597468.9851 | 1212834.2408 | 2597469.6799 | 1212828.4339
72 | 2597468.9851 | 1212834.2408 | 2597465.5646 | 1212849.7794
73 | 2597465.5646 | 1212849.7794 | 2597461.9998 | 1212865.974
74 | 2597266.958 | 1212677.8896 | 2597258.8505 | 1212705.5533
75 | 2597266.958 | 1212677.8896 | 2597274.1884 | 1212690.3943
76 | 2597291.942 | 1212708.973 | 2597285.6333 | 1212717.3028 | 2597280.7418 | 1212718.5169 | 2597258.8505 | 1212705.5533
77 | 2597312.6466 | 1212666.8895 | 2597322.2916 | 1212678.0448
78 | 2597298.1231 | 1212612.8999 | 2597301.1208 | 1212616.039 | 2597301.2138 | 1212620.0635 | 2597299.5828 | 1212624.7669 | 2597297.3517 | 1212628.2891
79 | 2597293.3775 | 1212592.1748 | 2597292.806 | 1212601.5321
80 | 2597295.6848 | 1212610.3128 | 2597293.0492 | 1212607.3157 | 2597292.615 | 1212604.6589 | 2597292.806 | 1212601.5321
81 | 2597298.1231 | 1212612.8999 | 2597296.059 | 1212610.7384 | 2597295.6848 | 1212610.3128
82 | 2597486.2983 | 1212802.5933 | 2597480.5346 | 1212802.7279
83 | 2597486.2983 | 1212802.5933 | 2597489.7593 | 1212795.8992 | 2597503.001 | 1212781.4632 | 2597508.089 | 1212778.0146
84 | 2597518.7089 | 1212814.1191 | 2597502.2075 | 1212808.6343 | 2597486.2983 | 1212802.5933
85 | 2597524.187 | 1212781.254 | 2597514.812 | 1212778.6232 | 2597508.089 | 1212778.0146
86 | 2597508.089 | 1212778.0146 | 2597515.0126 | 1212768.0616 | 2597524.7919 | 1212757.0847
87 | 2597550.1017 | 1212359.8734 | 2597543.2878 | 1212360.6353
88 | 2597550.1017 | 1212359.8734 | 2597563.419 | 1212358.3843
89 | 2597577.0636 | 1212356.8587 | 2597563.419 | 1212358.3843
90 | 2597577.0636 | 1212356.8587 | 2597582.0324 | 1212356.3031
91 | 2597167.8133 | 1212405.4072 | 2597187.1258 | 1212411.8575

## bus_geodata
| x | y | coords
0 | 2597288.8626 | 1212452.0127
1 | 2597289.6137 | 1212473.2313
2 | 2597252.874 | 1212436.5837
3 | 2597234.3795 | 1212476.0145
4 | 2597232.7452 | 1212420.646
5 | 2597212.4949 | 1212453.5836
6 | 2597228.9179 | 1212540.5754
7 | 2597195.1526 | 1212446.2124
8 | 2597188.1624 | 1212478.249
9 | 2597171.8474 | 1212479.0138
10 | 2597150.2938 | 1212480.024
11 | 2597238.0654 | 1212564.5057
12 | 2597566.989 | 1212453.8593
13 | 2597574.9593 | 1212452.3657
14 | 2597560.185 | 1212455.1344
15 | 2597594.7883 | 1212448.6499
16 | 2597557.1202 | 1212429.199
17 | 2597545.3611 | 1212458.4928
18 | 2597612.2109 | 1212445.385
19 | 2597514.9956 | 1212463.2581
20 | 2597505.6214 | 1212463.5512
21 | 2597507.6094 | 1212486.8394
22 | 2597488.1666 | 1212464.0926
23 | 2597505.3373 | 1212445.3195
24 | 2597504.4411 | 1212495.1511
25 | 2597613.7811 | 1212428.6438
26 | 2597549.951 | 1212519.022
27 | 2597558.5863 | 1212519.2153
28 | 2597532.5068 | 1212518.4815
29 | 2597517.4551 | 1212515.0907
30 | 2597498.4706 | 1212510.814
31 | 2597442.0145 | 1212642.195
32 | 2597430.2694 | 1212670.8312
33 | 2597451.5026 | 1212619.0616
34 | 2597423.1479 | 1212699.119
35 | 2597485.5853 | 1212541.3179
36 | 2597416.4903 | 1212755.3866
37 | 2597486.8445 | 1212538.4456
38 | 2597505.8852 | 1212414.3182
39 | 2597508.0337 | 1212379.8057
40 | 2597508.4731 | 1212364.5281
41 | 2597422.8604 | 1212761.7312
42 | 2597397.0739 | 1212746.907
43 | 2597379.5837 | 1212739.2686
44 | 2597365.6279 | 1212727.2071
45 | 2597390.2197 | 1212743.9136
46 | 2597364.8921 | 1212726.4944
47 | 2597352.0015 | 1212712.4067
48 | 2597342.7825 | 1212701.7442
49 | 2597508.0123 | 1212545.6336
50 | 2597432.0813 | 1212770.9153
51 | 2597440.4988 | 1212779.006
52 | 2597452.759 | 1212790.1661
53 | 2597468.8347 | 1212803.0012
54 | 2597527.2284 | 1212362.4309
55 | 2597260.6868 | 1212607.321
56 | 2597260.0934 | 1212606.5462
57 | 2597277.4742 | 1212626.377
58 | 2597259.9225 | 1212606.3231
59 | 2597282.2964 | 1212631.79
60 | 2597243.4384 | 1212578.5618
61 | 2597289.707 | 1212640.3579
62 | 2597278.4592 | 1212643.3227
63 | 2597489.7622 | 1212844.4868
64 | 2597468.9851 | 1212834.2408
65 | 2597491.2164 | 1212845.2039
66 | 2597469.6799 | 1212828.4339
67 | 2597465.5646 | 1212849.7794
68 | 2597461.9998 | 1212865.974
69 | 2597266.958 | 1212677.8896
70 | 2597258.8505 | 1212705.5533
71 | 2597274.1884 | 1212690.3943
72 | 2597291.942 | 1212708.973
73 | 2597312.6466 | 1212666.8895
74 | 2597297.3517 | 1212628.2891
75 | 2597322.2916 | 1212678.0448
76 | 2597292.806 | 1212601.5321
77 | 2597293.3775 | 1212592.1748
78 | 2597295.6848 | 1212610.3128
79 | 2597298.1231 | 1212612.8999
80 | 2597480.5346 | 1212802.7279
81 | 2597486.2983 | 1212802.5933
82 | 2597508.089 | 1212778.0146
83 | 2597518.7089 | 1212814.1191
84 | 2597524.187 | 1212781.254
85 | 2597524.7919 | 1212757.0847
86 | 2597543.2878 | 1212360.6353
87 | 2597550.1017 | 1212359.8734
88 | 2597563.419 | 1212358.3843
89 | 2597577.0636 | 1212356.8587
90 | 2597582.0324 | 1212356.3031
91 | 2597167.8133 | 1212405.4072
92 | 2597187.1258 | 1212411.8575
93 | 2597254.9584 | 1212474.9708

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1