## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_310-4_2_4_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_310-4_2_4_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_310-4_2_4_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_310-4_2_4_node_17 | 0.4 | n |  | TRUE
4 | bus_LV_310-4_2_4_node_156 | 0.4 | n |  | TRUE
5 | bus_LV_310-4_2_4_node_157 | 0.4 | n |  | TRUE
6 | bus_LV_310-4_2_4_node_158 | 0.4 | n |  | TRUE
7 | bus_LV_310-4_2_4_node_113 | 0.4 | n |  | TRUE
8 | bus_LV_310-4_2_4_node_145 | 0.4 | n |  | TRUE
9 | bus_LV_310-4_2_4_node_147 | 0.4 | n |  | TRUE
10 | bus_LV_310-4_2_4_node_120 | 0.4 | n |  | TRUE
11 | bus_LV_310-4_2_4_node_144 | 0.4 | n |  | TRUE
12 | bus_LV_310-4_2_4_node_114 | 0.4 | n |  | TRUE
13 | bus_LV_310-4_2_4_node_115 | 0.4 | n |  | TRUE
14 | bus_LV_310-4_2_4_node_121 | 0.4 | n |  | TRUE
15 | bus_LV_310-4_2_4_node_119 | 0.4 | n |  | TRUE
16 | bus_LV_310-4_2_4_node_214 | 0.4 | n |  | TRUE
17 | bus_LV_310-4_2_4_node_212 | 0.4 | n |  | TRUE
18 | bus_LV_310-4_2_4_node_122 | 0.4 | n |  | TRUE
19 | bus_LV_310-4_2_4_node_123 | 0.4 | n |  | TRUE
20 | bus_LV_310-4_2_4_node_116 | 0.4 | n |  | TRUE
21 | bus_LV_310-4_2_4_node_117 | 0.4 | n |  | TRUE
22 | bus_LV_310-4_2_4_node_118 | 0.4 | n |  | TRUE
23 | bus_LV_310-4_2_4_node_124 | 0.4 | n |  | TRUE
24 | bus_LV_310-4_2_4_node_125 | 0.4 | n |  | TRUE
25 | bus_LV_310-4_2_4_node_126 | 0.4 | n |  | TRUE
26 | bus_LV_310-4_2_4_node_127 | 0.4 | n |  | TRUE
27 | bus_LV_310-4_2_4_node_128 | 0.4 | n |  | TRUE
28 | bus_LV_310-4_2_4_node_136 | 0.4 | n |  | TRUE
29 | bus_LV_310-4_2_4_node_132 | 0.4 | n |  | TRUE
30 | bus_LV_310-4_2_4_node_130 | 0.4 | n |  | TRUE
31 | bus_LV_310-4_2_4_node_131 | 0.4 | n |  | TRUE
32 | bus_LV_310-4_2_4_node_133 | 0.4 | n |  | TRUE
33 | bus_LV_310-4_2_4_node_160 | 0.4 | n |  | TRUE
34 | bus_LV_310-4_2_4_node_195 | 0.4 | n |  | TRUE
35 | bus_LV_310-4_2_4_node_272 | 0.4 | n |  | TRUE
36 | bus_LV_310-4_2_4_node_129 | 0.4 | n |  | TRUE
37 | bus_LV_310-4_2_4_node_134 | 0.4 | n |  | TRUE
38 | bus_LV_310-4_2_4_node_164 | 0.4 | n |  | TRUE
39 | bus_LV_310-4_2_4_node_194 | 0.4 | n |  | TRUE
40 | bus_LV_310-4_2_4_node_135 | 0.4 | n |  | TRUE
41 | bus_LV_310-4_2_4_node_138 | 0.4 | n |  | TRUE
42 | bus_LV_310-4_2_4_node_137 | 0.4 | n |  | TRUE
43 | bus_LV_310-4_2_4_node_178 | 0.4 | n |  | TRUE
44 | bus_LV_310-4_2_4_node_155 | 0.4 | n |  | TRUE
45 | bus_LV_310-4_2_4_node_170 | 0.4 | n |  | TRUE
46 | bus_LV_310-4_2_4_node_142 | 0.4 | n |  | TRUE
47 | bus_LV_310-4_2_4_node_139 | 0.4 | n |  | TRUE
48 | bus_LV_310-4_2_4_node_140 | 0.4 | n |  | TRUE
49 | bus_LV_310-4_2_4_node_154 | 0.4 | n |  | TRUE
50 | bus_LV_310-4_2_4_node_175 | 0.4 | n |  | TRUE
51 | bus_LV_310-4_2_4_node_143 | 0.4 | n |  | TRUE
52 | bus_LV_310-4_2_4_node_148 | 0.4 | n |  | TRUE
53 | bus_LV_310-4_2_4_node_146 | 0.4 | n |  | TRUE
54 | bus_LV_310-4_2_4_node_185 | 0.4 | n |  | TRUE
55 | bus_LV_310-4_2_4_node_183 | 0.4 | n |  | TRUE
56 | bus_LV_310-4_2_4_node_191 | 0.4 | n |  | TRUE
57 | bus_LV_310-4_2_4_node_199 | 0.4 | n |  | TRUE
58 | bus_LV_310-4_2_4_node_184 | 0.4 | n |  | TRUE
59 | bus_LV_310-4_2_4_node_149 | 0.4 | n |  | TRUE
60 | bus_LV_310-4_2_4_node_150 | 0.4 | n |  | TRUE
61 | bus_LV_310-4_2_4_node_151 | 0.4 | n |  | TRUE
62 | bus_LV_310-4_2_4_node_152 | 0.4 | n |  | TRUE
63 | bus_LV_310-4_2_4_node_153 | 0.4 | n |  | TRUE
64 | bus_LV_310-4_2_4_node_180 | 0.4 | n |  | TRUE
65 | bus_LV_310-4_2_4_node_198 | 0.4 | n |  | TRUE
66 | bus_LV_310-4_2_4_node_171 | 0.4 | n |  | TRUE
67 | bus_LV_310-4_2_4_node_196 | 0.4 | n |  | TRUE
68 | bus_LV_310-4_2_4_node_179 | 0.4 | n |  | TRUE
69 | bus_LV_310-4_2_4_node_173 | 0.4 | n |  | TRUE
70 | bus_LV_310-4_2_4_node_159 | 0.4 | n |  | TRUE
71 | bus_LV_310-4_2_4_node_165 | 0.4 | n |  | TRUE
72 | bus_LV_310-4_2_4_node_166 | 0.4 | n |  | TRUE
73 | bus_LV_310-4_2_4_node_181 | 0.4 | n |  | TRUE
74 | bus_LV_310-4_2_4_node_200 | 0.4 | n |  | TRUE
75 | bus_LV_310-4_2_4_node_161 | 0.4 | n |  | TRUE
76 | bus_LV_310-4_2_4_node_162 | 0.4 | n |  | TRUE
77 | bus_LV_310-4_2_4_node_163 | 0.4 | n |  | TRUE
78 | bus_LV_310-4_2_4_node_192 | 0.4 | n |  | TRUE
79 | bus_LV_310-4_2_4_node_193 | 0.4 | n |  | TRUE
80 | bus_LV_310-4_2_4_node_182 | 0.4 | n |  | TRUE
81 | bus_LV_310-4_2_4_node_177 | 0.4 | n |  | TRUE
82 | bus_LV_310-4_2_4_node_167 | 0.4 | n |  | TRUE
83 | bus_LV_310-4_2_4_node_168 | 0.4 | n |  | TRUE
84 | bus_LV_310-4_2_4_node_169 | 0.4 | n |  | TRUE
85 | bus_LV_310-4_2_4_node_172 | 0.4 | n |  | TRUE
86 | bus_LV_310-4_2_4_node_174 | 0.4 | n |  | TRUE
87 | bus_LV_310-4_2_4_node_176 | 0.4 | n |  | TRUE
88 | bus_LV_310-4_2_4_node_197 | 0.4 | n |  | TRUE
89 | bus_LV_310-4_2_4_node_186 | 0.4 | n |  | TRUE
90 | bus_LV_310-4_2_4_node_188 | 0.4 | n |  | TRUE
91 | bus_LV_310-4_2_4_node_189 | 0.4 | n |  | TRUE
92 | bus_LV_310-4_2_4_node_187 | 0.4 | n |  | TRUE
93 | bus_LV_310-4_2_4_node_206 | 0.4 | n |  | TRUE
94 | bus_LV_310-4_2_4_node_201 | 0.4 | n |  | TRUE
95 | bus_LV_310-4_2_4_node_202 | 0.4 | n |  | TRUE
96 | bus_LV_310-4_2_4_node_203 | 0.4 | n |  | TRUE
97 | bus_LV_310-4_2_4_node_204 | 0.4 | n |  | TRUE
98 | bus_LV_310-4_2_4_node_205 | 0.4 | n |  | TRUE
99 | bus_LV_310-4_2_4_node_228 | 0.4 | n |  | TRUE
100 | bus_LV_310-4_2_4_node_218 | 0.4 | n |  | TRUE
101 | bus_LV_310-4_2_4_node_216 | 0.4 | n |  | TRUE
102 | bus_LV_310-4_2_4_node_207 | 0.4 | n |  | TRUE
103 | bus_LV_310-4_2_4_node_208 | 0.4 | n |  | TRUE
104 | bus_LV_310-4_2_4_node_210 | 0.4 | n |  | TRUE
105 | bus_LV_310-4_2_4_node_219 | 0.4 | n |  | TRUE
106 | bus_LV_310-4_2_4_node_211 | 0.4 | n |  | TRUE
107 | bus_LV_310-4_2_4_node_213 | 0.4 | n |  | TRUE
108 | bus_LV_310-4_2_4_node_215 | 0.4 | n |  | TRUE
109 | bus_LV_310-4_2_4_node_226 | 0.4 | n |  | TRUE
110 | bus_LV_310-4_2_4_node_224 | 0.4 | n |  | TRUE
111 | bus_LV_310-4_2_4_node_217 | 0.4 | n |  | TRUE
112 | bus_LV_310-4_2_4_node_220 | 0.4 | n |  | TRUE
113 | bus_LV_310-4_2_4_node_222 | 0.4 | n |  | TRUE
114 | bus_LV_310-4_2_4_node_221 | 0.4 | n |  | TRUE
115 | bus_LV_310-4_2_4_node_223 | 0.4 | n |  | TRUE
116 | bus_LV_310-4_2_4_node_230 | 0.4 | n |  | TRUE
117 | bus_LV_310-4_2_4_node_225 | 0.4 | n |  | TRUE
118 | bus_LV_310-4_2_4_node_227 | 0.4 | n |  | TRUE
119 | bus_LV_310-4_2_4_node_234 | 0.4 | n |  | TRUE
120 | bus_LV_310-4_2_4_node_231 | 0.4 | n |  | TRUE
121 | bus_LV_310-4_2_4_node_232 | 0.4 | n |  | TRUE
122 | bus_LV_310-4_2_4_node_233 | 0.4 | n |  | TRUE
123 | bus_LV_310-4_2_4_node_270 | 0.4 | n |  | TRUE
124 | bus_LV_310-4_2_4_node_235 | 0.4 | n |  | TRUE
125 | bus_LV_310-4_2_4_node_237 | 0.4 | n |  | TRUE
126 | bus_LV_310-4_2_4_node_236 | 0.4 | n |  | TRUE
127 | bus_LV_310-4_2_4_node_238 | 0.4 | n |  | TRUE
128 | bus_LV_310-4_2_4_node_239 | 0.4 | n |  | TRUE
129 | bus_LV_310-4_2_4_node_240 | 0.4 | n |  | TRUE
130 | bus_LV_310-4_2_4_node_241 | 0.4 | n |  | TRUE
131 | bus_LV_310-4_2_4_node_250 | 0.4 | n |  | TRUE
132 | bus_LV_310-4_2_4_node_242 | 0.4 | n |  | TRUE
133 | bus_LV_310-4_2_4_node_243 | 0.4 | n |  | TRUE
134 | bus_LV_310-4_2_4_node_244 | 0.4 | n |  | TRUE
135 | bus_LV_310-4_2_4_node_245 | 0.4 | n |  | TRUE
136 | bus_LV_310-4_2_4_node_247 | 0.4 | n |  | TRUE
137 | bus_LV_310-4_2_4_node_246 | 0.4 | n |  | TRUE
138 | bus_LV_310-4_2_4_node_248 | 0.4 | n |  | TRUE
139 | bus_LV_310-4_2_4_node_249 | 0.4 | n |  | TRUE
140 | bus_LV_310-4_2_4_node_251 | 0.4 | n |  | TRUE
141 | bus_LV_310-4_2_4_node_269 | 0.4 | n |  | TRUE
142 | bus_LV_310-4_2_4_node_252 | 0.4 | n |  | TRUE
143 | bus_LV_310-4_2_4_node_253 | 0.4 | n |  | TRUE
144 | bus_LV_310-4_2_4_node_254 | 0.4 | n |  | TRUE
145 | bus_LV_310-4_2_4_node_255 | 0.4 | n |  | TRUE
146 | bus_LV_310-4_2_4_node_256 | 0.4 | n |  | TRUE
147 | bus_LV_310-4_2_4_node_257 | 0.4 | n |  | TRUE
148 | bus_LV_310-4_2_4_node_258 | 0.4 | n |  | TRUE
149 | bus_LV_310-4_2_4_node_271 | 0.4 | n |  | TRUE
150 | bus_LV_310-4_2_4_node_190 | 0.4 | n |  | TRUE
151 | bus_MV_387_1_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_310-4_2_4_load_13 | 0 | 0.0054364 | 0.0013625 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_310-4_2_4_load_14 | 1 | 0.0012666 | 0.00031743 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_310-4_2_4_load_15 | 2 | 0.00077786 | 0.00019495 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_310-4_2_4_load_17 | 3 | 0.00088824 | 0.00022261 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_310-4_2_4_load_156 | 4 | 0.0019885 | 0.00049837 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_310-4_2_4_load_157 | 5 | 0.0018693 | 0.0004685 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_310-4_2_4_load_158 | 6 | 0.00021071 | 5.2809e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_310-4_2_4_load_113 | 7 | 0.0023356 | 0.00058536 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_310-4_2_4_load_120 | 10 | 0.001221 | 0.000306 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_310-4_2_4_load_144 | 11 | 0.00017127 | 4.2924e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_310-4_2_4_load_115 | 13 | 0.0021845 | 0.00054748 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_310-4_2_4_load_214 | 16 | 0.0052334 | 0.0013116 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_310-4_2_4_load_212 | 17 | 0.00058765 | 0.00014728 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_310-4_2_4_load_122 | 18 | 0.00068066 | 0.00017059 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_310-4_2_4_load_123 | 19 | 0.0011249 | 0.00028192 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_310-4_2_4_load_116 | 20 | 0.00092341 | 0.00023143 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_310-4_2_4_load_117 | 21 | 0.0020002 | 0.0005013 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_310-4_2_4_load_124 | 23 | 0.0012672 | 0.0003176 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_310-4_2_4_load_125 | 24 | 0.00051449 | 0.00012894 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_310-4_2_4_load_127 | 26 | 9.1323e-05 | 2.2888e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_310-4_2_4_load_136 | 28 | 0.00026351 | 6.6042e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_310-4_2_4_load_132 | 29 | 0.00030039 | 7.5286e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_310-4_2_4_load_130 | 30 | 0.00026196 | 6.5653e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_310-4_2_4_load_131 | 31 | 0.00017996 | 4.5101e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_310-4_2_4_load_133 | 32 | 0.00023514 | 5.8931e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_310-4_2_4_load_160 | 33 | 0.00010616 | 2.6606e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_310-4_2_4_load_272 | 35 | 0.00038209 | 9.5761e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_310-4_2_4_load_134 | 37 | 0.00034257 | 8.5857e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_310-4_2_4_load_194 | 39 | 9.8307e-05 | 2.4638e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_310-4_2_4_load_138 | 41 | 0.00024735 | 6.1991e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_310-4_2_4_load_137 | 42 | 0.00077351 | 0.00019386 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_310-4_2_4_load_178 | 43 | 0.00032467 | 8.137e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_310-4_2_4_load_155 | 44 | 0.00025375 | 6.3597e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_310-4_2_4_load_170 | 45 | 0.00045546 | 0.00011415 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_310-4_2_4_load_139 | 47 | 0.00040141 | 0.0001006 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_310-4_2_4_load_140 | 48 | 0.0050896 | 0.0012756 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_310-4_2_4_load_154 | 49 | 0.0019438 | 0.00048715 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_310-4_2_4_load_143 | 51 | 0.00043413 | 0.0001088 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_310-4_2_4_load_146 | 53 | 0.00068398 | 0.00017142 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_310-4_2_4_load_183 | 55 | 0.00056391 | 0.00014133 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_310-4_2_4_load_199 | 57 | 0.00055958 | 0.00014024 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_310-4_2_4_load_149 | 59 | 0.0010474 | 0.0002625 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_310-4_2_4_load_150 | 60 | 0.0014292 | 0.00035819 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_310-4_2_4_load_151 | 61 | 0.00058715 | 0.00014715 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_310-4_2_4_load_152 | 62 | 0.00090745 | 0.00022743 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_310-4_2_4_load_153 | 63 | 0.0007803 | 0.00019556 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_310-4_2_4_load_180 | 64 | 0.0002878 | 7.2129e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_310-4_2_4_load_171 | 66 | 0.00013639 | 3.4183e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_310-4_2_4_load_196 | 67 | 0.0017915 | 0.00044899 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_310-4_2_4_load_179 | 68 | 0.0025477 | 0.00063852 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_310-4_2_4_load_173 | 69 | 0.0021745 | 0.00054498 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_310-4_2_4_load_165 | 71 | 0.0019288 | 0.0004834 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_310-4_2_4_load_200 | 74 | 0.00065605 | 0.00016442 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_310-4_2_4_load_161 | 75 | 0.00021504 | 5.3894e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_310-4_2_4_load_163 | 77 | 0.0010714 | 0.00026851 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_310-4_2_4_load_192 | 78 | 0.00083429 | 0.00020909 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_310-4_2_4_load_193 | 79 | 0.00045303 | 0.00011354 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_310-4_2_4_load_182 | 80 | 0.0019328 | 0.00048441 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_310-4_2_4_load_177 | 81 | 0.0028054 | 0.0007031 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_310-4_2_4_load_167 | 82 | 0.00032081 | 8.0402e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_310-4_2_4_load_168 | 83 | 0.00099786 | 0.00025009 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_310-4_2_4_load_172 | 85 | 0.0019338 | 0.00048465 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_310-4_2_4_load_197 | 88 | 0.0030897 | 0.00077435 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_310-4_2_4_load_188 | 90 | 0.0021114 | 0.00052917 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_310-4_2_4_load_189 | 91 | 0.001918 | 0.0004807 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_310-4_2_4_load_187 | 92 | 0.0052757 | 0.0013222 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_310-4_2_4_load_201 | 94 | 0.0011356 | 0.00028462 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_310-4_2_4_load_202 | 95 | 0.0044078 | 0.0011047 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_310-4_2_4_load_228 | 99 | 0.00069717 | 0.00017473 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_310-4_2_4_load_216 | 101 | 0.00063185 | 0.00015836 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_310-4_2_4_load_207 | 102 | 0.00083974 | 0.00021046 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_310-4_2_4_load_208 | 103 | 0.002984 | 0.00074785 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_310-4_2_4_load_210 | 104 | 0.00074377 | 0.00018641 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_310-4_2_4_load_211 | 106 | 0.00057755 | 0.00014475 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_310-4_2_4_load_213 | 107 | 0.0019293 | 0.00048354 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_310-4_2_4_load_226 | 109 | 0.00045956 | 0.00011518 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_310-4_2_4_load_224 | 110 | 0.00041724 | 0.00010457 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_310-4_2_4_load_220 | 112 | 0.0027125 | 0.0006798 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_310-4_2_4_load_221 | 114 | 0.0007492 | 0.00018777 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_310-4_2_4_load_223 | 115 | 0.00053873 | 0.00013502 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_310-4_2_4_load_230 | 116 | 0.0022039 | 0.00055236 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_310-4_2_4_load_227 | 118 | 0.0087339 | 0.0021889 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_310-4_2_4_load_234 | 119 | 0.0032884 | 0.00082415 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_310-4_2_4_load_233 | 122 | 0.0037483 | 0.0009394 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_310-4_2_4_load_270 | 123 | 0.0003701 | 9.2757e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_310-4_2_4_load_235 | 124 | 0.0024469 | 0.00061324 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_310-4_2_4_load_236 | 126 | 0.00086405 | 0.00021655 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_310-4_2_4_load_239 | 128 | 0.0012713 | 0.00031862 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_310-4_2_4_load_240 | 129 | 0.00039 | 9.7742e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_310-4_2_4_load_241 | 130 | 0.00041124 | 0.00010307 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_310-4_2_4_load_242 | 132 | 0.0041511 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_310-4_2_4_load_245 | 135 | 0.0059934 | 0.0015021 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_310-4_2_4_load_247 | 136 | 0.00034402 | 8.6219e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_310-4_2_4_load_246 | 137 | 0.00091782 | 0.00023003 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_310-4_2_4_load_248 | 138 | 0.0011177 | 0.00028011 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_310-4_2_4_load_249 | 139 | 0.0014938 | 0.00037438 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_310-4_2_4_load_251 | 140 | 0.0016905 | 0.00042368 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_310-4_2_4_load_269 | 141 | 0.0018494 | 0.00046349 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_310-4_2_4_load_252 | 142 | 0.00043903 | 0.00011003 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_310-4_2_4_load_253 | 143 | 0.00066723 | 0.00016722 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_310-4_2_4_load_255 | 145 | 0.0020022 | 0.0005018 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_310-4_2_4_load_256 | 146 | 0.00462 | 0.0011579 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_310-4_2_4_load_258 | 148 | 0.0037107 | 0.00092998 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_310-4_2_4_load_271 | 149 | 0.00062376 | 0.00015633 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_310-4_2_4_load_190 | 150 | 0.0025991 | 0.0006514 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 92 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_310-4_2_4_line_0 |  | 0 | 1 | 0.014857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_310-4_2_4_line_1 |  | 0 | 2 | 0.026087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_310-4_2_4_line_2 |  | 2 | 3 | 0.0071842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_310-4_2_4_line_3 |  | 3 | 7 | 0.0086156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_310-4_2_4_line_4 |  | 4 | 5 | 0.031882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_310-4_2_4_line_5 |  | 4 | 6 | 0.0096446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_310-4_2_4_line_6 |  | 5 | 70 | 0.015202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_310-4_2_4_line_7 |  | 7 | 12 | 0.0082254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_310-4_2_4_line_8 |  | 8 | 9 | 0.055364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_310-4_2_4_line_9 |  | 8 | 10 | 0.30632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_310-4_2_4_line_10 |  | 8 | 11 | 0.021368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_310-4_2_4_line_11 |  | 9 | 52 | 0.037455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_310-4_2_4_line_12 |  | 9 | 53 | 0.016557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_310-4_2_4_line_13 |  | 10 | 14 | 0.037272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_310-4_2_4_line_14 |  | 11 | 51 | 0.015326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_310-4_2_4_line_15 |  | 12 | 13 | 0.022677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_310-4_2_4_line_16 |  | 13 | 18 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_310-4_2_4_line_17 |  | 14 | 15 | 0.046133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_310-4_2_4_line_18 |  | 15 | 19 | 0.022204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_310-4_2_4_line_19 |  | 15 | 22 | 0.046831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_310-4_2_4_line_20 |  | 16 | 17 | 0.029804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_310-4_2_4_line_21 |  | 17 | 106 | 0.071292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_310-4_2_4_line_22 |  | 18 | 19 | 0.021658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_310-4_2_4_line_23 |  | 20 | 21 | 0.072253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_310-4_2_4_line_24 |  | 20 | 22 | 0.015295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_310-4_2_4_line_25 |  | 23 | 24 | 0.03413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_310-4_2_4_line_26 |  | 23 | 25 | 0.024642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_310-4_2_4_line_27 |  | 24 | 26 | 0.0061591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_310-4_2_4_line_28 |  | 25 | 27 | 0.008552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_310-4_2_4_line_29 |  | 26 | 28 | 0.037052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_310-4_2_4_line_30 |  | 26 | 29 | 0.15874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_310-4_2_4_line_31 |  | 27 | 34 | 0.023742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_310-4_2_4_line_32 |  | 27 | 35 | 0.051436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_310-4_2_4_line_33 |  | 28 | 36 | 0.020477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_310-4_2_4_line_34 |  | 29 | 30 | 0.013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_310-4_2_4_line_35 |  | 30 | 31 | 0.0088324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_310-4_2_4_line_36 |  | 31 | 32 | 0.033091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_310-4_2_4_line_37 |  | 32 | 33 | 0.0024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_310-4_2_4_line_38 |  | 34 | 38 | 0.031188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_310-4_2_4_line_39 |  | 34 | 39 | 0.020505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_310-4_2_4_line_40 |  | 36 | 37 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_310-4_2_4_line_41 |  | 37 | 40 | 0.040918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_310-4_2_4_line_42 |  | 38 | 78 | 0.023851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_310-4_2_4_line_43 |  | 38 | 76 | 0.13759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_310-4_2_4_line_44 |  | 40 | 41 | 0.04911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_310-4_2_4_line_45 |  | 41 | 44 | 0.029003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_310-4_2_4_line_46 |  | 42 | 43 | 0.0018794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_310-4_2_4_line_47 |  | 43 | 45 | 0.012767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_310-4_2_4_line_48 |  | 44 | 46 | 0.043442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_310-4_2_4_line_49 |  | 45 | 83 | 0.013412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_310-4_2_4_line_50 |  | 46 | 49 | 0.011353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_310-4_2_4_line_51 |  | 46 | 48 | 0.028539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_310-4_2_4_line_52 |  | 47 | 48 | 0.015743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_310-4_2_4_line_53 |  | 49 | 50 | 0.02456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_310-4_2_4_line_54 |  | 50 | 68 | 0.010325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_310-4_2_4_line_55 |  | 50 | 69 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_310-4_2_4_line_56 |  | 52 | 54 | 0.029131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_310-4_2_4_line_57 |  | 52 | 55 | 0.10046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_310-4_2_4_line_58 |  | 54 | 56 | 0.071682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_310-4_2_4_line_59 |  | 54 | 57 | 0.071138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_310-4_2_4_line_60 |  | 55 | 58 | 0.16289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_310-4_2_4_line_61 |  | 56 | 91 | 0.095448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_310-4_2_4_line_62 |  | 57 | 74 | 0.00091762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_310-4_2_4_line_63 |  | 58 | 89 | 0.080943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_310-4_2_4_line_64 |  | 59 | 60 | 0.030061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_310-4_2_4_line_65 |  | 59 | 61 | 0.0080478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_310-4_2_4_line_66 |  | 60 | 62 | 0.036896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_310-4_2_4_line_67 |  | 61 | 63 | 0.0053321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_310-4_2_4_line_68 |  | 62 | 64 | 0.022974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_310-4_2_4_line_69 |  | 63 | 65 | 0.016556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_310-4_2_4_line_70 |  | 64 | 66 | 0.0099122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_310-4_2_4_line_71 |  | 65 | 67 | 0.017955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_310-4_2_4_line_72 |  | 66 | 84 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_310-4_2_4_line_73 |  | 67 | 87 | 0.021167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_310-4_2_4_line_74 |  | 68 | 87 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_310-4_2_4_line_75 |  | 69 | 85 | 0.00044744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_310-4_2_4_line_76 |  | 70 | 71 | 0.021099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_310-4_2_4_line_77 |  | 70 | 72 | 0.020774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_310-4_2_4_line_78 |  | 72 | 73 | 0.010982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_310-4_2_4_line_79 |  | 72 | 74 | 0.037935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_310-4_2_4_line_80 |  | 73 | 80 | 0.027125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_310-4_2_4_line_81 |  | 73 | 81 | 0.0093951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_310-4_2_4_line_82 |  | 75 | 76 | 0.016766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_310-4_2_4_line_83 |  | 76 | 77 | 0.015619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_310-4_2_4_line_84 |  | 78 | 79 | 0.02467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_310-4_2_4_line_85 |  | 80 | 88 | 0.0037679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_310-4_2_4_line_86 |  | 81 | 86 | 0.025527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_310-4_2_4_line_87 |  | 82 | 83 | 0.034055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_310-4_2_4_line_88 |  | 82 | 84 | 0.022654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_310-4_2_4_line_89 |  | 85 | 86 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_310-4_2_4_line_90 |  | 89 | 90 | 0.030023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_310-4_2_4_line_91 |  | 90 | 92 | 0.0066845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_310-4_2_4_line_92 |  | 91 | 150 | 0.0052674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_310-4_2_4_line_93 |  | 92 | 93 | 0.24563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_310-4_2_4_line_94 |  | 93 | 99 | 0.022658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_310-4_2_4_line_95 |  | 94 | 95 | 0.042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_310-4_2_4_line_96 |  | 94 | 96 | 0.0034291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_310-4_2_4_line_97 |  | 96 | 97 | 0.054298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
98 | LV_310-4_2_4_line_98 |  | 96 | 98 | 0.087334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
99 | LV_310-4_2_4_line_99 |  | 97 | 99 | 0.022469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_310-4_2_4_line_100 |  | 98 | 100 | 0.036017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_310-4_2_4_line_101 |  | 98 | 101 | 0.043637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_310-4_2_4_line_102 |  | 100 | 113 | 0.008139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_310-4_2_4_line_103 |  | 100 | 114 | 0.021744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_310-4_2_4_line_104 |  | 101 | 111 | 0.0054579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_310-4_2_4_line_105 |  | 102 | 103 | 0.0017636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_310-4_2_4_line_106 |  | 103 | 104 | 0.012249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_310-4_2_4_line_107 |  | 104 | 105 | 0.023012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_310-4_2_4_line_108 |  | 105 | 115 | 0.032349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_310-4_2_4_line_109 |  | 105 | 111 | 0.019111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_310-4_2_4_line_110 |  | 106 | 107 | 0.023225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_310-4_2_4_line_111 |  | 107 | 108 | 0.020304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_310-4_2_4_line_112 |  | 108 | 109 | 0.020046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_310-4_2_4_line_113 |  | 108 | 110 | 0.0074054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_310-4_2_4_line_114 |  | 109 | 119 | 0.0075031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_310-4_2_4_line_115 |  | 110 | 117 | 0.019591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_310-4_2_4_line_116 |  | 111 | 112 | 0.01902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_310-4_2_4_line_117 |  | 113 | 116 | 0.017921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_310-4_2_4_line_118 |  | 116 | 120 | 0.0095275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_310-4_2_4_line_119 |  | 117 | 118 | 0.027326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_310-4_2_4_line_120 |  | 119 | 124 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_310-4_2_4_line_121 |  | 120 | 121 | 0.010149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_310-4_2_4_line_122 |  | 120 | 122 | 0.031262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_310-4_2_4_line_123 |  | 121 | 123 | 0.011447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_310-4_2_4_line_124 |  | 121 | 124 | 0.043595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_310-4_2_4_line_125 |  | 122 | 125 | 0.0094619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_310-4_2_4_line_126 |  | 123 | 149 | 0.012607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_310-4_2_4_line_127 |  | 125 | 128 | 0.01379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_310-4_2_4_line_128 |  | 125 | 126 | 0.014458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_310-4_2_4_line_129 |  | 126 | 127 | 0.026201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_310-4_2_4_line_130 |  | 127 | 129 | 0.032657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_310-4_2_4_line_131 |  | 127 | 130 | 0.04147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_310-4_2_4_line_132 |  | 130 | 131 | 0.039475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_310-4_2_4_line_133 |  | 131 | 141 | 0.025273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_310-4_2_4_line_134 |  | 131 | 134 | 0.077452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_310-4_2_4_line_135 |  | 132 | 133 | 0.045144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_310-4_2_4_line_136 |  | 133 | 134 | 0.14747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_310-4_2_4_line_137 |  | 133 | 135 | 0.027084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_310-4_2_4_line_138 |  | 134 | 136 | 0.055649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_310-4_2_4_line_139 |  | 136 | 137 | 0.0050856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_310-4_2_4_line_140 |  | 137 | 138 | 0.014868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_310-4_2_4_line_141 |  | 138 | 139 | 0.011779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_310-4_2_4_line_142 |  | 139 | 140 | 0.0041929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_310-4_2_4_line_143 |  | 140 | 142 | 0.012433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_310-4_2_4_line_144 |  | 142 | 143 | 0.0065554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_310-4_2_4_line_145 |  | 143 | 144 | 0.040744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_310-4_2_4_line_146 |  | 144 | 145 | 0.036854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_310-4_2_4_line_147 |  | 145 | 146 | 0.029179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_310-4_2_4_line_148 |  | 146 | 147 | 0.036505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_310-4_2_4_line_149 |  | 147 | 148 | 0.028046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_310-4_2_4_trafo_187 | 0.63 MVA 20/0.4 kV | 151 | 92 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2596101.066 | 1211801.3191 | 2596094.5167 | 1211800.9788 | 2596086.2667 | 1211801.874
1 | 2596064.8066 | 1211813.1164 | 2596067.4209 | 1211807.9008 | 2596075.547 | 1211803.0371 | 2596086.2667 | 1211801.874
2 | 2596064.8066 | 1211813.1164 | 2596061.5872 | 1211819.5389
3 | 2596057.3398 | 1211827.0217 | 2596059.6667 | 1211823.3702 | 2596061.5872 | 1211819.5389
4 | 2596440.5689 | 1212001.4702 | 2596446.2616 | 1211989.9931 | 2596454.4186 | 1211985.8414 | 2596463.9112 | 1211988.7151
5 | 2596436.2834 | 1212010.1104 | 2596440.5689 | 1212001.4702
6 | 2596478.4608 | 1211993.1198 | 2596463.9112 | 1211988.7151
7 | 2596052.9196 | 1211833.9585 | 2596057.3398 | 1211827.0217
8 | 2596335.3102 | 1212134.7646 | 2596382.5801 | 1212135.8468 | 2596390.7922 | 1212135.1191
9 | 2596335.3102 | 1212134.7646 | 2596126.1524 | 1211910.9742
10 | 2596335.3102 | 1212134.7646 | 2596329.0282 | 1212155.1879
11 | 2596421.9962 | 1212114.5996 | 2596414.6463 | 1212121.3857 | 2596404.2874 | 1212127.3176 | 2596390.7922 | 1212135.1191
12 | 2596390.7922 | 1212135.1191 | 2596380.1908 | 1212147.8369
13 | 2596088.9237 | 1211912.7671 | 2596126.1524 | 1211910.9742
14 | 2596325.0443 | 1212169.9693 | 2596326.144 | 1212164.5647 | 2596329.0282 | 1212155.1879
15 | 2596052.9196 | 1211833.9585 | 2596042.5528 | 1211839.5019 | 2596040.7652 | 1211847.5298 | 2596040.6303 | 1211850.2227
16 | 2596039.6867 | 1211869.056 | 2596040.6303 | 1211850.2227
17 | 2596088.9237 | 1211912.7671 | 2596042.6555 | 1211912.776
18 | 2596042.6555 | 1211912.776 | 2596040.4237 | 1211893.0443 | 2596040.3402 | 1211890.6993
19 | 2596042.6555 | 1211912.776 | 2595995.7102 | 1211911.3293
20 | 2596764.011 | 1212905.3658 | 2596734.3428 | 1212902.5226
21 | 2596686.5527 | 1212872.017 | 2596685.9072 | 1212891.7554 | 2596688.6369 | 1212896.4009 | 2596694.8589 | 1212897.8537 | 2596717.8542 | 1212900.9425 | 2596734.3428 | 1212902.5226
22 | 2596039.6867 | 1211869.056 | 2596039.6183 | 1211870.4211 | 2596040.3402 | 1211890.6993
23 | 2595994.0008 | 1211896.13 | 2595985.9257 | 1211824.3299
24 | 2595995.7102 | 1211911.3293 | 2595994.0008 | 1211896.13
25 | 2596652.5444 | 1211708.8989 | 2596641.0272 | 1211701.6727 | 2596631.1172 | 1211697.1537 | 2596624.0856 | 1211703.7503 | 2596624.0856 | 1211703.7503
26 | 2596672.995 | 1211722.6439 | 2596655.1716 | 1211710.5473 | 2596652.5444 | 1211708.8989
27 | 2596621.3595 | 1211709.2732 | 2596624.0856 | 1211703.7503
28 | 2596678.1423 | 1211715.8038 | 2596672.995 | 1211722.6439
29 | 2596637.3891 | 1211740.9771 | 2596635.7901 | 1211737.1955 | 2596632.5573 | 1211730.5715 | 2596626.8462 | 1211721.5364 | 2596619.9194 | 1211712.1908 | 2596621.3595 | 1211709.2732
30 | 2596621.3595 | 1211709.2732 | 2596479.0265 | 1211638.9865
31 | 2596678.1423 | 1211715.8038 | 2596687.162 | 1211704.7703 | 2596693.6389 | 1211697.7961
32 | 2596678.1423 | 1211715.8038 | 2596638.4713 | 1211683.0638
33 | 2596649.0824 | 1211757.4881 | 2596640.7958 | 1211748.4433 | 2596639.0235 | 1211744.8424 | 2596637.3891 | 1211740.9771
34 | 2596479.0265 | 1211638.9865 | 2596477.5462 | 1211625.3909
35 | 2596477.5462 | 1211625.3909 | 2596476.5901 | 1211616.6103
36 | 2596476.5901 | 1211616.6103 | 2596473.0082 | 1211583.7137
37 | 2596472.7448 | 1211581.2948 | 2596473.0082 | 1211583.7137
38 | 2596718.7921 | 1211679.4161 | 2596708.1893 | 1211685.8367 | 2596702.2656 | 1211690.2314 | 2596693.6389 | 1211697.7961
39 | 2596693.6389 | 1211697.7961 | 2596689.3078 | 1211683.624 | 2596687.009 | 1211678.4239
40 | 2596649.0824 | 1211757.4881 | 2596640.7989 | 1211767.318
41 | 2596613.7011 | 1211797.9644 | 2596632.5159 | 1211777.3086 | 2596637.2914 | 1211771.4804 | 2596640.7989 | 1211767.318
42 | 2596718.7921 | 1211679.4161 | 2596717.2996 | 1211673.5136 | 2596716.645 | 1211671.3461 | 2596715.8536 | 1211669.1898 | 2596714.6748 | 1211667.2005 | 2596707.5565 | 1211658.9604
43 | 2596718.7921 | 1211679.4161 | 2596732.7249 | 1211677.0069 | 2596751.2179 | 1211677.3968 | 2596772.5226 | 1211678.5856 | 2596789.2679 | 1211678.5764 | 2596796.7356 | 1211677.0936 | 2596815.1654 | 1211672.9701 | 2596837.8547 | 1211663.6415 | 2596852.5075 | 1211657.6302
44 | 2596613.7011 | 1211797.9644 | 2596590.5502 | 1211821.969 | 2596581.1698 | 1211834.6335
45 | 2596564.3296 | 1211858.2311 | 2596568.3982 | 1211851.8764 | 2596581.1698 | 1211834.6335
46 | 2596649.8533 | 1211837.4961 | 2596651.1123 | 1211838.8914
47 | 2596659.665 | 1211848.3703 | 2596651.1123 | 1211838.8914
48 | 2596540.9056 | 1211894.8166 | 2596564.3296 | 1211858.2311
49 | 2596659.665 | 1211848.3703 | 2596668.6501 | 1211858.3284
50 | 2596540.9056 | 1211894.8166 | 2596537.8326 | 1211905.7461
51 | 2596540.9056 | 1211894.8166 | 2596532.9351 | 1211880.8024 | 2596526.6844 | 1211870.0737
52 | 2596518.7592 | 1211856.4711 | 2596526.6844 | 1211870.0737
53 | 2596535.502 | 1211930.0727 | 2596536.2506 | 1211911.373 | 2596537.8326 | 1211905.7461
54 | 2596535.502 | 1211930.0727 | 2596541.8336 | 1211938.2288
55 | 2596535.502 | 1211930.0727 | 2596529.1516 | 1211945.2934
56 | 2596440.0026 | 1212091.6647 | 2596434.0661 | 1212099.0057 | 2596421.9962 | 1212114.5996
57 | 2596421.9962 | 1212114.5996 | 2596428.2679 | 1212214.8631
58 | 2596496.8786 | 1212135.4992 | 2596489.6048 | 1212129.8893 | 2596440.0026 | 1212091.6647
59 | 2596440.0026 | 1212091.6647 | 2596482.4288 | 1212034.5627 | 2596482.4288 | 1212034.5627
60 | 2596447.4238 | 1212376.6191 | 2596432.6401 | 1212251.9363 | 2596428.295 | 1212215.2963 | 2596428.2679 | 1212214.8631
61 | 2596496.8786 | 1212135.4992 | 2596490.383 | 1212173.2019 | 2596483.6632 | 1212179.2982 | 2596468.5843 | 1212181.3418 | 2596459.0172 | 1212177.4009 | 2596455.8565 | 1212155.07
62 | 2596482.806 | 1212033.7262 | 2596482.4288 | 1212034.5627
63 | 2596447.4238 | 1212376.6191 | 2596497.3812 | 1212377.9563 | 2596528.5742 | 1212378.7826
64 | 2596625.7711 | 1211935.3712 | 2596615.426 | 1211942.4883 | 2596603.4702 | 1211955.2732
65 | 2596597.9733 | 1211961.1512 | 2596603.4702 | 1211955.2732
66 | 2596658.0183 | 1211917.5353 | 2596632.0197 | 1211931.0723 | 2596625.7711 | 1211935.3712
67 | 2596594.3314 | 1211965.0457 | 2596597.9733 | 1211961.1512
68 | 2596658.0183 | 1211917.5353 | 2596663.0989 | 1211914.8899 | 2596679.1489 | 1211908.5805
69 | 2596583.0588 | 1211977.1709 | 2596589.8161 | 1211969.874 | 2596594.3314 | 1211965.0457
70 | 2596679.1489 | 1211908.5805 | 2596688.3739 | 1211904.9541
71 | 2596583.0588 | 1211977.1709 | 2596569.1747 | 1211965.7858
72 | 2596697.8493 | 1211901.2292 | 2596688.3739 | 1211904.9541
73 | 2596552.8068 | 1211952.3638 | 2596569.1747 | 1211965.7858
74 | 2596552.8068 | 1211952.3638 | 2596541.8336 | 1211938.2288
75 | 2596528.9794 | 1211945.7063 | 2596529.1516 | 1211945.2934
76 | 2596478.4608 | 1211993.1198 | 2596469.7052 | 1212012.3247
77 | 2596478.4608 | 1211993.1198 | 2596498.3998 | 1211999.1445
78 | 2596504.8066 | 1211990.2134 | 2596498.3998 | 1211999.1445
79 | 2596498.3998 | 1211999.1445 | 2596482.806 | 1212033.7262
80 | 2596504.8066 | 1211990.2134 | 2596527.4477 | 1212005.1517
81 | 2596504.8066 | 1211990.2134 | 2596509.6683 | 1211982.174
82 | 2596852.5075 | 1211657.6302 | 2596867.3456 | 1211649.8252
83 | 2596849.141 | 1211642.3791 | 2596852.5075 | 1211657.6302
84 | 2596707.5565 | 1211658.9604 | 2596705.5364 | 1211656.622 | 2596704.8213 | 1211655.0993 | 2596704.6609 | 1211653.5985 | 2596705.8289 | 1211649.9736 | 2596708.5755 | 1211643.2572 | 2596709.0833 | 1211640.9001 | 2596708.7321 | 1211637.9987 | 2596708.1615 | 1211636.676 | 2596707.7144 | 1211636.3572
85 | 2596530.5927 | 1212007.2268 | 2596527.4477 | 1212005.1517
86 | 2596522.8779 | 1211960.3304 | 2596509.6683 | 1211982.174
87 | 2596680.8136 | 1211886.2964 | 2596676.315 | 1211882.3531 | 2596678.6401 | 1211869.4001 | 2596668.6501 | 1211858.3284
88 | 2596697.8493 | 1211901.2292 | 2596680.8136 | 1211886.2964
89 | 2596522.8779 | 1211960.3304 | 2596528.9794 | 1211945.7063
90 | 2596528.5742 | 1212378.7826 | 2596540.9349 | 1212406.1435
91 | 2596543.6869 | 1212412.2352 | 2596540.9349 | 1212406.1435
92 | 2596455.1184 | 1212149.8546 | 2596455.8565 | 1212155.07
93 | 2596543.6869 | 1212412.2352 | 2596576.1637 | 1212655.7091
94 | 2596576.1637 | 1212655.7091 | 2596585.4258 | 1212659.2279 | 2596597.8553 | 1212662.0666
95 | 2596593.338 | 1212702.8999 | 2596622.1288 | 1212706.3328 | 2596634.9527 | 1212708.4979
96 | 2596589.933 | 1212702.4938 | 2596593.338 | 1212702.8999
97 | 2596620.2205 | 1212664.2215 | 2596620.2705 | 1212671.8035 | 2596619.8727 | 1212680.1306 | 2596618.4471 | 1212684.6006 | 2596613.7625 | 1212688.6611 | 2596589.933 | 1212702.4938
98 | 2596544.2531 | 1212761.8984 | 2596558.8624 | 1212725.8585 | 2596563.3534 | 1212715.7279 | 2596566.7142 | 1212708.144 | 2596569.9757 | 1212699.8263 | 2596589.933 | 1212702.4938
99 | 2596620.2205 | 1212664.2215 | 2596608.6504 | 1212663.072 | 2596597.8553 | 1212662.0666
100 | 2596544.2531 | 1212761.8984 | 2596551.9319 | 1212772.9111 | 2596568.759 | 1212788.0541
101 | 2596544.2531 | 1212761.8984 | 2596500.9902 | 1212767.6002
102 | 2596574.8165 | 1212793.5091 | 2596568.759 | 1212788.0541
103 | 2596568.759 | 1212788.0541 | 2596564.7207 | 1212792.8925 | 2596561.6687 | 1212795.9404 | 2596558.6084 | 1212797.5654 | 2596555.2591 | 1212798.7124 | 2596551.1658 | 1212798.2174
104 | 2596495.549 | 1212767.8085 | 2596499.0889 | 1212767.8508 | 2596500.9902 | 1212767.6002
105 | 2596439.3619 | 1212767.0587 | 2596441.1254 | 1212767.0822
106 | 2596441.1254 | 1212767.0822 | 2596453.3732 | 1212767.2458
107 | 2596476.3834 | 1212767.5532 | 2596453.3732 | 1212767.2458
108 | 2596460.4025 | 1212795.5896 | 2596473.0231 | 1212775.682 | 2596476.3834 | 1212767.5532
109 | 2596495.549 | 1212767.8085 | 2596476.3834 | 1212767.5532
110 | 2596686.5527 | 1212872.017 | 2596686.9077 | 1212861.16 | 2596687.49 | 1212848.8114
111 | 2596688.4464 | 1212828.5297 | 2596687.49 | 1212848.8114
112 | 2596688.4464 | 1212828.5297 | 2596668.5892 | 1212825.7884
113 | 2596688.4464 | 1212828.5297 | 2596695.8297 | 1212829.1019
114 | 2596661.1566 | 1212824.7624 | 2596668.5892 | 1212825.7884
115 | 2596715.3835 | 1212830.0376 | 2596708.243 | 1212830.0638 | 2596695.8297 | 1212829.1019
116 | 2596495.549 | 1212767.8085 | 2596490.5478 | 1212775.6714 | 2596489.5252 | 1212780.5414 | 2596490.5527 | 1212783.7982 | 2596491.6709 | 1212784.481
117 | 2596574.8165 | 1212793.5091 | 2596589.1949 | 1212804.2067
118 | 2596596.2024 | 1212810.6617 | 2596589.1949 | 1212804.2067
119 | 2596736.5094 | 1212844.9896 | 2596721.6326 | 1212838.9057 | 2596716.5634 | 1212834.406 | 2596715.3835 | 1212830.0376
120 | 2596661.1566 | 1212824.7624 | 2596648.3659 | 1212822.9966
121 | 2596596.2024 | 1212810.6617 | 2596605.6771 | 1212814.3694
122 | 2596596.2024 | 1212810.6617 | 2596595.0854 | 1212823.1027 | 2596594.2631 | 1212841.8552
123 | 2596605.6771 | 1212814.3694 | 2596607.5126 | 1212809.5212 | 2596611.3004 | 1212804.5334
124 | 2596605.6771 | 1212814.3694 | 2596616.9821 | 1212817.4312 | 2596639.7658 | 1212821.8094 | 2596648.3659 | 1212822.9966
125 | 2596593.8485 | 1212851.308 | 2596594.2631 | 1212841.8552
126 | 2596617.2873 | 1212793.4732 | 2596612.6058 | 1212802.8145 | 2596611.3004 | 1212804.5334
127 | 2596593.8485 | 1212851.308 | 2596580.0382 | 1212850.5713
128 | 2596593.8485 | 1212851.308 | 2596593.3411 | 1212865.7576
129 | 2596592.4214 | 1212891.9427 | 2596593.3411 | 1212865.7576
130 | 2596592.4214 | 1212891.9427 | 2596596.3561 | 1212891.7848 | 2596599.8195 | 1212890.9712 | 2596605.5207 | 1212884.8756 | 2596607.5528 | 1212878.582 | 2596608.1655 | 1212874.1125 | 2596607.8954 | 1212868.4289
131 | 2596592.4214 | 1212891.9427 | 2596589.111 | 1212920.4272 | 2596586.6797 | 1212932.9877
132 | 2596578.5292 | 1212971.5954 | 2596581.0682 | 1212961.9774 | 2596586.6797 | 1212932.9877
133 | 2596578.5292 | 1212971.5954 | 2596564.415 | 1212970.403 | 2596560.3434 | 1212970.1942 | 2596558.7083 | 1212966.9489 | 2596558.9114 | 1212963.5024
134 | 2596561.5966 | 1213047.1698 | 2596578.5292 | 1212971.5954
135 | 2596414.5896 | 1213030.9603 | 2596369.6894 | 1213026.2733
136 | 2596414.5896 | 1213030.9603 | 2596430.717 | 1213032.7403 | 2596561.5966 | 1213047.1698
137 | 2596402.8993 | 1213055.4034 | 2596414.5896 | 1213030.9603
138 | 2596561.5966 | 1213047.1698 | 2596558.7427 | 1213076.7547 | 2596558.5711 | 1213094.8427 | 2596559.6985 | 1213102.5996
139 | 2596560.43 | 1213107.6323 | 2596559.6985 | 1213102.5996
140 | 2596560.43 | 1213107.6323 | 2596562.2549 | 1213120.188 | 2596562.6312 | 1213122.3361
141 | 2596562.6312 | 1213122.3361 | 2596564.664 | 1213133.9381
142 | 2596564.664 | 1213133.9381 | 2596565.3876 | 1213138.0681
143 | 2596565.3876 | 1213138.0681 | 2596567.5332 | 1213150.3144
144 | 2596567.5332 | 1213150.3144 | 2596568.6645 | 1213156.7714
145 | 2596571.8255 | 1213197.3923 | 2596568.6645 | 1213156.7714 | 2596568.6645 | 1213156.7714
146 | 2596571.8255 | 1213197.3923 | 2596556.0739 | 1213230.7101
147 | 2596556.0739 | 1213230.7101 | 2596543.6024 | 1213257.0897
148 | 2596527.9999 | 1213290.0923 | 2596543.6024 | 1213257.0897
149 | 2596527.9999 | 1213290.0923 | 2596500.2275 | 1213286.1875

## bus_geodata
| x | y | coords
0 | 2596086.2667 | 1211801.874
1 | 2596101.066 | 1211801.3191
2 | 2596064.8066 | 1211813.1164
3 | 2596061.5872 | 1211819.5389
4 | 2596440.5689 | 1212001.4702
5 | 2596463.9112 | 1211988.7151
6 | 2596436.2834 | 1212010.1104
7 | 2596057.3398 | 1211827.0217
8 | 2596335.3102 | 1212134.7646
9 | 2596390.7922 | 1212135.1191
10 | 2596126.1524 | 1211910.9742
11 | 2596329.0282 | 1212155.1879
12 | 2596052.9196 | 1211833.9585
13 | 2596040.6303 | 1211850.2227
14 | 2596088.9237 | 1211912.7671
15 | 2596042.6555 | 1211912.776
16 | 2596764.011 | 1212905.3658
17 | 2596734.3428 | 1212902.5226
18 | 2596039.6867 | 1211869.056
19 | 2596040.3402 | 1211890.6993
20 | 2595994.0008 | 1211896.13
21 | 2595985.9257 | 1211824.3299
22 | 2595995.7102 | 1211911.3293
23 | 2596652.5444 | 1211708.8989
24 | 2596624.0856 | 1211703.7503
25 | 2596672.995 | 1211722.6439
26 | 2596621.3595 | 1211709.2732
27 | 2596678.1423 | 1211715.8038
28 | 2596637.3891 | 1211740.977
29 | 2596479.0265 | 1211638.9865
30 | 2596477.5462 | 1211625.3909
31 | 2596476.5901 | 1211616.6103
32 | 2596473.0082 | 1211583.7137
33 | 2596472.7448 | 1211581.2948
34 | 2596693.6389 | 1211697.7961
35 | 2596638.4713 | 1211683.0638
36 | 2596649.0824 | 1211757.4881
37 | 2596640.7989 | 1211767.318
38 | 2596718.7921 | 1211679.4161
39 | 2596687.009 | 1211678.4239
40 | 2596613.7011 | 1211797.9644
41 | 2596581.1698 | 1211834.6335
42 | 2596649.8533 | 1211837.4961
43 | 2596651.1123 | 1211838.8914
44 | 2596564.3296 | 1211858.2311
45 | 2596659.665 | 1211848.3703
46 | 2596540.9056 | 1211894.8166
47 | 2596518.7592 | 1211856.4711
48 | 2596526.6844 | 1211870.0737
49 | 2596537.8326 | 1211905.7461
50 | 2596535.502 | 1211930.0727
51 | 2596325.0443 | 1212169.9693
52 | 2596421.9962 | 1212114.5996
53 | 2596380.1908 | 1212147.8369
54 | 2596440.0026 | 1212091.6647
55 | 2596428.2679 | 1212214.8631
56 | 2596496.8786 | 1212135.4992
57 | 2596482.4288 | 1212034.5627
58 | 2596447.4238 | 1212376.6191
59 | 2596603.4702 | 1211955.2732
60 | 2596625.7711 | 1211935.3712
61 | 2596597.9733 | 1211961.1512
62 | 2596658.0183 | 1211917.5353
63 | 2596594.3314 | 1211965.0457
64 | 2596679.1489 | 1211908.5805
65 | 2596583.0588 | 1211977.1709
66 | 2596688.3739 | 1211904.9541
67 | 2596569.1747 | 1211965.7858
68 | 2596541.8336 | 1211938.2288
69 | 2596529.1516 | 1211945.2934
70 | 2596478.4608 | 1211993.1198
71 | 2596469.7052 | 1212012.3247
72 | 2596498.3998 | 1211999.1445
73 | 2596504.8066 | 1211990.2134
74 | 2596482.806 | 1212033.7262
75 | 2596867.3456 | 1211649.8252
76 | 2596852.5075 | 1211657.6302
77 | 2596849.141 | 1211642.3791
78 | 2596707.5565 | 1211658.9604
79 | 2596707.7144 | 1211636.3572
80 | 2596527.4477 | 1212005.1517
81 | 2596509.6683 | 1211982.174
82 | 2596680.8136 | 1211886.2964
83 | 2596668.6501 | 1211858.3284
84 | 2596697.8493 | 1211901.2292
85 | 2596528.9794 | 1211945.7063
86 | 2596522.8779 | 1211960.3304
87 | 2596552.8068 | 1211952.3638
88 | 2596530.5927 | 1212007.2268
89 | 2596528.5742 | 1212378.7826
90 | 2596540.9349 | 1212406.1435
91 | 2596455.8565 | 1212155.07
92 | 2596543.6869 | 1212412.2352
93 | 2596576.1637 | 1212655.7091
94 | 2596593.338 | 1212702.8999
95 | 2596634.9527 | 1212708.4979
96 | 2596589.933 | 1212702.4938
97 | 2596620.2205 | 1212664.2215
98 | 2596544.2531 | 1212761.8984
99 | 2596597.8553 | 1212662.0666
100 | 2596568.759 | 1212788.0541
101 | 2596500.9902 | 1212767.6002
102 | 2596439.3619 | 1212767.0587
103 | 2596441.1254 | 1212767.0822
104 | 2596453.3732 | 1212767.2458
105 | 2596476.3834 | 1212767.5532
106 | 2596686.5527 | 1212872.017
107 | 2596687.49 | 1212848.8114
108 | 2596688.4464 | 1212828.5297
109 | 2596668.5892 | 1212825.7884
110 | 2596695.8297 | 1212829.1019
111 | 2596495.549 | 1212767.8085
112 | 2596491.6709 | 1212784.481
113 | 2596574.8165 | 1212793.5091
114 | 2596551.1658 | 1212798.2174
115 | 2596460.4025 | 1212795.5896
116 | 2596589.1949 | 1212804.2067
117 | 2596715.3835 | 1212830.0376
118 | 2596736.5094 | 1212844.9896
119 | 2596661.1566 | 1212824.7624
120 | 2596596.2024 | 1212810.6617
121 | 2596605.6771 | 1212814.3694
122 | 2596594.2631 | 1212841.8552
123 | 2596611.3004 | 1212804.5334
124 | 2596648.3659 | 1212822.9966
125 | 2596593.8485 | 1212851.308
126 | 2596593.3411 | 1212865.7576
127 | 2596592.4214 | 1212891.9427
128 | 2596580.0382 | 1212850.5713
129 | 2596607.8954 | 1212868.4289
130 | 2596586.6797 | 1212932.9877
131 | 2596578.5292 | 1212971.5954
132 | 2596369.6894 | 1213026.2733
133 | 2596414.5896 | 1213030.9603
134 | 2596561.5966 | 1213047.1698
135 | 2596402.8993 | 1213055.4034
136 | 2596559.6985 | 1213102.5996
137 | 2596560.43 | 1213107.6323
138 | 2596562.6312 | 1213122.3361
139 | 2596564.664 | 1213133.9381
140 | 2596565.3876 | 1213138.0681
141 | 2596558.9114 | 1212963.5024
142 | 2596567.5332 | 1213150.3144
143 | 2596568.6645 | 1213156.7714
144 | 2596571.8255 | 1213197.3923
145 | 2596556.0739 | 1213230.7101
146 | 2596543.6024 | 1213257.0897
147 | 2596527.9999 | 1213290.0923
148 | 2596500.2275 | 1213286.1875
149 | 2596617.2873 | 1212793.4732
150 | 2596455.1184 | 1212149.8546
151 | 2596545.3396 | 1212415.8934

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1