## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_311-3_1_4_node_12 | 0.4 | n |  | TRUE
1 | bus_LV_311-3_1_4_node_13 | 0.4 | n |  | TRUE
2 | bus_LV_311-3_1_4_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_311-3_1_4_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_311-3_1_4_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_311-3_1_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_311-3_1_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_311-3_1_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_311-3_1_4_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_311-3_1_4_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_311-3_1_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_311-3_1_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_311-3_1_4_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_311-3_1_4_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_311-3_1_4_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_311-3_1_4_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_311-3_1_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_311-3_1_4_node_267 | 0.4 | n |  | TRUE
18 | bus_LV_311-3_1_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_311-3_1_4_node_216 | 0.4 | n |  | TRUE
20 | bus_LV_311-3_1_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_311-3_1_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_311-3_1_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_311-3_1_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_311-3_1_4_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_311-3_1_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_311-3_1_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_311-3_1_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_311-3_1_4_node_261 | 0.4 | n |  | TRUE
29 | bus_LV_311-3_1_4_node_259 | 0.4 | n |  | TRUE
30 | bus_LV_311-3_1_4_node_221 | 0.4 | n |  | TRUE
31 | bus_LV_311-3_1_4_node_226 | 0.4 | n |  | TRUE
32 | bus_LV_311-3_1_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_311-3_1_4_node_254 | 0.4 | n |  | TRUE
34 | bus_LV_311-3_1_4_node_253 | 0.4 | n |  | TRUE
35 | bus_LV_311-3_1_4_node_177 | 0.4 | n |  | TRUE
36 | bus_LV_311-3_1_4_node_178 | 0.4 | n |  | TRUE
37 | bus_LV_311-3_1_4_node_179 | 0.4 | n |  | TRUE
38 | bus_LV_311-3_1_4_node_182 | 0.4 | n |  | TRUE
39 | bus_LV_311-3_1_4_node_218 | 0.4 | n |  | TRUE
40 | bus_LV_311-3_1_4_node_181 | 0.4 | n |  | TRUE
41 | bus_LV_311-3_1_4_node_207 | 0.4 | n |  | TRUE
42 | bus_LV_311-3_1_4_node_210 | 0.4 | n |  | TRUE
43 | bus_LV_311-3_1_4_node_183 | 0.4 | n |  | TRUE
44 | bus_LV_311-3_1_4_node_184 | 0.4 | n |  | TRUE
45 | bus_LV_311-3_1_4_node_186 | 0.4 | n |  | TRUE
46 | bus_LV_311-3_1_4_node_187 | 0.4 | n |  | TRUE
47 | bus_LV_311-3_1_4_node_189 | 0.4 | n |  | TRUE
48 | bus_LV_311-3_1_4_node_205 | 0.4 | n |  | TRUE
49 | bus_LV_311-3_1_4_node_188 | 0.4 | n |  | TRUE
50 | bus_LV_311-3_1_4_node_198 | 0.4 | n |  | TRUE
51 | bus_LV_311-3_1_4_node_199 | 0.4 | n |  | TRUE
52 | bus_LV_311-3_1_4_node_200 | 0.4 | n |  | TRUE
53 | bus_LV_311-3_1_4_node_201 | 0.4 | n |  | TRUE
54 | bus_LV_311-3_1_4_node_202 | 0.4 | n |  | TRUE
55 | bus_LV_311-3_1_4_node_203 | 0.4 | n |  | TRUE
56 | bus_LV_311-3_1_4_node_208 | 0.4 | n |  | TRUE
57 | bus_LV_311-3_1_4_node_204 | 0.4 | n |  | TRUE
58 | bus_LV_311-3_1_4_node_213 | 0.4 | n |  | TRUE
59 | bus_LV_311-3_1_4_node_206 | 0.4 | n |  | TRUE
60 | bus_LV_311-3_1_4_node_209 | 0.4 | n |  | TRUE
61 | bus_LV_311-3_1_4_node_211 | 0.4 | n |  | TRUE
62 | bus_LV_311-3_1_4_node_212 | 0.4 | n |  | TRUE
63 | bus_LV_311-3_1_4_node_214 | 0.4 | n |  | TRUE
64 | bus_LV_311-3_1_4_node_215 | 0.4 | n |  | TRUE
65 | bus_LV_311-3_1_4_node_217 | 0.4 | n |  | TRUE
66 | bus_LV_311-3_1_4_node_219 | 0.4 | n |  | TRUE
67 | bus_LV_311-3_1_4_node_220 | 0.4 | n |  | TRUE
68 | bus_LV_311-3_1_4_node_222 | 0.4 | n |  | TRUE
69 | bus_LV_311-3_1_4_node_223 | 0.4 | n |  | TRUE
70 | bus_LV_311-3_1_4_node_225 | 0.4 | n |  | TRUE
71 | bus_LV_311-3_1_4_node_224 | 0.4 | n |  | TRUE
72 | bus_LV_311-3_1_4_node_263 | 0.4 | n |  | TRUE
73 | bus_LV_311-3_1_4_node_255 | 0.4 | n |  | TRUE
74 | bus_LV_311-3_1_4_node_258 | 0.4 | n |  | TRUE
75 | bus_LV_311-3_1_4_node_260 | 0.4 | n |  | TRUE
76 | bus_MV_385_1_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_311-3_1_4_load_12 | 0 | 0.0020275 | 0.00050814 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_311-3_1_4_load_13 | 1 | 0.0031615 | 0.00079235 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_311-3_1_4_load_15 | 3 | 0.0013479 | 0.00033781 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_311-3_1_4_load_16 | 4 | 0.0030461 | 0.00076343 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_311-3_1_4_load_17 | 5 | 0.00049476 | 0.000124 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_311-3_1_4_load_18 | 6 | 0.0026217 | 0.00065706 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_311-3_1_4_load_20 | 10 | 0.0027117 | 0.0006796 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_311-3_1_4_load_21 | 11 | 0.00031302 | 7.8449e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_311-3_1_4_load_23 | 13 | 0.00158 | 0.00039598 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_311-3_1_4_load_267 | 17 | 0.0018063 | 0.00045269 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_311-3_1_4_load_26 | 20 | 0.0063388 | 0.0015887 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_311-3_1_4_load_28 | 22 | 0.0015111 | 0.00037872 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_311-3_1_4_load_29 | 23 | 0.0006626 | 0.00016606 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_311-3_1_4_load_30 | 24 | 0.00081116 | 0.0002033 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_311-3_1_4_load_31 | 25 | 0.0011453 | 0.00028703 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_311-3_1_4_load_35 | 27 | 0.00087744 | 0.00021991 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_311-3_1_4_load_261 | 28 | 0.0010266 | 0.0002573 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_311-3_1_4_load_259 | 29 | 0.0014615 | 0.00036629 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_311-3_1_4_load_226 | 31 | 0.00088804 | 0.00022256 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_311-3_1_4_load_253 | 34 | 0.00040796 | 0.00010224 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_311-3_1_4_load_177 | 35 | 0.0095246 | 0.0023871 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_311-3_1_4_load_179 | 37 | 0.0010875 | 0.00027254 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_311-3_1_4_load_218 | 39 | 0.0017512 | 0.0004389 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_311-3_1_4_load_207 | 41 | 0.0013809 | 0.00034608 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_311-3_1_4_load_210 | 42 | 0.001184 | 0.00029674 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_311-3_1_4_load_183 | 43 | 0.0010462 | 0.00026221 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_311-3_1_4_load_189 | 47 | 0.0036973 | 0.00092663 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_311-3_1_4_load_205 | 48 | 0.00072164 | 0.00018086 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_311-3_1_4_load_188 | 49 | 0.0022931 | 0.00057471 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_311-3_1_4_load_198 | 50 | 0.0055473 | 0.0013903 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_311-3_1_4_load_199 | 51 | 0.0049844 | 0.0012492 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_311-3_1_4_load_201 | 53 | 0.00064943 | 0.00016276 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_311-3_1_4_load_202 | 54 | 0.0026369 | 0.00066087 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_311-3_1_4_load_208 | 56 | 0.00057584 | 0.00014432 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_311-3_1_4_load_204 | 57 | 0.00057251 | 0.00014348 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_311-3_1_4_load_213 | 58 | 0.0031214 | 0.0007823 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_311-3_1_4_load_206 | 59 | 0.0036967 | 0.00092649 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_311-3_1_4_load_209 | 60 | 0.00063392 | 0.00015888 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_311-3_1_4_load_211 | 61 | 0.00076917 | 0.00019277 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_311-3_1_4_load_214 | 63 | 0.0010631 | 0.00026644 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_311-3_1_4_load_215 | 64 | 0.00070859 | 0.00017759 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_311-3_1_4_load_217 | 65 | 0.0037158 | 0.00093126 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_311-3_1_4_load_219 | 66 | 0.0018064 | 0.00045272 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_311-3_1_4_load_220 | 67 | 0.00068249 | 0.00017105 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_311-3_1_4_load_223 | 69 | 0.0021344 | 0.00053492 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_311-3_1_4_load_225 | 70 | 0.00047216 | 0.00011833 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_311-3_1_4_load_263 | 72 | 0.0013813 | 0.00034618 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_311-3_1_4_load_255 | 73 | 0.00049523 | 0.00012412 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_311-3_1_4_load_258 | 74 | 0.00059006 | 0.00014788 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_311-3_1_4_load_260 | 75 | 0.0073657 | 0.001846 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_311-3_1_4_line_0 |  | 0 | 1 | 0.036948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_311-3_1_4_line_1 |  | 0 | 2 | 0.025154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_311-3_1_4_line_2 |  | 2 | 3 | 0.013675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_311-3_1_4_line_3 |  | 2 | 4 | 0.012759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_311-3_1_4_line_4 |  | 3 | 5 | 0.013019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_311-3_1_4_line_5 |  | 5 | 6 | 0.030599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_311-3_1_4_line_6 |  | 6 | 7 | 0.0071429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_311-3_1_4_line_7 |  | 7 | 8 | 0.064027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_311-3_1_4_line_8 |  | 7 | 9 | 0.005676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_311-3_1_4_line_9 |  | 8 | 28 | 0.051635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_311-3_1_4_line_10 |  | 8 | 29 | 0.0341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_311-3_1_4_line_11 |  | 9 | 22 | 0.055044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_311-3_1_4_line_12 |  | 9 | 24 | 0.048116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_311-3_1_4_line_13 |  | 10 | 11 | 0.030882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_311-3_1_4_line_14 |  | 10 | 12 | 0.031785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_311-3_1_4_line_15 |  | 12 | 13 | 0.0091825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_311-3_1_4_line_16 |  | 12 | 14 | 0.028791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_311-3_1_4_line_17 |  | 13 | 15 | 0.082596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_311-3_1_4_line_18 |  | 14 | 19 | 0.23344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_311-3_1_4_line_19 |  | 14 | 16 | 0.25975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_311-3_1_4_line_20 |  | 15 | 32 | 0.3326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_311-3_1_4_line_21 |  | 16 | 17 | 0.033517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_311-3_1_4_line_22 |  | 16 | 18 | 0.11811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_311-3_1_4_line_23 |  | 18 | 30 | 0.025577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_311-3_1_4_line_24 |  | 18 | 31 | 0.13847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_311-3_1_4_line_25 |  | 18 | 26 | 0.23706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_311-3_1_4_line_26 |  | 19 | 63 | 0.02555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_311-3_1_4_line_27 |  | 20 | 21 | 0.020939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_311-3_1_4_line_28 |  | 21 | 22 | 0.019427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_311-3_1_4_line_29 |  | 21 | 23 | 0.0015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_311-3_1_4_line_30 |  | 24 | 25 | 0.011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_311-3_1_4_line_31 |  | 25 | 26 | 0.01029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_311-3_1_4_line_32 |  | 26 | 27 | 0.10939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_311-3_1_4_line_33 |  | 29 | 74 | 0.0091676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_311-3_1_4_line_34 |  | 30 | 69 | 0.030833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_311-3_1_4_line_35 |  | 30 | 66 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_311-3_1_4_line_36 |  | 32 | 33 | 0.095483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_311-3_1_4_line_37 |  | 32 | 34 | 0.046691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_311-3_1_4_line_38 |  | 33 | 73 | 0.039451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_311-3_1_4_line_39 |  | 35 | 36 | 0.054392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_311-3_1_4_line_40 |  | 35 | 37 | 0.0089683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_311-3_1_4_line_41 |  | 36 | 38 | 0.44143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_311-3_1_4_line_42 |  | 36 | 39 | 0.75288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_311-3_1_4_line_43 |  | 38 | 42 | 0.051472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_311-3_1_4_line_44 |  | 38 | 40 | 0.051643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_311-3_1_4_line_45 |  | 39 | 65 | 0.040768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_311-3_1_4_line_46 |  | 40 | 41 | 0.014139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_311-3_1_4_line_47 |  | 41 | 59 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_311-3_1_4_line_48 |  | 42 | 60 | 0.015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_311-3_1_4_line_49 |  | 43 | 44 | 0.2596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_311-3_1_4_line_50 |  | 44 | 45 | 0.005012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_311-3_1_4_line_51 |  | 45 | 46 | 0.26841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_311-3_1_4_line_52 |  | 45 | 47 | 0.15607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_311-3_1_4_line_53 |  | 46 | 48 | 0.12024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_311-3_1_4_line_54 |  | 47 | 49 | 0.077749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_311-3_1_4_line_55 |  | 48 | 57 | 0.037722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_311-3_1_4_line_56 |  | 50 | 51 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_311-3_1_4_line_57 |  | 50 | 52 | 0.027888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_311-3_1_4_line_58 |  | 51 | 53 | 0.011277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_311-3_1_4_line_59 |  | 52 | 54 | 0.040535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_311-3_1_4_line_60 |  | 52 | 55 | 0.029714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_311-3_1_4_line_61 |  | 53 | 56 | 0.0073372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_311-3_1_4_line_62 |  | 54 | 57 | 0.0078504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_311-3_1_4_line_63 |  | 55 | 58 | 0.0081725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_311-3_1_4_line_64 |  | 56 | 60 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_311-3_1_4_line_65 |  | 58 | 62 | 0.0139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_311-3_1_4_line_66 |  | 61 | 62 | 0.036823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_311-3_1_4_line_67 |  | 63 | 64 | 0.016676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_311-3_1_4_line_68 |  | 64 | 65 | 0.025327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_311-3_1_4_line_69 |  | 66 | 67 | 0.011201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_311-3_1_4_line_70 |  | 67 | 68 | 0.011954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_311-3_1_4_line_71 |  | 68 | 70 | 0.02863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_311-3_1_4_line_72 |  | 68 | 71 | 0.031745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_311-3_1_4_line_73 |  | 71 | 72 | 0.022177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_311-3_1_4_line_74 |  | 74 | 75 | 0.0020123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_311-3_1_4_trafo_218 | 0.63 MVA 20/0.4 kV | 76 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2596615.0996 | 1207927.5336 | 2596594.6876 | 1207923.0866 | 2596578.8467 | 1207920.4573
1 | 2596639.6772 | 1207932.8882 | 2596615.0996 | 1207927.5336
2 | 2596639.6772 | 1207932.8882 | 2596638.8747 | 1207946.5401
3 | 2596639.6772 | 1207932.8882 | 2596640.3216 | 1207920.1452
4 | 2596638.8747 | 1207946.5401 | 2596638.1108 | 1207959.5365
5 | 2596638.1108 | 1207959.5365 | 2596636.726 | 1207983.0953 | 2596636.809 | 1207990.0939
6 | 2596636.8938 | 1207997.2363 | 2596636.809 | 1207990.0939
7 | 2596581.8409 | 1207964.5947 | 2596597.5145 | 1207973.1459 | 2596625.2287 | 1207992.0068 | 2596636.8938 | 1207997.2363
8 | 2596636.8938 | 1207997.2363 | 2596637.1479 | 1208002.9059
9 | 2596581.8409 | 1207964.5947 | 2596575.2593 | 1207968.2339 | 2596563.4179 | 1207973.655 | 2596558.3679 | 1207983.0854 | 2596550.6702 | 1208002.0337
10 | 2596581.8409 | 1207964.5947 | 2596566.7828 | 1207955.6098 | 2596559.3093 | 1207955.1806 | 2596556.0797 | 1207957.5949 | 2596553.6318 | 1207962.0084
11 | 2596637.1479 | 1208002.9059 | 2596622.3713 | 1208020.1573 | 2596610.0383 | 1208029.8475 | 2596599.375 | 1208042.6288
12 | 2596637.1479 | 1208002.9059 | 2596647.4454 | 1208009.4814 | 2596670.9121 | 1208019.5513 | 2596680.6166 | 1208023.183
13 | 2596551.9572 | 1208374.2948 | 2596565.8254 | 1208369.9161 | 2596575.2711 | 1208364.1185 | 2596579.2344 | 1208360.6657
14 | 2596607.0074 | 1208360.9426 | 2596591.9971 | 1208354.0142 | 2596586.8658 | 1208354.0172 | 2596579.2344 | 1208360.6657
15 | 2596607.0074 | 1208360.9426 | 2596606.5396 | 1208370.1133
16 | 2596607.0074 | 1208360.9426 | 2596607.4596 | 1208341.2649 | 2596607.2339 | 1208332.16
17 | 2596602.5604 | 1208452.6068 | 2596603.5921 | 1208435.9081 | 2596603.8506 | 1208422.8452 | 2596603.8656 | 1208422.5339 | 2596606.5396 | 1208370.1133
18 | 2596396.3013 | 1208232.5426 | 2596597.4118 | 1208331.4987 | 2596607.2339 | 1208332.16
19 | 2596607.2339 | 1208332.16 | 2596607.4596 | 1208341.2649 | 2596629.8936 | 1208342.1968 | 2596678.8763 | 1208307.9277 | 2596752.196 | 1208264.1178 | 2596787.3574 | 1208239.8739 | 2596808.6549 | 1208205.6767
20 | 2596602.5604 | 1208452.6068 | 2596607.5192 | 1208483.0096 | 2596625.1566 | 1208524.6334 | 2596644.9709 | 1208624.3436 | 2596647.8 | 1208639.806 | 2596654.2561 | 1208657.1675 | 2596690.084 | 1208713.9116 | 2596693.5611 | 1208719.5683 | 2596723.1589 | 1208756.0051
21 | 2596808.6549 | 1208205.6767 | 2596826.3986 | 1208234.1383
22 | 2596808.6549 | 1208205.6767 | 2596808.1054 | 1208201.6415 | 2596810.1847 | 1208194.9811 | 2596844.1192 | 1208150.1157 | 2596870.6098 | 1208172.6805 | 2596883.7588 | 1208181.8118
23 | 2596870.5885 | 1208203.731 | 2596878.2747 | 1208190.4529 | 2596883.7588 | 1208181.8118
24 | 2596883.7588 | 1208181.8118 | 2596891.6711 | 1208178.806 | 2596901.9692 | 1208173.4531 | 2596917.8978 | 1208162.95 | 2596929.4027 | 1208153.85 | 2596937.2367 | 1208146.5863 | 2596947.4719 | 1208137.1091 | 2596955.3951 | 1208125.6986 | 2596963.8811 | 1208114.7549 | 2596969.8664 | 1208104.7351 | 2596981.3214 | 1208087.605
25 | 2596701.1379 | 1208030.8626 | 2596711.04 | 1208037.594 | 2596831.3951 | 1208139.7391 | 2596844.1192 | 1208150.1157 | 2596870.6098 | 1208172.6805 | 2596883.7588 | 1208181.8118
26 | 2596396.3013 | 1208232.5426 | 2596373.2094 | 1208221.6082
27 | 2596588.8522 | 1208058.8758 | 2596574.78 | 1208058.2726 | 2596567.9308 | 1208058.017
28 | 2596588.8522 | 1208058.8758 | 2596595.2468 | 1208047.577 | 2596599.375 | 1208042.6288
29 | 2596588.8522 | 1208058.8758 | 2596588.2698 | 1208060.2633
30 | 2596691.5005 | 1208027.256 | 2596680.6166 | 1208023.183
31 | 2596701.1379 | 1208030.8626 | 2596691.5005 | 1208027.256
32 | 2596701.1379 | 1208030.8626 | 2596762.0583 | 1207940.0007
33 | 2596549.4447 | 1207970.162 | 2596552.4344 | 1207964.1674 | 2596553.6318 | 1207962.0084
34 | 2596870.5885 | 1208203.731 | 2596863.0089 | 1208217.4648 | 2596854.9124 | 1208230.2661
35 | 2596870.5885 | 1208203.731 | 2596876.5364 | 1208209.3864 | 2596882.1423 | 1208215.3089 | 2596882.1423 | 1208215.3089
36 | 2596723.1589 | 1208756.0051 | 2596729.2595 | 1208763.528 | 2596790.241 | 1208824.0609
37 | 2596723.1589 | 1208756.0051 | 2596731.5687 | 1208747.1066 | 2596739.5663 | 1208721.4657 | 2596743.5865 | 1208715.0304
38 | 2596790.241 | 1208824.0609 | 2596807.1336 | 1208800.6609 | 2596815.1272 | 1208807.6085
39 | 2595551.8336 | 1208137.6373 | 2595509.0787 | 1208157.5586 | 2595507.1493 | 1208159.5501 | 2595503.1594 | 1208161.5222
40 | 2595495.1196 | 1208165.4959 | 2595503.1594 | 1208161.5222
41 | 2595198.4629 | 1207965.2875 | 2595193.9591 | 1207970.6719 | 2595218.8882 | 1208027.5384 | 2595224.5579 | 1208034.9045 | 2595235.1073 | 1208041.0215 | 2595246.5973 | 1208044.4586 | 2595361.7983 | 1208067.1123 | 2595395.1606 | 1208071.4773 | 2595451.023 | 1208072.223 | 2595471.8012 | 1208073.6189 | 2595496.9761 | 1208078.4577 | 2595518.8537 | 1208085.9673 | 2595531.7707 | 1208096.9413 | 2595536.5675 | 1208106.6652 | 2595551.8336 | 1208137.6373
42 | 2596303.0282 | 1208187.9587 | 2595551.8336 | 1208137.6373
43 | 2595198.4629 | 1207965.2875 | 2595195.8931 | 1207955.751 | 2595191.4375 | 1207936.4885 | 2595182.2815 | 1207923.9891 | 2595176.4876 | 1207921.4394
44 | 2595162.3513 | 1208002.1707 | 2595193.9591 | 1207970.6719 | 2595198.4629 | 1207965.2875
45 | 2596303.0282 | 1208187.9587 | 2596306.6306 | 1208190.2641 | 2596312.5731 | 1208198.4871 | 2596315.9446 | 1208204.4105 | 2596322.6901 | 1208208.2861 | 2596327.48 | 1208209.1725 | 2596334.2223 | 1208207.8453 | 2596334.23 | 1208207.8456
46 | 2595162.3513 | 1208002.1707 | 2595153.1086 | 1207991.4716
47 | 2595143.7593 | 1207980.6491 | 2595153.1086 | 1207991.4716
48 | 2595176.4876 | 1207921.4394 | 2595168.6909 | 1207918.0081 | 2595162.0465 | 1207917.5896
49 | 2595092.7489 | 1208354.0777 | 2595111.1754 | 1208371.5943 | 2595144.1436 | 1208415.9024 | 2595174.9155 | 1208452.4528 | 2595222.7077 | 1208489.1784 | 2595238.3537 | 1208500.5386 | 2595252.405 | 1208513.8902 | 2595261.3712 | 1208527.924 | 2595264.6672 | 1208542.9074 | 2595264.6775 | 1208543.0874
50 | 2595092.7489 | 1208354.0777 | 2595097.7739 | 1208354.207
51 | 2595049.351 | 1208112.5033 | 2595048.505 | 1208118.8965 | 2595045.8208 | 1208127.2589 | 2595035.5601 | 1208174.9382 | 2595027.9459 | 1208214.6777 | 2595025.3212 | 1208239.2712 | 2595031.0549 | 1208268.2379 | 2595042.3854 | 1208290.3849 | 2595064.0187 | 1208314.958 | 2595082.0876 | 1208331.9189 | 2595093.9218 | 1208347.6621 | 2595097.7739 | 1208354.207
52 | 2595097.7739 | 1208354.207 | 2595106.7787 | 1208359.1355 | 2595110.2478 | 1208362.2788 | 2595113.8694 | 1208365.9889 | 2595153.5149 | 1208413.7713 | 2595160.0432 | 1208420.981 | 2595165.3459 | 1208426.0572 | 2595171.2643 | 1208431.0329 | 2595177.691 | 1208434.8964 | 2595184.4366 | 1208438.2149 | 2595214.2019 | 1208452.643 | 2595215.159 | 1208452.6242
53 | 2595049.351 | 1208112.5033 | 2595058.1781 | 1208059.2889 | 2595069.7073 | 1207994.0005
54 | 2595277.6553 | 1208496.4304 | 2595270.9413 | 1208489.5729 | 2595248.0668 | 1208469.9028 | 2595235.212 | 1208460.3524 | 2595222.055 | 1208453.148 | 2595219.5079 | 1208452.5386 | 2595215.159 | 1208452.6242
55 | 2595069.7073 | 1207994.0005 | 2595074.3021 | 1207967.9806 | 2595076.4 | 1207956.8772
56 | 2595114.344 | 1207916.7953 | 2595128.8008 | 1207918.2745 | 2595130.6474 | 1207918.1278
57 | 2595087.7859 | 1207910.0152 | 2595097.4377 | 1207915.0655 | 2595114.344 | 1207916.7953
58 | 2595130.6474 | 1207918.1278 | 2595141.8892 | 1207917.2343
59 | 2595087.7859 | 1207910.0152 | 2595086.9339 | 1207918.465 | 2595078.798 | 1207944.186 | 2595077.8576 | 1207949.1632
60 | 2595059.9063 | 1207899.5217 | 2595087.7859 | 1207910.0152
61 | 2595149.2044 | 1207916.7807 | 2595148.3075 | 1207916.7242 | 2595141.8892 | 1207917.2343
62 | 2595077.8576 | 1207949.1632 | 2595076.4 | 1207956.8772
63 | 2595059.9063 | 1207899.5217 | 2595052.1323 | 1207897.0009
64 | 2595149.2044 | 1207916.7807 | 2595162.0465 | 1207917.5896
65 | 2595038.91 | 1207892.7134 | 2595052.1323 | 1207897.0009
66 | 2595038.91 | 1207892.7134 | 2595019.2106 | 1207900.2787 | 2595014.3312 | 1207901.9727 | 2595008.7553 | 1207907.0468 | 2595006.9386 | 1207909.4554
67 | 2596373.2094 | 1208221.6082 | 2596358.138 | 1208214.4716
68 | 2596358.138 | 1208214.4716 | 2596344.8579 | 1208208.1833 | 2596334.23 | 1208207.8456
69 | 2596882.1423 | 1208215.3089 | 2596885.262 | 1208220.6102 | 2596888.1319 | 1208224.7654
70 | 2596898.7374 | 1208228.9854 | 2596889.591 | 1208226.878 | 2596888.1319 | 1208224.7654
71 | 2596898.7374 | 1208228.9854 | 2596892.4982 | 1208232.9242 | 2596892.282 | 1208240.8843 | 2596893.1679 | 1208248.5213 | 2596889.9841 | 1208253.1286
72 | 2596929.9865 | 1208222.9099 | 2596898.7374 | 1208228.9854
73 | 2596929.9865 | 1208222.9099 | 2596947.0215 | 1208237.1102
74 | 2596548.5466 | 1207971.9628 | 2596549.4447 | 1207970.162

## bus_geodata
| x | y | coords
0 | 2596615.0996 | 1207927.5336
1 | 2596578.8467 | 1207920.4573
2 | 2596639.6772 | 1207932.8882
3 | 2596638.8747 | 1207946.5401
4 | 2596640.3216 | 1207920.1452
5 | 2596638.1108 | 1207959.5365
6 | 2596636.809 | 1207990.0939
7 | 2596636.8938 | 1207997.2363
8 | 2596581.8409 | 1207964.5947
9 | 2596637.1479 | 1208002.9059
10 | 2596579.2344 | 1208360.6657
11 | 2596551.9572 | 1208374.2948
12 | 2596607.0074 | 1208360.9426
13 | 2596606.5396 | 1208370.1133
14 | 2596607.2339 | 1208332.16
15 | 2596602.5604 | 1208452.6068
16 | 2596808.6549 | 1208205.6767
17 | 2596826.3986 | 1208234.1383
18 | 2596883.7588 | 1208181.8118
19 | 2596396.3013 | 1208232.5426
20 | 2596567.9308 | 1208058.017
21 | 2596588.8522 | 1208058.8758
22 | 2596599.375 | 1208042.6288
23 | 2596588.2698 | 1208060.2633
24 | 2596680.6166 | 1208023.183
25 | 2596691.5005 | 1208027.256
26 | 2596701.1379 | 1208030.8626
27 | 2596762.0583 | 1207940.0007
28 | 2596550.6702 | 1208002.0337
29 | 2596553.6318 | 1207962.0084
30 | 2596870.5885 | 1208203.731
31 | 2596981.3214 | 1208087.605
32 | 2596723.1589 | 1208756.0051
33 | 2596790.241 | 1208824.0609
34 | 2596743.5865 | 1208715.0304
35 | 2595503.1594 | 1208161.5222
36 | 2595551.8336 | 1208137.6373
37 | 2595495.1196 | 1208165.4959
38 | 2595198.4629 | 1207965.2875
39 | 2596303.0282 | 1208187.9587
40 | 2595162.3513 | 1208002.1707
41 | 2595153.1086 | 1207991.4716
42 | 2595176.4876 | 1207921.4394
43 | 2595264.6775 | 1208543.0874
44 | 2595092.7489 | 1208354.0777
45 | 2595097.7739 | 1208354.207
46 | 2595049.351 | 1208112.5033
47 | 2595215.159 | 1208452.6242
48 | 2595069.7073 | 1207994.0005
49 | 2595277.6553 | 1208496.4304
50 | 2595114.344 | 1207916.7953
51 | 2595130.6474 | 1207918.1278
52 | 2595087.7859 | 1207910.0152
53 | 2595141.8892 | 1207917.2343
54 | 2595077.8576 | 1207949.1632
55 | 2595059.9063 | 1207899.5217
56 | 2595149.2044 | 1207916.7807
57 | 2595076.4 | 1207956.8772
58 | 2595052.1323 | 1207897.0009
59 | 2595143.7593 | 1207980.6491
60 | 2595162.0465 | 1207917.5896
61 | 2595006.9386 | 1207909.4554
62 | 2595038.91 | 1207892.7134
63 | 2596373.2094 | 1208221.6082
64 | 2596358.138 | 1208214.4716
65 | 2596334.23 | 1208207.8456
66 | 2596882.1423 | 1208215.3089
67 | 2596888.1319 | 1208224.7654
68 | 2596898.7374 | 1208228.9854
69 | 2596854.9124 | 1208230.2661
70 | 2596889.9841 | 1208253.1286
71 | 2596929.9865 | 1208222.9099
72 | 2596947.0215 | 1208237.1102
73 | 2596815.1272 | 1208807.6085
74 | 2596549.4447 | 1207970.162
75 | 2596548.5466 | 1207971.9628
76 | 2596224.387 | 1208137.6321

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1