## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_311-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_311-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_311-5_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_311-5_0_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_311-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_311-5_0_4_node_77 | 0.4 | n |  | TRUE
6 | bus_LV_311-5_0_4_node_80 | 0.4 | n |  | TRUE
7 | bus_LV_311-5_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_311-5_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_311-5_0_4_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_311-5_0_4_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_311-5_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_311-5_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_311-5_0_4_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_311-5_0_4_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_311-5_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_311-5_0_4_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_311-5_0_4_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_311-5_0_4_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_311-5_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_311-5_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_311-5_0_4_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_311-5_0_4_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_311-5_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_311-5_0_4_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_311-5_0_4_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_311-5_0_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_311-5_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_311-5_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_311-5_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_311-5_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_311-5_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_311-5_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_311-5_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_311-5_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_311-5_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_311-5_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_311-5_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_311-5_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_311-5_0_4_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_311-5_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_311-5_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_311-5_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_311-5_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_311-5_0_4_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_311-5_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_311-5_0_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_311-5_0_4_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_311-5_0_4_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_311-5_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_311-5_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_311-5_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_311-5_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_311-5_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_311-5_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_311-5_0_4_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_311-5_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_311-5_0_4_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_311-5_0_4_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_311-5_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_311-5_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_311-5_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_311-5_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_311-5_0_4_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_311-5_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_311-5_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_311-5_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_311-5_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_311-5_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_311-5_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_311-5_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_311-5_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_311-5_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_311-5_0_4_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_311-5_0_4_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_311-5_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_311-5_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_311-5_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_311-5_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_311-5_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_311-5_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_311-5_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_311-5_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_311-5_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_MV_385_1_node_226 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_311-5_0_4_load_0 | 0 | 0.021115 | 0.005292 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_311-5_0_4_load_1 | 1 | 0.0019888 | 0.00049844 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_311-5_0_4_load_3 | 2 | 0.0086822 | 0.002176 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_311-5_0_4_load_80 | 6 | 0.0010868 | 0.00027238 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_311-5_0_4_load_5 | 8 | 0.050021 | 0.012536 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_311-5_0_4_load_76 | 9 | 0.0019751 | 0.00049499 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_311-5_0_4_load_79 | 10 | 0.0018685 | 0.00046829 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_311-5_0_4_load_67 | 13 | 0.0088004 | 0.0022056 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_311-5_0_4_load_75 | 14 | 0.054823 | 0.01374 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_311-5_0_4_load_61 | 16 | 0.0023209 | 0.00058167 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_311-5_0_4_load_62 | 17 | 0.0019179 | 0.00048066 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_311-5_0_4_load_59 | 18 | 0.0079939 | 0.0020035 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_311-5_0_4_load_60 | 22 | 0.0055924 | 0.0014016 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_311-5_0_4_load_65 | 24 | 0.0013138 | 0.00032926 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_311-5_0_4_load_82 | 25 | 0.0017204 | 0.00043118 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_311-5_0_4_load_49 | 26 | 0.0056964 | 0.0014276 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_311-5_0_4_load_14 | 28 | 0.0036251 | 0.00090855 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_311-5_0_4_load_15 | 29 | 0.00056261 | 0.000141 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_311-5_0_4_load_16 | 30 | 0.003655 | 0.00091604 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_311-5_0_4_load_17 | 31 | 0.00064812 | 0.00016243 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_311-5_0_4_load_18 | 32 | 0.0021282 | 0.00053339 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_311-5_0_4_load_19 | 33 | 0.0020614 | 0.00051663 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_311-5_0_4_load_20 | 34 | 0.0017142 | 0.00042962 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_311-5_0_4_load_21 | 35 | 0.0032343 | 0.00081059 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_311-5_0_4_load_22 | 36 | 0.0021517 | 0.00053926 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_311-5_0_4_load_83 | 39 | 0.0037035 | 0.00092818 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_311-5_0_4_load_28 | 40 | 0.0011837 | 0.00029667 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_311-5_0_4_load_25 | 41 | 0.014273 | 0.0035772 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_311-5_0_4_load_26 | 42 | 0.0013198 | 0.00033078 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_311-5_0_4_load_73 | 44 | 0.0058666 | 0.0014703 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_311-5_0_4_load_70 | 46 | 0.00085259 | 0.00021368 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_311-5_0_4_load_71 | 47 | 0.0070236 | 0.0017603 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_311-5_0_4_load_72 | 48 | 0.0043835 | 0.0010986 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_311-5_0_4_load_41 | 49 | 0.068053 | 0.017056 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_311-5_0_4_load_30 | 51 | 0.013409 | 0.0033607 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_311-5_0_4_load_31 | 52 | 0.0038751 | 0.00097118 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_311-5_0_4_load_32 | 53 | 0.010253 | 0.0025697 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_311-5_0_4_load_33 | 54 | 0.0033109 | 0.00082978 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_311-5_0_4_load_35 | 56 | 0.0035822 | 0.00089778 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_311-5_0_4_load_85 | 58 | 0.0050151 | 0.0012569 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_311-5_0_4_load_36 | 59 | 0.0053413 | 0.0013387 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_311-5_0_4_load_48 | 60 | 0.0069692 | 0.0017466 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_311-5_0_4_load_37 | 61 | 0.0030666 | 0.00076856 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_311-5_0_4_load_38 | 62 | 0.0056608 | 0.0014187 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_311-5_0_4_load_43 | 64 | 0.0031776 | 0.00079638 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_311-5_0_4_load_44 | 65 | 0.011069 | 0.0027742 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_311-5_0_4_load_46 | 66 | 0.003167 | 0.00079372 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_311-5_0_4_load_50 | 67 | 0.0066044 | 0.0016552 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_311-5_0_4_load_51 | 68 | 0.0040847 | 0.0010237 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_311-5_0_4_load_52 | 69 | 0.0022818 | 0.00057188 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_311-5_0_4_load_53 | 70 | 0.0026391 | 0.00066141 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_311-5_0_4_load_58 | 71 | 0.0054094 | 0.0013557 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_311-5_0_4_load_56 | 72 | 0.0035005 | 0.0008773 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_311-5_0_4_load_54 | 73 | 0.0027765 | 0.00069586 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_311-5_0_4_load_55 | 74 | 0.0020731 | 0.00051956 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_311-5_0_4_load_57 | 75 | 0.0015016 | 0.00037634 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_311-5_0_4_load_69 | 76 | 0.0017115 | 0.00042894 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_311-5_0_4_load_74 | 77 | 0.0043484 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_311-5_0_4_load_63 | 78 | 0.0019418 | 0.00048667 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_311-5_0_4_load_64 | 79 | 0.00092631 | 0.00023215 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_311-5_0_4_load_66 | 80 | 0.0015615 | 0.00039136 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_311-5_0_4_load_78 | 82 | 0.004122 | 0.0010331 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_311-5_0_4_load_81 | 83 | 0.0042128 | 0.0010558 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_311-5_0_4_line_0 |  | 0 | 1 | 0.00028172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_311-5_0_4_line_1 |  | 1 | 2 | 0.028241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_311-5_0_4_line_2 |  | 2 | 3 | 0.0021202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_311-5_0_4_line_3 |  | 3 | 7 | 0.027352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_311-5_0_4_line_4 |  | 3 | 8 | 0.026492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_311-5_0_4_line_5 |  | 4 | 5 | 0.028589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_311-5_0_4_line_6 |  | 4 | 6 | 0.027945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_311-5_0_4_line_7 |  | 5 | 9 | 0.0040232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_311-5_0_4_line_8 |  | 6 | 10 | 0.0099596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_311-5_0_4_line_9 |  | 7 | 13 | 0.050697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_311-5_0_4_line_10 |  | 7 | 11 | 0.011336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_311-5_0_4_line_11 |  | 9 | 81 | 0.028019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_311-5_0_4_line_12 |  | 10 | 83 | 0.0099956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_311-5_0_4_line_13 |  | 11 | 12 | 0.02005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_311-5_0_4_line_14 |  | 12 | 14 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_311-5_0_4_line_15 |  | 13 | 24 | 0.0068687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_311-5_0_4_line_16 |  | 14 | 19 | 0.017855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_311-5_0_4_line_17 |  | 15 | 16 | 0.024881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_311-5_0_4_line_18 |  | 15 | 17 | 0.040957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_311-5_0_4_line_19 |  | 15 | 18 | 0.034218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_311-5_0_4_line_20 |  | 17 | 25 | 0.025249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_311-5_0_4_line_21 |  | 18 | 23 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_311-5_0_4_line_22 |  | 19 | 20 | 0.021813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_311-5_0_4_line_23 |  | 19 | 21 | 0.038073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_311-5_0_4_line_24 |  | 20 | 22 | 0.017469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_311-5_0_4_line_25 |  | 21 | 26 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_311-5_0_4_line_26 |  | 21 | 27 | 0.004033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_311-5_0_4_line_27 |  | 22 | 23 | 0.015752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_311-5_0_4_line_28 |  | 24 | 78 | 0.021614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_311-5_0_4_line_29 |  | 26 | 67 | 0.020056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_311-5_0_4_line_30 |  | 27 | 60 | 0.020383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_311-5_0_4_line_31 |  | 27 | 64 | 0.025262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_311-5_0_4_line_32 |  | 28 | 29 | 0.012872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_311-5_0_4_line_33 |  | 28 | 30 | 0.0091868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_311-5_0_4_line_34 |  | 29 | 31 | 0.012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_311-5_0_4_line_35 |  | 30 | 32 | 0.011423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_311-5_0_4_line_36 |  | 32 | 33 | 0.0092361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_311-5_0_4_line_37 |  | 33 | 34 | 0.0070713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_311-5_0_4_line_38 |  | 34 | 35 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_311-5_0_4_line_39 |  | 35 | 36 | 0.0090322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_311-5_0_4_line_40 |  | 36 | 37 | 0.012193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_311-5_0_4_line_41 |  | 37 | 38 | 0.033253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_311-5_0_4_line_42 |  | 38 | 39 | 0.022649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_311-5_0_4_line_43 |  | 39 | 40 | 0.09519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_311-5_0_4_line_44 |  | 40 | 42 | 0.018418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_311-5_0_4_line_45 |  | 41 | 42 | 0.031731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_311-5_0_4_line_46 |  | 41 | 43 | 0.014337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_311-5_0_4_line_47 |  | 42 | 44 | 0.098224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_311-5_0_4_line_48 |  | 43 | 45 | 0.070847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_311-5_0_4_line_49 |  | 44 | 48 | 0.011266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_311-5_0_4_line_50 |  | 45 | 49 | 0.019466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_311-5_0_4_line_51 |  | 46 | 47 | 0.017942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_311-5_0_4_line_52 |  | 46 | 48 | 0.0043751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_311-5_0_4_line_53 |  | 47 | 50 | 0.052146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_311-5_0_4_line_54 |  | 50 | 63 | 0.058061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_311-5_0_4_line_55 |  | 51 | 52 | 0.0052842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_311-5_0_4_line_56 |  | 51 | 53 | 0.034365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_311-5_0_4_line_57 |  | 52 | 54 | 0.021918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_311-5_0_4_line_58 |  | 53 | 55 | 0.0043197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_311-5_0_4_line_59 |  | 54 | 56 | 0.005039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_311-5_0_4_line_60 |  | 55 | 57 | 0.027685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_311-5_0_4_line_61 |  | 55 | 58 | 0.036248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_311-5_0_4_line_62 |  | 56 | 59 | 0.00013778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_311-5_0_4_line_63 |  | 57 | 60 | 0.079048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_311-5_0_4_line_64 |  | 59 | 61 | 0.010732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_311-5_0_4_line_65 |  | 61 | 62 | 0.011323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_311-5_0_4_line_66 |  | 62 | 63 | 0.015661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_311-5_0_4_line_67 |  | 64 | 65 | 0.018264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_311-5_0_4_line_68 |  | 65 | 66 | 0.0077413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_311-5_0_4_line_69 |  | 67 | 68 | 0.016197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_311-5_0_4_line_70 |  | 68 | 69 | 0.010275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_311-5_0_4_line_71 |  | 69 | 70 | 0.0081732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_311-5_0_4_line_72 |  | 70 | 71 | 0.00094331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_311-5_0_4_line_73 |  | 71 | 72 | 0.017561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_311-5_0_4_line_74 |  | 72 | 73 | 0.010016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_311-5_0_4_line_75 |  | 73 | 74 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_311-5_0_4_line_76 |  | 74 | 75 | 0.012876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_311-5_0_4_line_77 |  | 75 | 76 | 0.0073029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_311-5_0_4_line_78 |  | 76 | 77 | 0.014098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_311-5_0_4_line_79 |  | 78 | 79 | 0.018488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_311-5_0_4_line_80 |  | 79 | 80 | 0.0080183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_311-5_0_4_line_81 |  | 80 | 81 | 0.048896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_311-5_0_4_line_82 |  | 81 | 82 | 0.031194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_311-5_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 84 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2595512.9489 | 1210012.1259 | 2595512.7058 | 1210011.9835
1 | 2595512.7058 | 1210011.9835 | 2595488.3386 | 1209997.7075
2 | 2595486.5092 | 1209996.6357 | 2595488.3386 | 1209997.7075
3 | 2595462.8326 | 1209982.8241 | 2595486.5092 | 1209996.6357
4 | 2595486.5092 | 1209996.6357 | 2595483.2302 | 1210001.9968 | 2595477.1281 | 1210012.574 | 2595472.0187 | 1210009.643 | 2595470.1949 | 1210008.589
5 | 2595603.7185 | 1209961.9498 | 2595600.5403 | 1209990.3568
6 | 2595600.5403 | 1209990.3568 | 2595574.5219 | 1210000.5526
7 | 2595603.7185 | 1209961.9498 | 2595604.2022 | 1209957.9558
8 | 2595565.2489 | 1210004.1864 | 2595574.5219 | 1210000.5526
9 | 2595462.8326 | 1209982.8241 | 2595473.4066 | 1209976.3235 | 2595476.9243 | 1209974.9645 | 2595494.0969 | 1209970.9046 | 2595504.5903 | 1209968.2839 | 2595510.3697 | 1209966.4877
10 | 2595452.1349 | 1209986.5901 | 2595457.9621 | 1209984.1509 | 2595462.8326 | 1209982.8241
11 | 2595607.5706 | 1209930.1404 | 2595604.2022 | 1209957.9558
12 | 2595555.9424 | 1210007.8334 | 2595565.2489 | 1210004.1864
13 | 2595452.1349 | 1209986.5901 | 2595438.4969 | 1209971.8591
14 | 2595438.4969 | 1209971.8591 | 2595427.4826 | 1209959.4164 | 2595423.769 | 1209957.2132
15 | 2595510.3697 | 1209966.4877 | 2595515.7063 | 1209964.8291 | 2595516.8893 | 1209964.3393
16 | 2595408.4132 | 1209948.1028 | 2595423.769 | 1209957.2132
17 | 2595397.2595 | 1210029.4343 | 2595391.5487 | 1210034.8529 | 2595383.0236 | 1210049.5712
18 | 2595397.2595 | 1210029.4343 | 2595392.714 | 1210018.6764 | 2595389.5111 | 1210014.3988 | 2595383.9609 | 1210011.4459 | 2595378.4881 | 1210010.3385 | 2595372.2049 | 1210012.7003 | 2595369.579 | 1210017.3636
19 | 2595397.2595 | 1210029.4343 | 2595397.6146 | 1210017.0939 | 2595398.1206 | 1210012.9801 | 2595399.1899 | 1210010.0888 | 2595400.7075 | 1210007.1415 | 2595406.0068 | 1210000.2224 | 2595407.318 | 1209997.96
20 | 2595357.1899 | 1210039.3644 | 2595369.579 | 1210017.3636
21 | 2595415.0764 | 1209984.5733 | 2595407.318 | 1209997.96
22 | 2595404.5801 | 1209954.4204 | 2595398.4016 | 1209944.9422 | 2595408.4132 | 1209948.1028
23 | 2595382.9102 | 1209922.1306 | 2595394.6124 | 1209939.3087 | 2595398.4016 | 1209944.9422 | 2595408.4132 | 1209948.1028
24 | 2595404.5801 | 1209954.4204 | 2595403.7143 | 1209964.8046 | 2595407.2269 | 1209970.9161
25 | 2595382.9102 | 1209922.1306 | 2595376.7747 | 1209930.9564
26 | 2595382.9102 | 1209922.1306 | 2595380.7719 | 1209918.7082
27 | 2595415.0764 | 1209984.5733 | 2595407.2269 | 1209970.9161
28 | 2595536.8586 | 1209956.0707 | 2595516.8893 | 1209964.3393
29 | 2595376.7747 | 1209930.9564 | 2595365.3264 | 1209947.4244
30 | 2595380.7719 | 1209918.7082 | 2595369.9813 | 1209901.4163
31 | 2595380.7719 | 1209918.7082 | 2595401.0926 | 1209906.9524 | 2595402.6189 | 1209906.0261
32 | 2595508.1075 | 1209824.0851 | 2595497.7447 | 1209831.7207
33 | 2595508.1075 | 1209824.0851 | 2595515.5035 | 1209818.6357
34 | 2595487.9529 | 1209838.9355 | 2595497.7447 | 1209831.7207
35 | 2595524.6995 | 1209811.8598 | 2595515.5035 | 1209818.6357
36 | 2595524.6995 | 1209811.8598 | 2595532.1352 | 1209806.3811
37 | 2595532.1352 | 1209806.3811 | 2595537.828 | 1209802.1864
38 | 2595549.0437 | 1209793.9225 | 2595537.828 | 1209802.1864
39 | 2595549.0437 | 1209793.9225 | 2595556.3152 | 1209788.5647
40 | 2595566.6395 | 1209782.1893 | 2595562.1266 | 1209784.2827 | 2595556.3152 | 1209788.5647
41 | 2595566.6395 | 1209782.1893 | 2595553.5137 | 1209751.6267
42 | 2595553.5137 | 1209751.6267 | 2595549.3579 | 1209753.5643 | 2595548.1801 | 1209753.8431 | 2595536.315 | 1209762.1679 | 2595534.363 | 1209763.4922
43 | 2595534.363 | 1209763.4922 | 2595440.2163 | 1209749.4347
44 | 2595440.2163 | 1209749.4347 | 2595438.2771 | 1209747.9131 | 2595436.7097 | 1209745.5575 | 2595433.3066 | 1209738.1227 | 2595431.2508 | 1209733.6236
45 | 2595430.7599 | 1209703.3877 | 2595427.238 | 1209713.9807 | 2595426.6325 | 1209717.1274 | 2595426.6348 | 1209720.1846 | 2595427.0934 | 1209723.4305 | 2595428.1677 | 1209726.876 | 2595431.2508 | 1209733.6236
46 | 2595435.283 | 1209689.7833 | 2595430.7599 | 1209703.3877
47 | 2595333.1826 | 1209739.1576 | 2595431.2508 | 1209733.6236
48 | 2595426.0336 | 1209621.6528 | 2595426.743 | 1209624.9096 | 2595427.7956 | 1209629.7559 | 2595434.9503 | 1209662.7019 | 2595439.6058 | 1209677.7177 | 2595439.888 | 1209678.9737 | 2595439.6532 | 1209680.0857 | 2595436.1411 | 1209688.771 | 2595435.283 | 1209689.7833
49 | 2595333.1826 | 1209739.1576 | 2595331.1186 | 1209728.0827
50 | 2595426.0336 | 1209621.6528 | 2595429.004 | 1209619.994 | 2595442.7856 | 1209611.7419
51 | 2595330.3171 | 1209723.7817 | 2595328.1984 | 1209712.4134 | 2595325.6995 | 1209706.5454
52 | 2595330.3171 | 1209723.7817 | 2595331.1186 | 1209728.0827
53 | 2595297.2794 | 1209663.3332 | 2595318.7945 | 1209690.3309 | 2595325.6995 | 1209706.5454
54 | 2595276.28 | 1209710.7874 | 2595276.594 | 1209704.3391 | 2595278.4783 | 1209694.1542 | 2595282.3571 | 1209678.5869 | 2595283.2803 | 1209673.5612 | 2595283.4128 | 1209668.147 | 2595297.2794 | 1209663.3332
55 | 2595292.8557 | 1209778.1182 | 2595290.3455 | 1209773.4683
56 | 2595292.8557 | 1209778.1182 | 2595293.5419 | 1209779.3893 | 2595311.0996 | 1209807.2368
57 | 2595290.3455 | 1209773.4683 | 2595289.8884 | 1209772.6218 | 2595286.3177 | 1209764.7981 | 2595283.0119 | 1209755.7068 | 2595282.2641 | 1209753.1303
58 | 2595313.4034 | 1209810.8908 | 2595311.0996 | 1209807.2368
59 | 2595282.2641 | 1209753.1303 | 2595280.8596 | 1209748.291
60 | 2595313.4034 | 1209810.8908 | 2595328.1435 | 1209834.3476
61 | 2595313.4034 | 1209810.8908 | 2595285.9234 | 1209834.5285
62 | 2595280.8212 | 1209748.1587 | 2595280.8596 | 1209748.291
63 | 2595328.1435 | 1209834.3476 | 2595329.2241 | 1209836.1033 | 2595369.9813 | 1209901.4163
64 | 2595280.8212 | 1209748.1587 | 2595280.4893 | 1209747.0152 | 2595278.8557 | 1209738.1782 | 2595278.7783 | 1209737.6291
65 | 2595277.275 | 1209726.4078 | 2595277.4722 | 1209728.3628 | 2595278.7783 | 1209737.6291
66 | 2595276.28 | 1209710.7874 | 2595276.5528 | 1209719.2474 | 2595277.275 | 1209726.4078
67 | 2595402.6189 | 1209906.0261 | 2595406.7974 | 1209903.4905 | 2595417.5746 | 1209895.5669
68 | 2595423.8116 | 1209890.9814 | 2595417.5746 | 1209895.5669
69 | 2595356.0808 | 1209960.7239 | 2595365.3264 | 1209947.4244
70 | 2595356.0808 | 1209960.7239 | 2595350.2157 | 1209969.1607
71 | 2595345.5504 | 1209975.8716 | 2595350.2157 | 1209969.1607
72 | 2595345.026 | 1209976.6552 | 2595345.1587 | 1209976.435 | 2595345.5504 | 1209975.8716
73 | 2595345.026 | 1209976.6552 | 2595335.9603 | 1209991.6949
74 | 2595330.7894 | 1210000.2734 | 2595335.9603 | 1209991.6949
75 | 2595330.7894 | 1210000.2734 | 2595323.4726 | 1210012.4118
76 | 2595323.4726 | 1210012.4118 | 2595316.8255 | 1210023.439
77 | 2595313.0554 | 1210029.6936 | 2595316.8255 | 1210023.439
78 | 2595313.0554 | 1210029.6936 | 2595305.7771 | 1210041.7681
79 | 2595536.8586 | 1209956.0707 | 2595553.9405 | 1209948.9977
80 | 2595553.9405 | 1209948.9977 | 2595561.3488 | 1209945.9302
81 | 2595607.5706 | 1209930.1404 | 2595590.0869 | 1209935.0784 | 2595572.247 | 1209941.4176 | 2595561.3488 | 1209945.9302
82 | 2595607.5706 | 1209930.1404 | 2595629.9899 | 1209929.3899 | 2595638.7291 | 1209930.0267

## bus_geodata
| x | y | coords
0 | 2595512.9489 | 1210012.1259
1 | 2595512.7058 | 1210011.9835
2 | 2595488.3386 | 1209997.7075
3 | 2595486.5092 | 1209996.6357
4 | 2595600.5403 | 1209990.3568
5 | 2595603.7185 | 1209961.9498
6 | 2595574.5219 | 1210000.5526
7 | 2595462.8326 | 1209982.8241
8 | 2595470.1949 | 1210008.589
9 | 2595604.2022 | 1209957.9558
10 | 2595565.2489 | 1210004.1864
11 | 2595452.1349 | 1209986.5901
12 | 2595438.4969 | 1209971.8591
13 | 2595510.3697 | 1209966.4877
14 | 2595423.769 | 1209957.2132
15 | 2595397.2595 | 1210029.4343
16 | 2595383.0236 | 1210049.5712
17 | 2595369.579 | 1210017.3636
18 | 2595407.318 | 1209997.96
19 | 2595408.4132 | 1209948.1028
20 | 2595404.5801 | 1209954.4204
21 | 2595382.9102 | 1209922.1306
22 | 2595407.2269 | 1209970.9161
23 | 2595415.0764 | 1209984.5733
24 | 2595516.8893 | 1209964.3393
25 | 2595357.1899 | 1210039.3644
26 | 2595376.7747 | 1209930.9564
27 | 2595380.7719 | 1209918.7082
28 | 2595508.1075 | 1209824.0851
29 | 2595497.7447 | 1209831.7207
30 | 2595515.5035 | 1209818.6356
31 | 2595487.9529 | 1209838.9355
32 | 2595524.6995 | 1209811.8598
33 | 2595532.1352 | 1209806.3811
34 | 2595537.828 | 1209802.1864
35 | 2595549.0437 | 1209793.9225
36 | 2595556.3152 | 1209788.5647
37 | 2595566.6395 | 1209782.1893
38 | 2595553.5137 | 1209751.6267
39 | 2595534.363 | 1209763.4922
40 | 2595440.2164 | 1209749.4347
41 | 2595430.7599 | 1209703.3877
42 | 2595431.2508 | 1209733.6236
43 | 2595435.283 | 1209689.7833
44 | 2595333.1826 | 1209739.1576
45 | 2595426.0336 | 1209621.6528
46 | 2595330.3171 | 1209723.7817
47 | 2595325.6995 | 1209706.5454
48 | 2595331.1186 | 1209728.0827
49 | 2595442.7856 | 1209611.7419
50 | 2595297.2794 | 1209663.3332
51 | 2595292.8557 | 1209778.1182
52 | 2595290.3455 | 1209773.4683
53 | 2595311.0996 | 1209807.2368
54 | 2595282.2641 | 1209753.1303
55 | 2595313.4034 | 1209810.8908
56 | 2595280.8596 | 1209748.291
57 | 2595328.1435 | 1209834.3476
58 | 2595285.9234 | 1209834.5285
59 | 2595280.8212 | 1209748.1587
60 | 2595369.9813 | 1209901.4163
61 | 2595278.7783 | 1209737.6291
62 | 2595277.275 | 1209726.4078
63 | 2595276.28 | 1209710.7874
64 | 2595402.6189 | 1209906.0261
65 | 2595417.5746 | 1209895.5669
66 | 2595423.8116 | 1209890.9814
67 | 2595365.3264 | 1209947.4244
68 | 2595356.0808 | 1209960.7239
69 | 2595350.2157 | 1209969.1607
70 | 2595345.5504 | 1209975.8716
71 | 2595345.026 | 1209976.6552
72 | 2595335.9603 | 1209991.6949
73 | 2595330.7894 | 1210000.2734
74 | 2595323.4726 | 1210012.4118
75 | 2595316.8255 | 1210023.439
76 | 2595313.0554 | 1210029.6936
77 | 2595305.7771 | 1210041.7681
78 | 2595536.8586 | 1209956.0707
79 | 2595553.9405 | 1209948.9977
80 | 2595561.3488 | 1209945.9302
81 | 2595607.5706 | 1209930.1404
82 | 2595638.7291 | 1209930.0267
83 | 2595555.9424 | 1210007.8334
84 | 2595380.7719 | 1209918.7082

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1