## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_311-6_1_3_node_48 | 0.4 | n |  | TRUE
1 | bus_LV_311-6_1_3_node_74 | 0.4 | n |  | TRUE
2 | bus_LV_311-6_1_3_node_70 | 0.4 | n |  | TRUE
3 | bus_LV_311-6_1_3_node_68 | 0.4 | n |  | TRUE
4 | bus_LV_311-6_1_3_node_69 | 0.4 | n |  | TRUE
5 | bus_LV_311-6_1_3_node_95 | 0.4 | n |  | TRUE
6 | bus_LV_311-6_1_3_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_311-6_1_3_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_311-6_1_3_node_88 | 0.4 | n |  | TRUE
9 | bus_LV_311-6_1_3_node_86 | 0.4 | n |  | TRUE
10 | bus_LV_311-6_1_3_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_311-6_1_3_node_84 | 0.4 | n |  | TRUE
12 | bus_LV_311-6_1_3_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_311-6_1_3_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_311-6_1_3_node_76 | 0.4 | n |  | TRUE
15 | bus_LV_311-6_1_3_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_311-6_1_3_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_311-6_1_3_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_311-6_1_3_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_311-6_1_3_node_92 | 0.4 | n |  | TRUE
20 | bus_LV_311-6_1_3_node_89 | 0.4 | n |  | TRUE
21 | bus_LV_311-6_1_3_node_93 | 0.4 | n |  | TRUE
22 | bus_LV_311-6_1_3_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_311-6_1_3_node_137 | 0.4 | n |  | TRUE
24 | bus_LV_311-6_1_3_node_206 | 0.4 | n |  | TRUE
25 | bus_LV_311-6_1_3_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_311-6_1_3_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_311-6_1_3_node_94 | 0.4 | n |  | TRUE
28 | bus_LV_311-6_1_3_node_90 | 0.4 | n |  | TRUE
29 | bus_LV_311-6_1_3_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_311-6_1_3_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_311-6_1_3_node_108 | 0.4 | n |  | TRUE
32 | bus_LV_311-6_1_3_node_201 | 0.4 | n |  | TRUE
33 | bus_LV_311-6_1_3_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_311-6_1_3_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_311-6_1_3_node_99 | 0.4 | n |  | TRUE
36 | bus_LV_311-6_1_3_node_100 | 0.4 | n |  | TRUE
37 | bus_LV_311-6_1_3_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_311-6_1_3_node_105 | 0.4 | n |  | TRUE
39 | bus_LV_311-6_1_3_node_199 | 0.4 | n |  | TRUE
40 | bus_LV_311-6_1_3_node_197 | 0.4 | n |  | TRUE
41 | bus_LV_311-6_1_3_node_102 | 0.4 | n |  | TRUE
42 | bus_LV_311-6_1_3_node_103 | 0.4 | n |  | TRUE
43 | bus_LV_311-6_1_3_node_104 | 0.4 | n |  | TRUE
44 | bus_LV_311-6_1_3_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_311-6_1_3_node_107 | 0.4 | n |  | TRUE
46 | bus_LV_311-6_1_3_node_117 | 0.4 | n |  | TRUE
47 | bus_LV_311-6_1_3_node_120 | 0.4 | n |  | TRUE
48 | bus_LV_311-6_1_3_node_109 | 0.4 | n |  | TRUE
49 | bus_LV_311-6_1_3_node_115 | 0.4 | n |  | TRUE
50 | bus_LV_311-6_1_3_node_110 | 0.4 | n |  | TRUE
51 | bus_LV_311-6_1_3_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_311-6_1_3_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_311-6_1_3_node_113 | 0.4 | n |  | TRUE
54 | bus_LV_311-6_1_3_node_114 | 0.4 | n |  | TRUE
55 | bus_LV_311-6_1_3_node_127 | 0.4 | n |  | TRUE
56 | bus_LV_311-6_1_3_node_126 | 0.4 | n |  | TRUE
57 | bus_LV_311-6_1_3_node_208 | 0.4 | n |  | TRUE
58 | bus_LV_311-6_1_3_node_116 | 0.4 | n |  | TRUE
59 | bus_LV_311-6_1_3_node_118 | 0.4 | n |  | TRUE
60 | bus_LV_311-6_1_3_node_119 | 0.4 | n |  | TRUE
61 | bus_LV_311-6_1_3_node_121 | 0.4 | n |  | TRUE
62 | bus_LV_311-6_1_3_node_122 | 0.4 | n |  | TRUE
63 | bus_LV_311-6_1_3_node_123 | 0.4 | n |  | TRUE
64 | bus_LV_311-6_1_3_node_124 | 0.4 | n |  | TRUE
65 | bus_LV_311-6_1_3_node_125 | 0.4 | n |  | TRUE
66 | bus_LV_311-6_1_3_node_135 | 0.4 | n |  | TRUE
67 | bus_LV_311-6_1_3_node_131 | 0.4 | n |  | TRUE
68 | bus_LV_311-6_1_3_node_132 | 0.4 | n |  | TRUE
69 | bus_LV_311-6_1_3_node_133 | 0.4 | n |  | TRUE
70 | bus_LV_311-6_1_3_node_134 | 0.4 | n |  | TRUE
71 | bus_LV_311-6_1_3_node_139 | 0.4 | n |  | TRUE
72 | bus_LV_311-6_1_3_node_136 | 0.4 | n |  | TRUE
73 | bus_LV_311-6_1_3_node_138 | 0.4 | n |  | TRUE
74 | bus_LV_311-6_1_3_node_176 | 0.4 | n |  | TRUE
75 | bus_LV_311-6_1_3_node_177 | 0.4 | n |  | TRUE
76 | bus_LV_311-6_1_3_node_178 | 0.4 | n |  | TRUE
77 | bus_LV_311-6_1_3_node_179 | 0.4 | n |  | TRUE
78 | bus_LV_311-6_1_3_node_180 | 0.4 | n |  | TRUE
79 | bus_LV_311-6_1_3_node_181 | 0.4 | n |  | TRUE
80 | bus_LV_311-6_1_3_node_183 | 0.4 | n |  | TRUE
81 | bus_LV_311-6_1_3_node_200 | 0.4 | n |  | TRUE
82 | bus_LV_311-6_1_3_node_184 | 0.4 | n |  | TRUE
83 | bus_LV_311-6_1_3_node_185 | 0.4 | n |  | TRUE
84 | bus_LV_311-6_1_3_node_195 | 0.4 | n |  | TRUE
85 | bus_LV_311-6_1_3_node_188 | 0.4 | n |  | TRUE
86 | bus_LV_311-6_1_3_node_189 | 0.4 | n |  | TRUE
87 | bus_LV_311-6_1_3_node_190 | 0.4 | n |  | TRUE
88 | bus_LV_311-6_1_3_node_191 | 0.4 | n |  | TRUE
89 | bus_LV_311-6_1_3_node_192 | 0.4 | n |  | TRUE
90 | bus_LV_311-6_1_3_node_196 | 0.4 | n |  | TRUE
91 | bus_LV_311-6_1_3_node_193 | 0.4 | n |  | TRUE
92 | bus_LV_311-6_1_3_node_198 | 0.4 | n |  | TRUE
93 | bus_LV_311-6_1_3_node_194 | 0.4 | n |  | TRUE
94 | bus_LV_311-6_1_3_node_213 | 0.4 | n |  | TRUE
95 | bus_LV_311-6_1_3_node_202 | 0.4 | n |  | TRUE
96 | bus_LV_311-6_1_3_node_203 | 0.4 | n |  | TRUE
97 | bus_LV_311-6_1_3_node_207 | 0.4 | n |  | TRUE
98 | bus_LV_311-6_1_3_node_209 | 0.4 | n |  | TRUE
99 | bus_LV_311-6_1_3_node_210 | 0.4 | n |  | TRUE
100 | bus_LV_311-6_1_3_node_211 | 0.4 | n |  | TRUE
101 | bus_MV_385_1_node_232 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_311-6_1_3_load_70 | 2 | 0.028873 | 0.0072363 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_311-6_1_3_load_69 | 4 | 0.0030175 | 0.00075626 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_311-6_1_3_load_95 | 5 | 0.011456 | 0.0028711 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_311-6_1_3_load_71 | 6 | 0.0017085 | 0.00042819 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_311-6_1_3_load_88 | 8 | 0.0048914 | 0.0012259 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_311-6_1_3_load_86 | 9 | 0.0037741 | 0.00094588 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_311-6_1_3_load_82 | 12 | 0.0016286 | 0.00040816 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_311-6_1_3_load_75 | 13 | 0.0016187 | 0.00040569 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_311-6_1_3_load_76 | 14 | 0.0021517 | 0.00053927 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_311-6_1_3_load_78 | 16 | 0.0041239 | 0.0010336 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_311-6_1_3_load_80 | 18 | 0.0018474 | 0.00046299 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_311-6_1_3_load_92 | 19 | 0.0026166 | 0.00065579 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_311-6_1_3_load_89 | 20 | 0.0014888 | 0.00037312 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_311-6_1_3_load_93 | 21 | 0.0096497 | 0.0024184 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_311-6_1_3_load_83 | 22 | 0.0020439 | 0.00051225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_311-6_1_3_load_206 | 24 | 0.00090445 | 0.00022668 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_311-6_1_3_load_85 | 25 | 0.0020972 | 0.00052562 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_311-6_1_3_load_87 | 26 | 0.0013355 | 0.00033471 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_311-6_1_3_load_94 | 27 | 0.0041085 | 0.0010297 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_311-6_1_3_load_90 | 28 | 0.0014693 | 0.00036824 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_311-6_1_3_load_96 | 30 | 0.0016472 | 0.00041281 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_311-6_1_3_load_201 | 32 | 0.0016001 | 0.00040102 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_311-6_1_3_load_97 | 33 | 0.0038826 | 0.00097307 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_311-6_1_3_load_98 | 34 | 0.0055908 | 0.0014012 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_311-6_1_3_load_99 | 35 | 0.0011274 | 0.00028255 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_311-6_1_3_load_100 | 36 | 0.0031172 | 0.00078126 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_311-6_1_3_load_105 | 38 | 0.0019112 | 0.000479 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_311-6_1_3_load_197 | 40 | 0.0020618 | 0.00051674 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_311-6_1_3_load_102 | 41 | 0.0053417 | 0.0013388 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_311-6_1_3_load_103 | 42 | 0.0057091 | 0.0014308 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_311-6_1_3_load_106 | 44 | 0.0035217 | 0.00088262 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_311-6_1_3_load_107 | 45 | 0.0050884 | 0.0012753 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_311-6_1_3_load_117 | 46 | 0.0029642 | 0.00074289 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_311-6_1_3_load_109 | 48 | 0.0029632 | 0.00074265 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_311-6_1_3_load_110 | 50 | 0.0017124 | 0.00042916 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_311-6_1_3_load_111 | 51 | 0.0016084 | 0.0004031 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_311-6_1_3_load_112 | 52 | 0.0013098 | 0.00032826 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_311-6_1_3_load_114 | 54 | 0.0025859 | 0.00064808 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_311-6_1_3_load_127 | 55 | 0.0029188 | 0.00073151 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_311-6_1_3_load_126 | 56 | 0.00073886 | 0.00018518 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_311-6_1_3_load_208 | 57 | 0.0013312 | 0.00033363 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_311-6_1_3_load_116 | 58 | 0.0014584 | 0.00036551 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_311-6_1_3_load_118 | 59 | 0.0013382 | 0.00033539 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_311-6_1_3_load_119 | 60 | 0.0017262 | 0.00043263 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_311-6_1_3_load_121 | 61 | 0.00168 | 0.00042105 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_311-6_1_3_load_122 | 62 | 0.0011447 | 0.00028688 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_311-6_1_3_load_123 | 63 | 0.0025339 | 0.00063506 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_311-6_1_3_load_124 | 64 | 0.0024099 | 0.00060397 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_311-6_1_3_load_125 | 65 | 0.006168 | 0.0015458 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_311-6_1_3_load_135 | 66 | 0.0017375 | 0.00043546 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_311-6_1_3_load_131 | 67 | 0.0015467 | 0.00038765 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_311-6_1_3_load_132 | 68 | 0.00091046 | 0.00022818 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_311-6_1_3_load_133 | 69 | 0.0045143 | 0.0011314 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_311-6_1_3_load_134 | 70 | 0.0040878 | 0.0010245 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_311-6_1_3_load_139 | 71 | 0.0027395 | 0.00068658 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_311-6_1_3_load_136 | 72 | 0.0013326 | 0.00033398 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_311-6_1_3_load_138 | 73 | 0.00091357 | 0.00022896 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_311-6_1_3_load_176 | 74 | 0.0021457 | 0.00053776 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_311-6_1_3_load_177 | 75 | 0.0004063 | 0.00010183 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_311-6_1_3_load_179 | 77 | 0.0012914 | 0.00032365 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_311-6_1_3_load_181 | 79 | 0.00027562 | 6.9077e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_311-6_1_3_load_183 | 80 | 0.00052352 | 0.00013121 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_311-6_1_3_load_200 | 81 | 0.00074362 | 0.00018637 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_311-6_1_3_load_184 | 82 | 0.0014153 | 0.0003547 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_311-6_1_3_load_195 | 84 | 0.0012735 | 0.00031918 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_311-6_1_3_load_188 | 85 | 0.0014373 | 0.00036021 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_311-6_1_3_load_189 | 86 | 0.00024311 | 6.0928e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_311-6_1_3_load_190 | 87 | 0.00033396 | 8.3698e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_311-6_1_3_load_191 | 88 | 0.00094914 | 0.00023788 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_311-6_1_3_load_192 | 89 | 0.00065398 | 0.0001639 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_311-6_1_3_load_194 | 93 | 0.00051662 | 0.00012948 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_311-6_1_3_load_213 | 94 | 0.0024852 | 0.00062285 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_311-6_1_3_load_202 | 95 | 0.00070991 | 0.00017792 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_311-6_1_3_load_203 | 96 | 0.0016853 | 0.00042237 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_311-6_1_3_load_207 | 97 | 0.0061811 | 0.0015491 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_311-6_1_3_load_209 | 98 | 0.0017089 | 0.0004283 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_311-6_1_3_load_210 | 99 | 0.0016508 | 0.00041373 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_311-6_1_3_load_211 | 100 | 0.004552 | 0.0011409 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_311-6_1_3_line_0 |  | 0 | 1 | 0.070583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_311-6_1_3_line_1 |  | 0 | 2 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_311-6_1_3_line_2 |  | 1 | 10 | 0.082407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_311-6_1_3_line_3 |  | 2 | 6 | 0.0029423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_311-6_1_3_line_4 |  | 3 | 4 | 0.022123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_311-6_1_3_line_5 |  | 3 | 5 | 0.17077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_311-6_1_3_line_6 |  | 5 | 29 | 0.08759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_311-6_1_3_line_7 |  | 6 | 7 | 0.0098641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_311-6_1_3_line_8 |  | 7 | 8 | 0.031796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_311-6_1_3_line_9 |  | 7 | 9 | 0.02356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_311-6_1_3_line_10 |  | 8 | 27 | 0.017471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_311-6_1_3_line_11 |  | 8 | 21 | 0.023453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_311-6_1_3_line_12 |  | 9 | 25 | 0.0095566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_311-6_1_3_line_13 |  | 10 | 11 | 0.008003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_311-6_1_3_line_14 |  | 10 | 12 | 0.017182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_311-6_1_3_line_15 |  | 11 | 23 | 0.010674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_311-6_1_3_line_16 |  | 11 | 24 | 0.023748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_311-6_1_3_line_17 |  | 12 | 22 | 0.035261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_311-6_1_3_line_18 |  | 13 | 14 | 0.0060281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_311-6_1_3_line_19 |  | 13 | 15 | 0.017502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_311-6_1_3_line_20 |  | 14 | 16 | 0.012797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_311-6_1_3_line_21 |  | 15 | 17 | 0.020485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_311-6_1_3_line_22 |  | 15 | 18 | 0.016794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_311-6_1_3_line_23 |  | 17 | 19 | 0.0021836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_311-6_1_3_line_24 |  | 17 | 20 | 0.0081767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_311-6_1_3_line_25 |  | 18 | 21 | 0.0083432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_311-6_1_3_line_26 |  | 19 | 31 | 0.0079349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_311-6_1_3_line_27 |  | 20 | 28 | 0.021415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_311-6_1_3_line_28 |  | 23 | 73 | 0.053107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_311-6_1_3_line_29 |  | 23 | 72 | 0.015369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_311-6_1_3_line_30 |  | 24 | 97 | 0.0006115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_311-6_1_3_line_31 |  | 25 | 26 | 0.003416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_311-6_1_3_line_32 |  | 28 | 29 | 0.029835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_311-6_1_3_line_33 |  | 29 | 30 | 0.053612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_311-6_1_3_line_34 |  | 30 | 32 | 0.018017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_311-6_1_3_line_35 |  | 31 | 48 | 0.027143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_311-6_1_3_line_36 |  | 32 | 95 | 0.015273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_311-6_1_3_line_37 |  | 33 | 34 | 0.0020349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_311-6_1_3_line_38 |  | 33 | 35 | 0.0074752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_311-6_1_3_line_39 |  | 34 | 36 | 0.014391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_311-6_1_3_line_40 |  | 35 | 37 | 0.012236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_311-6_1_3_line_41 |  | 36 | 38 | 0.014729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_311-6_1_3_line_42 |  | 37 | 39 | 0.066344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_311-6_1_3_line_43 |  | 37 | 40 | 0.061324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_311-6_1_3_line_44 |  | 38 | 42 | 0.038724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_311-6_1_3_line_45 |  | 39 | 94 | 0.044918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_311-6_1_3_line_46 |  | 40 | 92 | 0.06764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_311-6_1_3_line_47 |  | 41 | 42 | 0.00027168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_311-6_1_3_line_48 |  | 41 | 43 | 0.020465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_311-6_1_3_line_49 |  | 43 | 44 | 0.038631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_311-6_1_3_line_50 |  | 43 | 45 | 0.021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_311-6_1_3_line_51 |  | 44 | 46 | 0.024056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_311-6_1_3_line_52 |  | 45 | 47 | 0.015852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_311-6_1_3_line_53 |  | 47 | 62 | 0.027262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_311-6_1_3_line_54 |  | 47 | 59 | 0.010221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_311-6_1_3_line_55 |  | 48 | 49 | 0.013974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_311-6_1_3_line_56 |  | 49 | 58 | 0.021937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_311-6_1_3_line_57 |  | 50 | 51 | 0.0021599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_311-6_1_3_line_58 |  | 50 | 52 | 0.0026811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_311-6_1_3_line_59 |  | 51 | 53 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_311-6_1_3_line_60 |  | 52 | 54 | 0.01505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_311-6_1_3_line_61 |  | 53 | 55 | 0.0026618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_311-6_1_3_line_62 |  | 53 | 56 | 0.010817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_311-6_1_3_line_63 |  | 54 | 57 | 0.010988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_311-6_1_3_line_64 |  | 55 | 66 | 0.030266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_311-6_1_3_line_65 |  | 56 | 62 | 0.012211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_311-6_1_3_line_66 |  | 57 | 98 | 0.0066592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_311-6_1_3_line_67 |  | 59 | 60 | 0.016419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_311-6_1_3_line_68 |  | 60 | 61 | 0.0012212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_311-6_1_3_line_69 |  | 61 | 63 | 0.036487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_311-6_1_3_line_70 |  | 63 | 64 | 0.0022188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_311-6_1_3_line_71 |  | 64 | 65 | 0.0083995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_311-6_1_3_line_72 |  | 66 | 72 | 0.025183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_311-6_1_3_line_73 |  | 67 | 68 | 0.022719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_311-6_1_3_line_74 |  | 67 | 69 | 0.014539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_311-6_1_3_line_75 |  | 68 | 70 | 0.002037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_311-6_1_3_line_76 |  | 70 | 71 | 0.0061017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_311-6_1_3_line_77 |  | 71 | 73 | 0.0011599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_311-6_1_3_line_78 |  | 74 | 75 | 0.064521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_311-6_1_3_line_79 |  | 74 | 76 | 0.023057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_311-6_1_3_line_80 |  | 75 | 77 | 0.012019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_311-6_1_3_line_81 |  | 76 | 78 | 0.008134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_311-6_1_3_line_82 |  | 76 | 79 | 0.083747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_311-6_1_3_line_83 |  | 78 | 80 | 0.045683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_311-6_1_3_line_84 |  | 79 | 81 | 0.0082467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_311-6_1_3_line_85 |  | 80 | 82 | 0.0025242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_311-6_1_3_line_86 |  | 82 | 83 | 0.011526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_311-6_1_3_line_87 |  | 83 | 84 | 0.029431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_311-6_1_3_line_88 |  | 84 | 93 | 0.038535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_311-6_1_3_line_89 |  | 85 | 86 | 0.015241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_311-6_1_3_line_90 |  | 85 | 87 | 0.010455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_311-6_1_3_line_91 |  | 86 | 88 | 0.012971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_311-6_1_3_line_92 |  | 87 | 89 | 0.028102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_311-6_1_3_line_93 |  | 88 | 90 | 0.019706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_311-6_1_3_line_94 |  | 89 | 91 | 0.014904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_311-6_1_3_line_95 |  | 90 | 93 | 0.0063501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_311-6_1_3_line_96 |  | 91 | 92 | 0.1099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_311-6_1_3_line_97 |  | 95 | 96 | 0.0026728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_311-6_1_3_line_98 |  | 98 | 99 | 0.0068853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_311-6_1_3_line_99 |  | 99 | 100 | 0.0038294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_311-6_1_3_trafo_78 | 0.63 MVA 20/0.4 kV | 101 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2595265.4001 | 1209479.7461 | 2595287.4766 | 1209485.4093 | 2595292.0552 | 1209479.8248 | 2595298.1223 | 1209472.7049 | 2595309.6749 | 1209481.934 | 2595322.5051 | 1209492.1962
1 | 2595265.4001 | 1209479.7461 | 2595256.6115 | 1209473.0361
2 | 2595323.6171 | 1209428.3933 | 2595318.3578 | 1209438.2585 | 2595311.672 | 1209451.0709 | 2595307.0725 | 1209459.1346 | 2595302.746 | 1209466.4421 | 2595298.1223 | 1209472.7049 | 2595309.6749 | 1209481.934 | 2595322.5051 | 1209492.1962
3 | 2595256.6115 | 1209473.0361 | 2595254.273 | 1209471.2506
4 | 2594884.2547 | 1209502.9451 | 2594876.1554 | 1209482.3582
5 | 2595039.8684 | 1209432.6089 | 2594884.2547 | 1209502.9451
6 | 2595124.8178 | 1209411.7124 | 2595106.4662 | 1209416.3747 | 2595063.8264 | 1209424.8595 | 2595039.8684 | 1209432.6089
7 | 2595246.4327 | 1209465.2646 | 2595254.273 | 1209471.2506
8 | 2595224.9575 | 1209441.9914 | 2595239.5347 | 1209459.9339 | 2595246.4327 | 1209465.2646
9 | 2595246.4327 | 1209465.2646 | 2595224.5492 | 1209473.9934
10 | 2595224.9575 | 1209441.9914 | 2595238.5003 | 1209430.9076
11 | 2595224.9575 | 1209441.9914 | 2595211.8034 | 1209422.5743
12 | 2595215.6727 | 1209477.534 | 2595224.5492 | 1209473.9934
13 | 2595323.6171 | 1209428.3933 | 2595328.2255 | 1209421.8416
14 | 2595323.6171 | 1209428.3933 | 2595308.4995 | 1209420.2285
15 | 2595335.8277 | 1209414.3647 | 2595331.5743 | 1209418.0257 | 2595328.2255 | 1209421.8416
16 | 2595328.2255 | 1209421.8416 | 2595345.0886 | 1209438.5623
17 | 2595275.6359 | 1209415.6138 | 2595283.625 | 1209412.0496 | 2595298.2126 | 1209414.6727 | 2595308.4995 | 1209420.2285
18 | 2595201.5307 | 1209386.492 | 2595203.3813 | 1209380.755
19 | 2595196.1576 | 1209403.1489 | 2595201.5307 | 1209386.492
20 | 2595207.3099 | 1209368.5763 | 2595203.3813 | 1209380.755
21 | 2595180.125 | 1209390.355 | 2595189.2134 | 1209397.2402 | 2595196.1576 | 1209403.1489
22 | 2595196.1576 | 1209403.1489 | 2595202.037 | 1209408.158 | 2595207.1239 | 1209415.6669
23 | 2595180.125 | 1209390.355 | 2595178.3951 | 1209389.0225
24 | 2595180.125 | 1209390.355 | 2595172.6175 | 1209393.5947
25 | 2595211.8034 | 1209422.5743 | 2595207.1239 | 1209415.6669
26 | 2595172.1089 | 1209384.1804 | 2595178.3951 | 1209389.0225
27 | 2595172.6175 | 1209393.5947 | 2595152.9553 | 1209402.0794
28 | 2595335.8277 | 1209414.3647 | 2595345.8327 | 1209408.0533 | 2595367.9252 | 1209395.3844 | 2595376.0235 | 1209390.2863 | 2595381.0506 | 1209386.5875
29 | 2595335.8277 | 1209414.3647 | 2595335.0955 | 1209411.1636 | 2595332.8152 | 1209401.3933 | 2595332.5481 | 1209399.3585
30 | 2595345.5228 | 1209438.9929 | 2595345.0886 | 1209438.5623
31 | 2595212.4998 | 1209478.7996 | 2595215.6727 | 1209477.534
32 | 2595124.8178 | 1209411.7124 | 2595138.9291 | 1209408.1321 | 2595152.9553 | 1209402.0794
33 | 2595124.8178 | 1209411.7124 | 2595087.1223 | 1209415.8795 | 2595083.5108 | 1209414.3705 | 2595082.5201 | 1209411.2919 | 2595084.3563 | 1209407.4994 | 2595088.3552 | 1209405.8503
34 | 2595088.3552 | 1209405.8503 | 2595105.0113 | 1209398.9816
35 | 2595172.1089 | 1209384.1804 | 2595167.887 | 1209379.837 | 2595156.544 | 1209367.1949 | 2595154.175 | 1209363.8468
36 | 2595105.0113 | 1209398.9816 | 2595119.1313 | 1209393.1588
37 | 2595238.5876 | 1209185.2721 | 2595239.2627 | 1209187.1918
38 | 2595235.9669 | 1209178.275 | 2595236.8757 | 1209180.4038 | 2595238.5876 | 1209185.2721
39 | 2595244.0365 | 1209200.7678 | 2595239.2627 | 1209187.1918
40 | 2595230.8147 | 1209167.1792 | 2595234.7739 | 1209175.4806 | 2595235.9669 | 1209178.275
41 | 2595244.0365 | 1209200.7678 | 2595246.056 | 1209206.5108 | 2595248.4378 | 1209214.8172
42 | 2595230.8147 | 1209167.1792 | 2595240.725 | 1209156.1762 | 2595247.0521 | 1209150.6903 | 2595251.4508 | 1209147.9074 | 2595257.0658 | 1209145.357 | 2595262.1645 | 1209143.4074 | 2595267.5374 | 1209142.2468 | 2595275.0086 | 1209141.6627 | 2595288.4929 | 1209141.8965
43 | 2595230.8147 | 1209167.1792 | 2595220.7241 | 1209152.6794 | 2595213.571 | 1209142.6797 | 2595209.1734 | 1209137.4471 | 2595206.511 | 1209134.8144 | 2595203.4304 | 1209132.1822 | 2595189.9982 | 1209122.2047
44 | 2595261.4591 | 1209251.2331 | 2595260.06 | 1209248.2336 | 2595255.5362 | 1209237.209 | 2595251.3306 | 1209224.9056 | 2595248.4378 | 1209214.8172
45 | 2595288.4929 | 1209141.8965 | 2595298.0201 | 1209155.3852 | 2595307.9995 | 1209164.1487 | 2595322.3692 | 1209169.0955
46 | 2595128.1908 | 1209098.2253 | 2595156.3188 | 1209103.4383 | 2595165.1912 | 1209105.8879 | 2595168.7647 | 1209107.219 | 2595173.799 | 1209110.1721 | 2595189.9982 | 1209122.2047
47 | 2595261.4591 | 1209251.2331 | 2595261.5739 | 1209251.4793
48 | 2595270.2247 | 1209270.0264 | 2595261.5739 | 1209251.4793
49 | 2595270.2247 | 1209270.0264 | 2595284.3318 | 1209260.6876 | 2595292.9163 | 1209255.2222 | 2595300.3188 | 1209254.3491 | 2595304.333 | 1209253.6077
50 | 2595270.2247 | 1209270.0264 | 2595280.0212 | 1209289.3684
51 | 2595321.2395 | 1209239.4241 | 2595313.6182 | 1209251.8927 | 2595304.333 | 1209253.6077
52 | 2595287.3153 | 1209303.4422 | 2595281.0426 | 1209291.385 | 2595280.0212 | 1209289.3684
53 | 2595287.3153 | 1209303.4422 | 2595292.4761 | 1209312.8099 | 2595298.4966 | 1209323.233 | 2595300.9299 | 1209327.0543
54 | 2595287.3153 | 1209303.4422 | 2595279.8442 | 1209310.4166
55 | 2595146.1037 | 1209352.4398 | 2595154.175 | 1209363.8468
56 | 2595146.1037 | 1209352.4398 | 2595159.3512 | 1209351.9508 | 2595168.0848 | 1209352.3883
57 | 2595299.4326 | 1209353.0495 | 2595298.1419 | 1209354.7813
58 | 2595296.5398 | 1209356.931 | 2595296.5398 | 1209356.931 | 2595298.1419 | 1209354.7813
59 | 2595313.2985 | 1209346.4785 | 2595301.1409 | 1209350.7573 | 2595299.4326 | 1209353.0495
60 | 2595295.5445 | 1209371.948 | 2595295.9691 | 1209365.5473 | 2595296.5398 | 1209356.931
61 | 2595313.2985 | 1209346.4785 | 2595314.8124 | 1209348.6679
62 | 2595313.2985 | 1209346.4785 | 2595307.4887 | 1209337.3545
63 | 2595295.5445 | 1209371.948 | 2595295.3983 | 1209374.1526 | 2595292.0967 | 1209379.9028 | 2595290.457 | 1209381.2903
64 | 2595314.8124 | 1209348.6679 | 2595327.6576 | 1209367.2452 | 2595329.1417 | 1209369.7788 | 2595330.0862 | 1209372.335 | 2595330.5772 | 1209374.2928
65 | 2595300.9299 | 1209327.0543 | 2595307.4887 | 1209337.3545
66 | 2595285.1367 | 1209385.2629 | 2595287.3495 | 1209383.92 | 2595290.457 | 1209381.2903
67 | 2595267.8425 | 1209321.6205 | 2595279.8442 | 1209310.4166
68 | 2595267.8425 | 1209321.6205 | 2595266.9498 | 1209322.4538
69 | 2595266.9498 | 1209322.4538 | 2595257.839 | 1209330.9589 | 2595242.2329 | 1209338.0532 | 2595238.182 | 1209332.4921
70 | 2595238.182 | 1209332.4921 | 2595236.8756 | 1209330.6986
71 | 2595231.9301 | 1209323.9093 | 2595236.8756 | 1209330.6986
72 | 2595332.5481 | 1209399.3585 | 2595332.4022 | 1209398.2475 | 2595332.094 | 1209392.967 | 2595331.8815 | 1209383.8177 | 2595331.4679 | 1209379.7602 | 2595330.7496 | 1209374.9804 | 2595330.5772 | 1209374.2928
73 | 2595404.1624 | 1209364.4823 | 2595394.3517 | 1209374.8189 | 2595388.1657 | 1209380.6018
74 | 2595414.1709 | 1209353.9372 | 2595404.1624 | 1209364.4823
75 | 2595386.6129 | 1209381.9198 | 2595388.0554 | 1209380.7049 | 2595388.1657 | 1209380.6018
76 | 2595381.9459 | 1209385.8506 | 2595386.6129 | 1209381.9198
77 | 2595381.9459 | 1209385.8506 | 2595381.2117 | 1209386.469 | 2595381.0506 | 1209386.5875
78 | 2594906.0475 | 1209195.2631 | 2594883.356 | 1209169.2393 | 2594865.4005 | 1209145.2142
79 | 2594921.2005 | 1209212.6415 | 2594906.0475 | 1209195.2631
80 | 2594865.4005 | 1209145.2142 | 2594858.2056 | 1209135.5871
81 | 2594928.0983 | 1209208.2998 | 2594921.2005 | 1209212.6415
82 | 2594921.2005 | 1209212.6415 | 2594909.097 | 1209226.8487 | 2594877.4892 | 1209283.741
83 | 2594928.0983 | 1209208.2998 | 2594932.4495 | 1209203.5157 | 2594935.8508 | 1209199.077 | 2594943.7141 | 1209186.0074 | 2594952.7276 | 1209169.9992
84 | 2594878.2108 | 1209291.956 | 2594877.4892 | 1209283.741
85 | 2594952.7276 | 1209169.9992 | 2594953.9661 | 1209167.7997
86 | 2594959.6213 | 1209157.7559 | 2594953.9661 | 1209167.7997
87 | 2594959.6213 | 1209157.7559 | 2594958.7566 | 1209150.9529 | 2594958.5706 | 1209146.773 | 2594958.8634 | 1209142.5593 | 2594961.054 | 1209128.5644
88 | 2594967.0133 | 1209090.4929 | 2594961.054 | 1209128.5644
89 | 2595003.8066 | 1209055.0317 | 2595001.4927 | 1209057.009 | 2594999.83 | 1209059.2783 | 2594996.2181 | 1209066.5965 | 2594995.4535 | 1209067.5511
90 | 2595003.8066 | 1209055.0317 | 2595008.3818 | 1209051.1221 | 2595010.9124 | 1209050.4084 | 2595012.7098 | 1209050.6042
91 | 2594985.8641 | 1209076.1606 | 2594988.4794 | 1209074.5186 | 2594993.6517 | 1209069.8005 | 2594995.4535 | 1209067.5511
92 | 2595034.7453 | 1209035.6334 | 2595017.7996 | 1209051.1586 | 2595012.7098 | 1209050.6042
93 | 2594967.9953 | 1209084.2192 | 2594979.8265 | 1209079.9512 | 2594985.8641 | 1209076.1606
94 | 2595045.7347 | 1209025.5653 | 2595034.7453 | 1209035.6334
95 | 2594967.9953 | 1209084.2192 | 2594967.0133 | 1209090.4929
96 | 2595128.1908 | 1209098.2253 | 2595045.7347 | 1209025.5653
97 | 2595121.6023 | 1209392.1399 | 2595119.1313 | 1209393.1588
98 | 2595285.1367 | 1209385.2629 | 2595279.2506 | 1209388.8351
99 | 2595275.9769 | 1209390.8218 | 2595279.2506 | 1209388.8351

## bus_geodata
| x | y | coords
0 | 2595265.4001 | 1209479.7461
1 | 2595322.5051 | 1209492.1962
2 | 2595256.6115 | 1209473.0361
3 | 2594884.2547 | 1209502.9451
4 | 2594876.1554 | 1209482.3582
5 | 2595039.8684 | 1209432.6089
6 | 2595254.273 | 1209471.2506
7 | 2595246.4327 | 1209465.2646
8 | 2595224.9575 | 1209441.9914
9 | 2595224.5492 | 1209473.9934
10 | 2595323.6171 | 1209428.3933
11 | 2595328.2255 | 1209421.8416
12 | 2595308.4995 | 1209420.2285
13 | 2595201.5307 | 1209386.492
14 | 2595203.3813 | 1209380.755
15 | 2595196.1576 | 1209403.1489
16 | 2595207.3099 | 1209368.5763
17 | 2595180.125 | 1209390.355
18 | 2595207.1239 | 1209415.6669
19 | 2595178.3951 | 1209389.0225
20 | 2595172.6175 | 1209393.5947
21 | 2595211.8034 | 1209422.5743
22 | 2595275.6359 | 1209415.6138
23 | 2595335.8277 | 1209414.3648
24 | 2595345.0886 | 1209438.5623
25 | 2595215.6727 | 1209477.534
26 | 2595212.4998 | 1209478.7996
27 | 2595238.5003 | 1209430.9076
28 | 2595152.9553 | 1209402.0794
29 | 2595124.8178 | 1209411.7124
30 | 2595088.3552 | 1209405.8503
31 | 2595172.1089 | 1209384.1804
32 | 2595105.0113 | 1209398.9816
33 | 2595238.5876 | 1209185.2721
34 | 2595239.2627 | 1209187.1918
35 | 2595235.9669 | 1209178.275
36 | 2595244.0365 | 1209200.7678
37 | 2595230.8147 | 1209167.1792
38 | 2595248.4378 | 1209214.8172
39 | 2595288.4929 | 1209141.8965
40 | 2595189.9982 | 1209122.2047
41 | 2595261.5739 | 1209251.4793
42 | 2595261.4591 | 1209251.2331
43 | 2595270.2247 | 1209270.0264
44 | 2595304.333 | 1209253.6077
45 | 2595280.0212 | 1209289.3684
46 | 2595321.2395 | 1209239.4241
47 | 2595287.3153 | 1209303.4422
48 | 2595154.175 | 1209363.8468
49 | 2595146.1037 | 1209352.4398
50 | 2595298.1419 | 1209354.7813
51 | 2595299.4326 | 1209353.0495
52 | 2595296.5398 | 1209356.931
53 | 2595313.2985 | 1209346.4785
54 | 2595295.5445 | 1209371.948
55 | 2595314.8124 | 1209348.6679
56 | 2595307.4887 | 1209337.3545
57 | 2595290.457 | 1209381.2903
58 | 2595168.0848 | 1209352.3883
59 | 2595279.8442 | 1209310.4166
60 | 2595267.8425 | 1209321.6205
61 | 2595266.9498 | 1209322.4538
62 | 2595300.9299 | 1209327.0543
63 | 2595238.182 | 1209332.4921
64 | 2595236.8756 | 1209330.6986
65 | 2595231.9301 | 1209323.9093
66 | 2595330.5772 | 1209374.2928
67 | 2595404.1624 | 1209364.4823
68 | 2595388.1657 | 1209380.6018
69 | 2595414.1709 | 1209353.9372
70 | 2595386.6129 | 1209381.9198
71 | 2595381.9459 | 1209385.8506
72 | 2595332.5481 | 1209399.3585
73 | 2595381.0506 | 1209386.5875
74 | 2594906.0475 | 1209195.2631
75 | 2594865.4005 | 1209145.2142
76 | 2594921.2005 | 1209212.6415
77 | 2594858.2056 | 1209135.5871
78 | 2594928.0983 | 1209208.2998
79 | 2594877.4892 | 1209283.741
80 | 2594952.7277 | 1209169.9992
81 | 2594878.2108 | 1209291.956
82 | 2594953.9661 | 1209167.7997
83 | 2594959.6213 | 1209157.7559
84 | 2594961.054 | 1209128.5644
85 | 2595003.8066 | 1209055.0317
86 | 2594995.4535 | 1209067.5511
87 | 2595012.7098 | 1209050.6042
88 | 2594985.8641 | 1209076.1606
89 | 2595034.7453 | 1209035.6334
90 | 2594967.9953 | 1209084.2192
91 | 2595045.7347 | 1209025.5653
92 | 2595128.1908 | 1209098.2253
93 | 2594967.0133 | 1209090.4929
94 | 2595322.3692 | 1209169.0955
95 | 2595119.1313 | 1209393.1588
96 | 2595121.6023 | 1209392.1399
97 | 2595345.5228 | 1209438.9929
98 | 2595285.1367 | 1209385.2629
99 | 2595279.2506 | 1209388.8351
100 | 2595275.9769 | 1209390.8218
101 | 2595196.1576 | 1209403.1489

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1