## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_311-7_1_3_node_116 | 0.4 | n |  | TRUE
1 | bus_LV_311-7_1_3_node_97 | 0.4 | n |  | TRUE
2 | bus_LV_311-7_1_3_node_132 | 0.4 | n |  | TRUE
3 | bus_LV_311-7_1_3_node_120 | 0.4 | n |  | TRUE
4 | bus_LV_311-7_1_3_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_311-7_1_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_311-7_1_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_311-7_1_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_311-7_1_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_311-7_1_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_311-7_1_3_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_311-7_1_3_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_311-7_1_3_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_311-7_1_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_311-7_1_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_311-7_1_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_311-7_1_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_311-7_1_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_311-7_1_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_311-7_1_3_node_134 | 0.4 | n |  | TRUE
20 | bus_LV_311-7_1_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_311-7_1_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_311-7_1_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_311-7_1_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_311-7_1_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_311-7_1_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_311-7_1_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_311-7_1_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_311-7_1_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_311-7_1_3_node_135 | 0.4 | n |  | TRUE
30 | bus_LV_311-7_1_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_311-7_1_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_311-7_1_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_311-7_1_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_311-7_1_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_311-7_1_3_node_136 | 0.4 | n |  | TRUE
36 | bus_LV_311-7_1_3_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_311-7_1_3_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_311-7_1_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_311-7_1_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_311-7_1_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_311-7_1_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_311-7_1_3_node_124 | 0.4 | n |  | TRUE
43 | bus_LV_311-7_1_3_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_311-7_1_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_311-7_1_3_node_137 | 0.4 | n |  | TRUE
46 | bus_LV_311-7_1_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_311-7_1_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_311-7_1_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_311-7_1_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_311-7_1_3_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_311-7_1_3_node_102 | 0.4 | n |  | TRUE
52 | bus_LV_311-7_1_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_311-7_1_3_node_91 | 0.4 | n |  | TRUE
54 | bus_LV_311-7_1_3_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_311-7_1_3_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_311-7_1_3_node_123 | 0.4 | n |  | TRUE
57 | bus_LV_311-7_1_3_node_122 | 0.4 | n |  | TRUE
58 | bus_LV_311-7_1_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_311-7_1_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_311-7_1_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_311-7_1_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_311-7_1_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_311-7_1_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_311-7_1_3_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_311-7_1_3_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_311-7_1_3_node_141 | 0.4 | n |  | TRUE
67 | bus_LV_311-7_1_3_node_118 | 0.4 | n |  | TRUE
68 | bus_LV_311-7_1_3_node_139 | 0.4 | n |  | TRUE
69 | bus_LV_311-7_1_3_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_311-7_1_3_node_117 | 0.4 | n |  | TRUE
71 | bus_LV_311-7_1_3_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_311-7_1_3_node_138 | 0.4 | n |  | TRUE
73 | bus_LV_311-7_1_3_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_311-7_1_3_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_311-7_1_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_311-7_1_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_311-7_1_3_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_311-7_1_3_node_133 | 0.4 | n |  | TRUE
79 | bus_LV_311-7_1_3_node_101 | 0.4 | n |  | TRUE
80 | bus_LV_311-7_1_3_node_100 | 0.4 | n |  | TRUE
81 | bus_LV_311-7_1_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_311-7_1_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_311-7_1_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_311-7_1_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_311-7_1_3_node_130 | 0.4 | n |  | TRUE
86 | bus_LV_311-7_1_3_node_140 | 0.4 | n |  | TRUE
87 | bus_LV_311-7_1_3_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_311-7_1_3_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_311-7_1_3_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_311-7_1_3_node_119 | 0.4 | n |  | TRUE
91 | bus_LV_311-7_1_3_node_99 | 0.4 | n |  | TRUE
92 | bus_LV_311-7_1_3_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_311-7_1_3_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_311-7_1_3_node_89 | 0.4 | n |  | TRUE
95 | bus_MV_385_1_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_311-7_1_3_load_116 | 0 | 0.01054 | 0.0026416 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_311-7_1_3_load_97 | 1 | 0.0023347 | 0.00058512 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_311-7_1_3_load_132 | 2 | 0.0071251 | 0.0017857 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_311-7_1_3_load_7 | 5 | 0.0021302 | 0.00053389 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_311-7_1_3_load_8 | 6 | 0.0023866 | 0.00059815 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_311-7_1_3_load_9 | 7 | 0.0017706 | 0.00044374 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_311-7_1_3_load_10 | 8 | 0.0024138 | 0.00060496 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_311-7_1_3_load_11 | 9 | 0.0018906 | 0.00047383 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_311-7_1_3_load_39 | 10 | 0.002555 | 0.00064034 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_311-7_1_3_load_34 | 11 | 0.0023181 | 0.00058098 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_311-7_1_3_load_40 | 12 | 0.0015257 | 0.00038239 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_311-7_1_3_load_29 | 13 | 0.002689 | 0.00067392 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_311-7_1_3_load_12 | 14 | 0.0028113 | 0.00070457 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_311-7_1_3_load_13 | 15 | 0.0027393 | 0.00068653 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_311-7_1_3_load_14 | 16 | 0.0031313 | 0.00078478 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_311-7_1_3_load_15 | 17 | 0.0031271 | 0.00078374 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_311-7_1_3_load_134 | 19 | 0.0021802 | 0.00054642 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_311-7_1_3_load_16 | 21 | 0.0026175 | 0.000656 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_311-7_1_3_load_18 | 23 | 0.0048496 | 0.0012154 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_311-7_1_3_load_19 | 24 | 0.0014732 | 0.00036923 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_311-7_1_3_load_20 | 25 | 0.0026211 | 0.00065691 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_311-7_1_3_load_21 | 26 | 0.003016 | 0.00075588 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_311-7_1_3_load_28 | 27 | 0.0023731 | 0.00059475 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_311-7_1_3_load_30 | 28 | 0.0038094 | 0.00095473 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_311-7_1_3_load_135 | 29 | 0.0015358 | 0.00038492 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_311-7_1_3_load_22 | 31 | 0.0031328 | 0.00078515 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_311-7_1_3_load_23 | 32 | 0.0016007 | 0.00040118 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_311-7_1_3_load_25 | 33 | 0.0026417 | 0.00066208 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_311-7_1_3_load_27 | 34 | 0.0027143 | 0.00068026 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_311-7_1_3_load_136 | 35 | 0.0029318 | 0.00073477 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_311-7_1_3_load_67 | 36 | 0.0028681 | 0.00071882 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_311-7_1_3_load_68 | 37 | 0.0026977 | 0.00067611 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_311-7_1_3_load_38 | 40 | 0.0048645 | 0.0012192 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_311-7_1_3_load_35 | 41 | 0.0033316 | 0.00083498 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_311-7_1_3_load_124 | 42 | 0.0015126 | 0.0003791 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_311-7_1_3_load_78 | 43 | 0.0030681 | 0.00076893 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_311-7_1_3_load_137 | 45 | 0.0020996 | 0.00052622 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_311-7_1_3_load_37 | 46 | 0.0040886 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_311-7_1_3_load_41 | 47 | 0.0014783 | 0.00037051 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_311-7_1_3_load_42 | 48 | 0.005481 | 0.0013737 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_311-7_1_3_load_43 | 49 | 0.006573 | 0.0016474 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_311-7_1_3_load_85 | 50 | 0.0032984 | 0.00082665 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_311-7_1_3_load_102 | 51 | 0.0035517 | 0.00089013 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_311-7_1_3_load_44 | 52 | 0.0029213 | 0.00073216 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_311-7_1_3_load_91 | 53 | 0.0028912 | 0.00072461 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_311-7_1_3_load_90 | 54 | 0.0021976 | 0.00055077 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_311-7_1_3_load_123 | 56 | 0.0023585 | 0.00059111 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_311-7_1_3_load_122 | 57 | 0.004192 | 0.0010506 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_311-7_1_3_load_50 | 58 | 0.00076162 | 0.00019088 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_311-7_1_3_load_51 | 59 | 0.00065862 | 0.00016507 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_311-7_1_3_load_53 | 61 | 0.00075073 | 0.00018815 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_311-7_1_3_load_54 | 62 | 0.0007879 | 0.00019747 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_311-7_1_3_load_55 | 63 | 0.00072719 | 0.00018225 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_311-7_1_3_load_95 | 64 | 0.0020169 | 0.00050547 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_311-7_1_3_load_71 | 65 | 0.0027461 | 0.00068825 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_311-7_1_3_load_141 | 66 | 0.0081188 | 0.0020348 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_311-7_1_3_load_118 | 67 | 0.00066856 | 0.00016756 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_311-7_1_3_load_139 | 68 | 0.00077779 | 0.00019493 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_311-7_1_3_load_96 | 69 | 0.001905 | 0.00047745 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_311-7_1_3_load_117 | 70 | 0.0055766 | 0.0013976 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_311-7_1_3_load_80 | 71 | 0.0017779 | 0.00044559 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_311-7_1_3_load_138 | 72 | 0.00092252 | 0.0002312 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_311-7_1_3_load_61 | 73 | 0.0027315 | 0.00068458 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_311-7_1_3_load_62 | 74 | 0.0029221 | 0.00073234 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_311-7_1_3_load_64 | 76 | 0.0028926 | 0.00072496 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_311-7_1_3_load_66 | 77 | 0.0029749 | 0.00074557 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_311-7_1_3_load_133 | 78 | 0.0027854 | 0.00069809 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_311-7_1_3_load_100 | 80 | 0.0029083 | 0.00072888 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_311-7_1_3_load_69 | 81 | 0.0019762 | 0.00049527 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_311-7_1_3_load_70 | 82 | 0.0025592 | 0.00064139 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_311-7_1_3_load_72 | 83 | 0.0025072 | 0.00062837 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_311-7_1_3_load_74 | 84 | 0.0051477 | 0.0012901 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_311-7_1_3_load_130 | 85 | 0.0021954 | 0.00055023 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_311-7_1_3_load_140 | 86 | 0.0023751 | 0.00059525 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_311-7_1_3_load_75 | 87 | 0.0019462 | 0.00048777 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_311-7_1_3_load_79 | 89 | 0.0065474 | 0.0016409 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_311-7_1_3_load_99 | 91 | 0.0025022 | 0.00062711 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_311-7_1_3_load_87 | 92 | 0.0031594 | 0.00079182 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_311-7_1_3_load_88 | 93 | 0.0034978 | 0.00087662 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_311-7_1_3_load_89 | 94 | 0.0022468 | 0.00056311 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_311-7_1_3_line_0 |  | 0 | 1 | 0.017017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_311-7_1_3_line_1 |  | 1 | 4 | 0.0061049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_311-7_1_3_line_2 |  | 2 | 3 | 0.020401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_311-7_1_3_line_3 |  | 3 | 85 | 0.033021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_311-7_1_3_line_4 |  | 3 | 90 | 0.049149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_311-7_1_3_line_5 |  | 4 | 64 | 0.002056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_311-7_1_3_line_6 |  | 4 | 65 | 0.023196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_311-7_1_3_line_7 |  | 4 | 59 | 0.046313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_311-7_1_3_line_8 |  | 5 | 6 | 0.0079179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_311-7_1_3_line_9 |  | 5 | 7 | 0.011979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_311-7_1_3_line_10 |  | 6 | 8 | 0.027714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_311-7_1_3_line_11 |  | 7 | 9 | 0.0020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_311-7_1_3_line_12 |  | 8 | 10 | 0.00025542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_311-7_1_3_line_13 |  | 9 | 11 | 0.0078863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_311-7_1_3_line_14 |  | 10 | 12 | 0.0028407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_311-7_1_3_line_15 |  | 11 | 13 | 0.0014995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_311-7_1_3_line_16 |  | 12 | 47 | 0.00028998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_311-7_1_3_line_17 |  | 13 | 27 | 0.0027234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_311-7_1_3_line_18 |  | 14 | 15 | 0.0086709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_311-7_1_3_line_19 |  | 14 | 16 | 0.006202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_311-7_1_3_line_20 |  | 15 | 17 | 0.0080159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_311-7_1_3_line_21 |  | 17 | 18 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_311-7_1_3_line_22 |  | 18 | 19 | 0.0040555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_311-7_1_3_line_23 |  | 18 | 20 | 0.016571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_311-7_1_3_line_24 |  | 19 | 29 | 0.00057509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_311-7_1_3_line_25 |  | 20 | 34 | 0.0094636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_311-7_1_3_line_26 |  | 20 | 31 | 0.016858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_311-7_1_3_line_27 |  | 21 | 22 | 0.01347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_311-7_1_3_line_28 |  | 21 | 23 | 0.0074888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_311-7_1_3_line_29 |  | 22 | 24 | 0.0080941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_311-7_1_3_line_30 |  | 22 | 25 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_311-7_1_3_line_31 |  | 22 | 26 | 0.0090633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_311-7_1_3_line_32 |  | 24 | 27 | 0.015089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_311-7_1_3_line_33 |  | 25 | 28 | 0.0059111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_311-7_1_3_line_34 |  | 26 | 29 | 0.017119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_311-7_1_3_line_35 |  | 28 | 30 | 0.021201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_311-7_1_3_line_36 |  | 30 | 38 | 0.028819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_311-7_1_3_line_37 |  | 30 | 39 | 0.020444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_311-7_1_3_line_38 |  | 31 | 32 | 0.0059124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_311-7_1_3_line_39 |  | 32 | 33 | 0.0019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_311-7_1_3_line_40 |  | 33 | 35 | 0.0070203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_311-7_1_3_line_41 |  | 34 | 36 | 0.0075765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_311-7_1_3_line_42 |  | 36 | 37 | 0.014123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_311-7_1_3_line_43 |  | 37 | 81 | 0.008522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_311-7_1_3_line_44 |  | 38 | 40 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_311-7_1_3_line_45 |  | 38 | 41 | 0.01966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_311-7_1_3_line_46 |  | 39 | 42 | 0.01056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_311-7_1_3_line_47 |  | 39 | 43 | 0.020659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_311-7_1_3_line_48 |  | 41 | 44 | 0.016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_311-7_1_3_line_49 |  | 42 | 45 | 0.00027316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_311-7_1_3_line_50 |  | 44 | 46 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_311-7_1_3_line_51 |  | 45 | 84 | 0.01404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_311-7_1_3_line_52 |  | 48 | 49 | 0.0036018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_311-7_1_3_line_53 |  | 48 | 50 | 0.044283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_311-7_1_3_line_54 |  | 48 | 51 | 0.030516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_311-7_1_3_line_55 |  | 49 | 52 | 0.01799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_311-7_1_3_line_56 |  | 52 | 53 | 0.0048738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_311-7_1_3_line_57 |  | 53 | 54 | 0.014805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_311-7_1_3_line_58 |  | 54 | 91 | 0.037236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_311-7_1_3_line_59 |  | 54 | 93 | 0.012772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_311-7_1_3_line_60 |  | 55 | 56 | 0.018562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_311-7_1_3_line_61 |  | 55 | 57 | 0.029789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_311-7_1_3_line_62 |  | 56 | 91 | 0.00098672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_311-7_1_3_line_63 |  | 57 | 76 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_311-7_1_3_line_64 |  | 58 | 59 | 0.0051697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_311-7_1_3_line_65 |  | 58 | 60 | 0.019302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_311-7_1_3_line_66 |  | 59 | 61 | 0.013134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_311-7_1_3_line_67 |  | 60 | 62 | 0.017939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_311-7_1_3_line_68 |  | 60 | 63 | 0.01274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_311-7_1_3_line_69 |  | 61 | 66 | 0.005877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_311-7_1_3_line_70 |  | 62 | 67 | 0.0004651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_311-7_1_3_line_71 |  | 63 | 68 | 0.00023796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_311-7_1_3_line_72 |  | 64 | 69 | 0.01862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_311-7_1_3_line_73 |  | 65 | 82 | 0.0002572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_311-7_1_3_line_74 |  | 67 | 70 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_311-7_1_3_line_75 |  | 68 | 72 | 0.010193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_311-7_1_3_line_76 |  | 69 | 71 | 0.019219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_311-7_1_3_line_77 |  | 70 | 90 | 0.026434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_311-7_1_3_line_78 |  | 71 | 88 | 0.0029848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_311-7_1_3_line_79 |  | 72 | 86 | 0.0085973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_311-7_1_3_line_80 |  | 73 | 74 | 0.0061736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_311-7_1_3_line_81 |  | 73 | 75 | 0.0042993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_311-7_1_3_line_82 |  | 74 | 76 | 0.0073467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_311-7_1_3_line_83 |  | 75 | 77 | 0.0047048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_311-7_1_3_line_84 |  | 77 | 78 | 0.0091036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_311-7_1_3_line_85 |  | 78 | 79 | 0.0053856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_311-7_1_3_line_86 |  | 79 | 80 | 0.015917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_311-7_1_3_line_87 |  | 80 | 81 | 0.0022033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_311-7_1_3_line_88 |  | 82 | 83 | 0.028901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_311-7_1_3_line_89 |  | 83 | 84 | 0.019449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_311-7_1_3_line_90 |  | 87 | 88 | 0.01531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_311-7_1_3_line_91 |  | 88 | 89 | 0.012716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_311-7_1_3_line_92 |  | 92 | 93 | 0.0049301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_311-7_1_3_line_93 |  | 92 | 94 | 0.0033242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_311-7_1_3_trafo_27 | 0.63 MVA 20/0.4 kV | 95 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2595314.8977 | 1210417.6728 | 2595316.8664 | 1210416.946 | 2595324.6161 | 1210414.9165 | 2595331.5178 | 1210414.6351
1 | 2595309.1706 | 1210419.7871 | 2595314.8977 | 1210417.6728
2 | 2595221.9483 | 1210339.0015 | 2595230.512 | 1210328.6332 | 2595233.7776 | 1210322.4947
3 | 2595221.9483 | 1210339.0015 | 2595235.9279 | 1210334.8767 | 2595253.6564 | 1210329.7853
4 | 2595221.9483 | 1210339.0015 | 2595219.0167 | 1210350.488 | 2595215.6424 | 1210387.6225
5 | 2595309.1706 | 1210419.7871 | 2595307.6432 | 1210421.1634
6 | 2595309.1706 | 1210419.7871 | 2595312.6918 | 1210442.7147
7 | 2595309.1706 | 1210419.7871 | 2595294.2218 | 1210375.9528
8 | 2595404.761 | 1210552.0399 | 2595412.622 | 1210551.0918
9 | 2595392.8684 | 1210553.4742 | 2595404.761 | 1210552.0399
10 | 2595412.622 | 1210551.0918 | 2595422.9426 | 1210549.8472 | 2595424.7953 | 1210567.0667
11 | 2595392.8684 | 1210553.4742 | 2595390.8392 | 1210553.7189 | 2595390.8392 | 1210553.7189
12 | 2595424.8226 | 1210567.3207 | 2595424.7953 | 1210567.0667
13 | 2595386.5593 | 1210547.095 | 2595390.8392 | 1210553.7189
14 | 2595424.8226 | 1210567.3207 | 2595425.1265 | 1210570.145
15 | 2595386.5593 | 1210547.095 | 2595385.7455 | 1210545.8355
16 | 2595425.1575 | 1210570.4333 | 2595425.1265 | 1210570.145
17 | 2595384.2675 | 1210543.5481 | 2595385.7455 | 1210545.8355
18 | 2595410.0001 | 1210487.8632 | 2595404.1021 | 1210488.8169 | 2595401.426 | 1210489.1468
19 | 2595416.1225 | 1210486.8731 | 2595410.0001 | 1210487.8632
20 | 2595401.426 | 1210489.1468 | 2595393.4703 | 1210490.1273
21 | 2595371.6945 | 1210492.8113 | 2595393.4703 | 1210490.1273
22 | 2595371.6945 | 1210492.8113 | 2595372.4673 | 1210496.7924
23 | 2595367.7075 | 1210476.7277 | 2595371.6945 | 1210492.8113
24 | 2595372.4673 | 1210496.7924 | 2595372.5769 | 1210497.357
25 | 2595367.7075 | 1210476.7277 | 2595366.5411 | 1210472.0371 | 2595365.7658 | 1210467.4723
26 | 2595367.7075 | 1210476.7277 | 2595351.0583 | 1210479.3701
27 | 2595379.0058 | 1210522.7221 | 2595392.4755 | 1210522.7115
28 | 2595399.9643 | 1210522.7056 | 2595392.4755 | 1210522.7115
29 | 2595379.0058 | 1210522.7221 | 2595377.2214 | 1210524.6023 | 2595378.2445 | 1210530.0083
30 | 2595379.0058 | 1210522.7221 | 2595365.2798 | 1210524.7578
31 | 2595379.0058 | 1210522.7221 | 2595376.6005 | 1210513.9838
32 | 2595384.2675 | 1210543.5481 | 2595379.3734 | 1210535.9736 | 2595378.2445 | 1210530.0083
33 | 2595359.4327 | 1210525.625 | 2595365.2798 | 1210524.7578
34 | 2595372.5769 | 1210497.357 | 2595373.8997 | 1210504.1714 | 2595376.6005 | 1210513.9838
35 | 2595338.4613 | 1210528.7353 | 2595359.4327 | 1210525.625
36 | 2595338.4613 | 1210528.7353 | 2595344.6258 | 1210540.2701 | 2595345.9909 | 1210555.9555
37 | 2595322.8496 | 1210515.4848 | 2595338.4613 | 1210528.7353
38 | 2595345.219 | 1210480.2968 | 2595351.0583 | 1210479.3701
39 | 2595345.219 | 1210480.2968 | 2595343.3275 | 1210480.597
40 | 2595343.3275 | 1210480.597 | 2595336.3939 | 1210481.6974
41 | 2595364.4972 | 1210460.0028 | 2595365.7658 | 1210467.4723
42 | 2595364.4972 | 1210460.0028 | 2595362.1324 | 1210446.079
43 | 2595360.7055 | 1210437.6773 | 2595362.1324 | 1210446.079
44 | 2595345.9909 | 1210555.9555 | 2595330.045 | 1210558.6934
45 | 2595345.9909 | 1210555.9555 | 2595343.8541 | 1210575.4992
46 | 2595322.8496 | 1210515.4848 | 2595321.6483 | 1210504.9933
47 | 2595322.8496 | 1210515.4848 | 2595303.0765 | 1210509.5012
48 | 2595339.7729 | 1210591.8804 | 2595343.5767 | 1210578.0363 | 2595343.8541 | 1210575.4992
49 | 2595321.6173 | 1210504.722 | 2595321.6483 | 1210504.9933
50 | 2595339.7729 | 1210591.8804 | 2595328.488 | 1210593.1461
51 | 2595321.6173 | 1210504.722 | 2595321.587 | 1210504.4575 | 2595319.6517 | 1210490.8199
52 | 2595503.2412 | 1210460.5929 | 2595499.6883 | 1210461.1844
53 | 2595503.2412 | 1210460.5929 | 2595500.3961 | 1210416.4011
54 | 2595503.2412 | 1210460.5929 | 2595533.1717 | 1210466.5399
55 | 2595481.9423 | 1210464.1389 | 2595499.6883 | 1210461.1844
56 | 2595481.9423 | 1210464.1389 | 2595477.1347 | 1210464.9393
57 | 2595462.5311 | 1210467.3707 | 2595477.1347 | 1210464.9393
58 | 2595462.5311 | 1210467.3707 | 2595456.5428 | 1210430.6192
59 | 2595462.5311 | 1210467.3707 | 2595449.8801 | 1210469.1227
60 | 2595453.399 | 1210411.3244 | 2595456.3842 | 1210429.6453
61 | 2595453.399 | 1210411.3244 | 2595424.3364 | 1210417.8621
62 | 2595456.5428 | 1210430.6192 | 2595456.3842 | 1210429.6453
63 | 2595424.3364 | 1210417.8621 | 2595414.9152 | 1210419.9814 | 2595408.7532 | 1210420.8904
64 | 2595294.2218 | 1210375.9528 | 2595289.2787 | 1210377.4668
65 | 2595270.2607 | 1210380.3853 | 2595284.9794 | 1210378.7837 | 2595289.2787 | 1210377.4668
66 | 2595305.3654 | 1210369.7672 | 2595301.428 | 1210373.7455 | 2595294.2218 | 1210375.9528
67 | 2595270.2607 | 1210380.3853 | 2595252.4908 | 1210382.8441
68 | 2595270.2607 | 1210380.3853 | 2595267.773 | 1210367.8907
69 | 2595309.4996 | 1210365.5901 | 2595305.3654 | 1210369.7672
70 | 2595252.0301 | 1210382.9078 | 2595252.4908 | 1210382.8441
71 | 2595267.773 | 1210367.8907 | 2595267.7265 | 1210367.6573
72 | 2595307.6432 | 1210421.1634 | 2595293.8108 | 1210433.6275
73 | 2595312.6918 | 1210442.7147 | 2595312.7308 | 1210442.9689
74 | 2595252.0301 | 1210382.9078 | 2595241.8663 | 1210384.3142
75 | 2595265.7361 | 1210357.6604 | 2595267.7265 | 1210367.6573
76 | 2595279.2687 | 1210446.1815 | 2595284.8932 | 1210441.6631 | 2595293.8108 | 1210433.6275
77 | 2595215.6424 | 1210387.6225 | 2595228.7197 | 1210386.1332 | 2595241.8663 | 1210384.3142
78 | 2595276.9418 | 1210448.0508 | 2595279.2687 | 1210446.1815
79 | 2595264.0573 | 1210349.2286 | 2595265.7361 | 1210357.6604
80 | 2595395.3777 | 1210422.8635 | 2595401.4852 | 1210421.9625
81 | 2595391.1245 | 1210423.4909 | 2595395.3777 | 1210422.8635
82 | 2595401.4852 | 1210421.9625 | 2595408.7532 | 1210420.8904
83 | 2595391.1245 | 1210423.4909 | 2595386.5187 | 1210424.451
84 | 2595377.6067 | 1210426.3088 | 2595386.5187 | 1210424.451
85 | 2595372.3345 | 1210427.4078 | 2595377.6067 | 1210426.3088
86 | 2595372.3345 | 1210427.4078 | 2595359.9675 | 1210433.332 | 2595360.3366 | 1210435.5052
87 | 2595360.7055 | 1210437.6773 | 2595360.3366 | 1210435.5052
88 | 2595312.7308 | 1210442.9689 | 2595314.4492 | 1210454.1575 | 2595316.9192 | 1210471.564
89 | 2595319.6517 | 1210490.8199 | 2595316.9192 | 1210471.564
90 | 2595276.9418 | 1210448.0508 | 2595265.0088 | 1210457.6417
91 | 2595276.9418 | 1210448.0508 | 2595284.1164 | 1210458.562
92 | 2595444.9966 | 1210469.7991 | 2595449.8801 | 1210469.1227
93 | 2595441.7038 | 1210470.2551 | 2595444.9966 | 1210469.7991

## bus_geodata
| x | y | coords
0 | 2595331.5178 | 1210414.6351
1 | 2595314.8977 | 1210417.6728
2 | 2595233.7776 | 1210322.4947
3 | 2595221.9483 | 1210339.0015
4 | 2595309.1706 | 1210419.7871
5 | 2595404.761 | 1210552.0399
6 | 2595412.622 | 1210551.0918
7 | 2595392.8684 | 1210553.4742
8 | 2595424.7953 | 1210567.0667
9 | 2595390.8392 | 1210553.7189
10 | 2595424.8226 | 1210567.3207
11 | 2595386.5593 | 1210547.095
12 | 2595425.1265 | 1210570.145
13 | 2595385.7455 | 1210545.8355
14 | 2595410.0001 | 1210487.8632
15 | 2595401.426 | 1210489.1468
16 | 2595416.1225 | 1210486.8731
17 | 2595393.4703 | 1210490.1273
18 | 2595371.6945 | 1210492.8113
19 | 2595372.4673 | 1210496.7924
20 | 2595367.7075 | 1210476.7277
21 | 2595392.4755 | 1210522.7115
22 | 2595379.0058 | 1210522.7221
23 | 2595399.9643 | 1210522.7056
24 | 2595378.2445 | 1210530.0083
25 | 2595365.2798 | 1210524.7578
26 | 2595376.6005 | 1210513.9838
27 | 2595384.2675 | 1210543.5481
28 | 2595359.4327 | 1210525.625
29 | 2595372.5769 | 1210497.357
30 | 2595338.4613 | 1210528.7353
31 | 2595351.0583 | 1210479.3701
32 | 2595345.219 | 1210480.2968
33 | 2595343.3275 | 1210480.597
34 | 2595365.7658 | 1210467.4723
35 | 2595336.3939 | 1210481.6974
36 | 2595364.4972 | 1210460.0028
37 | 2595362.1324 | 1210446.079
38 | 2595345.9909 | 1210555.9555
39 | 2595322.8496 | 1210515.4848
40 | 2595330.045 | 1210558.6934
41 | 2595343.8541 | 1210575.4992
42 | 2595321.6483 | 1210504.9933
43 | 2595303.0765 | 1210509.5012
44 | 2595339.7729 | 1210591.8804
45 | 2595321.6173 | 1210504.722
46 | 2595328.488 | 1210593.1461
47 | 2595425.1575 | 1210570.4333
48 | 2595503.2412 | 1210460.5929
49 | 2595499.6883 | 1210461.1844
50 | 2595500.3961 | 1210416.4011
51 | 2595533.1717 | 1210466.5399
52 | 2595481.9423 | 1210464.1389
53 | 2595477.1347 | 1210464.9393
54 | 2595462.5311 | 1210467.3707
55 | 2595453.399 | 1210411.3244
56 | 2595456.3842 | 1210429.6453
57 | 2595424.3364 | 1210417.8621
58 | 2595289.2787 | 1210377.4668
59 | 2595294.2218 | 1210375.9528
60 | 2595270.2607 | 1210380.3853
61 | 2595305.3654 | 1210369.7672
62 | 2595252.4908 | 1210382.8441
63 | 2595267.773 | 1210367.8907
64 | 2595307.6432 | 1210421.1634
65 | 2595312.6918 | 1210442.7147
66 | 2595309.4996 | 1210365.5901
67 | 2595252.0301 | 1210382.9078
68 | 2595267.7265 | 1210367.6573
69 | 2595293.8108 | 1210433.6275
70 | 2595241.8663 | 1210384.3142
71 | 2595279.2687 | 1210446.1815
72 | 2595265.7361 | 1210357.6604
73 | 2595395.3777 | 1210422.8634
74 | 2595401.4852 | 1210421.9625
75 | 2595391.1245 | 1210423.4909
76 | 2595408.7532 | 1210420.8904
77 | 2595386.5187 | 1210424.451
78 | 2595377.6067 | 1210426.3088
79 | 2595372.3345 | 1210427.4078
80 | 2595360.3366 | 1210435.5052
81 | 2595360.7055 | 1210437.6773
82 | 2595312.7308 | 1210442.9689
83 | 2595316.9192 | 1210471.564
84 | 2595319.6517 | 1210490.8199
85 | 2595253.6564 | 1210329.7853
86 | 2595264.0573 | 1210349.2286
87 | 2595265.0088 | 1210457.6417
88 | 2595276.9418 | 1210448.0508
89 | 2595284.1164 | 1210458.562
90 | 2595215.6424 | 1210387.6225
91 | 2595456.5428 | 1210430.6192
92 | 2595444.9966 | 1210469.7991
93 | 2595449.8801 | 1210469.1227
94 | 2595441.7038 | 1210470.2551
95 | 2595367.7075 | 1210476.7277

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1