## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_311-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_311-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_311-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_311-9_0_5_node_53 | 0.4 | n |  | TRUE
4 | bus_LV_311-9_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_311-9_0_5_node_206 | 0.4 | n |  | TRUE
6 | bus_LV_311-9_0_5_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_311-9_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_311-9_0_5_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_311-9_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_311-9_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_311-9_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_311-9_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_311-9_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_311-9_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_311-9_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_311-9_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_311-9_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_311-9_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_311-9_0_5_node_198 | 0.4 | n |  | TRUE
20 | bus_LV_311-9_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_311-9_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_311-9_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_311-9_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_311-9_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_311-9_0_5_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_311-9_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_311-9_0_5_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_311-9_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_311-9_0_5_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_311-9_0_5_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_311-9_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_311-9_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_311-9_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_311-9_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_311-9_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_311-9_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_311-9_0_5_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_311-9_0_5_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_311-9_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_311-9_0_5_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_311-9_0_5_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_311-9_0_5_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_311-9_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_311-9_0_5_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_311-9_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_311-9_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_311-9_0_5_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_311-9_0_5_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_311-9_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_311-9_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_311-9_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_311-9_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_311-9_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_311-9_0_5_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_311-9_0_5_node_100 | 0.4 | n |  | TRUE
56 | bus_LV_311-9_0_5_node_178 | 0.4 | n |  | TRUE
57 | bus_LV_311-9_0_5_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_311-9_0_5_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_311-9_0_5_node_170 | 0.4 | n |  | TRUE
60 | bus_LV_311-9_0_5_node_171 | 0.4 | n |  | TRUE
61 | bus_LV_311-9_0_5_node_172 | 0.4 | n |  | TRUE
62 | bus_LV_311-9_0_5_node_173 | 0.4 | n |  | TRUE
63 | bus_LV_311-9_0_5_node_174 | 0.4 | n |  | TRUE
64 | bus_LV_311-9_0_5_node_175 | 0.4 | n |  | TRUE
65 | bus_LV_311-9_0_5_node_176 | 0.4 | n |  | TRUE
66 | bus_LV_311-9_0_5_node_177 | 0.4 | n |  | TRUE
67 | bus_LV_311-9_0_5_node_179 | 0.4 | n |  | TRUE
68 | bus_LV_311-9_0_5_node_192 | 0.4 | n |  | TRUE
69 | bus_LV_311-9_0_5_node_196 | 0.4 | n |  | TRUE
70 | bus_LV_311-9_0_5_node_180 | 0.4 | n |  | TRUE
71 | bus_LV_311-9_0_5_node_181 | 0.4 | n |  | TRUE
72 | bus_LV_311-9_0_5_node_182 | 0.4 | n |  | TRUE
73 | bus_LV_311-9_0_5_node_183 | 0.4 | n |  | TRUE
74 | bus_LV_311-9_0_5_node_184 | 0.4 | n |  | TRUE
75 | bus_LV_311-9_0_5_node_191 | 0.4 | n |  | TRUE
76 | bus_LV_311-9_0_5_node_197 | 0.4 | n |  | TRUE
77 | bus_LV_311-9_0_5_node_189 | 0.4 | n |  | TRUE
78 | bus_LV_311-9_0_5_node_185 | 0.4 | n |  | TRUE
79 | bus_LV_311-9_0_5_node_186 | 0.4 | n |  | TRUE
80 | bus_LV_311-9_0_5_node_187 | 0.4 | n |  | TRUE
81 | bus_LV_311-9_0_5_node_188 | 0.4 | n |  | TRUE
82 | bus_LV_311-9_0_5_node_193 | 0.4 | n |  | TRUE
83 | bus_LV_311-9_0_5_node_194 | 0.4 | n |  | TRUE
84 | bus_LV_311-9_0_5_node_195 | 0.4 | n |  | TRUE
85 | bus_LV_311-9_0_5_node_44 | 0.4 | n |  | TRUE
86 | bus_LV_311-9_0_5_node_45 | 0.4 | n |  | TRUE
87 | bus_LV_311-9_0_5_node_46 | 0.4 | n |  | TRUE
88 | bus_LV_311-9_0_5_node_103 | 0.4 | n |  | TRUE
89 | bus_LV_311-9_0_5_node_104 | 0.4 | n |  | TRUE
90 | bus_LV_311-9_0_5_node_49 | 0.4 | n |  | TRUE
91 | bus_LV_311-9_0_5_node_51 | 0.4 | n |  | TRUE
92 | bus_LV_311-9_0_5_node_64 | 0.4 | n |  | TRUE
93 | bus_LV_311-9_0_5_node_59 | 0.4 | n |  | TRUE
94 | bus_LV_311-9_0_5_node_58 | 0.4 | n |  | TRUE
95 | bus_LV_311-9_0_5_node_60 | 0.4 | n |  | TRUE
96 | bus_LV_311-9_0_5_node_61 | 0.4 | n |  | TRUE
97 | bus_LV_311-9_0_5_node_68 | 0.4 | n |  | TRUE
98 | bus_LV_311-9_0_5_node_66 | 0.4 | n |  | TRUE
99 | bus_LV_311-9_0_5_node_65 | 0.4 | n |  | TRUE
100 | bus_LV_311-9_0_5_node_63 | 0.4 | n |  | TRUE
101 | bus_LV_311-9_0_5_node_105 | 0.4 | n |  | TRUE
102 | bus_LV_311-9_0_5_node_67 | 0.4 | n |  | TRUE
103 | bus_LV_311-9_0_5_node_69 | 0.4 | n |  | TRUE
104 | bus_LV_311-9_0_5_node_77 | 0.4 | n |  | TRUE
105 | bus_LV_311-9_0_5_node_78 | 0.4 | n |  | TRUE
106 | bus_LV_311-9_0_5_node_80 | 0.4 | n |  | TRUE
107 | bus_LV_311-9_0_5_node_207 | 0.4 | n |  | TRUE
108 | bus_LV_311-9_0_5_node_102 | 0.4 | n |  | TRUE
109 | bus_MV_385_1_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_311-9_0_5_load_0 | 0 | 0.041516 | 0.010405 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_311-9_0_5_load_1 | 1 | 0.0025002 | 0.00062662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_311-9_0_5_load_2 | 2 | 0.0066825 | 0.0016748 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_311-9_0_5_load_53 | 3 | 0.0022682 | 0.00056846 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_311-9_0_5_load_3 | 4 | 0.0047864 | 0.0011996 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_311-9_0_5_load_206 | 5 | 0.00038246 | 9.5853e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_311-9_0_5_load_54 | 6 | 0.0069977 | 0.0017538 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_311-9_0_5_load_5 | 9 | 0.0032491 | 0.0008143 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_311-9_0_5_load_12 | 10 | 0.0016789 | 0.00042078 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_311-9_0_5_load_10 | 11 | 0.0026674 | 0.00066852 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_311-9_0_5_load_6 | 12 | 0.0014125 | 0.00035402 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_311-9_0_5_load_11 | 16 | 0.0013658 | 0.00034231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_311-9_0_5_load_14 | 17 | 0.00092058 | 0.00023072 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_311-9_0_5_load_13 | 18 | 0.0034524 | 0.00086526 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_311-9_0_5_load_198 | 19 | 0.0011638 | 0.00029167 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_311-9_0_5_load_16 | 20 | 0.0052526 | 0.0013164 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_311-9_0_5_load_17 | 21 | 0.0013589 | 0.00034058 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_311-9_0_5_load_18 | 22 | 0.00055035 | 0.00013793 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_311-9_0_5_load_19 | 23 | 0.0017524 | 0.00043919 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_311-9_0_5_load_20 | 24 | 0.00059556 | 0.00014926 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_311-9_0_5_load_33 | 25 | 0.00084904 | 0.00021279 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_311-9_0_5_load_21 | 26 | 0.0014512 | 0.0003637 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_311-9_0_5_load_31 | 27 | 0.0027734 | 0.00069508 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_311-9_0_5_load_22 | 28 | 0.0037549 | 0.00094107 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_311-9_0_5_load_34 | 29 | 0.00089424 | 0.00022412 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_311-9_0_5_load_35 | 30 | 0.00088453 | 0.00022168 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_311-9_0_5_load_23 | 31 | 0.004805 | 0.0012042 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_311-9_0_5_load_24 | 32 | 0.00066729 | 0.00016724 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_311-9_0_5_load_27 | 35 | 0.0040006 | 0.0010026 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_311-9_0_5_load_28 | 36 | 0.0018906 | 0.00047382 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_311-9_0_5_load_50 | 37 | 0.0014369 | 0.00036011 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_311-9_0_5_load_47 | 38 | 0.0018037 | 0.00045205 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_311-9_0_5_load_32 | 39 | 0.0010973 | 0.00027501 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_311-9_0_5_load_43 | 40 | 0.0011209 | 0.00028092 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_311-9_0_5_load_48 | 42 | 0.00050788 | 0.00012729 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_311-9_0_5_load_30 | 43 | 0.0019755 | 0.0004951 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_311-9_0_5_load_42 | 44 | 0.0015638 | 0.00039192 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_311-9_0_5_load_29 | 45 | 0.004858 | 0.0012175 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_311-9_0_5_load_55 | 48 | 0.00086772 | 0.00021747 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_311-9_0_5_load_37 | 49 | 0.0029485 | 0.00073897 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_311-9_0_5_load_38 | 50 | 0.0011752 | 0.00029452 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_311-9_0_5_load_40 | 52 | 0.0014981 | 0.00037545 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_311-9_0_5_load_57 | 54 | 0.00063794 | 0.00015988 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_311-9_0_5_load_100 | 55 | 0.0068427 | 0.0017149 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_311-9_0_5_load_52 | 57 | 0.00066908 | 0.00016769 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_311-9_0_5_load_101 | 58 | 0.00289 | 0.0007243 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_311-9_0_5_load_170 | 59 | 0.0011567 | 0.00028989 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_311-9_0_5_load_171 | 60 | 0.00036203 | 9.0734e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_311-9_0_5_load_172 | 61 | 0.00041398 | 0.00010375 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_311-9_0_5_load_173 | 62 | 0.0012007 | 0.00030093 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_311-9_0_5_load_176 | 65 | 0.00030854 | 7.7328e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_311-9_0_5_load_177 | 66 | 9.2357e-05 | 2.3147e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_311-9_0_5_load_192 | 68 | 0.00024256 | 6.079e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_311-9_0_5_load_196 | 69 | 0.0056915 | 0.0014264 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_311-9_0_5_load_180 | 70 | 0.00045008 | 0.0001128 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_311-9_0_5_load_181 | 71 | 0.00019758 | 4.9519e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_311-9_0_5_load_183 | 73 | 0.00018474 | 4.6299e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_311-9_0_5_load_191 | 75 | 0.0012966 | 0.00032496 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_311-9_0_5_load_189 | 77 | 0.0010036 | 0.00025153 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_311-9_0_5_load_185 | 78 | 0.00018694 | 4.6852e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_311-9_0_5_load_193 | 82 | 0.0006911 | 0.00017321 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_311-9_0_5_load_195 | 84 | 0.00058993 | 0.00014785 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_311-9_0_5_load_45 | 86 | 0.0029665 | 0.00074348 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_311-9_0_5_load_46 | 87 | 0.0061848 | 0.0015501 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_311-9_0_5_load_104 | 89 | 0.0039117 | 0.00098035 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_311-9_0_5_load_49 | 90 | 0.0011148 | 0.0002794 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_311-9_0_5_load_51 | 91 | 0.0027556 | 0.00069063 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_311-9_0_5_load_58 | 94 | 0.0012081 | 0.00030277 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_311-9_0_5_load_68 | 97 | 0.0012152 | 0.00030455 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_311-9_0_5_load_66 | 98 | 0.0010045 | 0.00025175 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_311-9_0_5_load_65 | 99 | 0.00069952 | 0.00017532 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_311-9_0_5_load_63 | 100 | 0.0013901 | 0.0003484 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_311-9_0_5_load_105 | 101 | 0.00090321 | 0.00022637 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_311-9_0_5_load_67 | 102 | 0.00030998 | 7.7689e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_311-9_0_5_load_69 | 103 | 0.001154 | 0.00028923 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_311-9_0_5_load_77 | 104 | 0.0003342 | 8.3758e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_311-9_0_5_load_78 | 105 | 0.00081605 | 0.00020452 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_311-9_0_5_load_207 | 107 | 0.0027438 | 0.00068767 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_311-9_0_5_load_102 | 108 | 0.0010957 | 0.00027461 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_311-9_0_5_line_0 |  | 0 | 1 | 0.02654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_311-9_0_5_line_1 |  | 0 | 2 | 0.055836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_311-9_0_5_line_2 |  | 1 | 3 | 0.65368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_311-9_0_5_line_3 |  | 2 | 4 | 0.0097367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_311-9_0_5_line_4 |  | 2 | 5 | 0.70709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_311-9_0_5_line_5 |  | 3 | 6 | 0.024252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_311-9_0_5_line_6 |  | 4 | 7 | 0.0046952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_311-9_0_5_line_7 |  | 5 | 8 | 0.045315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_311-9_0_5_line_8 |  | 6 | 48 | 0.073685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_311-9_0_5_line_9 |  | 7 | 9 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_311-9_0_5_line_10 |  | 8 | 107 | 0.011985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_311-9_0_5_line_11 |  | 8 | 106 | 0.020027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_311-9_0_5_line_12 |  | 9 | 10 | 0.0063012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_311-9_0_5_line_13 |  | 10 | 11 | 0.035649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_311-9_0_5_line_14 |  | 11 | 13 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_311-9_0_5_line_15 |  | 12 | 13 | 0.013817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_311-9_0_5_line_16 |  | 12 | 14 | 0.089901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_311-9_0_5_line_17 |  | 13 | 15 | 0.013024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_311-9_0_5_line_18 |  | 14 | 16 | 0.019008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_311-9_0_5_line_19 |  | 15 | 17 | 0.01389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_311-9_0_5_line_20 |  | 15 | 18 | 0.033464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_311-9_0_5_line_21 |  | 17 | 19 | 0.0037933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_311-9_0_5_line_22 |  | 20 | 21 | 0.12241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_311-9_0_5_line_23 |  | 20 | 22 | 0.028109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_311-9_0_5_line_24 |  | 21 | 23 | 0.020114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_311-9_0_5_line_25 |  | 22 | 24 | 0.022979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_311-9_0_5_line_26 |  | 23 | 25 | 0.041017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_311-9_0_5_line_27 |  | 24 | 26 | 0.020409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_311-9_0_5_line_28 |  | 25 | 27 | 0.0013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_311-9_0_5_line_29 |  | 26 | 28 | 0.046763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_311-9_0_5_line_30 |  | 27 | 45 | 0.028318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_311-9_0_5_line_31 |  | 28 | 29 | 0.049627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_311-9_0_5_line_32 |  | 29 | 30 | 0.0082351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_311-9_0_5_line_33 |  | 30 | 46 | 0.012638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_311-9_0_5_line_34 |  | 31 | 32 | 0.015424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_311-9_0_5_line_35 |  | 31 | 33 | 0.023314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_311-9_0_5_line_36 |  | 32 | 34 | 0.033897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_311-9_0_5_line_37 |  | 33 | 35 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_311-9_0_5_line_38 |  | 33 | 36 | 0.083099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_311-9_0_5_line_39 |  | 34 | 37 | 0.044733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_311-9_0_5_line_40 |  | 34 | 38 | 0.0044839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_311-9_0_5_line_41 |  | 35 | 39 | 0.016595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_311-9_0_5_line_42 |  | 36 | 40 | 0.018232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_311-9_0_5_line_43 |  | 37 | 41 | 0.008129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_311-9_0_5_line_44 |  | 38 | 42 | 0.0098339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_311-9_0_5_line_45 |  | 39 | 43 | 0.037294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_311-9_0_5_line_46 |  | 40 | 44 | 0.023461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_311-9_0_5_line_47 |  | 41 | 92 | 0.006292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_311-9_0_5_line_48 |  | 41 | 93 | 0.030817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_311-9_0_5_line_49 |  | 42 | 90 | 0.034842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_311-9_0_5_line_50 |  | 43 | 45 | 0.0082907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_311-9_0_5_line_51 |  | 46 | 47 | 0.021745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_311-9_0_5_line_52 |  | 47 | 48 | 0.025848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_311-9_0_5_line_53 |  | 49 | 50 | 0.090908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_311-9_0_5_line_54 |  | 49 | 51 | 0.0094444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_311-9_0_5_line_55 |  | 50 | 52 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_311-9_0_5_line_56 |  | 51 | 53 | 0.12662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_311-9_0_5_line_57 |  | 52 | 54 | 0.0011722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_311-9_0_5_line_58 |  | 53 | 55 | 0.013063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_311-9_0_5_line_59 |  | 53 | 56 | 0.7366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_311-9_0_5_line_60 |  | 54 | 57 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_311-9_0_5_line_61 |  | 55 | 58 | 0.028398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_311-9_0_5_line_62 |  | 56 | 65 | 0.089247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_311-9_0_5_line_63 |  | 57 | 91 | 0.00022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_311-9_0_5_line_64 |  | 58 | 108 | 0.0065416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_311-9_0_5_line_65 |  | 59 | 60 | 0.014476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_311-9_0_5_line_66 |  | 59 | 61 | 0.022092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_311-9_0_5_line_67 |  | 60 | 62 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_311-9_0_5_line_68 |  | 61 | 63 | 0.024557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_311-9_0_5_line_69 |  | 62 | 64 | 0.015786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_311-9_0_5_line_70 |  | 63 | 65 | 0.0065939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_311-9_0_5_line_71 |  | 63 | 66 | 0.047902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_311-9_0_5_line_72 |  | 64 | 67 | 0.020236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_311-9_0_5_line_73 |  | 66 | 68 | 0.0052502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_311-9_0_5_line_74 |  | 67 | 69 | 0.033509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_311-9_0_5_line_75 |  | 68 | 81 | 0.0092569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_311-9_0_5_line_76 |  | 70 | 71 | 0.0054581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_311-9_0_5_line_77 |  | 70 | 72 | 0.034879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_311-9_0_5_line_78 |  | 72 | 73 | 0.023454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_311-9_0_5_line_79 |  | 72 | 74 | 0.036363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_311-9_0_5_line_80 |  | 73 | 75 | 0.0016681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_311-9_0_5_line_81 |  | 74 | 76 | 0.007062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_311-9_0_5_line_82 |  | 74 | 77 | 0.024667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_311-9_0_5_line_83 |  | 76 | 84 | 0.0092111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_311-9_0_5_line_84 |  | 77 | 79 | 0.0028834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_311-9_0_5_line_85 |  | 78 | 79 | 0.022399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_311-9_0_5_line_86 |  | 78 | 80 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_311-9_0_5_line_87 |  | 80 | 81 | 0.029882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_311-9_0_5_line_88 |  | 82 | 83 | 0.017558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_311-9_0_5_line_89 |  | 83 | 84 | 0.016792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_311-9_0_5_line_90 |  | 85 | 86 | 0.0032246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_311-9_0_5_line_91 |  | 85 | 87 | 0.0097027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_311-9_0_5_line_92 |  | 86 | 88 | 0.085884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_311-9_0_5_line_93 |  | 88 | 89 | 0.078765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_311-9_0_5_line_94 |  | 89 | 108 | 0.020913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_311-9_0_5_line_95 |  | 90 | 91 | 0.026682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_311-9_0_5_line_96 |  | 92 | 99 | 0.01856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_311-9_0_5_line_97 |  | 92 | 100 | 0.013594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_311-9_0_5_line_98 |  | 93 | 94 | 0.0082792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_311-9_0_5_line_99 |  | 94 | 95 | 0.014789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_311-9_0_5_line_100 |  | 95 | 96 | 0.023287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_311-9_0_5_line_101 |  | 96 | 97 | 0.078341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_311-9_0_5_line_102 |  | 97 | 98 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_311-9_0_5_line_103 |  | 98 | 102 | 0.00076637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_311-9_0_5_line_104 |  | 99 | 101 | 0.030629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_311-9_0_5_line_105 |  | 102 | 103 | 0.025638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_311-9_0_5_line_106 |  | 104 | 105 | 0.040288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_311-9_0_5_line_107 |  | 105 | 106 | 0.012775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_311-9_0_5_trafo_53 | 0.63 MVA 20/0.4 kV | 109 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2591973.6672 | 1209614.8064 | 2591979.9663 | 1209589.0242
1 | 2591973.6672 | 1209614.8064 | 2591960.4153 | 1209669.0467
2 | 2592356.6939 | 1209054.817 | 2591979.9663 | 1209589.0242
3 | 2591958.1044 | 1209678.5052 | 2591960.4153 | 1209669.0467
4 | 2592637.4738 | 1209465.1619 | 2591960.4153 | 1209669.0467
5 | 2592356.6939 | 1209054.817 | 2592348.5482 | 1209038.2339 | 2592345.7339 | 1209033.189
6 | 2591956.9901 | 1209683.0662 | 2591958.1044 | 1209678.5052
7 | 2592662.3316 | 1209431.9644 | 2592661.4174 | 1209436.3347 | 2592661.6332 | 1209444.8724 | 2592656.445 | 1209453.4058 | 2592641.6736 | 1209462.7739 | 2592637.4738 | 1209465.1619
8 | 2592355.6226 | 1208960.1708 | 2592345.7339 | 1209033.189
9 | 2591956.9901 | 1209683.0662 | 2591951.589 | 1209696.3562
10 | 2592651.2139 | 1209427.4091 | 2592662.3316 | 1209431.9644
11 | 2592662.3316 | 1209431.9644 | 2592665.9938 | 1209430.9371 | 2592672.3224 | 1209434.8981 | 2592679.9739 | 1209439.1576
12 | 2591949.2166 | 1209702.1938 | 2591951.589 | 1209696.3562
13 | 2591949.2166 | 1209702.1938 | 2591940.9466 | 1209722.5433 | 2591937.3594 | 1209735.7477
14 | 2591934.5414 | 1209746.1206 | 2591937.3594 | 1209735.7477
15 | 2591934.5414 | 1209746.1206 | 2591936.7198 | 1209759.7646
16 | 2592007.5824 | 1209804.6872 | 2592006.6368 | 1209802.2871 | 2592002.8021 | 1209799.1795 | 2591992.0503 | 1209795.2808 | 2591955.7011 | 1209785.7582 | 2591946.0007 | 1209778.2228 | 2591937.7304 | 1209766.094 | 2591936.7198 | 1209759.7646
17 | 2591922.5413 | 1209740.9786 | 2591934.5414 | 1209746.1206
18 | 2592007.5824 | 1209804.6872 | 2592008.172 | 1209807.8993 | 2592007.5917 | 1209823.6311
19 | 2591922.5413 | 1209740.9786 | 2591909.7763 | 1209735.5034
20 | 2591922.5413 | 1209740.9786 | 2591911.8244 | 1209757.1689 | 2591904.8712 | 1209769.3756
21 | 2591906.2901 | 1209734.0081 | 2591909.7763 | 1209735.5034
22 | 2592506.2688 | 1208935.5876 | 2592524.0442 | 1208943.9681 | 2592536.6454 | 1208948.7215 | 2592573.458 | 1208960.804 | 2592591.339 | 1208969.2529 | 2592597.8959 | 1208972.9911 | 2592613.5603 | 1208983.9109 | 2592616.7679 | 1208986.5065
23 | 2592506.2688 | 1208935.5876 | 2592486.9585 | 1208926.4833 | 2592483.8639 | 1208925.7758 | 2592480.2809 | 1208925.6401
24 | 2592616.7679 | 1208986.5065 | 2592632.4032 | 1208999.1593
25 | 2592457.9962 | 1208930.8166 | 2592472.2197 | 1208926.5132 | 2592475.784 | 1208925.9417 | 2592479.8883 | 1208925.6252 | 2592480.2809 | 1208925.6401
26 | 2592665.6277 | 1209023.1099 | 2592659.1125 | 1209019.2959 | 2592652.296 | 1209014.5684 | 2592644.5739 | 1209009.0083 | 2592632.4032 | 1208999.1593
27 | 2592457.9962 | 1208930.8166 | 2592438.4612 | 1208936.7269
28 | 2592665.6277 | 1209023.1099 | 2592666.7972 | 1209023.7945
29 | 2592438.4612 | 1208936.7269 | 2592415.1339 | 1208943.7847 | 2592408.0667 | 1208945.2279 | 2592400.3979 | 1208945.9048 | 2592395.0464 | 1208945.656 | 2592392.9328 | 1208945.458
30 | 2592692.3617 | 1209035.9365 | 2592670.066 | 1209025.708 | 2592666.7972 | 1209023.7945
31 | 2592346.1908 | 1208929.9882 | 2592357.9231 | 1208934.6534 | 2592366.176 | 1208938.9896 | 2592373.7354 | 1208941.9703 | 2592380.3127 | 1208943.6961 | 2592387.4366 | 1208944.9432 | 2592392.9328 | 1208945.458
32 | 2592338.5385 | 1208926.9453 | 2592346.1908 | 1208929.9882
33 | 2592326.7952 | 1208922.2758 | 2592338.5385 | 1208926.9453
34 | 2592790.5745 | 1209060.4359 | 2592791.9092 | 1209061.0442 | 2592796.2752 | 1209063.5402 | 2592802.8668 | 1209069.5625
35 | 2592769.026 | 1209051.5892 | 2592779.041 | 1209055.1789 | 2592790.5745 | 1209060.4359
36 | 2592829.6459 | 1209090.2477 | 2592811.3801 | 1209077.3406 | 2592802.8668 | 1209069.5625
37 | 2592769.026 | 1209051.5892 | 2592762.2179 | 1209053.5653 | 2592758.9043 | 1209053.9251 | 2592752.5796 | 1209053.477 | 2592751.8731 | 1209053.3615
38 | 2592769.026 | 1209051.5892 | 2592767.2553 | 1209045.6436 | 2592765.5647 | 1209043.0998 | 2592761.6379 | 1209039.2914 | 2592753.0624 | 1209031.8867 | 2592740.3108 | 1209022.0414 | 2592708.7173 | 1209000.8909 | 2592706.3416 | 1208999.2087
39 | 2592829.6459 | 1209090.2477 | 2592864.0539 | 1209118.8336
40 | 2592829.6459 | 1209090.2477 | 2592827.9859 | 1209086.0824
41 | 2592735.6023 | 1209050.1183 | 2592735.6023 | 1209050.1183 | 2592746.7788 | 1209052.5281 | 2592751.8731 | 1209053.3615
42 | 2592692.1819 | 1208987.7564 | 2592692.9677 | 1208988.5702 | 2592702.2127 | 1208996.2853 | 2592706.3416 | 1208999.2087
43 | 2592870.3065 | 1209124.0282 | 2592864.0539 | 1209118.8336
44 | 2592824.3452 | 1209076.9472 | 2592827.9859 | 1209086.0824
45 | 2592735.6023 | 1209050.1183 | 2592701.0733 | 1209039.933 | 2592699.8973 | 1209039.3935
46 | 2592676.7093 | 1208970.1538 | 2592678.9245 | 1208973.1458 | 2592685.5167 | 1208980.853 | 2592692.1819 | 1208987.7564
47 | 2592864.9595 | 1209127.3699 | 2592870.3065 | 1209124.0282
48 | 2592870.3065 | 1209124.0282 | 2592884.3088 | 1209131.4154 | 2592896.959 | 1209139.5713
49 | 2592824.3452 | 1209076.9472 | 2592811.4463 | 1209044.5808
50 | 2592692.3617 | 1209035.9365 | 2592699.8973 | 1209039.3935
51 | 2592326.7952 | 1208922.2758 | 2592339.9982 | 1208939.5793
52 | 2592339.9982 | 1208939.5793 | 2592355.6226 | 1208960.1708
53 | 2592801.7109 | 1208989.6234 | 2592801.2878 | 1208985.4354 | 2592792.6535 | 1208942.3666 | 2592788.4672 | 1208899.7988
54 | 2592787.5428 | 1208890.3997 | 2592788.4672 | 1208899.7988
55 | 2592801.7109 | 1208989.6234 | 2592802.8392 | 1209000.7909
56 | 2592787.5428 | 1208890.3997 | 2592779.5761 | 1208871.2878 | 2592768.3285 | 1208854.5923 | 2592728.3126 | 1208796.9652 | 2592717.4514 | 1208785.5946
57 | 2592802.8392 | 1209000.7909 | 2592802.957 | 1209001.9571
58 | 2592717.4514 | 1208785.5946 | 2592705.3731 | 1208780.6182
59 | 2592717.4514 | 1208785.5946 | 2593295.8328 | 1208329.4576
60 | 2592805.0718 | 1209018.4966 | 2592804.2346 | 1209014.6035 | 2592802.957 | 1209001.9571
61 | 2592705.3731 | 1208780.6182 | 2592679.1159 | 1208769.8001
62 | 2593295.8328 | 1208329.4576 | 2593315.7169 | 1208306.9671 | 2593349.4867 | 1208268.052 | 2593354.8747 | 1208262.5473
63 | 2592805.1186 | 1209018.714 | 2592805.0718 | 1209018.4966
64 | 2592673.0675 | 1208767.3081 | 2592679.1159 | 1208769.8001
65 | 2593396.4193 | 1208286.0869 | 2593397.8153 | 1208290.4767 | 2593393.5991 | 1208299.3998
66 | 2593396.4193 | 1208286.0869 | 2593396.4193 | 1208286.0869 | 2593390.0494 | 1208279.9129 | 2593379.0864 | 1208272.5227
67 | 2593393.5991 | 1208299.3998 | 2593389.1695 | 1208308.7742
68 | 2593359.4871 | 1208257.8351 | 2593364.3425 | 1208262.4655 | 2593378.0139 | 1208271.7997 | 2593379.0864 | 1208272.5227
69 | 2593385.515 | 1208324.1312 | 2593389.1695 | 1208308.7742
70 | 2593359.4871 | 1208257.8351 | 2593354.8747 | 1208262.5473
71 | 2593359.4871 | 1208257.8351 | 2593370.237 | 1208244.7713 | 2593386.5796 | 1208218.4481
72 | 2593388.9422 | 1208343.338 | 2593385.5298 | 1208337.3607 | 2593384.7958 | 1208333.5483 | 2593384.686 | 1208330.5579 | 2593385.515 | 1208324.1312
73 | 2593389.3489 | 1208213.9876 | 2593386.5796 | 1208218.4481
74 | 2593388.9422 | 1208343.338 | 2593413.2584 | 1208366.3946
75 | 2593394.2315 | 1208206.1231 | 2593389.3489 | 1208213.9876
76 | 2593276.9691 | 1208173.3264 | 2593282.3626 | 1208174.1634
77 | 2593314.0751 | 1208166.3693 | 2593302.8563 | 1208168.2164 | 2593293.8945 | 1208175.953 | 2593282.3626 | 1208174.1634
78 | 2593314.0751 | 1208166.3693 | 2593321.2107 | 1208170.6302 | 2593329.2727 | 1208173.8785 | 2593335.1892 | 1208176.4511
79 | 2593314.0751 | 1208166.3693 | 2593342.416 | 1208166.3372 | 2593350.0607 | 1208163.5826
80 | 2593336.7189 | 1208177.1163 | 2593335.1892 | 1208176.4511
81 | 2593347.4609 | 1208157.0153 | 2593350.0607 | 1208163.5826
82 | 2593350.0607 | 1208163.5826 | 2593372.6152 | 1208173.5707
83 | 2593347.4609 | 1208157.0153 | 2593346.6833 | 1208155.0484 | 2593346.8703 | 1208147.9548
84 | 2593375.2517 | 1208174.7382 | 2593372.6152 | 1208173.5707
85 | 2593375.2517 | 1208174.7382 | 2593396.7348 | 1208181.0768
86 | 2593417.0181 | 1208188.399 | 2593403.4043 | 1208183.0446 | 2593396.7348 | 1208181.0768
87 | 2593394.2315 | 1208206.1231 | 2593406.7056 | 1208191.6234 | 2593417.0181 | 1208188.399
88 | 2593346.8616 | 1208131.1684 | 2593354.2018 | 1208128.0139 | 2593362.7632 | 1208129.116 | 2593363.6816 | 1208128.9336
89 | 2593346.8616 | 1208131.1684 | 2593347.077 | 1208140.1175 | 2593346.8703 | 1208147.9548
90 | 2592573.7017 | 1208816.2016 | 2592572.392 | 1208813.255
91 | 2592573.7017 | 1208816.2016 | 2592564.8718 | 1208812.1797
92 | 2592580.7838 | 1208729.6338 | 2592577.7325 | 1208745.313 | 2592575.1301 | 1208755.2662 | 2592568.787 | 1208782.6115 | 2592567.9335 | 1208786.9483 | 2592567.5449 | 1208792.285 | 2592567.8571 | 1208798.7882 | 2592568.5242 | 1208803.3121 | 2592569.3261 | 1208806.3572 | 2592572.392 | 1208813.255
93 | 2592580.7838 | 1208729.6338 | 2592629.0243 | 1208749.1619 | 2592653.7309 | 1208759.3412
94 | 2592673.0675 | 1208767.3081 | 2592653.7309 | 1208759.3412
95 | 2592811.4463 | 1209044.5808 | 2592809.7845 | 1209040.411 | 2592805.1186 | 1209018.714
96 | 2592864.9595 | 1209127.3699 | 2592856.5413 | 1209130.4039 | 2592847.0464 | 1209128.9081
97 | 2592864.9595 | 1209127.3699 | 2592867.0517 | 1209135.2717 | 2592862.633 | 1209138.4093
98 | 2592896.959 | 1209139.5713 | 2592903.9131 | 1209138.9071 | 2592905.1939 | 1209138.7265
99 | 2592919.6584 | 1209135.7086 | 2592914.2558 | 1209137.0714 | 2592909.0049 | 1209138.1894 | 2592905.1939 | 1209138.7265
100 | 2592919.6584 | 1209135.7086 | 2592917.3755 | 1209139.8358 | 2592915.4189 | 1209143.5069 | 2592914.2521 | 1209146.6211 | 2592913.1855 | 1209150.9359 | 2592912.0685 | 1209157.4853
101 | 2592912.0685 | 1209157.4853 | 2592915.1229 | 1209162.9069 | 2592929.9929 | 1209196.7299 | 2592942.3315 | 1209229.6658
102 | 2592950.2965 | 1209249.3628 | 2592943.8555 | 1209233.7338 | 2592942.3315 | 1209229.6658
103 | 2592950.2965 | 1209249.3628 | 2592950.5885 | 1209250.0713
104 | 2592817.5899 | 1209120.8015 | 2592833.9083 | 1209126.3736 | 2592841.9751 | 1209128.1092 | 2592847.0464 | 1209128.9081
105 | 2592950.5885 | 1209250.0713 | 2592952.6067 | 1209254.9684 | 2592959.6743 | 1209273.1589 | 2592960.1075 | 1209273.8626
106 | 2592728.9866 | 1209459.4737 | 2592728.5132 | 1209459.3199 | 2592708.1176 | 1209450.4957 | 2592691.823 | 1209443.9312
107 | 2592679.9739 | 1209439.1576 | 2592691.823 | 1209443.9312

## bus_geodata
| x | y | coords
0 | 2591973.6672 | 1209614.8064
1 | 2591979.9663 | 1209589.0242
2 | 2591960.4153 | 1209669.0467
3 | 2592356.6939 | 1209054.817
4 | 2591958.1044 | 1209678.5052
5 | 2592637.4738 | 1209465.1619
6 | 2592345.7339 | 1209033.189
7 | 2591956.9901 | 1209683.0662
8 | 2592662.3316 | 1209431.9644
9 | 2591951.589 | 1209696.3562
10 | 2591949.2166 | 1209702.1938
11 | 2591937.3594 | 1209735.7477
12 | 2591936.7198 | 1209759.7646
13 | 2591934.5414 | 1209746.1206
14 | 2592007.5824 | 1209804.6872
15 | 2591922.5413 | 1209740.9786
16 | 2592007.5917 | 1209823.6311
17 | 2591909.7763 | 1209735.5034
18 | 2591904.8712 | 1209769.3756
19 | 2591906.2901 | 1209734.0081
20 | 2592506.2688 | 1208935.5876
21 | 2592616.7679 | 1208986.5065
22 | 2592480.2809 | 1208925.6401
23 | 2592632.4032 | 1208999.1593
24 | 2592457.9962 | 1208930.8166
25 | 2592665.6277 | 1209023.1099
26 | 2592438.4612 | 1208936.7269
27 | 2592666.7972 | 1209023.7945
28 | 2592392.9328 | 1208945.458
29 | 2592346.1908 | 1208929.9882
30 | 2592338.5385 | 1208926.9453
31 | 2592790.5745 | 1209060.4359
32 | 2592802.8668 | 1209069.5625
33 | 2592769.026 | 1209051.5892
34 | 2592829.6459 | 1209090.2477
35 | 2592751.8731 | 1209053.3615
36 | 2592706.3416 | 1208999.2087
37 | 2592864.0539 | 1209118.8336
38 | 2592827.9859 | 1209086.0824
39 | 2592735.6023 | 1209050.1183
40 | 2592692.1819 | 1208987.7564
41 | 2592870.3065 | 1209124.0282
42 | 2592824.3452 | 1209076.9472
43 | 2592699.8973 | 1209039.3935
44 | 2592676.7093 | 1208970.1538
45 | 2592692.3617 | 1209035.9365
46 | 2592326.7952 | 1208922.2758
47 | 2592339.9982 | 1208939.5793
48 | 2592355.6226 | 1208960.1708
49 | 2592788.4672 | 1208899.7988
50 | 2592801.7109 | 1208989.6234
51 | 2592787.5428 | 1208890.3997
52 | 2592802.8392 | 1209000.7909
53 | 2592717.4514 | 1208785.5946
54 | 2592802.957 | 1209001.9571
55 | 2592705.3731 | 1208780.6182
56 | 2593295.8328 | 1208329.4576
57 | 2592805.0718 | 1209018.4966
58 | 2592679.1159 | 1208769.8001
59 | 2593396.4193 | 1208286.0869
60 | 2593393.5991 | 1208299.3998
61 | 2593379.0864 | 1208272.5227
62 | 2593389.1695 | 1208308.7742
63 | 2593359.4871 | 1208257.8351
64 | 2593385.515 | 1208324.1312
65 | 2593354.8747 | 1208262.5473
66 | 2593386.5796 | 1208218.4481
67 | 2593388.9422 | 1208343.338
68 | 2593389.3489 | 1208213.9876
69 | 2593413.2584 | 1208366.3946
70 | 2593282.3626 | 1208174.1634
71 | 2593276.9691 | 1208173.3264
72 | 2593314.0751 | 1208166.3693
73 | 2593335.1892 | 1208176.4511
74 | 2593350.0607 | 1208163.5826
75 | 2593336.7189 | 1208177.1163
76 | 2593347.4609 | 1208157.0153
77 | 2593372.6152 | 1208173.5707
78 | 2593396.7348 | 1208181.0768
79 | 2593375.2517 | 1208174.7382
80 | 2593417.0181 | 1208188.399
81 | 2593394.2315 | 1208206.1231
82 | 2593363.6816 | 1208128.9336
83 | 2593346.8616 | 1208131.1684
84 | 2593346.8703 | 1208147.9548
85 | 2592573.7017 | 1208816.2016
86 | 2592572.392 | 1208813.255
87 | 2592564.8718 | 1208812.1797
88 | 2592580.7838 | 1208729.6338
89 | 2592653.7309 | 1208759.3412
90 | 2592811.4463 | 1209044.5808
91 | 2592805.1186 | 1209018.714
92 | 2592864.9595 | 1209127.3699
93 | 2592896.959 | 1209139.5713
94 | 2592905.1939 | 1209138.7265
95 | 2592919.6584 | 1209135.7086
96 | 2592912.0685 | 1209157.4853
97 | 2592942.3315 | 1209229.6658
98 | 2592950.2965 | 1209249.3628
99 | 2592847.0464 | 1209128.9081
100 | 2592862.633 | 1209138.4093
101 | 2592817.5899 | 1209120.8015
102 | 2592950.5885 | 1209250.0713
103 | 2592960.1075 | 1209273.8626
104 | 2592728.9866 | 1209459.4737
105 | 2592691.823 | 1209443.9312
106 | 2592679.9739 | 1209439.1576
107 | 2592651.2139 | 1209427.4091
108 | 2592673.0675 | 1208767.3081
109 | 2592339.9982 | 1208939.5793

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1