## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3202-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3202-3_0_3_node_266 | 0.4 | n |  | TRUE
2 | bus_LV_3202-3_0_3_node_41 | 0.4 | n |  | TRUE
3 | bus_LV_3202-3_0_3_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_3202-3_0_3_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_3202-3_0_3_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_3202-3_0_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_3202-3_0_3_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_3202-3_0_3_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_3202-3_0_3_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_3202-3_0_3_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_3202-3_0_3_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_3202-3_0_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_3202-3_0_3_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_3202-3_0_3_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_3202-3_0_3_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_3202-3_0_3_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_3202-3_0_3_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_3202-3_0_3_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_3202-3_0_3_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_3202-3_0_3_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_3202-3_0_3_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_3202-3_0_3_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_3202-3_0_3_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_3202-3_0_3_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_3202-3_0_3_node_254 | 0.4 | n |  | TRUE
26 | bus_LV_3202-3_0_3_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_3202-3_0_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_3202-3_0_3_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_3202-3_0_3_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_3202-3_0_3_node_241 | 0.4 | n |  | TRUE
31 | bus_LV_3202-3_0_3_node_164 | 0.4 | n |  | TRUE
32 | bus_LV_3202-3_0_3_node_160 | 0.4 | n |  | TRUE
33 | bus_LV_3202-3_0_3_node_156 | 0.4 | n |  | TRUE
34 | bus_LV_3202-3_0_3_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_3202-3_0_3_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_3202-3_0_3_node_282 | 0.4 | n |  | TRUE
37 | bus_LV_3202-3_0_3_node_152 | 0.4 | n |  | TRUE
38 | bus_LV_3202-3_0_3_node_147 | 0.4 | n |  | TRUE
39 | bus_LV_3202-3_0_3_node_148 | 0.4 | n |  | TRUE
40 | bus_LV_3202-3_0_3_node_149 | 0.4 | n |  | TRUE
41 | bus_LV_3202-3_0_3_node_161 | 0.4 | n |  | TRUE
42 | bus_LV_3202-3_0_3_node_150 | 0.4 | n |  | TRUE
43 | bus_LV_3202-3_0_3_node_151 | 0.4 | n |  | TRUE
44 | bus_LV_3202-3_0_3_node_153 | 0.4 | n |  | TRUE
45 | bus_LV_3202-3_0_3_node_154 | 0.4 | n |  | TRUE
46 | bus_LV_3202-3_0_3_node_155 | 0.4 | n |  | TRUE
47 | bus_LV_3202-3_0_3_node_159 | 0.4 | n |  | TRUE
48 | bus_LV_3202-3_0_3_node_157 | 0.4 | n |  | TRUE
49 | bus_LV_3202-3_0_3_node_158 | 0.4 | n |  | TRUE
50 | bus_LV_3202-3_0_3_node_275 | 0.4 | n |  | TRUE
51 | bus_LV_3202-3_0_3_node_243 | 0.4 | n |  | TRUE
52 | bus_LV_3202-3_0_3_node_162 | 0.4 | n |  | TRUE
53 | bus_LV_3202-3_0_3_node_163 | 0.4 | n |  | TRUE
54 | bus_LV_3202-3_0_3_node_242 | 0.4 | n |  | TRUE
55 | bus_LV_3202-3_0_3_node_244 | 0.4 | n |  | TRUE
56 | bus_LV_3202-3_0_3_node_245 | 0.4 | n |  | TRUE
57 | bus_LV_3202-3_0_3_node_273 | 0.4 | n |  | TRUE
58 | bus_LV_3202-3_0_3_node_272 | 0.4 | n |  | TRUE
59 | bus_LV_3202-3_0_3_node_246 | 0.4 | n |  | TRUE
60 | bus_LV_3202-3_0_3_node_267 | 0.4 | n |  | TRUE
61 | bus_LV_3202-3_0_3_node_269 | 0.4 | n |  | TRUE
62 | bus_LV_3202-3_0_3_node_247 | 0.4 | n |  | TRUE
63 | bus_LV_3202-3_0_3_node_248 | 0.4 | n |  | TRUE
64 | bus_LV_3202-3_0_3_node_249 | 0.4 | n |  | TRUE
65 | bus_LV_3202-3_0_3_node_250 | 0.4 | n |  | TRUE
66 | bus_LV_3202-3_0_3_node_251 | 0.4 | n |  | TRUE
67 | bus_LV_3202-3_0_3_node_252 | 0.4 | n |  | TRUE
68 | bus_LV_3202-3_0_3_node_253 | 0.4 | n |  | TRUE
69 | bus_LV_3202-3_0_3_node_255 | 0.4 | n |  | TRUE
70 | bus_LV_3202-3_0_3_node_256 | 0.4 | n |  | TRUE
71 | bus_LV_3202-3_0_3_node_257 | 0.4 | n |  | TRUE
72 | bus_LV_3202-3_0_3_node_258 | 0.4 | n |  | TRUE
73 | bus_LV_3202-3_0_3_node_259 | 0.4 | n |  | TRUE
74 | bus_LV_3202-3_0_3_node_260 | 0.4 | n |  | TRUE
75 | bus_LV_3202-3_0_3_node_261 | 0.4 | n |  | TRUE
76 | bus_LV_3202-3_0_3_node_262 | 0.4 | n |  | TRUE
77 | bus_LV_3202-3_0_3_node_263 | 0.4 | n |  | TRUE
78 | bus_LV_3202-3_0_3_node_264 | 0.4 | n |  | TRUE
79 | bus_LV_3202-3_0_3_node_265 | 0.4 | n |  | TRUE
80 | bus_LV_3202-3_0_3_node_281 | 0.4 | n |  | TRUE
81 | bus_LV_3202-3_0_3_node_277 | 0.4 | n |  | TRUE
82 | bus_LV_3202-3_0_3_node_268 | 0.4 | n |  | TRUE
83 | bus_LV_3202-3_0_3_node_270 | 0.4 | n |  | TRUE
84 | bus_LV_3202-3_0_3_node_271 | 0.4 | n |  | TRUE
85 | bus_LV_3202-3_0_3_node_274 | 0.4 | n |  | TRUE
86 | bus_LV_3202-3_0_3_node_276 | 0.4 | n |  | TRUE
87 | bus_LV_3202-3_0_3_node_278 | 0.4 | n |  | TRUE
88 | bus_LV_3202-3_0_3_node_279 | 0.4 | n |  | TRUE
89 | bus_LV_3202-3_0_3_node_283 | 0.4 | n |  | TRUE
90 | bus_MV_407_0_node_184 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3202-3_0_3_load_0 | 0 | 0.00072354 | 0.00018134 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3202-3_0_3_load_41 | 2 | 0.00041553 | 0.00010414 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3202-3_0_3_load_47 | 6 | 0.00013935 | 3.4924e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3202-3_0_3_load_55 | 8 | 0.00016568 | 4.1522e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3202-3_0_3_load_45 | 9 | 0.00029681 | 7.4387e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3202-3_0_3_load_46 | 10 | 0.00015444 | 3.8707e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3202-3_0_3_load_48 | 11 | 0.00058308 | 0.00014613 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3202-3_0_3_load_53 | 14 | 0.00027097 | 6.7912e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3202-3_0_3_load_58 | 15 | 0.00059717 | 0.00014967 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3202-3_0_3_load_57 | 16 | 0.0013717 | 0.00034379 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3202-3_0_3_load_56 | 17 | 0.00044249 | 0.0001109 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3202-3_0_3_load_65 | 18 | 0.00072889 | 0.00018268 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3202-3_0_3_load_59 | 19 | 0.0015218 | 0.00038141 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3202-3_0_3_load_62 | 22 | 0.0023087 | 0.00057862 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3202-3_0_3_load_63 | 23 | 0.0067855 | 0.0017006 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3202-3_0_3_load_64 | 24 | 0.0049549 | 0.0012418 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3202-3_0_3_load_254 | 25 | 0.0018035 | 0.000452 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3202-3_0_3_load_67 | 27 | 0.0021487 | 0.00053852 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3202-3_0_3_load_241 | 30 | 0.0022929 | 0.00057465 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3202-3_0_3_load_164 | 31 | 0.012497 | 0.0031319 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3202-3_0_3_load_156 | 33 | 0.0027788 | 0.00069644 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3202-3_0_3_load_80 | 34 | 0.022151 | 0.0055516 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3202-3_0_3_load_282 | 36 | 0.0058976 | 0.0014781 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3202-3_0_3_load_152 | 37 | 0.012214 | 0.0030611 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3202-3_0_3_load_149 | 40 | 0.026466 | 0.0066329 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3202-3_0_3_load_161 | 41 | 0.0042194 | 0.0010575 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3202-3_0_3_load_150 | 42 | 0.0023525 | 0.0005896 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3202-3_0_3_load_151 | 43 | 0.0001967 | 4.9299e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3202-3_0_3_load_153 | 44 | 0.002079 | 0.00052105 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3202-3_0_3_load_159 | 47 | 0.0024944 | 0.00062515 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3202-3_0_3_load_157 | 48 | 0.00031393 | 7.8678e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3202-3_0_3_load_158 | 49 | 0.0003971 | 9.9522e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3202-3_0_3_load_243 | 51 | 0.0012925 | 0.00032393 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3202-3_0_3_load_162 | 52 | 0.023259 | 0.0058294 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3202-3_0_3_load_163 | 53 | 0.0019615 | 0.00049159 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3202-3_0_3_load_242 | 54 | 0.00035146 | 8.8085e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3202-3_0_3_load_273 | 57 | 0.000467 | 0.00011704 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3202-3_0_3_load_272 | 58 | 0.00019554 | 4.9006e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3202-3_0_3_load_269 | 61 | 0.00012978 | 3.2525e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3202-3_0_3_load_247 | 62 | 0.0095754 | 0.0023998 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3202-3_0_3_load_248 | 63 | 0.00084841 | 0.00021263 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3202-3_0_3_load_250 | 65 | 0.00085724 | 0.00021485 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3202-3_0_3_load_251 | 66 | 0.0003741 | 9.3759e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3202-3_0_3_load_252 | 67 | 0.0017764 | 0.00044521 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3202-3_0_3_load_253 | 68 | 0.01272 | 0.003188 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3202-3_0_3_load_255 | 69 | 0.001315 | 0.00032956 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3202-3_0_3_load_256 | 70 | 0.0018144 | 0.00045473 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3202-3_0_3_load_257 | 71 | 0.0012339 | 0.00030924 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3202-3_0_3_load_258 | 72 | 0.0022159 | 0.00055535 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3202-3_0_3_load_259 | 73 | 0.016044 | 0.004021 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3202-3_0_3_load_260 | 74 | 0.00086349 | 0.00021641 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3202-3_0_3_load_262 | 76 | 0.00078055 | 0.00019563 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3202-3_0_3_load_264 | 78 | 0.00022181 | 5.5592e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3202-3_0_3_load_265 | 79 | 0.0020411 | 0.00051154 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3202-3_0_3_load_281 | 80 | 0.00064176 | 0.00016084 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3202-3_0_3_load_277 | 81 | 0.0010365 | 0.00025977 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3202-3_0_3_load_268 | 82 | 0.0011302 | 0.00028326 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3202-3_0_3_load_270 | 83 | 0.00019662 | 4.9279e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3202-3_0_3_load_271 | 84 | 0.00045219 | 0.00011333 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3202-3_0_3_load_274 | 85 | 0.00039733 | 9.9581e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3202-3_0_3_load_276 | 86 | 0.0014198 | 0.00035583 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3202-3_0_3_load_278 | 87 | 0.00036008 | 9.0245e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3202-3_0_3_load_279 | 88 | 0.00038418 | 9.6284e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3202-3_0_3_load_283 | 89 | 0.0013188 | 0.00033053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3202-3_0_3_line_0 |  | 0 | 1 | 0.33433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3202-3_0_3_line_1 |  | 1 | 81 | 0.024356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3202-3_0_3_line_2 |  | 1 | 75 | 0.083294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3202-3_0_3_line_3 |  | 2 | 3 | 0.036393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3202-3_0_3_line_4 |  | 2 | 4 | 0.049866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3202-3_0_3_line_5 |  | 3 | 5 | 0.051175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3202-3_0_3_line_6 |  | 3 | 6 | 0.12445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3202-3_0_3_line_7 |  | 4 | 7 | 0.18773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3202-3_0_3_line_8 |  | 5 | 8 | 0.043817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3202-3_0_3_line_9 |  | 6 | 10 | 0.01325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3202-3_0_3_line_10 |  | 7 | 14 | 0.017133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3202-3_0_3_line_11 |  | 7 | 11 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3202-3_0_3_line_12 |  | 8 | 17 | 0.01097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3202-3_0_3_line_13 |  | 9 | 10 | 0.013164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3202-3_0_3_line_14 |  | 11 | 12 | 0.01865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3202-3_0_3_line_15 |  | 12 | 13 | 0.043135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3202-3_0_3_line_16 |  | 13 | 15 | 0.033759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3202-3_0_3_line_17 |  | 14 | 16 | 0.023687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3202-3_0_3_line_18 |  | 16 | 18 | 0.57913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3202-3_0_3_line_19 |  | 18 | 24 | 0.42695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3202-3_0_3_line_20 |  | 19 | 20 | 0.012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3202-3_0_3_line_21 |  | 20 | 21 | 0.006141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3202-3_0_3_line_22 |  | 21 | 22 | 0.010557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3202-3_0_3_line_23 |  | 22 | 23 | 0.021772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3202-3_0_3_line_24 |  | 23 | 24 | 0.062144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3202-3_0_3_line_25 |  | 24 | 25 | 0.19627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3202-3_0_3_line_26 |  | 25 | 69 | 0.026308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3202-3_0_3_line_27 |  | 25 | 68 | 0.0026795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3202-3_0_3_line_28 |  | 26 | 27 | 0.011488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3202-3_0_3_line_29 |  | 26 | 28 | 0.052297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3202-3_0_3_line_30 |  | 26 | 29 | 0.093874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3202-3_0_3_line_31 |  | 27 | 30 | 0.074319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3202-3_0_3_line_32 |  | 28 | 31 | 0.024349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3202-3_0_3_line_33 |  | 29 | 32 | 0.060107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3202-3_0_3_line_34 |  | 29 | 33 | 0.03124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3202-3_0_3_line_35 |  | 30 | 54 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3202-3_0_3_line_36 |  | 31 | 39 | 0.0067198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3202-3_0_3_line_37 |  | 32 | 51 | 0.04191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3202-3_0_3_line_38 |  | 33 | 45 | 0.013257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3202-3_0_3_line_39 |  | 34 | 35 | 0.04296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3202-3_0_3_line_40 |  | 34 | 36 | 0.12093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3202-3_0_3_line_41 |  | 35 | 37 | 0.10108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3202-3_0_3_line_42 |  | 37 | 42 | 0.0017528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3202-3_0_3_line_43 |  | 38 | 39 | 0.012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3202-3_0_3_line_44 |  | 38 | 40 | 0.036358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3202-3_0_3_line_45 |  | 39 | 41 | 0.018641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3202-3_0_3_line_46 |  | 41 | 52 | 0.02109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3202-3_0_3_line_47 |  | 42 | 43 | 0.02733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3202-3_0_3_line_48 |  | 43 | 44 | 0.011242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3202-3_0_3_line_49 |  | 44 | 45 | 0.031139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3202-3_0_3_line_50 |  | 45 | 46 | 0.00585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3202-3_0_3_line_51 |  | 46 | 47 | 0.039293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3202-3_0_3_line_52 |  | 46 | 48 | 0.028468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3202-3_0_3_line_53 |  | 49 | 50 | 0.026156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3202-3_0_3_line_54 |  | 50 | 85 | 0.051876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3202-3_0_3_line_55 |  | 51 | 55 | 0.018016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3202-3_0_3_line_56 |  | 52 | 53 | 0.0021346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3202-3_0_3_line_57 |  | 55 | 56 | 0.025109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_3202-3_0_3_line_58 |  | 56 | 57 | 0.021655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3202-3_0_3_line_59 |  | 56 | 58 | 0.022998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3202-3_0_3_line_60 |  | 57 | 86 | 0.044719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3202-3_0_3_line_61 |  | 58 | 84 | 0.0053074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3202-3_0_3_line_62 |  | 59 | 60 | 0.008347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3202-3_0_3_line_63 |  | 59 | 61 | 0.022985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3202-3_0_3_line_64 |  | 60 | 82 | 0.039472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3202-3_0_3_line_65 |  | 60 | 66 | 0.019189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3202-3_0_3_line_66 |  | 61 | 83 | 0.030566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3202-3_0_3_line_67 |  | 62 | 63 | 0.01983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3202-3_0_3_line_68 |  | 62 | 64 | 0.019759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3202-3_0_3_line_69 |  | 63 | 65 | 0.025338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3202-3_0_3_line_70 |  | 64 | 66 | 0.032612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3202-3_0_3_line_71 |  | 64 | 67 | 0.029395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3202-3_0_3_line_72 |  | 65 | 68 | 0.023216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3202-3_0_3_line_73 |  | 69 | 70 | 0.0032605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3202-3_0_3_line_74 |  | 70 | 71 | 0.019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3202-3_0_3_line_75 |  | 71 | 72 | 0.01631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3202-3_0_3_line_76 |  | 72 | 73 | 0.010057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3202-3_0_3_line_77 |  | 73 | 74 | 0.026944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3202-3_0_3_line_78 |  | 74 | 75 | 0.0096527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3202-3_0_3_line_79 |  | 75 | 76 | 0.028845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3202-3_0_3_line_80 |  | 76 | 77 | 0.047361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3202-3_0_3_line_81 |  | 77 | 78 | 0.049784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3202-3_0_3_line_82 |  | 77 | 79 | 0.084283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3202-3_0_3_line_83 |  | 79 | 80 | 0.043094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3202-3_0_3_line_84 |  | 81 | 87 | 0.02847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3202-3_0_3_line_85 |  | 83 | 84 | 0.011629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3202-3_0_3_line_86 |  | 83 | 85 | 0.045851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3202-3_0_3_line_87 |  | 87 | 88 | 0.003553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3202-3_0_3_line_88 |  | 88 | 89 | 0.0040719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3202-3_0_3_trafo_160 | 0.63 MVA 20/0.4 kV | 90 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2741202.0737 | 1265161.4184 | 2740930.1123 | 1264966.9593
1 | 2741202.0737 | 1265161.4184 | 2741199.7894 | 1265164.6336 | 2741187.9512 | 1265181.2625
2 | 2741278.5216 | 1265195.0218 | 2741223.933 | 1265171.0276 | 2741202.0737 | 1265161.4184
3 | 2741320.4521 | 1264081.5079 | 2741310.0014 | 1264077.3875 | 2741300.1745 | 1264070.8129 | 2741289.2021 | 1264068.0258 | 2741287.1966 | 1264067.8272
4 | 2741255.0005 | 1264095.4131 | 2741257.6683 | 1264085.0001 | 2741263.9616 | 1264075.4856 | 2741267.8904 | 1264068.4282 | 2741274.4003 | 1264066.5597 | 2741287.1966 | 1264067.8272
5 | 2741320.4521 | 1264081.5079 | 2741296.8544 | 1264101.252 | 2741284.424 | 1264117.5264
6 | 2741320.4521 | 1264081.5079 | 2741393.4273 | 1263980.6985
7 | 2741255.0005 | 1264095.4131 | 2741128.8411 | 1264234.4357
8 | 2741284.424 | 1264117.5264 | 2741294.8591 | 1264123.8707 | 2741303.0836 | 1264130.0177 | 2741309.7784 | 1264137.4293 | 2741313.3915 | 1264143.2546 | 2741314.8727 | 1264147.4979
9 | 2741393.4273 | 1263980.6985 | 2741384.8382 | 1263973.5978 | 2741383.1933 | 1263972.283
10 | 2741128.8411 | 1264234.4357 | 2741134.6452 | 1264242.8602 | 2741138.0561 | 1264248.8609
11 | 2741128.8411 | 1264234.4357 | 2741122.7255 | 1264239.3612 | 2741111.3815 | 1264245.6158
12 | 2741314.8727 | 1264147.4979 | 2741315.6622 | 1264149.7596 | 2741317.36 | 1264158.1639
13 | 2741372.9103 | 1263964.0642 | 2741383.1933 | 1263972.283
14 | 2741094.1007 | 1264252.5909 | 2741109.7909 | 1264246.4928 | 2741111.3815 | 1264245.6158
15 | 2741085.5884 | 1264227.8861 | 2741084.7135 | 1264240.5442 | 2741081.6369 | 1264257.3649 | 2741094.1007 | 1264252.5909
16 | 2741085.5884 | 1264227.8861 | 2741077.8096 | 1264228.0006 | 2741066.7114 | 1264227.3352 | 2741052.0098 | 1264225.1602
17 | 2741138.0561 | 1264248.8609 | 2741143.2139 | 1264257.9349 | 2741143.1101 | 1264264.8057 | 2741139.7446 | 1264268.7959 | 2741138.7187 | 1264269.3322
18 | 2741594.4535 | 1264626.6855 | 2741138.7187 | 1264269.3322
19 | 2741341.6028 | 1264970.7082 | 2741594.4535 | 1264626.6855
20 | 2741282.8263 | 1264942.2897 | 2741284.7772 | 1264932.2266 | 2741286.0166 | 1264930.0294
21 | 2741282.8263 | 1264942.2897 | 2741286.008 | 1264947.5487
22 | 2741286.008 | 1264947.5487 | 2741289.8991 | 1264957.362
23 | 2741289.8991 | 1264957.362 | 2741297.9241 | 1264977.601
24 | 2741297.9241 | 1264977.601 | 2741301.6754 | 1264987.0615 | 2741310.8562 | 1264991.919 | 2741321.3697 | 1264991.7702 | 2741327.7812 | 1264985.4728 | 2741331.1848 | 1264978.3028 | 2741335.0601 | 1264971.8892 | 2741341.6028 | 1264970.7082
25 | 2741384.5103 | 1265162.2332 | 2741341.6028 | 1264970.7082
26 | 2741358.7234 | 1265167.4414 | 2741365.2425 | 1265166.0776 | 2741384.5103 | 1265162.2332
27 | 2741387.138 | 1265161.7089 | 2741384.5103 | 1265162.2332
28 | 2741750.5834 | 1265077.1948 | 2741753.2862 | 1265066.0292
29 | 2741750.5834 | 1265077.1948 | 2741754.0304 | 1265085.8192 | 2741757.4114 | 1265097.1891 | 2741777.4157 | 1265100.8835 | 2741787.9847 | 1265103.1281
30 | 2741685.0415 | 1265101.2362 | 2741693.434 | 1265099.9916 | 2741707.5444 | 1265097.8166 | 2741722.2954 | 1265096.58 | 2741734.8737 | 1265096.0922 | 2741748.3204 | 1265096.4594 | 2741757.4114 | 1265097.1891 | 2741754.0304 | 1265085.8192 | 2741750.5834 | 1265077.1948
31 | 2741799.5865 | 1265032.8165 | 2741796.332 | 1265032.526 | 2741787.6616 | 1265032.1622 | 2741784.6209 | 1265032.0336 | 2741774.5897 | 1265031.2367 | 2741765.5014 | 1265031.0186 | 2741760.4325 | 1265031.8979 | 2741758.2958 | 1265036.4845 | 2741757.1224 | 1265043.3074 | 2741753.7446 | 1265064.1357 | 2741753.2862 | 1265066.0292
32 | 2741787.9847 | 1265103.1281 | 2741805.9352 | 1265107.9522 | 2741811.4264 | 1265109.6961
33 | 2741685.0415 | 1265101.2362 | 2741625.9804 | 1265113.2884
34 | 2741685.0415 | 1265101.2362 | 2741684.2764 | 1265132.4673
35 | 2741799.5865 | 1265032.8165 | 2741810.9797 | 1265033.8335
36 | 2741817.831 | 1265111.7301 | 2741811.4264 | 1265109.6961
37 | 2741625.9804 | 1265113.2884 | 2741610.4838 | 1265104.1528 | 2741588.3235 | 1265108.682 | 2741587.488 | 1265109.6808
38 | 2741683.9518 | 1265145.7201 | 2741684.2764 | 1265132.4673
39 | 2741762.186 | 1265260.4963 | 2741759.0037 | 1265291.0721 | 2741759.6073 | 1265303.2763 | 2741759.6073 | 1265303.2763
40 | 2741759.6073 | 1265303.2763 | 2741643.545 | 1265337.232
41 | 2741754.0266 | 1265159.7468 | 2741762.186 | 1265260.4963
42 | 2741754.0266 | 1265159.7468 | 2741752.3079 | 1265159.4028
43 | 2741817.831 | 1265111.7301 | 2741823.5137 | 1265113.5237 | 2741829.8501 | 1265115.7
44 | 2741829.8501 | 1265115.7 | 2741824.4462 | 1265130.8518 | 2741818.8245 | 1265149.424 | 2741818.6416 | 1265150.2716
45 | 2741817.831 | 1265111.7301 | 2741818.6049 | 1265106.1654 | 2741820.3978 | 1265093.2669
46 | 2741820.3978 | 1265093.2669 | 2741823.3015 | 1265072.3776
47 | 2741752.3079 | 1265159.4028 | 2741725.5091 | 1265154.0385
48 | 2741714.4853 | 1265151.8319 | 2741725.5091 | 1265154.0385
49 | 2741683.9518 | 1265145.7201 | 2741714.4853 | 1265151.8319
50 | 2741683.7062 | 1265151.5644 | 2741683.9518 | 1265145.7201
51 | 2741683.7062 | 1265151.5644 | 2741644.295 | 1265151.6312
52 | 2741683.7062 | 1265151.5644 | 2741681.1604 | 1265179.9188
53 | 2741620.0909 | 1265201.1886 | 2741604.6897 | 1265222.3292
54 | 2741604.6897 | 1265222.3292 | 2741594.7204 | 1265217.7082 | 2741584.2941 | 1265214.2329 | 2741577.4563 | 1265212.8567 | 2741569.7646 | 1265213.4731 | 2741562.0726 | 1265214.1007 | 2741554.8095 | 1265215.9236
55 | 2741575.9291 | 1265123.4997 | 2741587.488 | 1265109.6808
56 | 2741823.5954 | 1265070.2633 | 2741823.3015 | 1265072.3776
57 | 2741559.8466 | 1265134.0916 | 2741558.3418 | 1265127.0932 | 2741575.9291 | 1265123.4997
58 | 2741559.8466 | 1265134.0916 | 2741581.2397 | 1265130.7311
59 | 2741559.8466 | 1265134.0916 | 2741552.4538 | 1265155.8691
60 | 2741606.0509 | 1265153.9285 | 2741598.7927 | 1265127.9738 | 2741581.2397 | 1265130.7311
61 | 2741552.4538 | 1265155.8691 | 2741552.4538 | 1265155.8691 | 2741552.1807 | 1265161.1694
62 | 2741532.5244 | 1265132.3913 | 2741524.3249 | 1265134.0745
63 | 2741532.5244 | 1265132.3913 | 2741533.4763 | 1265155.357
64 | 2741524.3249 | 1265134.0745 | 2741516.8533 | 1265095.3134
65 | 2741524.3249 | 1265134.0745 | 2741505.5335 | 1265137.9585
66 | 2741533.4763 | 1265155.357 | 2741534.1141 | 1265170.7446 | 2741549.2759 | 1265170.4082
67 | 2741454.2105 | 1265148.3779 | 2741434.7546 | 1265152.2099
68 | 2741473.5969 | 1265144.5595 | 2741454.2105 | 1265148.3779
69 | 2741409.9055 | 1265157.1661 | 2741432.464 | 1265152.6611 | 2741434.7546 | 1265152.2099
70 | 2741473.5969 | 1265144.5595 | 2741505.5335 | 1265137.9585
71 | 2741476.656 | 1265173.7946 | 2741473.5969 | 1265144.5595
72 | 2741387.138 | 1265161.7089 | 2741396.8471 | 1265159.7717 | 2741405.9083 | 1265157.9644 | 2741409.9055 | 1265157.1661
73 | 2741355.532 | 1265168.109 | 2741358.7234 | 1265167.4414
74 | 2741355.532 | 1265168.109 | 2741353.9833 | 1265168.4329 | 2741336.3824 | 1265172.1236
75 | 2741320.4374 | 1265175.5449 | 2741321.7048 | 1265175.2012 | 2741336.3824 | 1265172.1236
76 | 2741310.7312 | 1265178.1766 | 2741320.4374 | 1265175.5449
77 | 2741310.7312 | 1265178.1766 | 2741310.0952 | 1265178.349 | 2741302.8248 | 1265180.5663 | 2741291.9675 | 1265185.9677 | 2741286.5282 | 1265189.6303
78 | 2741278.5216 | 1265195.0218 | 2741286.5282 | 1265189.6303
79 | 2741278.5216 | 1265195.0218 | 2741268.4025 | 1265206.4134 | 2741260.7281 | 1265217.6516
80 | 2741245.0075 | 1265261.9752 | 2741249.3437 | 1265242.2596 | 2741253.8643 | 1265230.5895 | 2741259.6741 | 1265219.195 | 2741260.7281 | 1265217.6516
81 | 2741245.0075 | 1265261.9752 | 2741237.2204 | 1265261.5443 | 2741231.2953 | 1265264.2165 | 2741222.4471 | 1265275.0824 | 2741214.784 | 1265291.5264 | 2741213.0454 | 1265294.3675
82 | 2741245.0075 | 1265261.9752 | 2741239.3873 | 1265293.4827 | 2741231.1573 | 1265345.1087
83 | 2741231.1573 | 1265345.1087 | 2741230.9939 | 1265346.1335 | 2741225.1001 | 1265380.2704 | 2741223.9013 | 1265387.5875
84 | 2741187.9512 | 1265181.2625 | 2741181.9532 | 1265189.6876 | 2741196.4847 | 1265200.5259
85 | 2741552.1807 | 1265161.1694 | 2741551.7074 | 1265170.3543 | 2741549.2759 | 1265170.4082
86 | 2741549.2759 | 1265170.4082 | 2741554.8095 | 1265215.9236
87 | 2741199.3328 | 1265202.6501 | 2741196.4847 | 1265200.5259
88 | 2741202.5968 | 1265205.0845 | 2741199.3328 | 1265202.6501

## bus_geodata
| x | y | coords
0 | 2740930.1123 | 1264966.9593
1 | 2741202.0737 | 1265161.4184
2 | 2741287.1966 | 1264067.8272
3 | 2741320.4521 | 1264081.5079
4 | 2741255.0005 | 1264095.4131
5 | 2741284.424 | 1264117.5264
6 | 2741393.4273 | 1263980.6985
7 | 2741128.8411 | 1264234.4357
8 | 2741314.8727 | 1264147.4979
9 | 2741372.9103 | 1263964.0642
10 | 2741383.1933 | 1263972.283
11 | 2741111.3815 | 1264245.6158
12 | 2741094.1007 | 1264252.5909
13 | 2741085.5884 | 1264227.8861
14 | 2741138.0561 | 1264248.8609
15 | 2741052.0098 | 1264225.1602
16 | 2741138.7187 | 1264269.3322
17 | 2741317.36 | 1264158.1639
18 | 2741594.4535 | 1264626.6855
19 | 2741286.0166 | 1264930.0294
20 | 2741282.8263 | 1264942.2897
21 | 2741286.008 | 1264947.5487
22 | 2741289.8991 | 1264957.362
23 | 2741297.9241 | 1264977.601
24 | 2741341.6028 | 1264970.7082
25 | 2741384.5103 | 1265162.2332
26 | 2741750.5834 | 1265077.1948
27 | 2741753.2862 | 1265066.0292
28 | 2741787.9847 | 1265103.1281
29 | 2741685.0415 | 1265101.2362
30 | 2741799.5865 | 1265032.8165
31 | 2741811.4264 | 1265109.6961
32 | 2741625.9804 | 1265113.2884
33 | 2741684.2764 | 1265132.4673
34 | 2741759.6073 | 1265303.2763
35 | 2741762.186 | 1265260.4963
36 | 2741643.545 | 1265337.232
37 | 2741754.0266 | 1265159.7468
38 | 2741829.8501 | 1265115.7
39 | 2741817.831 | 1265111.7301
40 | 2741818.6416 | 1265150.2716
41 | 2741820.3978 | 1265093.2669
42 | 2741752.3079 | 1265159.4028
43 | 2741725.5091 | 1265154.0385
44 | 2741714.4853 | 1265151.8319
45 | 2741683.9518 | 1265145.7201
46 | 2741683.7062 | 1265151.5644
47 | 2741644.295 | 1265151.6312
48 | 2741681.1604 | 1265179.9188
49 | 2741620.0909 | 1265201.1886
50 | 2741604.6897 | 1265222.3292
51 | 2741587.488 | 1265109.6808
52 | 2741823.3015 | 1265072.3775
53 | 2741823.5954 | 1265070.2633
54 | 2741810.9797 | 1265033.8335
55 | 2741575.9291 | 1265123.4997
56 | 2741559.8466 | 1265134.0916
57 | 2741581.2397 | 1265130.7311
58 | 2741552.4538 | 1265155.8691
59 | 2741532.5244 | 1265132.3913
60 | 2741524.3249 | 1265134.0745
61 | 2741533.4763 | 1265155.357
62 | 2741454.2105 | 1265148.3779
63 | 2741434.7546 | 1265152.2099
64 | 2741473.5969 | 1265144.5595
65 | 2741409.9055 | 1265157.1661
66 | 2741505.5335 | 1265137.9585
67 | 2741476.656 | 1265173.7946
68 | 2741387.138 | 1265161.7089
69 | 2741358.7234 | 1265167.4414
70 | 2741355.532 | 1265168.109
71 | 2741336.3824 | 1265172.1236
72 | 2741320.4374 | 1265175.5449
73 | 2741310.7312 | 1265178.1766
74 | 2741286.5282 | 1265189.6303
75 | 2741278.5216 | 1265195.0218
76 | 2741260.7281 | 1265217.6516
77 | 2741245.0075 | 1265261.9752
78 | 2741213.0454 | 1265294.3675
79 | 2741231.1573 | 1265345.1087
80 | 2741223.9013 | 1265387.5875
81 | 2741187.9511 | 1265181.2625
82 | 2741516.8533 | 1265095.3134
83 | 2741549.2759 | 1265170.4082
84 | 2741552.1807 | 1265161.1694
85 | 2741554.8095 | 1265215.9236
86 | 2741606.0509 | 1265153.9285
87 | 2741196.4847 | 1265200.5259
88 | 2741199.3328 | 1265202.6501
89 | 2741202.5968 | 1265205.0845
90 | 2741575.9291 | 1265123.4997

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1