## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3214-1_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_3214-1_1_3_node_49 | 0.4 | n |  | TRUE
2 | bus_LV_3214-1_1_3_node_127 | 0.4 | n |  | TRUE
3 | bus_LV_3214-1_1_3_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_3214-1_1_3_node_87 | 0.4 | n |  | TRUE
5 | bus_LV_3214-1_1_3_node_111 | 0.4 | n |  | TRUE
6 | bus_LV_3214-1_1_3_node_130 | 0.4 | n |  | TRUE
7 | bus_LV_3214-1_1_3_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_3214-1_1_3_node_132 | 0.4 | n |  | TRUE
9 | bus_LV_3214-1_1_3_node_131 | 0.4 | n |  | TRUE
10 | bus_LV_3214-1_1_3_node_115 | 0.4 | n |  | TRUE
11 | bus_LV_3214-1_1_3_node_133 | 0.4 | n |  | TRUE
12 | bus_LV_3214-1_1_3_node_80 | 0.4 | n |  | TRUE
13 | bus_LV_3214-1_1_3_node_134 | 0.4 | n |  | TRUE
14 | bus_LV_3214-1_1_3_node_135 | 0.4 | n |  | TRUE
15 | bus_LV_3214-1_1_3_node_136 | 0.4 | n |  | TRUE
16 | bus_LV_3214-1_1_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_3214-1_1_3_node_110 | 0.4 | n |  | TRUE
18 | bus_LV_3214-1_1_3_node_137 | 0.4 | n |  | TRUE
19 | bus_LV_3214-1_1_3_node_138 | 0.4 | n |  | TRUE
20 | bus_LV_3214-1_1_3_node_139 | 0.4 | n |  | TRUE
21 | bus_LV_3214-1_1_3_node_140 | 0.4 | n |  | TRUE
22 | bus_LV_3214-1_1_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_3214-1_1_3_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_3214-1_1_3_node_141 | 0.4 | n |  | TRUE
25 | bus_LV_3214-1_1_3_node_142 | 0.4 | n |  | TRUE
26 | bus_LV_3214-1_1_3_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_3214-1_1_3_node_143 | 0.4 | n |  | TRUE
28 | bus_LV_3214-1_1_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_3214-1_1_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3214-1_1_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_3214-1_1_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3214-1_1_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3214-1_1_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3214-1_1_3_node_104 | 0.4 | n |  | TRUE
35 | bus_LV_3214-1_1_3_node_124 | 0.4 | n |  | TRUE
36 | bus_LV_3214-1_1_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3214-1_1_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3214-1_1_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_3214-1_1_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3214-1_1_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_3214-1_1_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_3214-1_1_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_3214-1_1_3_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_3214-1_1_3_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_3214-1_1_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_3214-1_1_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_3214-1_1_3_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_3214-1_1_3_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_3214-1_1_3_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_3214-1_1_3_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_3214-1_1_3_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_3214-1_1_3_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_3214-1_1_3_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_3214-1_1_3_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_3214-1_1_3_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_3214-1_1_3_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_3214-1_1_3_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_3214-1_1_3_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_3214-1_1_3_node_126 | 0.4 | n |  | TRUE
60 | bus_LV_3214-1_1_3_node_118 | 0.4 | n |  | TRUE
61 | bus_LV_3214-1_1_3_node_103 | 0.4 | n |  | TRUE
62 | bus_LV_3214-1_1_3_node_106 | 0.4 | n |  | TRUE
63 | bus_LV_3214-1_1_3_node_107 | 0.4 | n |  | TRUE
64 | bus_LV_3214-1_1_3_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_3214-1_1_3_node_109 | 0.4 | n |  | TRUE
66 | bus_LV_3214-1_1_3_node_112 | 0.4 | n |  | TRUE
67 | bus_LV_3214-1_1_3_node_113 | 0.4 | n |  | TRUE
68 | bus_LV_3214-1_1_3_node_114 | 0.4 | n |  | TRUE
69 | bus_LV_3214-1_1_3_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_3214-1_1_3_node_125 | 0.4 | n |  | TRUE
71 | bus_MV_48_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3214-1_1_3_load_128 | 0 | 0.0018186 | 0.00045579 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3214-1_1_3_load_49 | 1 | 0.0022687 | 0.0005686 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3214-1_1_3_load_127 | 2 | 0.00068035 | 0.00017051 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3214-1_1_3_load_129 | 3 | 0.0034888 | 0.00087438 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3214-1_1_3_load_111 | 5 | 0.0025743 | 0.00064519 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3214-1_1_3_load_130 | 6 | 0.0023022 | 0.00057699 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3214-1_1_3_load_132 | 8 | 0.002014 | 0.00050475 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3214-1_1_3_load_131 | 9 | 0.0020679 | 0.00051827 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3214-1_1_3_load_133 | 11 | 0.0018528 | 0.00046435 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3214-1_1_3_load_80 | 12 | 0.0029872 | 0.00074866 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3214-1_1_3_load_134 | 13 | 0.0025311 | 0.00063436 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3214-1_1_3_load_135 | 14 | 0.0030883 | 0.00077401 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3214-1_1_3_load_136 | 15 | 0.0014181 | 0.00035541 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3214-1_1_3_load_36 | 16 | 0.0017872 | 0.00044793 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3214-1_1_3_load_137 | 18 | 0.0019123 | 0.00047928 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3214-1_1_3_load_138 | 19 | 0.0022338 | 0.00055984 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3214-1_1_3_load_139 | 20 | 0.0030568 | 0.0007661 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3214-1_1_3_load_140 | 21 | 0.002726 | 0.0006832 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3214-1_1_3_load_40 | 22 | 0.01272 | 0.0031879 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3214-1_1_3_load_141 | 24 | 0.0093815 | 0.0023512 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3214-1_1_3_load_142 | 25 | 0.0022771 | 0.0005707 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3214-1_1_3_load_71 | 26 | 0.0018503 | 0.00046374 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3214-1_1_3_load_143 | 27 | 0.00050829 | 0.00012739 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3214-1_1_3_load_34 | 28 | 0.0031505 | 0.00078959 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3214-1_1_3_load_22 | 29 | 0.0088712 | 0.0022233 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3214-1_1_3_load_23 | 30 | 0.0096814 | 0.0024264 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3214-1_1_3_load_24 | 31 | 0.0061105 | 0.0015314 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3214-1_1_3_load_25 | 32 | 0.0056225 | 0.0014091 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3214-1_1_3_load_26 | 33 | 0.0033799 | 0.00084709 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3214-1_1_3_load_124 | 35 | 0.004035 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3214-1_1_3_load_31 | 36 | 0.0056676 | 0.0014204 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3214-1_1_3_load_32 | 37 | 0.0015953 | 0.00039983 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3214-1_1_3_load_35 | 39 | 0.0044524 | 0.0011159 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3214-1_1_3_load_37 | 40 | 0.0099679 | 0.0024982 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3214-1_1_3_load_38 | 41 | 0.0047061 | 0.0011795 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3214-1_1_3_load_39 | 42 | 0.0060428 | 0.0015145 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3214-1_1_3_load_77 | 44 | 0.011107 | 0.0027836 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3214-1_1_3_load_46 | 45 | 0.0057983 | 0.0014532 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3214-1_1_3_load_47 | 46 | 0.0030629 | 0.00076765 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3214-1_1_3_load_48 | 47 | 0.0019454 | 0.00048756 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3214-1_1_3_load_91 | 48 | 0.0022814 | 0.00057178 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3214-1_1_3_load_72 | 49 | 0.015034 | 0.0037678 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3214-1_1_3_load_75 | 50 | 0.0067693 | 0.0016965 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3214-1_1_3_load_82 | 52 | 0.0055711 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3214-1_1_3_load_83 | 53 | 0.0029364 | 0.00073593 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3214-1_1_3_load_85 | 55 | 0.0043633 | 0.0010935 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3214-1_1_3_load_86 | 56 | 0.002201 | 0.00055162 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3214-1_1_3_load_98 | 57 | 0.0023729 | 0.0005947 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3214-1_1_3_load_105 | 58 | 0.0039613 | 0.00099279 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3214-1_1_3_load_126 | 59 | 0.0027495 | 0.0006891 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3214-1_1_3_load_118 | 60 | 0.0058774 | 0.001473 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3214-1_1_3_load_103 | 61 | 0.0088588 | 0.0022202 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3214-1_1_3_load_106 | 62 | 0.0037654 | 0.00094371 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3214-1_1_3_load_107 | 63 | 0.0030851 | 0.0007732 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3214-1_1_3_load_109 | 65 | 0.0087122 | 0.0021835 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3214-1_1_3_load_112 | 66 | 0.003856 | 0.0009664 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3214-1_1_3_load_113 | 67 | 0.0016867 | 0.00042274 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3214-1_1_3_load_116 | 69 | 0.0021431 | 0.00053712 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3214-1_1_3_load_125 | 70 | 0.0019048 | 0.0004774 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3214-1_1_3_line_0 |  | 0 | 1 | 0.0034485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3214-1_1_3_line_1 |  | 0 | 2 | 0.0014102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3214-1_1_3_line_2 |  | 1 | 46 | 0.027419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3214-1_1_3_line_3 |  | 2 | 59 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3214-1_1_3_line_4 |  | 3 | 4 | 0.022349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3214-1_1_3_line_5 |  | 3 | 5 | 0.028585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3214-1_1_3_line_6 |  | 4 | 59 | 0.016392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3214-1_1_3_line_7 |  | 4 | 54 | 0.007722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3214-1_1_3_line_8 |  | 5 | 64 | 0.019083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3214-1_1_3_line_9 |  | 6 | 7 | 0.013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3214-1_1_3_line_10 |  | 6 | 8 | 0.027797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3214-1_1_3_line_11 |  | 7 | 48 | 0.029184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3214-1_1_3_line_12 |  | 7 | 47 | 0.0088507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3214-1_1_3_line_13 |  | 8 | 10 | 0.023075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3214-1_1_3_line_14 |  | 9 | 10 | 0.0074533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3214-1_1_3_line_15 |  | 9 | 11 | 0.020839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3214-1_1_3_line_16 |  | 10 | 67 | 0.016323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3214-1_1_3_line_17 |  | 11 | 12 | 0.021591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3214-1_1_3_line_18 |  | 12 | 51 | 0.016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3214-1_1_3_line_19 |  | 13 | 14 | 0.031612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3214-1_1_3_line_20 |  | 13 | 15 | 0.00063105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3214-1_1_3_line_21 |  | 14 | 16 | 0.0001517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3214-1_1_3_line_22 |  | 15 | 17 | 0.036749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3214-1_1_3_line_23 |  | 16 | 38 | 0.029682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3214-1_1_3_line_24 |  | 17 | 19 | 0.023373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3214-1_1_3_line_25 |  | 17 | 64 | 0.026269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3214-1_1_3_line_26 |  | 18 | 19 | 0.013429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3214-1_1_3_line_27 |  | 18 | 20 | 0.018124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3214-1_1_3_line_28 |  | 21 | 22 | 0.0072238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3214-1_1_3_line_29 |  | 21 | 23 | 0.027259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3214-1_1_3_line_30 |  | 22 | 42 | 0.018987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3214-1_1_3_line_31 |  | 23 | 24 | 0.022537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3214-1_1_3_line_32 |  | 23 | 51 | 0.012425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3214-1_1_3_line_33 |  | 25 | 26 | 0.036704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3214-1_1_3_line_34 |  | 26 | 43 | 0.040639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3214-1_1_3_line_35 |  | 27 | 28 | 0.26214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3214-1_1_3_line_36 |  | 28 | 37 | 0.022677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3214-1_1_3_line_37 |  | 29 | 30 | 0.0057337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3214-1_1_3_line_38 |  | 29 | 31 | 0.024402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3214-1_1_3_line_39 |  | 30 | 32 | 0.028667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3214-1_1_3_line_40 |  | 31 | 33 | 0.015839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3214-1_1_3_line_41 |  | 32 | 34 | 0.015306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3214-1_1_3_line_42 |  | 33 | 35 | 0.01613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3214-1_1_3_line_43 |  | 34 | 61 | 0.022918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3214-1_1_3_line_44 |  | 35 | 70 | 0.013976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3214-1_1_3_line_45 |  | 36 | 37 | 0.0017174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3214-1_1_3_line_46 |  | 36 | 38 | 0.049276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3214-1_1_3_line_47 |  | 38 | 39 | 0.0053061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3214-1_1_3_line_48 |  | 40 | 41 | 0.028731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3214-1_1_3_line_49 |  | 40 | 42 | 0.043014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3214-1_1_3_line_50 |  | 41 | 43 | 0.19874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3214-1_1_3_line_51 |  | 42 | 44 | 0.054375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3214-1_1_3_line_52 |  | 43 | 49 | 0.045251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3214-1_1_3_line_53 |  | 45 | 46 | 0.0026952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3214-1_1_3_line_54 |  | 45 | 47 | 0.023232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3214-1_1_3_line_55 |  | 50 | 51 | 0.011215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3214-1_1_3_line_56 |  | 52 | 53 | 0.050458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3214-1_1_3_line_57 |  | 52 | 54 | 0.026992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3214-1_1_3_line_58 |  | 53 | 55 | 0.0094991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3214-1_1_3_line_59 |  | 54 | 56 | 0.028342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3214-1_1_3_line_60 |  | 55 | 57 | 0.031945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3214-1_1_3_line_61 |  | 56 | 58 | 0.018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3214-1_1_3_line_62 |  | 57 | 60 | 3.5323e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3214-1_1_3_line_63 |  | 58 | 62 | 0.032365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3214-1_1_3_line_64 |  | 60 | 70 | 0.024028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3214-1_1_3_line_65 |  | 63 | 64 | 0.016465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3214-1_1_3_line_66 |  | 63 | 65 | 0.15217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3214-1_1_3_line_67 |  | 66 | 67 | 0.0096275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3214-1_1_3_line_68 |  | 66 | 68 | 0.043277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3214-1_1_3_line_69 |  | 68 | 69 | 0.011754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3214-1_1_3_trafo_46 | 0.63 MVA 20/0.4 kV | 71 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2748918.9657 | 1259174.7689 | 2748922.1728 | 1259176.0365
1 | 2748923.4843 | 1259176.5548 | 2748922.1728 | 1259176.0365
2 | 2748918.9657 | 1259174.7689 | 2748893.4658 | 1259164.6904
3 | 2748937.5064 | 1259182.0969 | 2748923.4843 | 1259176.5548
4 | 2748952.7508 | 1259188.122 | 2748966.6833 | 1259170.648
5 | 2748987.4097 | 1259151.1053 | 2748971.224 | 1259164.953 | 2748966.6833 | 1259170.648
6 | 2748952.7508 | 1259188.122 | 2748937.5064 | 1259182.0969
7 | 2748952.7508 | 1259188.122 | 2748955.9982 | 1259195.1329
8 | 2749001.91 | 1259138.6996 | 2748987.4097 | 1259151.1053
9 | 2748860.2393 | 1259154.6726 | 2748846.6408 | 1259156.1813
10 | 2748819.5192 | 1259162.1267 | 2748841.9367 | 1259156.7031 | 2748846.6408 | 1259156.1813
11 | 2748860.2393 | 1259154.6726 | 2748872.0607 | 1259127.9895
12 | 2748860.2393 | 1259154.6726 | 2748868.8318 | 1259156.7948
13 | 2748797.0908 | 1259167.5528 | 2748819.5192 | 1259162.1267
14 | 2748797.0908 | 1259167.5528 | 2748789.7597 | 1259168.8973
15 | 2748789.7597 | 1259168.8973 | 2748769.263 | 1259172.6563
16 | 2748797.0908 | 1259167.5528 | 2748806.1602 | 1259181.1241
17 | 2748747.7908 | 1259173.7031 | 2748762.2674 | 1259173.9393 | 2748769.263 | 1259172.6563
18 | 2748731.6245 | 1259172.1451 | 2748738.3694 | 1259173.5494 | 2748747.7908 | 1259173.7031
19 | 2748949.6718 | 1259103.7061 | 2748919.611 | 1259093.9251
20 | 2748949.6718 | 1259103.7061 | 2748950.2719 | 1259103.9013
21 | 2748919.4667 | 1259093.8782 | 2748919.611 | 1259093.9251
22 | 2748981.9719 | 1259121.8255 | 2748961.1937 | 1259107.455 | 2748950.2719 | 1259103.9013
23 | 2748891.2416 | 1259084.6946 | 2748919.4667 | 1259093.8782
24 | 2748981.9719 | 1259121.8255 | 2748989.3821 | 1259112.3916 | 2748991.1492 | 1259101.1527
25 | 2748981.9719 | 1259121.8255 | 2748995.1373 | 1259130.9214 | 2749001.91 | 1259138.6996
26 | 2748993.2351 | 1259087.8867 | 2748991.1492 | 1259101.1527
27 | 2748988.4185 | 1259070.4149 | 2748993.2351 | 1259087.8867
28 | 2748686.5673 | 1259159.3467 | 2748693.3792 | 1259161.7511
29 | 2748719.4253 | 1259169.6027 | 2748710.1072 | 1259167.6556 | 2748693.3792 | 1259161.7511
30 | 2748686.5673 | 1259159.3467 | 2748668.6633 | 1259153.0271
31 | 2748719.4253 | 1259169.6027 | 2748716.3214 | 1259147.2805
32 | 2748731.6245 | 1259172.1451 | 2748719.4253 | 1259169.6027
33 | 2748697.094 | 1258863.028 | 2748702.9052 | 1258842.8548 | 2748705.5506 | 1258827.3689
34 | 2748682.487 | 1258900.7877 | 2748691.6005 | 1258882.0983 | 2748697.094 | 1258863.028
35 | 2748939.834 | 1259029.6407 | 2749082.6524 | 1258809.8172
36 | 2748926.7488 | 1259048.1613 | 2748939.834 | 1259029.6407
37 | 2749140.4086 | 1259267.3161 | 2749146.1224 | 1259267.7923
38 | 2749140.4086 | 1259267.3161 | 2749116.091 | 1259265.2893
39 | 2749146.1224 | 1259267.7923 | 2749158.9537 | 1259268.8617 | 2749174.5463 | 1259266.3635
40 | 2749116.091 | 1259265.2893 | 2749100.3065 | 1259263.9737
41 | 2749189.6599 | 1259263.942 | 2749174.5463 | 1259266.3635
42 | 2749084.2326 | 1259262.634 | 2749100.3065 | 1259263.9737
43 | 2749189.6599 | 1259263.942 | 2749194.1586 | 1259283.2188 | 2749195.227 | 1259286.1536
44 | 2749084.2326 | 1259262.634 | 2749077.4396 | 1259262.0678 | 2749070.335 | 1259261.1861
45 | 2748925.7578 | 1259049.5639 | 2748926.7488 | 1259048.1613
46 | 2748891.2416 | 1259084.6946 | 2748901.8679 | 1259073.6288 | 2748924.7865 | 1259050.9386 | 2748925.7578 | 1259049.5639
47 | 2748891.2416 | 1259084.6946 | 2748889.0923 | 1259089.5459
48 | 2748639.2875 | 1259094.7737 | 2748638.091 | 1259102.4934 | 2748640.4605 | 1259123.1399 | 2748640.5119 | 1259123.2671
49 | 2748668.6633 | 1259153.0271 | 2748665.052 | 1259151.7524 | 2748653.8809 | 1259145.8104 | 2748645.5933 | 1259135.8702 | 2748640.5119 | 1259123.2671
50 | 2748639.2875 | 1259094.7737 | 2748682.487 | 1258900.7877
51 | 2748668.6633 | 1259153.0271 | 2748632.6789 | 1259193.7918
52 | 2748682.487 | 1258900.7877 | 2748678.2282 | 1258887.4899 | 2748661.8816 | 1258864.7903 | 2748659.5254 | 1258862.4587
53 | 2748890.9593 | 1259163.6997 | 2748893.4658 | 1259164.6904
54 | 2748890.9593 | 1259163.6997 | 2748881.2487 | 1259159.8617 | 2748868.8318 | 1259156.7948
55 | 2748731.6245 | 1259172.1451 | 2748726.7681 | 1259178.4182 | 2748724.3854 | 1259180.675
56 | 2748969.8776 | 1259218.2826 | 2748972.464 | 1259222.5967 | 2748980.802 | 1259236.4981 | 2749005.8906 | 1259251.4722
57 | 2748955.9982 | 1259195.1329 | 2748969.8776 | 1259218.2826
58 | 2749005.8906 | 1259251.4722 | 2749009.5192 | 1259253.6379 | 2749014.7524 | 1259254.2874
59 | 2748955.9982 | 1259195.1329 | 2748953.1152 | 1259223.3278
60 | 2749014.7524 | 1259254.2874 | 2749046.4546 | 1259258.2221
61 | 2748951.279 | 1259241.2858 | 2748953.1152 | 1259223.3278
62 | 2749046.4896 | 1259258.2265 | 2749046.4546 | 1259258.2221
63 | 2748951.279 | 1259241.2858 | 2748948.2824 | 1259270.5909 | 2748947.9864 | 1259273.4829
64 | 2749046.4896 | 1259258.2265 | 2749070.335 | 1259261.1861
65 | 2749001.91 | 1259138.6996 | 2749017.7858 | 1259134.3352
66 | 2749017.7858 | 1259134.3352 | 2749165.3417 | 1259097.1286
67 | 2748810.7379 | 1259189.3862 | 2748810.6532 | 1259187.8472 | 2748806.1602 | 1259181.1241
68 | 2748813.1168 | 1259232.5977 | 2748810.7379 | 1259189.3862
69 | 2748813.1168 | 1259232.5977 | 2748802.2724 | 1259237.132

## bus_geodata
| x | y | coords
0 | 2748922.1728 | 1259176.0365
1 | 2748918.9657 | 1259174.7689
2 | 2748923.4843 | 1259176.5548
3 | 2748966.6833 | 1259170.648
4 | 2748952.7508 | 1259188.122
5 | 2748987.4097 | 1259151.1053
6 | 2748846.6408 | 1259156.1813
7 | 2748860.2393 | 1259154.6726
8 | 2748819.5192 | 1259162.1267
9 | 2748789.7597 | 1259168.8973
10 | 2748797.0908 | 1259167.5528
11 | 2748769.263 | 1259172.6563
12 | 2748747.7908 | 1259173.7031
13 | 2748949.6718 | 1259103.7061
14 | 2748919.611 | 1259093.9251
15 | 2748950.2719 | 1259103.9013
16 | 2748919.4667 | 1259093.8782
17 | 2748981.9719 | 1259121.8255
18 | 2748993.2351 | 1259087.8867
19 | 2748991.1492 | 1259101.1527
20 | 2748988.4185 | 1259070.4149
21 | 2748693.3792 | 1259161.7511
22 | 2748686.5673 | 1259159.3467
23 | 2748719.4253 | 1259169.6027
24 | 2748716.3214 | 1259147.2805
25 | 2748705.5506 | 1258827.3689
26 | 2748697.094 | 1258863.028
27 | 2749082.6524 | 1258809.8172
28 | 2748939.834 | 1259029.6407
29 | 2749140.4086 | 1259267.3161
30 | 2749146.1224 | 1259267.7923
31 | 2749116.091 | 1259265.2893
32 | 2749174.5463 | 1259266.3635
33 | 2749100.3065 | 1259263.9737
34 | 2749189.6599 | 1259263.942
35 | 2749084.2326 | 1259262.634
36 | 2748925.7578 | 1259049.5639
37 | 2748926.7488 | 1259048.1613
38 | 2748891.2416 | 1259084.6946
39 | 2748889.0923 | 1259089.5459
40 | 2748640.5119 | 1259123.2671
41 | 2748639.2875 | 1259094.7737
42 | 2748668.6633 | 1259153.0271
43 | 2748682.487 | 1258900.7877
44 | 2748632.6789 | 1259193.7919
45 | 2748890.9593 | 1259163.6997
46 | 2748893.4658 | 1259164.6904
47 | 2748868.8318 | 1259156.7948
48 | 2748872.0607 | 1259127.9895
49 | 2748659.5254 | 1258862.4587
50 | 2748724.3854 | 1259180.675
51 | 2748731.6245 | 1259172.1451
52 | 2748969.8776 | 1259218.2826
53 | 2749005.8906 | 1259251.4722
54 | 2748955.9982 | 1259195.1329
55 | 2749014.7524 | 1259254.2874
56 | 2748953.1152 | 1259223.3278
57 | 2749046.4546 | 1259258.2221
58 | 2748951.279 | 1259241.2858
59 | 2748937.5064 | 1259182.0969
60 | 2749046.4896 | 1259258.2265
61 | 2749195.227 | 1259286.1536
62 | 2748947.9864 | 1259273.4829
63 | 2749017.7858 | 1259134.3352
64 | 2749001.91 | 1259138.6996
65 | 2749165.3417 | 1259097.1286
66 | 2748810.7379 | 1259189.3862
67 | 2748806.1602 | 1259181.1241
68 | 2748813.1168 | 1259232.5977
69 | 2748802.2724 | 1259237.132
70 | 2749070.335 | 1259261.1861
71 | 2748860.2393 | 1259154.6726

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1