## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3214-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3214-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3214-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3214-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3214-4_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3214-4_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3214-4_0_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_3214-4_0_2_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_3214-4_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3214-4_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3214-4_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3214-4_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3214-4_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3214-4_0_2_node_145 | 0.4 | n |  | TRUE
14 | bus_LV_3214-4_0_2_node_143 | 0.4 | n |  | TRUE
15 | bus_LV_3214-4_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3214-4_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3214-4_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3214-4_0_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_3214-4_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3214-4_0_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_3214-4_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_3214-4_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3214-4_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_3214-4_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_3214-4_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_3214-4_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3214-4_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3214-4_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_3214-4_0_2_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_3214-4_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_3214-4_0_2_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_3214-4_0_2_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_3214-4_0_2_node_112 | 0.4 | n |  | TRUE
34 | bus_LV_3214-4_0_2_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_3214-4_0_2_node_113 | 0.4 | n |  | TRUE
36 | bus_LV_3214-4_0_2_node_103 | 0.4 | n |  | TRUE
37 | bus_LV_3214-4_0_2_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_3214-4_0_2_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_3214-4_0_2_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_3214-4_0_2_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_3214-4_0_2_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_3214-4_0_2_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_3214-4_0_2_node_104 | 0.4 | n |  | TRUE
44 | bus_LV_3214-4_0_2_node_148 | 0.4 | n |  | TRUE
45 | bus_LV_3214-4_0_2_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_3214-4_0_2_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_3214-4_0_2_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_3214-4_0_2_node_142 | 0.4 | n |  | TRUE
49 | bus_LV_3214-4_0_2_node_108 | 0.4 | n |  | TRUE
50 | bus_LV_3214-4_0_2_node_122 | 0.4 | n |  | TRUE
51 | bus_LV_3214-4_0_2_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_3214-4_0_2_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_3214-4_0_2_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_3214-4_0_2_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_3214-4_0_2_node_119 | 0.4 | n |  | TRUE
56 | bus_LV_3214-4_0_2_node_120 | 0.4 | n |  | TRUE
57 | bus_LV_3214-4_0_2_node_121 | 0.4 | n |  | TRUE
58 | bus_LV_3214-4_0_2_node_146 | 0.4 | n |  | TRUE
59 | bus_LV_3214-4_0_2_node_150 | 0.4 | n |  | TRUE
60 | bus_LV_3214-4_0_2_node_123 | 0.4 | n |  | TRUE
61 | bus_LV_3214-4_0_2_node_124 | 0.4 | n |  | TRUE
62 | bus_LV_3214-4_0_2_node_125 | 0.4 | n |  | TRUE
63 | bus_LV_3214-4_0_2_node_126 | 0.4 | n |  | TRUE
64 | bus_LV_3214-4_0_2_node_127 | 0.4 | n |  | TRUE
65 | bus_LV_3214-4_0_2_node_128 | 0.4 | n |  | TRUE
66 | bus_LV_3214-4_0_2_node_129 | 0.4 | n |  | TRUE
67 | bus_LV_3214-4_0_2_node_130 | 0.4 | n |  | TRUE
68 | bus_LV_3214-4_0_2_node_131 | 0.4 | n |  | TRUE
69 | bus_LV_3214-4_0_2_node_132 | 0.4 | n |  | TRUE
70 | bus_LV_3214-4_0_2_node_133 | 0.4 | n |  | TRUE
71 | bus_LV_3214-4_0_2_node_134 | 0.4 | n |  | TRUE
72 | bus_LV_3214-4_0_2_node_135 | 0.4 | n |  | TRUE
73 | bus_LV_3214-4_0_2_node_136 | 0.4 | n |  | TRUE
74 | bus_LV_3214-4_0_2_node_137 | 0.4 | n |  | TRUE
75 | bus_LV_3214-4_0_2_node_138 | 0.4 | n |  | TRUE
76 | bus_LV_3214-4_0_2_node_139 | 0.4 | n |  | TRUE
77 | bus_LV_3214-4_0_2_node_140 | 0.4 | n |  | TRUE
78 | bus_LV_3214-4_0_2_node_141 | 0.4 | n |  | TRUE
79 | bus_LV_3214-4_0_2_node_144 | 0.4 | n |  | TRUE
80 | bus_LV_3214-4_0_2_node_147 | 0.4 | n |  | TRUE
81 | bus_LV_3214-4_0_2_node_149 | 0.4 | n |  | TRUE
82 | bus_MV_47_0_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3214-4_0_2_load_0 | 0 | 0.0012558 | 0.00031472 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3214-4_0_2_load_3 | 3 | 0.0067966 | 0.0017034 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3214-4_0_2_load_16 | 6 | 0.00089465 | 0.00022422 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3214-4_0_2_load_13 | 7 | 0.0011516 | 0.00028863 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3214-4_0_2_load_6 | 8 | 0.0082347 | 0.0020638 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3214-4_0_2_load_7 | 9 | 0.00062435 | 0.00015648 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3214-4_0_2_load_10 | 11 | 0.0017537 | 0.00043951 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3214-4_0_2_load_11 | 12 | 0.0014473 | 0.00036273 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3214-4_0_2_load_145 | 13 | 0.00030113 | 7.5472e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3214-4_0_2_load_12 | 15 | 0.0022032 | 0.00055217 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3214-4_0_2_load_15 | 17 | 0.0020713 | 0.00051912 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3214-4_0_2_load_17 | 18 | 0.0058338 | 0.0014621 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3214-4_0_2_load_21 | 22 | 0.00080349 | 0.00020137 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3214-4_0_2_load_23 | 23 | 0.00074955 | 0.00018785 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3214-4_0_2_load_25 | 25 | 0.0052091 | 0.0013055 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3214-4_0_2_load_26 | 26 | 0.00042065 | 0.00010543 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3214-4_0_2_load_27 | 28 | 0.0060737 | 0.0015222 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3214-4_0_2_load_28 | 29 | 0.0040142 | 0.0010061 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3214-4_0_2_load_29 | 30 | 0.0014176 | 0.00035529 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3214-4_0_2_load_64 | 32 | 0.00051748 | 0.00012969 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3214-4_0_2_load_112 | 33 | 0.0074445 | 0.0018658 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3214-4_0_2_load_113 | 35 | 0.0023224 | 0.00058206 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3214-4_0_2_load_103 | 36 | 0.0021786 | 0.00054602 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3214-4_0_2_load_45 | 37 | 0.0019172 | 0.00048051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3214-4_0_2_load_48 | 40 | 0.00060165 | 0.00015079 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3214-4_0_2_load_52 | 41 | 0.0018817 | 0.0004716 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3214-4_0_2_load_104 | 43 | 0.0007762 | 0.00019453 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3214-4_0_2_load_148 | 44 | 0.0015575 | 0.00039035 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3214-4_0_2_load_55 | 45 | 0.0013645 | 0.00034198 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3214-4_0_2_load_142 | 48 | 0.00047682 | 0.0001195 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3214-4_0_2_load_108 | 49 | 0.0014184 | 0.00035549 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3214-4_0_2_load_122 | 50 | 0.005612 | 0.0014065 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3214-4_0_2_load_99 | 51 | 0.0040873 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3214-4_0_2_load_100 | 52 | 0.0021342 | 0.00053488 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3214-4_0_2_load_102 | 54 | 0.0021156 | 0.00053021 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3214-4_0_2_load_121 | 57 | 0.00059493 | 0.0001491 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3214-4_0_2_load_146 | 58 | 0.00035295 | 8.8458e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3214-4_0_2_load_150 | 59 | 0.00023431 | 5.8723e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3214-4_0_2_load_123 | 60 | 0.0035591 | 0.000892 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3214-4_0_2_load_124 | 61 | 0.0019582 | 0.00049078 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3214-4_0_2_load_125 | 62 | 0.002687 | 0.00067343 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3214-4_0_2_load_126 | 63 | 0.0059442 | 0.0014898 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3214-4_0_2_load_127 | 64 | 0.0023023 | 0.000577 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3214-4_0_2_load_128 | 65 | 0.0016026 | 0.00040166 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3214-4_0_2_load_129 | 66 | 0.0018497 | 0.00046359 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3214-4_0_2_load_130 | 67 | 0.0028829 | 0.00072252 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3214-4_0_2_load_131 | 68 | 0.0026165 | 0.00065577 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3214-4_0_2_load_132 | 69 | 0.0032372 | 0.00081133 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3214-4_0_2_load_133 | 70 | 0.0016373 | 0.00041036 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3214-4_0_2_load_134 | 71 | 0.0030248 | 0.00075809 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3214-4_0_2_load_135 | 72 | 0.0016534 | 0.00041439 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3214-4_0_2_load_136 | 73 | 0.0012956 | 0.0003247 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3214-4_0_2_load_139 | 76 | 0.0023662 | 0.00059301 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3214-4_0_2_load_140 | 77 | 0.0022135 | 0.00055475 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3214-4_0_2_load_141 | 78 | 0.0011231 | 0.00028147 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3214-4_0_2_load_144 | 79 | 0.0028442 | 0.00071281 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3214-4_0_2_load_147 | 80 | 0.00059903 | 0.00015013 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3214-4_0_2_load_149 | 81 | 0.00040426 | 0.00010132 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3214-4_0_2_line_0 |  | 0 | 1 | 0.025613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3214-4_0_2_line_1 |  | 0 | 2 | 0.011556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3214-4_0_2_line_2 |  | 1 | 3 | 0.11353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3214-4_0_2_line_3 |  | 2 | 4 | 0.041195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3214-4_0_2_line_4 |  | 2 | 5 | 0.041562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3214-4_0_2_line_5 |  | 4 | 8 | 0.023493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3214-4_0_2_line_6 |  | 4 | 9 | 0.021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3214-4_0_2_line_7 |  | 5 | 6 | 0.012523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3214-4_0_2_line_8 |  | 5 | 7 | 0.020394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3214-4_0_2_line_9 |  | 7 | 15 | 0.033597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3214-4_0_2_line_10 |  | 9 | 10 | 0.31438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3214-4_0_2_line_11 |  | 10 | 11 | 0.040584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3214-4_0_2_line_12 |  | 10 | 12 | 0.040358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3214-4_0_2_line_13 |  | 11 | 13 | 0.032229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3214-4_0_2_line_14 |  | 12 | 14 | 0.017035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3214-4_0_2_line_15 |  | 14 | 79 | 0.025137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3214-4_0_2_line_16 |  | 14 | 48 | 0.016949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3214-4_0_2_line_17 |  | 15 | 16 | 0.01892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3214-4_0_2_line_18 |  | 16 | 17 | 0.014439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3214-4_0_2_line_19 |  | 18 | 19 | 0.0091832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3214-4_0_2_line_20 |  | 18 | 20 | 0.0089962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3214-4_0_2_line_21 |  | 19 | 21 | 0.018665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3214-4_0_2_line_22 |  | 19 | 22 | 0.020518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3214-4_0_2_line_23 |  | 20 | 23 | 0.023959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3214-4_0_2_line_24 |  | 21 | 24 | 0.036154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3214-4_0_2_line_25 |  | 21 | 25 | 0.011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3214-4_0_2_line_26 |  | 22 | 26 | 0.0097245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3214-4_0_2_line_27 |  | 23 | 30 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3214-4_0_2_line_28 |  | 24 | 31 | 0.060088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3214-4_0_2_line_29 |  | 24 | 32 | 0.012446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3214-4_0_2_line_30 |  | 25 | 33 | 0.0060876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3214-4_0_2_line_31 |  | 26 | 34 | 0.022967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3214-4_0_2_line_32 |  | 27 | 28 | 0.008608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3214-4_0_2_line_33 |  | 27 | 29 | 0.014733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3214-4_0_2_line_34 |  | 29 | 35 | 0.009626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3214-4_0_2_line_35 |  | 30 | 36 | 0.013238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3214-4_0_2_line_36 |  | 31 | 48 | 0.099768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3214-4_0_2_line_37 |  | 31 | 46 | 0.089203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3214-4_0_2_line_38 |  | 33 | 35 | 0.0086359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3214-4_0_2_line_39 |  | 34 | 39 | 0.027521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3214-4_0_2_line_40 |  | 36 | 53 | 0.01042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3214-4_0_2_line_41 |  | 37 | 38 | 0.12716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3214-4_0_2_line_42 |  | 37 | 39 | 0.056718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3214-4_0_2_line_43 |  | 38 | 40 | 0.13271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3214-4_0_2_line_44 |  | 39 | 41 | 0.031777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3214-4_0_2_line_45 |  | 41 | 45 | 0.0055586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3214-4_0_2_line_46 |  | 42 | 43 | 0.014268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3214-4_0_2_line_47 |  | 42 | 44 | 0.26566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3214-4_0_2_line_48 |  | 43 | 53 | 0.02452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3214-4_0_2_line_49 |  | 44 | 80 | 0.020674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3214-4_0_2_line_50 |  | 45 | 49 | 0.018422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3214-4_0_2_line_51 |  | 46 | 47 | 0.19093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3214-4_0_2_line_52 |  | 47 | 50 | 0.10601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3214-4_0_2_line_53 |  | 50 | 60 | 0.01842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3214-4_0_2_line_54 |  | 51 | 52 | 0.098665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3214-4_0_2_line_55 |  | 51 | 53 | 0.019358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3214-4_0_2_line_56 |  | 52 | 54 | 0.010277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3214-4_0_2_line_57 |  | 55 | 56 | 0.048688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3214-4_0_2_line_58 |  | 55 | 57 | 0.038957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3214-4_0_2_line_59 |  | 56 | 58 | 0.014211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3214-4_0_2_line_60 |  | 57 | 59 | 0.012873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3214-4_0_2_line_61 |  | 58 | 80 | 0.01811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3214-4_0_2_line_62 |  | 59 | 81 | 0.013999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3214-4_0_2_line_63 |  | 60 | 61 | 0.025824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3214-4_0_2_line_64 |  | 61 | 62 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3214-4_0_2_line_65 |  | 62 | 63 | 0.0019596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3214-4_0_2_line_66 |  | 63 | 64 | 0.023953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3214-4_0_2_line_67 |  | 64 | 65 | 0.0056468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3214-4_0_2_line_68 |  | 65 | 66 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3214-4_0_2_line_69 |  | 66 | 67 | 0.00073657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3214-4_0_2_line_70 |  | 67 | 68 | 0.0053373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3214-4_0_2_line_71 |  | 68 | 69 | 0.020463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3214-4_0_2_line_72 |  | 69 | 70 | 0.0027308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3214-4_0_2_line_73 |  | 70 | 71 | 0.0025301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3214-4_0_2_line_74 |  | 71 | 72 | 0.003518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3214-4_0_2_line_75 |  | 72 | 73 | 0.00031959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3214-4_0_2_line_76 |  | 73 | 74 | 0.21109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3214-4_0_2_line_77 |  | 74 | 75 | 0.056284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3214-4_0_2_line_78 |  | 75 | 76 | 0.24914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3214-4_0_2_line_79 |  | 76 | 77 | 0.0031849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3214-4_0_2_line_80 |  | 77 | 78 | 0.010587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3214-4_0_2_trafo_53 | 0.63 MVA 20/0.4 kV | 82 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2750033.3771 | 1260818.7044 | 2750035.0393 | 1260810.2493 | 2750037.6064 | 1260805.9545 | 2750042.3731 | 1260801.4376 | 2750046.7582 | 1260798.2424
1 | 2750056.7607 | 1260792.4713 | 2750047.7275 | 1260797.5361 | 2750046.7582 | 1260798.2424
2 | 2750033.3771 | 1260818.7044 | 2750026.1906 | 1260817.5544 | 2750017.1262 | 1260816.1231 | 2750009.8987 | 1260813.9155 | 2750005.2851 | 1260812.397 | 2749994.2347 | 1260808.4129 | 2749986.7127 | 1260803.2504 | 2749980.7646 | 1260798.4615 | 2749977.1863 | 1260795.9572 | 2749969.7959 | 1260791.2541 | 2749946.5666 | 1260783.4798 | 2749929.3474 | 1260776.62
3 | 2750038.8533 | 1260755.3468 | 2750056.7607 | 1260792.4713
4 | 2750056.7607 | 1260792.4713 | 2750068.0751 | 1260817.5388 | 2750075.6613 | 1260829.3763
5 | 2750038.8533 | 1260755.3468 | 2750022.2568 | 1260772.0204
6 | 2750038.8533 | 1260755.3468 | 2750031.7256 | 1260740.885 | 2750029.2739 | 1260736.5362
7 | 2750075.6613 | 1260829.3763 | 2750072.8575 | 1260832.0078 | 2750071.9101 | 1260836.6551 | 2750072.093 | 1260840.5855
8 | 2750075.6613 | 1260829.3763 | 2750079.9164 | 1260833.1324 | 2750088.1592 | 1260838.1131 | 2750093.0243 | 1260839.5993
9 | 2750124.6497 | 1260850.7008 | 2750122.6202 | 1260849.5432 | 2750113.4141 | 1260845.6836 | 2750097.8482 | 1260841.073 | 2750093.0243 | 1260839.5993
10 | 2750255.7154 | 1260518.4584 | 2750029.2739 | 1260736.5362
11 | 2750255.7154 | 1260518.4584 | 2750262.8411 | 1260528.5383 | 2750267.1228 | 1260535.1092 | 2750270.2891 | 1260537.8034 | 2750272.9093 | 1260539.4382 | 2750276.9279 | 1260540.3412 | 2750280.3589 | 1260540.6286 | 2750285.8547 | 1260539.608
12 | 2750255.7154 | 1260518.4584 | 2750261.313 | 1260514.1963 | 2750273.9762 | 1260509.035 | 2750284.8937 | 1260504.9193 | 2750291.6203 | 1260500.6259
13 | 2750285.8547 | 1260539.608 | 2750286.0485 | 1260539.572 | 2750293.6338 | 1260535.7275 | 2750298.1148 | 1260533.2722 | 2750302.5923 | 1260533.3305 | 2750308.4232 | 1260533.5344 | 2750316.2026 | 1260531.2562
14 | 2750304.937 | 1260490.0469 | 2750294.9651 | 1260498.4909 | 2750291.6203 | 1260500.6259
15 | 2750304.937 | 1260490.0469 | 2750308.7347 | 1260490.7441 | 2750312.0729 | 1260493.4983 | 2750316.4724 | 1260495.4342 | 2750321.1475 | 1260494.541 | 2750327.3125 | 1260490.4802
16 | 2750304.937 | 1260490.0469 | 2750317.442 | 1260478.6057
17 | 2750139.3301 | 1260862.2466 | 2750136.5396 | 1260858.7167 | 2750132.9881 | 1260855.4566 | 2750124.6497 | 1260850.7008
18 | 2750139.3301 | 1260862.2466 | 2750141.6931 | 1260868.6574 | 2750141.7904 | 1260876.263
19 | 2750405.0492 | 1260320.2661 | 2750413.5789 | 1260316.8638
20 | 2750421.6524 | 1260312.903 | 2750414.564 | 1260316.4708 | 2750413.5789 | 1260316.8638
21 | 2750405.0492 | 1260320.2661 | 2750401.6565 | 1260338.6204
22 | 2750405.0492 | 1260320.2661 | 2750394.9309 | 1260313.7024 | 2750386.6128 | 1260312.1757
23 | 2750421.6524 | 1260312.903 | 2750423.6905 | 1260307.4828 | 2750429.8102 | 1260296.6498 | 2750431.515 | 1260291.1834
24 | 2750401.6565 | 1260338.6204 | 2750399.2814 | 1260342.7641 | 2750392.7744 | 1260348.0818 | 2750380.2692 | 1260358.5744 | 2750374.6851 | 1260362.2918
25 | 2750401.6565 | 1260338.6204 | 2750408.136 | 1260339.13 | 2750412.8501 | 1260340.5071
26 | 2750377.0228 | 1260312.5506 | 2750383.2523 | 1260311.559 | 2750386.6128 | 1260312.1757
27 | 2750431.515 | 1260291.1834 | 2750433.5131 | 1260284.7765 | 2750434.0815 | 1260276.961 | 2750434.2969 | 1260274.0668
28 | 2750374.6851 | 1260362.2918 | 2750371.5143 | 1260363.9239 | 2750387.2922 | 1260388.1046 | 2750393.3783 | 1260400.2158 | 2750396.0199 | 1260405.4548 | 2750388.4645 | 1260408.7104
29 | 2750374.6851 | 1260362.2918 | 2750381.3315 | 1260372.8144
30 | 2750418.4764 | 1260342.8063 | 2750414.1838 | 1260340.8966 | 2750412.8501 | 1260340.5071
31 | 2750355.172 | 1260318.9417 | 2750365.1798 | 1260314.4359 | 2750377.0228 | 1260312.5506
32 | 2750446.6554 | 1260338.4419 | 2750454.5123 | 1260342.0119
33 | 2750446.6554 | 1260338.4419 | 2750446.0817 | 1260341.4303 | 2750442.7856 | 1260343.5375 | 2750437.1568 | 1260345.7521 | 2750435.4681 | 1260346.1257
34 | 2750435.4681 | 1260346.1257 | 2750430.3926 | 1260347.2483 | 2750425.9824 | 1260346.8542
35 | 2750435.2793 | 1260260.8653 | 2750434.2969 | 1260274.0668
36 | 2750388.4645 | 1260408.7104 | 2750375.3585 | 1260422.669 | 2750352.5285 | 1260447.4803 | 2750325.7654 | 1260470.9904 | 2750317.442 | 1260478.6057
37 | 2750388.4645 | 1260408.7104 | 2750396.0199 | 1260405.4548 | 2750407.4853 | 1260417.7474 | 2750415.4118 | 1260427.4696 | 2750425.7171 | 1260439.121 | 2750444.4113 | 1260457.1365 | 2750441.194 | 1260447.5562
38 | 2750418.4764 | 1260342.8063 | 2750420.0443 | 1260343.5037 | 2750424.9983 | 1260346.7663 | 2750425.9824 | 1260346.8542
39 | 2750341.0672 | 1260301.8996 | 2750350.9934 | 1260321.9496 | 2750355.172 | 1260318.9417
40 | 2750436.0526 | 1260250.4736 | 2750435.2793 | 1260260.8653
41 | 2750222.7183 | 1260163.3116 | 2750238.8107 | 1260174.8649 | 2750254.5667 | 1260188.3784 | 2750261.4497 | 1260194.9709 | 2750271.6874 | 1260205.4524 | 2750289.168 | 1260225.5719 | 2750299.3273 | 1260237.6531 | 2750311.053 | 1260253.8265
42 | 2750341.0672 | 1260301.8996 | 2750334.2002 | 1260289.6463 | 2750328.8053 | 1260280.2888 | 2750314.9029 | 1260259.1368 | 2750311.053 | 1260253.8265
43 | 2750222.7183 | 1260163.3116 | 2750201.4313 | 1260150.8254 | 2750189.6407 | 1260144.7646 | 2750176.9803 | 1260139.1043 | 2750114.3194 | 1260111.9652 | 2750102.7184 | 1260106.996
44 | 2750341.0672 | 1260301.8996 | 2750329.4992 | 1260309.0462 | 2750321.8545 | 1260315.514 | 2750315.331 | 1260320.4261
45 | 2750315.331 | 1260320.4261 | 2750311.7528 | 1260323.1205 | 2750311.1363 | 1260324.0066
46 | 2750428.757 | 1260212.3947 | 2750430.0278 | 1260219.6453 | 2750431.2151 | 1260226.4494
47 | 2750428.757 | 1260212.3947 | 2750598.3482 | 1260007.9156
48 | 2750436.0526 | 1260250.4736 | 2750433.8448 | 1260241.5197 | 2750431.2151 | 1260226.4494
49 | 2750618.5577 | 1260003.5559 | 2750598.3482 | 1260007.9156
50 | 2750308.8806 | 1260340.5871 | 2750306.9176 | 1260338.3128 | 2750307.025 | 1260334.0891 | 2750307.7612 | 1260328.8581 | 2750311.1363 | 1260324.0066
51 | 2750441.194 | 1260447.5562 | 2750455.8982 | 1260460.5764 | 2750473.6278 | 1260474.708 | 2750490.9548 | 1260485.4038 | 2750506.3456 | 1260494.2485 | 2750521.919 | 1260501.5519 | 2750537.7346 | 1260508.5168 | 2750554.1112 | 1260514.773 | 2750563.5175 | 1260517.8932 | 2750577.1115 | 1260528.0048 | 2750579.5768 | 1260528.6126 | 2750607.4184 | 1260537.0852
52 | 2750607.4184 | 1260537.0852 | 2750606.5504 | 1260541.5564 | 2750607.5678 | 1260554.8956 | 2750609.9139 | 1260569.0584 | 2750616.3941 | 1260578.1101 | 2750660.0363 | 1260611.5657 | 2750665.7925 | 1260616.5201
53 | 2750679.7532 | 1260628.5365 | 2750665.7925 | 1260616.5201
54 | 2750455.3801 | 1260249.3811 | 2750464.6803 | 1260248.8554 | 2750470.1943 | 1260253.8228 | 2750472.8782 | 1260268.3611 | 2750475.2488 | 1260279.21 | 2750477.7546 | 1260290.674 | 2750480.2193 | 1260301.9701 | 2750480.5094 | 1260303.3122 | 2750483.1454 | 1260320.6187 | 2750484.5737 | 1260329.9754 | 2750485.5034 | 1260333.7362 | 2750485.8896 | 1260334.092
55 | 2750436.0526 | 1260250.4736 | 2750455.3801 | 1260249.3811
56 | 2750485.8896 | 1260334.092 | 2750488.8926 | 1260336.8588 | 2750494.9125 | 1260337.646 | 2750495.0352 | 1260337.6418
57 | 2750650.7961 | 1260001.5889 | 2750652.4553 | 1260023.186 | 2750653.5474 | 1260037.4391 | 2750657.2791 | 1260049.6129
58 | 2750657.2791 | 1260049.6129 | 2750676.0479 | 1260052.0043 | 2750678.5207 | 1260052.3231 | 2750695.9233 | 1260054.5422
59 | 2750650.7961 | 1260001.5889 | 2750636.6038 | 1260002.3226
60 | 2750695.9233 | 1260054.5422 | 2750708.6931 | 1260056.1705
61 | 2750636.6038 | 1260002.3226 | 2750620.3886 | 1260003.1609 | 2750618.5577 | 1260003.5559
62 | 2750722.5384 | 1260058.1611 | 2750720.7107 | 1260057.7029 | 2750708.6931 | 1260056.1705
63 | 2750679.7532 | 1260628.5365 | 2750690.5973 | 1260637.8702 | 2750698.4575 | 1260646.2874
64 | 2750698.4575 | 1260646.2874 | 2750704.2052 | 1260652.4424 | 2750706.1038 | 1260654.0075
65 | 2750706.1038 | 1260654.0075 | 2750707.6159 | 1260655.2539
66 | 2750728.2696 | 1260667.0811 | 2750728.2696 | 1260667.0811 | 2750713.3109 | 1260659.9485 | 2750707.6159 | 1260655.2539
67 | 2750728.2696 | 1260667.0811 | 2750733.7046 | 1260668.6131
68 | 2750746.878 | 1260671.2435 | 2750739.0724 | 1260670.126 | 2750733.7046 | 1260668.6131
69 | 2750747.6071 | 1260671.3479 | 2750746.878 | 1260671.2435
70 | 2750747.6071 | 1260671.3479 | 2750752.8905 | 1260672.1043
71 | 2750752.8905 | 1260672.1043 | 2750758.072 | 1260672.8461 | 2750772.8302 | 1260676.6037 | 2750772.8302 | 1260676.6037
72 | 2750775.5526 | 1260676.8177 | 2750772.8302 | 1260676.6037
73 | 2750775.5526 | 1260676.8177 | 2750778.0749 | 1260677.0159
74 | 2750781.5822 | 1260677.2915 | 2750778.0749 | 1260677.0159
75 | 2750781.9008 | 1260677.3166 | 2750781.5822 | 1260677.2915
76 | 2750902.491 | 1260825.7248 | 2750886.8585 | 1260795.685 | 2750877.2347 | 1260774.2293 | 2750872.3089 | 1260758.9551 | 2750864.5446 | 1260727.8594 | 2750859.5196 | 1260715.8748 | 2750853.9721 | 1260704.2773 | 2750844.3891 | 1260694.2119 | 2750830.8354 | 1260685.8024 | 2750816.9045 | 1260681.2427 | 2750802.7949 | 1260678.9586 | 2750781.9008 | 1260677.3166
77 | 2750850.7545 | 1260835.6711 | 2750860.0405 | 1260831.0699 | 2750865.3542 | 1260828.7809 | 2750872.4861 | 1260826.7496 | 2750878.1449 | 1260826.894 | 2750884.9502 | 1260829.6815 | 2750888.7627 | 1260832.1478 | 2750892.7958 | 1260831.2943 | 2750902.491 | 1260825.7248
78 | 2750850.7545 | 1260835.6711 | 2750844.6625 | 1260837.7289 | 2750831.5018 | 1260840.2292 | 2750813.004 | 1260843.5722 | 2750793.1071 | 1260846.4902 | 2750775.6594 | 1260848.8701 | 2750747.4925 | 1260852.3337 | 2750711.3586 | 1260857.4627 | 2750700.1932 | 1260859.1912 | 2750694.9098 | 1260859.1121 | 2750691.899 | 1260858.0232 | 2750688.9423 | 1260856.2906 | 2750686.7812 | 1260853.8109 | 2750684.8433 | 1260849.3793 | 2750679.2867 | 1260830.4411 | 2750672.4746 | 1260804.2526 | 2750665.0472 | 1260775.4054
79 | 2750665.0472 | 1260775.4054 | 2750664.2531 | 1260772.321
80 | 2750661.1615 | 1260762.1967 | 2750664.0084 | 1260771.3708 | 2750664.2531 | 1260772.321

## bus_geodata
| x | y | coords
0 | 2750046.7582 | 1260798.2424
1 | 2750033.3771 | 1260818.7044
2 | 2750056.7607 | 1260792.4713
3 | 2749929.3474 | 1260776.62
4 | 2750038.8533 | 1260755.3468
5 | 2750075.6613 | 1260829.3763
6 | 2750072.093 | 1260840.5855
7 | 2750093.0243 | 1260839.5993
8 | 2750022.2568 | 1260772.0204
9 | 2750029.2739 | 1260736.5362
10 | 2750255.7154 | 1260518.4584
11 | 2750285.8547 | 1260539.608
12 | 2750291.6203 | 1260500.6259
13 | 2750316.2026 | 1260531.2562
14 | 2750304.937 | 1260490.0469
15 | 2750124.6497 | 1260850.7008
16 | 2750139.3301 | 1260862.2466
17 | 2750141.7904 | 1260876.263
18 | 2750413.5789 | 1260316.8638
19 | 2750405.0492 | 1260320.2661
20 | 2750421.6524 | 1260312.903
21 | 2750401.6565 | 1260338.6204
22 | 2750386.6128 | 1260312.1757
23 | 2750431.515 | 1260291.1834
24 | 2750374.6851 | 1260362.2918
25 | 2750412.8501 | 1260340.5071
26 | 2750377.0228 | 1260312.5506
27 | 2750446.6554 | 1260338.4419
28 | 2750454.5123 | 1260342.0119
29 | 2750435.4681 | 1260346.1257
30 | 2750434.2969 | 1260274.0668
31 | 2750388.4645 | 1260408.7104
32 | 2750381.3315 | 1260372.8144
33 | 2750418.4764 | 1260342.8063
34 | 2750355.172 | 1260318.9417
35 | 2750425.9824 | 1260346.8542
36 | 2750435.2793 | 1260260.8653
37 | 2750311.053 | 1260253.8265
38 | 2750222.7183 | 1260163.3116
39 | 2750341.0672 | 1260301.8996
40 | 2750102.7184 | 1260106.996
41 | 2750315.331 | 1260320.4261
42 | 2750428.757 | 1260212.3947
43 | 2750431.2151 | 1260226.4494
44 | 2750598.3482 | 1260007.9156
45 | 2750311.1363 | 1260324.0066
46 | 2750441.194 | 1260447.5562
47 | 2750607.4184 | 1260537.0852
48 | 2750317.442 | 1260478.6057
49 | 2750308.8806 | 1260340.5871
50 | 2750665.7924 | 1260616.5201
51 | 2750455.3801 | 1260249.3811
52 | 2750485.8896 | 1260334.092
53 | 2750436.0526 | 1260250.4736
54 | 2750495.0352 | 1260337.6418
55 | 2750657.2791 | 1260049.6129
56 | 2750650.7961 | 1260001.5889
57 | 2750695.9233 | 1260054.5422
58 | 2750636.6038 | 1260002.3226
59 | 2750708.6931 | 1260056.1705
60 | 2750679.7532 | 1260628.5365
61 | 2750698.4575 | 1260646.2874
62 | 2750706.1038 | 1260654.0075
63 | 2750707.6159 | 1260655.2539
64 | 2750728.2696 | 1260667.0811
65 | 2750733.7046 | 1260668.6131
66 | 2750746.878 | 1260671.2435
67 | 2750747.6071 | 1260671.3479
68 | 2750752.8905 | 1260672.1043
69 | 2750772.8302 | 1260676.6037
70 | 2750775.5526 | 1260676.8177
71 | 2750778.0749 | 1260677.0159
72 | 2750781.5822 | 1260677.2915
73 | 2750781.9008 | 1260677.3166
74 | 2750902.4911 | 1260825.7248
75 | 2750850.7545 | 1260835.6711
76 | 2750665.0472 | 1260775.4054
77 | 2750664.2531 | 1260772.321
78 | 2750661.1615 | 1260762.1967
79 | 2750327.3125 | 1260490.4802
80 | 2750618.5577 | 1260003.5559
81 | 2750722.5384 | 1260058.1611
82 | 2750444.4113 | 1260457.1365

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1