## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3214-6_2_3_node_53 | 0.4 | n |  | TRUE
1 | bus_LV_3214-6_2_3_node_54 | 0.4 | n |  | TRUE
2 | bus_LV_3214-6_2_3_node_55 | 0.4 | n |  | TRUE
3 | bus_LV_3214-6_2_3_node_56 | 0.4 | n |  | TRUE
4 | bus_LV_3214-6_2_3_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_3214-6_2_3_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_3214-6_2_3_node_59 | 0.4 | n |  | TRUE
7 | bus_LV_3214-6_2_3_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_3214-6_2_3_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_3214-6_2_3_node_220 | 0.4 | n |  | TRUE
10 | bus_LV_3214-6_2_3_node_122 | 0.4 | n |  | TRUE
11 | bus_LV_3214-6_2_3_node_123 | 0.4 | n |  | TRUE
12 | bus_LV_3214-6_2_3_node_124 | 0.4 | n |  | TRUE
13 | bus_LV_3214-6_2_3_node_125 | 0.4 | n |  | TRUE
14 | bus_LV_3214-6_2_3_node_126 | 0.4 | n |  | TRUE
15 | bus_LV_3214-6_2_3_node_127 | 0.4 | n |  | TRUE
16 | bus_LV_3214-6_2_3_node_128 | 0.4 | n |  | TRUE
17 | bus_LV_3214-6_2_3_node_147 | 0.4 | n |  | TRUE
18 | bus_LV_3214-6_2_3_node_160 | 0.4 | n |  | TRUE
19 | bus_LV_3214-6_2_3_node_173 | 0.4 | n |  | TRUE
20 | bus_LV_3214-6_2_3_node_185 | 0.4 | n |  | TRUE
21 | bus_LV_3214-6_2_3_node_129 | 0.4 | n |  | TRUE
22 | bus_LV_3214-6_2_3_node_130 | 0.4 | n |  | TRUE
23 | bus_LV_3214-6_2_3_node_132 | 0.4 | n |  | TRUE
24 | bus_LV_3214-6_2_3_node_148 | 0.4 | n |  | TRUE
25 | bus_LV_3214-6_2_3_node_133 | 0.4 | n |  | TRUE
26 | bus_LV_3214-6_2_3_node_139 | 0.4 | n |  | TRUE
27 | bus_LV_3214-6_2_3_node_134 | 0.4 | n |  | TRUE
28 | bus_LV_3214-6_2_3_node_135 | 0.4 | n |  | TRUE
29 | bus_LV_3214-6_2_3_node_136 | 0.4 | n |  | TRUE
30 | bus_LV_3214-6_2_3_node_137 | 0.4 | n |  | TRUE
31 | bus_LV_3214-6_2_3_node_138 | 0.4 | n |  | TRUE
32 | bus_LV_3214-6_2_3_node_174 | 0.4 | n |  | TRUE
33 | bus_LV_3214-6_2_3_node_140 | 0.4 | n |  | TRUE
34 | bus_LV_3214-6_2_3_node_179 | 0.4 | n |  | TRUE
35 | bus_LV_3214-6_2_3_node_141 | 0.4 | n |  | TRUE
36 | bus_LV_3214-6_2_3_node_142 | 0.4 | n |  | TRUE
37 | bus_LV_3214-6_2_3_node_143 | 0.4 | n |  | TRUE
38 | bus_LV_3214-6_2_3_node_145 | 0.4 | n |  | TRUE
39 | bus_LV_3214-6_2_3_node_146 | 0.4 | n |  | TRUE
40 | bus_LV_3214-6_2_3_node_144 | 0.4 | n |  | TRUE
41 | bus_LV_3214-6_2_3_node_152 | 0.4 | n |  | TRUE
42 | bus_LV_3214-6_2_3_node_149 | 0.4 | n |  | TRUE
43 | bus_LV_3214-6_2_3_node_153 | 0.4 | n |  | TRUE
44 | bus_LV_3214-6_2_3_node_150 | 0.4 | n |  | TRUE
45 | bus_LV_3214-6_2_3_node_151 | 0.4 | n |  | TRUE
46 | bus_LV_3214-6_2_3_node_163 | 0.4 | n |  | TRUE
47 | bus_LV_3214-6_2_3_node_156 | 0.4 | n |  | TRUE
48 | bus_LV_3214-6_2_3_node_154 | 0.4 | n |  | TRUE
49 | bus_LV_3214-6_2_3_node_155 | 0.4 | n |  | TRUE
50 | bus_LV_3214-6_2_3_node_188 | 0.4 | n |  | TRUE
51 | bus_LV_3214-6_2_3_node_157 | 0.4 | n |  | TRUE
52 | bus_LV_3214-6_2_3_node_158 | 0.4 | n |  | TRUE
53 | bus_LV_3214-6_2_3_node_159 | 0.4 | n |  | TRUE
54 | bus_LV_3214-6_2_3_node_161 | 0.4 | n |  | TRUE
55 | bus_LV_3214-6_2_3_node_162 | 0.4 | n |  | TRUE
56 | bus_LV_3214-6_2_3_node_172 | 0.4 | n |  | TRUE
57 | bus_LV_3214-6_2_3_node_186 | 0.4 | n |  | TRUE
58 | bus_LV_3214-6_2_3_node_164 | 0.4 | n |  | TRUE
59 | bus_LV_3214-6_2_3_node_165 | 0.4 | n |  | TRUE
60 | bus_LV_3214-6_2_3_node_166 | 0.4 | n |  | TRUE
61 | bus_LV_3214-6_2_3_node_167 | 0.4 | n |  | TRUE
62 | bus_LV_3214-6_2_3_node_168 | 0.4 | n |  | TRUE
63 | bus_LV_3214-6_2_3_node_169 | 0.4 | n |  | TRUE
64 | bus_LV_3214-6_2_3_node_170 | 0.4 | n |  | TRUE
65 | bus_LV_3214-6_2_3_node_171 | 0.4 | n |  | TRUE
66 | bus_LV_3214-6_2_3_node_175 | 0.4 | n |  | TRUE
67 | bus_LV_3214-6_2_3_node_176 | 0.4 | n |  | TRUE
68 | bus_LV_3214-6_2_3_node_177 | 0.4 | n |  | TRUE
69 | bus_LV_3214-6_2_3_node_178 | 0.4 | n |  | TRUE
70 | bus_LV_3214-6_2_3_node_180 | 0.4 | n |  | TRUE
71 | bus_LV_3214-6_2_3_node_181 | 0.4 | n |  | TRUE
72 | bus_LV_3214-6_2_3_node_183 | 0.4 | n |  | TRUE
73 | bus_LV_3214-6_2_3_node_182 | 0.4 | n |  | TRUE
74 | bus_LV_3214-6_2_3_node_187 | 0.4 | n |  | TRUE
75 | bus_LV_3214-6_2_3_node_184 | 0.4 | n |  | TRUE
76 | bus_LV_3214-6_2_3_node_190 | 0.4 | n |  | TRUE
77 | bus_LV_3214-6_2_3_node_189 | 0.4 | n |  | TRUE
78 | bus_LV_3214-6_2_3_node_195 | 0.4 | n |  | TRUE
79 | bus_LV_3214-6_2_3_node_193 | 0.4 | n |  | TRUE
80 | bus_LV_3214-6_2_3_node_191 | 0.4 | n |  | TRUE
81 | bus_LV_3214-6_2_3_node_192 | 0.4 | n |  | TRUE
82 | bus_LV_3214-6_2_3_node_194 | 0.4 | n |  | TRUE
83 | bus_LV_3214-6_2_3_node_196 | 0.4 | n |  | TRUE
84 | bus_LV_3214-6_2_3_node_197 | 0.4 | n |  | TRUE
85 | bus_LV_3214-6_2_3_node_200 | 0.4 | n |  | TRUE
86 | bus_LV_3214-6_2_3_node_198 | 0.4 | n |  | TRUE
87 | bus_LV_3214-6_2_3_node_199 | 0.4 | n |  | TRUE
88 | bus_LV_3214-6_2_3_node_201 | 0.4 | n |  | TRUE
89 | bus_MV_48_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3214-6_2_3_load_53 | 0 | 0.014247 | 0.0035706 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3214-6_2_3_load_54 | 1 | 0.0042958 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3214-6_2_3_load_56 | 3 | 0.005105 | 0.0012794 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3214-6_2_3_load_57 | 4 | 0.0054229 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3214-6_2_3_load_58 | 5 | 0.0054159 | 0.0013574 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3214-6_2_3_load_60 | 7 | 0.0017407 | 0.00043627 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3214-6_2_3_load_220 | 9 | 0.013516 | 0.0033874 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3214-6_2_3_load_122 | 10 | 0.0072724 | 0.0018226 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3214-6_2_3_load_123 | 11 | 0.002865 | 0.00071804 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3214-6_2_3_load_125 | 13 | 0.0071883 | 0.0018016 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3214-6_2_3_load_126 | 14 | 0.0020016 | 0.00050166 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3214-6_2_3_load_127 | 15 | 0.0020246 | 0.00050742 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3214-6_2_3_load_128 | 16 | 0.0029128 | 0.00073002 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3214-6_2_3_load_147 | 17 | 0.0029096 | 0.00072921 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3214-6_2_3_load_160 | 18 | 0.0038502 | 0.00096494 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3214-6_2_3_load_173 | 19 | 0.0021472 | 0.00053814 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3214-6_2_3_load_185 | 20 | 0.0047092 | 0.0011802 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3214-6_2_3_load_129 | 21 | 0.0019834 | 0.00049709 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3214-6_2_3_load_130 | 22 | 0.0026775 | 0.00067106 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3214-6_2_3_load_132 | 23 | 0.0034244 | 0.00085825 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3214-6_2_3_load_148 | 24 | 0.0045008 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3214-6_2_3_load_133 | 25 | 0.0047457 | 0.0011894 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3214-6_2_3_load_139 | 26 | 0.0019219 | 0.00048168 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3214-6_2_3_load_134 | 27 | 0.0043967 | 0.0011019 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3214-6_2_3_load_135 | 28 | 0.0017442 | 0.00043715 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3214-6_2_3_load_136 | 29 | 0.0020176 | 0.00050567 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3214-6_2_3_load_137 | 30 | 0.0017643 | 0.00044219 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3214-6_2_3_load_138 | 31 | 0.00175 | 0.00043858 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3214-6_2_3_load_174 | 32 | 0.0018206 | 0.00045627 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3214-6_2_3_load_140 | 33 | 0.0033486 | 0.00083925 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3214-6_2_3_load_179 | 34 | 0.0034838 | 0.00087312 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3214-6_2_3_load_141 | 35 | 0.0057425 | 0.0014392 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3214-6_2_3_load_142 | 36 | 0.00332 | 0.00083208 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3214-6_2_3_load_145 | 38 | 0.0051218 | 0.0012836 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3214-6_2_3_load_146 | 39 | 0.0022059 | 0.00055284 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3214-6_2_3_load_149 | 42 | 0.0034383 | 0.00086171 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3214-6_2_3_load_153 | 43 | 0.0025341 | 0.00063511 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3214-6_2_3_load_150 | 44 | 0.0040029 | 0.0010032 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3214-6_2_3_load_151 | 45 | 0.0046254 | 0.0011592 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3214-6_2_3_load_163 | 46 | 0.00305 | 0.00076439 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3214-6_2_3_load_156 | 47 | 0.0036491 | 0.00091456 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3214-6_2_3_load_154 | 48 | 0.0027392 | 0.00068651 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3214-6_2_3_load_155 | 49 | 0.0047906 | 0.0012006 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3214-6_2_3_load_188 | 50 | 0.0037377 | 0.00093676 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3214-6_2_3_load_157 | 51 | 0.0034856 | 0.00087359 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3214-6_2_3_load_158 | 52 | 0.0019552 | 0.00049003 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3214-6_2_3_load_161 | 54 | 0.0058613 | 0.001469 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3214-6_2_3_load_162 | 55 | 0.0012801 | 0.00032082 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3214-6_2_3_load_172 | 56 | 0.0034509 | 0.00086489 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3214-6_2_3_load_186 | 57 | 0.004004 | 0.0010035 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3214-6_2_3_load_164 | 58 | 0.0029003 | 0.00072689 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3214-6_2_3_load_165 | 59 | 0.0028885 | 0.00072392 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3214-6_2_3_load_166 | 60 | 0.0030619 | 0.0007674 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3214-6_2_3_load_167 | 61 | 0.0035698 | 0.00089467 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3214-6_2_3_load_168 | 62 | 0.0033053 | 0.00082839 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3214-6_2_3_load_169 | 63 | 0.0032569 | 0.00081624 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3214-6_2_3_load_170 | 64 | 0.0028521 | 0.00071481 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3214-6_2_3_load_171 | 65 | 0.0048637 | 0.001219 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3214-6_2_3_load_175 | 66 | 0.0027991 | 0.00070152 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3214-6_2_3_load_176 | 67 | 0.0014299 | 0.00035837 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3214-6_2_3_load_177 | 68 | 0.0021542 | 0.0005399 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3214-6_2_3_load_178 | 69 | 0.0039972 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3214-6_2_3_load_180 | 70 | 0.0031653 | 0.00079331 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3214-6_2_3_load_183 | 72 | 0.0026022 | 0.00065218 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3214-6_2_3_load_187 | 74 | 0.0019378 | 0.00048566 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3214-6_2_3_load_184 | 75 | 0.0049824 | 0.0012487 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3214-6_2_3_load_190 | 76 | 0.0015114 | 0.00037878 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3214-6_2_3_load_195 | 78 | 0.0020519 | 0.00051426 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3214-6_2_3_load_193 | 79 | 0.0033791 | 0.00084688 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3214-6_2_3_load_191 | 80 | 0.0024547 | 0.00061521 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3214-6_2_3_load_192 | 81 | 0.0028068 | 0.00070344 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3214-6_2_3_load_194 | 82 | 0.0017412 | 0.00043639 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3214-6_2_3_load_196 | 83 | 0.0026218 | 0.00065708 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3214-6_2_3_load_200 | 85 | 0.0023267 | 0.00058313 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3214-6_2_3_load_198 | 86 | 0.002109 | 0.00052857 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3214-6_2_3_load_199 | 87 | 0.0032372 | 0.00081132 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3214-6_2_3_load_201 | 88 | 0.0030134 | 0.00075524 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3214-6_2_3_line_0 |  | 0 | 1 | 0.00043058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3214-6_2_3_line_1 |  | 1 | 2 | 0.063087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3214-6_2_3_line_2 |  | 2 | 3 | 0.010907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3214-6_2_3_line_3 |  | 3 | 4 | 0.0029738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3214-6_2_3_line_4 |  | 4 | 5 | 0.036664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3214-6_2_3_line_5 |  | 5 | 6 | 0.029444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3214-6_2_3_line_6 |  | 6 | 7 | 0.052707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3214-6_2_3_line_7 |  | 7 | 8 | 0.15845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3214-6_2_3_line_8 |  | 8 | 9 | 0.10837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3214-6_2_3_line_9 |  | 9 | 80 | 0.20951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3214-6_2_3_line_10 |  | 10 | 11 | 0.016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3214-6_2_3_line_11 |  | 10 | 12 | 0.021511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3214-6_2_3_line_12 |  | 11 | 13 | 0.012279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3214-6_2_3_line_13 |  | 12 | 14 | 0.022848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3214-6_2_3_line_14 |  | 12 | 15 | 0.016211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3214-6_2_3_line_15 |  | 12 | 16 | 0.01465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3214-6_2_3_line_16 |  | 13 | 17 | 0.010494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3214-6_2_3_line_17 |  | 14 | 18 | 0.012134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3214-6_2_3_line_18 |  | 15 | 19 | 0.01875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3214-6_2_3_line_19 |  | 16 | 20 | 0.0021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3214-6_2_3_line_20 |  | 17 | 24 | 0.02145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3214-6_2_3_line_21 |  | 18 | 52 | 0.0019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3214-6_2_3_line_22 |  | 19 | 30 | 0.0029159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3214-6_2_3_line_23 |  | 20 | 75 | 0.02493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3214-6_2_3_line_24 |  | 21 | 22 | 0.017727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3214-6_2_3_line_25 |  | 22 | 23 | 0.026164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3214-6_2_3_line_26 |  | 23 | 24 | 0.0040628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3214-6_2_3_line_27 |  | 25 | 26 | 0.00011671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3214-6_2_3_line_28 |  | 26 | 33 | 0.041148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3214-6_2_3_line_29 |  | 27 | 28 | 0.0090279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3214-6_2_3_line_30 |  | 27 | 29 | 0.013265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3214-6_2_3_line_31 |  | 28 | 30 | 0.002917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3214-6_2_3_line_32 |  | 29 | 31 | 0.0021832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3214-6_2_3_line_33 |  | 31 | 32 | 0.0027302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3214-6_2_3_line_34 |  | 32 | 66 | 0.0092075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3214-6_2_3_line_35 |  | 33 | 34 | 0.023262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3214-6_2_3_line_36 |  | 34 | 70 | 0.021754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3214-6_2_3_line_37 |  | 35 | 36 | 0.030516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3214-6_2_3_line_38 |  | 35 | 37 | 0.022216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3214-6_2_3_line_39 |  | 37 | 38 | 0.032242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3214-6_2_3_line_40 |  | 37 | 39 | 0.060729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3214-6_2_3_line_41 |  | 38 | 43 | 0.0049218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3214-6_2_3_line_42 |  | 40 | 41 | 0.008801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3214-6_2_3_line_43 |  | 40 | 42 | 0.032071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3214-6_2_3_line_44 |  | 41 | 47 | 0.0074393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3214-6_2_3_line_45 |  | 42 | 44 | 0.0082124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3214-6_2_3_line_46 |  | 43 | 48 | 0.0086173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3214-6_2_3_line_47 |  | 44 | 45 | 0.032098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3214-6_2_3_line_48 |  | 45 | 46 | 0.0099495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3214-6_2_3_line_49 |  | 46 | 58 | 0.025525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3214-6_2_3_line_50 |  | 48 | 49 | 0.014718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3214-6_2_3_line_51 |  | 49 | 50 | 0.01349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3214-6_2_3_line_52 |  | 50 | 77 | 0.0085734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3214-6_2_3_line_53 |  | 51 | 52 | 0.022452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3214-6_2_3_line_54 |  | 51 | 53 | 0.020844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3214-6_2_3_line_55 |  | 53 | 54 | 0.0095761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3214-6_2_3_line_56 |  | 53 | 55 | 0.018943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_3214-6_2_3_line_57 |  | 54 | 56 | 0.0046818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3214-6_2_3_line_58 |  | 55 | 57 | 0.020726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_3214-6_2_3_line_59 |  | 56 | 65 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3214-6_2_3_line_60 |  | 57 | 73 | 0.020822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_3214-6_2_3_line_61 |  | 58 | 59 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3214-6_2_3_line_62 |  | 59 | 60 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3214-6_2_3_line_63 |  | 60 | 61 | 0.013722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3214-6_2_3_line_64 |  | 61 | 62 | 0.018739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3214-6_2_3_line_65 |  | 62 | 63 | 0.0080039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3214-6_2_3_line_66 |  | 63 | 64 | 0.017646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3214-6_2_3_line_67 |  | 64 | 65 | 0.0079193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3214-6_2_3_line_68 |  | 66 | 67 | 0.015164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3214-6_2_3_line_69 |  | 67 | 68 | 0.0035805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3214-6_2_3_line_70 |  | 68 | 69 | 0.0075512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3214-6_2_3_line_71 |  | 70 | 71 | 0.038365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3214-6_2_3_line_72 |  | 71 | 72 | 0.025526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3214-6_2_3_line_73 |  | 72 | 75 | 0.0057863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3214-6_2_3_line_74 |  | 73 | 74 | 0.046726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_3214-6_2_3_line_75 |  | 74 | 76 | 0.0031371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_3214-6_2_3_line_76 |  | 76 | 80 | 0.030433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_3214-6_2_3_line_77 |  | 77 | 78 | 0.012309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3214-6_2_3_line_78 |  | 77 | 79 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3214-6_2_3_line_79 |  | 78 | 83 | 0.013653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3214-6_2_3_line_80 |  | 79 | 82 | 0.023517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3214-6_2_3_line_81 |  | 80 | 81 | 0.024613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_3214-6_2_3_line_82 |  | 81 | 82 | 0.0076222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_3214-6_2_3_line_83 |  | 83 | 84 | 0.021463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3214-6_2_3_line_84 |  | 84 | 85 | 0.0012336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3214-6_2_3_line_85 |  | 84 | 86 | 0.013301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3214-6_2_3_line_86 |  | 85 | 88 | 0.006382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3214-6_2_3_line_87 |  | 86 | 87 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3214-6_2_3_trafo_194 | 0.63 MVA 20/0.4 kV | 89 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2749257.2395 | 1258495.1631 | 2749256.8367 | 1258495.3152
1 | 2749317.4608 | 1258476.4656 | 2749269.4953 | 1258490.5363 | 2749257.2395 | 1258495.1631
2 | 2749317.4608 | 1258476.4656 | 2749321.122 | 1258486.7393
3 | 2749321.122 | 1258486.7393 | 2749321.4124 | 1258487.554 | 2749322.1026 | 1258489.5467
4 | 2749322.1026 | 1258489.5467 | 2749334.1031 | 1258524.1917
5 | 2749343.7403 | 1258552.0142 | 2749334.1031 | 1258524.1917
6 | 2749343.7403 | 1258552.0142 | 2749395.6477 | 1258542.8705
7 | 2749395.6477 | 1258542.8705 | 2749544.7013 | 1258489.1038
8 | 2749544.7013 | 1258489.1038 | 2749640.931 | 1258538.9517
9 | 2749603.1249 | 1258745.0218 | 2749640.931 | 1258538.9517
10 | 2749725.2497 | 1258873.1037 | 2749719.3494 | 1258871.8415 | 2749709.2693 | 1258869.5651
11 | 2749688.2866 | 1258864.8266 | 2749709.2693 | 1258869.5651
12 | 2749737.2572 | 1258875.6726 | 2749725.2497 | 1258873.1037
13 | 2749688.2866 | 1258864.8266 | 2749668.8874 | 1258856.1942 | 2749667.4878 | 1258855.3896
14 | 2749688.2866 | 1258864.8266 | 2749685.3412 | 1258880.7679 | 2749685.3412 | 1258880.7679
15 | 2749688.2866 | 1258864.8266 | 2749691.2533 | 1258850.4801
16 | 2749737.2572 | 1258875.6726 | 2749747.5189 | 1258877.8679
17 | 2749667.4878 | 1258855.3896 | 2749656.9684 | 1258849.3423
18 | 2749685.3412 | 1258880.7679 | 2749684.9159 | 1258899.5134
19 | 2749691.2533 | 1258850.4801 | 2749691.6985 | 1258848.3271
20 | 2749768.4946 | 1258882.3553 | 2749747.5189 | 1258877.8679
21 | 2749655.3167 | 1258848.3928 | 2749656.9684 | 1258849.3423
22 | 2749684.8498 | 1258902.4286 | 2749684.9159 | 1258899.5134
23 | 2749691.6985 | 1258848.3271 | 2749695.9787 | 1258827.6289 | 2749697.2267 | 1258824.0466
24 | 2749798.053 | 1258888.6788 | 2749804.1486 | 1258889.9829 | 2749815.595 | 1258891.017
25 | 2749798.053 | 1258888.6788 | 2749772.4675 | 1258883.2052
26 | 2749768.4946 | 1258882.3553 | 2749772.4675 | 1258883.2052
27 | 2749817.718 | 1258843.5014 | 2749817.6666 | 1258843.3966
28 | 2749817.6666 | 1258843.3966 | 2749813.7454 | 1258835.394 | 2749805.81 | 1258826.1952 | 2749795.4293 | 1258820.9273 | 2749787.2992 | 1258818.6341
29 | 2749684.7836 | 1258905.3448 | 2749684.5789 | 1258914.3704
30 | 2749684.278 | 1258927.6319 | 2749684.5789 | 1258914.3704
31 | 2749684.7836 | 1258905.3448 | 2749684.8498 | 1258902.4286
32 | 2749684.278 | 1258927.6319 | 2749684.2285 | 1258929.8145
33 | 2749684.2285 | 1258929.8145 | 2749684.1666 | 1258932.544
34 | 2749684.1666 | 1258932.544 | 2749683.9577 | 1258941.7492
35 | 2749787.2992 | 1258818.6341 | 2749764.9111 | 1258812.3193
36 | 2749764.9111 | 1258812.3193 | 2749743.9745 | 1258806.4139
37 | 2749449.4222 | 1258801.4087 | 2749435.4312 | 1258828.5287
38 | 2749459.6075 | 1258781.6655 | 2749449.4222 | 1258801.4087
39 | 2749459.6075 | 1258781.6655 | 2749491.8175 | 1258783.1115
40 | 2749459.6075 | 1258781.6655 | 2749486.4436 | 1258727.1881
41 | 2749496.7343 | 1258783.3322 | 2749491.8175 | 1258783.1115
42 | 2749407.0217 | 1258892.1024 | 2749409.8121 | 1258883.7535
43 | 2749409.8121 | 1258883.7535 | 2749441.3486 | 1258877.9214
44 | 2749407.0217 | 1258892.1024 | 2749406.6597 | 1258894.7848 | 2749405.6807 | 1258899.415
45 | 2749441.3486 | 1258877.9214 | 2749449.4241 | 1258876.428
46 | 2749496.7343 | 1258783.3322 | 2749505.343 | 1258783.7187
47 | 2749449.4241 | 1258876.428 | 2749480.9869 | 1258870.591
48 | 2749480.9869 | 1258870.591 | 2749490.7705 | 1258868.7817
49 | 2749515.8702 | 1258864.14 | 2749490.7705 | 1258868.7817
50 | 2749520.0338 | 1258783.7467 | 2749515.1852 | 1258784.1605 | 2749505.343 | 1258783.7187
51 | 2749520.0338 | 1258783.7467 | 2749528.9572 | 1258782.985 | 2749533.1936 | 1258781.3685
52 | 2749541.2037 | 1258778.3121 | 2749533.1936 | 1258781.3685
53 | 2749639.6758 | 1258832.3157 | 2749654.8219 | 1258848.1083 | 2749655.3167 | 1258848.3928
54 | 2749626.8168 | 1258815.924 | 2749638.4127 | 1258830.9987 | 2749639.6758 | 1258832.3157
55 | 2749626.8168 | 1258815.924 | 2749618.2019 | 1258820.1056
56 | 2749626.8168 | 1258815.924 | 2749643.3535 | 1258806.6849
57 | 2749613.9901 | 1258822.15 | 2749618.2019 | 1258820.1056
58 | 2749659.6976 | 1258794.0143 | 2749646.3182 | 1258805.0285 | 2749643.3535 | 1258806.6849
59 | 2749603.1138 | 1258827.4292 | 2749613.9901 | 1258822.15
60 | 2749674.4959 | 1258779.4379 | 2749665.8221 | 1258788.9725 | 2749659.6976 | 1258794.0143
61 | 2749515.8702 | 1258864.14 | 2749534.4134 | 1258860.7108
62 | 2749534.4134 | 1258860.7108 | 2749534.4134 | 1258860.7108 | 2749543.6927 | 1258856.2221
63 | 2749556.045 | 1258850.2471 | 2749543.6927 | 1258856.2221
64 | 2749556.045 | 1258850.2471 | 2749572.914 | 1258842.0872
65 | 2749580.1147 | 1258838.5927 | 2749573.2414 | 1258841.9289 | 2749572.914 | 1258842.0872
66 | 2749580.1147 | 1258838.5927 | 2749595.9895 | 1258830.8872
67 | 2749603.1138 | 1258827.4292 | 2749595.9895 | 1258830.8872
68 | 2749683.6138 | 1258956.9096 | 2749683.9577 | 1258941.7492
69 | 2749683.5326 | 1258960.4892 | 2749683.6138 | 1258956.9096
70 | 2749683.5326 | 1258960.4892 | 2749683.3613 | 1258968.0384
71 | 2749707.5283 | 1258794.4771 | 2749732.8293 | 1258803.2703 | 2749743.9745 | 1258806.4139
72 | 2749707.5283 | 1258794.4771 | 2749699.1303 | 1258818.5825
73 | 2749699.1303 | 1258818.5825 | 2749697.2267 | 1258824.0466
74 | 2749674.4959 | 1258779.4379 | 2749650.1171 | 1258764.896 | 2749634.3637 | 1258755.5059
75 | 2749631.669 | 1258753.8997 | 2749634.3637 | 1258755.5059
76 | 2749631.669 | 1258753.8997 | 2749623.4791 | 1258749.018 | 2749615.7431 | 1258746.2308 | 2749603.1249 | 1258745.0218 | 2749603.1249 | 1258745.0218
77 | 2749541.2037 | 1258778.3121 | 2749536.6148 | 1258767.6967 | 2749536.4943 | 1258766.9618
78 | 2749541.2037 | 1258778.3121 | 2749553.8366 | 1258770.3933
79 | 2749536.4943 | 1258766.9618 | 2749535.3863 | 1258760.2028 | 2749537.2079 | 1258753.647
80 | 2749553.8366 | 1258770.3933 | 2749573.7628 | 1258757.903
81 | 2749580.2211 | 1258753.8547 | 2749581.0105 | 1258753.36 | 2749591.3799 | 1258748.6507 | 2749603.1249 | 1258745.0218
82 | 2749580.2211 | 1258753.8547 | 2749573.7628 | 1258757.903
83 | 2749542.9539 | 1258732.9671 | 2749537.2079 | 1258753.647
84 | 2749542.9539 | 1258732.9671 | 2749544.1243 | 1258733.357
85 | 2749542.9539 | 1258732.9671 | 2749530.3239 | 1258728.7965
86 | 2749550.1791 | 1258735.3742 | 2749544.1243 | 1258733.357
87 | 2749518.4791 | 1258724.8852 | 2749530.3239 | 1258728.7965

## bus_geodata
| x | y | coords
0 | 2749256.8367 | 1258495.3152
1 | 2749257.2395 | 1258495.1631
2 | 2749317.4608 | 1258476.4656
3 | 2749321.122 | 1258486.7393
4 | 2749322.1026 | 1258489.5467
5 | 2749334.1031 | 1258524.1917
6 | 2749343.7403 | 1258552.0142
7 | 2749395.6477 | 1258542.8705
8 | 2749544.7013 | 1258489.1038
9 | 2749640.931 | 1258538.9517
10 | 2749709.2693 | 1258869.5651
11 | 2749725.2497 | 1258873.1037
12 | 2749688.2866 | 1258864.8266
13 | 2749737.2572 | 1258875.6726
14 | 2749667.4878 | 1258855.3896
15 | 2749685.3412 | 1258880.7679
16 | 2749691.2533 | 1258850.4801
17 | 2749747.5189 | 1258877.8679
18 | 2749656.9684 | 1258849.3423
19 | 2749684.9159 | 1258899.5134
20 | 2749691.6985 | 1258848.3271
21 | 2749815.595 | 1258891.017
22 | 2749798.053 | 1258888.6788
23 | 2749772.4675 | 1258883.2052
24 | 2749768.4946 | 1258882.3553
25 | 2749817.718 | 1258843.5014
26 | 2749817.6666 | 1258843.3966
27 | 2749684.5789 | 1258914.3704
28 | 2749684.7836 | 1258905.3448
29 | 2749684.278 | 1258927.6319
30 | 2749684.8498 | 1258902.4286
31 | 2749684.2285 | 1258929.8145
32 | 2749684.1666 | 1258932.544
33 | 2749787.2992 | 1258818.6341
34 | 2749764.9111 | 1258812.3193
35 | 2749449.4222 | 1258801.4087
36 | 2749435.4312 | 1258828.5287
37 | 2749459.6075 | 1258781.6655
38 | 2749491.8175 | 1258783.1115
39 | 2749486.4436 | 1258727.1881
40 | 2749409.8121 | 1258883.7535
41 | 2749407.0217 | 1258892.1024
42 | 2749441.3486 | 1258877.9214
43 | 2749496.7343 | 1258783.3322
44 | 2749449.4241 | 1258876.428
45 | 2749480.9869 | 1258870.591
46 | 2749490.7705 | 1258868.7817
47 | 2749405.6807 | 1258899.415
48 | 2749505.343 | 1258783.7187
49 | 2749520.0338 | 1258783.7467
50 | 2749533.1936 | 1258781.3685
51 | 2749639.6758 | 1258832.3157
52 | 2749655.3167 | 1258848.3928
53 | 2749626.8168 | 1258815.924
54 | 2749618.2019 | 1258820.1056
55 | 2749643.3535 | 1258806.6849
56 | 2749613.9901 | 1258822.15
57 | 2749659.6976 | 1258794.0143
58 | 2749515.8702 | 1258864.14
59 | 2749534.4134 | 1258860.7108
60 | 2749543.6927 | 1258856.2221
61 | 2749556.045 | 1258850.2471
62 | 2749572.914 | 1258842.0872
63 | 2749580.1147 | 1258838.5927
64 | 2749595.9895 | 1258830.8872
65 | 2749603.1138 | 1258827.4292
66 | 2749683.9577 | 1258941.7492
67 | 2749683.6138 | 1258956.9096
68 | 2749683.5326 | 1258960.4892
69 | 2749683.3613 | 1258968.0384
70 | 2749743.9745 | 1258806.4139
71 | 2749707.5283 | 1258794.4771
72 | 2749699.1303 | 1258818.5825
73 | 2749674.4959 | 1258779.4379
74 | 2749634.3637 | 1258755.5059
75 | 2749697.2267 | 1258824.0466
76 | 2749631.669 | 1258753.8997
77 | 2749541.2037 | 1258778.3121
78 | 2749536.4943 | 1258766.9618
79 | 2749553.8366 | 1258770.3933
80 | 2749603.1249 | 1258745.0218
81 | 2749580.2211 | 1258753.8547
82 | 2749573.7628 | 1258757.903
83 | 2749537.2079 | 1258753.647
84 | 2749542.9539 | 1258732.9671
85 | 2749544.1243 | 1258733.357
86 | 2749530.3239 | 1258728.7965
87 | 2749518.4791 | 1258724.8852
88 | 2749550.1791 | 1258735.3742
89 | 2749541.2037 | 1258778.3121

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1