## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_34-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_34-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_34-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_34-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_34-2_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_34-2_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_34-2_0_5_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_34-2_0_5_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_34-2_0_5_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_34-2_0_5_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_34-2_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_34-2_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_34-2_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_34-2_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_34-2_0_5_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_34-2_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_34-2_0_5_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_34-2_0_5_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_34-2_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_34-2_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_34-2_0_5_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_34-2_0_5_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_34-2_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_34-2_0_5_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_34-2_0_5_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_34-2_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_34-2_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_34-2_0_5_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_34-2_0_5_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_34-2_0_5_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_34-2_0_5_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_34-2_0_5_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_34-2_0_5_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_34-2_0_5_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_34-2_0_5_node_87 | 0.4 | n |  | TRUE
35 | bus_LV_34-2_0_5_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_34-2_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_34-2_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_34-2_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_34-2_0_5_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_34-2_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_34-2_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_34-2_0_5_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_34-2_0_5_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_34-2_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_34-2_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_34-2_0_5_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_34-2_0_5_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_34-2_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_34-2_0_5_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_34-2_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_34-2_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_34-2_0_5_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_34-2_0_5_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_34-2_0_5_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_34-2_0_5_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_34-2_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_34-2_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_34-2_0_5_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_34-2_0_5_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_34-2_0_5_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_34-2_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_34-2_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_34-2_0_5_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_34-2_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_34-2_0_5_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_34-2_0_5_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_34-2_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_34-2_0_5_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_34-2_0_5_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_34-2_0_5_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_34-2_0_5_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_34-2_0_5_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_34-2_0_5_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_34-2_0_5_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_34-2_0_5_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_34-2_0_5_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_34-2_0_5_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_34-2_0_5_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_34-2_0_5_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_34-2_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_34-2_0_5_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_34-2_0_5_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_34-2_0_5_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_34-2_0_5_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_34-2_0_5_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_34-2_0_5_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_34-2_0_5_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_34-2_0_5_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_34-2_0_5_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_34-2_0_5_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_34-2_0_5_node_93 | 0.4 | n |  | TRUE
92 | bus_MV_391_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_34-2_0_5_load_0 | 0 | 0.0013378 | 0.0003353 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_34-2_0_5_load_1 | 1 | 0.0021278 | 0.00053327 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_34-2_0_5_load_3 | 3 | 0.0018171 | 0.0004554 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_34-2_0_5_load_5 | 5 | 0.0018409 | 0.00046138 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_34-2_0_5_load_20 | 6 | 0.00082793 | 0.0002075 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_34-2_0_5_load_31 | 7 | 0.032086 | 0.0080415 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_34-2_0_5_load_6 | 10 | 0.0093386 | 0.0023405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_34-2_0_5_load_7 | 11 | 0.056711 | 0.014213 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_34-2_0_5_load_8 | 12 | 0.003149 | 0.00078921 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_34-2_0_5_load_9 | 13 | 0.028797 | 0.0072173 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_34-2_0_5_load_57 | 14 | 0.0088419 | 0.002216 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_34-2_0_5_load_10 | 15 | 0.0012832 | 0.0003216 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_34-2_0_5_load_19 | 16 | 0.001158 | 0.00029023 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_34-2_0_5_load_38 | 21 | 0.0032857 | 0.00082346 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_34-2_0_5_load_30 | 24 | 0.0037465 | 0.00093896 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_34-2_0_5_load_12 | 25 | 0.0020183 | 0.00050583 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_34-2_0_5_load_42 | 27 | 0.0035639 | 0.0008932 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_34-2_0_5_load_55 | 28 | 0.013446 | 0.0033699 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_34-2_0_5_load_94 | 29 | 0.00031313 | 7.8477e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_34-2_0_5_load_74 | 32 | 0.0033362 | 0.00083613 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_34-2_0_5_load_91 | 33 | 0.0033802 | 0.00084716 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_34-2_0_5_load_87 | 34 | 0.0030682 | 0.00076896 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_34-2_0_5_load_32 | 37 | 0.0048208 | 0.0012082 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_34-2_0_5_load_97 | 39 | 0.001347 | 0.0003376 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_34-2_0_5_load_41 | 41 | 0.002953 | 0.00074009 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_34-2_0_5_load_54 | 42 | 0.012015 | 0.0030112 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_34-2_0_5_load_22 | 43 | 0.002393 | 0.00059973 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_34-2_0_5_load_24 | 44 | 0.0016714 | 0.00041888 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_34-2_0_5_load_29 | 45 | 0.0015937 | 0.00039942 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_34-2_0_5_load_25 | 46 | 0.0006833 | 0.00017125 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_34-2_0_5_load_26 | 47 | 0.0016772 | 0.00042035 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_34-2_0_5_load_86 | 49 | 0.0024795 | 0.00062143 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_34-2_0_5_load_27 | 50 | 0.00089503 | 0.00022432 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_34-2_0_5_load_33 | 51 | 0.0012213 | 0.00030608 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_34-2_0_5_load_95 | 52 | 0.0024232 | 0.00060731 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_34-2_0_5_load_62 | 53 | 0.0055992 | 0.0014033 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_34-2_0_5_load_92 | 54 | 0.0026184 | 0.00065623 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_34-2_0_5_load_89 | 55 | 0.018941 | 0.0047471 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_34-2_0_5_load_43 | 56 | 0.002597 | 0.00065086 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_34-2_0_5_load_44 | 57 | 0.0088209 | 0.0022107 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_34-2_0_5_load_75 | 59 | 0.00050499 | 0.00012656 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_34-2_0_5_load_45 | 60 | 0.00048558 | 0.0001217 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_34-2_0_5_load_46 | 61 | 0.0023405 | 0.00058658 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_34-2_0_5_load_48 | 62 | 0.0017813 | 0.00044643 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_34-2_0_5_load_73 | 63 | 0.0014319 | 0.00035887 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_34-2_0_5_load_76 | 65 | 0.0015433 | 0.00038679 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_34-2_0_5_load_69 | 66 | 0.035411 | 0.0088749 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_34-2_0_5_load_84 | 68 | 0.00060971 | 0.00015281 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_34-2_0_5_load_79 | 70 | 0.0020849 | 0.00052252 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_34-2_0_5_load_77 | 71 | 0.011603 | 0.002908 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_34-2_0_5_load_72 | 72 | 0.0017809 | 0.00044633 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_34-2_0_5_load_71 | 73 | 0.019229 | 0.0048193 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_34-2_0_5_load_83 | 77 | 0.0096162 | 0.00241 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_34-2_0_5_load_58 | 78 | 0.035602 | 0.0089226 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_34-2_0_5_load_66 | 79 | 0.027912 | 0.0069954 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_34-2_0_5_load_65 | 80 | 0.043265 | 0.010843 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_34-2_0_5_load_59 | 81 | 0.0028486 | 0.00071392 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_34-2_0_5_load_60 | 82 | 0.0020929 | 0.00052452 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_34-2_0_5_load_63 | 84 | 0.0032427 | 0.00081269 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_34-2_0_5_load_64 | 85 | 0.0013727 | 0.00034404 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_34-2_0_5_load_68 | 87 | 0.031769 | 0.007962 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_34-2_0_5_load_88 | 89 | 0.0019979 | 0.00050072 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_34-2_0_5_load_90 | 90 | 0.023369 | 0.0058567 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_34-2_0_5_load_93 | 91 | 0.0015958 | 0.00039995 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_34-2_0_5_line_0 |  | 0 | 1 | 0.0077086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_34-2_0_5_line_1 |  | 0 | 2 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_34-2_0_5_line_2 |  | 1 | 3 | 0.012223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_34-2_0_5_line_3 |  | 2 | 4 | 0.018924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_34-2_0_5_line_4 |  | 2 | 5 | 0.028607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_34-2_0_5_line_5 |  | 4 | 6 | 0.0083779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_34-2_0_5_line_6 |  | 5 | 7 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_34-2_0_5_line_7 |  | 6 | 8 | 0.025219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_34-2_0_5_line_8 |  | 7 | 9 | 0.0062508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_34-2_0_5_line_9 |  | 8 | 43 | 0.019719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_34-2_0_5_line_10 |  | 8 | 38 | 0.007059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_34-2_0_5_line_11 |  | 9 | 12 | 0.01551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_34-2_0_5_line_12 |  | 10 | 11 | 0.02775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_34-2_0_5_line_13 |  | 10 | 12 | 0.016664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_34-2_0_5_line_14 |  | 11 | 13 | 0.0051836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_34-2_0_5_line_15 |  | 13 | 14 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_34-2_0_5_line_16 |  | 14 | 17 | 0.012439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_34-2_0_5_line_17 |  | 15 | 16 | 0.007516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_34-2_0_5_line_18 |  | 16 | 18 | 0.018165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_34-2_0_5_line_19 |  | 17 | 78 | 0.0027586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_34-2_0_5_line_20 |  | 17 | 42 | 0.0094954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_34-2_0_5_line_21 |  | 18 | 26 | 0.005579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_34-2_0_5_line_22 |  | 18 | 25 | 0.009547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_34-2_0_5_line_23 |  | 19 | 20 | 0.34042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_34-2_0_5_line_24 |  | 19 | 21 | 0.071355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_34-2_0_5_line_25 |  | 20 | 35 | 0.27711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_34-2_0_5_line_26 |  | 21 | 38 | 0.026671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_34-2_0_5_line_27 |  | 22 | 23 | 0.015159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_34-2_0_5_line_28 |  | 22 | 24 | 0.010245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_34-2_0_5_line_29 |  | 23 | 39 | 0.003912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_34-2_0_5_line_30 |  | 24 | 40 | 0.0075869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_34-2_0_5_line_31 |  | 26 | 27 | 0.017163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_34-2_0_5_line_32 |  | 26 | 28 | 0.024056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_34-2_0_5_line_33 |  | 27 | 41 | 0.00041761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_34-2_0_5_line_34 |  | 28 | 42 | 0.0032421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_34-2_0_5_line_35 |  | 29 | 30 | 0.013202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_34-2_0_5_line_36 |  | 30 | 59 | 0.029021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_34-2_0_5_line_37 |  | 30 | 67 | 0.017654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_34-2_0_5_line_38 |  | 31 | 32 | 0.027082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_34-2_0_5_line_39 |  | 31 | 33 | 0.010788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_34-2_0_5_line_40 |  | 31 | 34 | 0.01886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_34-2_0_5_line_41 |  | 32 | 53 | 0.010901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_34-2_0_5_line_42 |  | 33 | 54 | 0.022101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_34-2_0_5_line_43 |  | 35 | 36 | 0.004677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_34-2_0_5_line_44 |  | 35 | 37 | 0.029934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_34-2_0_5_line_45 |  | 36 | 52 | 0.019243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_34-2_0_5_line_46 |  | 37 | 51 | 0.0055229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_34-2_0_5_line_47 |  | 38 | 45 | 0.0077246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_34-2_0_5_line_48 |  | 40 | 45 | 0.02906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_34-2_0_5_line_49 |  | 40 | 50 | 0.015926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_34-2_0_5_line_50 |  | 41 | 56 | 0.007454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_34-2_0_5_line_51 |  | 43 | 44 | 0.0078521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_34-2_0_5_line_52 |  | 44 | 46 | 0.010333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_34-2_0_5_line_53 |  | 46 | 47 | 0.016281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_34-2_0_5_line_54 |  | 47 | 48 | 0.045957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_34-2_0_5_line_55 |  | 48 | 49 | 0.019669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_34-2_0_5_line_56 |  | 49 | 55 | 0.0087435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_34-2_0_5_line_57 |  | 53 | 82 | 0.012082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_34-2_0_5_line_58 |  | 54 | 91 | 0.023371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_34-2_0_5_line_59 |  | 55 | 89 | 0.017255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_34-2_0_5_line_60 |  | 56 | 57 | 0.0058077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_34-2_0_5_line_61 |  | 57 | 58 | 0.012459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_34-2_0_5_line_62 |  | 58 | 59 | 0.02127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_34-2_0_5_line_63 |  | 60 | 61 | 0.0067814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_34-2_0_5_line_64 |  | 61 | 62 | 0.011146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_34-2_0_5_line_65 |  | 62 | 63 | 0.015917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_34-2_0_5_line_66 |  | 63 | 72 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_34-2_0_5_line_67 |  | 64 | 65 | 0.00082144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_34-2_0_5_line_68 |  | 64 | 66 | 0.010965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_34-2_0_5_line_69 |  | 65 | 73 | 0.01214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_34-2_0_5_line_70 |  | 67 | 68 | 0.020085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_34-2_0_5_line_71 |  | 68 | 75 | 0.047007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_34-2_0_5_line_72 |  | 69 | 70 | 0.057122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_34-2_0_5_line_73 |  | 69 | 71 | 0.067066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_34-2_0_5_line_74 |  | 71 | 74 | 0.019409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_34-2_0_5_line_75 |  | 72 | 85 | 0.022823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_34-2_0_5_line_76 |  | 73 | 86 | 0.0084296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_34-2_0_5_line_77 |  | 74 | 75 | 0.010158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_34-2_0_5_line_78 |  | 75 | 76 | 0.0271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_34-2_0_5_line_79 |  | 76 | 77 | 0.026586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_34-2_0_5_line_80 |  | 78 | 79 | 0.029051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_34-2_0_5_line_81 |  | 79 | 80 | 0.011848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_34-2_0_5_line_82 |  | 80 | 88 | 0.007566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_34-2_0_5_line_83 |  | 81 | 82 | 0.012092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_34-2_0_5_line_84 |  | 81 | 83 | 0.013836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_34-2_0_5_line_85 |  | 83 | 84 | 0.01902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_34-2_0_5_line_86 |  | 83 | 85 | 0.0084576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_34-2_0_5_line_87 |  | 84 | 86 | 0.0089431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_34-2_0_5_line_88 |  | 86 | 87 | 0.0060553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_34-2_0_5_line_89 |  | 87 | 88 | 0.011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_34-2_0_5_line_90 |  | 89 | 90 | 0.016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_34-2_0_5_trafo_9 | 0.63 MVA 20/0.4 kV | 92 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2689691.6708 | 1280553.2475 | 2689693.0206 | 1280553.0498 | 2689699.3396 | 1280552.4829
1 | 2689675.4574 | 1280557.5643 | 2689685.3191 | 1280554.1781 | 2689691.6708 | 1280553.2475
2 | 2689711.5136 | 1280551.3909 | 2689699.3396 | 1280552.4829
3 | 2689675.4574 | 1280557.5643 | 2689668.0835 | 1280540.1262
4 | 2689675.4574 | 1280557.5643 | 2689686.6402 | 1280583.8946
5 | 2689668.0835 | 1280540.1262 | 2689664.5797 | 1280532.5161
6 | 2689686.6402 | 1280583.8946 | 2689693.964 | 1280601.1385
7 | 2689650.5394 | 1280511.7796 | 2689660.9576 | 1280524.649 | 2689664.5797 | 1280532.5161
8 | 2689696.4075 | 1280606.8919 | 2689693.964 | 1280601.1385
9 | 2689650.5394 | 1280511.7796 | 2689638.1477 | 1280527.119
10 | 2689653.387 | 1280505.3173 | 2689650.5394 | 1280511.7796
11 | 2689696.4075 | 1280606.8919 | 2689702.1069 | 1280621.3243
12 | 2689686.9621 | 1280628.2768 | 2689674.3457 | 1280634.0686 | 2689661.9838 | 1280640.3527
13 | 2689702.1069 | 1280621.3243 | 2689686.9621 | 1280628.2768
14 | 2689660.165 | 1280644.8622 | 2689660.1089 | 1280642.6261 | 2689661.9838 | 1280640.3527 | 2689661.9838 | 1280640.3527
15 | 2689669.2465 | 1280660.2478 | 2689660.8028 | 1280647.3741 | 2689660.165 | 1280644.8622 | 2689660.165 | 1280644.8622
16 | 2689674.0624 | 1280671.4408 | 2689673.158 | 1280666.2114 | 2689669.2465 | 1280660.2478
17 | 2689710.1317 | 1280648.3557 | 2689711.4955 | 1280652.9498 | 2689712.1359 | 1280655.5972
18 | 2689716.4069 | 1280673.253 | 2689712.1359 | 1280655.5972
19 | 2689674.0624 | 1280671.4408 | 2689671.3041 | 1280671.4852
20 | 2689674.0624 | 1280671.4408 | 2689683.5528 | 1280671.7481
21 | 2689716.4069 | 1280673.253 | 2689710.8137 | 1280673.0678
22 | 2689716.4069 | 1280673.253 | 2689725.9475 | 1280673.5996
23 | 2689314.3399 | 1280252.1341 | 2689307.4457 | 1280268.3769 | 2689368.3135 | 1280300.671 | 2689400.9566 | 1280322.2064 | 2689441.5476 | 1280353.5931 | 2689564.3168 | 1280452.73 | 2689569.1319 | 1280455.6946
24 | 2689569.1319 | 1280455.6946 | 2689613.3524 | 1280483.9128 | 2689629.5501 | 1280493.6471
25 | 2689283.0643 | 1280062.454 | 2689295.2973 | 1280046.381 | 2689365.1444 | 1280093.0566 | 2689370.7792 | 1280097.4679 | 2689369.7049 | 1280106.3926 | 2689366.5795 | 1280120.7798 | 2689361.5396 | 1280143.0224 | 2689356.7879 | 1280160.1317 | 2689349.8825 | 1280180.5668 | 2689314.3399 | 1280252.1341
26 | 2689653.387 | 1280505.3173 | 2689644.5007 | 1280502.3575 | 2689636.1895 | 1280497.6382 | 2689634.9762 | 1280496.9081 | 2689629.5501 | 1280493.6471
27 | 2689707.6257 | 1280508.4781 | 2689708.0635 | 1280523.6311
28 | 2689707.6257 | 1280508.4781 | 2689697.4009 | 1280509.1147
29 | 2689708.0635 | 1280523.6311 | 2689704.1591 | 1280524.0165
30 | 2689689.8287 | 1280509.5862 | 2689697.4009 | 1280509.1147
31 | 2689710.8137 | 1280673.0678 | 2689716.2784 | 1280689.338
32 | 2689710.8137 | 1280673.0678 | 2689699.3335 | 1280672.2591 | 2689686.7932 | 1280671.853
33 | 2689716.2784 | 1280689.338 | 2689716.4113 | 1280689.7339
34 | 2689683.5528 | 1280671.7481 | 2689686.7932 | 1280671.853
35 | 2689735.4924 | 1280748.786 | 2689745.3568 | 1280740.0116
36 | 2689735.4924 | 1280748.786 | 2689720.3319 | 1280724.0398
37 | 2689735.4924 | 1280748.786 | 2689721.065 | 1280759.0197
38 | 2689534.5146 | 1280641.2947 | 2689551.7358 | 1280662.1963
39 | 2689534.5146 | 1280641.2947 | 2689526.0913 | 1280648.0342
40 | 2689534.5146 | 1280641.2947 | 2689550.1486 | 1280630.7452
41 | 2689558.6676 | 1280670.6095 | 2689551.7358 | 1280662.1963
42 | 2689526.0913 | 1280648.0342 | 2689508.834 | 1280661.8417
43 | 2689283.0643 | 1280062.454 | 2689286.9151 | 1280065.1257
44 | 2689283.0643 | 1280062.454 | 2689263.8302 | 1280085.3912
45 | 2689286.9151 | 1280065.1257 | 2689286.8083 | 1280066.7254 | 2689287.7107 | 1280070.1309 | 2689289.6645 | 1280073.063 | 2689292.464 | 1280075.2183 | 2689295.8046 | 1280076.3587 | 2689299.3352 | 1280076.3678
46 | 2689263.8302 | 1280085.3912 | 2689260.2815 | 1280089.6231
47 | 2689653.387 | 1280505.3173 | 2689660.9676 | 1280506.8023
48 | 2689689.8287 | 1280509.5862 | 2689679.0368 | 1280509.4331 | 2689665.5123 | 1280507.6926 | 2689660.9676 | 1280506.8023
49 | 2689689.8287 | 1280509.5862 | 2689689.9005 | 1280511.7781 | 2689690.0642 | 1280515.3391 | 2689690.5848 | 1280525.4939
50 | 2689716.4113 | 1280689.7339 | 2689716.4113 | 1280689.7339 | 2689709.5038 | 1280692.5352
51 | 2689638.1477 | 1280527.119 | 2689633.2134 | 1280533.227
52 | 2689626.7202 | 1280541.2647 | 2689633.2134 | 1280533.227
53 | 2689626.7202 | 1280541.2647 | 2689616.4889 | 1280553.9297
54 | 2689587.6093 | 1280589.679 | 2689616.4889 | 1280553.9297
55 | 2689587.6093 | 1280589.679 | 2689602.2714 | 1280602.789
56 | 2689608.7893 | 1280608.617 | 2689608.7893 | 1280608.617 | 2689602.2714 | 1280602.789
57 | 2689566.3507 | 1280679.9344 | 2689558.6676 | 1280670.6095
58 | 2689508.834 | 1280661.8417 | 2689500.0461 | 1280668.8729 | 2689490.5438 | 1280676.39
59 | 2689621.7318 | 1280597.2047 | 2689608.7893 | 1280608.617
60 | 2689709.5038 | 1280692.5352 | 2689704.1219 | 1280694.7179 | 2689704.1219 | 1280694.7179
61 | 2689708.4962 | 1280706.3833 | 2689704.1219 | 1280694.7179
62 | 2689708.4962 | 1280706.3833 | 2689715.535 | 1280716.2099 | 2689720.3319 | 1280724.0398
63 | 2689514.5991 | 1280750.072 | 2689520.0644 | 1280746.0574
64 | 2689529.0474 | 1280739.4587 | 2689520.0644 | 1280746.0574
65 | 2689541.8755 | 1280730.0355 | 2689529.0474 | 1280739.4587
66 | 2689557.6285 | 1280718.4638 | 2689541.8755 | 1280730.0355
67 | 2689617.9468 | 1280705.8506 | 2689617.5522 | 1280705.1302
68 | 2689617.9468 | 1280705.8506 | 2689620.5969 | 1280695.211
69 | 2689617.5522 | 1280705.1302 | 2689611.7205 | 1280694.4828
70 | 2689721.065 | 1280759.0197 | 2689719.8157 | 1280767.0743 | 2689709.8335 | 1280773.6144
71 | 2689714.6227 | 1280811.1553 | 2689708.2324 | 1280800.182 | 2689699.4847 | 1280787.16 | 2689700.5902 | 1280779.6704 | 2689709.8335 | 1280773.6144
72 | 2689647.853 | 1280797.4615 | 2689608.0797 | 1280801.4827 | 2689592.2705 | 1280808.12
73 | 2689647.853 | 1280797.4615 | 2689661.8279 | 1280830.2799 | 2689675.3652 | 1280834.089 | 2689690.7236 | 1280827.8172 | 2689691.399 | 1280827.5062
74 | 2689709.0291 | 1280819.3884 | 2689691.399 | 1280827.5062
75 | 2689557.6285 | 1280718.4638 | 2689576.0219 | 1280704.9525
76 | 2689607.6711 | 1280687.0895 | 2689611.7205 | 1280694.4828
77 | 2689709.0291 | 1280819.3884 | 2689711.2091 | 1280814.3394 | 2689714.6227 | 1280811.1553
78 | 2689714.6227 | 1280811.1553 | 2689726.3342 | 1280831.2841 | 2689729.1722 | 1280833.8295
79 | 2689729.1722 | 1280833.8295 | 2689748.2729 | 1280815.3365
80 | 2689642.624 | 1280675.1255 | 2689647.6262 | 1280673.6407 | 2689660.2229 | 1280671.6639 | 2689671.3041 | 1280671.4852
81 | 2689631.3032 | 1280678.6149 | 2689634.6177 | 1280677.5019 | 2689642.624 | 1280675.1255
82 | 2689624.1307 | 1280681.0233 | 2689631.3032 | 1280678.6149
83 | 2689574.04 | 1280689.2671 | 2689566.3507 | 1280679.9344
84 | 2689582.8381 | 1280699.9455 | 2689574.04 | 1280689.2671
85 | 2689582.8381 | 1280699.9455 | 2689599.7292 | 1280691.201
86 | 2689582.8381 | 1280699.9455 | 2689576.0219 | 1280704.9525
87 | 2689607.6711 | 1280687.0895 | 2689599.7292 | 1280691.201
88 | 2689607.6711 | 1280687.0895 | 2689613.3528 | 1280684.9955
89 | 2689624.1307 | 1280681.0233 | 2689613.3528 | 1280684.9955
90 | 2689633.7591 | 1280603.581 | 2689624.8693 | 1280594.438 | 2689621.7318 | 1280597.2047

## bus_geodata
| x | y | coords
0 | 2689691.6708 | 1280553.2475
1 | 2689699.3396 | 1280552.4829
2 | 2689675.4574 | 1280557.5643
3 | 2689711.5136 | 1280551.3909
4 | 2689668.0835 | 1280540.1262
5 | 2689686.6402 | 1280583.8946
6 | 2689664.5797 | 1280532.5161
7 | 2689693.964 | 1280601.1385
8 | 2689650.5394 | 1280511.7796
9 | 2689696.4075 | 1280606.8919
10 | 2689686.9621 | 1280628.2768
11 | 2689661.9838 | 1280640.3527
12 | 2689702.1069 | 1280621.3243
13 | 2689660.165 | 1280644.8622
14 | 2689669.2465 | 1280660.2478
15 | 2689710.1317 | 1280648.3557
16 | 2689712.1359 | 1280655.5972
17 | 2689674.0624 | 1280671.4408
18 | 2689716.4069 | 1280673.253
19 | 2689569.1319 | 1280455.6946
20 | 2689314.3399 | 1280252.1341
21 | 2689629.5501 | 1280493.6471
22 | 2689707.6257 | 1280508.4781
23 | 2689708.0635 | 1280523.6311
24 | 2689697.4009 | 1280509.1147
25 | 2689725.9475 | 1280673.5996
26 | 2689710.8137 | 1280673.0678
27 | 2689716.2784 | 1280689.338
28 | 2689686.7932 | 1280671.853
29 | 2689745.3568 | 1280740.0116
30 | 2689735.4924 | 1280748.786
31 | 2689534.5146 | 1280641.2947
32 | 2689551.7358 | 1280662.1963
33 | 2689526.0913 | 1280648.0342
34 | 2689550.1486 | 1280630.7452
35 | 2689283.0643 | 1280062.454
36 | 2689286.9151 | 1280065.1257
37 | 2689263.8302 | 1280085.3912
38 | 2689653.387 | 1280505.3173
39 | 2689704.1591 | 1280524.0165
40 | 2689689.8287 | 1280509.5862
41 | 2689716.4113 | 1280689.7339
42 | 2689683.5528 | 1280671.7481
43 | 2689638.1477 | 1280527.119
44 | 2689633.2134 | 1280533.227
45 | 2689660.9676 | 1280506.8023
46 | 2689626.7202 | 1280541.2647
47 | 2689616.4889 | 1280553.9297
48 | 2689587.6093 | 1280589.679
49 | 2689602.2714 | 1280602.789
50 | 2689690.5848 | 1280525.4939
51 | 2689260.2815 | 1280089.6231
52 | 2689299.3352 | 1280076.3678
53 | 2689558.6676 | 1280670.6095
54 | 2689508.834 | 1280661.8417
55 | 2689608.7893 | 1280608.617
56 | 2689709.5038 | 1280692.5352
57 | 2689704.1219 | 1280694.7179
58 | 2689708.4962 | 1280706.3833
59 | 2689720.3319 | 1280724.0398
60 | 2689514.5991 | 1280750.072
61 | 2689520.0644 | 1280746.0574
62 | 2689529.0474 | 1280739.4587
63 | 2689541.8755 | 1280730.0355
64 | 2689617.9468 | 1280705.8506
65 | 2689617.5522 | 1280705.1302
66 | 2689620.5969 | 1280695.211
67 | 2689721.065 | 1280759.0197
68 | 2689709.8335 | 1280773.6144
69 | 2689647.853 | 1280797.4615
70 | 2689592.2705 | 1280808.12
71 | 2689691.399 | 1280827.5062
72 | 2689557.6285 | 1280718.4638
73 | 2689611.7205 | 1280694.4828
74 | 2689709.0291 | 1280819.3884
75 | 2689714.6227 | 1280811.1553
76 | 2689729.1722 | 1280833.8295
77 | 2689748.2729 | 1280815.3365
78 | 2689671.3041 | 1280671.4852
79 | 2689642.624 | 1280675.1255
80 | 2689631.3032 | 1280678.6149
81 | 2689574.04 | 1280689.2671
82 | 2689566.3507 | 1280679.9344
83 | 2689582.8381 | 1280699.9455
84 | 2689599.7292 | 1280691.201
85 | 2689576.0219 | 1280704.9525
86 | 2689607.6711 | 1280687.0895
87 | 2689613.3528 | 1280684.9955
88 | 2689624.1307 | 1280681.0233
89 | 2689621.7318 | 1280597.2047
90 | 2689633.7591 | 1280603.581
91 | 2689490.5438 | 1280676.39
92 | 2689674.0624 | 1280671.4408

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1