## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3426-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3426-9_0_3_node_167 | 0.4 | n |  | TRUE
2 | bus_LV_3426-9_0_3_node_166 | 0.4 | n |  | TRUE
3 | bus_LV_3426-9_0_3_node_172 | 0.4 | n |  | TRUE
4 | bus_LV_3426-9_0_3_node_158 | 0.4 | n |  | TRUE
5 | bus_LV_3426-9_0_3_node_170 | 0.4 | n |  | TRUE
6 | bus_LV_3426-9_0_3_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_3426-9_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_3426-9_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3426-9_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3426-9_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3426-9_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3426-9_0_3_node_148 | 0.4 | n |  | TRUE
13 | bus_LV_3426-9_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3426-9_0_3_node_149 | 0.4 | n |  | TRUE
15 | bus_LV_3426-9_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3426-9_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3426-9_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3426-9_0_3_node_109 | 0.4 | n |  | TRUE
19 | bus_LV_3426-9_0_3_node_124 | 0.4 | n |  | TRUE
20 | bus_LV_3426-9_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_3426-9_0_3_node_126 | 0.4 | n |  | TRUE
22 | bus_LV_3426-9_0_3_node_122 | 0.4 | n |  | TRUE
23 | bus_LV_3426-9_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3426-9_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3426-9_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3426-9_0_3_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_3426-9_0_3_node_118 | 0.4 | n |  | TRUE
28 | bus_LV_3426-9_0_3_node_117 | 0.4 | n |  | TRUE
29 | bus_LV_3426-9_0_3_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_3426-9_0_3_node_105 | 0.4 | n |  | TRUE
31 | bus_LV_3426-9_0_3_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_3426-9_0_3_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_3426-9_0_3_node_111 | 0.4 | n |  | TRUE
34 | bus_LV_3426-9_0_3_node_110 | 0.4 | n |  | TRUE
35 | bus_LV_3426-9_0_3_node_120 | 0.4 | n |  | TRUE
36 | bus_LV_3426-9_0_3_node_115 | 0.4 | n |  | TRUE
37 | bus_LV_3426-9_0_3_node_103 | 0.4 | n |  | TRUE
38 | bus_LV_3426-9_0_3_node_101 | 0.4 | n |  | TRUE
39 | bus_LV_3426-9_0_3_node_106 | 0.4 | n |  | TRUE
40 | bus_LV_3426-9_0_3_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_3426-9_0_3_node_107 | 0.4 | n |  | TRUE
42 | bus_LV_3426-9_0_3_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_3426-9_0_3_node_127 | 0.4 | n |  | TRUE
44 | bus_LV_3426-9_0_3_node_128 | 0.4 | n |  | TRUE
45 | bus_LV_3426-9_0_3_node_147 | 0.4 | n |  | TRUE
46 | bus_LV_3426-9_0_3_node_133 | 0.4 | n |  | TRUE
47 | bus_LV_3426-9_0_3_node_132 | 0.4 | n |  | TRUE
48 | bus_LV_3426-9_0_3_node_114 | 0.4 | n |  | TRUE
49 | bus_LV_3426-9_0_3_node_108 | 0.4 | n |  | TRUE
50 | bus_LV_3426-9_0_3_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_3426-9_0_3_node_129 | 0.4 | n |  | TRUE
52 | bus_LV_3426-9_0_3_node_125 | 0.4 | n |  | TRUE
53 | bus_LV_3426-9_0_3_node_112 | 0.4 | n |  | TRUE
54 | bus_LV_3426-9_0_3_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_3426-9_0_3_node_121 | 0.4 | n |  | TRUE
56 | bus_LV_3426-9_0_3_node_123 | 0.4 | n |  | TRUE
57 | bus_LV_3426-9_0_3_node_130 | 0.4 | n |  | TRUE
58 | bus_LV_3426-9_0_3_node_174 | 0.4 | n |  | TRUE
59 | bus_LV_3426-9_0_3_node_138 | 0.4 | n |  | TRUE
60 | bus_LV_3426-9_0_3_node_131 | 0.4 | n |  | TRUE
61 | bus_LV_3426-9_0_3_node_142 | 0.4 | n |  | TRUE
62 | bus_LV_3426-9_0_3_node_134 | 0.4 | n |  | TRUE
63 | bus_LV_3426-9_0_3_node_135 | 0.4 | n |  | TRUE
64 | bus_LV_3426-9_0_3_node_136 | 0.4 | n |  | TRUE
65 | bus_LV_3426-9_0_3_node_137 | 0.4 | n |  | TRUE
66 | bus_LV_3426-9_0_3_node_139 | 0.4 | n |  | TRUE
67 | bus_LV_3426-9_0_3_node_140 | 0.4 | n |  | TRUE
68 | bus_LV_3426-9_0_3_node_141 | 0.4 | n |  | TRUE
69 | bus_LV_3426-9_0_3_node_151 | 0.4 | n |  | TRUE
70 | bus_LV_3426-9_0_3_node_145 | 0.4 | n |  | TRUE
71 | bus_LV_3426-9_0_3_node_150 | 0.4 | n |  | TRUE
72 | bus_LV_3426-9_0_3_node_143 | 0.4 | n |  | TRUE
73 | bus_LV_3426-9_0_3_node_144 | 0.4 | n |  | TRUE
74 | bus_LV_3426-9_0_3_node_152 | 0.4 | n |  | TRUE
75 | bus_LV_3426-9_0_3_node_165 | 0.4 | n |  | TRUE
76 | bus_LV_3426-9_0_3_node_157 | 0.4 | n |  | TRUE
77 | bus_LV_3426-9_0_3_node_153 | 0.4 | n |  | TRUE
78 | bus_LV_3426-9_0_3_node_154 | 0.4 | n |  | TRUE
79 | bus_LV_3426-9_0_3_node_155 | 0.4 | n |  | TRUE
80 | bus_LV_3426-9_0_3_node_156 | 0.4 | n |  | TRUE
81 | bus_LV_3426-9_0_3_node_164 | 0.4 | n |  | TRUE
82 | bus_LV_3426-9_0_3_node_162 | 0.4 | n |  | TRUE
83 | bus_LV_3426-9_0_3_node_159 | 0.4 | n |  | TRUE
84 | bus_LV_3426-9_0_3_node_160 | 0.4 | n |  | TRUE
85 | bus_LV_3426-9_0_3_node_161 | 0.4 | n |  | TRUE
86 | bus_LV_3426-9_0_3_node_173 | 0.4 | n |  | TRUE
87 | bus_LV_3426-9_0_3_node_169 | 0.4 | n |  | TRUE
88 | bus_LV_3426-9_0_3_node_171 | 0.4 | n |  | TRUE
89 | bus_LV_3426-9_0_3_node_168 | 0.4 | n |  | TRUE
90 | bus_MV_408_1_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3426-9_0_3_load_0 | 0 | 0.0033399 | 0.00083707 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3426-9_0_3_load_167 | 1 | 0.0039653 | 0.0009938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3426-9_0_3_load_166 | 2 | 0.0031551 | 0.00079074 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3426-9_0_3_load_172 | 3 | 0.0034952 | 0.00087598 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3426-9_0_3_load_158 | 4 | 0.0040012 | 0.0010028 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3426-9_0_3_load_170 | 5 | 0.0025983 | 0.0006512 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3426-9_0_3_load_3 | 7 | 0.0020769 | 0.00052052 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3426-9_0_3_load_5 | 9 | 0.0038469 | 0.00096412 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3426-9_0_3_load_8 | 11 | 0.0023199 | 0.00058143 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3426-9_0_3_load_148 | 12 | 0.0022708 | 0.00056912 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3426-9_0_3_load_6 | 13 | 0.0030711 | 0.00076969 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3426-9_0_3_load_149 | 14 | 0.00118 | 0.00029573 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3426-9_0_3_load_9 | 15 | 0.008135 | 0.0020388 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3426-9_0_3_load_10 | 16 | 0.020046 | 0.0050239 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3426-9_0_3_load_20 | 20 | 0.0035228 | 0.00088289 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3426-9_0_3_load_122 | 22 | 0.0058334 | 0.001462 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3426-9_0_3_load_17 | 23 | 0.0056962 | 0.0014276 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3426-9_0_3_load_18 | 24 | 0.0049869 | 0.0012498 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3426-9_0_3_load_19 | 25 | 0.0035877 | 0.00089917 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3426-9_0_3_load_117 | 28 | 0.0041364 | 0.0010367 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3426-9_0_3_load_105 | 30 | 0.0041966 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3426-9_0_3_load_102 | 32 | 0.0093141 | 0.0023343 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3426-9_0_3_load_111 | 33 | 0.0065194 | 0.0016339 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3426-9_0_3_load_110 | 34 | 0.018704 | 0.0046876 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3426-9_0_3_load_115 | 36 | 0.009055 | 0.0022694 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3426-9_0_3_load_103 | 37 | 0.0020418 | 0.00051173 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3426-9_0_3_load_101 | 38 | 0.0071422 | 0.00179 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3426-9_0_3_load_106 | 39 | 0.0015092 | 0.00037824 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3426-9_0_3_load_119 | 40 | 0.0054835 | 0.0013743 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3426-9_0_3_load_147 | 45 | 0.0020339 | 0.00050975 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3426-9_0_3_load_133 | 46 | 0.0015065 | 0.00037756 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3426-9_0_3_load_132 | 47 | 0.0018987 | 0.00047586 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3426-9_0_3_load_116 | 50 | 0.0011262 | 0.00028226 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3426-9_0_3_load_129 | 51 | 0.0025001 | 0.00062659 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3426-9_0_3_load_112 | 53 | 0.004043 | 0.0010133 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3426-9_0_3_load_113 | 54 | 0.002256 | 0.0005654 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3426-9_0_3_load_121 | 55 | 0.0063725 | 0.0015971 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3426-9_0_3_load_123 | 56 | 0.015125 | 0.0037907 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3426-9_0_3_load_130 | 57 | 0.0022187 | 0.00055606 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3426-9_0_3_load_174 | 58 | 0.04044 | 0.010135 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3426-9_0_3_load_138 | 59 | 0.0046582 | 0.0011675 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3426-9_0_3_load_131 | 60 | 0.0024593 | 0.00061635 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3426-9_0_3_load_142 | 61 | 0.0072931 | 0.0018278 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3426-9_0_3_load_134 | 62 | 0.014748 | 0.0036962 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3426-9_0_3_load_135 | 63 | 0.0011874 | 0.00029758 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3426-9_0_3_load_136 | 64 | 0.0094311 | 0.0023637 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3426-9_0_3_load_139 | 66 | 0.0031676 | 0.00079387 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3426-9_0_3_load_140 | 67 | 0.0019041 | 0.00047722 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3426-9_0_3_load_151 | 69 | 0.0020751 | 0.00052007 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3426-9_0_3_load_145 | 70 | 0.0017666 | 0.00044275 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3426-9_0_3_load_143 | 72 | 0.0022872 | 0.00057323 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3426-9_0_3_load_144 | 73 | 0.004066 | 0.001019 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3426-9_0_3_load_152 | 74 | 0.0006263 | 0.00015696 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3426-9_0_3_load_165 | 75 | 0.0040349 | 0.0010112 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3426-9_0_3_load_157 | 76 | 0.0023876 | 0.00059838 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3426-9_0_3_load_153 | 77 | 0.0023786 | 0.00059614 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3426-9_0_3_load_154 | 78 | 0.0034532 | 0.00086545 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3426-9_0_3_load_156 | 80 | 0.0020135 | 0.00050464 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3426-9_0_3_load_164 | 81 | 0.0016385 | 0.00041065 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3426-9_0_3_load_162 | 82 | 0.004334 | 0.0010862 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3426-9_0_3_load_159 | 83 | 0.0042617 | 0.0010681 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3426-9_0_3_load_160 | 84 | 0.0020587 | 0.00051597 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3426-9_0_3_load_161 | 85 | 0.0045917 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3426-9_0_3_load_173 | 86 | 0.0044696 | 0.0011202 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3426-9_0_3_load_169 | 87 | 0.0029134 | 0.00073017 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3426-9_0_3_load_171 | 88 | 0.0021655 | 0.00054272 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3426-9_0_3_load_168 | 89 | 0.0014143 | 0.00035445 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3426-9_0_3_line_0 |  | 0 | 1 | 0.12961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3426-9_0_3_line_1 |  | 1 | 2 | 0.036304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3426-9_0_3_line_2 |  | 2 | 89 | 0.025105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3426-9_0_3_line_3 |  | 3 | 4 | 0.022675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3426-9_0_3_line_4 |  | 3 | 5 | 0.021156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3426-9_0_3_line_5 |  | 4 | 79 | 0.027496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3426-9_0_3_line_6 |  | 5 | 88 | 0.025241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3426-9_0_3_line_7 |  | 6 | 7 | 0.053812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3426-9_0_3_line_8 |  | 6 | 8 | 0.028383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3426-9_0_3_line_9 |  | 6 | 9 | 0.07347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3426-9_0_3_line_10 |  | 8 | 10 | 0.018626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3426-9_0_3_line_11 |  | 8 | 11 | 0.049662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3426-9_0_3_line_12 |  | 9 | 12 | 0.029631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3426-9_0_3_line_13 |  | 10 | 13 | 0.023967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3426-9_0_3_line_14 |  | 12 | 14 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3426-9_0_3_line_15 |  | 14 | 71 | 0.012397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3426-9_0_3_line_16 |  | 15 | 16 | 0.040277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3426-9_0_3_line_17 |  | 16 | 17 | 0.017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3426-9_0_3_line_18 |  | 17 | 18 | 0.010791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3426-9_0_3_line_19 |  | 17 | 19 | 0.003362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3426-9_0_3_line_20 |  | 18 | 20 | 0.046189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3426-9_0_3_line_21 |  | 19 | 21 | 0.033492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_3426-9_0_3_line_22 |  | 19 | 22 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_3426-9_0_3_line_23 |  | 20 | 25 | 0.024007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3426-9_0_3_line_24 |  | 21 | 58 | 0.039859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3426-9_0_3_line_25 |  | 21 | 59 | 0.017628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_3426-9_0_3_line_26 |  | 22 | 56 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3426-9_0_3_line_27 |  | 23 | 24 | 0.025796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3426-9_0_3_line_28 |  | 24 | 25 | 0.00081493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3426-9_0_3_line_29 |  | 26 | 27 | 0.010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3426-9_0_3_line_30 |  | 26 | 28 | 0.025114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3426-9_0_3_line_31 |  | 27 | 35 | 0.016132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3426-9_0_3_line_32 |  | 27 | 33 | 0.023826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3426-9_0_3_line_33 |  | 29 | 30 | 0.026716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3426-9_0_3_line_34 |  | 29 | 31 | 0.069889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3426-9_0_3_line_35 |  | 29 | 32 | 0.027505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3426-9_0_3_line_36 |  | 30 | 36 | 0.0034274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3426-9_0_3_line_37 |  | 31 | 33 | 0.019299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3426-9_0_3_line_38 |  | 31 | 34 | 0.013188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3426-9_0_3_line_39 |  | 32 | 37 | 0.025311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3426-9_0_3_line_40 |  | 35 | 55 | 0.027884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3426-9_0_3_line_41 |  | 35 | 40 | 0.014258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3426-9_0_3_line_42 |  | 36 | 48 | 0.033227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3426-9_0_3_line_43 |  | 38 | 39 | 0.013967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3426-9_0_3_line_44 |  | 39 | 41 | 0.011338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3426-9_0_3_line_45 |  | 41 | 49 | 0.0047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3426-9_0_3_line_46 |  | 42 | 43 | 0.020426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3426-9_0_3_line_47 |  | 42 | 44 | 0.028255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_3426-9_0_3_line_48 |  | 43 | 45 | 0.023522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3426-9_0_3_line_49 |  | 44 | 46 | 0.016465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3426-9_0_3_line_50 |  | 44 | 47 | 0.0034577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_3426-9_0_3_line_51 |  | 45 | 61 | 0.017368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3426-9_0_3_line_52 |  | 47 | 60 | 0.029096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3426-9_0_3_line_53 |  | 48 | 50 | 0.021449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3426-9_0_3_line_54 |  | 48 | 53 | 0.014215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3426-9_0_3_line_55 |  | 49 | 50 | 0.0033016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3426-9_0_3_line_56 |  | 49 | 51 | 0.022644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3426-9_0_3_line_57 |  | 51 | 52 | 0.028409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3426-9_0_3_line_58 |  | 52 | 57 | 0.010763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_3426-9_0_3_line_59 |  | 52 | 56 | 0.0039979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_3426-9_0_3_line_60 |  | 53 | 54 | 0.0024118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3426-9_0_3_line_61 |  | 57 | 60 | 0.025465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_3426-9_0_3_line_62 |  | 61 | 65 | 0.026001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3426-9_0_3_line_63 |  | 62 | 63 | 0.030121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3426-9_0_3_line_64 |  | 62 | 64 | 0.0045287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3426-9_0_3_line_65 |  | 63 | 65 | 0.027285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3426-9_0_3_line_66 |  | 65 | 66 | 0.018397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3426-9_0_3_line_67 |  | 66 | 67 | 0.0039034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3426-9_0_3_line_68 |  | 67 | 68 | 0.016873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3426-9_0_3_line_69 |  | 68 | 69 | 0.0011099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3426-9_0_3_line_70 |  | 68 | 70 | 0.024248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3426-9_0_3_line_71 |  | 69 | 71 | 0.022725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3426-9_0_3_line_72 |  | 70 | 72 | 0.0077105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3426-9_0_3_line_73 |  | 71 | 74 | 0.019286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3426-9_0_3_line_74 |  | 72 | 73 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3426-9_0_3_line_75 |  | 74 | 75 | 0.014366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3426-9_0_3_line_76 |  | 75 | 76 | 0.021362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3426-9_0_3_line_77 |  | 76 | 79 | 0.0092649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3426-9_0_3_line_78 |  | 77 | 78 | 0.0076711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3426-9_0_3_line_79 |  | 77 | 79 | 0.0081834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3426-9_0_3_line_80 |  | 78 | 80 | 0.01221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3426-9_0_3_line_81 |  | 80 | 81 | 0.0062133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3426-9_0_3_line_82 |  | 81 | 82 | 0.0056051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3426-9_0_3_line_83 |  | 82 | 84 | 0.00055297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3426-9_0_3_line_84 |  | 83 | 84 | 0.020934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3426-9_0_3_line_85 |  | 83 | 85 | 0.0057025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3426-9_0_3_line_86 |  | 86 | 87 | 0.028449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3426-9_0_3_line_87 |  | 86 | 88 | 0.02193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3426-9_0_3_line_88 |  | 87 | 89 | 0.024861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3426-9_0_3_trafo_138 | 0.63 MVA 20/0.4 kV | 90 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2725772.2418 | 1259901.3934 | 2725897.572 | 1259868.3704
1 | 2725737.1315 | 1259910.6268 | 2725772.2418 | 1259901.3934
2 | 2725737.1315 | 1259910.6268 | 2725712.8522 | 1259917.0118
3 | 2725736.6443 | 1259843.3918 | 2725742.5317 | 1259865.2896 | 2725742.5317 | 1259865.2896
4 | 2725732.0429 | 1259880.8965 | 2725736.3626 | 1259879.5491 | 2725739.5109 | 1259877.225 | 2725741.3961 | 1259874.3736 | 2725742.3016 | 1259871.5014 | 2725742.8843 | 1259868.5667 | 2725742.5317 | 1259865.2896
5 | 2725725.3666 | 1259818.7164 | 2725733.1342 | 1259830.3363 | 2725736.6443 | 1259843.3918
6 | 2725732.0429 | 1259880.8965 | 2725707.9467 | 1259888.4123
7 | 2725840.5568 | 1259702.9609 | 2725833.8377 | 1259676.7945 | 2725826.3859 | 1259651.0462
8 | 2725868.4061 | 1259697.0812 | 2725840.5568 | 1259702.9609
9 | 2725840.5568 | 1259702.9609 | 2725803.8649 | 1259717.2713 | 2725772.7797 | 1259731.2562
10 | 2725886.7298 | 1259693.4566 | 2725868.4061 | 1259697.0812
11 | 2725868.4061 | 1259697.0812 | 2725857.1399 | 1259653.9473 | 2725856.1584 | 1259652.5919 | 2725854.8066 | 1259651.6289 | 2725853.1342 | 1259651.1213
12 | 2725772.7797 | 1259731.2562 | 2725747.5233 | 1259742.6188 | 2725745.7864 | 1259743.4742
13 | 2725886.7298 | 1259693.4566 | 2725886.0748 | 1259669.4988
14 | 2725727.9917 | 1259752.2373 | 2725745.7864 | 1259743.4742
15 | 2725716.8697 | 1259757.7144 | 2725727.9917 | 1259752.2373
16 | 2725810.6759 | 1259608.0013 | 2725807.3002 | 1259608.6246 | 2725774.9247 | 1259609.9821 | 2725770.4902 | 1259609.7512
17 | 2725754.7245 | 1259605.0484 | 2725757.9559 | 1259609.0984 | 2725770.4902 | 1259609.7512
18 | 2725754.7245 | 1259605.0484 | 2725764.3668 | 1259600.1489
19 | 2725754.7245 | 1259605.0484 | 2725751.6202 | 1259606.3613
20 | 2725764.3668 | 1259600.1489 | 2725806.3644 | 1259580.9231
21 | 2725751.6202 | 1259606.3613 | 2725750.8067 | 1259613.0612 | 2725743.3537 | 1259638.7481
22 | 2725751.6202 | 1259606.3613 | 2725743.9962 | 1259609.6023 | 2725737.8179 | 1259611.2845
23 | 2725806.3644 | 1259580.9231 | 2725808.0797 | 1259580.1378 | 2725825.3676 | 1259570.2854 | 2725827.4272 | 1259569.4508
24 | 2725743.3537 | 1259638.7481 | 2725763.3365 | 1259657.4451 | 2725775.2163 | 1259653.3383
25 | 2725743.3537 | 1259638.7481 | 2725733.7577 | 1259653.5356
26 | 2725737.8179 | 1259611.2845 | 2725727.1372 | 1259614.1926 | 2725721.392 | 1259616.6617 | 2725719.4804 | 1259617.7831
27 | 2725828.1825 | 1259569.1447 | 2725847.0263 | 1259586.7608
28 | 2725827.4272 | 1259569.4508 | 2725828.1825 | 1259569.1447
29 | 2725722.9051 | 1259513.9461 | 2725722.2978 | 1259518.7486 | 2725726.4156 | 1259522.6062
30 | 2725722.9051 | 1259513.9461 | 2725729.4112 | 1259506.5443 | 2725731.6487 | 1259500.9646 | 2725738.6113 | 1259494.8784
31 | 2725726.4156 | 1259522.6062 | 2725740.9215 | 1259529.7542
32 | 2725726.4156 | 1259522.6062 | 2725719.9708 | 1259531.733 | 2725707.4737 | 1259529.7547
33 | 2725655.2877 | 1259559.6065 | 2725670.3344 | 1259566.143 | 2725676.4225 | 1259567.4067 | 2725680.4916 | 1259567.851
34 | 2725655.2877 | 1259559.6065 | 2725664.344 | 1259537.579 | 2725669.8815 | 1259526.7869 | 2725697.6204 | 1259546.3492
35 | 2725655.2877 | 1259559.6065 | 2725650.8279 | 1259573.6132 | 2725648.2504 | 1259586.1567
36 | 2725680.4916 | 1259567.851 | 2725683.1251 | 1259568.1386 | 2725683.9032 | 1259568.1531
37 | 2725697.6204 | 1259546.3492 | 2725707.4737 | 1259529.7547
38 | 2725697.6204 | 1259546.3492 | 2725690.887 | 1259557.6885
39 | 2725648.2504 | 1259586.1567 | 2725647.977 | 1259587.4874 | 2725643.5806 | 1259611.0327
40 | 2725740.9215 | 1259529.7542 | 2725739.7441 | 1259533.7105 | 2725743.8935 | 1259539.6262 | 2725759.5799 | 1259544.8409
41 | 2725740.9215 | 1259529.7542 | 2725742.0507 | 1259525.9414 | 2725750.1346 | 1259519.5879
42 | 2725717.1248 | 1259568.7725 | 2725683.9032 | 1259568.1531
43 | 2725752.561 | 1259573.9262 | 2725763.4504 | 1259565.1792
44 | 2725743.7218 | 1259581.0263 | 2725752.561 | 1259573.9262
45 | 2725740.0677 | 1259578.0571 | 2725743.7218 | 1259581.0263
46 | 2725635.9863 | 1259666.0032 | 2725635.0287 | 1259673.4563 | 2725634.3879 | 1259676.6455 | 2725633.68 | 1259679.8 | 2725631.6803 | 1259685.9074
47 | 2725664.0293 | 1259664.4862 | 2725657.2418 | 1259666.3326 | 2725651.5838 | 1259666.8351 | 2725646.1205 | 1259666.6857 | 2725635.9863 | 1259666.0032
48 | 2725631.6803 | 1259685.9074 | 2725641.7529 | 1259691.9712 | 2725651.0272 | 1259699.2097
49 | 2725664.0293 | 1259664.4862 | 2725668.2085 | 1259680.4121
50 | 2725664.0293 | 1259664.4862 | 2725667.0149 | 1259662.7422
51 | 2725651.0272 | 1259699.2097 | 2725651.0981 | 1259699.265 | 2725660.0057 | 1259707.2836 | 2725663.3171 | 1259711.4131
52 | 2725667.0149 | 1259662.7422 | 2725672.4427 | 1259659.5716 | 2725683.5989 | 1259649.7775 | 2725689.35 | 1259644.2681
53 | 2725717.1248 | 1259568.7725 | 2725732.8768 | 1259575.1128 | 2725737.0122 | 1259576.8061
54 | 2725717.1248 | 1259568.7725 | 2725723.4078 | 1259556.0211
55 | 2725740.0677 | 1259578.0571 | 2725737.0122 | 1259576.8061
56 | 2725740.0677 | 1259578.0571 | 2725723.8721 | 1259593.8825
57 | 2725716.0321 | 1259619.8062 | 2725714.2771 | 1259615.8209 | 2725722.8581 | 1259594.8733 | 2725723.8721 | 1259593.8825
58 | 2725716.0321 | 1259619.8062 | 2725709.6292 | 1259624.8413 | 2725707.739 | 1259626.652
59 | 2725716.0321 | 1259619.8062 | 2725719.4804 | 1259617.7831
60 | 2725724.4738 | 1259553.8576 | 2725723.4078 | 1259556.0211
61 | 2725707.739 | 1259626.652 | 2725689.35 | 1259644.2681
62 | 2725679.1975 | 1259731.98 | 2725676.2091 | 1259727.4903 | 2725663.3171 | 1259711.4131
63 | 2725712.5993 | 1259685.2993 | 2725706.9499 | 1259693.7574 | 2725695.2284 | 1259709.901
64 | 2725712.5993 | 1259685.2993 | 2725715.1147 | 1259681.5334
65 | 2725679.1975 | 1259731.98 | 2725695.2284 | 1259709.901
66 | 2725679.1975 | 1259731.98 | 2725686.7297 | 1259748.7639
67 | 2725686.7297 | 1259748.7639 | 2725688.3279 | 1259752.3252
68 | 2725695.2364 | 1259767.7194 | 2725688.3279 | 1259752.3252
69 | 2725695.2364 | 1259767.7194 | 2725696.2438 | 1259767.2535
70 | 2725695.2364 | 1259767.7194 | 2725673.0228 | 1259777.4412
71 | 2725716.8697 | 1259757.7144 | 2725696.2438 | 1259767.2535
72 | 2725665.9591 | 1259780.5326 | 2725673.0228 | 1259777.4412
73 | 2725716.8697 | 1259757.7144 | 2725722.3363 | 1259774.3677 | 2725722.7686 | 1259776.0725
74 | 2725665.9591 | 1259780.5326 | 2725664.1928 | 1259781.3056 | 2725658.1704 | 1259783.3462 | 2725653.6717 | 1259784.3487
75 | 2725722.7686 | 1259776.0725 | 2725726.2997 | 1259789.9978
76 | 2725729.8462 | 1259810.8463 | 2725730.2974 | 1259808.4452 | 2725729.9605 | 1259804.4345 | 2725726.2997 | 1259789.9978
77 | 2725725.3666 | 1259818.7164 | 2725727.4831 | 1259816.6929 | 2725728.9213 | 1259813.9432 | 2725729.7958 | 1259811.1148 | 2725729.8462 | 1259810.8463
78 | 2725718.1205 | 1259822.4569 | 2725710.989 | 1259825.2831
79 | 2725725.3666 | 1259818.7164 | 2725721.2952 | 1259821.1988 | 2725718.1205 | 1259822.4569
80 | 2725699.6375 | 1259829.7817 | 2725710.989 | 1259825.2831
81 | 2725693.8613 | 1259832.0708 | 2725699.6375 | 1259829.7817
82 | 2725688.6504 | 1259834.1359 | 2725693.8613 | 1259832.0708
83 | 2725688.1364 | 1259834.3396 | 2725688.6504 | 1259834.1359
84 | 2725668.6749 | 1259842.0522 | 2725688.1364 | 1259834.3396
85 | 2725668.6749 | 1259842.0522 | 2725663.3735 | 1259844.1531
86 | 2725687.0116 | 1259894.9422 | 2725688.8089 | 1259923.3347
87 | 2725687.0116 | 1259894.9422 | 2725707.9467 | 1259888.4123
88 | 2725712.8522 | 1259917.0118 | 2725688.8089 | 1259923.3347

## bus_geodata
| x | y | coords
0 | 2725897.572 | 1259868.3704
1 | 2725772.2418 | 1259901.3934
2 | 2725737.1315 | 1259910.6268
3 | 2725742.5317 | 1259865.2896
4 | 2725736.6443 | 1259843.3918
5 | 2725732.0429 | 1259880.8965
6 | 2725840.5568 | 1259702.9609
7 | 2725826.3859 | 1259651.0462
8 | 2725868.4061 | 1259697.0812
9 | 2725772.7797 | 1259731.2562
10 | 2725886.7298 | 1259693.4566
11 | 2725853.1342 | 1259651.1213
12 | 2725745.7864 | 1259743.4742
13 | 2725886.0748 | 1259669.4988
14 | 2725727.9917 | 1259752.2373
15 | 2725810.6759 | 1259608.0013
16 | 2725770.4902 | 1259609.7512
17 | 2725754.7245 | 1259605.0484
18 | 2725764.3668 | 1259600.1489
19 | 2725751.6202 | 1259606.3613
20 | 2725806.3644 | 1259580.9231
21 | 2725743.3537 | 1259638.7481
22 | 2725737.8179 | 1259611.2845
23 | 2725847.0263 | 1259586.7608
24 | 2725828.1825 | 1259569.1447
25 | 2725827.4272 | 1259569.4508
26 | 2725722.9051 | 1259513.9461
27 | 2725726.4156 | 1259522.6062
28 | 2725738.6113 | 1259494.8784
29 | 2725655.2877 | 1259559.6065
30 | 2725680.4916 | 1259567.851
31 | 2725697.6204 | 1259546.3492
32 | 2725648.2504 | 1259586.1567
33 | 2725707.4737 | 1259529.7547
34 | 2725690.887 | 1259557.6885
35 | 2725740.9215 | 1259529.7542
36 | 2725683.9032 | 1259568.1531
37 | 2725643.5806 | 1259611.0327
38 | 2725763.4504 | 1259565.1792
39 | 2725752.561 | 1259573.9262
40 | 2725750.1347 | 1259519.5879
41 | 2725743.7218 | 1259581.0263
42 | 2725635.9863 | 1259666.0032
43 | 2725631.6803 | 1259685.9074
44 | 2725664.0293 | 1259664.4862
45 | 2725651.0272 | 1259699.2097
46 | 2725668.2085 | 1259680.4121
47 | 2725667.0149 | 1259662.7422
48 | 2725717.1248 | 1259568.7725
49 | 2725740.0677 | 1259578.0571
50 | 2725737.0122 | 1259576.8061
51 | 2725723.8721 | 1259593.8825
52 | 2725716.0321 | 1259619.8062
53 | 2725723.4078 | 1259556.0211
54 | 2725724.4738 | 1259553.8576
55 | 2725759.5799 | 1259544.8409
56 | 2725719.4804 | 1259617.7831
57 | 2725707.739 | 1259626.652
58 | 2725775.2163 | 1259653.3383
59 | 2725733.7577 | 1259653.5356
60 | 2725689.35 | 1259644.2681
61 | 2725663.3171 | 1259711.4131
62 | 2725712.5993 | 1259685.2993
63 | 2725695.2284 | 1259709.901
64 | 2725715.1147 | 1259681.5334
65 | 2725679.1975 | 1259731.98
66 | 2725686.7297 | 1259748.7639
67 | 2725688.3278 | 1259752.3252
68 | 2725695.2364 | 1259767.7194
69 | 2725696.2438 | 1259767.2535
70 | 2725673.0228 | 1259777.4412
71 | 2725716.8697 | 1259757.7144
72 | 2725665.9591 | 1259780.5326
73 | 2725653.6717 | 1259784.3487
74 | 2725722.7686 | 1259776.0725
75 | 2725726.2997 | 1259789.9978
76 | 2725729.8462 | 1259810.8463
77 | 2725718.1205 | 1259822.4569
78 | 2725710.989 | 1259825.2831
79 | 2725725.3666 | 1259818.7164
80 | 2725699.6375 | 1259829.7817
81 | 2725693.8613 | 1259832.0708
82 | 2725688.6504 | 1259834.1359
83 | 2725668.6749 | 1259842.0522
84 | 2725688.1364 | 1259834.3396
85 | 2725663.3735 | 1259844.1531
86 | 2725687.0116 | 1259894.9422
87 | 2725688.8089 | 1259923.3347
88 | 2725707.9467 | 1259888.4123
89 | 2725712.8522 | 1259917.0118
90 | 2725743.3537 | 1259638.7481

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1