## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3444-4_1_4_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_3444-4_1_4_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_3444-4_1_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_3444-4_1_4_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_3444-4_1_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_3444-4_1_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_3444-4_1_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3444-4_1_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_3444-4_1_4_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_3444-4_1_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3444-4_1_4_node_152 | 0.4 | n |  | TRUE
11 | bus_LV_3444-4_1_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_3444-4_1_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_3444-4_1_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_3444-4_1_4_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_3444-4_1_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_3444-4_1_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3444-4_1_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_3444-4_1_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_3444-4_1_4_node_168 | 0.4 | n |  | TRUE
20 | bus_LV_3444-4_1_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_3444-4_1_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_3444-4_1_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_3444-4_1_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_3444-4_1_4_node_185 | 0.4 | n |  | TRUE
25 | bus_LV_3444-4_1_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_3444-4_1_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_3444-4_1_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3444-4_1_4_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_3444-4_1_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3444-4_1_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_3444-4_1_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_3444-4_1_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_3444-4_1_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_3444-4_1_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_3444-4_1_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_3444-4_1_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_3444-4_1_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_3444-4_1_4_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_3444-4_1_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_3444-4_1_4_node_170 | 0.4 | n |  | TRUE
41 | bus_LV_3444-4_1_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3444-4_1_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_3444-4_1_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_3444-4_1_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_3444-4_1_4_node_165 | 0.4 | n |  | TRUE
46 | bus_LV_3444-4_1_4_node_166 | 0.4 | n |  | TRUE
47 | bus_LV_3444-4_1_4_node_167 | 0.4 | n |  | TRUE
48 | bus_LV_3444-4_1_4_node_181 | 0.4 | n |  | TRUE
49 | bus_LV_3444-4_1_4_node_211 | 0.4 | n |  | TRUE
50 | bus_LV_3444-4_1_4_node_195 | 0.4 | n |  | TRUE
51 | bus_LV_3444-4_1_4_node_169 | 0.4 | n |  | TRUE
52 | bus_LV_3444-4_1_4_node_186 | 0.4 | n |  | TRUE
53 | bus_LV_3444-4_1_4_node_184 | 0.4 | n |  | TRUE
54 | bus_LV_3444-4_1_4_node_171 | 0.4 | n |  | TRUE
55 | bus_LV_3444-4_1_4_node_209 | 0.4 | n |  | TRUE
56 | bus_LV_3444-4_1_4_node_172 | 0.4 | n |  | TRUE
57 | bus_LV_3444-4_1_4_node_173 | 0.4 | n |  | TRUE
58 | bus_LV_3444-4_1_4_node_174 | 0.4 | n |  | TRUE
59 | bus_LV_3444-4_1_4_node_177 | 0.4 | n |  | TRUE
60 | bus_LV_3444-4_1_4_node_175 | 0.4 | n |  | TRUE
61 | bus_LV_3444-4_1_4_node_176 | 0.4 | n |  | TRUE
62 | bus_LV_3444-4_1_4_node_178 | 0.4 | n |  | TRUE
63 | bus_LV_3444-4_1_4_node_179 | 0.4 | n |  | TRUE
64 | bus_LV_3444-4_1_4_node_196 | 0.4 | n |  | TRUE
65 | bus_LV_3444-4_1_4_node_182 | 0.4 | n |  | TRUE
66 | bus_LV_3444-4_1_4_node_210 | 0.4 | n |  | TRUE
67 | bus_LV_3444-4_1_4_node_183 | 0.4 | n |  | TRUE
68 | bus_LV_3444-4_1_4_node_194 | 0.4 | n |  | TRUE
69 | bus_LV_3444-4_1_4_node_187 | 0.4 | n |  | TRUE
70 | bus_LV_3444-4_1_4_node_188 | 0.4 | n |  | TRUE
71 | bus_LV_3444-4_1_4_node_189 | 0.4 | n |  | TRUE
72 | bus_LV_3444-4_1_4_node_190 | 0.4 | n |  | TRUE
73 | bus_LV_3444-4_1_4_node_191 | 0.4 | n |  | TRUE
74 | bus_LV_3444-4_1_4_node_192 | 0.4 | n |  | TRUE
75 | bus_LV_3444-4_1_4_node_193 | 0.4 | n |  | TRUE
76 | bus_LV_3444-4_1_4_node_205 | 0.4 | n |  | TRUE
77 | bus_LV_3444-4_1_4_node_203 | 0.4 | n |  | TRUE
78 | bus_LV_3444-4_1_4_node_206 | 0.4 | n |  | TRUE
79 | bus_LV_3444-4_1_4_node_197 | 0.4 | n |  | TRUE
80 | bus_LV_3444-4_1_4_node_198 | 0.4 | n |  | TRUE
81 | bus_LV_3444-4_1_4_node_199 | 0.4 | n |  | TRUE
82 | bus_LV_3444-4_1_4_node_200 | 0.4 | n |  | TRUE
83 | bus_LV_3444-4_1_4_node_201 | 0.4 | n |  | TRUE
84 | bus_LV_3444-4_1_4_node_202 | 0.4 | n |  | TRUE
85 | bus_LV_3444-4_1_4_node_204 | 0.4 | n |  | TRUE
86 | bus_LV_3444-4_1_4_node_207 | 0.4 | n |  | TRUE
87 | bus_LV_3444-4_1_4_node_208 | 0.4 | n |  | TRUE
88 | bus_MV_412_0_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3444-4_1_4_load_3 | 0 | 0.0019061 | 0.00047771 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3444-4_1_4_load_4 | 1 | 0.004274 | 0.0010712 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3444-4_1_4_load_10 | 3 | 0.0010759 | 0.00026965 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3444-4_1_4_load_7 | 4 | 0.00011069 | 2.7742e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3444-4_1_4_load_9 | 6 | 0.00057254 | 0.00014349 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3444-4_1_4_load_44 | 8 | 0.000207 | 5.1879e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3444-4_1_4_load_12 | 11 | 0.00023465 | 5.8809e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3444-4_1_4_load_16 | 13 | 0.00081694 | 0.00020474 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3444-4_1_4_load_15 | 15 | 0.00039381 | 9.8697e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3444-4_1_4_load_17 | 16 | 0.00050443 | 0.00012642 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3444-4_1_4_load_18 | 17 | 0.00093242 | 0.00023369 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3444-4_1_4_load_20 | 20 | 0.0054903 | 0.001376 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3444-4_1_4_load_21 | 21 | 0.0079834 | 0.0020008 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3444-4_1_4_load_23 | 23 | 0.00095188 | 0.00023856 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3444-4_1_4_load_27 | 25 | 0.0016635 | 0.00041692 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3444-4_1_4_load_28 | 26 | 0.00054889 | 0.00013757 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3444-4_1_4_load_37 | 28 | 0.00082558 | 0.00020691 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3444-4_1_4_load_32 | 31 | 0.0035385 | 0.00088683 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3444-4_1_4_load_35 | 32 | 0.00058924 | 0.00014768 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3444-4_1_4_load_33 | 33 | 0.00014296 | 3.5829e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3444-4_1_4_load_38 | 34 | 0.0018678 | 0.00046811 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3444-4_1_4_load_41 | 35 | 0.0023999 | 0.00060146 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3444-4_1_4_load_34 | 36 | 0.0006349 | 0.00015912 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3444-4_1_4_load_36 | 39 | 0.00028215 | 7.0714e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3444-4_1_4_load_170 | 40 | 0.0020787 | 0.00052096 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3444-4_1_4_load_39 | 41 | 0.00026529 | 6.6487e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3444-4_1_4_load_42 | 42 | 0.0003647 | 9.1401e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3444-4_1_4_load_45 | 43 | 0.0013614 | 0.00034119 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3444-4_1_4_load_47 | 44 | 0.00026132 | 6.5494e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3444-4_1_4_load_166 | 46 | 0.0040796 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3444-4_1_4_load_167 | 47 | 0.012239 | 0.0030673 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3444-4_1_4_load_181 | 48 | 0.0032738 | 0.0008205 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3444-4_1_4_load_211 | 49 | 0.004023 | 0.0010083 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3444-4_1_4_load_195 | 50 | 0.0017583 | 0.00044067 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3444-4_1_4_load_184 | 53 | 0.0034126 | 0.00085528 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3444-4_1_4_load_209 | 55 | 0.0028182 | 0.0007063 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3444-4_1_4_load_172 | 56 | 0.00078993 | 0.00019798 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3444-4_1_4_load_173 | 57 | 0.00081238 | 0.0002036 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3444-4_1_4_load_175 | 60 | 0.0015215 | 0.00038132 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3444-4_1_4_load_176 | 61 | 0.0048073 | 0.0012048 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3444-4_1_4_load_178 | 62 | 0.0018405 | 0.00046126 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3444-4_1_4_load_179 | 63 | 0.0045978 | 0.0011523 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3444-4_1_4_load_210 | 66 | 0.00069998 | 0.00017543 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3444-4_1_4_load_183 | 67 | 0.0015003 | 0.00037602 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3444-4_1_4_load_194 | 68 | 0.0027601 | 0.00069175 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3444-4_1_4_load_187 | 69 | 0.0020715 | 0.00051917 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3444-4_1_4_load_190 | 72 | 0.0038895 | 0.00097479 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3444-4_1_4_load_191 | 73 | 0.0023361 | 0.00058547 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3444-4_1_4_load_193 | 75 | 0.0033018 | 0.0008275 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3444-4_1_4_load_203 | 77 | 0.0012112 | 0.00030355 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3444-4_1_4_load_206 | 78 | 0.0030868 | 0.00077363 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3444-4_1_4_load_197 | 79 | 0.0011019 | 0.00027615 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3444-4_1_4_load_199 | 81 | 0.0012222 | 0.00030632 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3444-4_1_4_load_200 | 82 | 0.0011216 | 0.0002811 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3444-4_1_4_load_201 | 83 | 0.0015196 | 0.00038086 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3444-4_1_4_load_204 | 85 | 0.0073646 | 0.0018458 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3444-4_1_4_load_207 | 86 | 0.0023103 | 0.00057901 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3444-4_1_4_load_208 | 87 | 0.0044516 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3444-4_1_4_line_0 |  | 0 | 1 | 0.019372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3444-4_1_4_line_1 |  | 1 | 2 | 0.021647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3444-4_1_4_line_2 |  | 2 | 3 | 0.013195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3444-4_1_4_line_3 |  | 3 | 9 | 0.044353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3444-4_1_4_line_4 |  | 4 | 5 | 0.026927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3444-4_1_4_line_5 |  | 5 | 6 | 0.018035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3444-4_1_4_line_6 |  | 6 | 7 | 0.25893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3444-4_1_4_line_7 |  | 6 | 8 | 0.4703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3444-4_1_4_line_8 |  | 7 | 15 | 0.024938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3444-4_1_4_line_9 |  | 8 | 37 | 0.019718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3444-4_1_4_line_10 |  | 9 | 10 | 0.13261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3444-4_1_4_line_11 |  | 10 | 21 | 0.15746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3444-4_1_4_line_12 |  | 11 | 12 | 0.023169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3444-4_1_4_line_13 |  | 12 | 13 | 0.056166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3444-4_1_4_line_14 |  | 12 | 14 | 0.60089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3444-4_1_4_line_15 |  | 13 | 15 | 0.024692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3444-4_1_4_line_16 |  | 14 | 41 | 0.016548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3444-4_1_4_line_17 |  | 16 | 17 | 0.047936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3444-4_1_4_line_18 |  | 17 | 18 | 0.007807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3444-4_1_4_line_19 |  | 18 | 19 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3444-4_1_4_line_20 |  | 19 | 50 | 0.015779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3444-4_1_4_line_21 |  | 20 | 21 | 0.031252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3444-4_1_4_line_22 |  | 20 | 22 | 0.004703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3444-4_1_4_line_23 |  | 22 | 23 | 0.022038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3444-4_1_4_line_24 |  | 23 | 24 | 0.034979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3444-4_1_4_line_25 |  | 24 | 65 | 0.009076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3444-4_1_4_line_26 |  | 24 | 67 | 0.020827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3444-4_1_4_line_27 |  | 25 | 26 | 0.061242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3444-4_1_4_line_28 |  | 25 | 27 | 0.0016017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3444-4_1_4_line_29 |  | 25 | 28 | 0.062656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3444-4_1_4_line_30 |  | 26 | 29 | 0.02787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3444-4_1_4_line_31 |  | 27 | 30 | 0.044866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3444-4_1_4_line_32 |  | 27 | 31 | 0.027351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3444-4_1_4_line_33 |  | 28 | 39 | 0.025564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3444-4_1_4_line_34 |  | 29 | 32 | 0.021554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3444-4_1_4_line_35 |  | 29 | 33 | 0.025153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3444-4_1_4_line_36 |  | 30 | 34 | 0.045697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3444-4_1_4_line_37 |  | 31 | 35 | 0.00055057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3444-4_1_4_line_38 |  | 32 | 38 | 0.021274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3444-4_1_4_line_39 |  | 33 | 36 | 0.049938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3444-4_1_4_line_40 |  | 34 | 40 | 0.013473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3444-4_1_4_line_41 |  | 35 | 42 | 0.0035895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3444-4_1_4_line_42 |  | 36 | 37 | 0.13352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3444-4_1_4_line_43 |  | 38 | 44 | 0.0023087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3444-4_1_4_line_44 |  | 38 | 43 | 0.058894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3444-4_1_4_line_45 |  | 40 | 54 | 0.030057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3444-4_1_4_line_46 |  | 45 | 46 | 0.0054461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3444-4_1_4_line_47 |  | 45 | 47 | 0.028764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3444-4_1_4_line_48 |  | 46 | 48 | 0.01174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3444-4_1_4_line_49 |  | 47 | 49 | 0.027307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3444-4_1_4_line_50 |  | 48 | 65 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3444-4_1_4_line_51 |  | 50 | 52 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3444-4_1_4_line_52 |  | 51 | 52 | 0.034788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3444-4_1_4_line_53 |  | 51 | 53 | 0.021502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3444-4_1_4_line_54 |  | 52 | 68 | 0.022262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3444-4_1_4_line_55 |  | 52 | 54 | 0.024408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3444-4_1_4_line_56 |  | 53 | 67 | 0.023104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3444-4_1_4_line_57 |  | 54 | 55 | 0.025152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3444-4_1_4_line_58 |  | 56 | 57 | 0.017836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3444-4_1_4_line_59 |  | 57 | 58 | 0.010383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3444-4_1_4_line_60 |  | 58 | 59 | 0.007411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3444-4_1_4_line_61 |  | 59 | 63 | 0.022322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3444-4_1_4_line_62 |  | 59 | 60 | 0.026897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3444-4_1_4_line_63 |  | 60 | 61 | 0.028545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3444-4_1_4_line_64 |  | 61 | 62 | 0.031991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3444-4_1_4_line_65 |  | 62 | 64 | 0.013642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3444-4_1_4_line_66 |  | 64 | 73 | 0.016345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3444-4_1_4_line_67 |  | 65 | 66 | 0.0094533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3444-4_1_4_line_68 |  | 68 | 72 | 0.011085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3444-4_1_4_line_69 |  | 69 | 70 | 0.013901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3444-4_1_4_line_70 |  | 69 | 71 | 0.014713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3444-4_1_4_line_71 |  | 70 | 72 | 0.027679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3444-4_1_4_line_72 |  | 70 | 73 | 0.0091078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3444-4_1_4_line_73 |  | 71 | 74 | 0.018153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3444-4_1_4_line_74 |  | 71 | 75 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3444-4_1_4_line_75 |  | 74 | 76 | 0.010619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3444-4_1_4_line_76 |  | 74 | 77 | 0.011648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3444-4_1_4_line_77 |  | 75 | 78 | 0.0089054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3444-4_1_4_line_78 |  | 76 | 86 | 0.0094428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3444-4_1_4_line_79 |  | 76 | 81 | 0.018687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3444-4_1_4_line_80 |  | 77 | 84 | 0.012316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3444-4_1_4_line_81 |  | 78 | 85 | 0.030939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3444-4_1_4_line_82 |  | 79 | 80 | 0.019317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3444-4_1_4_line_83 |  | 80 | 81 | 0.013673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3444-4_1_4_line_84 |  | 82 | 83 | 0.021634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3444-4_1_4_line_85 |  | 83 | 84 | 0.0098011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3444-4_1_4_line_86 |  | 86 | 87 | 0.014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3444-4_1_4_trafo_186 | 0.63 MVA 20/0.4 kV | 88 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2742694.9909 | 1259442.3167 | 2742699.5045 | 1259445.357 | 2742712.4298 | 1259450.5518
1 | 2742732.9939 | 1259457.2649 | 2742717.2277 | 1259452.4801 | 2742712.4298 | 1259450.5518
2 | 2742732.9939 | 1259457.2649 | 2742745.5325 | 1259461.3749
3 | 2742787.6795 | 1259475.1902 | 2742745.5325 | 1259461.3749
4 | 2742192.0948 | 1259704.4368 | 2742184.0274 | 1259703.442 | 2742171.9208 | 1259702.3389 | 2742165.3818 | 1259701.175
5 | 2742192.0948 | 1259704.4368 | 2742195.6574 | 1259707.7478 | 2742197.5897 | 1259711.4311 | 2742197.3959 | 1259719.4897 | 2742197.373 | 1259720.4405
6 | 2742087.4566 | 1259954.8861 | 2742197.373 | 1259720.4405
7 | 2742558.1126 | 1260022.1842 | 2742197.373 | 1259720.4405
8 | 2742087.4566 | 1259954.8861 | 2742089.534 | 1259957.2382 | 2742090.6843 | 1259959.8906 | 2742090.7931 | 1259963.519 | 2742089.7234 | 1259969.1209 | 2742087.5848 | 1259973.7073 | 2742084.0121 | 1259976.4686
9 | 2742574.8222 | 1260013.6762 | 2742570.8549 | 1260018.096 | 2742566.0709 | 1260021.0502 | 2742560.1167 | 1260022.497 | 2742558.1126 | 1260022.1842
10 | 2742910.0674 | 1259526.2491 | 2742787.6795 | 1259475.1902
11 | 2742927.0564 | 1259682.7897 | 2742910.0674 | 1259526.2491
12 | 2742004.3211 | 1259972.5297 | 2742025.1488 | 1259962.3805
13 | 2742004.3211 | 1259972.5297 | 2742009.6502 | 1259973.8699 | 2742016.3394 | 1259976.0326 | 2742022.1784 | 1259977.1738 | 2742028.547 | 1259978.5613 | 2742033.1919 | 1259978.8731 | 2742039.4593 | 1259978.8235 | 2742048.3663 | 1259978.4369 | 2742054.8446 | 1259978.3924 | 2742059.6896 | 1259978.0571
14 | 2742004.3211 | 1259972.5297 | 2741546.8627 | 1260362.1432
15 | 2742059.6896 | 1259978.0571 | 2742063.5533 | 1259977.7898 | 2742072.6397 | 1259978.4085 | 2742078.9146 | 1259978.3591 | 2742084.0121 | 1259976.4686 | 2742084.0121 | 1259976.4686
16 | 2741546.8627 | 1260362.1432 | 2741533.6572 | 1260372.1164
17 | 2742909.3447 | 1259742.8766 | 2742888.7351 | 1259715.8944 | 2742878.407 | 1259706.468
18 | 2742915.1901 | 1259747.6415 | 2742911.9648 | 1259746.3068 | 2742909.3447 | 1259742.8766
19 | 2742922.8607 | 1259756.9357 | 2742918.4527 | 1259751.4907 | 2742915.1901 | 1259747.6415
20 | 2742922.8607 | 1259756.9357 | 2742933.2021 | 1259768.0407 | 2742933.6071 | 1259768.4902
21 | 2742956.3591 | 1259693.5558 | 2742954.8187 | 1259693.0016 | 2742942.0108 | 1259687.5314 | 2742927.0564 | 1259682.7897
22 | 2742960.7844 | 1259695.1478 | 2742956.3591 | 1259693.5558
23 | 2742960.7844 | 1259695.1478 | 2742974.0692 | 1259699.9178 | 2742981.6202 | 1259702.3177
24 | 2743015.3784 | 1259711.4382 | 2743006.2127 | 1259709.0922 | 2742989.4849 | 1259704.8172 | 2742981.6202 | 1259702.3177
25 | 2743022.4321 | 1259705.7032 | 2743015.3784 | 1259711.4382
26 | 2743015.3784 | 1259711.4382 | 2742998.7817 | 1259724.0198
27 | 2742810.2457 | 1259859.8949 | 2742792.1124 | 1259865.8287 | 2742760.3083 | 1259876.3493 | 2742752.0635 | 1259879.009
28 | 2742811.7679 | 1259859.3968 | 2742810.2457 | 1259859.8949
29 | 2742810.2457 | 1259859.8949 | 2742778.0236 | 1259806.1595
30 | 2742725.5391 | 1259887.5658 | 2742752.0635 | 1259879.009
31 | 2742851.8851 | 1259839.0789 | 2742824.3445 | 1259852.8941 | 2742811.7679 | 1259859.3968
32 | 2742811.7679 | 1259859.3968 | 2742815.1903 | 1259886.533
33 | 2742755.9831 | 1259793.4651 | 2742763.6465 | 1259798.3769 | 2742771.8981 | 1259803.9147 | 2742778.0236 | 1259806.1595
34 | 2742725.5391 | 1259887.5658 | 2742731.5948 | 1259904.4059 | 2742732.8416 | 1259907.8447
35 | 2742725.5391 | 1259887.5658 | 2742713.1985 | 1259891.1716 | 2742701.326 | 1259894.3715
36 | 2742851.8851 | 1259839.0789 | 2742876.722 | 1259829.1801 | 2742894.5811 | 1259822.813
37 | 2742815.1903 | 1259886.533 | 2742815.2592 | 1259887.0793
38 | 2742740.0927 | 1259927.8445 | 2742732.8416 | 1259907.8447
39 | 2742701.326 | 1259894.3715 | 2742682.9752 | 1259899.3173 | 2742658.3497 | 1259903.6055 | 2742652.6223 | 1259905.1653
40 | 2742894.5811 | 1259822.813 | 2742903.5417 | 1259819.6185 | 2742907.2791 | 1259818.311
41 | 2742815.7083 | 1259890.6406 | 2742815.2592 | 1259887.0793
42 | 2742652.6223 | 1259905.1653 | 2742574.8222 | 1260013.6762
43 | 2742740.0927 | 1259927.8445 | 2742740.7958 | 1259930.0435
44 | 2742740.0927 | 1259927.8445 | 2742726.396 | 1259932.0293 | 2742721.7965 | 1259935.1436 | 2742718.4234 | 1259940.8677 | 2742717.6819 | 1259944.7202 | 2742718.8458 | 1259949.92 | 2742720.5723 | 1259958.9926 | 2742723.9131 | 1259972.4712
45 | 2742933.3843 | 1259803.8573 | 2742923.304 | 1259811.2766 | 2742914.4853 | 1259815.7902 | 2742907.2791 | 1259818.311
46 | 2743053.1194 | 1259712.418 | 2743047.7991 | 1259711.2539
47 | 2743053.1194 | 1259712.418 | 2743050.1518 | 1259741.0286
48 | 2743047.7991 | 1259711.2539 | 2743036.3305 | 1259708.7443
49 | 2743047.3345 | 1259768.19 | 2743050.1518 | 1259741.0286
50 | 2743022.4321 | 1259705.7032 | 2743036.3305 | 1259708.7443
51 | 2742947.5517 | 1259783.9693 | 2742933.6071 | 1259768.4902
52 | 2742947.5517 | 1259783.9693 | 2742958.432 | 1259766.5487 | 2742966.8029 | 1259754.9842
53 | 2742966.8029 | 1259754.9842 | 2742979.4044 | 1259740.9195 | 2742981.4134 | 1259739.2414
54 | 2742947.5517 | 1259783.9693 | 2742965.9364 | 1259796.523
55 | 2742947.5517 | 1259783.9693 | 2742936.1272 | 1259800.5093 | 2742933.3843 | 1259803.8573
56 | 2742998.7817 | 1259724.0198 | 2742996.4123 | 1259725.816 | 2742982.937 | 1259737.9687 | 2742981.4134 | 1259739.2414
57 | 2742933.3843 | 1259803.8573 | 2742928.9884 | 1259800.7259 | 2742923.0763 | 1259797.9249 | 2742915.5796 | 1259793.9177 | 2742911.6746 | 1259791.2798
58 | 2743110.5646 | 1259810.9798 | 2743092.7303 | 1259810.6957
59 | 2743082.3486 | 1259810.5304 | 2743092.7303 | 1259810.6957
60 | 2743082.3486 | 1259810.5304 | 2743076.0475 | 1259814.4596
61 | 2743076.0475 | 1259814.4596 | 2743069.6363 | 1259816.0839 | 2743064.6752 | 1259816.3642 | 2743056.0556 | 1259817.012 | 2743053.9824 | 1259817.3182
62 | 2743076.0475 | 1259814.4596 | 2743076.6333 | 1259827.0192 | 2743076.6956 | 1259832.8596 | 2743076.9611 | 1259838.7162 | 2743076.8976 | 1259841.3362
63 | 2743076.8976 | 1259841.3362 | 2743076.844 | 1259843.5513 | 2743076.3981 | 1259845.776 | 2743075.441 | 1259847.3099 | 2743074.2759 | 1259849.3393 | 2743072.4397 | 1259851.3635 | 2743070.1536 | 1259852.665 | 2743065.4695 | 1259853.9641 | 2743059.3832 | 1259854.6287 | 2743055.8464 | 1259855.0804
64 | 2743029.7891 | 1259839.5115 | 2743031.4368 | 1259840.94 | 2743036.2652 | 1259844.8939 | 2743039.9546 | 1259847.9304 | 2743043.0752 | 1259851.4092 | 2743044.998 | 1259853.2797 | 2743047.0964 | 1259854.7541 | 2743049.7252 | 1259855.4961 | 2743054.111 | 1259855.3019 | 2743055.8464 | 1259855.0804
65 | 2743019.8431 | 1259830.1828 | 2743026.0526 | 1259836.272 | 2743029.7891 | 1259839.5115
66 | 2743019.8431 | 1259830.1828 | 2743015.1644 | 1259829.7026 | 2743010.5524 | 1259827.4 | 2743005.0218 | 1259824.0093
67 | 2743022.4321 | 1259705.7032 | 2743027.8422 | 1259697.9509
68 | 2742965.9364 | 1259796.523 | 2742967.6626 | 1259797.7017 | 2742974.6384 | 1259803.3807
69 | 2742997.1728 | 1259819.3912 | 2742988.0512 | 1259829.8809
70 | 2742979.8755 | 1259842.1062 | 2742983.5353 | 1259837.0119 | 2742988.0512 | 1259829.8809
71 | 2742997.1728 | 1259819.3912 | 2742982.7561 | 1259809.9893 | 2742974.6384 | 1259803.3807
72 | 2742997.1728 | 1259819.3912 | 2743001.9404 | 1259822.1201 | 2743005.0218 | 1259824.0093
73 | 2742979.8755 | 1259842.1062 | 2742978.6896 | 1259843.7458 | 2742974.2742 | 1259852.9591 | 2742971.7467 | 1259858.3143
74 | 2742979.8755 | 1259842.1062 | 2742992.6136 | 1259847.953 | 2742995.8508 | 1259849.3104
75 | 2742961.3222 | 1259858.4515 | 2742964.9262 | 1259858.4719 | 2742968.6397 | 1259859.2624 | 2742971.7467 | 1259858.3143
76 | 2742971.7467 | 1259858.3143 | 2742972.7498 | 1259864.2331 | 2742972.3996 | 1259869.8668
77 | 2743004.038 | 1259852.8124 | 2743001.8179 | 1259851.8124 | 2742995.8508 | 1259849.3104
78 | 2742961.3222 | 1259858.4515 | 2742956.6581 | 1259852.066 | 2742955.4865 | 1259851.0737
79 | 2742961.3222 | 1259858.4515 | 2742958.2574 | 1259859.2115 | 2742955.9264 | 1259861.4351 | 2742950.8767 | 1259867.2521 | 2742947.9208 | 1259870.7831
80 | 2742970.9007 | 1259882.0723 | 2742972.0463 | 1259875.5493 | 2742972.3996 | 1259869.8668
81 | 2743004.7989 | 1259877.0243 | 2743004.9932 | 1259877.0357 | 2743008.1306 | 1259875.143 | 2743009.824 | 1259872.1589 | 2743011.5438 | 1259867.774 | 2743012.2812 | 1259862.5423 | 2743011.17 | 1259858.2891 | 2743008.4195 | 1259854.7859 | 2743004.038 | 1259852.8124
82 | 2742939.2179 | 1259881.3285 | 2742936.1855 | 1259885.1144 | 2742926.1362 | 1259895.52
83 | 2742939.2179 | 1259881.3285 | 2742942.18 | 1259877.6409 | 2742947.9208 | 1259870.7831
84 | 2742965.9079 | 1259913.0996 | 2742968.1018 | 1259897.097 | 2742969.0945 | 1259891.7055
85 | 2742970.9007 | 1259882.0723 | 2742970.0896 | 1259886.3013 | 2742969.0945 | 1259891.7055
86 | 2742944.2218 | 1259841.5332 | 2742955.4865 | 1259851.0737

## bus_geodata
| x | y | coords
0 | 2742694.9909 | 1259442.3167
1 | 2742712.4298 | 1259450.5518
2 | 2742732.9939 | 1259457.2649
3 | 2742745.5325 | 1259461.3749
4 | 2742165.3818 | 1259701.175
5 | 2742192.0948 | 1259704.4368
6 | 2742197.373 | 1259720.4405
7 | 2742087.4566 | 1259954.8861
8 | 2742558.1126 | 1260022.1842
9 | 2742787.6795 | 1259475.1902
10 | 2742910.0674 | 1259526.2491
11 | 2742025.1488 | 1259962.3805
12 | 2742004.3211 | 1259972.5297
13 | 2742059.6896 | 1259978.0571
14 | 2741546.8627 | 1260362.1432
15 | 2742084.0121 | 1259976.4686
16 | 2742878.407 | 1259706.468
17 | 2742909.3447 | 1259742.8766
18 | 2742915.1901 | 1259747.6415
19 | 2742922.8607 | 1259756.9358
20 | 2742956.3591 | 1259693.5558
21 | 2742927.0564 | 1259682.7897
22 | 2742960.7844 | 1259695.1478
23 | 2742981.6202 | 1259702.3177
24 | 2743015.3784 | 1259711.4382
25 | 2742810.2457 | 1259859.8949
26 | 2742752.0635 | 1259879.009
27 | 2742811.7679 | 1259859.3968
28 | 2742778.0236 | 1259806.1595
29 | 2742725.5391 | 1259887.5658
30 | 2742851.8851 | 1259839.0789
31 | 2742815.1903 | 1259886.533
32 | 2742732.8416 | 1259907.8447
33 | 2742701.326 | 1259894.3715
34 | 2742894.5811 | 1259822.813
35 | 2742815.2592 | 1259887.0793
36 | 2742652.6223 | 1259905.1653
37 | 2742574.8222 | 1260013.6762
38 | 2742740.0927 | 1259927.8445
39 | 2742755.9831 | 1259793.4651
40 | 2742907.2791 | 1259818.311
41 | 2741533.6572 | 1260372.1164
42 | 2742815.7083 | 1259890.6406
43 | 2742723.9131 | 1259972.4712
44 | 2742740.7958 | 1259930.0435
45 | 2743053.1194 | 1259712.418
46 | 2743047.7991 | 1259711.2539
47 | 2743050.1518 | 1259741.0286
48 | 2743036.3305 | 1259708.7443
49 | 2743047.3345 | 1259768.19
50 | 2742933.6071 | 1259768.4902
51 | 2742966.8029 | 1259754.9842
52 | 2742947.5517 | 1259783.9693
53 | 2742981.4134 | 1259739.2414
54 | 2742933.3843 | 1259803.8573
55 | 2742911.6746 | 1259791.2798
56 | 2743110.5646 | 1259810.9798
57 | 2743092.7303 | 1259810.6957
58 | 2743082.3486 | 1259810.5304
59 | 2743076.0475 | 1259814.4596
60 | 2743076.8976 | 1259841.3362
61 | 2743055.8464 | 1259855.0804
62 | 2743029.7891 | 1259839.5115
63 | 2743053.9824 | 1259817.3182
64 | 2743019.8431 | 1259830.1828
65 | 2743022.4322 | 1259705.7032
66 | 2743027.8422 | 1259697.9509
67 | 2742998.7817 | 1259724.0198
68 | 2742965.9364 | 1259796.523
69 | 2742988.0512 | 1259829.8809
70 | 2742997.1728 | 1259819.3912
71 | 2742979.8755 | 1259842.1062
72 | 2742974.6384 | 1259803.3807
73 | 2743005.0218 | 1259824.0093
74 | 2742971.7467 | 1259858.3143
75 | 2742995.8508 | 1259849.3104
76 | 2742961.3222 | 1259858.4515
77 | 2742972.3996 | 1259869.8668
78 | 2743004.038 | 1259852.8124
79 | 2742926.1362 | 1259895.52
80 | 2742939.2179 | 1259881.3285
81 | 2742947.9208 | 1259870.7831
82 | 2742965.9079 | 1259913.0996
83 | 2742969.0945 | 1259891.7055
84 | 2742970.9007 | 1259882.0723
85 | 2743004.7989 | 1259877.0243
86 | 2742955.4865 | 1259851.0737
87 | 2742944.2218 | 1259841.5332
88 | 2742933.3843 | 1259803.8573

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1