## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_354-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_354-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_354-4_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_354-4_0_4_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_354-4_0_4_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_354-4_0_4_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_354-4_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_354-4_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_354-4_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_354-4_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_354-4_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_354-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_354-4_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_354-4_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_354-4_0_4_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_354-4_0_4_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_354-4_0_4_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_354-4_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_354-4_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_354-4_0_4_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_354-4_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_354-4_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_354-4_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_354-4_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_354-4_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_354-4_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_354-4_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_354-4_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_354-4_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_354-4_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_354-4_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_354-4_0_4_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_354-4_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_354-4_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_354-4_0_4_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_354-4_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_354-4_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_354-4_0_4_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_354-4_0_4_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_354-4_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_354-4_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_354-4_0_4_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_354-4_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_354-4_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_354-4_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_354-4_0_4_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_354-4_0_4_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_354-4_0_4_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_354-4_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_354-4_0_4_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_354-4_0_4_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_354-4_0_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_354-4_0_4_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_354-4_0_4_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_354-4_0_4_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_354-4_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_354-4_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_354-4_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_354-4_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_354-4_0_4_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_354-4_0_4_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_354-4_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_354-4_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_354-4_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_354-4_0_4_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_354-4_0_4_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_354-4_0_4_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_354-4_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_354-4_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_354-4_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_354-4_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_354-4_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_354-4_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_354-4_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_354-4_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_354-4_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_354-4_0_4_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_354-4_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_354-4_0_4_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_354-4_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_354-4_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_354-4_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_354-4_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_354-4_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_354-4_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_354-4_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_MV_405_1_node_201 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_354-4_0_4_load_0 | 0 | 0.0015417 | 0.00038637 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_354-4_0_4_load_14 | 3 | 0.0024303 | 0.00060909 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_354-4_0_4_load_11 | 4 | 0.0021104 | 0.00052891 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_354-4_0_4_load_70 | 5 | 0.00369 | 0.0009248 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_354-4_0_4_load_15 | 8 | 0.0021431 | 0.00053711 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_354-4_0_4_load_5 | 9 | 0.0043875 | 0.0010996 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_354-4_0_4_load_6 | 10 | 0.0073878 | 0.0018516 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_354-4_0_4_load_9 | 12 | 0.0029279 | 0.0007338 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_354-4_0_4_load_10 | 13 | 0.0022041 | 0.00055239 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_354-4_0_4_load_35 | 14 | 0.0033721 | 0.00084512 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_354-4_0_4_load_57 | 15 | 0.002421 | 0.00060677 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_354-4_0_4_load_42 | 16 | 0.002863 | 0.00071754 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_354-4_0_4_load_33 | 17 | 0.0050781 | 0.0012727 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_354-4_0_4_load_55 | 18 | 0.0037561 | 0.00094137 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_354-4_0_4_load_61 | 19 | 0.0057156 | 0.0014325 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_354-4_0_4_load_16 | 20 | 0.0048703 | 0.0012206 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_354-4_0_4_load_17 | 21 | 0.014911 | 0.0037369 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_354-4_0_4_load_19 | 22 | 0.0058311 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_354-4_0_4_load_22 | 26 | 0.0019472 | 0.00048801 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_354-4_0_4_load_23 | 28 | 0.0017557 | 0.00044002 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_354-4_0_4_load_27 | 29 | 0.0053355 | 0.0013372 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_354-4_0_4_load_26 | 30 | 0.0030255 | 0.00075827 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_354-4_0_4_load_84 | 31 | 0.00074089 | 0.00018569 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_354-4_0_4_load_24 | 32 | 0.0010558 | 0.00026462 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_354-4_0_4_load_49 | 35 | 0.0022981 | 0.00057595 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_354-4_0_4_load_82 | 38 | 0.064181 | 0.016085 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_354-4_0_4_load_28 | 39 | 0.010574 | 0.00265 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_354-4_0_4_load_46 | 40 | 0.0046382 | 0.0011625 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_354-4_0_4_load_31 | 42 | 0.0048083 | 0.0012051 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_354-4_0_4_load_40 | 43 | 0.0041991 | 0.0010524 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_354-4_0_4_load_45 | 44 | 0.0048722 | 0.0012211 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_354-4_0_4_load_48 | 45 | 0.001524 | 0.00038195 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_354-4_0_4_load_83 | 46 | 0.017678 | 0.0044304 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_354-4_0_4_load_50 | 47 | 0.0038345 | 0.00096101 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_354-4_0_4_load_87 | 49 | 0.0042199 | 0.0010576 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_354-4_0_4_load_73 | 52 | 0.016316 | 0.0040893 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_354-4_0_4_load_71 | 53 | 0.012625 | 0.0031642 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_354-4_0_4_load_80 | 54 | 0.0039257 | 0.00098388 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_354-4_0_4_load_47 | 55 | 0.0039974 | 0.0010019 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_354-4_0_4_load_38 | 56 | 0.0058439 | 0.0014646 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_354-4_0_4_load_32 | 57 | 0.0041459 | 0.001039 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_354-4_0_4_load_34 | 58 | 0.0017269 | 0.0004328 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_354-4_0_4_load_43 | 59 | 0.0036183 | 0.00090683 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_354-4_0_4_load_36 | 60 | 0.002111 | 0.00052907 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_354-4_0_4_load_37 | 61 | 0.0054909 | 0.0013762 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_354-4_0_4_load_39 | 62 | 0.003527 | 0.00088394 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_354-4_0_4_load_41 | 63 | 0.0048072 | 0.0012048 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_354-4_0_4_load_44 | 64 | 0.0022492 | 0.00056371 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_354-4_0_4_load_89 | 66 | 0.012092 | 0.0030305 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_354-4_0_4_load_51 | 67 | 0.0073271 | 0.0018364 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_354-4_0_4_load_56 | 68 | 0.0032595 | 0.0008169 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_354-4_0_4_load_54 | 69 | 0.0048032 | 0.0012038 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_354-4_0_4_load_53 | 70 | 0.003919 | 0.00098219 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_354-4_0_4_load_58 | 71 | 0.0041547 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_354-4_0_4_load_68 | 74 | 0.015021 | 0.0037646 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_354-4_0_4_load_81 | 76 | 0.018996 | 0.0047607 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_354-4_0_4_load_88 | 78 | 0.0015886 | 0.00039814 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_354-4_0_4_load_77 | 81 | 0.016705 | 0.0041865 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_354-4_0_4_load_72 | 83 | 0.01223 | 0.0030652 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_354-4_0_4_load_79 | 85 | 0.009237 | 0.002315 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_354-4_0_4_line_0 |  | 0 | 1 | 0.015729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_354-4_0_4_line_1 |  | 1 | 2 | 0.048118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_354-4_0_4_line_2 |  | 2 | 3 | 0.0601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_354-4_0_4_line_3 |  | 2 | 4 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_354-4_0_4_line_4 |  | 3 | 5 | 0.020051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_354-4_0_4_line_5 |  | 4 | 6 | 0.0058332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_354-4_0_4_line_6 |  | 5 | 19 | 0.020458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_354-4_0_4_line_7 |  | 6 | 7 | 0.014945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_354-4_0_4_line_8 |  | 7 | 8 | 0.016136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_354-4_0_4_line_9 |  | 9 | 10 | 0.010398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_354-4_0_4_line_10 |  | 9 | 11 | 0.0073691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_354-4_0_4_line_11 |  | 11 | 12 | 0.046335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_354-4_0_4_line_12 |  | 11 | 13 | 0.049736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_354-4_0_4_line_13 |  | 12 | 14 | 0.043952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_354-4_0_4_line_14 |  | 13 | 15 | 0.0074352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_354-4_0_4_line_15 |  | 14 | 16 | 0.012136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_354-4_0_4_line_16 |  | 14 | 17 | 0.019957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_354-4_0_4_line_17 |  | 15 | 18 | 0.015742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_354-4_0_4_line_18 |  | 16 | 59 | 0.00828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_354-4_0_4_line_19 |  | 17 | 57 | 0.010071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_354-4_0_4_line_20 |  | 18 | 70 | 0.0084716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_354-4_0_4_line_21 |  | 19 | 72 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_354-4_0_4_line_22 |  | 20 | 21 | 0.013997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_354-4_0_4_line_23 |  | 21 | 22 | 0.012902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_354-4_0_4_line_24 |  | 22 | 26 | 0.039502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_354-4_0_4_line_25 |  | 23 | 24 | 0.060873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_354-4_0_4_line_26 |  | 23 | 25 | 0.080597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_354-4_0_4_line_27 |  | 24 | 27 | 0.022443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_354-4_0_4_line_28 |  | 24 | 28 | 0.060058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_354-4_0_4_line_29 |  | 25 | 29 | 0.064758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_354-4_0_4_line_30 |  | 26 | 30 | 0.0018164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_354-4_0_4_line_31 |  | 27 | 31 | 0.02206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_354-4_0_4_line_32 |  | 28 | 32 | 8.7805e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_354-4_0_4_line_33 |  | 29 | 39 | 0.012086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_354-4_0_4_line_34 |  | 30 | 40 | 0.022871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_354-4_0_4_line_35 |  | 31 | 41 | 0.017008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_354-4_0_4_line_36 |  | 33 | 34 | 0.005376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_354-4_0_4_line_37 |  | 33 | 35 | 0.018088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_354-4_0_4_line_38 |  | 34 | 46 | 0.060181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_354-4_0_4_line_39 |  | 34 | 38 | 0.066329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_354-4_0_4_line_40 |  | 35 | 47 | 0.00030731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_354-4_0_4_line_41 |  | 36 | 37 | 0.054837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_354-4_0_4_line_42 |  | 36 | 38 | 0.027902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_354-4_0_4_line_43 |  | 37 | 54 | 0.0091887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_354-4_0_4_line_44 |  | 40 | 45 | 0.039533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_354-4_0_4_line_45 |  | 40 | 44 | 0.021996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_354-4_0_4_line_46 |  | 41 | 65 | 0.053222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_354-4_0_4_line_47 |  | 42 | 43 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_354-4_0_4_line_48 |  | 42 | 44 | 0.03519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_354-4_0_4_line_49 |  | 43 | 55 | 0.029231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_354-4_0_4_line_50 |  | 43 | 56 | 0.025414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_354-4_0_4_line_51 |  | 45 | 65 | 0.036705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_354-4_0_4_line_52 |  | 47 | 67 | 0.028499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_354-4_0_4_line_53 |  | 48 | 49 | 0.015312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_354-4_0_4_line_54 |  | 48 | 50 | 0.006906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_354-4_0_4_line_55 |  | 50 | 74 | 0.018808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_354-4_0_4_line_56 |  | 50 | 75 | 0.005378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_354-4_0_4_line_57 |  | 51 | 52 | 0.021473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_354-4_0_4_line_58 |  | 51 | 53 | 0.015684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_354-4_0_4_line_59 |  | 52 | 76 | 0.00017154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_354-4_0_4_line_60 |  | 53 | 83 | 0.00022163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_354-4_0_4_line_61 |  | 54 | 80 | 0.010414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_354-4_0_4_line_62 |  | 56 | 60 | 0.0030829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_354-4_0_4_line_63 |  | 57 | 58 | 0.02543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_354-4_0_4_line_64 |  | 59 | 64 | 0.011684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_354-4_0_4_line_65 |  | 60 | 61 | 0.015602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_354-4_0_4_line_66 |  | 61 | 62 | 0.013081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_354-4_0_4_line_67 |  | 62 | 63 | 0.0064091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_354-4_0_4_line_68 |  | 63 | 64 | 0.010677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_354-4_0_4_line_69 |  | 65 | 66 | 0.017078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_354-4_0_4_line_70 |  | 67 | 68 | 0.0011058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_354-4_0_4_line_71 |  | 68 | 69 | 0.01901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_354-4_0_4_line_72 |  | 69 | 70 | 0.012619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_354-4_0_4_line_73 |  | 71 | 72 | 0.026678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_354-4_0_4_line_74 |  | 71 | 73 | 0.013134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_354-4_0_4_line_75 |  | 73 | 74 | 0.01268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_354-4_0_4_line_76 |  | 75 | 76 | 0.021141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_354-4_0_4_line_77 |  | 77 | 78 | 0.012287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_354-4_0_4_line_78 |  | 77 | 79 | 0.15059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_354-4_0_4_line_79 |  | 79 | 80 | 0.019464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_354-4_0_4_line_80 |  | 79 | 81 | 0.021493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_354-4_0_4_line_81 |  | 80 | 85 | 0.012679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_354-4_0_4_line_82 |  | 81 | 84 | 0.0081129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_354-4_0_4_line_83 |  | 82 | 83 | 0.015265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_354-4_0_4_line_84 |  | 82 | 84 | 0.013469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_354-4_0_4_trafo_29 | 0.63 MVA 20/0.4 kV | 86 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2598450.6545 | 1202359.6501 | 2598454.7368 | 1202344.652 | 2598454.7905 | 1202344.4748
1 | 2598450.1178 | 1202400.6168 | 2598461.023 | 1202375.0889 | 2598461.3954 | 1202373.3323 | 2598461.2577 | 1202370.8199 | 2598460.5341 | 1202368.0297 | 2598458.9582 | 1202365.4732 | 2598456.4616 | 1202363.1615 | 2598450.6545 | 1202359.6501
2 | 2598450.1178 | 1202400.6168 | 2598463.2097 | 1202413.4202 | 2598469.207 | 1202417.2984 | 2598478.9107 | 1202423.099 | 2598486.8637 | 1202427.1546 | 2598497.0007 | 1202431.5876 | 2598500.245 | 1202432.4221
3 | 2598450.1178 | 1202400.6168 | 2598434.2797 | 1202384.6229
4 | 2598519.6632 | 1202437.4178 | 2598513.4079 | 1202435.8078 | 2598500.245 | 1202432.4221
5 | 2598430.1753 | 1202380.478 | 2598434.2797 | 1202384.6229
6 | 2598519.6632 | 1202437.4178 | 2598537.2272 | 1202441.9383 | 2598539.5296 | 1202442.2347
7 | 2598420.12 | 1202369.397 | 2598430.1753 | 1202380.478
8 | 2598420.12 | 1202369.397 | 2598412.2036 | 1202360.7946 | 2598409.1942 | 1202357.5232
9 | 2598425.1679 | 1202451.3183 | 2598421.5726 | 1202448.8729 | 2598416.9141 | 1202445.0128
10 | 2598431.2612 | 1202455.4627 | 2598425.1679 | 1202451.3183
11 | 2598431.2612 | 1202455.4627 | 2598427.5647 | 1202461.5003 | 2598431.9111 | 1202466.7019 | 2598443.1446 | 1202473.8916 | 2598432.0496 | 1202489.4874
12 | 2598431.2612 | 1202455.4627 | 2598464.0863 | 1202475.6536 | 2598473.7156 | 1202481.3693
13 | 2598400.9329 | 1202520.4284 | 2598429.4834 | 1202493.0946 | 2598432.0496 | 1202489.4874
14 | 2598480.1093 | 1202485.1644 | 2598473.7156 | 1202481.3693
15 | 2598400.9329 | 1202520.4284 | 2598410.755 | 1202527.5559
16 | 2598400.9329 | 1202520.4284 | 2598388.2393 | 1202505.0289
17 | 2598480.1093 | 1202485.1644 | 2598493.6458 | 1202493.1993
18 | 2598410.755 | 1202527.5559 | 2598417.4565 | 1202532.4189
19 | 2598381.4514 | 1202497.7019 | 2598382.9305 | 1202498.5884 | 2598388.2393 | 1202505.0289
20 | 2598500.9307 | 1202497.5234 | 2598493.6458 | 1202493.1993
21 | 2598550.9394 | 1202441.7236 | 2598545.7651 | 1202442.2696 | 2598540.6744 | 1202442.3821 | 2598539.5296 | 1202442.2347
22 | 2598568.8419 | 1202688.3342 | 2598566.6251 | 1202674.5135
23 | 2598566.6251 | 1202674.5135 | 2598564.5818 | 1202661.7741
24 | 2598547.6843 | 1202627.2024 | 2598547.6843 | 1202627.2024 | 2598554.5041 | 1202634.5602 | 2598560.5863 | 1202644.364 | 2598562.7717 | 1202650.489 | 2598564.5818 | 1202661.7741
25 | 2598568.7192 | 1202759.5576 | 2598544.9555 | 1202787.1118 | 2598543.1752 | 1202788.0573 | 2598541.2046 | 1202788.4913 | 2598539.0816 | 1202788.2695 | 2598521.4957 | 1202782.7711
26 | 2598568.7192 | 1202759.5576 | 2598573.9219 | 1202751.941 | 2598579.5505 | 1202743.7018 | 2598584.746 | 1202737.5083 | 2598589.843 | 1202733.1158 | 2598597.0476 | 1202728.2224 | 2598607.3415 | 1202722.8281 | 2598624.9545 | 1202714.397 | 2598631.1782 | 1202711.8497
27 | 2598521.4957 | 1202782.7711 | 2598506.0025 | 1202778.2171 | 2598503.7653 | 1202778.0621 | 2598501.5816 | 1202778.4295 | 2598499.8318 | 1202779.1637
28 | 2598521.4957 | 1202782.7711 | 2598524.4838 | 1202774.3436 | 2598541.5549 | 1202726.1625
29 | 2598631.1782 | 1202711.8497 | 2598613.605 | 1202665.6623 | 2598606.9749 | 1202651.8285
30 | 2598547.6843 | 1202627.2024 | 2598546.2567 | 1202626.0794
31 | 2598499.8318 | 1202779.1637 | 2598492.8366 | 1202769.8605 | 2598491.4589 | 1202768.3378 | 2598489.5183 | 1202767.0154 | 2598484.1845 | 1202764.2269
32 | 2598541.5549 | 1202726.1625 | 2598541.5842 | 1202726.0797
33 | 2598601.7514 | 1202640.9296 | 2598606.9749 | 1202651.8285
34 | 2598546.2567 | 1202626.0794 | 2598526.8835 | 1202638.236
35 | 2598472.5766 | 1202752.3676 | 2598473.8552 | 1202753.5345 | 2598474.7686 | 1202754.8572 | 2598477.6309 | 1202759.6368 | 2598478.8031 | 1202760.9594 | 2598480.0817 | 1202762.0819 | 2598484.1845 | 1202764.2269
36 | 2598564.9973 | 1202544.709 | 2598561.4372 | 1202548.7454
37 | 2598561.4372 | 1202548.7454 | 2598556.1625 | 1202543.1548 | 2598548.6898 | 1202535.9187
38 | 2598564.9973 | 1202544.709 | 2598566.0167 | 1202543.5526 | 2598593.6359 | 1202563.323 | 2598594.7009 | 1202561.8998 | 2598580.0425 | 1202550.6529 | 2598582.9712 | 1202547.2058
39 | 2598564.9973 | 1202544.709 | 2598586.3162 | 1202565.048 | 2598596.0204 | 1202574.3284 | 2598615.0632 | 1202587.991
40 | 2598548.6898 | 1202535.9187 | 2598548.4691 | 1202535.7049
41 | 2598676.6824 | 1202588.4499 | 2598669.2307 | 1202579.1355 | 2598664.8943 | 1202582.8163 | 2598664.4683 | 1202583.1833 | 2598663.9887 | 1202582.5942 | 2598663.4714 | 1202583.039 | 2598662.1248 | 1202584.1955 | 2598660.9076 | 1202585.2408 | 2598658.8307 | 1202587.02 | 2598657.8264 | 1202587.8763 | 2598656.0082 | 1202589.4442 | 2598655.1333 | 1202590.2004 | 2598653.1553 | 1202591.8907 | 2598652.0674 | 1202592.8248 | 2598649.1232 | 1202595.3491 | 2598648.2863 | 1202596.0607 | 2598646.4985 | 1202597.5953 | 2598645.1291 | 1202598.7741 | 2598642.7707 | 1202600.798 | 2598641.7817 | 1202601.6431 | 2598642.2689 | 1202602.21 | 2598641.4624 | 1202602.9105 | 2598639.6518 | 1202604.4785 | 2598638.9215 | 1202605.1123 | 2598637.7342 | 1202604.2566
42 | 2598637.7342 | 1202604.2566 | 2598615.0632 | 1202587.991
43 | 2598676.6824 | 1202588.4499 | 2598682.1702 | 1202581.08
44 | 2598526.8835 | 1202638.236 | 2598526.8835 | 1202638.236 | 2598511.9771 | 1202667.8781 | 2598512.1374 | 1202669.6568 | 2598512.9292 | 1202671.2797 | 2598514.9842 | 1202673.126
45 | 2598508.4575 | 1202626.223 | 2598526.8835 | 1202638.236
46 | 2598472.5766 | 1202752.3676 | 2598496.1217 | 1202704.6133
47 | 2598488.3116 | 1202580.8451 | 2598502.1487 | 1202591.6036
48 | 2598502.1487 | 1202591.6036 | 2598508.4575 | 1202626.223
49 | 2598488.3116 | 1202580.8451 | 2598466.5052 | 1202600.3108
50 | 2598488.3116 | 1202580.8451 | 2598468.2484 | 1202565.2459
51 | 2598496.1217 | 1202704.6133 | 2598514.9842 | 1202673.126
52 | 2598527.7923 | 1202516.1028 | 2598531.6238 | 1202519.3927 | 2598548.4691 | 1202535.7049
53 | 2598596.8062 | 1202490.405 | 2598582.1059 | 1202494.8333
54 | 2598601.089 | 1202484.9788 | 2598596.8062 | 1202490.405
55 | 2598601.089 | 1202484.9788 | 2598595.5254 | 1202480.6 | 2598585.9963 | 1202473.7634
56 | 2598601.089 | 1202484.9788 | 2598605.3206 | 1202488.3129
57 | 2598639.9343 | 1202513.4625 | 2598622.5622 | 1202500.8403
58 | 2598639.9343 | 1202513.4625 | 2598652.6253 | 1202522.6782
59 | 2598622.5622 | 1202500.8403 | 2598622.4235 | 1202500.7395
60 | 2598652.6253 | 1202522.6782 | 2598652.8046 | 1202522.8084
61 | 2598688.3895 | 1202572.7276 | 2598682.1702 | 1202581.08
62 | 2598465.8145 | 1202563.3536 | 2598468.2484 | 1202565.2459
63 | 2598360.8283 | 1202483.0974 | 2598366.5599 | 1202488.7766 | 2598381.4514 | 1202497.7019
64 | 2598417.4565 | 1202532.4189 | 2598426.1554 | 1202538.7313 | 2598426.9558 | 1202539.2171
65 | 2598465.8145 | 1202563.3536 | 2598462.5874 | 1202560.8445 | 2598452.7441 | 1202554.8699
66 | 2598452.7441 | 1202554.8699 | 2598441.562 | 1202548.0826
67 | 2598436.0831 | 1202544.7572 | 2598441.562 | 1202548.0826
68 | 2598436.0831 | 1202544.7572 | 2598426.9558 | 1202539.2171
69 | 2598511.7299 | 1202711.6463 | 2598510.9993 | 1202711.313 | 2598509.6371 | 1202710.7019 | 2598508.3662 | 1202710.1241 | 2598507.0116 | 1202709.5242 | 2598505.931 | 1202709.0353 | 2598504.5612 | 1202708.4131 | 2598503.3284 | 1202707.8576 | 2598502.0347 | 1202707.2687 | 2598500.8019 | 1202706.7243 | 2598499.5005 | 1202706.1354 | 2598496.1217 | 1202704.6133
70 | 2598527.7923 | 1202516.1028 | 2598526.9534 | 1202515.3824
71 | 2598511.7818 | 1202503.9643 | 2598512.7791 | 1202504.5563 | 2598522.46 | 1202511.5242 | 2598526.9534 | 1202515.3824
72 | 2598500.9307 | 1202497.5234 | 2598511.7818 | 1202503.9643
73 | 2598550.9394 | 1202441.7236 | 2598556.6112 | 1202452.5168 | 2598567.0381 | 1202462.572
74 | 2598576.492 | 1202471.6889 | 2598567.0381 | 1202462.572
75 | 2598576.492 | 1202471.6889 | 2598578.8273 | 1202468.6199 | 2598585.9963 | 1202473.7634
76 | 2598605.3206 | 1202488.3129 | 2598622.4235 | 1202500.7395
77 | 2598754.603 | 1202457.0945 | 2598757.8219 | 1202457.4385 | 2598766.4517 | 1202460.2714
78 | 2598700.0281 | 1202557.1053 | 2598712.4258 | 1202566.1185 | 2598722.5452 | 1202561.6693 | 2598715.0683 | 1202541.7047 | 2598741.1124 | 1202529.47 | 2598744.4345 | 1202515.1838 | 2598744.4486 | 1202510.0032 | 2598744.4916 | 1202498.2412 | 2598745.0235 | 1202494.6725 | 2598745.7447 | 1202487.2239 | 2598746.9307 | 1202482.4989 | 2598748.7707 | 1202475.8059 | 2598754.603 | 1202457.0945
79 | 2598700.0281 | 1202557.1053 | 2598688.3895 | 1202572.7276
80 | 2598700.0281 | 1202557.1053 | 2598682.6352 | 1202544.4788
81 | 2598688.3895 | 1202572.7276 | 2598678.1136 | 1202565.2996
82 | 2598676.0699 | 1202539.7126 | 2598682.6352 | 1202544.4788
83 | 2598665.1562 | 1202531.7776 | 2598652.8046 | 1202522.8084
84 | 2598665.1562 | 1202531.7776 | 2598676.0699 | 1202539.7126

## bus_geodata
| x | y | coords
0 | 2598454.7905 | 1202344.4748
1 | 2598450.6545 | 1202359.6501
2 | 2598450.1178 | 1202400.6168
3 | 2598500.245 | 1202432.4221
4 | 2598434.2797 | 1202384.6229
5 | 2598519.6632 | 1202437.4178
6 | 2598430.1753 | 1202380.478
7 | 2598420.12 | 1202369.397
8 | 2598409.1942 | 1202357.5232
9 | 2598425.1679 | 1202451.3183
10 | 2598416.9141 | 1202445.0128
11 | 2598431.2612 | 1202455.4627
12 | 2598432.0496 | 1202489.4874
13 | 2598473.7156 | 1202481.3693
14 | 2598400.9329 | 1202520.4284
15 | 2598480.1093 | 1202485.1644
16 | 2598410.755 | 1202527.5559
17 | 2598388.2393 | 1202505.0289
18 | 2598493.6458 | 1202493.1993
19 | 2598539.5296 | 1202442.2347
20 | 2598568.8419 | 1202688.3342
21 | 2598566.6251 | 1202674.5135
22 | 2598564.5818 | 1202661.7741
23 | 2598568.7192 | 1202759.5576
24 | 2598521.4957 | 1202782.7711
25 | 2598631.1782 | 1202711.8497
26 | 2598547.6843 | 1202627.2024
27 | 2598499.8318 | 1202779.1637
28 | 2598541.5549 | 1202726.1625
29 | 2598606.9749 | 1202651.8285
30 | 2598546.2567 | 1202626.0794
31 | 2598484.1845 | 1202764.2269
32 | 2598541.5842 | 1202726.0797
33 | 2598561.4372 | 1202548.7454
34 | 2598564.9973 | 1202544.709
35 | 2598548.6898 | 1202535.9187
36 | 2598637.7342 | 1202604.2566
37 | 2598676.6824 | 1202588.4499
38 | 2598615.0632 | 1202587.991
39 | 2598601.7514 | 1202640.9296
40 | 2598526.8835 | 1202638.236
41 | 2598472.5766 | 1202752.3676
42 | 2598502.1487 | 1202591.6036
43 | 2598488.3116 | 1202580.8451
44 | 2598508.4575 | 1202626.223
45 | 2598514.9842 | 1202673.126
46 | 2598582.9712 | 1202547.2058
47 | 2598548.4691 | 1202535.7049
48 | 2598596.8062 | 1202490.405
49 | 2598582.1059 | 1202494.8333
50 | 2598601.089 | 1202484.9788
51 | 2598639.9343 | 1202513.4625
52 | 2598622.5622 | 1202500.8403
53 | 2598652.6253 | 1202522.6782
54 | 2598682.1702 | 1202581.08
55 | 2598466.5052 | 1202600.3108
56 | 2598468.2484 | 1202565.2459
57 | 2598381.4514 | 1202497.7019
58 | 2598360.8283 | 1202483.0974
59 | 2598417.4565 | 1202532.4189
60 | 2598465.8145 | 1202563.3536
61 | 2598452.7441 | 1202554.8699
62 | 2598441.562 | 1202548.0826
63 | 2598436.0831 | 1202544.7572
64 | 2598426.9558 | 1202539.2171
65 | 2598496.1217 | 1202704.6133
66 | 2598511.7299 | 1202711.6463
67 | 2598527.7923 | 1202516.1028
68 | 2598526.9534 | 1202515.3824
69 | 2598511.7818 | 1202503.9643
70 | 2598500.9307 | 1202497.5234
71 | 2598567.0381 | 1202462.572
72 | 2598550.9394 | 1202441.7236
73 | 2598576.492 | 1202471.6889
74 | 2598585.9963 | 1202473.7634
75 | 2598605.3206 | 1202488.3129
76 | 2598622.4235 | 1202500.7395
77 | 2598754.603 | 1202457.0945
78 | 2598766.4517 | 1202460.2714
79 | 2598700.0281 | 1202557.1053
80 | 2598688.3895 | 1202572.7276
81 | 2598682.6352 | 1202544.4788
82 | 2598665.1562 | 1202531.7776
83 | 2598652.8046 | 1202522.8084
84 | 2598676.0699 | 1202539.7126
85 | 2598678.1136 | 1202565.2996
86 | 2598564.9973 | 1202544.709

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1