## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_354-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_354-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_354-5_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_354-5_0_3_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_354-5_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_354-5_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_354-5_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_354-5_0_3_node_92 | 0.4 | n |  | TRUE
8 | bus_LV_354-5_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_354-5_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_354-5_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_354-5_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_354-5_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_354-5_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_354-5_0_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_354-5_0_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_354-5_0_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_354-5_0_3_node_93 | 0.4 | n |  | TRUE
18 | bus_LV_354-5_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_354-5_0_3_node_94 | 0.4 | n |  | TRUE
20 | bus_LV_354-5_0_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_354-5_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_354-5_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_354-5_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_354-5_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_354-5_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_354-5_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_354-5_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_354-5_0_3_node_84 | 0.4 | n |  | TRUE
29 | bus_LV_354-5_0_3_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_354-5_0_3_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_354-5_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_354-5_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_354-5_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_354-5_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_354-5_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_354-5_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_354-5_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_354-5_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_354-5_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_354-5_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_354-5_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_354-5_0_3_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_354-5_0_3_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_354-5_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_354-5_0_3_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_354-5_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_354-5_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_354-5_0_3_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_354-5_0_3_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_354-5_0_3_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_354-5_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_354-5_0_3_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_354-5_0_3_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_354-5_0_3_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_354-5_0_3_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_354-5_0_3_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_354-5_0_3_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_354-5_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_354-5_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_354-5_0_3_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_354-5_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_354-5_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_354-5_0_3_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_354-5_0_3_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_354-5_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_354-5_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_354-5_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_354-5_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_354-5_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_354-5_0_3_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_354-5_0_3_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_354-5_0_3_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_354-5_0_3_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_354-5_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_354-5_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_354-5_0_3_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_354-5_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_354-5_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_354-5_0_3_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_354-5_0_3_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_354-5_0_3_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_354-5_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_354-5_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_354-5_0_3_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_354-5_0_3_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_354-5_0_3_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_354-5_0_3_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_354-5_0_3_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_354-5_0_3_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_354-5_0_3_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_354-5_0_3_node_91 | 0.4 | n |  | TRUE
92 | bus_MV_405_1_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_354-5_0_3_load_0 | 0 | 0.0099396 | 0.0024911 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_354-5_0_3_load_1 | 1 | 0.0033439 | 0.00083806 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_354-5_0_3_load_3 | 2 | 0.001711 | 0.00042882 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_354-5_0_3_load_14 | 4 | 0.0017567 | 0.00044026 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_354-5_0_3_load_11 | 5 | 0.0039742 | 0.00099603 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_354-5_0_3_load_92 | 7 | 0.0032934 | 0.0008254 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_354-5_0_3_load_5 | 11 | 0.0039977 | 0.0010019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_354-5_0_3_load_34 | 13 | 0.0018468 | 0.00046285 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_354-5_0_3_load_33 | 14 | 0.0018142 | 0.00045469 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_354-5_0_3_load_35 | 15 | 0.0017613 | 0.00044143 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_354-5_0_3_load_93 | 17 | 0.004223 | 0.0010584 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_354-5_0_3_load_94 | 19 | 0.0038289 | 0.00095961 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_354-5_0_3_load_17 | 21 | 0.0017994 | 0.00045097 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_354-5_0_3_load_15 | 22 | 0.0049804 | 0.0012482 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_354-5_0_3_load_50 | 24 | 0.037185 | 0.0093194 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_354-5_0_3_load_47 | 26 | 0.0019282 | 0.00048324 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_354-5_0_3_load_84 | 28 | 0.0022852 | 0.00057273 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_354-5_0_3_load_86 | 29 | 0.0023197 | 0.00058138 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_354-5_0_3_load_85 | 30 | 0.0022857 | 0.00057285 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_354-5_0_3_load_48 | 32 | 0.016207 | 0.0040617 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_354-5_0_3_load_32 | 34 | 0.0017671 | 0.00044287 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_354-5_0_3_load_40 | 36 | 0.0035142 | 0.00088074 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_354-5_0_3_load_41 | 37 | 0.0019234 | 0.00048205 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_354-5_0_3_load_37 | 38 | 0.0017632 | 0.00044191 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_354-5_0_3_load_39 | 41 | 0.0015204 | 0.00038104 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_354-5_0_3_load_80 | 43 | 0.0030021 | 0.00075239 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_354-5_0_3_load_42 | 44 | 0.0034949 | 0.00087589 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_354-5_0_3_load_87 | 45 | 0.0019091 | 0.00047847 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_354-5_0_3_load_36 | 46 | 0.0017548 | 0.0004398 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_354-5_0_3_load_38 | 47 | 0.0015361 | 0.00038498 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_354-5_0_3_load_56 | 48 | 0.0029982 | 0.00075143 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_354-5_0_3_load_75 | 49 | 0.0016995 | 0.00042595 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_354-5_0_3_load_79 | 50 | 0.003007 | 0.00075363 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_354-5_0_3_load_62 | 51 | 0.0030099 | 0.00075434 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_354-5_0_3_load_83 | 52 | 0.0022891 | 0.00057369 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_354-5_0_3_load_25 | 53 | 0.010603 | 0.0026574 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_354-5_0_3_load_26 | 54 | 0.0029106 | 0.00072947 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_354-5_0_3_load_30 | 57 | 0.0029742 | 0.0007454 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_354-5_0_3_load_57 | 58 | 0.0024 | 0.0006015 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_354-5_0_3_load_59 | 59 | 0.0029802 | 0.00074692 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_354-5_0_3_load_78 | 60 | 0.0015108 | 0.00037864 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_354-5_0_3_load_58 | 61 | 0.0058732 | 0.001472 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_354-5_0_3_load_43 | 62 | 0.0015705 | 0.00039361 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_354-5_0_3_load_88 | 63 | 0.0019108 | 0.0004789 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_354-5_0_3_load_44 | 64 | 0.0035908 | 0.00089995 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_354-5_0_3_load_45 | 65 | 0.0015225 | 0.00038157 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_354-5_0_3_load_46 | 66 | 0.010645 | 0.002668 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_354-5_0_3_load_51 | 67 | 0.0029561 | 0.00074088 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_354-5_0_3_load_52 | 68 | 0.0029212 | 0.00073213 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_354-5_0_3_load_53 | 69 | 0.0015094 | 0.00037829 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_354-5_0_3_load_54 | 70 | 0.002996 | 0.00075087 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_354-5_0_3_load_55 | 71 | 0.0015103 | 0.00037852 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_354-5_0_3_load_77 | 72 | 0.0015094 | 0.00037829 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_354-5_0_3_load_61 | 74 | 0.0029802 | 0.00074692 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_354-5_0_3_load_68 | 75 | 0.0029829 | 0.00074759 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_354-5_0_3_load_69 | 76 | 0.0029786 | 0.0007465 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_354-5_0_3_load_63 | 77 | 0.0029846 | 0.00074801 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_354-5_0_3_load_64 | 78 | 0.0029796 | 0.00074675 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_354-5_0_3_load_65 | 79 | 0.0029802 | 0.00074692 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_354-5_0_3_load_66 | 80 | 0.0029802 | 0.00074692 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_354-5_0_3_load_67 | 81 | 0.0029802 | 0.00074692 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_354-5_0_3_load_82 | 82 | 0.0029846 | 0.00074801 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_354-5_0_3_load_81 | 83 | 0.0029802 | 0.00074692 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_354-5_0_3_load_70 | 84 | 0.0019147 | 0.00047986 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_354-5_0_3_load_71 | 85 | 0.0019144 | 0.00047979 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_354-5_0_3_load_72 | 86 | 0.014988 | 0.0037565 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_354-5_0_3_load_73 | 87 | 0.0019127 | 0.00047936 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_354-5_0_3_load_74 | 88 | 0.0019178 | 0.00048066 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_354-5_0_3_load_89 | 89 | 0.0019193 | 0.00048102 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_354-5_0_3_load_90 | 90 | 0.0019234 | 0.00048205 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_354-5_0_3_load_91 | 91 | 0.0019227 | 0.00048188 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_354-5_0_3_line_0 |  | 0 | 1 | 0.021493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_354-5_0_3_line_1 |  | 1 | 2 | 0.077959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_354-5_0_3_line_2 |  | 2 | 3 | 0.017227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_354-5_0_3_line_3 |  | 3 | 4 | 0.016216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_354-5_0_3_line_4 |  | 3 | 5 | 0.019442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_354-5_0_3_line_5 |  | 4 | 16 | 0.015116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_354-5_0_3_line_6 |  | 5 | 9 | 0.023822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_354-5_0_3_line_7 |  | 6 | 7 | 0.028415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_354-5_0_3_line_8 |  | 6 | 8 | 0.050096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_354-5_0_3_line_9 |  | 7 | 17 | 0.0022483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_354-5_0_3_line_10 |  | 8 | 12 | 0.021911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_354-5_0_3_line_11 |  | 8 | 11 | 0.011562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_354-5_0_3_line_12 |  | 9 | 10 | 0.21322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_354-5_0_3_line_13 |  | 10 | 21 | 0.0095222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_354-5_0_3_line_14 |  | 10 | 22 | 0.0090937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_354-5_0_3_line_15 |  | 12 | 13 | 0.00668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_354-5_0_3_line_16 |  | 12 | 14 | 0.016336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_354-5_0_3_line_17 |  | 13 | 15 | 0.010156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_354-5_0_3_line_18 |  | 14 | 16 | 0.0076154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_354-5_0_3_line_19 |  | 16 | 34 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_354-5_0_3_line_20 |  | 18 | 19 | 0.003481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_354-5_0_3_line_21 |  | 18 | 20 | 0.030477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_354-5_0_3_line_22 |  | 20 | 31 | 0.007054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_354-5_0_3_line_23 |  | 20 | 32 | 0.027089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_354-5_0_3_line_24 |  | 22 | 33 | 0.1682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_354-5_0_3_line_25 |  | 23 | 24 | 0.042606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_354-5_0_3_line_26 |  | 23 | 25 | 0.038741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_354-5_0_3_line_27 |  | 23 | 26 | 0.007248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_354-5_0_3_line_28 |  | 25 | 30 | 0.01853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_354-5_0_3_line_29 |  | 27 | 28 | 0.013826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_354-5_0_3_line_30 |  | 27 | 29 | 0.013697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_354-5_0_3_line_31 |  | 28 | 52 | 0.005166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_354-5_0_3_line_32 |  | 29 | 30 | 3.0366e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_354-5_0_3_line_33 |  | 31 | 55 | 0.022209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_354-5_0_3_line_34 |  | 33 | 35 | 0.055657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_354-5_0_3_line_35 |  | 35 | 36 | 0.013545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_354-5_0_3_line_36 |  | 35 | 37 | 0.0052637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_354-5_0_3_line_37 |  | 35 | 38 | 0.0093576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_354-5_0_3_line_38 |  | 36 | 44 | 0.008335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_354-5_0_3_line_39 |  | 37 | 45 | 0.0051872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_354-5_0_3_line_40 |  | 38 | 46 | 2.2265e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_354-5_0_3_line_41 |  | 39 | 40 | 0.076915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_354-5_0_3_line_42 |  | 39 | 41 | 0.020931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_354-5_0_3_line_43 |  | 40 | 42 | 0.002303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_354-5_0_3_line_44 |  | 40 | 43 | 0.01402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_354-5_0_3_line_45 |  | 41 | 47 | 5.1037e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_354-5_0_3_line_46 |  | 42 | 48 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_354-5_0_3_line_47 |  | 42 | 49 | 0.020155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_354-5_0_3_line_48 |  | 44 | 62 | 0.0064227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_354-5_0_3_line_49 |  | 45 | 63 | 0.0051676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_354-5_0_3_line_50 |  | 46 | 47 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_354-5_0_3_line_51 |  | 48 | 70 | 6.7682e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_354-5_0_3_line_52 |  | 50 | 51 | 6.2032e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_354-5_0_3_line_53 |  | 51 | 73 | 0.0094596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_354-5_0_3_line_54 |  | 52 | 81 | 0.0051665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_354-5_0_3_line_55 |  | 53 | 54 | 0.0014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_354-5_0_3_line_56 |  | 53 | 55 | 0.015293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_354-5_0_3_line_57 |  | 54 | 56 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_354-5_0_3_line_58 |  | 55 | 57 | 0.0081517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_354-5_0_3_line_59 |  | 56 | 58 | 0.01267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_354-5_0_3_line_60 |  | 57 | 59 | 5.9374e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_354-5_0_3_line_61 |  | 58 | 60 | 1.0945e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_354-5_0_3_line_62 |  | 59 | 61 | 0.0056679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_354-5_0_3_line_63 |  | 60 | 72 | 3.3741e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_354-5_0_3_line_64 |  | 61 | 73 | 0.0072998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_354-5_0_3_line_65 |  | 62 | 64 | 0.0020044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_354-5_0_3_line_66 |  | 63 | 87 | 0.005166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_354-5_0_3_line_67 |  | 64 | 65 | 0.0064699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_354-5_0_3_line_68 |  | 65 | 66 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_354-5_0_3_line_69 |  | 67 | 68 | 7.4763e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_354-5_0_3_line_70 |  | 67 | 69 | 0.0011107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_354-5_0_3_line_71 |  | 68 | 70 | 0.014367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_354-5_0_3_line_72 |  | 69 | 71 | 1.1591e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_354-5_0_3_line_73 |  | 71 | 72 | 5.8681e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_354-5_0_3_line_74 |  | 73 | 74 | 0.014093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_354-5_0_3_line_75 |  | 74 | 75 | 0.0051659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_354-5_0_3_line_76 |  | 75 | 76 | 0.0051668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_354-5_0_3_line_77 |  | 76 | 83 | 0.0051621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_354-5_0_3_line_78 |  | 77 | 78 | 0.005166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_354-5_0_3_line_79 |  | 77 | 79 | 0.0051665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_354-5_0_3_line_80 |  | 78 | 80 | 0.0051622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_354-5_0_3_line_81 |  | 79 | 81 | 0.0051627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_354-5_0_3_line_82 |  | 80 | 82 | 0.0051665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_354-5_0_3_line_83 |  | 82 | 83 | 0.0051665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_354-5_0_3_line_84 |  | 84 | 85 | 0.0051641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_354-5_0_3_line_85 |  | 84 | 86 | 0.0024922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_354-5_0_3_line_86 |  | 85 | 87 | 0.0051675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_354-5_0_3_line_87 |  | 86 | 88 | 0.0026735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_354-5_0_3_line_88 |  | 88 | 89 | 0.0051647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_354-5_0_3_line_89 |  | 89 | 90 | 0.0051667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_354-5_0_3_line_90 |  | 90 | 91 | 0.0051667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_354-5_0_3_trafo_90 | 0.63 MVA 20/0.4 kV | 92 | 90 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2598247.9597 | 1202333.8764 | 2598248.7644 | 1202334.3724 | 2598267.3424 | 1202343.1509
1 | 2598336.1406 | 1202379.4103 | 2598328.1974 | 1202373.3587 | 2598311.6363 | 1202364.0807 | 2598267.3424 | 1202343.1509
2 | 2598349.8438 | 1202389.8502 | 2598336.1406 | 1202379.4103
3 | 2598349.8438 | 1202389.8502 | 2598352.2167 | 1202385.4805 | 2598354.6369 | 1202386.7138 | 2598356.1656 | 1202383.8896 | 2598354.4152 | 1202383.0007 | 2598356.1775 | 1202380.1484
4 | 2598349.8438 | 1202389.8502 | 2598364.9492 | 1202402.0894
5 | 2598365.3235 | 1202369.657 | 2598357.9527 | 1202379.9091 | 2598356.7578 | 1202379.2091 | 2598356.1775 | 1202380.1484
6 | 2598380.1991 | 1202419.5131 | 2598377.0695 | 1202411.9099 | 2598364.9492 | 1202402.0894
7 | 2598420.12 | 1202369.397 | 2598411.706 | 1202377.2369 | 2598401.1223 | 1202381.6534 | 2598395.8757 | 1202380.1912
8 | 2598420.12 | 1202369.397 | 2598412.2036 | 1202360.7946 | 2598404.5765 | 1202352.5033 | 2598388.8868 | 1202330.2957
9 | 2598393.71 | 1202379.5877 | 2598395.8757 | 1202380.1912
10 | 2598388.8868 | 1202330.2957 | 2598377.6299 | 1202349.1091
11 | 2598388.8868 | 1202330.2957 | 2598384.4941 | 1202323.1487 | 2598382.3567 | 1202320.8031
12 | 2598360.8283 | 1202483.0974 | 2598366.5599 | 1202488.7766 | 2598382.9305 | 1202498.5884 | 2598400.9329 | 1202520.4284 | 2598429.4834 | 1202493.0946 | 2598443.1446 | 1202473.8916 | 2598431.9111 | 1202466.7019 | 2598427.5647 | 1202461.5003 | 2598431.2612 | 1202455.4627 | 2598421.5726 | 1202448.8729 | 2598415.7652 | 1202444.0608 | 2598412.568 | 1202439.7371 | 2598406.5844 | 1202430.7451 | 2598404.1649 | 1202431.7129 | 2598401.5625 | 1202431.9138 | 2598399.0132 | 1202431.3475 | 2598396.7528 | 1202430.0474 | 2598394.9792 | 1202428.1358 | 2598393.86 | 1202425.7904 | 2598393.4864 | 1202423.2113 | 2598384.5445 | 1202420.7903 | 2598380.1991 | 1202419.5131
13 | 2598360.8283 | 1202483.0974 | 2598354.5237 | 1202475.9613
14 | 2598360.8283 | 1202483.0974 | 2598355.3567 | 1202481.5203 | 2598352.4665 | 1202479.7309
15 | 2598377.6299 | 1202349.1091 | 2598371.975 | 1202345.5532
16 | 2598377.6299 | 1202349.1091 | 2598369.2364 | 1202363.1238
17 | 2598363.6719 | 1202341.9203 | 2598371.3285 | 1202346.5651 | 2598371.975 | 1202345.5532
18 | 2598365.3235 | 1202369.657 | 2598369.2364 | 1202363.1238
19 | 2598365.3235 | 1202369.657 | 2598360.4981 | 1202366.4678 | 2598358.9305 | 1202366.4683 | 2598353.7171 | 1202363.4904
20 | 2598096.4514 | 1202383.7254 | 2598096.8459 | 1202380.2678
21 | 2598096.8459 | 1202380.2678 | 2598095.986 | 1202380.1236 | 2598066.4371 | 1202377.1985
22 | 2598065.6176 | 1202384.2026 | 2598066.0349 | 1202380.6672 | 2598066.4371 | 1202377.1985
23 | 2598066.4371 | 1202377.1985 | 2598039.4801 | 1202374.5234
24 | 2598204.6125 | 1202404.5462 | 2598216.3774 | 1202406.3213 | 2598244.977 | 1202415.8621 | 2598283.8889 | 1202430.8028 | 2598313.1678 | 1202448.3258 | 2598333.8935 | 1202465.7514 | 2598348.8419 | 1202477.4867 | 2598352.4665 | 1202479.7309
25 | 2597980.7758 | 1202375.9606 | 2598023.1825 | 1202380.0802
26 | 2597978.4594 | 1202389.0018 | 2597966.3751 | 1202387.8943 | 2597967.5118 | 1202374.6645 | 2597980.7758 | 1202375.9606
27 | 2597980.7758 | 1202375.9606 | 2597981.3363 | 1202368.7343
28 | 2597978.4594 | 1202389.0018 | 2597978.1942 | 1202392.148 | 2597979.8835 | 1202392.2586 | 2597979.4209 | 1202396.5277 | 2597978.4168 | 1202405.8589
29 | 2597976.9482 | 1202419.5077 | 2597990.7156 | 1202420.7818
30 | 2597976.9482 | 1202419.5077 | 2597978.4136 | 1202405.8891
31 | 2597995.8596 | 1202421.2578 | 2597990.7156 | 1202420.7818
32 | 2597978.4168 | 1202405.8589 | 2597978.4136 | 1202405.8891
33 | 2598063.365 | 1202406.293 | 2598065.3749 | 1202386.6151 | 2598065.6176 | 1202384.2026
34 | 2598155.6533 | 1202406.0848 | 2598159.6408 | 1202406.4059 | 2598160.484 | 1202401.8921 | 2598163.725 | 1202399.7899 | 2598168.321 | 1202399.1548 | 2598173.9832 | 1202401.5987 | 2598178.7938 | 1202405.8551 | 2598194.3926 | 1202403.2932 | 2598204.6125 | 1202404.5462
35 | 2598155.6533 | 1202406.0848 | 2598142.1736 | 1202404.7585
36 | 2598155.6533 | 1202406.0848 | 2598155.7518 | 1202404.7507 | 2598156.0018 | 1202401.1042 | 2598155.7323 | 1202401.0764
37 | 2598155.6533 | 1202406.0848 | 2598154.7421 | 1202415.398
38 | 2598142.1736 | 1202404.7585 | 2598133.8786 | 1202403.9423
39 | 2598155.7323 | 1202401.0764 | 2598150.5725 | 1202400.5439
40 | 2598154.7399 | 1202415.4201 | 2598154.7421 | 1202415.398
41 | 2598089.8152 | 1202450.4525 | 2598089.0795 | 1202457.7122 | 2598096.362 | 1202458.4769 | 2598106.0794 | 1202458.9628 | 2598122.0213 | 1202458.9576 | 2598139.0268 | 1202453.8827 | 2598156.6253 | 1202447.0511
42 | 2598156.6253 | 1202447.0511 | 2598154.73 | 1202445.373 | 2598152.0431 | 1202442.9837 | 2598153.4847 | 1202428.2497
43 | 2598090.0503 | 1202448.1623 | 2598089.8152 | 1202450.4525
44 | 2598089.8152 | 1202450.4525 | 2598075.8617 | 1202449.0892
45 | 2598153.4847 | 1202428.2497 | 2598153.4896 | 1202428.1989
46 | 2598090.0503 | 1202448.1623 | 2598091.1443 | 1202437.4539
47 | 2598090.0503 | 1202448.1623 | 2598110.0434 | 1202450.7089
48 | 2598133.8786 | 1202403.9423 | 2598127.4867 | 1202403.3134
49 | 2598150.5725 | 1202400.5439 | 2598145.4322 | 1202400.0134
50 | 2598154.7399 | 1202415.4201 | 2598153.4896 | 1202428.1989
51 | 2598091.1443 | 1202437.4539 | 2598091.145 | 1202437.4472
52 | 2598063.0184 | 1202434.7122 | 2598063.0239 | 1202434.6504
53 | 2598061.3251 | 1202427.3162 | 2598063.6537 | 1202427.56 | 2598063.0239 | 1202434.6504
54 | 2598001.0041 | 1202421.7339 | 2597995.8596 | 1202421.2578
55 | 2598079.9954 | 1202407.9828 | 2598078.5802 | 1202407.839
56 | 2598063.365 | 1202406.293 | 2598078.5802 | 1202407.839
57 | 2598094.0096 | 1202409.4067 | 2598079.9954 | 1202407.9828
58 | 2598063.365 | 1202406.293 | 2598062.5535 | 1202414.2309 | 2598062.536 | 1202414.4025
59 | 2598094.0096 | 1202409.4067 | 2598092.722 | 1202422.011
60 | 2598062.5354 | 1202414.4084 | 2598062.536 | 1202414.4025
61 | 2598092.7208 | 1202422.0219 | 2598092.722 | 1202422.011
62 | 2598061.96 | 1202420.0471 | 2598062.5354 | 1202414.4084
63 | 2598092.7205 | 1202422.0252 | 2598092.7208 | 1202422.0219
64 | 2598061.3251 | 1202427.3162 | 2598061.3703 | 1202425.8265 | 2598061.96 | 1202420.0471
65 | 2598125.4919 | 1202403.1171 | 2598127.4867 | 1202403.3134
66 | 2598140.2935 | 1202399.483 | 2598145.4322 | 1202400.0134
67 | 2598125.4919 | 1202403.1171 | 2598119.0531 | 1202402.4836
68 | 2598108.6432 | 1202401.4593 | 2598119.0531 | 1202402.4836
69 | 2598092.6051 | 1202423.155 | 2598092.6058 | 1202423.1475
70 | 2598092.6058 | 1202423.1475 | 2598092.7187 | 1202422.0426
71 | 2598092.6051 | 1202423.155 | 2598091.145 | 1202437.4472
72 | 2598092.7187 | 1202422.0426 | 2598092.7199 | 1202422.0311
73 | 2598092.7199 | 1202422.0311 | 2598092.7205 | 1202422.0252
74 | 2598061.3251 | 1202427.3162 | 2598047.2917 | 1202426.0175
75 | 2598047.2917 | 1202426.0175 | 2598042.1478 | 1202425.5415
76 | 2598037.003 | 1202425.0653 | 2598042.1478 | 1202425.5415
77 | 2598037.003 | 1202425.0653 | 2598031.8628 | 1202424.5897
78 | 2598011.2895 | 1202422.6857 | 2598016.4335 | 1202423.1618
79 | 2598011.2895 | 1202422.6857 | 2598006.1449 | 1202422.2096
80 | 2598021.5738 | 1202423.6375 | 2598016.4335 | 1202423.1618
81 | 2598001.0041 | 1202421.7339 | 2598006.1449 | 1202422.2096
82 | 2598021.5738 | 1202423.6375 | 2598026.7183 | 1202424.1136
83 | 2598031.8628 | 1202424.5897 | 2598026.7183 | 1202424.1136
84 | 2598130.0166 | 1202398.4224 | 2598135.1534 | 1202398.9525
85 | 2598130.0166 | 1202398.4224 | 2598127.5376 | 1202398.1665
86 | 2598140.2935 | 1202399.483 | 2598135.1534 | 1202398.9525
87 | 2598124.8782 | 1202397.8921 | 2598127.5376 | 1202398.1665
88 | 2598124.8782 | 1202397.8921 | 2598119.7408 | 1202397.3619
89 | 2598119.7408 | 1202397.3619 | 2598114.6014 | 1202396.8314
90 | 2598114.6014 | 1202396.8314 | 2598109.4619 | 1202396.301

## bus_geodata
| x | y | coords
0 | 2598247.9597 | 1202333.8764
1 | 2598267.3424 | 1202343.1509
2 | 2598336.1406 | 1202379.4103
3 | 2598349.8438 | 1202389.8502
4 | 2598356.1775 | 1202380.1484
5 | 2598364.9492 | 1202402.0894
6 | 2598420.12 | 1202369.397
7 | 2598395.8757 | 1202380.1912
8 | 2598388.8868 | 1202330.2957
9 | 2598380.1991 | 1202419.5131
10 | 2598360.8283 | 1202483.0974
11 | 2598382.3567 | 1202320.8031
12 | 2598377.6299 | 1202349.1091
13 | 2598371.975 | 1202345.5532
14 | 2598369.2364 | 1202363.1238
15 | 2598363.6719 | 1202341.9203
16 | 2598365.3235 | 1202369.657
17 | 2598393.71 | 1202379.5877
18 | 2598096.8459 | 1202380.2678
19 | 2598096.4514 | 1202383.7254
20 | 2598066.4371 | 1202377.1985
21 | 2598354.5237 | 1202475.9613
22 | 2598352.4665 | 1202479.7309
23 | 2597980.7758 | 1202375.9606
24 | 2598023.1825 | 1202380.0802
25 | 2597978.4594 | 1202389.0018
26 | 2597981.3363 | 1202368.7343
27 | 2597976.9482 | 1202419.5077
28 | 2597990.7156 | 1202420.7818
29 | 2597978.4136 | 1202405.8891
30 | 2597978.4168 | 1202405.8589
31 | 2598065.6176 | 1202384.2026
32 | 2598039.4801 | 1202374.5234
33 | 2598204.6125 | 1202404.5462
34 | 2598353.7171 | 1202363.4904
35 | 2598155.6533 | 1202406.0848
36 | 2598142.1736 | 1202404.7585
37 | 2598155.7323 | 1202401.0764
38 | 2598154.7421 | 1202415.398
39 | 2598156.6253 | 1202447.0511
40 | 2598089.8152 | 1202450.4525
41 | 2598153.4847 | 1202428.2497
42 | 2598090.0503 | 1202448.1623
43 | 2598075.8617 | 1202449.0892
44 | 2598133.8786 | 1202403.9423
45 | 2598150.5725 | 1202400.5439
46 | 2598154.7399 | 1202415.4201
47 | 2598153.4896 | 1202428.1989
48 | 2598091.1443 | 1202437.4539
49 | 2598110.0434 | 1202450.7089
50 | 2598063.0184 | 1202434.7122
51 | 2598063.0239 | 1202434.6504
52 | 2597995.8596 | 1202421.2578
53 | 2598078.5802 | 1202407.839
54 | 2598079.9954 | 1202407.9828
55 | 2598063.365 | 1202406.293
56 | 2598094.0096 | 1202409.4067
57 | 2598062.536 | 1202414.4025
58 | 2598092.722 | 1202422.011
59 | 2598062.5354 | 1202414.4084
60 | 2598092.7208 | 1202422.0219
61 | 2598061.96 | 1202420.0471
62 | 2598127.4867 | 1202403.3134
63 | 2598145.4322 | 1202400.0134
64 | 2598125.4919 | 1202403.1171
65 | 2598119.0531 | 1202402.4836
66 | 2598108.6432 | 1202401.4593
67 | 2598092.6058 | 1202423.1475
68 | 2598092.6051 | 1202423.155
69 | 2598092.7187 | 1202422.0426
70 | 2598091.145 | 1202437.4472
71 | 2598092.7199 | 1202422.0311
72 | 2598092.7205 | 1202422.0252
73 | 2598061.3251 | 1202427.3162
74 | 2598047.2917 | 1202426.0175
75 | 2598042.1478 | 1202425.5415
76 | 2598037.003 | 1202425.0653
77 | 2598011.2895 | 1202422.6857
78 | 2598016.4335 | 1202423.1618
79 | 2598006.1449 | 1202422.2096
80 | 2598021.5738 | 1202423.6375
81 | 2598001.0041 | 1202421.7339
82 | 2598026.7183 | 1202424.1136
83 | 2598031.8628 | 1202424.5897
84 | 2598130.0166 | 1202398.4224
85 | 2598135.1534 | 1202398.9525
86 | 2598127.5376 | 1202398.1665
87 | 2598140.2935 | 1202399.483
88 | 2598124.8782 | 1202397.8921
89 | 2598119.7408 | 1202397.3619
90 | 2598114.6014 | 1202396.8314
91 | 2598109.4619 | 1202396.301
92 | 2598096.379 | 1202394.9537

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1