## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_354-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_354-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_354-8_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_354-8_0_4_node_109 | 0.4 | n |  | TRUE
4 | bus_LV_354-8_0_4_node_107 | 0.4 | n |  | TRUE
5 | bus_LV_354-8_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_354-8_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_354-8_0_4_node_114 | 0.4 | n |  | TRUE
8 | bus_LV_354-8_0_4_node_113 | 0.4 | n |  | TRUE
9 | bus_LV_354-8_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_354-8_0_4_node_134 | 0.4 | n |  | TRUE
11 | bus_LV_354-8_0_4_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_354-8_0_4_node_132 | 0.4 | n |  | TRUE
13 | bus_LV_354-8_0_4_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_354-8_0_4_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_354-8_0_4_node_133 | 0.4 | n |  | TRUE
16 | bus_LV_354-8_0_4_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_354-8_0_4_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_354-8_0_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_354-8_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_354-8_0_4_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_354-8_0_4_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_354-8_0_4_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_354-8_0_4_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_354-8_0_4_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_354-8_0_4_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_354-8_0_4_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_354-8_0_4_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_354-8_0_4_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_354-8_0_4_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_354-8_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_354-8_0_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_354-8_0_4_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_354-8_0_4_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_354-8_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_354-8_0_4_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_354-8_0_4_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_354-8_0_4_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_354-8_0_4_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_354-8_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_354-8_0_4_node_117 | 0.4 | n |  | TRUE
41 | bus_LV_354-8_0_4_node_119 | 0.4 | n |  | TRUE
42 | bus_LV_354-8_0_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_354-8_0_4_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_354-8_0_4_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_354-8_0_4_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_354-8_0_4_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_354-8_0_4_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_354-8_0_4_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_354-8_0_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_354-8_0_4_node_128 | 0.4 | n |  | TRUE
51 | bus_LV_354-8_0_4_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_354-8_0_4_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_354-8_0_4_node_127 | 0.4 | n |  | TRUE
54 | bus_LV_354-8_0_4_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_354-8_0_4_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_354-8_0_4_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_354-8_0_4_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_354-8_0_4_node_126 | 0.4 | n |  | TRUE
59 | bus_LV_354-8_0_4_node_138 | 0.4 | n |  | TRUE
60 | bus_LV_354-8_0_4_node_124 | 0.4 | n |  | TRUE
61 | bus_LV_354-8_0_4_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_354-8_0_4_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_354-8_0_4_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_354-8_0_4_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_354-8_0_4_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_354-8_0_4_node_116 | 0.4 | n |  | TRUE
67 | bus_LV_354-8_0_4_node_85 | 0.4 | n |  | TRUE
68 | bus_LV_354-8_0_4_node_86 | 0.4 | n |  | TRUE
69 | bus_LV_354-8_0_4_node_102 | 0.4 | n |  | TRUE
70 | bus_LV_354-8_0_4_node_115 | 0.4 | n |  | TRUE
71 | bus_LV_354-8_0_4_node_103 | 0.4 | n |  | TRUE
72 | bus_LV_354-8_0_4_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_354-8_0_4_node_105 | 0.4 | n |  | TRUE
74 | bus_LV_354-8_0_4_node_106 | 0.4 | n |  | TRUE
75 | bus_LV_354-8_0_4_node_110 | 0.4 | n |  | TRUE
76 | bus_LV_354-8_0_4_node_111 | 0.4 | n |  | TRUE
77 | bus_LV_354-8_0_4_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_354-8_0_4_node_112 | 0.4 | n |  | TRUE
79 | bus_LV_354-8_0_4_node_118 | 0.4 | n |  | TRUE
80 | bus_LV_354-8_0_4_node_120 | 0.4 | n |  | TRUE
81 | bus_LV_354-8_0_4_node_121 | 0.4 | n |  | TRUE
82 | bus_LV_354-8_0_4_node_122 | 0.4 | n |  | TRUE
83 | bus_LV_354-8_0_4_node_123 | 0.4 | n |  | TRUE
84 | bus_LV_354-8_0_4_node_125 | 0.4 | n |  | TRUE
85 | bus_LV_354-8_0_4_node_129 | 0.4 | n |  | TRUE
86 | bus_LV_354-8_0_4_node_130 | 0.4 | n |  | TRUE
87 | bus_LV_354-8_0_4_node_131 | 0.4 | n |  | TRUE
88 | bus_LV_354-8_0_4_node_135 | 0.4 | n |  | TRUE
89 | bus_LV_354-8_0_4_node_136 | 0.4 | n |  | TRUE
90 | bus_LV_354-8_0_4_node_137 | 0.4 | n |  | TRUE
91 | bus_LV_354-8_0_4_node_139 | 0.4 | n |  | TRUE
92 | bus_MV_415_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_354-8_0_4_load_0 | 0 | 0.0011553 | 0.00028953 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_354-8_0_4_load_1 | 1 | 0.001531 | 0.0003837 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_354-8_0_4_load_3 | 2 | 0.00022206 | 5.5654e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_354-8_0_4_load_109 | 3 | 0.00067541 | 0.00016927 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_354-8_0_4_load_107 | 4 | 0.00023089 | 5.7867e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_354-8_0_4_load_114 | 7 | 0.0061244 | 0.0015349 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_354-8_0_4_load_6 | 9 | 0.00075166 | 0.00018838 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_354-8_0_4_load_134 | 10 | 0.0016187 | 0.00040568 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_354-8_0_4_load_132 | 12 | 0.00052392 | 0.00013131 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_354-8_0_4_load_78 | 14 | 0.0032242 | 0.00080805 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_354-8_0_4_load_133 | 15 | 0.0011541 | 0.00028925 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_354-8_0_4_load_41 | 16 | 0.0010912 | 0.00027348 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_354-8_0_4_load_42 | 17 | 0.001751 | 0.00043884 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_354-8_0_4_load_43 | 18 | 0.00049235 | 0.00012339 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_354-8_0_4_load_45 | 20 | 0.0015723 | 0.00039406 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_354-8_0_4_load_46 | 21 | 0.00038545 | 9.6602e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_354-8_0_4_load_88 | 25 | 0.0045852 | 0.0011492 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_354-8_0_4_load_66 | 26 | 0.004163 | 0.0010433 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_354-8_0_4_load_72 | 27 | 0.0042001 | 0.0010526 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_354-8_0_4_load_63 | 28 | 0.0019153 | 0.00048001 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_354-8_0_4_load_49 | 29 | 0.021987 | 0.0055105 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_354-8_0_4_load_55 | 31 | 0.028276 | 0.0070867 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_354-8_0_4_load_56 | 32 | 0.01501 | 0.003762 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_354-8_0_4_load_53 | 33 | 0.03762 | 0.0094285 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_354-8_0_4_load_51 | 34 | 0.0067073 | 0.001681 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_354-8_0_4_load_75 | 35 | 0.0077809 | 0.0019501 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_354-8_0_4_load_82 | 36 | 0.0021159 | 0.00053031 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_354-8_0_4_load_52 | 38 | 0.028506 | 0.0071442 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_354-8_0_4_load_117 | 40 | 0.0048575 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_354-8_0_4_load_76 | 42 | 0.02877 | 0.0072105 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_354-8_0_4_load_57 | 43 | 0.0039102 | 0.00097998 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_354-8_0_4_load_58 | 44 | 0.0038548 | 0.00096609 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_354-8_0_4_load_60 | 46 | 0.0048078 | 0.001205 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_354-8_0_4_load_64 | 48 | 0.00084846 | 0.00021264 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_354-8_0_4_load_65 | 49 | 0.0025959 | 0.00065058 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_354-8_0_4_load_128 | 50 | 0.0034586 | 0.0008668 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_354-8_0_4_load_67 | 52 | 0.0027131 | 0.00067997 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_354-8_0_4_load_127 | 53 | 0.0098349 | 0.0024648 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_354-8_0_4_load_84 | 54 | 0.00051115 | 0.00012811 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_354-8_0_4_load_68 | 55 | 0.001011 | 0.00025338 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_354-8_0_4_load_69 | 56 | 0.0028494 | 0.00071414 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_354-8_0_4_load_70 | 57 | 0.00057464 | 0.00014402 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_354-8_0_4_load_138 | 59 | 0.010394 | 0.0026049 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_354-8_0_4_load_74 | 61 | 0.035729 | 0.0089545 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_354-8_0_4_load_77 | 62 | 0.0037534 | 0.00094069 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_354-8_0_4_load_81 | 64 | 0.0056173 | 0.0014078 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_354-8_0_4_load_87 | 65 | 0.00092244 | 0.00023119 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_354-8_0_4_load_116 | 66 | 0.00071272 | 0.00017862 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_354-8_0_4_load_85 | 67 | 0.00063148 | 0.00015826 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_354-8_0_4_load_86 | 68 | 0.001056 | 0.00026466 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_354-8_0_4_load_102 | 69 | 0.0041196 | 0.0010325 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_354-8_0_4_load_115 | 70 | 0.0011956 | 0.00029964 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_354-8_0_4_load_103 | 71 | 0.00091105 | 0.00022833 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_354-8_0_4_load_104 | 72 | 0.0024614 | 0.00061688 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_354-8_0_4_load_105 | 73 | 0.00043943 | 0.00011013 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_354-8_0_4_load_106 | 74 | 0.00030504 | 7.645e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_354-8_0_4_load_111 | 76 | 0.0032651 | 0.00081832 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_354-8_0_4_load_108 | 77 | 0.001529 | 0.00038322 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_354-8_0_4_load_118 | 79 | 0.0010383 | 0.00026022 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_354-8_0_4_load_120 | 80 | 0.00044037 | 0.00011037 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_354-8_0_4_load_121 | 81 | 0.0095032 | 0.0023817 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_354-8_0_4_load_123 | 83 | 0.013815 | 0.0034625 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_354-8_0_4_load_125 | 84 | 0.0082002 | 0.0020552 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_354-8_0_4_load_129 | 85 | 0.0017165 | 0.0004302 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_354-8_0_4_load_130 | 86 | 0.0024343 | 0.00061009 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_354-8_0_4_load_131 | 87 | 0.0019537 | 0.00048965 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_354-8_0_4_load_135 | 88 | 0.0018891 | 0.00047346 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_354-8_0_4_load_136 | 89 | 0.0011578 | 0.00029016 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_354-8_0_4_load_137 | 90 | 0.00080413 | 0.00020153 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_354-8_0_4_load_139 | 91 | 0.005858 | 0.0014681 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_354-8_0_4_line_0 |  | 0 | 1 | 0.045692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_354-8_0_4_line_1 |  | 1 | 2 | 0.025863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_354-8_0_4_line_2 |  | 2 | 5 | 0.31906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_354-8_0_4_line_3 |  | 3 | 4 | 0.0085966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_354-8_0_4_line_4 |  | 4 | 77 | 0.019006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_354-8_0_4_line_5 |  | 5 | 6 | 0.043353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_354-8_0_4_line_6 |  | 6 | 9 | 0.068778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_354-8_0_4_line_7 |  | 7 | 8 | 0.027388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_354-8_0_4_line_8 |  | 8 | 78 | 0.046414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_354-8_0_4_line_9 |  | 9 | 10 | 0.020464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_354-8_0_4_line_10 |  | 10 | 15 | 0.0083194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_354-8_0_4_line_11 |  | 11 | 12 | 0.26157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_354-8_0_4_line_12 |  | 11 | 13 | 0.081186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_354-8_0_4_line_13 |  | 11 | 14 | 0.030326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_354-8_0_4_line_14 |  | 12 | 15 | 0.038236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_354-8_0_4_line_15 |  | 13 | 50 | 0.056908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_354-8_0_4_line_16 |  | 13 | 45 | 0.0312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_354-8_0_4_line_17 |  | 14 | 62 | 0.034217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_354-8_0_4_line_18 |  | 16 | 17 | 0.0076004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_354-8_0_4_line_19 |  | 16 | 18 | 0.020502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_354-8_0_4_line_20 |  | 17 | 19 | 0.018696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_354-8_0_4_line_21 |  | 18 | 20 | 0.024843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_354-8_0_4_line_22 |  | 19 | 21 | 0.0278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_354-8_0_4_line_23 |  | 19 | 22 | 0.049178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_354-8_0_4_line_24 |  | 20 | 23 | 0.021786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_354-8_0_4_line_25 |  | 21 | 24 | 0.035361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_354-8_0_4_line_26 |  | 22 | 25 | 0.022483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_354-8_0_4_line_27 |  | 23 | 26 | 0.022525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_354-8_0_4_line_28 |  | 24 | 27 | 0.018854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_354-8_0_4_line_29 |  | 24 | 28 | 0.019179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_354-8_0_4_line_30 |  | 27 | 58 | 0.017786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_354-8_0_4_line_31 |  | 28 | 46 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_354-8_0_4_line_32 |  | 29 | 30 | 0.031042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_354-8_0_4_line_33 |  | 29 | 31 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_354-8_0_4_line_34 |  | 30 | 32 | 0.015741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_354-8_0_4_line_35 |  | 31 | 33 | 0.02967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_354-8_0_4_line_36 |  | 32 | 37 | 0.024501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_354-8_0_4_line_37 |  | 33 | 38 | 0.03346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_354-8_0_4_line_38 |  | 34 | 35 | 0.016903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_354-8_0_4_line_39 |  | 34 | 36 | 0.059087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_354-8_0_4_line_40 |  | 35 | 37 | 0.006459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_354-8_0_4_line_41 |  | 36 | 64 | 0.0068694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_354-8_0_4_line_42 |  | 37 | 42 | 0.013037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_354-8_0_4_line_43 |  | 38 | 39 | 0.029628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_354-8_0_4_line_44 |  | 39 | 40 | 0.29775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_354-8_0_4_line_45 |  | 40 | 41 | 0.016618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_354-8_0_4_line_46 |  | 41 | 80 | 0.022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_354-8_0_4_line_47 |  | 41 | 79 | 0.012921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_354-8_0_4_line_48 |  | 42 | 61 | 0.13414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_354-8_0_4_line_49 |  | 43 | 44 | 0.037592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_354-8_0_4_line_50 |  | 43 | 45 | 0.011385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_354-8_0_4_line_51 |  | 44 | 46 | 0.0017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_354-8_0_4_line_52 |  | 45 | 47 | 0.012612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_354-8_0_4_line_53 |  | 47 | 48 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_354-8_0_4_line_54 |  | 47 | 49 | 0.040075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_354-8_0_4_line_55 |  | 48 | 51 | 0.010863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_354-8_0_4_line_56 |  | 49 | 52 | 0.024946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_354-8_0_4_line_57 |  | 50 | 53 | 0.0035566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_354-8_0_4_line_58 |  | 51 | 54 | 0.020441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_354-8_0_4_line_59 |  | 52 | 55 | 0.018767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_354-8_0_4_line_60 |  | 53 | 85 | 0.0036702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_354-8_0_4_line_61 |  | 54 | 65 | 0.022208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_354-8_0_4_line_62 |  | 55 | 56 | 0.005144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_354-8_0_4_line_63 |  | 56 | 57 | 0.014471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_354-8_0_4_line_64 |  | 58 | 59 | 0.037211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_354-8_0_4_line_65 |  | 58 | 60 | 0.040804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_354-8_0_4_line_66 |  | 60 | 84 | 0.034393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_354-8_0_4_line_67 |  | 60 | 82 | 0.008018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_354-8_0_4_line_68 |  | 62 | 63 | 0.032514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_354-8_0_4_line_69 |  | 63 | 64 | 0.021187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_354-8_0_4_line_70 |  | 65 | 66 | 0.016282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_354-8_0_4_line_71 |  | 66 | 70 | 0.04178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_354-8_0_4_line_72 |  | 66 | 67 | 0.21227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_354-8_0_4_line_73 |  | 67 | 68 | 0.023293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_354-8_0_4_line_74 |  | 68 | 69 | 0.019563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_354-8_0_4_line_75 |  | 69 | 71 | 0.026681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_354-8_0_4_line_76 |  | 71 | 72 | 0.15836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_354-8_0_4_line_77 |  | 72 | 73 | 0.028774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_354-8_0_4_line_78 |  | 73 | 74 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_354-8_0_4_line_79 |  | 74 | 75 | 0.046783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_354-8_0_4_line_80 |  | 75 | 76 | 0.015029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_354-8_0_4_line_81 |  | 75 | 77 | 0.066185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_354-8_0_4_line_82 |  | 76 | 78 | 0.025059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_354-8_0_4_line_83 |  | 81 | 82 | 0.030062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_354-8_0_4_line_84 |  | 82 | 83 | 0.063188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_354-8_0_4_line_85 |  | 85 | 86 | 0.0055066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_354-8_0_4_line_86 |  | 86 | 87 | 0.0087027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_354-8_0_4_line_87 |  | 87 | 88 | 0.005471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_354-8_0_4_line_88 |  | 88 | 89 | 0.0016029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_354-8_0_4_line_89 |  | 89 | 90 | 0.006407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_354-8_0_4_line_90 |  | 90 | 91 | 0.0014036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_354-8_0_4_trafo_82 | 0.63 MVA 20/0.4 kV | 92 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2597576.3955 | 1206556.7249 | 2597595.1603 | 1206515.0637
1 | 2597605.4593 | 1206491.3404 | 2597596.3993 | 1206512.3127 | 2597595.1603 | 1206515.0637
2 | 2597735.5876 | 1206200.019 | 2597605.4593 | 1206491.3404
3 | 2598130.7788 | 1206334.6621 | 2598135.1437 | 1206342.0681
4 | 2598135.1437 | 1206342.0681 | 2598136.8581 | 1206344.9768 | 2598144.228 | 1206348.4541 | 2598151.6327 | 1206349.5168
5 | 2597735.5876 | 1206200.019 | 2597755.7631 | 1206161.6235
6 | 2597755.7631 | 1206161.6235 | 2597774.0482 | 1206130.6551 | 2597789.0937 | 1206101.4928
7 | 2598177.9594 | 1206437.2475 | 2598173.9262 | 1206452.168 | 2598170.0173 | 1206463.4413
8 | 2598177.9594 | 1206437.2475 | 2598182.1676 | 1206422.7827 | 2598188.5279 | 1206408.1393 | 2598195.6641 | 1206394.4962
9 | 2597789.0937 | 1206101.4928 | 2597798.4764 | 1206083.3065
10 | 2597802.0153 | 1206075.783 | 2597800.2881 | 1206079.795 | 2597798.4764 | 1206083.3065
11 | 2598003.4137 | 1205861.1794 | 2597811.5194 | 1206038.9336
12 | 2598069.5167 | 1205813.7865 | 2598003.4137 | 1205861.1794
13 | 2598003.4137 | 1205861.1794 | 2597982.6877 | 1205839.0407
14 | 2597811.5194 | 1206038.9336 | 2597809.6768 | 1206051.009 | 2597805.9031 | 1206066.7524 | 2597802.0153 | 1206075.783
15 | 2598069.5167 | 1205813.7865 | 2598050.0115 | 1205797.6732 | 2598028.3933 | 1205785.3961 | 2598022.6702 | 1205781.8238
16 | 2598069.5167 | 1205813.7865 | 2598086.4791 | 1205799.473 | 2598092.9947 | 1205793.2564
17 | 2597959.3026 | 1205814.0617 | 2597982.6877 | 1205839.0407
18 | 2598182.8511 | 1205670.0217 | 2598175.6881 | 1205667.4805
19 | 2598182.8511 | 1205670.0217 | 2598202.1734 | 1205676.8764
20 | 2598158.0681 | 1205661.2297 | 2598175.6881 | 1205667.4805
21 | 2598225.5871 | 1205685.1826 | 2598202.1734 | 1205676.8764
22 | 2598158.0681 | 1205661.2297 | 2598149.0684 | 1205676.8967 | 2598144.4556 | 1205685.4661
23 | 2598182.5439 | 1205618.543 | 2598158.0681 | 1205661.2297
24 | 2598238.552 | 1205698.1579 | 2598239.6606 | 1205692.6323 | 2598234.2443 | 1205688.2538 | 2598225.5871 | 1205685.1826
25 | 2598127.6951 | 1205716.6031 | 2598144.4556 | 1205685.4661
26 | 2598182.5439 | 1205618.543 | 2598175.9251 | 1205612.2306 | 2598171.4454 | 1205611.8985 | 2598167.5068 | 1205615.0681 | 2598165.7358 | 1205618.4595
27 | 2598257.8464 | 1205697.4072 | 2598256.5926 | 1205700.6871 | 2598253.665 | 1205702.2778 | 2598249.4743 | 1205701.801 | 2598238.552 | 1205698.1579
28 | 2598127.6951 | 1205716.6031 | 2598139.1278 | 1205722.6138 | 2598144.8198 | 1205724.3037
29 | 2598127.6951 | 1205716.6031 | 2598118.7292 | 1205733.5569
30 | 2598161.8698 | 1205729.3657 | 2598144.8198 | 1205724.3037
31 | 2598111.9982 | 1205746.285 | 2598118.7292 | 1205733.5569
32 | 2597830.3036 | 1205733.8613 | 2597824.8955 | 1205731.9734 | 2597814.1792 | 1205730.6545 | 2597800.3298 | 1205726.3048
33 | 2597788.0873 | 1205707.4159 | 2597800.3298 | 1205726.3048
34 | 2597827.1858 | 1205718.432 | 2597830.3036 | 1205733.8613
35 | 2597764.0288 | 1205696.2189 | 2597777.6242 | 1205700.6632 | 2597776.8271 | 1205704.2433 | 2597788.0873 | 1205707.4159
36 | 2597851.0088 | 1205723.0143 | 2597845.8069 | 1205723.4276 | 2597839.6765 | 1205721.9513 | 2597827.1858 | 1205718.432
37 | 2597732.9612 | 1205690.7972 | 2597741.9752 | 1205693.3619 | 2597745.8299 | 1205690.2699 | 2597764.0288 | 1205696.2189
38 | 2597857.0342 | 1205725.341 | 2597870.483 | 1205735.5806
39 | 2597919.5413 | 1205768.514 | 2597870.483 | 1205735.5806
40 | 2597851.0088 | 1205723.0143 | 2597857.0342 | 1205725.341
41 | 2597919.5413 | 1205768.514 | 2597923.5735 | 1205772.2813 | 2597924.5072 | 1205773.2581
42 | 2597851.0088 | 1205723.0143 | 2597860.4588 | 1205714.0059
43 | 2597710.9696 | 1205677.6656 | 2597717.8609 | 1205679.5972 | 2597719.1471 | 1205681.9424 | 2597718.5253 | 1205686.6897 | 2597732.9612 | 1205690.7972
44 | 2597710.9696 | 1205677.6656 | 2597541.0306 | 1205433.1796
45 | 2597538.1109 | 1205417.3389 | 2597541.1867 | 1205424.7305 | 2597541.9413 | 1205428.4544 | 2597541.0306 | 1205433.1796
46 | 2597538.1109 | 1205417.3389 | 2597541.1867 | 1205424.7305 | 2597541.9413 | 1205428.4544 | 2597541.0306 | 1205433.1796 | 2597537.784 | 1205435.5934 | 2597536.3951 | 1205435.7729
47 | 2597538.1109 | 1205417.3389 | 2597530.7129 | 1205422.9117 | 2597528.7216 | 1205425.9809 | 2597528.7216 | 1205425.9809
48 | 2597860.4588 | 1205714.0059 | 2597843.1831 | 1205580.9841
49 | 2598097.3794 | 1205782.7492 | 2598108.0552 | 1205753.7409 | 2598111.1789 | 1205747.8341
50 | 2598092.9947 | 1205793.2564 | 2598097.3794 | 1205782.7492 | 2598097.3794 | 1205782.7492
51 | 2598111.9982 | 1205746.285 | 2598111.1789 | 1205747.8341
52 | 2598098.3677 | 1205804.6719 | 2598092.9947 | 1205793.2564
53 | 2598098.3677 | 1205804.6719 | 2598103.0138 | 1205825.4706 | 2598103.2289 | 1205826.7707
54 | 2598098.3677 | 1205804.6719 | 2598138.4426 | 1205804.5376
55 | 2598105.0027 | 1205837.4876 | 2598103.2289 | 1205826.7707
56 | 2598163.3883 | 1205804.4539 | 2598138.4426 | 1205804.5376
57 | 2598019.6531 | 1205779.9405 | 2598019.6531 | 1205779.9405 | 2598022.6702 | 1205781.8238
58 | 2598105.0027 | 1205837.4876 | 2598125.4436 | 1205837.487
59 | 2598163.3883 | 1205804.4539 | 2598179.1272 | 1205804.4011 | 2598182.1075 | 1205804.9373
60 | 2598019.6531 | 1205779.9405 | 2598016.779 | 1205777.6579
61 | 2598147.6519 | 1205837.4862 | 2598125.4436 | 1205837.487
62 | 2598182.1075 | 1205804.9373 | 2598184.1241 | 1205805.3001 | 2598186.7104 | 1205807.0002
63 | 2598187.7063 | 1205821.3437 | 2598187.5402 | 1205809.668 | 2598186.7104 | 1205807.0002 | 2598186.7104 | 1205807.0002
64 | 2598161.8698 | 1205729.3657 | 2598168.8048 | 1205726.1061 | 2598197.4107 | 1205733.8902
65 | 2598161.8698 | 1205729.3657 | 2598201.4282 | 1205739.8144
66 | 2598201.4282 | 1205739.8144 | 2598195.2846 | 1205768.7099 | 2598190.4627 | 1205768.0777
67 | 2598209.2014 | 1205741.8686 | 2598201.4282 | 1205739.8144
68 | 2597939.1472 | 1205788.5735 | 2597956.0843 | 1205810.6239 | 2597959.3026 | 1205814.0617
69 | 2597939.1472 | 1205788.5735 | 2597924.5072 | 1205773.2581
70 | 2598163.9342 | 1205837.4857 | 2598147.6519 | 1205837.4862
71 | 2598205.7137 | 1205837.4843 | 2598163.9342 | 1205837.4857
72 | 2598163.9342 | 1205837.4857 | 2598182.0164 | 1206048.9862
73 | 2598194.6838 | 1206068.5307 | 2598192.1076 | 1206064.2835 | 2598182.0164 | 1206048.9862
74 | 2598204.8295 | 1206085.2576 | 2598194.6838 | 1206068.5307
75 | 2598204.8295 | 1206085.2576 | 2598204.8295 | 1206085.2576 | 2598215.4075 | 1206108.8227 | 2598215.6422 | 1206109.64
76 | 2598217.7657 | 1206267.9899 | 2598215.6422 | 1206109.64
77 | 2598217.3534 | 1206296.7608 | 2598217.7657 | 1206267.9899
78 | 2598217.3534 | 1206296.7608 | 2598217.1144 | 1206313.4377
79 | 2598216.444 | 1206360.2154 | 2598217.1144 | 1206313.4377
80 | 2598216.444 | 1206360.2154 | 2598208.6537 | 1206373.0672
81 | 2598216.444 | 1206360.2154 | 2598193.9248 | 1206352.8073 | 2598173.9089 | 1206350.2345 | 2598153.1941 | 1206349.7408 | 2598151.6327 | 1206349.5168
82 | 2598195.6641 | 1206394.4962 | 2598208.6537 | 1206373.0672
83 | 2598209.2014 | 1205741.8686 | 2598218.3039 | 1205738.375 | 2598238.4013 | 1205741.3198
84 | 2598209.2014 | 1205741.8686 | 2598218.4115 | 1205742.1104 | 2598236.7334 | 1205744.6728 | 2598240.0575 | 1205746.8062 | 2598242.6301 | 1205753.3201 | 2598238.8868 | 1205773.0765 | 2598234.3844 | 1205772.7555
85 | 2598012.467 | 1205774.233 | 2598016.779 | 1205777.6579
86 | 2598006.1764 | 1205768.2333 | 2598007.8234 | 1205769.6723 | 2598011.6502 | 1205773.5843 | 2598012.467 | 1205774.233
87 | 2598002.0312 | 1205764.6637 | 2598002.8252 | 1205765.305 | 2598006.1764 | 1205768.2333
88 | 2598002.0312 | 1205764.6637 | 2598000.7842 | 1205763.6565
89 | 2598000.7842 | 1205763.6565 | 2597995.8 | 1205759.6306
90 | 2597994.7081 | 1205758.7487 | 2597995.8 | 1205759.6306

## bus_geodata
| x | y | coords
0 | 2597576.3955 | 1206556.7249
1 | 2597595.1603 | 1206515.0637
2 | 2597605.4593 | 1206491.3404
3 | 2598130.7788 | 1206334.6621
4 | 2598135.1437 | 1206342.0681
5 | 2597735.5876 | 1206200.019
6 | 2597755.7631 | 1206161.6235
7 | 2598170.0173 | 1206463.4413
8 | 2598177.9594 | 1206437.2475
9 | 2597789.0937 | 1206101.4928
10 | 2597798.4764 | 1206083.3065
11 | 2598003.4137 | 1205861.1794
12 | 2597811.5194 | 1206038.9336
13 | 2598069.5167 | 1205813.7865
14 | 2597982.6877 | 1205839.0407
15 | 2597802.0153 | 1206075.783
16 | 2598182.8511 | 1205670.0217
17 | 2598175.6881 | 1205667.4805
18 | 2598202.1734 | 1205676.8764
19 | 2598158.0681 | 1205661.2297
20 | 2598225.5871 | 1205685.1826
21 | 2598144.4556 | 1205685.4661
22 | 2598182.5439 | 1205618.543
23 | 2598238.552 | 1205698.1579
24 | 2598127.6951 | 1205716.6031
25 | 2598165.7358 | 1205618.4595
26 | 2598257.8464 | 1205697.4072
27 | 2598144.8198 | 1205724.3037
28 | 2598118.7292 | 1205733.5569
29 | 2597800.3298 | 1205726.3048
30 | 2597830.3036 | 1205733.8613
31 | 2597788.0873 | 1205707.4159
32 | 2597827.1858 | 1205718.432
33 | 2597764.0288 | 1205696.2189
34 | 2597870.483 | 1205735.5806
35 | 2597857.0342 | 1205725.3409
36 | 2597919.5413 | 1205768.514
37 | 2597851.0088 | 1205723.0143
38 | 2597732.9612 | 1205690.7972
39 | 2597710.9696 | 1205677.6656
40 | 2597541.0306 | 1205433.1796
41 | 2597538.1109 | 1205417.3389
42 | 2597860.4588 | 1205714.0059
43 | 2598097.3794 | 1205782.7492
44 | 2598111.1789 | 1205747.8341
45 | 2598092.9947 | 1205793.2564
46 | 2598111.9982 | 1205746.285
47 | 2598098.3677 | 1205804.6719
48 | 2598103.2289 | 1205826.7707
49 | 2598138.4426 | 1205804.5376
50 | 2598022.6702 | 1205781.8238
51 | 2598105.0027 | 1205837.4876
52 | 2598163.3883 | 1205804.4539
53 | 2598019.6531 | 1205779.9405
54 | 2598125.4436 | 1205837.487
55 | 2598182.1075 | 1205804.9373
56 | 2598186.7104 | 1205807.0002
57 | 2598187.7063 | 1205821.3437
58 | 2598161.8698 | 1205729.3657
59 | 2598197.4107 | 1205733.8902
60 | 2598201.4282 | 1205739.8144
61 | 2597843.183 | 1205580.9841
62 | 2597959.3026 | 1205814.0617
63 | 2597939.1472 | 1205788.5735
64 | 2597924.5072 | 1205773.2581
65 | 2598147.6519 | 1205837.4862
66 | 2598163.9342 | 1205837.4857
67 | 2598182.0164 | 1206048.9862
68 | 2598194.6838 | 1206068.5307
69 | 2598204.8295 | 1206085.2576
70 | 2598205.7137 | 1205837.4843
71 | 2598215.6422 | 1206109.64
72 | 2598217.7657 | 1206267.9899
73 | 2598217.3534 | 1206296.7608
74 | 2598217.1144 | 1206313.4377
75 | 2598216.444 | 1206360.2154
76 | 2598208.6537 | 1206373.0672
77 | 2598151.6327 | 1206349.5168
78 | 2598195.6641 | 1206394.4962
79 | 2597528.7216 | 1205425.9809
80 | 2597536.3951 | 1205435.7729
81 | 2598238.4013 | 1205741.3198
82 | 2598209.2014 | 1205741.8686
83 | 2598234.3844 | 1205772.7555
84 | 2598190.4627 | 1205768.0777
85 | 2598016.779 | 1205777.6579
86 | 2598012.467 | 1205774.233
87 | 2598006.1764 | 1205768.2333
88 | 2598002.0312 | 1205764.6637
89 | 2598000.7842 | 1205763.6565
90 | 2597995.8 | 1205759.6306
91 | 2597994.7081 | 1205758.7487
92 | 2597939.1472 | 1205788.5735

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1