## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_360-20_1_3_node_154 | 0.4 | n |  | TRUE
1 | bus_LV_360-20_1_3_node_155 | 0.4 | n |  | TRUE
2 | bus_LV_360-20_1_3_node_156 | 0.4 | n |  | TRUE
3 | bus_LV_360-20_1_3_node_158 | 0.4 | n |  | TRUE
4 | bus_LV_360-20_1_3_node_59 | 0.4 | n |  | TRUE
5 | bus_LV_360-20_1_3_node_161 | 0.4 | n |  | TRUE
6 | bus_LV_360-20_1_3_node_172 | 0.4 | n |  | TRUE
7 | bus_LV_360-20_1_3_node_174 | 0.4 | n |  | TRUE
8 | bus_LV_360-20_1_3_node_168 | 0.4 | n |  | TRUE
9 | bus_LV_360-20_1_3_node_169 | 0.4 | n |  | TRUE
10 | bus_LV_360-20_1_3_node_170 | 0.4 | n |  | TRUE
11 | bus_LV_360-20_1_3_node_171 | 0.4 | n |  | TRUE
12 | bus_LV_360-20_1_3_node_173 | 0.4 | n |  | TRUE
13 | bus_LV_360-20_1_3_node_177 | 0.4 | n |  | TRUE
14 | bus_LV_360-20_1_3_node_175 | 0.4 | n |  | TRUE
15 | bus_LV_360-20_1_3_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_360-20_1_3_node_181 | 0.4 | n |  | TRUE
17 | bus_LV_360-20_1_3_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_360-20_1_3_node_189 | 0.4 | n |  | TRUE
19 | bus_LV_360-20_1_3_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_360-20_1_3_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_360-20_1_3_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_360-20_1_3_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_360-20_1_3_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_360-20_1_3_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_360-20_1_3_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_360-20_1_3_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_360-20_1_3_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_360-20_1_3_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_360-20_1_3_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_360-20_1_3_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_360-20_1_3_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_360-20_1_3_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_360-20_1_3_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_360-20_1_3_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_360-20_1_3_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_360-20_1_3_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_360-20_1_3_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_360-20_1_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_360-20_1_3_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_360-20_1_3_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_360-20_1_3_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_360-20_1_3_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_360-20_1_3_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_360-20_1_3_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_360-20_1_3_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_360-20_1_3_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_360-20_1_3_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_360-20_1_3_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_360-20_1_3_node_94 | 0.4 | n |  | TRUE
50 | bus_MV_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_360-20_1_3_load_154 | 0 | 0.0013533 | 0.00033918 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_360-20_1_3_load_155 | 1 | 0.0086503 | 0.002168 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_360-20_1_3_load_158 | 3 | 0.0021796 | 0.00054626 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_360-20_1_3_load_174 | 7 | 0.00077177 | 0.00019342 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_360-20_1_3_load_168 | 8 | 0.00052732 | 0.00013216 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_360-20_1_3_load_169 | 9 | 0.0014587 | 0.00036558 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_360-20_1_3_load_171 | 11 | 0.0012429 | 0.0003115 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_360-20_1_3_load_177 | 13 | 0.00077601 | 0.00019449 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_360-20_1_3_load_175 | 14 | 0.0012456 | 0.00031217 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_360-20_1_3_load_181 | 16 | 0.00041447 | 0.00010388 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_360-20_1_3_load_189 | 18 | 0.0017238 | 0.00043202 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_360-20_1_3_load_61 | 19 | 0.0029538 | 0.00074029 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_360-20_1_3_load_67 | 23 | 0.00053686 | 0.00013455 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_360-20_1_3_load_68 | 24 | 0.00042897 | 0.00010751 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_360-20_1_3_load_69 | 25 | 0.0011106 | 0.00027835 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_360-20_1_3_load_71 | 26 | 0.0012117 | 0.00030367 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_360-20_1_3_load_72 | 27 | 0.0012353 | 0.0003096 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_360-20_1_3_load_93 | 28 | 0.0023422 | 0.00058702 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_360-20_1_3_load_91 | 29 | 0.0071845 | 0.0018006 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_360-20_1_3_load_73 | 30 | 0.00088776 | 0.00022249 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_360-20_1_3_load_74 | 31 | 0.001529 | 0.00038321 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_360-20_1_3_load_77 | 34 | 0.001755 | 0.00043985 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_360-20_1_3_load_78 | 35 | 0.00067197 | 0.00016841 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_360-20_1_3_load_80 | 37 | 0.00098871 | 0.00024779 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_360-20_1_3_load_81 | 38 | 0.00038174 | 9.5674e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_360-20_1_3_load_90 | 39 | 0.0036933 | 0.00092562 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_360-20_1_3_load_95 | 41 | 0.0010141 | 0.00025415 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_360-20_1_3_load_82 | 42 | 0.00098981 | 0.00024807 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_360-20_1_3_load_84 | 44 | 0.00061762 | 0.00015479 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_360-20_1_3_load_86 | 45 | 0.0017616 | 0.0004415 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_360-20_1_3_load_87 | 46 | 0.002388 | 0.00059849 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_360-20_1_3_load_88 | 47 | 0.0041401 | 0.0010376 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_360-20_1_3_load_89 | 48 | 0.0013819 | 0.00034634 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_360-20_1_3_load_94 | 49 | 0.00062273 | 0.00015607 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_360-20_1_3_line_0 |  | 0 | 1 | 0.03319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_360-20_1_3_line_1 |  | 0 | 2 | 0.014355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_360-20_1_3_line_2 |  | 2 | 3 | 0.0096531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_360-20_1_3_line_3 |  | 3 | 4 | 0.18791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_360-20_1_3_line_4 |  | 4 | 5 | 0.36821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_360-20_1_3_line_5 |  | 5 | 6 | 0.05358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_360-20_1_3_line_6 |  | 5 | 7 | 0.077759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_360-20_1_3_line_7 |  | 6 | 10 | 0.11636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_360-20_1_3_line_8 |  | 7 | 14 | 0.023628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_360-20_1_3_line_9 |  | 8 | 9 | 0.050357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_360-20_1_3_line_10 |  | 8 | 10 | 0.03707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_360-20_1_3_line_11 |  | 9 | 11 | 0.015786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_360-20_1_3_line_12 |  | 10 | 12 | 0.23866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_360-20_1_3_line_13 |  | 12 | 13 | 0.37513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_360-20_1_3_line_14 |  | 13 | 15 | 0.10033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_360-20_1_3_line_15 |  | 15 | 17 | 0.42184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_360-20_1_3_line_16 |  | 15 | 22 | 0.37811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_360-20_1_3_line_17 |  | 16 | 17 | 0.013699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_360-20_1_3_line_18 |  | 16 | 18 | 0.28892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_360-20_1_3_line_19 |  | 19 | 20 | 0.026161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_360-20_1_3_line_20 |  | 19 | 21 | 0.029136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_360-20_1_3_line_21 |  | 20 | 22 | 0.065415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_360-20_1_3_line_22 |  | 21 | 23 | 0.014597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_360-20_1_3_line_23 |  | 21 | 24 | 0.024766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_360-20_1_3_line_24 |  | 22 | 25 | 0.024551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_360-20_1_3_line_25 |  | 23 | 26 | 0.026602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_360-20_1_3_line_26 |  | 24 | 27 | 0.053453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_360-20_1_3_line_27 |  | 26 | 28 | 0.0088546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_360-20_1_3_line_28 |  | 27 | 29 | 0.0046371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_360-20_1_3_line_29 |  | 29 | 36 | 0.026295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_360-20_1_3_line_30 |  | 30 | 31 | 0.015391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_360-20_1_3_line_31 |  | 30 | 32 | 0.0098914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_360-20_1_3_line_32 |  | 31 | 33 | 0.05639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_360-20_1_3_line_33 |  | 32 | 34 | 0.02336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_360-20_1_3_line_34 |  | 32 | 35 | 0.016546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_360-20_1_3_line_35 |  | 33 | 36 | 0.038814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_360-20_1_3_line_36 |  | 34 | 37 | 0.035164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_360-20_1_3_line_37 |  | 35 | 38 | 0.010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_360-20_1_3_line_38 |  | 36 | 39 | 0.060647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_360-20_1_3_line_39 |  | 37 | 40 | 0.016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_360-20_1_3_line_40 |  | 38 | 41 | 0.044091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_360-20_1_3_line_41 |  | 39 | 48 | 0.0097928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_360-20_1_3_line_42 |  | 40 | 43 | 0.049827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_360-20_1_3_line_43 |  | 41 | 49 | 0.056552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_360-20_1_3_line_44 |  | 42 | 43 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_360-20_1_3_line_45 |  | 42 | 44 | 0.0063555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_360-20_1_3_line_46 |  | 45 | 46 | 0.035366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_360-20_1_3_line_47 |  | 46 | 47 | 0.022165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_360-20_1_3_line_48 |  | 47 | 48 | 0.019569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_360-20_1_3_trafo_88 | 0.63 MVA 20/0.4 kV | 50 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2596144.9564 | 1204924.258 | 2596133.2062 | 1204927.0337 | 2596130.5146 | 1204928.6364 | 2596128.7211 | 1204931.0055 | 2596128.3427 | 1204933.9407 | 2596128.6569 | 1204937.5313 | 2596130.6439 | 1204940.087 | 2596135.3156 | 1204942.3963
1 | 2596158.9267 | 1204920.9579 | 2596144.9564 | 1204924.258
2 | 2596158.9267 | 1204920.9579 | 2596157.8296 | 1204911.3674
3 | 2596048.8472 | 1204761.8779 | 2596064.7595 | 1204783.6679 | 2596104.4233 | 1204834.7136 | 2596126.3566 | 1204863.7038 | 2596151.0394 | 1204886.8668 | 2596154.1375 | 1204890.4445 | 2596156.0655 | 1204895.9462 | 2596157.8296 | 1204911.3674
4 | 2595694.7893 | 1204704.0178 | 2595738.5769 | 1204709.5667 | 2595793.6531 | 1204715.7858 | 2595854.3735 | 1204722.2461 | 2595862.658 | 1204723.6633 | 2595869.6805 | 1204725.9929 | 2595876.209 | 1204728.901 | 2595913.5252 | 1204759.2247 | 2595923.569 | 1204763.798 | 2595932.0971 | 1204765.5486 | 2596031.7099 | 1204762.2007 | 2596048.8472 | 1204761.8779
5 | 2595641.3487 | 1204698.4209 | 2595667.6086 | 1204700.9584 | 2595694.7893 | 1204704.0178
6 | 2595694.7893 | 1204704.0178 | 2595706.1157 | 1204780.9473
7 | 2595641.3487 | 1204698.4209 | 2595630.8875 | 1204695.5604 | 2595591.7439 | 1204685.4175 | 2595574.4267 | 1204679.4384 | 2595555.7667 | 1204668.1908 | 2595553.5316 | 1204679.8322 | 2595542.3398 | 1204686.6777
8 | 2595706.1157 | 1204780.9473 | 2595709.5574 | 1204804.3237
9 | 2595540.4185 | 1204760.9307 | 2595540.4185 | 1204760.9307 | 2595554.7776 | 1204758.2184 | 2595552.793 | 1204739.0761 | 2595548.5283 | 1204723.138
10 | 2595542.3398 | 1204686.6777 | 2595545.1495 | 1204710.5108 | 2595548.5283 | 1204723.138
11 | 2595536.3606 | 1204776.1866 | 2595540.4185 | 1204760.9307
12 | 2595368.5787 | 1204538.198 | 2595405.6851 | 1204567.885 | 2595477.2164 | 1204613.5877 | 2595504.203 | 1204630.7541 | 2595539.5324 | 1204655.952 | 2595541.1614 | 1204667.4793 | 2595542.3398 | 1204686.6777
13 | 2595368.5787 | 1204538.198 | 2595347.0439 | 1204624.7399 | 2595328.2861 | 1204682.5307 | 2595324.6079 | 1204696.419 | 2595321.6094 | 1204713.6418 | 2595319.6816 | 1204766.7501 | 2595318.0888 | 1204820.0915 | 2595314.2391 | 1204876.2807 | 2595312.9704 | 1204906.7663
14 | 2595318.3816 | 1205006.1482 | 2595314.3171 | 1204993.1555 | 2595311.1541 | 1204975.5817 | 2595310.9198 | 1204958.3281 | 2595311.9031 | 1204932.4132 | 2595312.9704 | 1204906.7663
15 | 2595003.1116 | 1205185.2832 | 2595006.5781 | 1205183.1346 | 2595021.417 | 1205173.6724 | 2595036.1512 | 1205166.2559 | 2595049.3729 | 1205160.1192 | 2595062.1697 | 1205155.1724 | 2595072.4967 | 1205152.8069 | 2595084.3231 | 1205151.7298 | 2595096.1516 | 1205153.0206 | 2595106.6953 | 1205155.0685 | 2595121.0358 | 1205158.9253 | 2595128.6053 | 1205160.6867 | 2595137.4597 | 1205161.8911 | 2595157.1709 | 1205166.7108 | 2595174.7642 | 1205167.4745 | 2595197.2042 | 1205160.8859 | 2595257.6133 | 1205125.8288 | 2595273.3521 | 1205128.1508 | 2595297.3879 | 1205090.9223 | 2595312.2533 | 1205028.0761 | 2595318.3816 | 1205006.1482
16 | 2595318.3816 | 1205006.1482 | 2595325.4331 | 1205016.426 | 2595389.4652 | 1205097.7975 | 2595420.8896 | 1205190.1677 | 2595479.8238 | 1205282.9838 | 2595493.3344 | 1205335.8689
17 | 2595003.1116 | 1205185.2832 | 2594991.4654 | 1205192.497
18 | 2594991.4654 | 1205192.497 | 2594702.5438 | 1205191.6162
19 | 2595535.2039 | 1205385.3195 | 2595546.3286 | 1205392.0814 | 2595557.2386 | 1205396.52 | 2595558.5552 | 1205396.8778
20 | 2595586.9472 | 1205397.4092 | 2595579.5483 | 1205399.3158 | 2595570.9849 | 1205400.2561 | 2595558.5552 | 1205396.8778
21 | 2595535.2039 | 1205385.3195 | 2595520.3865 | 1205373.5243 | 2595504.4382 | 1205354.8485 | 2595493.3344 | 1205335.8689
22 | 2595586.9472 | 1205397.4092 | 2595585.4145 | 1205411.9252
23 | 2595586.9472 | 1205397.4092 | 2595599.4632 | 1205393.4198 | 2595610.8163 | 1205390.8969
24 | 2595493.3344 | 1205335.8689 | 2595490.8646 | 1205338.5723 | 2595473.0108 | 1205349.4171
25 | 2595588.3271 | 1205437.4153 | 2595585.5068 | 1205434.0302 | 2595584.4702 | 1205420.8683 | 2595585.4145 | 1205411.9252
26 | 2595663.6718 | 1205383.1468 | 2595659.1077 | 1205383.659 | 2595620.3451 | 1205388.7794 | 2595610.8163 | 1205390.8969
27 | 2595593.9948 | 1205444.2183 | 2595588.3271 | 1205437.4153
28 | 2595663.6718 | 1205383.1468 | 2595668.28 | 1205382.6297
29 | 2595694.4106 | 1205379.6975 | 2595668.28 | 1205382.6297
30 | 2595687.372 | 1205452.6218 | 2595685.1793 | 1205454.912 | 2595674.8289 | 1205461.4091
31 | 2595666.8436 | 1205467.2322 | 2595672.6434 | 1205462.781 | 2595674.8289 | 1205461.4091
32 | 2595721.2868 | 1205407.6153 | 2595690.5904 | 1205449.2604 | 2595687.372 | 1205452.6218
33 | 2595666.8436 | 1205467.2322 | 2595664.526 | 1205470.0688 | 2595662.4983 | 1205474.1503 | 2595660.5632 | 1205479.9438 | 2595659.3549 | 1205488.8945
34 | 2595666.8436 | 1205467.2322 | 2595654.8229 | 1205462.0938 | 2595651.3514 | 1205462.2016
35 | 2595721.2868 | 1205407.6153 | 2595713.4863 | 1205401.2063 | 2595707.6712 | 1205395.3518 | 2595694.4106 | 1205379.6975
36 | 2595659.3549 | 1205488.8945 | 2595654.8674 | 1205522.1377 | 2595654.5185 | 1205523.7189
37 | 2595640.7815 | 1205462.5296 | 2595651.3514 | 1205462.2016
38 | 2595694.4106 | 1205379.6975 | 2595745.1857 | 1205368.0429 | 2595753.1777 | 1205365.0014
39 | 2595650.9788 | 1205539.7613 | 2595654.5185 | 1205523.7189
40 | 2595640.7815 | 1205462.5296 | 2595635.0031 | 1205462.7089 | 2595627.2314 | 1205464.4378 | 2595601.1668 | 1205479.9834
41 | 2595762.3301 | 1205361.5182 | 2595753.1777 | 1205365.0014
42 | 2595640.2455 | 1205588.418 | 2595644.7405 | 1205568.0814 | 2595650.9788 | 1205539.7613
43 | 2595552.5763 | 1205508.915 | 2595556.9643 | 1205506.3468 | 2595601.1668 | 1205479.9834
44 | 2595640.2455 | 1205588.418 | 2595622.7558 | 1205595.3103
45 | 2595616.8428 | 1205597.6405 | 2595622.7558 | 1205595.3103
46 | 2595831.3528 | 1205327.4948 | 2595806.5303 | 1205342.118 | 2595800.5716 | 1205344.8537
47 | 2595800.5716 | 1205344.8537 | 2595780.4281 | 1205354.1016
48 | 2595762.3301 | 1205361.5182 | 2595773.6918 | 1205357.1942 | 2595780.4281 | 1205354.1016

## bus_geodata
| x | y | coords
0 | 2596144.9564 | 1204924.258
1 | 2596135.3156 | 1204942.3963
2 | 2596158.9267 | 1204920.9579
3 | 2596157.8296 | 1204911.3674
4 | 2596048.8472 | 1204761.8778
5 | 2595694.7893 | 1204704.0178
6 | 2595641.3487 | 1204698.4209
7 | 2595706.1157 | 1204780.9473
8 | 2595548.5283 | 1204723.138
9 | 2595540.4185 | 1204760.9307
10 | 2595542.3398 | 1204686.6777
11 | 2595536.3606 | 1204776.1866
12 | 2595368.5787 | 1204538.198
13 | 2595312.9704 | 1204906.7663
14 | 2595709.5574 | 1204804.3237
15 | 2595318.3816 | 1205006.1482
16 | 2594991.4654 | 1205192.497
17 | 2595003.1116 | 1205185.2832
18 | 2594702.5438 | 1205191.6162
19 | 2595558.5552 | 1205396.8778
20 | 2595535.2039 | 1205385.3195
21 | 2595586.9472 | 1205397.4092
22 | 2595493.3344 | 1205335.8689
23 | 2595585.4145 | 1205411.9252
24 | 2595610.8163 | 1205390.8969
25 | 2595473.0108 | 1205349.4171
26 | 2595588.3271 | 1205437.4153
27 | 2595663.6718 | 1205383.1468
28 | 2595593.9948 | 1205444.2183
29 | 2595668.28 | 1205382.6297
30 | 2595674.8289 | 1205461.4091
31 | 2595687.372 | 1205452.6218
32 | 2595666.8436 | 1205467.2322
33 | 2595721.2868 | 1205407.6153
34 | 2595659.3549 | 1205488.8945
35 | 2595651.3514 | 1205462.2016
36 | 2595694.4106 | 1205379.6975
37 | 2595654.5185 | 1205523.7189
38 | 2595640.7815 | 1205462.5296
39 | 2595753.1777 | 1205365.0014
40 | 2595650.9788 | 1205539.7613
41 | 2595601.1668 | 1205479.9834
42 | 2595622.7558 | 1205595.3103
43 | 2595640.2455 | 1205588.418
44 | 2595616.8428 | 1205597.6405
45 | 2595831.3528 | 1205327.4948
46 | 2595800.5716 | 1205344.8537
47 | 2595780.4281 | 1205354.1016
48 | 2595762.3301 | 1205361.5182
49 | 2595552.5763 | 1205508.915
50 | 2595780.4281 | 1205354.1016

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1