## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_360-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_360-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_360-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_360-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_360-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_360-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_360-5_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_360-5_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_360-5_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_360-5_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_360-5_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_360-5_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_360-5_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_360-5_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_360-5_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_360-5_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_360-5_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_360-5_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_360-5_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_360-5_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_360-5_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_360-5_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_360-5_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_360-5_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_360-5_0_3_node_144 | 0.4 | n |  | TRUE
25 | bus_LV_360-5_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_360-5_0_3_node_112 | 0.4 | n |  | TRUE
27 | bus_LV_360-5_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_360-5_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_360-5_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_360-5_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_360-5_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_360-5_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_360-5_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_360-5_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_360-5_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_360-5_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_360-5_0_3_node_154 | 0.4 | n |  | TRUE
38 | bus_LV_360-5_0_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_360-5_0_3_node_110 | 0.4 | n |  | TRUE
40 | bus_LV_360-5_0_3_node_118 | 0.4 | n |  | TRUE
41 | bus_LV_360-5_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_360-5_0_3_node_111 | 0.4 | n |  | TRUE
43 | bus_LV_360-5_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_360-5_0_3_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_360-5_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_360-5_0_3_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_360-5_0_3_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_360-5_0_3_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_360-5_0_3_node_107 | 0.4 | n |  | TRUE
50 | bus_LV_360-5_0_3_node_104 | 0.4 | n |  | TRUE
51 | bus_LV_360-5_0_3_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_360-5_0_3_node_109 | 0.4 | n |  | TRUE
53 | bus_LV_360-5_0_3_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_360-5_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_360-5_0_3_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_360-5_0_3_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_360-5_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_360-5_0_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_360-5_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_360-5_0_3_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_360-5_0_3_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_360-5_0_3_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_360-5_0_3_node_100 | 0.4 | n |  | TRUE
64 | bus_LV_360-5_0_3_node_97 | 0.4 | n |  | TRUE
65 | bus_LV_360-5_0_3_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_360-5_0_3_node_130 | 0.4 | n |  | TRUE
67 | bus_LV_360-5_0_3_node_128 | 0.4 | n |  | TRUE
68 | bus_LV_360-5_0_3_node_103 | 0.4 | n |  | TRUE
69 | bus_LV_360-5_0_3_node_98 | 0.4 | n |  | TRUE
70 | bus_LV_360-5_0_3_node_116 | 0.4 | n |  | TRUE
71 | bus_LV_360-5_0_3_node_114 | 0.4 | n |  | TRUE
72 | bus_LV_360-5_0_3_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_360-5_0_3_node_137 | 0.4 | n |  | TRUE
74 | bus_LV_360-5_0_3_node_99 | 0.4 | n |  | TRUE
75 | bus_LV_360-5_0_3_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_360-5_0_3_node_102 | 0.4 | n |  | TRUE
77 | bus_LV_360-5_0_3_node_138 | 0.4 | n |  | TRUE
78 | bus_LV_360-5_0_3_node_142 | 0.4 | n |  | TRUE
79 | bus_LV_360-5_0_3_node_149 | 0.4 | n |  | TRUE
80 | bus_LV_360-5_0_3_node_143 | 0.4 | n |  | TRUE
81 | bus_LV_360-5_0_3_node_150 | 0.4 | n |  | TRUE
82 | bus_LV_360-5_0_3_node_106 | 0.4 | n |  | TRUE
83 | bus_LV_360-5_0_3_node_108 | 0.4 | n |  | TRUE
84 | bus_LV_360-5_0_3_node_156 | 0.4 | n |  | TRUE
85 | bus_LV_360-5_0_3_node_113 | 0.4 | n |  | TRUE
86 | bus_LV_360-5_0_3_node_115 | 0.4 | n |  | TRUE
87 | bus_LV_360-5_0_3_node_117 | 0.4 | n |  | TRUE
88 | bus_LV_360-5_0_3_node_123 | 0.4 | n |  | TRUE
89 | bus_LV_360-5_0_3_node_133 | 0.4 | n |  | TRUE
90 | bus_LV_360-5_0_3_node_132 | 0.4 | n |  | TRUE
91 | bus_LV_360-5_0_3_node_125 | 0.4 | n |  | TRUE
92 | bus_LV_360-5_0_3_node_126 | 0.4 | n |  | TRUE
93 | bus_LV_360-5_0_3_node_127 | 0.4 | n |  | TRUE
94 | bus_LV_360-5_0_3_node_129 | 0.4 | n |  | TRUE
95 | bus_LV_360-5_0_3_node_131 | 0.4 | n |  | TRUE
96 | bus_LV_360-5_0_3_node_153 | 0.4 | n |  | TRUE
97 | bus_LV_360-5_0_3_node_152 | 0.4 | n |  | TRUE
98 | bus_LV_360-5_0_3_node_134 | 0.4 | n |  | TRUE
99 | bus_LV_360-5_0_3_node_135 | 0.4 | n |  | TRUE
100 | bus_LV_360-5_0_3_node_136 | 0.4 | n |  | TRUE
101 | bus_LV_360-5_0_3_node_145 | 0.4 | n |  | TRUE
102 | bus_LV_360-5_0_3_node_146 | 0.4 | n |  | TRUE
103 | bus_LV_360-5_0_3_node_147 | 0.4 | n |  | TRUE
104 | bus_LV_360-5_0_3_node_148 | 0.4 | n |  | TRUE
105 | bus_LV_360-5_0_3_node_151 | 0.4 | n |  | TRUE
106 | bus_MV_405_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_360-5_0_3_load_0 | 0 | 0.0033607 | 0.00084227 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_360-5_0_3_load_1 | 1 | 0.0033619 | 0.00084256 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_360-5_0_3_load_2 | 2 | 0.0042727 | 0.0010708 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_360-5_0_3_load_3 | 3 | 0.0047836 | 0.0011989 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_360-5_0_3_load_4 | 4 | 0.004429 | 0.00111 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_360-5_0_3_load_5 | 5 | 0.0047868 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_360-5_0_3_load_6 | 6 | 0.0055518 | 0.0013914 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_360-5_0_3_load_21 | 7 | 0.0037113 | 0.00093015 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_360-5_0_3_load_22 | 8 | 0.0057229 | 0.0014343 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_360-5_0_3_load_7 | 9 | 0.0057229 | 0.0014343 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_360-5_0_3_load_8 | 10 | 0.001854 | 0.00046465 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_360-5_0_3_load_9 | 11 | 0.0072997 | 0.0018295 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_360-5_0_3_load_10 | 12 | 0.0021366 | 0.00053548 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_360-5_0_3_load_11 | 13 | 0.0023287 | 0.00058364 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_360-5_0_3_load_13 | 14 | 0.0017338 | 0.00043454 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_360-5_0_3_load_12 | 15 | 0.002088 | 0.0005233 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_360-5_0_3_load_15 | 17 | 0.0059559 | 0.0014927 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_360-5_0_3_load_17 | 19 | 0.0034196 | 0.00085702 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_360-5_0_3_load_19 | 21 | 0.0027517 | 0.00068965 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_360-5_0_3_load_20 | 22 | 0.0046768 | 0.0011721 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_360-5_0_3_load_25 | 23 | 0.0059507 | 0.0014914 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_360-5_0_3_load_144 | 24 | 0.0015129 | 0.00037916 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_360-5_0_3_load_24 | 25 | 0.0053079 | 0.0013303 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_360-5_0_3_load_112 | 26 | 0.0013599 | 0.00034082 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_360-5_0_3_load_23 | 27 | 0.0053108 | 0.001331 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_360-5_0_3_load_26 | 28 | 0.0088887 | 0.0022277 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_360-5_0_3_load_30 | 32 | 0.0034735 | 0.00087053 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_360-5_0_3_load_31 | 33 | 0.0030102 | 0.00075443 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_360-5_0_3_load_33 | 34 | 0.0022892 | 0.00057372 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_360-5_0_3_load_34 | 35 | 0.0027475 | 0.00068858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_360-5_0_3_load_35 | 36 | 0.0025669 | 0.00064332 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_360-5_0_3_load_154 | 37 | 0.0031997 | 0.00080192 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_360-5_0_3_load_52 | 38 | 0.0024358 | 0.00061046 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_360-5_0_3_load_118 | 40 | 0.0051641 | 0.0012942 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_360-5_0_3_load_51 | 41 | 0.0026092 | 0.00065394 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_360-5_0_3_load_111 | 42 | 0.0014484 | 0.00036301 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_360-5_0_3_load_54 | 44 | 0.0033196 | 0.00083197 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_360-5_0_3_load_55 | 45 | 0.0028301 | 0.00070929 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_360-5_0_3_load_56 | 46 | 0.0027475 | 0.00068858 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_360-5_0_3_load_94 | 48 | 0.0034769 | 0.00087139 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_360-5_0_3_load_107 | 49 | 0.002401 | 0.00060176 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_360-5_0_3_load_104 | 50 | 0.0036351 | 0.00091103 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_360-5_0_3_load_95 | 51 | 0.0049887 | 0.0012503 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_360-5_0_3_load_109 | 52 | 0.0020444 | 0.00051237 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_360-5_0_3_load_105 | 53 | 0.00172 | 0.00043108 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_360-5_0_3_load_58 | 54 | 0.0020735 | 0.00051966 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_360-5_0_3_load_59 | 55 | 0.0038936 | 0.00097583 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_360-5_0_3_load_60 | 56 | 0.0042063 | 0.0010542 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_360-5_0_3_load_61 | 57 | 0.0042383 | 0.0010622 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_360-5_0_3_load_62 | 58 | 0.0021271 | 0.0005331 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_360-5_0_3_load_63 | 59 | 0.002133 | 0.00053458 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_360-5_0_3_load_64 | 60 | 0.0041604 | 0.0010427 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_360-5_0_3_load_81 | 61 | 0.0026864 | 0.00067327 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_360-5_0_3_load_79 | 62 | 0.0019657 | 0.00049266 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_360-5_0_3_load_100 | 63 | 0.0029001 | 0.00072684 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_360-5_0_3_load_97 | 64 | 0.0027877 | 0.00069866 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_360-5_0_3_load_80 | 65 | 0.0026239 | 0.00065761 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_360-5_0_3_load_130 | 66 | 0.0018699 | 0.00046864 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_360-5_0_3_load_128 | 67 | 0.0024035 | 0.00060237 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_360-5_0_3_load_103 | 68 | 0.0027561 | 0.00069075 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_360-5_0_3_load_98 | 69 | 0.0025493 | 0.00063892 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_360-5_0_3_load_116 | 70 | 0.0024858 | 0.00062299 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_360-5_0_3_load_114 | 71 | 0.0051644 | 0.0012943 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_360-5_0_3_load_90 | 72 | 0.010967 | 0.0027487 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_360-5_0_3_load_137 | 73 | 0.0037427 | 0.00093801 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_360-5_0_3_load_101 | 75 | 0.0018375 | 0.00046052 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_360-5_0_3_load_102 | 76 | 0.0066333 | 0.0016625 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_360-5_0_3_load_138 | 77 | 0.0015417 | 0.00038639 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_360-5_0_3_load_142 | 78 | 0.0031237 | 0.00078287 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_360-5_0_3_load_149 | 79 | 0.002767 | 0.00069348 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_360-5_0_3_load_143 | 80 | 0.0052344 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_360-5_0_3_load_150 | 81 | 0.0028395 | 0.00071165 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_360-5_0_3_load_106 | 82 | 0.0018014 | 0.00045147 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_360-5_0_3_load_108 | 83 | 0.0017079 | 0.00042805 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_360-5_0_3_load_156 | 84 | 0.018165 | 0.0045526 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_360-5_0_3_load_113 | 85 | 0.002748 | 0.00068872 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_360-5_0_3_load_115 | 86 | 0.0024849 | 0.00062278 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_360-5_0_3_load_117 | 87 | 0.0024171 | 0.00060577 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_360-5_0_3_load_123 | 88 | 0.0027508 | 0.00068942 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_360-5_0_3_load_133 | 89 | 0.0026584 | 0.00066625 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_360-5_0_3_load_132 | 90 | 0.0025696 | 0.000644 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_360-5_0_3_load_125 | 91 | 0.0026167 | 0.00065581 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_360-5_0_3_load_126 | 92 | 0.0032302 | 0.00080958 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_360-5_0_3_load_127 | 93 | 0.003218 | 0.00080652 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_360-5_0_3_load_129 | 94 | 0.0024955 | 0.00062544 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_360-5_0_3_load_131 | 95 | 0.0032089 | 0.00080422 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_360-5_0_3_load_153 | 96 | 0.0031508 | 0.00078966 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_360-5_0_3_load_152 | 97 | 0.0030004 | 0.00075197 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_360-5_0_3_load_134 | 98 | 0.0026536 | 0.00066506 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_360-5_0_3_load_135 | 99 | 0.0029009 | 0.00072704 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_360-5_0_3_load_136 | 100 | 0.0026858 | 0.00067313 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_360-5_0_3_load_145 | 101 | 0.0034766 | 0.00087131 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_360-5_0_3_load_146 | 102 | 0.003135 | 0.00078571 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_360-5_0_3_load_147 | 103 | 0.0030172 | 0.00075617 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_360-5_0_3_load_148 | 104 | 0.0032221 | 0.00080754 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_360-5_0_3_load_151 | 105 | 0.0030913 | 0.00077475 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_360-5_0_3_line_0 |  | 0 | 1 | 0.0077194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_360-5_0_3_line_1 |  | 0 | 2 | 0.023702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_360-5_0_3_line_2 |  | 1 | 3 | 0.015868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_360-5_0_3_line_3 |  | 2 | 4 | 0.014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_360-5_0_3_line_4 |  | 3 | 5 | 0.0076706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_360-5_0_3_line_5 |  | 4 | 6 | 0.016172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_360-5_0_3_line_6 |  | 5 | 7 | 0.012936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_360-5_0_3_line_7 |  | 7 | 8 | 0.0013914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_360-5_0_3_line_8 |  | 8 | 27 | 0.024966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_360-5_0_3_line_9 |  | 9 | 10 | 0.00014182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_360-5_0_3_line_10 |  | 9 | 11 | 0.00059807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_360-5_0_3_line_11 |  | 10 | 12 | 0.0071616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_360-5_0_3_line_12 |  | 12 | 13 | 0.016185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_360-5_0_3_line_13 |  | 13 | 14 | 0.0076996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_360-5_0_3_line_14 |  | 14 | 15 | 0.016447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_360-5_0_3_line_15 |  | 15 | 16 | 0.015615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_360-5_0_3_line_16 |  | 16 | 17 | 0.020557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_360-5_0_3_line_17 |  | 17 | 18 | 0.018433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_360-5_0_3_line_18 |  | 18 | 19 | 0.016774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_360-5_0_3_line_19 |  | 18 | 20 | 0.065818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_360-5_0_3_line_20 |  | 19 | 21 | 0.0051652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_360-5_0_3_line_21 |  | 20 | 22 | 0.04182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_360-5_0_3_line_22 |  | 21 | 23 | 0.00094482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_360-5_0_3_line_23 |  | 22 | 24 | 0.042257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_360-5_0_3_line_24 |  | 23 | 25 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_360-5_0_3_line_25 |  | 24 | 26 | 0.00010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_360-5_0_3_line_26 |  | 25 | 27 | 0.007954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_360-5_0_3_line_27 |  | 26 | 39 | 0.018239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_360-5_0_3_line_28 |  | 28 | 29 | 0.048893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_360-5_0_3_line_29 |  | 28 | 30 | 0.020435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_360-5_0_3_line_30 |  | 29 | 31 | 0.065655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_360-5_0_3_line_31 |  | 30 | 32 | 0.014757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_360-5_0_3_line_32 |  | 30 | 33 | 0.038549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_360-5_0_3_line_33 |  | 31 | 34 | 0.037031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_360-5_0_3_line_34 |  | 32 | 35 | 0.025817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_360-5_0_3_line_35 |  | 33 | 36 | 0.022122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_360-5_0_3_line_36 |  | 34 | 37 | 0.0038376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_360-5_0_3_line_37 |  | 35 | 38 | 0.0011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_360-5_0_3_line_38 |  | 36 | 39 | 0.048819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_360-5_0_3_line_39 |  | 37 | 40 | 0.013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_360-5_0_3_line_40 |  | 38 | 41 | 0.00085635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_360-5_0_3_line_41 |  | 39 | 42 | 0.021408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_360-5_0_3_line_42 |  | 40 | 87 | 0.0044883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_360-5_0_3_line_43 |  | 41 | 43 | 0.0094411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_360-5_0_3_line_44 |  | 42 | 77 | 0.0050138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_360-5_0_3_line_45 |  | 43 | 44 | 0.015381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_360-5_0_3_line_46 |  | 43 | 45 | 0.0056505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_360-5_0_3_line_47 |  | 44 | 46 | 0.0039018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_360-5_0_3_line_48 |  | 45 | 47 | 0.016023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_360-5_0_3_line_49 |  | 46 | 48 | 0.018371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_360-5_0_3_line_50 |  | 47 | 49 | 0.029275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_360-5_0_3_line_51 |  | 47 | 50 | 0.025523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_360-5_0_3_line_52 |  | 48 | 51 | 0.0062395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_360-5_0_3_line_53 |  | 49 | 52 | 0.0082483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_360-5_0_3_line_54 |  | 50 | 53 | 0.008503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_360-5_0_3_line_55 |  | 51 | 73 | 0.014639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_360-5_0_3_line_56 |  | 52 | 84 | 0.0097253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_360-5_0_3_line_57 |  | 53 | 82 | 0.0077386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_360-5_0_3_line_58 |  | 54 | 55 | 0.00082909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_360-5_0_3_line_59 |  | 54 | 56 | 0.006388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_360-5_0_3_line_60 |  | 55 | 57 | 0.0072919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_360-5_0_3_line_61 |  | 56 | 58 | 0.000956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_360-5_0_3_line_62 |  | 57 | 59 | 0.014221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_360-5_0_3_line_63 |  | 58 | 60 | 0.0064617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_360-5_0_3_line_64 |  | 59 | 61 | 0.043104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_360-5_0_3_line_65 |  | 60 | 62 | 0.00072394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_360-5_0_3_line_66 |  | 61 | 63 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_360-5_0_3_line_67 |  | 61 | 64 | 0.0013953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_360-5_0_3_line_68 |  | 62 | 65 | 0.01705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_360-5_0_3_line_69 |  | 63 | 68 | 0.0049506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_360-5_0_3_line_70 |  | 64 | 69 | 0.0029937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_360-5_0_3_line_71 |  | 65 | 66 | 0.00075593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_360-5_0_3_line_72 |  | 66 | 67 | 0.0054417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_360-5_0_3_line_73 |  | 67 | 92 | 0.0008058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_360-5_0_3_line_74 |  | 68 | 79 | 0.0048332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_360-5_0_3_line_75 |  | 69 | 74 | 0.010775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_360-5_0_3_line_76 |  | 70 | 71 | 0.0041987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_360-5_0_3_line_77 |  | 71 | 85 | 0.0031784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_360-5_0_3_line_78 |  | 72 | 73 | 0.01659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_360-5_0_3_line_79 |  | 74 | 75 | 0.0060106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_360-5_0_3_line_80 |  | 74 | 76 | 0.025522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_360-5_0_3_line_81 |  | 75 | 77 | 0.0051955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_360-5_0_3_line_82 |  | 76 | 78 | 0.00073462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_360-5_0_3_line_83 |  | 78 | 80 | 0.021048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_360-5_0_3_line_84 |  | 79 | 81 | 0.0049934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_360-5_0_3_line_85 |  | 82 | 83 | 0.01631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_360-5_0_3_line_86 |  | 85 | 86 | 0.0049453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_360-5_0_3_line_87 |  | 86 | 87 | 0.0087686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_360-5_0_3_line_88 |  | 88 | 89 | 0.0052087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_360-5_0_3_line_89 |  | 89 | 90 | 0.0049981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_360-5_0_3_line_90 |  | 90 | 98 | 0.0050275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_360-5_0_3_line_91 |  | 91 | 92 | 0.0053586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_360-5_0_3_line_92 |  | 91 | 93 | 0.00086045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_360-5_0_3_line_93 |  | 93 | 94 | 0.0054286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_360-5_0_3_line_94 |  | 94 | 95 | 0.0093678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_360-5_0_3_line_95 |  | 95 | 96 | 0.0010641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_360-5_0_3_line_96 |  | 96 | 97 | 0.017322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_360-5_0_3_line_97 |  | 97 | 105 | 0.0049166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_360-5_0_3_line_98 |  | 98 | 99 | 0.0020853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_360-5_0_3_line_99 |  | 99 | 100 | 0.0030526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_360-5_0_3_line_100 |  | 100 | 101 | 0.0032575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_360-5_0_3_line_101 |  | 101 | 102 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_360-5_0_3_line_102 |  | 102 | 103 | 0.0019853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_360-5_0_3_line_103 |  | 103 | 104 | 0.0042785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_360-5_0_3_line_104 |  | 104 | 105 | 0.001229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_360-5_0_3_trafo_60 | 0.63 MVA 20/0.4 kV | 106 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2594013.064 | 1202559.8142 | 2594005.9976 | 1202556.7069
1 | 2594013.064 | 1202559.8142 | 2594034.7611 | 1202569.3548
2 | 2594005.9976 | 1202556.7069 | 2593997.7261 | 1202553.0698 | 2593991.4624 | 1202550.3419
3 | 2594047.9495 | 1202575.1541 | 2594034.7611 | 1202569.3548
4 | 2593991.4624 | 1202550.3419 | 2593984.4297 | 1202547.2791
5 | 2594047.9495 | 1202575.1541 | 2594062.7539 | 1202581.6639 | 2594062.7539 | 1202581.6639
6 | 2593972.5697 | 1202542.114 | 2593984.4297 | 1202547.2791
7 | 2593972.5697 | 1202542.114 | 2593971.2939 | 1202541.5584
8 | 2593948.4048 | 1202531.59 | 2593971.2939 | 1202541.5584
9 | 2593979.3058 | 1202502.6323 | 2593979.1758 | 1202502.5754
10 | 2593979.8537 | 1202502.8719 | 2593979.3058 | 1202502.6323
11 | 2593972.6144 | 1202499.7054 | 2593979.1758 | 1202502.5754
12 | 2593972.6144 | 1202499.7054 | 2593957.7855 | 1202493.2191
13 | 2593950.7312 | 1202490.1335 | 2593957.7855 | 1202493.2191
14 | 2593935.6627 | 1202483.5424 | 2593950.7312 | 1202490.1335
15 | 2593921.3566 | 1202477.2848 | 2593935.6627 | 1202483.5424
16 | 2593921.3566 | 1202477.2848 | 2593913.284 | 1202496.19
17 | 2593906.0454 | 1202513.1422 | 2593913.284 | 1202496.19
18 | 2593906.0454 | 1202513.1422 | 2593921.4241 | 1202519.8397
19 | 2593845.5688 | 1202486.7685 | 2593864.2963 | 1202494.7866 | 2593870.8358 | 1202497.6592 | 2593901.3407 | 1202511.0793 | 2593906.0454 | 1202513.1422
20 | 2593921.4241 | 1202519.8397 | 2593926.1597 | 1202521.9021
21 | 2593845.5688 | 1202486.7685 | 2593844.6964 | 1202496.5969 | 2593845.2433 | 1202502.9665 | 2593852.6298 | 1202527.4354
22 | 2593926.1597 | 1202521.9021 | 2593927.0259 | 1202522.2794
23 | 2593864.8417 | 1202567.8894 | 2593852.6298 | 1202527.4354
24 | 2593927.0259 | 1202522.2794 | 2593941.1124 | 1202528.4141
25 | 2593864.8417 | 1202567.8894 | 2593864.8725 | 1202567.9914
26 | 2593941.1124 | 1202528.4141 | 2593948.4048 | 1202531.59
27 | 2593870.1433 | 1202585.4518 | 2593864.8725 | 1202567.9914
28 | 2593855.9539 | 1202755.214 | 2593857.0569 | 1202747.6421 | 2593859.5902 | 1202739.8797 | 2593868.4772 | 1202724.7734 | 2593872.2457 | 1202719.3221 | 2593877.1036 | 1202711.8378
29 | 2593885.2758 | 1202693.1944 | 2593882.1274 | 1202702.2359 | 2593879.0981 | 1202708.7648 | 2593877.1036 | 1202711.8378
30 | 2593855.9539 | 1202755.214 | 2593864.9019 | 1202776.9387 | 2593871.2289 | 1202787.9492 | 2593876.5475 | 1202795.1587 | 2593883.3262 | 1202801.5774 | 2593892.0535 | 1202808.6277
31 | 2593885.2758 | 1202693.1944 | 2593893.8764 | 1202695.2756 | 2593898.0696 | 1202695.8715 | 2593899.7429 | 1202695.8868
32 | 2593885.2758 | 1202693.1944 | 2593885.7267 | 1202687.7021 | 2593885.7034 | 1202679.909 | 2593884.0978 | 1202654.7149
33 | 2593892.0535 | 1202808.6277 | 2593919.4075 | 1202783.6672
34 | 2593925.4486 | 1202693.644 | 2593902.4449 | 1202695.9115 | 2593899.7429 | 1202695.8868
35 | 2593884.0978 | 1202654.7149 | 2593882.8491 | 1202635.1211 | 2593882.4427 | 1202632.6658
36 | 2593922.4727 | 1202781.3752 | 2593920.4236 | 1202782.7399 | 2593919.4075 | 1202783.6672
37 | 2593926.6175 | 1202693.5287 | 2593925.4486 | 1202693.644
38 | 2593870.1433 | 1202585.4518 | 2593881.4249 | 1202626.5179 | 2593882.4427 | 1202632.6658
39 | 2593933.9567 | 1202773.7263 | 2593922.4727 | 1202781.3752
40 | 2593927.4697 | 1202693.4447 | 2593926.6175 | 1202693.5287
41 | 2593870.1433 | 1202585.4518 | 2593890.8402 | 1202579.9782
42 | 2593933.9567 | 1202773.7263 | 2593937.6923 | 1202771.2383
43 | 2593936.8653 | 1202692.5186 | 2593927.4697 | 1202693.4447
44 | 2593890.8402 | 1202579.9782 | 2593895.6874 | 1202578.6963
45 | 2593936.8653 | 1202692.5186 | 2593951.6113 | 1202696.8933
46 | 2593936.8653 | 1202692.5186 | 2593941.9074 | 1202689.9679
47 | 2593951.6113 | 1202696.8933 | 2593955.3519 | 1202698.0031
48 | 2593956.7241 | 1202683.9158 | 2593945.4973 | 1202688.1518 | 2593941.9074 | 1202689.9679
49 | 2593955.3519 | 1202698.0031 | 2593962.7444 | 1202700.1962 | 2593972.8246 | 1202703.6627
50 | 2593956.7241 | 1202683.9158 | 2593960.2966 | 1202680.1879 | 2593965.0098 | 1202668.4211 | 2593976.0934 | 1202671.237
51 | 2593956.7241 | 1202683.9158 | 2593953.1066 | 1202658.6503 | 2593953.1066 | 1202658.6503
52 | 2593972.8246 | 1202703.6627 | 2593978.725 | 1202705.6918
53 | 2593976.0934 | 1202671.237 | 2593984.0878 | 1202673.268
54 | 2593953.1066 | 1202658.6503 | 2593944.6841 | 1202659.8176
55 | 2593992.5174 | 1202710.5987 | 2593979.7949 | 1202706.0597 | 2593978.725 | 1202705.6918
56 | 2593993.5137 | 1202675.6626 | 2593984.0878 | 1202673.268
57 | 2593937.0188 | 1202660.88 | 2593944.6841 | 1202659.8176
58 | 2593976.3685 | 1202592.7756 | 2593975.6144 | 1202592.4309
59 | 2593976.3685 | 1202592.7756 | 2593982.1785 | 1202595.4309
60 | 2593968.9823 | 1202589.3998 | 2593975.6144 | 1202592.4309
61 | 2593983.048 | 1202595.8283 | 2593982.1785 | 1202595.4309
62 | 2593955.6145 | 1202592.2428 | 2593966.815 | 1202588.4093 | 2593968.9823 | 1202589.3998
63 | 2593988.925 | 1202598.5143 | 2593983.048 | 1202595.8283
64 | 2593921.2508 | 1202573.9372 | 2593919.672 | 1202577.7297 | 2593954.7281 | 1202592.5462 | 2593955.6145 | 1202592.2428
65 | 2593989.5834 | 1202598.8152 | 2593988.925 | 1202598.5143
66 | 2593921.2508 | 1202573.9372 | 2593934.7209 | 1202579.6228
67 | 2593921.2508 | 1202573.9372 | 2593919.8814 | 1202573.67
68 | 2593989.5834 | 1202598.8152 | 2594005.0905 | 1202605.9024
69 | 2593934.7209 | 1202579.6228 | 2593939.2818 | 1202581.548
70 | 2593916.943 | 1202573.0967 | 2593919.8814 | 1202573.67
71 | 2594005.778 | 1202606.2166 | 2594005.0905 | 1202605.9024
72 | 2594005.778 | 1202606.2166 | 2594010.7273 | 1202608.4786
73 | 2594011.4602 | 1202608.8136 | 2594010.7273 | 1202608.4786
74 | 2593943.7345 | 1202583.4275 | 2593939.2818 | 1202581.548
75 | 2593906.5211 | 1202575.8312 | 2593916.943 | 1202573.0967 | 2593916.943 | 1202573.0967
76 | 2593951.7515 | 1202761.8742 | 2593951.7515 | 1202761.8742 | 2593955.9499 | 1202761.9272
77 | 2593949.1062 | 1202763.6361 | 2593951.7515 | 1202761.8742
78 | 2593992.5174 | 1202710.5987 | 2594008.6422 | 1202714.5016
79 | 2593906.5211 | 1202575.8312 | 2593900.7102 | 1202577.3679
80 | 2593906.5211 | 1202575.8312 | 2593913.3533 | 1202600.422
81 | 2593900.7102 | 1202577.3679 | 2593895.6874 | 1202578.6963
82 | 2593913.55 | 1202601.1298 | 2593913.3533 | 1202600.422
83 | 2593919.1844 | 1202621.4094 | 2593913.55 | 1202601.1298
84 | 2593948.3349 | 1202585.3693 | 2593943.7345 | 1202583.4275
85 | 2593920.8634 | 1202663.1192 | 2593937.0188 | 1202660.88
86 | 2593949.1062 | 1202763.6361 | 2593944.9903 | 1202766.3775
87 | 2593944.9903 | 1202766.3775 | 2593937.6923 | 1202771.2383
88 | 2594085.9192 | 1202652.1312 | 2594081.1719 | 1202649.988
89 | 2594076.6165 | 1202647.9315 | 2594081.1719 | 1202649.988
90 | 2594072.0343 | 1202645.8628 | 2594076.6165 | 1202647.9315
91 | 2594016.3339 | 1202611.041 | 2594011.4602 | 1202608.8136
92 | 2594017.1164 | 1202611.3987 | 2594016.3339 | 1202611.041
93 | 2594017.1164 | 1202611.3987 | 2594022.0539 | 1202613.6552
94 | 2594028.3394 | 1202620.3298 | 2594023.9721 | 1202614.5319 | 2594022.0539 | 1202613.6552
95 | 2594028.3394 | 1202620.3298 | 2594028.9796 | 1202621.1798
96 | 2594041.6843 | 1202632.1612 | 2594034.9671 | 1202629.1287 | 2594028.9796 | 1202621.1798
97 | 2594041.6843 | 1202632.1612 | 2594046.1654 | 1202634.1842
98 | 2594070.1337 | 1202645.0048 | 2594072.0343 | 1202645.8628
99 | 2594070.1337 | 1202645.0048 | 2594067.3515 | 1202643.7488
100 | 2594067.3515 | 1202643.7488 | 2594064.3826 | 1202642.4084
101 | 2594052.9946 | 1202637.2673 | 2594064.3826 | 1202642.4084
102 | 2594052.9946 | 1202637.2673 | 2594051.1851 | 1202636.4504
103 | 2594047.2855 | 1202634.6899 | 2594051.1851 | 1202636.4504
104 | 2594046.1654 | 1202634.1842 | 2594047.2855 | 1202634.6899

## bus_geodata
| x | y | coords
0 | 2594013.064 | 1202559.8142
1 | 2594005.9976 | 1202556.7069
2 | 2594034.7611 | 1202569.3548
3 | 2593991.4624 | 1202550.3419
4 | 2594047.9495 | 1202575.1541
5 | 2593984.4297 | 1202547.2791
6 | 2594062.7539 | 1202581.6639
7 | 2593972.5697 | 1202542.114
8 | 2593971.2939 | 1202541.5584
9 | 2593979.3058 | 1202502.6323
10 | 2593979.1758 | 1202502.5754
11 | 2593979.8537 | 1202502.8719
12 | 2593972.6144 | 1202499.7054
13 | 2593957.7855 | 1202493.2191
14 | 2593950.7312 | 1202490.1335
15 | 2593935.6627 | 1202483.5424
16 | 2593921.3566 | 1202477.2848
17 | 2593913.284 | 1202496.19
18 | 2593906.0454 | 1202513.1422
19 | 2593921.4241 | 1202519.8397
20 | 2593845.5688 | 1202486.7685
21 | 2593926.1597 | 1202521.9021
22 | 2593852.6298 | 1202527.4354
23 | 2593927.0259 | 1202522.2794
24 | 2593864.8417 | 1202567.8894
25 | 2593941.1124 | 1202528.4141
26 | 2593864.8725 | 1202567.9914
27 | 2593948.4048 | 1202531.59
28 | 2593877.1036 | 1202711.8378
29 | 2593855.9539 | 1202755.214
30 | 2593885.2758 | 1202693.1944
31 | 2593892.0535 | 1202808.6277
32 | 2593899.7429 | 1202695.8868
33 | 2593884.0978 | 1202654.7149
34 | 2593919.4075 | 1202783.6672
35 | 2593925.4486 | 1202693.644
36 | 2593882.4427 | 1202632.6658
37 | 2593922.4727 | 1202781.3752
38 | 2593926.6175 | 1202693.5287
39 | 2593870.1433 | 1202585.4518
40 | 2593933.9567 | 1202773.7263
41 | 2593927.4697 | 1202693.4447
42 | 2593890.8402 | 1202579.9782
43 | 2593936.8653 | 1202692.5186
44 | 2593951.6112 | 1202696.8933
45 | 2593941.9074 | 1202689.9679
46 | 2593955.3519 | 1202698.0031
47 | 2593956.7241 | 1202683.9158
48 | 2593972.8246 | 1202703.6627
49 | 2593976.0934 | 1202671.237
50 | 2593953.1066 | 1202658.6503
51 | 2593978.725 | 1202705.6918
52 | 2593984.0878 | 1202673.268
53 | 2593944.6841 | 1202659.8176
54 | 2593976.3685 | 1202592.7756
55 | 2593975.6144 | 1202592.4309
56 | 2593982.1785 | 1202595.4309
57 | 2593968.9823 | 1202589.3998
58 | 2593983.048 | 1202595.8283
59 | 2593955.6145 | 1202592.2428
60 | 2593988.925 | 1202598.5143
61 | 2593921.2508 | 1202573.9372
62 | 2593989.5834 | 1202598.8152
63 | 2593934.7209 | 1202579.6228
64 | 2593919.8814 | 1202573.67
65 | 2594005.0905 | 1202605.9024
66 | 2594005.778 | 1202606.2166
67 | 2594010.7273 | 1202608.4786
68 | 2593939.2818 | 1202581.548
69 | 2593916.943 | 1202573.0967
70 | 2593955.9499 | 1202761.9272
71 | 2593951.7515 | 1202761.8742
72 | 2594008.6422 | 1202714.5016
73 | 2593992.5174 | 1202710.5987
74 | 2593906.5211 | 1202575.8312
75 | 2593900.7102 | 1202577.3679
76 | 2593913.3533 | 1202600.422
77 | 2593895.6874 | 1202578.6963
78 | 2593913.55 | 1202601.1298
79 | 2593943.7345 | 1202583.4275
80 | 2593919.1844 | 1202621.4094
81 | 2593948.3349 | 1202585.3693
82 | 2593937.0188 | 1202660.88
83 | 2593920.8634 | 1202663.1192
84 | 2593993.5137 | 1202675.6626
85 | 2593949.1062 | 1202763.6361
86 | 2593944.9903 | 1202766.3775
87 | 2593937.6923 | 1202771.2383
88 | 2594085.9192 | 1202652.1312
89 | 2594081.1719 | 1202649.988
90 | 2594076.6165 | 1202647.9315
91 | 2594016.3339 | 1202611.041
92 | 2594011.4602 | 1202608.8136
93 | 2594017.1164 | 1202611.3987
94 | 2594022.0539 | 1202613.6552
95 | 2594028.3394 | 1202620.3298
96 | 2594028.9796 | 1202621.1798
97 | 2594041.6843 | 1202632.1612
98 | 2594072.0343 | 1202645.8628
99 | 2594070.1337 | 1202645.0048
100 | 2594067.3515 | 1202643.7488
101 | 2594064.3826 | 1202642.4084
102 | 2594052.9946 | 1202637.2673
103 | 2594051.1851 | 1202636.4504
104 | 2594047.2855 | 1202634.6899
105 | 2594046.1654 | 1202634.1842
106 | 2593982.1785 | 1202595.4309

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1