## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_360-5_1_4_node_36 | 0.4 | n |  | TRUE
1 | bus_LV_360-5_1_4_node_37 | 0.4 | n |  | TRUE
2 | bus_LV_360-5_1_4_node_38 | 0.4 | n |  | TRUE
3 | bus_LV_360-5_1_4_node_39 | 0.4 | n |  | TRUE
4 | bus_LV_360-5_1_4_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_360-5_1_4_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_360-5_1_4_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_360-5_1_4_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_360-5_1_4_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_360-5_1_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_360-5_1_4_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_360-5_1_4_node_93 | 0.4 | n |  | TRUE
12 | bus_LV_360-5_1_4_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_360-5_1_4_node_96 | 0.4 | n |  | TRUE
14 | bus_LV_360-5_1_4_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_360-5_1_4_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_360-5_1_4_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_360-5_1_4_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_360-5_1_4_node_91 | 0.4 | n |  | TRUE
19 | bus_LV_360-5_1_4_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_360-5_1_4_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_360-5_1_4_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_360-5_1_4_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_360-5_1_4_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_360-5_1_4_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_360-5_1_4_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_360-5_1_4_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_360-5_1_4_node_124 | 0.4 | n |  | TRUE
28 | bus_LV_360-5_1_4_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_360-5_1_4_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_360-5_1_4_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_360-5_1_4_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_360-5_1_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_360-5_1_4_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_360-5_1_4_node_121 | 0.4 | n |  | TRUE
35 | bus_LV_360-5_1_4_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_360-5_1_4_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_360-5_1_4_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_360-5_1_4_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_360-5_1_4_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_360-5_1_4_node_198 | 0.4 | n |  | TRUE
41 | bus_LV_360-5_1_4_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_360-5_1_4_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_360-5_1_4_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_360-5_1_4_node_119 | 0.4 | n |  | TRUE
45 | bus_LV_360-5_1_4_node_120 | 0.4 | n |  | TRUE
46 | bus_LV_360-5_1_4_node_122 | 0.4 | n |  | TRUE
47 | bus_LV_360-5_1_4_node_139 | 0.4 | n |  | TRUE
48 | bus_LV_360-5_1_4_node_140 | 0.4 | n |  | TRUE
49 | bus_LV_360-5_1_4_node_141 | 0.4 | n |  | TRUE
50 | bus_LV_360-5_1_4_node_165 | 0.4 | n |  | TRUE
51 | bus_LV_360-5_1_4_node_155 | 0.4 | n |  | TRUE
52 | bus_LV_360-5_1_4_node_158 | 0.4 | n |  | TRUE
53 | bus_LV_360-5_1_4_node_159 | 0.4 | n |  | TRUE
54 | bus_LV_360-5_1_4_node_160 | 0.4 | n |  | TRUE
55 | bus_LV_360-5_1_4_node_161 | 0.4 | n |  | TRUE
56 | bus_LV_360-5_1_4_node_162 | 0.4 | n |  | TRUE
57 | bus_LV_360-5_1_4_node_164 | 0.4 | n |  | TRUE
58 | bus_LV_360-5_1_4_node_163 | 0.4 | n |  | TRUE
59 | bus_LV_360-5_1_4_node_176 | 0.4 | n |  | TRUE
60 | bus_LV_360-5_1_4_node_193 | 0.4 | n |  | TRUE
61 | bus_LV_360-5_1_4_node_197 | 0.4 | n |  | TRUE
62 | bus_LV_360-5_1_4_node_166 | 0.4 | n |  | TRUE
63 | bus_LV_360-5_1_4_node_167 | 0.4 | n |  | TRUE
64 | bus_LV_360-5_1_4_node_168 | 0.4 | n |  | TRUE
65 | bus_LV_360-5_1_4_node_169 | 0.4 | n |  | TRUE
66 | bus_LV_360-5_1_4_node_170 | 0.4 | n |  | TRUE
67 | bus_LV_360-5_1_4_node_171 | 0.4 | n |  | TRUE
68 | bus_LV_360-5_1_4_node_172 | 0.4 | n |  | TRUE
69 | bus_LV_360-5_1_4_node_173 | 0.4 | n |  | TRUE
70 | bus_LV_360-5_1_4_node_174 | 0.4 | n |  | TRUE
71 | bus_LV_360-5_1_4_node_175 | 0.4 | n |  | TRUE
72 | bus_LV_360-5_1_4_node_187 | 0.4 | n |  | TRUE
73 | bus_LV_360-5_1_4_node_177 | 0.4 | n |  | TRUE
74 | bus_LV_360-5_1_4_node_178 | 0.4 | n |  | TRUE
75 | bus_LV_360-5_1_4_node_179 | 0.4 | n |  | TRUE
76 | bus_LV_360-5_1_4_node_180 | 0.4 | n |  | TRUE
77 | bus_LV_360-5_1_4_node_184 | 0.4 | n |  | TRUE
78 | bus_LV_360-5_1_4_node_181 | 0.4 | n |  | TRUE
79 | bus_LV_360-5_1_4_node_182 | 0.4 | n |  | TRUE
80 | bus_LV_360-5_1_4_node_183 | 0.4 | n |  | TRUE
81 | bus_LV_360-5_1_4_node_185 | 0.4 | n |  | TRUE
82 | bus_LV_360-5_1_4_node_186 | 0.4 | n |  | TRUE
83 | bus_LV_360-5_1_4_node_194 | 0.4 | n |  | TRUE
84 | bus_LV_360-5_1_4_node_195 | 0.4 | n |  | TRUE
85 | bus_LV_360-5_1_4_node_188 | 0.4 | n |  | TRUE
86 | bus_LV_360-5_1_4_node_189 | 0.4 | n |  | TRUE
87 | bus_LV_360-5_1_4_node_190 | 0.4 | n |  | TRUE
88 | bus_LV_360-5_1_4_node_191 | 0.4 | n |  | TRUE
89 | bus_LV_360-5_1_4_node_192 | 0.4 | n |  | TRUE
90 | bus_LV_360-5_1_4_node_196 | 0.4 | n |  | TRUE
91 | bus_MV_405_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_360-5_1_4_load_36 | 0 | 0.004636 | 0.0011619 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_360-5_1_4_load_37 | 1 | 0.005209 | 0.0013055 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_360-5_1_4_load_39 | 3 | 0.0051287 | 0.0012854 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_360-5_1_4_load_41 | 5 | 0.0025401 | 0.00063662 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_360-5_1_4_load_42 | 6 | 0.0040909 | 0.0010253 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_360-5_1_4_load_43 | 7 | 0.0030965 | 0.00077606 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_360-5_1_4_load_44 | 8 | 0.00521 | 0.0013057 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_360-5_1_4_load_45 | 9 | 0.0070274 | 0.0017612 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_360-5_1_4_load_71 | 10 | 0.0046346 | 0.0011615 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_360-5_1_4_load_93 | 11 | 0.0030095 | 0.00075424 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_360-5_1_4_load_96 | 13 | 0.013896 | 0.0034827 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_360-5_1_4_load_46 | 14 | 0.0014396 | 0.0003608 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_360-5_1_4_load_47 | 15 | 0.0057078 | 0.0014305 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_360-5_1_4_load_48 | 16 | 0.0091202 | 0.0022857 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_360-5_1_4_load_49 | 17 | 0.0045971 | 0.0011521 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_360-5_1_4_load_91 | 18 | 0.003822 | 0.00095789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_360-5_1_4_load_50 | 19 | 0.0031666 | 0.00079362 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_360-5_1_4_load_86 | 20 | 0.0032913 | 0.00082487 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_360-5_1_4_load_65 | 21 | 0.0043225 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_360-5_1_4_load_66 | 22 | 0.0038218 | 0.00095783 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_360-5_1_4_load_67 | 23 | 0.0031374 | 0.00078629 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_360-5_1_4_load_68 | 24 | 0.0042654 | 0.001069 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_360-5_1_4_load_69 | 25 | 0.0060395 | 0.0015136 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_360-5_1_4_load_70 | 26 | 0.0056049 | 0.0014047 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_360-5_1_4_load_124 | 27 | 0.0038218 | 0.00095783 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_360-5_1_4_load_72 | 28 | 0.0013824 | 0.00034645 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_360-5_1_4_load_73 | 29 | 0.0047315 | 0.0011858 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_360-5_1_4_load_74 | 30 | 0.0016314 | 0.00040887 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_360-5_1_4_load_75 | 31 | 0.0015987 | 0.00040068 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_360-5_1_4_load_76 | 32 | 0.0030704 | 0.00076952 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_360-5_1_4_load_78 | 33 | 0.0015666 | 0.00039263 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_360-5_1_4_load_121 | 34 | 0.0030642 | 0.00076796 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_360-5_1_4_load_82 | 35 | 0.0024858 | 0.00062299 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_360-5_1_4_load_83 | 36 | 0.0024167 | 0.00060567 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_360-5_1_4_load_84 | 37 | 0.0024165 | 0.00060563 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_360-5_1_4_load_85 | 38 | 0.0027475 | 0.00068858 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_360-5_1_4_load_87 | 39 | 0.0033413 | 0.00083742 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_360-5_1_4_load_198 | 40 | 0.0017824 | 0.00044671 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_360-5_1_4_load_88 | 41 | 0.0038249 | 0.00095862 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_360-5_1_4_load_89 | 42 | 0.0071419 | 0.0017899 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_360-5_1_4_load_92 | 43 | 0.0048225 | 0.0012086 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_360-5_1_4_load_119 | 44 | 0.0028848 | 0.000723 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_360-5_1_4_load_120 | 45 | 0.0019432 | 0.00048701 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_360-5_1_4_load_122 | 46 | 0.0028603 | 0.00071686 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_360-5_1_4_load_139 | 47 | 0.00087428 | 0.00021912 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_360-5_1_4_load_141 | 49 | 0.0037863 | 0.00094894 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_360-5_1_4_load_155 | 51 | 0.0029999 | 0.00075183 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_360-5_1_4_load_158 | 52 | 0.0012267 | 0.00030744 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_360-5_1_4_load_159 | 53 | 0.0027068 | 0.0006784 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_360-5_1_4_load_160 | 54 | 0.0020019 | 0.00050172 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_360-5_1_4_load_162 | 56 | 0.0033491 | 0.00083936 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_360-5_1_4_load_164 | 57 | 0.0014837 | 0.00037185 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_360-5_1_4_load_163 | 58 | 0.0013203 | 0.00033089 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_360-5_1_4_load_176 | 59 | 0.0013298 | 0.00033328 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_360-5_1_4_load_193 | 60 | 0.0013876 | 0.00034777 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_360-5_1_4_load_197 | 61 | 0.0027119 | 0.00067966 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_360-5_1_4_load_166 | 62 | 0.0052456 | 0.0013147 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_360-5_1_4_load_167 | 63 | 0.0039179 | 0.00098191 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_360-5_1_4_load_169 | 65 | 0.0020704 | 0.00051889 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_360-5_1_4_load_170 | 66 | 0.0036862 | 0.00092385 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_360-5_1_4_load_171 | 67 | 0.0025209 | 0.00063179 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_360-5_1_4_load_172 | 68 | 0.0019501 | 0.00048874 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_360-5_1_4_load_173 | 69 | 0.002631 | 0.0006594 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_360-5_1_4_load_174 | 70 | 0.0018522 | 0.00046421 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_360-5_1_4_load_175 | 71 | 0.0016642 | 0.00041709 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_360-5_1_4_load_187 | 72 | 0.0025433 | 0.00063742 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_360-5_1_4_load_177 | 73 | 0.0013041 | 0.00032684 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_360-5_1_4_load_179 | 75 | 0.0013564 | 0.00033994 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_360-5_1_4_load_180 | 76 | 0.0013529 | 0.00033907 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_360-5_1_4_load_184 | 77 | 0.0013251 | 0.00033209 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_360-5_1_4_load_181 | 78 | 0.002309 | 0.00057868 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_360-5_1_4_load_182 | 79 | 0.0014213 | 0.00035622 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_360-5_1_4_load_183 | 80 | 0.0018959 | 0.00047515 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_360-5_1_4_load_185 | 81 | 0.0014313 | 0.00035871 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_360-5_1_4_load_186 | 82 | 0.0019129 | 0.00047943 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_360-5_1_4_load_194 | 83 | 0.0019927 | 0.00049941 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_360-5_1_4_load_195 | 84 | 0.0023918 | 0.00059945 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_360-5_1_4_load_188 | 85 | 0.0018376 | 0.00046055 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_360-5_1_4_load_189 | 86 | 0.0017814 | 0.00044646 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_360-5_1_4_load_190 | 87 | 0.0013653 | 0.00034217 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_360-5_1_4_load_191 | 88 | 0.0013895 | 0.00034825 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_360-5_1_4_load_192 | 89 | 0.0013217 | 0.00033125 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_360-5_1_4_load_196 | 90 | 0.0025953 | 0.00065045 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_360-5_1_4_line_0 |  | 0 | 1 | 0.0086065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_360-5_1_4_line_1 |  | 0 | 2 | 0.040312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_360-5_1_4_line_2 |  | 1 | 3 | 0.0047824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_360-5_1_4_line_3 |  | 2 | 4 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_360-5_1_4_line_4 |  | 2 | 5 | 0.0046445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_360-5_1_4_line_5 |  | 3 | 6 | 0.00066312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_360-5_1_4_line_6 |  | 4 | 7 | 0.031708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_360-5_1_4_line_7 |  | 4 | 8 | 0.051736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_360-5_1_4_line_8 |  | 5 | 9 | 0.0042392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_360-5_1_4_line_9 |  | 6 | 10 | 0.0075407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_360-5_1_4_line_10 |  | 7 | 11 | 0.0020168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_360-5_1_4_line_11 |  | 8 | 12 | 0.056877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_360-5_1_4_line_12 |  | 9 | 13 | 0.009123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_360-5_1_4_line_13 |  | 10 | 25 | 0.006669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_360-5_1_4_line_14 |  | 12 | 31 | 0.023221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_360-5_1_4_line_15 |  | 14 | 15 | 0.0080358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_360-5_1_4_line_16 |  | 14 | 16 | 0.010754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_360-5_1_4_line_17 |  | 15 | 17 | 0.0096992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_360-5_1_4_line_18 |  | 16 | 18 | 0.034959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_360-5_1_4_line_19 |  | 17 | 19 | 0.017469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_360-5_1_4_line_20 |  | 18 | 43 | 0.015507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_360-5_1_4_line_21 |  | 18 | 42 | 0.0040094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_360-5_1_4_line_22 |  | 19 | 20 | 0.0028293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_360-5_1_4_line_23 |  | 20 | 37 | 0.0075717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_360-5_1_4_line_24 |  | 21 | 22 | 0.0077428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_360-5_1_4_line_25 |  | 21 | 23 | 0.00071608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_360-5_1_4_line_26 |  | 22 | 24 | 0.011225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_360-5_1_4_line_27 |  | 23 | 25 | 0.0059183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_360-5_1_4_line_28 |  | 24 | 26 | 0.0050647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_360-5_1_4_line_29 |  | 26 | 27 | 0.0053519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_360-5_1_4_line_30 |  | 27 | 43 | 0.0052781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_360-5_1_4_line_31 |  | 28 | 29 | 0.010159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_360-5_1_4_line_32 |  | 28 | 30 | 0.0049333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_360-5_1_4_line_33 |  | 29 | 31 | 0.0082822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_360-5_1_4_line_34 |  | 30 | 32 | 0.0018339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_360-5_1_4_line_35 |  | 32 | 33 | 0.0034195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_360-5_1_4_line_36 |  | 33 | 34 | 0.0021744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_360-5_1_4_line_37 |  | 34 | 44 | 0.0069209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_360-5_1_4_line_38 |  | 35 | 36 | 0.010401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_360-5_1_4_line_39 |  | 35 | 37 | 0.012061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_360-5_1_4_line_40 |  | 36 | 38 | 0.0019093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_360-5_1_4_line_41 |  | 38 | 39 | 0.0001575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_360-5_1_4_line_42 |  | 38 | 40 | 0.069708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_360-5_1_4_line_43 |  | 40 | 51 | 0.026162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_360-5_1_4_line_44 |  | 40 | 68 | 0.013869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_360-5_1_4_line_45 |  | 41 | 42 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_360-5_1_4_line_46 |  | 44 | 45 | 0.0030115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_360-5_1_4_line_47 |  | 45 | 46 | 0.0018833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_360-5_1_4_line_48 |  | 47 | 48 | 0.032124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_360-5_1_4_line_49 |  | 47 | 49 | 0.0023331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_360-5_1_4_line_50 |  | 48 | 50 | 0.087749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_360-5_1_4_line_51 |  | 50 | 61 | 0.028024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_360-5_1_4_line_52 |  | 50 | 56 | 0.032268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_360-5_1_4_line_53 |  | 52 | 53 | 0.0049208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_360-5_1_4_line_54 |  | 52 | 54 | 0.021533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_360-5_1_4_line_55 |  | 53 | 55 | 0.019177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_360-5_1_4_line_56 |  | 54 | 56 | 0.0041091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_360-5_1_4_line_57 |  | 55 | 57 | 0.014081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_360-5_1_4_line_58 |  | 57 | 60 | 0.001331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_360-5_1_4_line_59 |  | 58 | 59 | 0.0062608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_360-5_1_4_line_60 |  | 59 | 73 | 0.020919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_360-5_1_4_line_61 |  | 60 | 88 | 0.018444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_360-5_1_4_line_62 |  | 61 | 90 | 0.034344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_360-5_1_4_line_63 |  | 62 | 63 | 0.0025269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_360-5_1_4_line_64 |  | 62 | 64 | 0.016123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_360-5_1_4_line_65 |  | 64 | 65 | 0.0052962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_360-5_1_4_line_66 |  | 64 | 66 | 0.057555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_360-5_1_4_line_67 |  | 65 | 67 | 0.017432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_360-5_1_4_line_68 |  | 66 | 68 | 0.026697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_360-5_1_4_line_69 |  | 67 | 69 | 0.019144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_360-5_1_4_line_70 |  | 69 | 70 | 0.0039612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_360-5_1_4_line_71 |  | 70 | 71 | 0.027362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_360-5_1_4_line_72 |  | 71 | 72 | 0.0056561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_360-5_1_4_line_73 |  | 72 | 84 | 0.022305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_360-5_1_4_line_74 |  | 73 | 74 | 0.020963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_360-5_1_4_line_75 |  | 74 | 75 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_360-5_1_4_line_76 |  | 75 | 76 | 0.029376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_360-5_1_4_line_77 |  | 76 | 77 | 0.0055872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_360-5_1_4_line_78 |  | 77 | 79 | 0.035187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_360-5_1_4_line_79 |  | 78 | 79 | 0.014077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_360-5_1_4_line_80 |  | 78 | 80 | 0.0072298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_360-5_1_4_line_81 |  | 80 | 81 | 0.0064731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_360-5_1_4_line_82 |  | 81 | 82 | 0.013133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_360-5_1_4_line_83 |  | 82 | 83 | 0.0097398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_360-5_1_4_line_84 |  | 83 | 89 | 0.018422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_360-5_1_4_line_85 |  | 84 | 90 | 0.0098318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_360-5_1_4_line_86 |  | 85 | 86 | 0.0070116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_360-5_1_4_line_87 |  | 85 | 87 | 0.0053052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_360-5_1_4_line_88 |  | 86 | 88 | 0.0099391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_360-5_1_4_line_89 |  | 87 | 89 | 0.0018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_360-5_1_4_trafo_171 | 0.63 MVA 20/0.4 kV | 91 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2594132.8838 | 1202737.8294 | 2594124.3332 | 1202736.8493
1 | 2594166.694 | 1202755.3208 | 2594164.1355 | 1202753.3889 | 2594161.6678 | 1202751.0457 | 2594159.4816 | 1202748.6354 | 2594154.6056 | 1202742.4035 | 2594151.9938 | 1202740.5496 | 2594148.4014 | 1202739.6082 | 2594132.8838 | 1202737.8294
2 | 2594124.3332 | 1202736.8493 | 2594119.5819 | 1202736.3046
3 | 2594166.694 | 1202755.3208 | 2594171.4351 | 1202755.9164 | 2594179.1878 | 1202754.9527
4 | 2594166.694 | 1202755.3208 | 2594162.0853 | 1202754.7462
5 | 2594119.5819 | 1202736.3046 | 2594118.9231 | 1202736.2291
6 | 2594179.1878 | 1202754.9527 | 2594185.4115 | 1202777.5921 | 2594187.9615 | 1202785.4155
7 | 2594179.1878 | 1202754.9527 | 2594173.0526 | 1202729.545 | 2594169.3781 | 1202714.9074 | 2594167.1351 | 1202704.643
8 | 2594157.8786 | 1202754.2217 | 2594162.0853 | 1202754.7462
9 | 2594118.9231 | 1202736.2291 | 2594111.4315 | 1202735.3703
10 | 2594187.9615 | 1202785.4155 | 2594188.5865 | 1202787.333
11 | 2594143.9325 | 1202652.988 | 2594149.9232 | 1202662.9763 | 2594158.2868 | 1202679.3435 | 2594162.4666 | 1202689.4004 | 2594166.3129 | 1202700.8806 | 2594167.1351 | 1202704.643
12 | 2594148.8257 | 1202753.0928 | 2594149.7084 | 1202753.2031 | 2594157.8786 | 1202754.2217
13 | 2594111.4315 | 1202735.3703 | 2594104.8058 | 1202734.6108
14 | 2594143.9325 | 1202652.988 | 2594126.6898 | 1202668.5418
15 | 2594028.3134 | 1202762.8407 | 2594036.3486 | 1202762.9421
16 | 2594047.1022 | 1202763.0778 | 2594036.3486 | 1202762.9421
17 | 2594028.3134 | 1202762.8407 | 2594018.6149 | 1202762.7182
18 | 2594048.3711 | 1202728.1417 | 2594047.1022 | 1202763.0778
19 | 2594018.6149 | 1202762.7182 | 2594001.1476 | 1202762.4977
20 | 2594063.7775 | 1202729.9077 | 2594048.3711 | 1202728.1417
21 | 2594044.3879 | 1202727.6851 | 2594048.3711 | 1202728.1417
22 | 2593998.3186 | 1202762.462 | 2594001.1476 | 1202762.4977
23 | 2593998.3186 | 1202762.462 | 2593990.7475 | 1202762.3665
24 | 2594098.2147 | 1202733.8553 | 2594090.5223 | 1202732.9735
25 | 2594098.9261 | 1202733.9368 | 2594098.2147 | 1202733.8553
26 | 2594090.5223 | 1202732.9735 | 2594079.37 | 1202731.6951
27 | 2594098.9261 | 1202733.9368 | 2594104.8058 | 1202734.6108
28 | 2594074.3382 | 1202731.1183 | 2594079.37 | 1202731.6951
29 | 2594074.3382 | 1202731.1183 | 2594069.0212 | 1202730.5088
30 | 2594069.0212 | 1202730.5088 | 2594063.7775 | 1202729.9077
31 | 2594120.5399 | 1202674.0893 | 2594120.5399 | 1202674.0893 | 2594111.2117 | 1202670.066
32 | 2594106.6818 | 1202668.1122 | 2594111.2117 | 1202670.066
33 | 2594120.5399 | 1202674.0893 | 2594126.6898 | 1202668.5418
34 | 2594106.6818 | 1202668.1122 | 2594104.9978 | 1202667.3859
35 | 2594101.8579 | 1202666.0316 | 2594104.9978 | 1202667.3859
36 | 2594099.8613 | 1202665.1705 | 2594101.8579 | 1202666.0316
37 | 2594099.8613 | 1202665.1705 | 2594096.8042 | 1202663.8519 | 2594094.5103 | 1202661.0882
38 | 2593978.6876 | 1202762.2142 | 2593968.2874 | 1202762.0829
39 | 2593978.6876 | 1202762.2142 | 2593990.7475 | 1202762.3665
40 | 2593968.2874 | 1202762.0829 | 2593966.3782 | 1202762.0588
41 | 2593966.3782 | 1202762.0588 | 2593966.2207 | 1202762.0569
42 | 2593973.9459 | 1202831.3552 | 2593966.3782 | 1202762.0588
43 | 2593947.8979 | 1202833.6544 | 2593949.2153 | 1202833.6935 | 2593958.4291 | 1202833.017 | 2593973.9459 | 1202831.3552
44 | 2593987.7362 | 1202829.8784 | 2593973.9459 | 1202831.3552
45 | 2594026.9748 | 1202725.689 | 2594044.3879 | 1202727.6851
46 | 2594094.5103 | 1202661.0882 | 2594092.5869 | 1202658.771
47 | 2594091.3841 | 1202657.3219 | 2594092.5869 | 1202658.771
48 | 2594312.221 | 1202900.3794 | 2594300.9692 | 1202917.8997 | 2594300.8829 | 1202923.1248 | 2594306.0924 | 1202926.2526
49 | 2594308.0927 | 1202927.4536 | 2594306.0924 | 1202926.2526
50 | 2594226.087 | 1202883.6207 | 2594312.221 | 1202900.3794
51 | 2594226.087 | 1202883.6207 | 2594215.1165 | 1202877.5393 | 2594211.5144 | 1202874.3855 | 2594204.7192 | 1202866.1295
52 | 2594226.087 | 1202883.6207 | 2594221.0679 | 1202894.2425 | 2594213.145 | 1202907.7131 | 2594210.4885 | 1202911.8214
53 | 2594196.1082 | 1202933.0421 | 2594193.1016 | 1202936.9375 | 2594193.1016 | 1202936.9375
54 | 2594196.1082 | 1202933.0421 | 2594197.5927 | 1202931.1188 | 2594204.3549 | 1202921.3069 | 2594208.2573 | 1202915.2719
55 | 2594179.297 | 1202950.2028 | 2594183.7673 | 1202946.4963 | 2594188.6172 | 1202941.9002 | 2594193.1016 | 1202936.9375
56 | 2594210.4885 | 1202911.8214 | 2594208.2573 | 1202915.2719
57 | 2594179.297 | 1202950.2028 | 2594169.1423 | 1202940.4479
58 | 2594169.1423 | 1202940.4479 | 2594168.1824 | 1202939.5258
59 | 2594138.0376 | 1202969.6316 | 2594144.0139 | 1202967.7657
60 | 2594138.0376 | 1202969.6316 | 2594134.2503 | 1202970.8141 | 2594118.0046 | 1202975.6538
61 | 2594154.2596 | 1202927.5202 | 2594159.0077 | 1202930.7123 | 2594168.1824 | 1202939.5258
62 | 2594178.6054 | 1202844.4319 | 2594190.9631 | 1202851.7046 | 2594197.3982 | 1202857.2346 | 2594204.7192 | 1202866.1295
63 | 2594064.8744 | 1202805.8609 | 2594067.1418 | 1202805.7585 | 2594067.332 | 1202805.9317
64 | 2594071.5094 | 1202820.9068 | 2594069.617 | 1202808.0128 | 2594067.332 | 1202805.9317
65 | 2594071.5094 | 1202820.9068 | 2594076.7976 | 1202820.6156
66 | 2594071.5094 | 1202820.9068 | 2594014.2814 | 1202827.0356
67 | 2594094.2031 | 1202819.6571 | 2594076.7976 | 1202820.6156
68 | 2593987.7362 | 1202829.8784 | 2594014.2814 | 1202827.0356
69 | 2594094.2031 | 1202819.6571 | 2594094.3352 | 1202819.6499 | 2594105.4153 | 1202821.0173 | 2594112.9307 | 1202823.2746
70 | 2594112.9307 | 1202823.2746 | 2594116.7245 | 1202824.4141
71 | 2594142.8233 | 1202832.628 | 2594126.8486 | 1202827.455 | 2594116.7245 | 1202824.4141
72 | 2594142.8233 | 1202832.628 | 2594148.2043 | 1202834.3705
73 | 2594169.5696 | 1202840.7626 | 2594156.8986 | 1202837.1859 | 2594148.2043 | 1202834.3705
74 | 2594097.6083 | 1202980.4782 | 2594115.9033 | 1202976.2798 | 2594118.0046 | 1202975.6538
75 | 2594097.6083 | 1202980.4782 | 2594094.3363 | 1202972.6661 | 2594092.8002 | 1202967.173
76 | 2594092.8002 | 1202967.173 | 2594091.0604 | 1202960.9519 | 2594087.7818 | 1202946.6252 | 2594086.2544 | 1202938.5491
77 | 2594086.2544 | 1202938.5491 | 2594085.2161 | 1202933.0593
78 | 2594083.0393 | 1202898.5332 | 2594082.0673 | 1202900.8728 | 2594081.386 | 1202904.3643 | 2594080.9489 | 1202908.5225 | 2594081.5475 | 1202913.6358 | 2594083.8424 | 1202925.7957 | 2594085.2161 | 1202933.0593
79 | 2594092.1744 | 1202888.1558 | 2594088.8366 | 1202890.6272 | 2594086.2293 | 1202893.1645 | 2594083.9801 | 1202896.2684 | 2594083.0393 | 1202898.5332
80 | 2594092.1744 | 1202888.1558 | 2594092.1744 | 1202888.1558 | 2594095.9392 | 1202886.5067 | 2594098.7158 | 1202885.9036 | 2594098.9939 | 1202885.8924
81 | 2594105.4402 | 1202886.169 | 2594102.1093 | 1202885.7668 | 2594098.9939 | 1202885.8924
82 | 2594117.6719 | 1202890.6543 | 2594115.6111 | 1202889.3775 | 2594111.1885 | 1202887.592 | 2594107.1318 | 1202886.3732 | 2594105.4402 | 1202886.169
83 | 2594117.6719 | 1202890.6543 | 2594119.8747 | 1202892.0191 | 2594124.9235 | 1202896.0496 | 2594125.4214 | 1202896.5247
84 | 2594125.4214 | 1202896.5247 | 2594130.1024 | 1202900.9915 | 2594137.5461 | 1202910.3424
85 | 2594169.5696 | 1202840.7626 | 2594174.9522 | 1202842.2819 | 2594178.6054 | 1202844.4319
86 | 2594142.0043 | 1202915.9428 | 2594145.1793 | 1202919.9313 | 2594146.5815 | 1202921.2337
87 | 2594142.0043 | 1202915.9428 | 2594138.7002 | 1202911.7922
88 | 2594146.5815 | 1202921.2337 | 2594149.7108 | 1202924.1402 | 2594153.5257 | 1202927.0268 | 2594154.2596 | 1202927.5202
89 | 2594138.7002 | 1202911.7922 | 2594137.5461 | 1202910.3424

## bus_geodata
| x | y | coords
0 | 2594132.8838 | 1202737.8294
1 | 2594124.3332 | 1202736.8493
2 | 2594166.694 | 1202755.3208
3 | 2594119.5819 | 1202736.3046
4 | 2594179.1878 | 1202754.9527
5 | 2594162.0853 | 1202754.7462
6 | 2594118.9231 | 1202736.2291
7 | 2594187.9615 | 1202785.4155
8 | 2594167.1351 | 1202704.643
9 | 2594157.8786 | 1202754.2217
10 | 2594111.4315 | 1202735.3703
11 | 2594188.5865 | 1202787.333
12 | 2594143.9325 | 1202652.988
13 | 2594148.8257 | 1202753.0928
14 | 2594036.3486 | 1202762.9421
15 | 2594028.3134 | 1202762.8407
16 | 2594047.1022 | 1202763.0778
17 | 2594018.6149 | 1202762.7182
18 | 2594048.3711 | 1202728.1417
19 | 2594001.1476 | 1202762.4977
20 | 2593998.3186 | 1202762.462
21 | 2594098.2147 | 1202733.8553
22 | 2594090.5223 | 1202732.9735
23 | 2594098.9261 | 1202733.9368
24 | 2594079.37 | 1202731.6951
25 | 2594104.8058 | 1202734.6108
26 | 2594074.3382 | 1202731.1183
27 | 2594069.0212 | 1202730.5088
28 | 2594111.2117 | 1202670.066
29 | 2594120.5399 | 1202674.0893
30 | 2594106.6818 | 1202668.1122
31 | 2594126.6898 | 1202668.5418
32 | 2594104.9978 | 1202667.3859
33 | 2594101.8579 | 1202666.0316
34 | 2594099.8613 | 1202665.1705
35 | 2593978.6876 | 1202762.2142
36 | 2593968.2874 | 1202762.0829
37 | 2593990.7475 | 1202762.3665
38 | 2593966.3782 | 1202762.0588
39 | 2593966.2207 | 1202762.0569
40 | 2593973.9459 | 1202831.3552
41 | 2594026.9748 | 1202725.689
42 | 2594044.3879 | 1202727.6851
43 | 2594063.7775 | 1202729.9077
44 | 2594094.5103 | 1202661.0882
45 | 2594092.5869 | 1202658.771
46 | 2594091.3841 | 1202657.3219
47 | 2594306.0924 | 1202926.2526
48 | 2594312.221 | 1202900.3794
49 | 2594308.0927 | 1202927.4536
50 | 2594226.087 | 1202883.6207
51 | 2593947.8979 | 1202833.6544
52 | 2594196.1082 | 1202933.0421
53 | 2594193.1016 | 1202936.9375
54 | 2594208.2573 | 1202915.2719
55 | 2594179.297 | 1202950.2028
56 | 2594210.4885 | 1202911.8214
57 | 2594169.1423 | 1202940.4479
58 | 2594144.0139 | 1202967.7657
59 | 2594138.0376 | 1202969.6316
60 | 2594168.1824 | 1202939.5258
61 | 2594204.7192 | 1202866.1295
62 | 2594067.332 | 1202805.9317
63 | 2594064.8744 | 1202805.8609
64 | 2594071.5094 | 1202820.9068
65 | 2594076.7976 | 1202820.6156
66 | 2594014.2814 | 1202827.0356
67 | 2594094.2031 | 1202819.6571
68 | 2593987.7362 | 1202829.8784
69 | 2594112.9307 | 1202823.2746
70 | 2594116.7245 | 1202824.4141
71 | 2594142.8233 | 1202832.628
72 | 2594148.2043 | 1202834.3705
73 | 2594118.0046 | 1202975.6538
74 | 2594097.6083 | 1202980.4782
75 | 2594092.8002 | 1202967.173
76 | 2594086.2544 | 1202938.5491
77 | 2594085.2161 | 1202933.0593
78 | 2594092.1744 | 1202888.1558
79 | 2594083.0393 | 1202898.5332
80 | 2594098.9939 | 1202885.8924
81 | 2594105.4402 | 1202886.169
82 | 2594117.6719 | 1202890.6543
83 | 2594125.4214 | 1202896.5247
84 | 2594169.5696 | 1202840.7626
85 | 2594142.0043 | 1202915.9428
86 | 2594146.5815 | 1202921.2337
87 | 2594138.7002 | 1202911.7922
88 | 2594154.2596 | 1202927.5202
89 | 2594137.5461 | 1202910.3424
90 | 2594178.6054 | 1202844.4319
91 | 2594071.5094 | 1202820.9068

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1