## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_386-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_386-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_386-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_386-1_0_2_node_77 | 0.4 | n |  | TRUE
4 | bus_LV_386-1_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_386-1_0_2_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_386-1_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_386-1_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_386-1_0_2_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_386-1_0_2_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_386-1_0_2_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_386-1_0_2_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_386-1_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_386-1_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_386-1_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_386-1_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_386-1_0_2_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_386-1_0_2_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_386-1_0_2_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_386-1_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_386-1_0_2_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_386-1_0_2_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_386-1_0_2_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_386-1_0_2_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_386-1_0_2_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_386-1_0_2_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_386-1_0_2_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_386-1_0_2_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_386-1_0_2_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_386-1_0_2_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_386-1_0_2_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_386-1_0_2_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_386-1_0_2_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_386-1_0_2_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_386-1_0_2_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_386-1_0_2_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_386-1_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_386-1_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_386-1_0_2_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_386-1_0_2_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_386-1_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_386-1_0_2_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_386-1_0_2_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_386-1_0_2_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_386-1_0_2_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_386-1_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_386-1_0_2_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_386-1_0_2_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_386-1_0_2_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_386-1_0_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_386-1_0_2_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_386-1_0_2_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_386-1_0_2_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_386-1_0_2_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_386-1_0_2_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_386-1_0_2_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_386-1_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_386-1_0_2_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_386-1_0_2_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_386-1_0_2_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_386-1_0_2_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_386-1_0_2_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_386-1_0_2_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_386-1_0_2_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_386-1_0_2_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_386-1_0_2_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_386-1_0_2_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_386-1_0_2_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_386-1_0_2_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_386-1_0_2_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_386-1_0_2_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_386-1_0_2_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_386-1_0_2_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_386-1_0_2_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_386-1_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_386-1_0_2_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_386-1_0_2_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_386-1_0_2_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_386-1_0_2_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_386-1_0_2_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_386-1_0_2_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_386-1_0_2_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_386-1_0_2_node_84 | 0.4 | n |  | TRUE
83 | bus_MV_385_0_node_221 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_386-1_0_2_load_0 | 0 | 0.014914 | 0.0037378 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_386-1_0_2_load_1 | 1 | 0.0025009 | 0.00062678 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_386-1_0_2_load_2 | 2 | 0.00081868 | 0.00020518 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_386-1_0_2_load_77 | 3 | 0.014656 | 0.0036732 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_386-1_0_2_load_3 | 4 | 0.0064061 | 0.0016055 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_386-1_0_2_load_6 | 6 | 0.00065732 | 0.00016474 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_386-1_0_2_load_5 | 7 | 0.0013982 | 0.00035041 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_386-1_0_2_load_65 | 8 | 0.0019338 | 0.00048466 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_386-1_0_2_load_67 | 9 | 0.0023317 | 0.00058439 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_386-1_0_2_load_63 | 10 | 0.009921 | 0.0024864 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_386-1_0_2_load_4 | 11 | 0.0032813 | 0.00082237 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_386-1_0_2_load_7 | 12 | 0.0077938 | 0.0019533 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_386-1_0_2_load_8 | 13 | 0.0017151 | 0.00042984 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_386-1_0_2_load_9 | 14 | 0.0011637 | 0.00029165 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_386-1_0_2_load_10 | 15 | 0.00051675 | 0.00012951 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_386-1_0_2_load_53 | 16 | 0.0022573 | 0.00056574 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_386-1_0_2_load_52 | 17 | 0.015688 | 0.0039319 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_386-1_0_2_load_70 | 23 | 0.0061321 | 0.0015369 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_386-1_0_2_load_54 | 24 | 0.0018505 | 0.00046379 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_386-1_0_2_load_71 | 26 | 0.0029348 | 0.00073553 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_386-1_0_2_load_85 | 27 | 0.0017964 | 0.00045021 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_386-1_0_2_load_72 | 28 | 0.0024301 | 0.00060904 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_386-1_0_2_load_13 | 30 | 0.0020722 | 0.00051934 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_386-1_0_2_load_14 | 31 | 0.0016255 | 0.00040738 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_386-1_0_2_load_15 | 32 | 0.002489 | 0.00062379 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_386-1_0_2_load_16 | 33 | 0.002294 | 0.00057494 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_386-1_0_2_load_17 | 34 | 0.0033766 | 0.00084627 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_386-1_0_2_load_48 | 35 | 0.0019988 | 0.00050094 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_386-1_0_2_load_26 | 36 | 0.0030473 | 0.00076371 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_386-1_0_2_load_27 | 37 | 0.0038986 | 0.00097708 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_386-1_0_2_load_18 | 38 | 0.0042445 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_386-1_0_2_load_19 | 39 | 0.001135 | 0.00028447 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_386-1_0_2_load_20 | 40 | 0.0014286 | 0.00035804 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_386-1_0_2_load_21 | 41 | 0.0037824 | 0.00094797 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_386-1_0_2_load_23 | 42 | 0.0013009 | 0.00032603 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_386-1_0_2_load_24 | 43 | 0.0037027 | 0.00092798 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_386-1_0_2_load_25 | 44 | 0.00091819 | 0.00023012 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_386-1_0_2_load_35 | 45 | 0.0028777 | 0.00072121 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_386-1_0_2_load_34 | 46 | 0.011612 | 0.0029103 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_386-1_0_2_load_28 | 47 | 0.0021247 | 0.00053249 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_386-1_0_2_load_51 | 48 | 0.0017503 | 0.00043867 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_386-1_0_2_load_47 | 49 | 0.0015616 | 0.00039137 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_386-1_0_2_load_29 | 50 | 0.0013788 | 0.00034555 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_386-1_0_2_load_30 | 51 | 0.0010332 | 0.00025895 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_386-1_0_2_load_31 | 52 | 0.00143 | 0.00035839 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_386-1_0_2_load_32 | 53 | 0.0045576 | 0.0011422 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_386-1_0_2_load_33 | 54 | 0.0018532 | 0.00046444 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_386-1_0_2_load_55 | 55 | 0.0020653 | 0.00051761 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_386-1_0_2_load_50 | 56 | 0.0010917 | 0.00027362 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_386-1_0_2_load_36 | 57 | 0.0012899 | 0.00032327 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_386-1_0_2_load_39 | 59 | 0.0022376 | 0.00056079 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_386-1_0_2_load_40 | 60 | 0.0011473 | 0.00028755 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_386-1_0_2_load_42 | 61 | 0.0030578 | 0.00076635 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_386-1_0_2_load_69 | 62 | 0.005845 | 0.0014649 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_386-1_0_2_load_56 | 63 | 0.0049438 | 0.001239 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_386-1_0_2_load_61 | 64 | 0.0018761 | 0.0004702 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_386-1_0_2_load_78 | 65 | 0.00034502 | 8.647e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_386-1_0_2_load_43 | 66 | 0.0028669 | 0.00071851 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_386-1_0_2_load_44 | 67 | 0.0017716 | 0.00044401 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_386-1_0_2_load_45 | 68 | 0.003535 | 0.00088597 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_386-1_0_2_load_74 | 70 | 0.0021211 | 0.0005316 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_386-1_0_2_load_57 | 71 | 0.0033396 | 0.00083697 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_386-1_0_2_load_58 | 72 | 0.0030808 | 0.00077213 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_386-1_0_2_load_59 | 73 | 0.0022965 | 0.00057555 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_386-1_0_2_load_60 | 74 | 0.0030662 | 0.00076846 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_386-1_0_2_load_62 | 75 | 0.0027392 | 0.00068652 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_386-1_0_2_load_68 | 76 | 0.0053413 | 0.0013387 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_386-1_0_2_load_64 | 77 | 0.0015731 | 0.00039425 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_386-1_0_2_load_66 | 78 | 0.0012878 | 0.00032274 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_386-1_0_2_load_82 | 79 | 0.0090371 | 0.0022649 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_386-1_0_2_load_84 | 82 | 0.0039 | 0.00097744 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_386-1_0_2_line_0 |  | 0 | 1 | 0.011984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_386-1_0_2_line_1 |  | 0 | 2 | 0.024183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_386-1_0_2_line_2 |  | 1 | 3 | 0.048584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_386-1_0_2_line_3 |  | 2 | 4 | 0.026154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_386-1_0_2_line_4 |  | 3 | 5 | 0.0020311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_386-1_0_2_line_5 |  | 4 | 6 | 0.001694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_386-1_0_2_line_6 |  | 5 | 65 | 0.021528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_386-1_0_2_line_7 |  | 5 | 60 | 0.024675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_386-1_0_2_line_8 |  | 6 | 7 | 0.00034131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_386-1_0_2_line_9 |  | 7 | 11 | 9.3814e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_386-1_0_2_line_10 |  | 8 | 9 | 0.010551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_386-1_0_2_line_11 |  | 8 | 10 | 0.021906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_386-1_0_2_line_12 |  | 9 | 65 | 0.0022304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_386-1_0_2_line_13 |  | 10 | 77 | 0.0069338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_386-1_0_2_line_14 |  | 12 | 13 | 0.019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_386-1_0_2_line_15 |  | 12 | 14 | 0.0010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_386-1_0_2_line_16 |  | 13 | 15 | 0.027718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_386-1_0_2_line_17 |  | 15 | 19 | 0.0044288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_386-1_0_2_line_18 |  | 16 | 17 | 0.035925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_386-1_0_2_line_19 |  | 16 | 18 | 0.0020125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_386-1_0_2_line_20 |  | 17 | 20 | 0.027504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_386-1_0_2_line_21 |  | 18 | 21 | 0.028315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_386-1_0_2_line_22 |  | 19 | 22 | 0.021652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_386-1_0_2_line_23 |  | 20 | 24 | 0.018131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_386-1_0_2_line_24 |  | 20 | 25 | 0.037343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_386-1_0_2_line_25 |  | 21 | 61 | 0.0264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_386-1_0_2_line_26 |  | 21 | 57 | 0.018741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_386-1_0_2_line_27 |  | 22 | 23 | 0.022398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_386-1_0_2_line_28 |  | 23 | 26 | 0.0060338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_386-1_0_2_line_29 |  | 24 | 69 | 0.017256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_386-1_0_2_line_30 |  | 25 | 56 | 0.01156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_386-1_0_2_line_31 |  | 25 | 67 | 0.024719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_386-1_0_2_line_32 |  | 26 | 28 | 0.01857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_386-1_0_2_line_33 |  | 27 | 28 | 0.031074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_386-1_0_2_line_34 |  | 27 | 29 | 0.028117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_386-1_0_2_line_35 |  | 29 | 80 | 0.021792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_386-1_0_2_line_36 |  | 29 | 69 | 0.018014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_386-1_0_2_line_37 |  | 30 | 31 | 0.01121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_386-1_0_2_line_38 |  | 30 | 32 | 0.0040643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_386-1_0_2_line_39 |  | 31 | 33 | 0.0059356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_386-1_0_2_line_40 |  | 32 | 34 | 0.004924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_386-1_0_2_line_41 |  | 33 | 35 | 0.011066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_386-1_0_2_line_42 |  | 34 | 36 | 0.015435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_386-1_0_2_line_43 |  | 36 | 37 | 0.0036025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_386-1_0_2_line_44 |  | 37 | 47 | 0.0038671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_386-1_0_2_line_45 |  | 38 | 39 | 0.0013141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_386-1_0_2_line_46 |  | 38 | 40 | 0.023286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_386-1_0_2_line_47 |  | 39 | 41 | 0.019029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_386-1_0_2_line_48 |  | 41 | 42 | 0.0019877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_386-1_0_2_line_49 |  | 42 | 43 | 0.011493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_386-1_0_2_line_50 |  | 43 | 44 | 0.0049106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_386-1_0_2_line_51 |  | 44 | 45 | 0.023176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_386-1_0_2_line_52 |  | 45 | 46 | 0.001447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_386-1_0_2_line_53 |  | 46 | 54 | 0.022288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_386-1_0_2_line_54 |  | 47 | 48 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_386-1_0_2_line_55 |  | 48 | 49 | 0.023653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_386-1_0_2_line_56 |  | 49 | 68 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_386-1_0_2_line_57 |  | 50 | 51 | 0.0097579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_386-1_0_2_line_58 |  | 50 | 52 | 0.002442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_386-1_0_2_line_59 |  | 51 | 53 | 0.00059037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_386-1_0_2_line_60 |  | 52 | 54 | 0.011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_386-1_0_2_line_61 |  | 53 | 55 | 0.00649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_386-1_0_2_line_62 |  | 55 | 56 | 0.0018622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_386-1_0_2_line_63 |  | 57 | 58 | 0.045686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_386-1_0_2_line_64 |  | 58 | 59 | 0.015311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_386-1_0_2_line_65 |  | 58 | 60 | 0.035132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_386-1_0_2_line_66 |  | 59 | 62 | 0.011966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_386-1_0_2_line_67 |  | 61 | 63 | 0.011159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_386-1_0_2_line_68 |  | 62 | 64 | 0.02409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_386-1_0_2_line_69 |  | 64 | 73 | 0.0037526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_386-1_0_2_line_70 |  | 66 | 67 | 0.030867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_386-1_0_2_line_71 |  | 66 | 68 | 0.029454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_386-1_0_2_line_72 |  | 69 | 70 | 0.0054371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_386-1_0_2_line_73 |  | 70 | 79 | 0.018577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_386-1_0_2_line_74 |  | 71 | 72 | 0.021756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_386-1_0_2_line_75 |  | 71 | 73 | 0.0072373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_386-1_0_2_line_76 |  | 72 | 74 | 0.0028606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_386-1_0_2_line_77 |  | 74 | 75 | 0.020772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_386-1_0_2_line_78 |  | 75 | 76 | 0.0108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_386-1_0_2_line_79 |  | 77 | 78 | 0.0063113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_386-1_0_2_line_80 |  | 80 | 81 | 0.012853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_386-1_0_2_line_81 |  | 81 | 82 | 0.029419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_386-1_0_2_trafo_56 | 0.63 MVA 20/0.4 kV | 83 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2592059.3825 | 1218530.2371 | 2592067.6924 | 1218538.8724
1 | 2592059.3825 | 1218530.2371 | 2592042.614 | 1218512.8116
2 | 2592100.2664 | 1218574.9187 | 2592067.6924 | 1218538.8724
3 | 2592024.6279 | 1218493.825 | 2592033.4486 | 1218503.2872 | 2592042.614 | 1218512.8116
4 | 2592101.6276 | 1218576.4262 | 2592100.2664 | 1218574.9187
5 | 2592024.6279 | 1218493.825 | 2592023.4728 | 1218492.5859
6 | 2592101.6276 | 1218576.4262 | 2592091.0594 | 1218584.4338 | 2592083.6733 | 1218588.15
7 | 2592101.6276 | 1218576.4262 | 2592118.5653 | 1218594.3701
8 | 2592023.4728 | 1218492.5859 | 2592023.2401 | 1218492.3363
9 | 2592023.2401 | 1218492.3363 | 2592023.1761 | 1218492.2677
10 | 2592081.6809 | 1218589.1524 | 2592072.2555 | 1218593.8946
11 | 2592052.6866 | 1218603.7404 | 2592072.2555 | 1218593.8946
12 | 2592081.6809 | 1218589.1524 | 2592083.6733 | 1218588.15
13 | 2592052.6866 | 1218603.7404 | 2592046.4926 | 1218606.8568
14 | 2592260.6245 | 1218637.3892 | 2592273.3966 | 1218651.661
15 | 2592260.6245 | 1218637.3892 | 2592259.8998 | 1218636.5793
16 | 2592291.8811 | 1218672.3159 | 2592273.3966 | 1218651.661
17 | 2592294.8345 | 1218675.6161 | 2592291.8811 | 1218672.3159
18 | 2592232.1767 | 1218715.1773 | 2592207.2675 | 1218689.2902
19 | 2592205.8721 | 1218687.84 | 2592207.2675 | 1218689.2902
20 | 2592251.2467 | 1218734.996 | 2592232.1767 | 1218715.1773
21 | 2592186.1447 | 1218667.4767 | 2592205.8721 | 1218687.84
22 | 2592297.3807 | 1218690.2212 | 2592303.9998 | 1218685.7544 | 2592294.8345 | 1218675.6161
23 | 2592251.2467 | 1218734.996 | 2592252.4169 | 1218736.1952 | 2592263.9437 | 1218747.9396
24 | 2592251.2467 | 1218734.996 | 2592225.4656 | 1218762.0788
25 | 2592186.1447 | 1218667.4767 | 2592181.847 | 1218671.3846 | 2592163.9704 | 1218681.6035
26 | 2592186.1447 | 1218667.4767 | 2592173.5013 | 1218653.6423
27 | 2592297.3807 | 1218690.2212 | 2592312.0193 | 1218707.1734
28 | 2592312.0193 | 1218707.1734 | 2592315.9628 | 1218711.7401
29 | 2592276.557 | 1218759.6881 | 2592270.1907 | 1218754.3044 | 2592263.9437 | 1218747.9396
30 | 2592225.4656 | 1218762.0788 | 2592217.1821 | 1218770.1415
31 | 2592225.4656 | 1218762.0788 | 2592215.2676 | 1218751.5084 | 2592206.3614 | 1218746.8923
32 | 2592315.9628 | 1218711.7401 | 2592328.0998 | 1218725.7953
33 | 2592309.2599 | 1218750.5067 | 2592328.0998 | 1218725.7953
34 | 2592309.2599 | 1218750.5067 | 2592290.3306 | 1218771.3434
35 | 2592290.3306 | 1218771.3434 | 2592307.073 | 1218784.3956 | 2592307.5213 | 1218784.7953
36 | 2592290.3306 | 1218771.3434 | 2592276.557 | 1218759.6881
37 | 2592072.5619 | 1218728.3063 | 2592061.5336 | 1218730.3189
38 | 2592076.5602 | 1218727.5767 | 2592072.5619 | 1218728.3063
39 | 2592055.6945 | 1218731.3844 | 2592061.5336 | 1218730.3189
40 | 2592081.4043 | 1218726.6927 | 2592076.5602 | 1218727.5767
41 | 2592055.6945 | 1218731.3844 | 2592044.8081 | 1218733.371
42 | 2592081.4043 | 1218726.6927 | 2592096.5887 | 1218723.9218
43 | 2592100.1326 | 1218723.2751 | 2592096.5887 | 1218723.9218
44 | 2592103.9369 | 1218722.5808 | 2592100.1326 | 1218723.2751
45 | 2592133.4947 | 1218851.7388 | 2592132.5552 | 1218852.6577
46 | 2592115.908 | 1218868.9394 | 2592132.5552 | 1218852.6577
47 | 2592147.0988 | 1218838.4335 | 2592133.4947 | 1218851.7388
48 | 2592147.0988 | 1218838.4335 | 2592148.5198 | 1218837.0436
49 | 2592156.7361 | 1218829.0077 | 2592148.5198 | 1218837.0436
50 | 2592160.2467 | 1218825.5741 | 2592156.7361 | 1218829.0077
51 | 2592176.8469 | 1218809.4016 | 2592163.4173 | 1218822.4732 | 2592160.2467 | 1218825.5741
52 | 2592177.8838 | 1218808.3923 | 2592176.8469 | 1218809.4016
53 | 2592177.8838 | 1218808.3923 | 2592193.8549 | 1218792.8469
54 | 2592115.5829 | 1218722.0827 | 2592106.6795 | 1218722.0804 | 2592103.9369 | 1218722.5808
55 | 2592138.9013 | 1218725.2933 | 2592134.2745 | 1218723.8445 | 2592120.5897 | 1218722.084 | 2592115.5829 | 1218722.0827
56 | 2592138.9013 | 1218725.2933 | 2592149.1718 | 1218728.5094
57 | 2592210.7739 | 1218776.3788 | 2592203.7815 | 1218783.1849
58 | 2592202.0316 | 1218784.8882 | 2592203.7815 | 1218783.1849
59 | 2592210.7739 | 1218776.3788 | 2592211.197 | 1218775.967
60 | 2592202.0316 | 1218784.8882 | 2592193.8549 | 1218792.8469
61 | 2592215.8477 | 1218771.4403 | 2592211.197 | 1218775.967
62 | 2592215.8477 | 1218771.4403 | 2592217.1821 | 1218770.1415
63 | 2592142.6809 | 1218619.9184 | 2592173.5013 | 1218653.6423
64 | 2592142.6809 | 1218619.9184 | 2592129.1973 | 1218627.1728
65 | 2592142.6809 | 1218619.9184 | 2592118.5653 | 1218594.3701
66 | 2592129.1973 | 1218627.1728 | 2592118.6598 | 1218632.8422
67 | 2592154.2827 | 1218687.1413 | 2592163.9704 | 1218681.6035
68 | 2592097.4456 | 1218644.2558 | 2592118.6598 | 1218632.8422
69 | 2592097.4456 | 1218644.2558 | 2592094.1409 | 1218646.0337
70 | 2592177.5147 | 1218736.4829 | 2592194.6426 | 1218740.8184 | 2592206.3614 | 1218746.8923
71 | 2592177.5147 | 1218736.4829 | 2592162.486 | 1218732.6787 | 2592149.1718 | 1218728.5094
72 | 2592276.557 | 1218759.6881 | 2592273.313 | 1218762.6496 | 2592274.0755 | 1218763.3634
73 | 2592287.6374 | 1218776.0594 | 2592274.0755 | 1218763.3634
74 | 2592087.7675 | 1218649.4627 | 2592068.608 | 1218659.7708
75 | 2592087.7675 | 1218649.4627 | 2592094.1409 | 1218646.0337
76 | 2592068.608 | 1218659.7708 | 2592066.0888 | 1218661.1262
77 | 2592047.7959 | 1218670.9681 | 2592066.0888 | 1218661.1262
78 | 2592038.285 | 1218676.0851 | 2592047.7959 | 1218670.9681
79 | 2592046.4926 | 1218606.8568 | 2592040.8547 | 1218609.6934
80 | 2592317.1169 | 1218793.3765 | 2592307.5213 | 1218784.7953
81 | 2592317.1169 | 1218793.3765 | 2592294.3754 | 1218812.0391

## bus_geodata
| x | y | coords
0 | 2592059.3825 | 1218530.2371
1 | 2592067.6924 | 1218538.8724
2 | 2592042.614 | 1218512.8116
3 | 2592100.2664 | 1218574.9187
4 | 2592024.6279 | 1218493.825
5 | 2592101.6276 | 1218576.4262
6 | 2592023.4728 | 1218492.5859
7 | 2592023.2401 | 1218492.3363
8 | 2592072.2555 | 1218593.8946
9 | 2592081.6809 | 1218589.1524
10 | 2592052.6866 | 1218603.7404
11 | 2592023.1761 | 1218492.2676
12 | 2592260.6245 | 1218637.3892
13 | 2592273.3966 | 1218651.661
14 | 2592259.8998 | 1218636.5793
15 | 2592291.8811 | 1218672.3159
16 | 2592207.2675 | 1218689.2902
17 | 2592232.1767 | 1218715.1773
18 | 2592205.8721 | 1218687.84
19 | 2592294.8345 | 1218675.6161
20 | 2592251.2467 | 1218734.996
21 | 2592186.1447 | 1218667.4767
22 | 2592297.3807 | 1218690.2212
23 | 2592312.0193 | 1218707.1734
24 | 2592263.9437 | 1218747.9396
25 | 2592225.4656 | 1218762.0788
26 | 2592315.9628 | 1218711.7401
27 | 2592309.2599 | 1218750.5067
28 | 2592328.0998 | 1218725.7953
29 | 2592290.3306 | 1218771.3434
30 | 2592072.5619 | 1218728.3063
31 | 2592061.5336 | 1218730.3189
32 | 2592076.5602 | 1218727.5767
33 | 2592055.6945 | 1218731.3844
34 | 2592081.4043 | 1218726.6927
35 | 2592044.8081 | 1218733.371
36 | 2592096.5887 | 1218723.9218
37 | 2592100.1326 | 1218723.2751
38 | 2592132.5552 | 1218852.6577
39 | 2592133.4947 | 1218851.7388
40 | 2592115.908 | 1218868.9394
41 | 2592147.0988 | 1218838.4335
42 | 2592148.5198 | 1218837.0436
43 | 2592156.7361 | 1218829.0077
44 | 2592160.2467 | 1218825.5741
45 | 2592176.8469 | 1218809.4016
46 | 2592177.8838 | 1218808.3923
47 | 2592103.9369 | 1218722.5808
48 | 2592115.5829 | 1218722.0827
49 | 2592138.9013 | 1218725.2933
50 | 2592203.7815 | 1218783.1849
51 | 2592210.7739 | 1218776.3788
52 | 2592202.0316 | 1218784.8882
53 | 2592211.197 | 1218775.967
54 | 2592193.8549 | 1218792.8469
55 | 2592215.8477 | 1218771.4403
56 | 2592217.1821 | 1218770.1415
57 | 2592173.5013 | 1218653.6423
58 | 2592142.6809 | 1218619.9184
59 | 2592129.1973 | 1218627.1728
60 | 2592118.5653 | 1218594.3701
61 | 2592163.9704 | 1218681.6035
62 | 2592118.6598 | 1218632.8422
63 | 2592154.2827 | 1218687.1413
64 | 2592097.4456 | 1218644.2558
65 | 2592083.6733 | 1218588.15
66 | 2592177.5147 | 1218736.4829
67 | 2592206.3614 | 1218746.8923
68 | 2592149.1718 | 1218728.5094
69 | 2592276.557 | 1218759.6881
70 | 2592274.0755 | 1218763.3634
71 | 2592087.7675 | 1218649.4627
72 | 2592068.608 | 1218659.7708
73 | 2592094.1409 | 1218646.0337
74 | 2592066.0888 | 1218661.1262
75 | 2592047.7959 | 1218670.9681
76 | 2592038.285 | 1218676.0851
77 | 2592046.4926 | 1218606.8568
78 | 2592040.8547 | 1218609.6934
79 | 2592287.6374 | 1218776.0594
80 | 2592307.5213 | 1218784.7953
81 | 2592317.1169 | 1218793.3765
82 | 2592294.3754 | 1218812.0391
83 | 2592186.1447 | 1218667.4767

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1