## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_388-2_1_2_node_38 | 0.4 | n |  | TRUE
1 | bus_LV_388-2_1_2_node_40 | 0.4 | n |  | TRUE
2 | bus_LV_388-2_1_2_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_388-2_1_2_node_44 | 0.4 | n |  | TRUE
4 | bus_LV_388-2_1_2_node_47 | 0.4 | n |  | TRUE
5 | bus_LV_388-2_1_2_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_388-2_1_2_node_108 | 0.4 | n |  | TRUE
7 | bus_LV_388-2_1_2_node_126 | 0.4 | n |  | TRUE
8 | bus_LV_388-2_1_2_node_110 | 0.4 | n |  | TRUE
9 | bus_LV_388-2_1_2_node_111 | 0.4 | n |  | TRUE
10 | bus_LV_388-2_1_2_node_112 | 0.4 | n |  | TRUE
11 | bus_LV_388-2_1_2_node_113 | 0.4 | n |  | TRUE
12 | bus_LV_388-2_1_2_node_114 | 0.4 | n |  | TRUE
13 | bus_LV_388-2_1_2_node_115 | 0.4 | n |  | TRUE
14 | bus_LV_388-2_1_2_node_116 | 0.4 | n |  | TRUE
15 | bus_LV_388-2_1_2_node_160 | 0.4 | n |  | TRUE
16 | bus_LV_388-2_1_2_node_170 | 0.4 | n |  | TRUE
17 | bus_LV_388-2_1_2_node_165 | 0.4 | n |  | TRUE
18 | bus_LV_388-2_1_2_node_127 | 0.4 | n |  | TRUE
19 | bus_LV_388-2_1_2_node_128 | 0.4 | n |  | TRUE
20 | bus_LV_388-2_1_2_node_129 | 0.4 | n |  | TRUE
21 | bus_LV_388-2_1_2_node_130 | 0.4 | n |  | TRUE
22 | bus_LV_388-2_1_2_node_200 | 0.4 | n |  | TRUE
23 | bus_LV_388-2_1_2_node_144 | 0.4 | n |  | TRUE
24 | bus_LV_388-2_1_2_node_145 | 0.4 | n |  | TRUE
25 | bus_LV_388-2_1_2_node_198 | 0.4 | n |  | TRUE
26 | bus_LV_388-2_1_2_node_146 | 0.4 | n |  | TRUE
27 | bus_LV_388-2_1_2_node_147 | 0.4 | n |  | TRUE
28 | bus_LV_388-2_1_2_node_159 | 0.4 | n |  | TRUE
29 | bus_LV_388-2_1_2_node_155 | 0.4 | n |  | TRUE
30 | bus_LV_388-2_1_2_node_158 | 0.4 | n |  | TRUE
31 | bus_LV_388-2_1_2_node_161 | 0.4 | n |  | TRUE
32 | bus_LV_388-2_1_2_node_162 | 0.4 | n |  | TRUE
33 | bus_LV_388-2_1_2_node_167 | 0.4 | n |  | TRUE
34 | bus_LV_388-2_1_2_node_168 | 0.4 | n |  | TRUE
35 | bus_LV_388-2_1_2_node_171 | 0.4 | n |  | TRUE
36 | bus_LV_388-2_1_2_node_169 | 0.4 | n |  | TRUE
37 | bus_LV_388-2_1_2_node_173 | 0.4 | n |  | TRUE
38 | bus_LV_388-2_1_2_node_174 | 0.4 | n |  | TRUE
39 | bus_LV_388-2_1_2_node_172 | 0.4 | n |  | TRUE
40 | bus_LV_388-2_1_2_node_192 | 0.4 | n |  | TRUE
41 | bus_LV_388-2_1_2_node_195 | 0.4 | n |  | TRUE
42 | bus_LV_388-2_1_2_node_193 | 0.4 | n |  | TRUE
43 | bus_LV_388-2_1_2_node_175 | 0.4 | n |  | TRUE
44 | bus_LV_388-2_1_2_node_176 | 0.4 | n |  | TRUE
45 | bus_LV_388-2_1_2_node_177 | 0.4 | n |  | TRUE
46 | bus_LV_388-2_1_2_node_178 | 0.4 | n |  | TRUE
47 | bus_LV_388-2_1_2_node_179 | 0.4 | n |  | TRUE
48 | bus_LV_388-2_1_2_node_180 | 0.4 | n |  | TRUE
49 | bus_LV_388-2_1_2_node_181 | 0.4 | n |  | TRUE
50 | bus_LV_388-2_1_2_node_184 | 0.4 | n |  | TRUE
51 | bus_LV_388-2_1_2_node_183 | 0.4 | n |  | TRUE
52 | bus_LV_388-2_1_2_node_185 | 0.4 | n |  | TRUE
53 | bus_LV_388-2_1_2_node_186 | 0.4 | n |  | TRUE
54 | bus_LV_388-2_1_2_node_187 | 0.4 | n |  | TRUE
55 | bus_LV_388-2_1_2_node_188 | 0.4 | n |  | TRUE
56 | bus_LV_388-2_1_2_node_189 | 0.4 | n |  | TRUE
57 | bus_LV_388-2_1_2_node_190 | 0.4 | n |  | TRUE
58 | bus_LV_388-2_1_2_node_191 | 0.4 | n |  | TRUE
59 | bus_LV_388-2_1_2_node_223 | 0.4 | n |  | TRUE
60 | bus_LV_388-2_1_2_node_194 | 0.4 | n |  | TRUE
61 | bus_LV_388-2_1_2_node_196 | 0.4 | n |  | TRUE
62 | bus_LV_388-2_1_2_node_197 | 0.4 | n |  | TRUE
63 | bus_LV_388-2_1_2_node_199 | 0.4 | n |  | TRUE
64 | bus_LV_388-2_1_2_node_201 | 0.4 | n |  | TRUE
65 | bus_LV_388-2_1_2_node_202 | 0.4 | n |  | TRUE
66 | bus_LV_388-2_1_2_node_203 | 0.4 | n |  | TRUE
67 | bus_LV_388-2_1_2_node_204 | 0.4 | n |  | TRUE
68 | bus_LV_388-2_1_2_node_205 | 0.4 | n |  | TRUE
69 | bus_LV_388-2_1_2_node_206 | 0.4 | n |  | TRUE
70 | bus_LV_388-2_1_2_node_207 | 0.4 | n |  | TRUE
71 | bus_LV_388-2_1_2_node_208 | 0.4 | n |  | TRUE
72 | bus_LV_388-2_1_2_node_218 | 0.4 | n |  | TRUE
73 | bus_LV_388-2_1_2_node_209 | 0.4 | n |  | TRUE
74 | bus_LV_388-2_1_2_node_224 | 0.4 | n |  | TRUE
75 | bus_LV_388-2_1_2_node_211 | 0.4 | n |  | TRUE
76 | bus_LV_388-2_1_2_node_212 | 0.4 | n |  | TRUE
77 | bus_LV_388-2_1_2_node_213 | 0.4 | n |  | TRUE
78 | bus_LV_388-2_1_2_node_214 | 0.4 | n |  | TRUE
79 | bus_LV_388-2_1_2_node_215 | 0.4 | n |  | TRUE
80 | bus_LV_388-2_1_2_node_216 | 0.4 | n |  | TRUE
81 | bus_LV_388-2_1_2_node_217 | 0.4 | n |  | TRUE
82 | bus_LV_388-2_1_2_node_219 | 0.4 | n |  | TRUE
83 | bus_LV_388-2_1_2_node_220 | 0.4 | n |  | TRUE
84 | bus_LV_388-2_1_2_node_222 | 0.4 | n |  | TRUE
85 | bus_MV_387_2_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_388-2_1_2_load_38 | 0 | 0.0038431 | 0.00096317 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_388-2_1_2_load_43 | 2 | 0.0044491 | 0.001115 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_388-2_1_2_load_44 | 3 | 0.0025868 | 0.0006483 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_388-2_1_2_load_47 | 4 | 0.0052347 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_388-2_1_2_load_48 | 5 | 0.0068775 | 0.0017237 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_388-2_1_2_load_108 | 6 | 0.00218 | 0.00054636 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_388-2_1_2_load_126 | 7 | 0.0011153 | 0.00027953 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_388-2_1_2_load_110 | 8 | 0.00090721 | 0.00022737 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_388-2_1_2_load_111 | 9 | 0.0012835 | 0.00032167 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_388-2_1_2_load_112 | 10 | 0.00072875 | 0.00018264 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_388-2_1_2_load_113 | 11 | 0.0043604 | 0.0010928 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_388-2_1_2_load_114 | 12 | 0.0019886 | 0.00049838 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_388-2_1_2_load_160 | 15 | 0.0026357 | 0.00066057 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_388-2_1_2_load_165 | 17 | 0.00092822 | 0.00023263 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_388-2_1_2_load_128 | 19 | 0.0040407 | 0.0010127 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_388-2_1_2_load_129 | 20 | 0.0017972 | 0.00045043 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_388-2_1_2_load_130 | 21 | 0.00099826 | 0.00025019 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_388-2_1_2_load_200 | 22 | 0.00045562 | 0.00011419 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_388-2_1_2_load_145 | 24 | 0.0027743 | 0.00069531 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_388-2_1_2_load_198 | 25 | 0.012407 | 0.0031095 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_388-2_1_2_load_146 | 26 | 0.0015122 | 0.00037899 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_388-2_1_2_load_147 | 27 | 0.0012407 | 0.00031095 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_388-2_1_2_load_155 | 29 | 0.0056459 | 0.001415 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_388-2_1_2_load_161 | 31 | 0.00085405 | 0.00021404 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_388-2_1_2_load_167 | 33 | 0.0032706 | 0.0008197 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_388-2_1_2_load_171 | 35 | 0.004341 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_388-2_1_2_load_169 | 36 | 0.00092326 | 0.00023139 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_388-2_1_2_load_174 | 38 | 0.0093925 | 0.002354 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_388-2_1_2_load_172 | 39 | 0.001977 | 0.00049548 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_388-2_1_2_load_193 | 42 | 0.0022555 | 0.00056529 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_388-2_1_2_load_175 | 43 | 0.0061989 | 0.0015536 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_388-2_1_2_load_178 | 46 | 0.0013865 | 0.0003475 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_388-2_1_2_load_180 | 48 | 0.0046224 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_388-2_1_2_load_181 | 49 | 0.0044584 | 0.0011174 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_388-2_1_2_load_184 | 50 | 0.0014844 | 0.00037203 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_388-2_1_2_load_183 | 51 | 0.0020496 | 0.00051367 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_388-2_1_2_load_185 | 52 | 0.0035425 | 0.00088785 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_388-2_1_2_load_186 | 53 | 0.0019338 | 0.00048464 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_388-2_1_2_load_187 | 54 | 0.0041554 | 0.0010414 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_388-2_1_2_load_189 | 56 | 0.003726 | 0.00093382 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_388-2_1_2_load_190 | 57 | 0.0012507 | 0.00031346 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_388-2_1_2_load_191 | 58 | 0.0036264 | 0.00090886 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_388-2_1_2_load_223 | 59 | 0.0029903 | 0.00074944 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_388-2_1_2_load_194 | 60 | 0.002144 | 0.00053733 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_388-2_1_2_load_196 | 61 | 0.0048496 | 0.0012154 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_388-2_1_2_load_197 | 62 | 0.0021481 | 0.00053836 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_388-2_1_2_load_199 | 63 | 0.0054519 | 0.0013664 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_388-2_1_2_load_201 | 64 | 0.00088885 | 0.00022277 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_388-2_1_2_load_202 | 65 | 0.0016635 | 0.00041691 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_388-2_1_2_load_203 | 66 | 0.0025158 | 0.00063052 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_388-2_1_2_load_204 | 67 | 0.0026782 | 0.00067123 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_388-2_1_2_load_205 | 68 | 0.0010583 | 0.00026523 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_388-2_1_2_load_206 | 69 | 0.0022357 | 0.00056031 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_388-2_1_2_load_207 | 70 | 0.0010349 | 0.00025937 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_388-2_1_2_load_208 | 71 | 0.00085926 | 0.00021535 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_388-2_1_2_load_218 | 72 | 0.0011099 | 0.00027817 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_388-2_1_2_load_209 | 73 | 0.0023524 | 0.00058957 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_388-2_1_2_load_224 | 74 | 0.0010479 | 0.00026264 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_388-2_1_2_load_211 | 75 | 0.0013202 | 0.00033088 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_388-2_1_2_load_212 | 76 | 0.0022469 | 0.00056314 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_388-2_1_2_load_213 | 77 | 0.0017572 | 0.0004404 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_388-2_1_2_load_215 | 79 | 0.00039154 | 9.8128e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_388-2_1_2_load_216 | 80 | 0.001014 | 0.00025413 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_388-2_1_2_load_217 | 81 | 0.0012105 | 0.00030338 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_388-2_1_2_load_219 | 82 | 0.0013686 | 0.00034301 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_388-2_1_2_load_220 | 83 | 0.00094267 | 0.00023626 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_388-2_1_2_load_222 | 84 | 0.0019511 | 0.000489 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_388-2_1_2_line_0 |  | 0 | 1 | 0.049796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_388-2_1_2_line_1 |  | 1 | 2 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_388-2_1_2_line_2 |  | 1 | 3 | 0.060647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_388-2_1_2_line_3 |  | 2 | 4 | 0.05801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_388-2_1_2_line_4 |  | 3 | 5 | 0.0081975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_388-2_1_2_line_5 |  | 4 | 6 | 0.0026899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_388-2_1_2_line_6 |  | 5 | 7 | 0.019929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_388-2_1_2_line_7 |  | 7 | 18 | 0.026268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_388-2_1_2_line_8 |  | 8 | 9 | 0.033694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_388-2_1_2_line_9 |  | 8 | 10 | 0.016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_388-2_1_2_line_10 |  | 9 | 11 | 0.025959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_388-2_1_2_line_11 |  | 10 | 12 | 0.012621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_388-2_1_2_line_12 |  | 11 | 13 | 0.02842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_388-2_1_2_line_13 |  | 12 | 14 | 0.010337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_388-2_1_2_line_14 |  | 13 | 15 | 0.032286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_388-2_1_2_line_15 |  | 13 | 16 | 0.00864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_388-2_1_2_line_16 |  | 14 | 17 | 0.02453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_388-2_1_2_line_17 |  | 15 | 32 | 0.005304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_388-2_1_2_line_18 |  | 16 | 38 | 0.036784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_388-2_1_2_line_19 |  | 16 | 34 | 0.005293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_388-2_1_2_line_20 |  | 18 | 19 | 0.03154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_388-2_1_2_line_21 |  | 18 | 20 | 0.0021218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_388-2_1_2_line_22 |  | 19 | 21 | 0.021069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_388-2_1_2_line_23 |  | 21 | 22 | 0.0023097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_388-2_1_2_line_24 |  | 22 | 64 | 0.013758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_388-2_1_2_line_25 |  | 23 | 24 | 0.019138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_388-2_1_2_line_26 |  | 23 | 25 | 0.051691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_388-2_1_2_line_27 |  | 25 | 63 | 0.0324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_388-2_1_2_line_28 |  | 25 | 62 | 0.0303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_388-2_1_2_line_29 |  | 26 | 27 | 0.021756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_388-2_1_2_line_30 |  | 27 | 28 | 0.064834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_388-2_1_2_line_31 |  | 28 | 31 | 0.0093483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_388-2_1_2_line_32 |  | 28 | 30 | 0.005627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_388-2_1_2_line_33 |  | 29 | 30 | 0.020635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_388-2_1_2_line_34 |  | 31 | 33 | 0.032229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_388-2_1_2_line_35 |  | 32 | 33 | 0.02003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_388-2_1_2_line_36 |  | 34 | 35 | 0.026533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_388-2_1_2_line_37 |  | 35 | 39 | 0.0018602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_388-2_1_2_line_38 |  | 36 | 37 | 0.017483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_388-2_1_2_line_39 |  | 37 | 40 | 0.003941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_388-2_1_2_line_40 |  | 37 | 41 | 0.025412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_388-2_1_2_line_41 |  | 38 | 42 | 0.026881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_388-2_1_2_line_42 |  | 40 | 42 | 0.0017395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_388-2_1_2_line_43 |  | 40 | 56 | 0.019516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_388-2_1_2_line_44 |  | 41 | 61 | 0.0091685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_388-2_1_2_line_45 |  | 41 | 60 | 0.030068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_388-2_1_2_line_46 |  | 43 | 44 | 0.028671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_388-2_1_2_line_47 |  | 44 | 45 | 0.028897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_388-2_1_2_line_48 |  | 44 | 46 | 0.0014208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_388-2_1_2_line_49 |  | 45 | 47 | 0.016355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_388-2_1_2_line_50 |  | 45 | 48 | 0.026608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_388-2_1_2_line_51 |  | 46 | 49 | 0.033924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_388-2_1_2_line_52 |  | 47 | 50 | 0.0098048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_388-2_1_2_line_53 |  | 48 | 51 | 0.029943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_388-2_1_2_line_54 |  | 50 | 52 | 0.028027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_388-2_1_2_line_55 |  | 52 | 53 | 0.02063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_388-2_1_2_line_56 |  | 53 | 54 | 0.033056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_388-2_1_2_line_57 |  | 53 | 55 | 0.035889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_388-2_1_2_line_58 |  | 54 | 56 | 0.025093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_388-2_1_2_line_59 |  | 55 | 57 | 0.014633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_388-2_1_2_line_60 |  | 55 | 58 | 0.030374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_388-2_1_2_line_61 |  | 57 | 59 | 0.0075903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_388-2_1_2_line_62 |  | 59 | 84 | 0.017279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_388-2_1_2_line_63 |  | 61 | 62 | 0.0052168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_388-2_1_2_line_64 |  | 64 | 65 | 0.057846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_388-2_1_2_line_65 |  | 65 | 66 | 0.0080463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_388-2_1_2_line_66 |  | 66 | 67 | 0.014263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_388-2_1_2_line_67 |  | 67 | 68 | 0.0075444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_388-2_1_2_line_68 |  | 68 | 69 | 0.016894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_388-2_1_2_line_69 |  | 69 | 70 | 0.036085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_388-2_1_2_line_70 |  | 70 | 71 | 0.0019158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_388-2_1_2_line_71 |  | 71 | 72 | 0.027876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_388-2_1_2_line_72 |  | 72 | 78 | 0.031228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_388-2_1_2_line_73 |  | 73 | 74 | 0.076655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_388-2_1_2_line_74 |  | 74 | 82 | 0.0040963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_388-2_1_2_line_75 |  | 75 | 76 | 0.024189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_388-2_1_2_line_76 |  | 75 | 77 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_388-2_1_2_line_77 |  | 76 | 78 | 0.028136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_388-2_1_2_line_78 |  | 77 | 79 | 0.0011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_388-2_1_2_line_79 |  | 78 | 80 | 0.01238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_388-2_1_2_line_80 |  | 78 | 81 | 0.0377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_388-2_1_2_line_81 |  | 79 | 82 | 0.011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_388-2_1_2_line_82 |  | 80 | 83 | 0.021383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_388-2_1_2_line_83 |  | 83 | 84 | 0.026881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_388-2_1_2_trafo_189 | 0.63 MVA 20/0.4 kV | 85 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2600807.1792 | 1225055.0716 | 2600849.9953 | 1225080.4957
1 | 2600807.1792 | 1225055.0716 | 2600797.8856 | 1225067.0235
2 | 2600807.1792 | 1225055.0716 | 2600814.5034 | 1225045.0555 | 2600841.6316 | 1225009.6828 | 2600843.6563 | 1225006.6329
3 | 2600768.4137 | 1225116.7732 | 2600776.8665 | 1225099.9274 | 2600787.929 | 1225079.8281 | 2600797.8856 | 1225067.0235
4 | 2600843.6563 | 1225006.6329 | 2600848.1902 | 1224999.8034
5 | 2600768.4137 | 1225116.7732 | 2600767.2073 | 1225119.1774
6 | 2600848.1902 | 1224999.8034 | 2600859.2128 | 1224983.1999
7 | 2600875.0688 | 1224962.3374 | 2600867.0927 | 1224971.3304 | 2600859.2128 | 1224983.1999
8 | 2600857.3992 | 1224896.7301 | 2600857.3992 | 1224896.7301 | 2600888.3007 | 1224910.1609
9 | 2600903.1264 | 1224916.6046 | 2600888.3007 | 1224910.1609
10 | 2600862.7331 | 1224871.3253 | 2600857.3992 | 1224896.7301
11 | 2600903.1264 | 1224916.6046 | 2600914.7016 | 1224921.6356
12 | 2600868.5729 | 1224843.5116 | 2600862.7331 | 1224871.3253
13 | 2600924.1822 | 1224925.7562 | 2600914.7016 | 1224921.6356
14 | 2600868.5729 | 1224843.5116 | 2600900.8906 | 1224841.4926
15 | 2600868.5729 | 1224843.5116 | 2600859.923 | 1224844.0219
16 | 2600924.1822 | 1224925.7562 | 2600934.9935 | 1224918.3312 | 2600945.4707 | 1224913.8008
17 | 2600900.8906 | 1224841.4926 | 2600900.861 | 1224836.1895
18 | 2600859.923 | 1224844.0219 | 2600841.5012 | 1224845.1312 | 2600823.1762 | 1224844.7673
19 | 2600859.923 | 1224844.0219 | 2600859.9085 | 1224838.7299
20 | 2600875.0688 | 1224962.3374 | 2600866.7457 | 1224958.0337 | 2600846.1189 | 1224949.9055
21 | 2600875.0688 | 1224962.3374 | 2600876.595 | 1224960.8633
22 | 2600826.5167 | 1224942.1811 | 2600846.1189 | 1224949.9055
23 | 2600826.5167 | 1224942.1811 | 2600824.3678 | 1224941.3343
24 | 2600824.3678 | 1224941.3343 | 2600821.7031 | 1224940.2842 | 2600810.9093 | 1224938.8091
25 | 2600815.6482 | 1224740.567 | 2600796.6237 | 1224742.6447
26 | 2600832.303 | 1224789.5019 | 2600815.6482 | 1224740.567
27 | 2600832.303 | 1224789.5019 | 2600864.6821 | 1224790.6673
28 | 2600809.1948 | 1224800.4172 | 2600812.3897 | 1224791.2739 | 2600816.0667 | 1224788.9174 | 2600832.303 | 1224789.5019
29 | 2600960.0762 | 1224762.8779 | 2600980.6786 | 1224769.8688
30 | 2600962.3277 | 1224832.0516 | 2600980.6786 | 1224769.8688
31 | 2600962.3277 | 1224832.0516 | 2600953.0026 | 1224832.7099
32 | 2600962.2738 | 1224837.6771 | 2600962.3277 | 1224832.0516
33 | 2600962.2738 | 1224837.6771 | 2600971.4846 | 1224837.4227 | 2600982.8881 | 1224838.0551
34 | 2600953.0026 | 1224832.7099 | 2600948.97 | 1224832.9946 | 2600924.8094 | 1224834.4475 | 2600920.838 | 1224834.7364
35 | 2600900.861 | 1224836.1895 | 2600920.838 | 1224834.7364
36 | 2600859.9085 | 1224838.7299 | 2600862.5362 | 1224812.327
37 | 2600862.5362 | 1224812.327 | 2600862.7204 | 1224810.4759
38 | 2600795.8044 | 1224837.8991 | 2600803.8401 | 1224838.0001 | 2600813.2697 | 1224838.5741
39 | 2600794.7274 | 1224841.69 | 2600795.8044 | 1224837.8991
40 | 2600804.4496 | 1224813.9973 | 2600795.8044 | 1224837.8991
41 | 2600823.1762 | 1224844.7673 | 2600821.7833 | 1224844.7396 | 2600796.4559 | 1224841.8849
42 | 2600794.7274 | 1224841.69 | 2600796.4559 | 1224841.8849
43 | 2600794.7274 | 1224841.69 | 2600775.2207 | 1224841.0846
44 | 2600804.4496 | 1224813.9973 | 2600807.4739 | 1224805.342
45 | 2600804.4496 | 1224813.9973 | 2600787.4536 | 1224809.3481 | 2600775.0544 | 1224808.2538
46 | 2600682.4023 | 1224755.6273 | 2600710.9116 | 1224752.5901
47 | 2600682.4023 | 1224755.6273 | 2600689.0707 | 1224783.7444
48 | 2600682.4023 | 1224755.6273 | 2600682.1177 | 1224754.2352
49 | 2600689.0707 | 1224783.7444 | 2600692.155 | 1224794.462 | 2600694.0194 | 1224799.3206
50 | 2600689.0707 | 1224783.7444 | 2600697.3416 | 1224782.689 | 2600715.5543 | 1224784.1311
51 | 2600662.7665 | 1224729.2434 | 2600671.8669 | 1224733.0908 | 2600678.9619 | 1224741.93 | 2600681.4248 | 1224750.8466 | 2600682.1177 | 1224754.2352
52 | 2600694.0194 | 1224799.3206 | 2600698.0884 | 1224808.2413
53 | 2600736.8071 | 1224793.2662 | 2600737.9754 | 1224785.9064 | 2600715.5543 | 1224784.1311
54 | 2600698.0884 | 1224808.2413 | 2600709.7192 | 1224833.7405
55 | 2600718.2803 | 1224852.5098 | 2600709.7192 | 1224833.7405
56 | 2600718.2803 | 1224852.5098 | 2600748.3091 | 1224845.2644 | 2600750.4453 | 1224844.9116
57 | 2600682.5739 | 1224856.4416 | 2600701.5187 | 1224855.3874 | 2600703.0803 | 1224855.2987 | 2600718.2803 | 1224852.5098
58 | 2600750.4453 | 1224844.9116 | 2600773.8724 | 1224841.0427 | 2600775.2207 | 1224841.0846
59 | 2600682.5739 | 1224856.4416 | 2600682.012 | 1224865.3801 | 2600680.8591 | 1224870.9388
60 | 2600682.5739 | 1224856.4416 | 2600656.89 | 1224854.2489 | 2600652.4065 | 1224853.2363
61 | 2600675.79 | 1224876.5128 | 2600677.6065 | 1224875.1409 | 2600680.8591 | 1224870.9388
62 | 2600662.0016 | 1224886.9262 | 2600675.79 | 1224876.5128
63 | 2600809.1948 | 1224800.4172 | 2600807.4739 | 1224805.342
64 | 2600753.087 | 1224937.5702 | 2600755.652 | 1224937.4746 | 2600810.0592 | 1224938.6929 | 2600810.9093 | 1224938.8091
65 | 2600753.087 | 1224937.5702 | 2600745.0463 | 1224937.87
66 | 2600745.0463 | 1224937.87 | 2600730.7934 | 1224938.4013
67 | 2600730.7934 | 1224938.4013 | 2600723.2543 | 1224938.6824
68 | 2600723.2543 | 1224938.6824 | 2600706.3723 | 1224939.3117
69 | 2600670.3831 | 1224939.1887 | 2600670.3831 | 1224939.1887 | 2600678.9341 | 1224940.3346 | 2600706.3723 | 1224939.3117
70 | 2600670.3831 | 1224939.1887 | 2600668.5714 | 1224938.5655
71 | 2600642.5263 | 1224928.6441 | 2600661.3622 | 1224936.0859 | 2600668.5714 | 1224938.5655
72 | 2600612.2628 | 1224921.5395 | 2600633.8071 | 1224925.1992 | 2600642.5263 | 1224928.6441
73 | 2600540.6952 | 1224885.2011 | 2600513.8662 | 1224813.394
74 | 2600544.4606 | 1224886.814 | 2600540.6952 | 1224885.2011 | 2600540.6952 | 1224885.2011
75 | 2600565.676 | 1224899.0561 | 2600586.1687 | 1224911.9078
76 | 2600565.676 | 1224899.0561 | 2600555.3666 | 1224892.5907
77 | 2600612.2628 | 1224921.5395 | 2600599.2543 | 1224918.9368 | 2600590.1426 | 1224914.4 | 2600586.1687 | 1224911.9078
78 | 2600555.3666 | 1224892.5907 | 2600554.4072 | 1224891.989
79 | 2600612.2628 | 1224921.5395 | 2600622.6949 | 1224914.8737
80 | 2600612.2628 | 1224921.5395 | 2600603.8096 | 1224928.0203 | 2600599.2531 | 1224933.2118 | 2600596 | 1224943.5842 | 2600593.502 | 1224952.5121
81 | 2600544.4606 | 1224886.814 | 2600549.8071 | 1224889.1041 | 2600554.4072 | 1224891.989
82 | 2600622.6949 | 1224914.8737 | 2600637.6449 | 1224905.3213 | 2600640.5507 | 1224903.1267
83 | 2600640.5507 | 1224903.1267 | 2600662.0016 | 1224886.9262

## bus_geodata
| x | y | coords
0 | 2600849.9953 | 1225080.4957
1 | 2600807.1792 | 1225055.0716
2 | 2600797.8856 | 1225067.0235
3 | 2600843.6563 | 1225006.6329
4 | 2600768.4137 | 1225116.7732
5 | 2600848.1902 | 1224999.8034
6 | 2600767.2073 | 1225119.1774
7 | 2600859.2128 | 1224983.1999
8 | 2600888.3007 | 1224910.1609
9 | 2600857.3992 | 1224896.7301
10 | 2600903.1264 | 1224916.6046
11 | 2600862.7331 | 1224871.3253
12 | 2600914.7016 | 1224921.6356
13 | 2600868.5729 | 1224843.5116
14 | 2600924.1822 | 1224925.7562
15 | 2600900.8906 | 1224841.4926
16 | 2600859.923 | 1224844.0219
17 | 2600945.4707 | 1224913.8008
18 | 2600875.0688 | 1224962.3374
19 | 2600846.1189 | 1224949.9055
20 | 2600876.595 | 1224960.8633
21 | 2600826.5167 | 1224942.1811
22 | 2600824.3678 | 1224941.3343
23 | 2600815.6482 | 1224740.567
24 | 2600796.6237 | 1224742.6447
25 | 2600832.303 | 1224789.5019
26 | 2600960.0762 | 1224762.8779
27 | 2600980.6786 | 1224769.8688
28 | 2600962.3277 | 1224832.0516
29 | 2600982.8881 | 1224838.0551
30 | 2600962.2738 | 1224837.6771
31 | 2600953.0026 | 1224832.7099
32 | 2600900.861 | 1224836.1895
33 | 2600920.838 | 1224834.7364
34 | 2600859.9085 | 1224838.7299
35 | 2600862.5362 | 1224812.327
36 | 2600813.2697 | 1224838.5741
37 | 2600795.8044 | 1224837.8991
38 | 2600823.1762 | 1224844.7673
39 | 2600862.7204 | 1224810.4759
40 | 2600794.7274 | 1224841.69
41 | 2600804.4496 | 1224813.9973
42 | 2600796.4559 | 1224841.8849
43 | 2600710.9116 | 1224752.5901
44 | 2600682.4023 | 1224755.6273
45 | 2600689.0707 | 1224783.7444
46 | 2600682.1177 | 1224754.2352
47 | 2600694.0194 | 1224799.3206
48 | 2600715.5543 | 1224784.1311
49 | 2600662.7665 | 1224729.2434
50 | 2600698.0884 | 1224808.2413
51 | 2600736.8071 | 1224793.2662
52 | 2600709.7192 | 1224833.7405
53 | 2600718.2803 | 1224852.5098
54 | 2600750.4453 | 1224844.9116
55 | 2600682.5739 | 1224856.4416
56 | 2600775.2207 | 1224841.0846
57 | 2600680.8591 | 1224870.9388
58 | 2600652.4065 | 1224853.2363
59 | 2600675.79 | 1224876.5128
60 | 2600775.0544 | 1224808.2538
61 | 2600807.4739 | 1224805.342
62 | 2600809.1948 | 1224800.4172
63 | 2600864.6821 | 1224790.6673
64 | 2600810.9093 | 1224938.8091
65 | 2600753.087 | 1224937.5702
66 | 2600745.0463 | 1224937.87
67 | 2600730.7934 | 1224938.4013
68 | 2600723.2543 | 1224938.6824
69 | 2600706.3724 | 1224939.3117
70 | 2600670.3831 | 1224939.1887
71 | 2600668.5714 | 1224938.5655
72 | 2600642.5263 | 1224928.6441
73 | 2600513.8662 | 1224813.394
74 | 2600540.6952 | 1224885.2011
75 | 2600565.676 | 1224899.0561
76 | 2600586.1687 | 1224911.9078
77 | 2600555.3666 | 1224892.5907
78 | 2600612.2628 | 1224921.5395
79 | 2600554.4072 | 1224891.989
80 | 2600622.6949 | 1224914.8737
81 | 2600593.502 | 1224952.5121
82 | 2600544.4606 | 1224886.814
83 | 2600640.5507 | 1224903.1267
84 | 2600662.0016 | 1224886.9262
85 | 2600794.7274 | 1224841.69

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1