## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_392-1_1_3_node_2 | 0.4 | n |  | TRUE
1 | bus_LV_392-1_1_3_node_13 | 0.4 | n |  | TRUE
2 | bus_LV_392-1_1_3_node_111 | 0.4 | n |  | TRUE
3 | bus_LV_392-1_1_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_392-1_1_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_392-1_1_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_392-1_1_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_392-1_1_3_node_130 | 0.4 | n |  | TRUE
8 | bus_LV_392-1_1_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_392-1_1_3_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_392-1_1_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_392-1_1_3_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_392-1_1_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_392-1_1_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_392-1_1_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_392-1_1_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_392-1_1_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_392-1_1_3_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_392-1_1_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_392-1_1_3_node_107 | 0.4 | n |  | TRUE
20 | bus_LV_392-1_1_3_node_110 | 0.4 | n |  | TRUE
21 | bus_LV_392-1_1_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_392-1_1_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_392-1_1_3_node_101 | 0.4 | n |  | TRUE
24 | bus_LV_392-1_1_3_node_104 | 0.4 | n |  | TRUE
25 | bus_LV_392-1_1_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_392-1_1_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_392-1_1_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_392-1_1_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_392-1_1_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_392-1_1_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_392-1_1_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_392-1_1_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_392-1_1_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_392-1_1_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_392-1_1_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_392-1_1_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_392-1_1_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_392-1_1_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_392-1_1_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_392-1_1_3_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_392-1_1_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_392-1_1_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_392-1_1_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_392-1_1_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_392-1_1_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_392-1_1_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_392-1_1_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_392-1_1_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_392-1_1_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_392-1_1_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_392-1_1_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_392-1_1_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_392-1_1_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_392-1_1_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_392-1_1_3_node_123 | 0.4 | n |  | TRUE
56 | bus_LV_392-1_1_3_node_124 | 0.4 | n |  | TRUE
57 | bus_LV_392-1_1_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_392-1_1_3_node_119 | 0.4 | n |  | TRUE
59 | bus_LV_392-1_1_3_node_120 | 0.4 | n |  | TRUE
60 | bus_LV_392-1_1_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_392-1_1_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_392-1_1_3_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_392-1_1_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_392-1_1_3_node_89 | 0.4 | n |  | TRUE
65 | bus_LV_392-1_1_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_392-1_1_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_392-1_1_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_392-1_1_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_392-1_1_3_node_91 | 0.4 | n |  | TRUE
70 | bus_LV_392-1_1_3_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_392-1_1_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_392-1_1_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_392-1_1_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_392-1_1_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_392-1_1_3_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_392-1_1_3_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_392-1_1_3_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_392-1_1_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_392-1_1_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_392-1_1_3_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_392-1_1_3_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_392-1_1_3_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_392-1_1_3_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_392-1_1_3_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_392-1_1_3_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_392-1_1_3_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_392-1_1_3_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_392-1_1_3_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_392-1_1_3_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_392-1_1_3_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_392-1_1_3_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_392-1_1_3_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_392-1_1_3_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_392-1_1_3_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_392-1_1_3_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_392-1_1_3_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_392-1_1_3_node_122 | 0.4 | n |  | TRUE
98 | bus_LV_392-1_1_3_node_121 | 0.4 | n |  | TRUE
99 | bus_LV_392-1_1_3_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_392-1_1_3_node_109 | 0.4 | n |  | TRUE
101 | bus_LV_392-1_1_3_node_106 | 0.4 | n |  | TRUE
102 | bus_LV_392-1_1_3_node_108 | 0.4 | n |  | TRUE
103 | bus_LV_392-1_1_3_node_112 | 0.4 | n |  | TRUE
104 | bus_LV_392-1_1_3_node_113 | 0.4 | n |  | TRUE
105 | bus_LV_392-1_1_3_node_114 | 0.4 | n |  | TRUE
106 | bus_LV_392-1_1_3_node_115 | 0.4 | n |  | TRUE
107 | bus_LV_392-1_1_3_node_116 | 0.4 | n |  | TRUE
108 | bus_LV_392-1_1_3_node_125 | 0.4 | n |  | TRUE
109 | bus_MV_310_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_392-1_1_3_load_2 | 0 | 0.00016376 | 4.1043e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_392-1_1_3_load_13 | 1 | 0.00022014 | 5.5171e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_392-1_1_3_load_111 | 2 | 0.00053819 | 0.00013488 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_392-1_1_3_load_4 | 3 | 0.0021366 | 0.00053549 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_392-1_1_3_load_7 | 6 | 0.0051816 | 0.0012986 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_392-1_1_3_load_130 | 7 | 0.0067328 | 0.0016874 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_392-1_1_3_load_8 | 10 | 0.015357 | 0.0038488 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_392-1_1_3_load_14 | 12 | 0.014102 | 0.0035343 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_392-1_1_3_load_15 | 13 | 0.01418 | 0.0035538 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_392-1_1_3_load_16 | 14 | 0.019472 | 0.0048801 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_392-1_1_3_load_32 | 17 | 0.0023735 | 0.00059486 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_392-1_1_3_load_20 | 18 | 0.0029724 | 0.00074494 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_392-1_1_3_load_110 | 20 | 0.024252 | 0.0060781 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_392-1_1_3_load_27 | 21 | 0.0036944 | 0.00092591 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_392-1_1_3_load_19 | 22 | 0.0073055 | 0.0018309 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_392-1_1_3_load_104 | 24 | 0.024369 | 0.0061073 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_392-1_1_3_load_22 | 26 | 0.0026384 | 0.00066125 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_392-1_1_3_load_23 | 27 | 0.0053625 | 0.001344 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_392-1_1_3_load_30 | 28 | 0.0045725 | 0.001146 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_392-1_1_3_load_40 | 31 | 0.0056859 | 0.001425 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_392-1_1_3_load_24 | 32 | 0.0049198 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_392-1_1_3_load_25 | 33 | 0.003883 | 0.00097318 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_392-1_1_3_load_28 | 35 | 0.0049897 | 0.0012505 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_392-1_1_3_load_29 | 36 | 0.00066354 | 0.0001663 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_392-1_1_3_load_38 | 37 | 0.0020339 | 0.00050974 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_392-1_1_3_load_47 | 38 | 0.00055007 | 0.00013786 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_392-1_1_3_load_39 | 39 | 0.0039737 | 0.0009959 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_392-1_1_3_load_55 | 40 | 0.00069838 | 0.00017503 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_392-1_1_3_load_48 | 42 | 0.0025705 | 0.00064423 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_392-1_1_3_load_49 | 43 | 0.0035268 | 0.00088391 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_392-1_1_3_load_50 | 44 | 0.0029343 | 0.00073541 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_392-1_1_3_load_33 | 45 | 0.00059967 | 0.00015029 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_392-1_1_3_load_34 | 46 | 0.0039719 | 0.00099545 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_392-1_1_3_load_37 | 49 | 0.0029724 | 0.00074495 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_392-1_1_3_load_51 | 50 | 0.0035737 | 0.00089564 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_392-1_1_3_load_52 | 51 | 0.0033632 | 0.0008429 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_392-1_1_3_load_53 | 52 | 0.0027076 | 0.00067859 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_392-1_1_3_load_44 | 53 | 0.0084587 | 0.0021199 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_392-1_1_3_load_46 | 54 | 0.0043952 | 0.0011015 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_392-1_1_3_load_123 | 55 | 0.00074345 | 0.00018633 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_392-1_1_3_load_124 | 56 | 0.00069085 | 0.00017314 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_392-1_1_3_load_54 | 57 | 0.00052008 | 0.00013035 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_392-1_1_3_load_119 | 58 | 0.0026463 | 0.00066322 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_392-1_1_3_load_120 | 59 | 0.0021796 | 0.00054626 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_392-1_1_3_load_56 | 60 | 0.0006853 | 0.00017175 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_392-1_1_3_load_57 | 61 | 0.00078404 | 0.0001965 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_392-1_1_3_load_62 | 63 | 0.00072687 | 0.00018217 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_392-1_1_3_load_58 | 65 | 0.00073432 | 0.00018404 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_392-1_1_3_load_60 | 66 | 0.0010216 | 0.00025603 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_392-1_1_3_load_59 | 67 | 0.0042842 | 0.0010737 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_392-1_1_3_load_61 | 68 | 0.0025856 | 0.00064802 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_392-1_1_3_load_91 | 69 | 0.0030416 | 0.0007623 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_392-1_1_3_load_95 | 70 | 0.0020429 | 0.00051199 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_392-1_1_3_load_63 | 71 | 0.0041582 | 0.0010421 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_392-1_1_3_load_64 | 72 | 0.0036085 | 0.00090438 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_392-1_1_3_load_65 | 73 | 0.0037232 | 0.00093313 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_392-1_1_3_load_67 | 74 | 0.0027156 | 0.00068059 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_392-1_1_3_load_81 | 76 | 0.00053803 | 0.00013484 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_392-1_1_3_load_77 | 77 | 0.0032953 | 0.00082588 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_392-1_1_3_load_68 | 78 | 0.0030028 | 0.00075257 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_392-1_1_3_load_69 | 79 | 0.0039611 | 0.00099275 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_392-1_1_3_load_70 | 80 | 0.0029065 | 0.00072844 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_392-1_1_3_load_71 | 81 | 0.0024468 | 0.00061323 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_392-1_1_3_load_72 | 82 | 0.003839 | 0.00096215 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_392-1_1_3_load_73 | 83 | 0.0040796 | 0.0010224 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_392-1_1_3_load_94 | 86 | 0.0025669 | 0.00064334 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_392-1_1_3_load_75 | 87 | 0.000467 | 0.00011704 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_392-1_1_3_load_76 | 88 | 0.00048337 | 0.00012114 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_392-1_1_3_load_88 | 89 | 0.00042024 | 0.00010532 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_392-1_1_3_load_87 | 90 | 0.00051702 | 0.00012958 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_392-1_1_3_load_78 | 91 | 0.0014197 | 0.00035582 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_392-1_1_3_load_80 | 92 | 0.0017412 | 0.00043639 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_392-1_1_3_load_86 | 94 | 0.007733 | 0.0019381 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_392-1_1_3_load_82 | 95 | 0.0025939 | 0.00065009 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_392-1_1_3_load_83 | 96 | 0.0025496 | 0.00063899 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_392-1_1_3_load_122 | 97 | 0.0024403 | 0.00061159 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_392-1_1_3_load_121 | 98 | 0.0033455 | 0.00083847 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_392-1_1_3_load_105 | 99 | 0.01458 | 0.003654 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_392-1_1_3_load_109 | 100 | 0.00043297 | 0.00010851 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_392-1_1_3_load_108 | 102 | 0.0023101 | 0.00057896 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_392-1_1_3_load_112 | 103 | 0.00054 | 0.00013534 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_392-1_1_3_load_113 | 104 | 0.00052575 | 0.00013177 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_392-1_1_3_load_114 | 105 | 0.0040592 | 0.0010173 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_392-1_1_3_load_115 | 106 | 0.00051964 | 0.00013023 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_392-1_1_3_load_116 | 107 | 0.00087808 | 0.00022007 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_392-1_1_3_load_125 | 108 | 0.0013623 | 0.00034143 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_392-1_1_3_line_0 |  | 0 | 1 | 0.061062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_392-1_1_3_line_1 |  | 1 | 2 | 0.038251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_392-1_1_3_line_2 |  | 2 | 11 | 0.047592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_392-1_1_3_line_3 |  | 3 | 4 | 0.035275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_392-1_1_3_line_4 |  | 4 | 5 | 0.013541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_392-1_1_3_line_5 |  | 4 | 6 | 0.016631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_392-1_1_3_line_6 |  | 5 | 7 | 0.022421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_392-1_1_3_line_7 |  | 5 | 8 | 0.034935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_392-1_1_3_line_8 |  | 6 | 9 | 0.0044239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_392-1_1_3_line_9 |  | 8 | 10 | 0.011672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_392-1_1_3_line_10 |  | 9 | 11 | 0.052037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_392-1_1_3_line_11 |  | 11 | 29 | 0.013714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_392-1_1_3_line_12 |  | 12 | 13 | 0.016624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_392-1_1_3_line_13 |  | 12 | 14 | 0.032699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_392-1_1_3_line_14 |  | 13 | 15 | 0.026655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_392-1_1_3_line_15 |  | 14 | 16 | 0.048206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_392-1_1_3_line_16 |  | 15 | 17 | 0.0075907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_392-1_1_3_line_17 |  | 15 | 18 | 0.020139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_392-1_1_3_line_18 |  | 16 | 19 | 0.004741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_392-1_1_3_line_19 |  | 16 | 20 | 0.022492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_392-1_1_3_line_20 |  | 17 | 21 | 0.03194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_392-1_1_3_line_21 |  | 18 | 22 | 0.0049137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_392-1_1_3_line_22 |  | 19 | 23 | 0.029387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_392-1_1_3_line_23 |  | 19 | 24 | 0.025895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_392-1_1_3_line_24 |  | 21 | 33 | 0.00098077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_392-1_1_3_line_25 |  | 23 | 99 | 0.018498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_392-1_1_3_line_26 |  | 25 | 26 | 0.017878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_392-1_1_3_line_27 |  | 25 | 27 | 0.010966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_392-1_1_3_line_28 |  | 26 | 28 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_392-1_1_3_line_29 |  | 27 | 29 | 0.011323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_392-1_1_3_line_30 |  | 28 | 30 | 0.03234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_392-1_1_3_line_31 |  | 29 | 31 | 0.023353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_392-1_1_3_line_32 |  | 30 | 42 | 0.013357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_392-1_1_3_line_33 |  | 30 | 43 | 0.020356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_392-1_1_3_line_34 |  | 32 | 33 | 0.014048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_392-1_1_3_line_35 |  | 32 | 34 | 0.014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_392-1_1_3_line_36 |  | 34 | 35 | 0.010754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_392-1_1_3_line_37 |  | 34 | 36 | 0.022016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_392-1_1_3_line_38 |  | 35 | 37 | 0.025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_392-1_1_3_line_39 |  | 36 | 38 | 0.010907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_392-1_1_3_line_40 |  | 37 | 39 | 0.026435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_392-1_1_3_line_41 |  | 38 | 40 | 0.0098741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_392-1_1_3_line_42 |  | 38 | 41 | 0.0273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_392-1_1_3_line_43 |  | 39 | 48 | 0.011113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_392-1_1_3_line_44 |  | 40 | 57 | 0.010805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_392-1_1_3_line_45 |  | 41 | 54 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_392-1_1_3_line_46 |  | 41 | 53 | 0.0034249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_392-1_1_3_line_47 |  | 42 | 44 | 0.027311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_392-1_1_3_line_48 |  | 44 | 50 | 0.0075451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_392-1_1_3_line_49 |  | 45 | 46 | 0.001437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_392-1_1_3_line_50 |  | 45 | 47 | 0.024692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_392-1_1_3_line_51 |  | 47 | 48 | 0.009695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_392-1_1_3_line_52 |  | 47 | 49 | 0.013179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_392-1_1_3_line_53 |  | 48 | 50 | 0.019543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_392-1_1_3_line_54 |  | 49 | 51 | 0.010792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_392-1_1_3_line_55 |  | 51 | 52 | 0.011483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_392-1_1_3_line_56 |  | 52 | 58 | 0.010938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_392-1_1_3_line_57 |  | 54 | 55 | 0.0032428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_392-1_1_3_line_58 |  | 55 | 56 | 0.020548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_392-1_1_3_line_59 |  | 56 | 108 | 0.018418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_392-1_1_3_line_60 |  | 57 | 60 | 0.0091884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_392-1_1_3_line_61 |  | 58 | 59 | 0.010367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_392-1_1_3_line_62 |  | 59 | 98 | 0.012488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_392-1_1_3_line_63 |  | 60 | 61 | 0.010521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_392-1_1_3_line_64 |  | 61 | 62 | 0.025843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_392-1_1_3_line_65 |  | 62 | 63 | 0.011034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_392-1_1_3_line_66 |  | 62 | 64 | 0.019077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_392-1_1_3_line_67 |  | 63 | 66 | 0.0055521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_392-1_1_3_line_68 |  | 64 | 90 | 0.022958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_392-1_1_3_line_69 |  | 64 | 76 | 0.0072273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_392-1_1_3_line_70 |  | 65 | 66 | 0.0057524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_392-1_1_3_line_71 |  | 67 | 68 | 0.01221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_392-1_1_3_line_72 |  | 68 | 69 | 0.0072045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_392-1_1_3_line_73 |  | 69 | 70 | 0.0042712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_392-1_1_3_line_74 |  | 70 | 82 | 0.0099584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_392-1_1_3_line_75 |  | 71 | 72 | 0.021652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_392-1_1_3_line_76 |  | 71 | 73 | 0.022138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_392-1_1_3_line_77 |  | 73 | 74 | 0.021666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_392-1_1_3_line_78 |  | 74 | 75 | 0.028206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_392-1_1_3_line_79 |  | 75 | 76 | 0.014937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_392-1_1_3_line_80 |  | 75 | 77 | 0.0094582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_392-1_1_3_line_81 |  | 77 | 91 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_392-1_1_3_line_82 |  | 78 | 79 | 0.016469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_392-1_1_3_line_83 |  | 78 | 80 | 0.0054182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_392-1_1_3_line_84 |  | 79 | 81 | 0.02483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_392-1_1_3_line_85 |  | 80 | 82 | 0.00011631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_392-1_1_3_line_86 |  | 81 | 83 | 0.013663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_392-1_1_3_line_87 |  | 83 | 84 | 0.018541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_392-1_1_3_line_88 |  | 84 | 85 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_392-1_1_3_line_89 |  | 84 | 86 | 0.01096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_392-1_1_3_line_90 |  | 85 | 97 | 0.0035863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_392-1_1_3_line_91 |  | 87 | 88 | 0.024714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_392-1_1_3_line_92 |  | 88 | 89 | 0.031399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_392-1_1_3_line_93 |  | 89 | 90 | 0.019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_392-1_1_3_line_94 |  | 91 | 92 | 0.0028503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_392-1_1_3_line_95 |  | 92 | 93 | 0.0069459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_392-1_1_3_line_96 |  | 93 | 94 | 0.011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_392-1_1_3_line_97 |  | 93 | 95 | 0.036414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_392-1_1_3_line_98 |  | 95 | 96 | 0.033992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_392-1_1_3_line_99 |  | 97 | 98 | 0.010662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_392-1_1_3_line_100 |  | 99 | 101 | 0.022804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_392-1_1_3_line_101 |  | 100 | 101 | 0.01326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_392-1_1_3_line_102 |  | 101 | 102 | 0.014894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_392-1_1_3_line_103 |  | 103 | 104 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_392-1_1_3_line_104 |  | 103 | 105 | 0.017411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_392-1_1_3_line_105 |  | 104 | 106 | 0.01155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_392-1_1_3_line_106 |  | 105 | 107 | 0.00082189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_392-1_1_3_line_107 |  | 107 | 108 | 0.015039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_392-1_1_3_trafo_24 | 0.63 MVA 20/0.4 kV | 109 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2592699.0392 | 1224466.066 | 2592640.368 | 1224482.9854
1 | 2592603.4538 | 1224492.8779 | 2592609.794 | 1224491.8023 | 2592640.368 | 1224482.9854
2 | 2592560.8083 | 1224477.8225 | 2592568.0649 | 1224484.7618 | 2592575.72 | 1224489.1658 | 2592586.1879 | 1224493.5663 | 2592597.0525 | 1224493.964 | 2592603.4538 | 1224492.8779
3 | 2592558.7054 | 1224535.5032 | 2592554.6271 | 1224529.8606 | 2592550.717 | 1224525.3741 | 2592541.3903 | 1224518.0816 | 2592536.9595 | 1224515.4412 | 2592532.0984 | 1224513.173
4 | 2592558.7054 | 1224535.5032 | 2592560.0512 | 1224538.6144 | 2592560.502 | 1224541.3933 | 2592560.3772 | 1224544.6398 | 2592559.8061 | 1224548.6873
5 | 2592558.7054 | 1224535.5032 | 2592564.3551 | 1224524.8454 | 2592565.7477 | 1224520.4947
6 | 2592559.8061 | 1224548.6873 | 2592569.9868 | 1224541.8593 | 2592580.152 | 1224540.8348
7 | 2592559.8061 | 1224548.6873 | 2592564.9406 | 1224556.2296 | 2592566.7726 | 1224560.0851 | 2592567.7166 | 1224563.2302 | 2592570.149 | 1224562.2822 | 2592572.7262 | 1224561.8787 | 2592575.3343 | 1224562.0533 | 2592577.8371 | 1224562.7839 | 2592580.1282 | 1224564.0373 | 2592582.0864 | 1224565.758 | 2592583.6204 | 1224567.8573
8 | 2592567.0963 | 1224516.2814 | 2592565.7477 | 1224520.4947
9 | 2592583.6204 | 1224567.8573 | 2592584.9821 | 1224571.5022 | 2592585.1007 | 1224575.3932 | 2592583.953 | 1224579.1079
10 | 2592560.8083 | 1224477.8225 | 2592556.8056 | 1224490.0013 | 2592573.6284 | 1224495.839 | 2592567.0963 | 1224516.2814
11 | 2592560.8083 | 1224477.8225 | 2592551.2736 | 1224467.9399
12 | 2592603.8889 | 1224382.0317 | 2592606.3884 | 1224381.8758 | 2592620.2687 | 1224379.2858
13 | 2592652.4131 | 1224373.2877 | 2592620.2687 | 1224379.2858
14 | 2592577.2853 | 1224383.6912 | 2592603.8889 | 1224382.0317
15 | 2592693.9772 | 1224357.1632 | 2592673.6461 | 1224359.2452 | 2592673.2641 | 1224362.9367 | 2592663.3123 | 1224371.254 | 2592652.4131 | 1224373.2877
16 | 2592577.2853 | 1224383.6912 | 2592579.8145 | 1224376.5343
17 | 2592577.2853 | 1224383.6912 | 2592569.8494 | 1224402.4072
18 | 2592698.7075 | 1224356.6793 | 2592693.9772 | 1224357.1632
19 | 2592693.9772 | 1224357.1632 | 2592692.0364 | 1224334.7555
20 | 2592590.4569 | 1224346.4199 | 2592579.8145 | 1224376.5343
21 | 2592569.8494 | 1224402.4072 | 2592568.0351 | 1224406.9737
22 | 2592698.7075 | 1224356.6793 | 2592728.0369 | 1224353.7746
23 | 2592698.7075 | 1224356.6793 | 2592701.7284 | 1224382.3977
24 | 2592590.4569 | 1224346.4199 | 2592590.7837 | 1224345.4952
25 | 2592728.0369 | 1224353.7746 | 2592725.8716 | 1224335.4038
26 | 2592552.648 | 1224445.7029 | 2592546.9508 | 1224428.7566
27 | 2592552.648 | 1224445.7029 | 2592552.2979 | 1224456.6208 | 2592552.2941 | 1224456.6627
28 | 2592546.9508 | 1224428.7566 | 2592542.9679 | 1224416.9095
29 | 2592551.2736 | 1224467.9399 | 2592552.2941 | 1224456.6627
30 | 2592534.2401 | 1224385.7691 | 2592540.9878 | 1224409.8301 | 2592542.9679 | 1224416.9095
31 | 2592551.2736 | 1224467.9399 | 2592543.6556 | 1224463.0355 | 2592530.794 | 1224456.8012
32 | 2592534.2401 | 1224385.7691 | 2592533.1662 | 1224372.4553
33 | 2592534.2401 | 1224385.7691 | 2592514.0501 | 1224383.1762
34 | 2592590.7837 | 1224345.4952 | 2592595.4646 | 1224332.2496
35 | 2592600.3269 | 1224318.4909 | 2592595.4646 | 1224332.2496
36 | 2592600.3269 | 1224318.4909 | 2592589.5735 | 1224318.4331
37 | 2592600.3269 | 1224318.4909 | 2592610.1731 | 1224298.7999
38 | 2592563.9683 | 1224318.2956 | 2592589.5735 | 1224318.4331
39 | 2592615.0513 | 1224289.0441 | 2592610.1731 | 1224298.7999
40 | 2592563.9683 | 1224318.2956 | 2592561.7742 | 1224318.2838 | 2592537.5342 | 1224318.4441
41 | 2592615.0513 | 1224289.0441 | 2592619.4677 | 1224280.2127
42 | 2592615.0513 | 1224289.0441 | 2592639.9711 | 1224300.3529
43 | 2592526.4216 | 1224318.5176 | 2592537.5342 | 1224318.4441
44 | 2592624.3005 | 1224270.5484 | 2592619.4677 | 1224280.2127
45 | 2592639.9711 | 1224300.3529 | 2592651.8953 | 1224279.8987
46 | 2592639.9711 | 1224300.3529 | 2592639.0938 | 1224302.0661 | 2592640.4584 | 1224302.6892
47 | 2592533.1662 | 1224372.4553 | 2592531.2283 | 1224348.4289 | 2592530.7196 | 1224345.2629
48 | 2592529.5224 | 1224337.8134 | 2592530.7196 | 1224345.2629
49 | 2592498.3931 | 1224304.4836 | 2592496.9877 | 1224304.1842
50 | 2592522.5437 | 1224309.6284 | 2592498.3931 | 1224304.4836
51 | 2592522.5437 | 1224309.6284 | 2592526.4216 | 1224318.5176
52 | 2592522.5437 | 1224309.6284 | 2592517.7783 | 1224297.3408
53 | 2592526.4216 | 1224318.5176 | 2592529.5224 | 1224337.8134
54 | 2592517.7783 | 1224297.3408 | 2592513.8762 | 1224287.2791
55 | 2592509.6428 | 1224276.6056 | 2592511.826 | 1224281.9926 | 2592513.8762 | 1224287.2791
56 | 2592509.6428 | 1224276.6056 | 2592505.5345 | 1224266.4688
57 | 2592651.8953 | 1224279.8987 | 2592653.5285 | 1224277.0972
58 | 2592663.8772 | 1224259.3455 | 2592653.5285 | 1224277.0972
59 | 2592673.1532 | 1224243.4339 | 2592663.8772 | 1224259.3455
60 | 2592624.3005 | 1224270.5484 | 2592628.4101 | 1224262.3303
61 | 2592505.5345 | 1224266.4688 | 2592501.6406 | 1224256.8608
62 | 2592501.6406 | 1224256.8608 | 2592499.3605 | 1224251.235 | 2592496.5421 | 1224245.4697
63 | 2592628.4101 | 1224262.3303 | 2592633.1158 | 1224252.9201
64 | 2592644.6745 | 1224229.8059 | 2592633.1158 | 1224252.9201
65 | 2592644.6745 | 1224229.8059 | 2592633.6885 | 1224228.7764
66 | 2592644.6745 | 1224229.8059 | 2592653.5695 | 1224212.9183
67 | 2592628.1606 | 1224228.2585 | 2592633.6885 | 1224228.7764
68 | 2592653.5695 | 1224212.9183 | 2592676.4999 | 1224214.0428
69 | 2592653.5695 | 1224212.9183 | 2592656.6838 | 1224206.3964
70 | 2592622.4333 | 1224227.7218 | 2592628.1606 | 1224228.2585
71 | 2592594.1653 | 1224225.0729 | 2592582.009 | 1224223.9338
72 | 2592582.009 | 1224223.9338 | 2592574.8359 | 1224223.2616
73 | 2592570.5834 | 1224222.8632 | 2592574.8359 | 1224223.2616
74 | 2592560.6684 | 1224221.9341 | 2592570.5834 | 1224222.8632
75 | 2592734.9404 | 1224194.8792 | 2592756.591 | 1224194.6421
76 | 2592734.9404 | 1224194.8792 | 2592712.804 | 1224195.1216
77 | 2592691.1391 | 1224195.3589 | 2592712.804 | 1224195.1216
78 | 2592663.1203 | 1224192.9169 | 2592680.5843 | 1224195.4745 | 2592691.1391 | 1224195.3589
79 | 2592663.1203 | 1224192.9169 | 2592656.6838 | 1224206.3964
80 | 2592663.1203 | 1224192.9169 | 2592668.6748 | 1224185.2616
81 | 2592668.6748 | 1224185.2616 | 2592677.6971 | 1224172.8265
82 | 2592555.1581 | 1224221.4177 | 2592538.761 | 1224219.8812
83 | 2592555.1581 | 1224221.4177 | 2592560.5526 | 1224221.9232
84 | 2592538.761 | 1224219.8812 | 2592514.039 | 1224217.5646
85 | 2592560.6684 | 1224221.9341 | 2592560.5526 | 1224221.9232
86 | 2592500.4361 | 1224216.29 | 2592514.039 | 1224217.5646
87 | 2592481.9988 | 1224215.8587 | 2592487.8055 | 1224215.1064 | 2592500.4361 | 1224216.29
88 | 2592481.9988 | 1224215.8587 | 2592490.2843 | 1224232.669
89 | 2592481.9988 | 1224215.8587 | 2592477.5992 | 1224205.8202
90 | 2592490.2843 | 1224232.669 | 2592491.8594 | 1224235.8909
91 | 2592752.5188 | 1224217.7707 | 2592727.834 | 1224216.5602
92 | 2592727.834 | 1224216.5602 | 2592696.4728 | 1224215.0222
93 | 2592676.4999 | 1224214.0428 | 2592696.4728 | 1224215.0222
94 | 2592679.371 | 1224170.5195 | 2592677.6971 | 1224172.8265
95 | 2592683.4501 | 1224164.8976 | 2592679.371 | 1224170.5195
96 | 2592683.4501 | 1224164.8976 | 2592691.1964 | 1224155.8553
97 | 2592683.4501 | 1224164.8976 | 2592719.8626 | 1224165.2089
98 | 2592719.8626 | 1224165.2089 | 2592753.8533 | 1224165.4994
99 | 2592496.5421 | 1224245.4697 | 2592491.8594 | 1224235.8909
100 | 2592723.2023 | 1224312.7567 | 2592725.8716 | 1224335.4038
101 | 2592723.2023 | 1224312.7567 | 2592725.796 | 1224307.2836 | 2592732.8156 | 1224305.665
102 | 2592723.2023 | 1224312.7567 | 2592708.359 | 1224313.9869
103 | 2592706.3603 | 1224245.5115 | 2592724.5481 | 1224246.6494
104 | 2592706.3603 | 1224245.5115 | 2592688.9831 | 1224244.4243
105 | 2592724.5481 | 1224246.6494 | 2592736.0759 | 1224247.3706
106 | 2592688.1628 | 1224244.373 | 2592688.9831 | 1224244.4243
107 | 2592673.1532 | 1224243.4339 | 2592673.1532 | 1224243.4339 | 2592688.1628 | 1224244.373

## bus_geodata
| x | y | coords
0 | 2592699.0392 | 1224466.066
1 | 2592640.368 | 1224482.9854
2 | 2592603.4538 | 1224492.8779
3 | 2592532.0984 | 1224513.173
4 | 2592558.7054 | 1224535.5032
5 | 2592559.8061 | 1224548.6873
6 | 2592565.7477 | 1224520.4947
7 | 2592580.152 | 1224540.8348
8 | 2592583.6204 | 1224567.8573
9 | 2592567.0963 | 1224516.2814
10 | 2592583.953 | 1224579.1079
11 | 2592560.8083 | 1224477.8225
12 | 2592620.2687 | 1224379.2858
13 | 2592603.8889 | 1224382.0317
14 | 2592652.4131 | 1224373.2877
15 | 2592577.2853 | 1224383.6912
16 | 2592693.9772 | 1224357.1632
17 | 2592579.8145 | 1224376.5343
18 | 2592569.8494 | 1224402.4072
19 | 2592698.7075 | 1224356.6793
20 | 2592692.0364 | 1224334.7555
21 | 2592590.4569 | 1224346.4199
22 | 2592568.0351 | 1224406.9737
23 | 2592728.0369 | 1224353.7746
24 | 2592701.7284 | 1224382.3977
25 | 2592552.648 | 1224445.7029
26 | 2592546.9508 | 1224428.7566
27 | 2592552.2941 | 1224456.6627
28 | 2592542.9679 | 1224416.9095
29 | 2592551.2736 | 1224467.9399
30 | 2592534.2401 | 1224385.7691
31 | 2592530.794 | 1224456.8012
32 | 2592595.4646 | 1224332.2496
33 | 2592590.7837 | 1224345.4952
34 | 2592600.3269 | 1224318.4909
35 | 2592589.5735 | 1224318.4331
36 | 2592610.1731 | 1224298.7999
37 | 2592563.9683 | 1224318.2956
38 | 2592615.0513 | 1224289.0441
39 | 2592537.5342 | 1224318.4441
40 | 2592619.4677 | 1224280.2127
41 | 2592639.9711 | 1224300.3529
42 | 2592533.1662 | 1224372.4553
43 | 2592514.0501 | 1224383.1762
44 | 2592530.7196 | 1224345.2629
45 | 2592498.3932 | 1224304.4836
46 | 2592496.9877 | 1224304.1842
47 | 2592522.5437 | 1224309.6284
48 | 2592526.4216 | 1224318.5176
49 | 2592517.7783 | 1224297.3408
50 | 2592529.5224 | 1224337.8134
51 | 2592513.8762 | 1224287.2791
52 | 2592509.6428 | 1224276.6056
53 | 2592640.4584 | 1224302.6892
54 | 2592651.8953 | 1224279.8987
55 | 2592653.5285 | 1224277.0972
56 | 2592663.8772 | 1224259.3455
57 | 2592624.3005 | 1224270.5484
58 | 2592505.5345 | 1224266.4688
59 | 2592501.6406 | 1224256.8608
60 | 2592628.4101 | 1224262.3303
61 | 2592633.1158 | 1224252.9201
62 | 2592644.6745 | 1224229.8059
63 | 2592633.6885 | 1224228.7764
64 | 2592653.5695 | 1224212.9183
65 | 2592622.4333 | 1224227.7218
66 | 2592628.1606 | 1224228.2584
67 | 2592594.1653 | 1224225.0729
68 | 2592582.009 | 1224223.9338
69 | 2592574.8359 | 1224223.2616
70 | 2592570.5834 | 1224222.8632
71 | 2592734.9404 | 1224194.8792
72 | 2592756.591 | 1224194.6421
73 | 2592712.804 | 1224195.1216
74 | 2592691.1391 | 1224195.3589
75 | 2592663.1203 | 1224192.9169
76 | 2592656.6838 | 1224206.3964
77 | 2592668.6748 | 1224185.2616
78 | 2592555.1581 | 1224221.4177
79 | 2592538.761 | 1224219.8812
80 | 2592560.5526 | 1224221.9232
81 | 2592514.039 | 1224217.5646
82 | 2592560.6684 | 1224221.9341
83 | 2592500.4361 | 1224216.29
84 | 2592481.9988 | 1224215.8587
85 | 2592490.2843 | 1224232.669
86 | 2592477.5992 | 1224205.8202
87 | 2592752.5188 | 1224217.7707
88 | 2592727.834 | 1224216.5602
89 | 2592696.4728 | 1224215.0222
90 | 2592676.4999 | 1224214.0428
91 | 2592677.6971 | 1224172.8265
92 | 2592679.371 | 1224170.5195
93 | 2592683.4501 | 1224164.8976
94 | 2592691.1964 | 1224155.8553
95 | 2592719.8626 | 1224165.2089
96 | 2592753.8533 | 1224165.4994
97 | 2592491.8594 | 1224235.8909
98 | 2592496.5421 | 1224245.4697
99 | 2592725.8716 | 1224335.4038
100 | 2592732.8156 | 1224305.665
101 | 2592723.2023 | 1224312.7567
102 | 2592708.359 | 1224313.9869
103 | 2592706.3603 | 1224245.5115
104 | 2592724.5481 | 1224246.6494
105 | 2592688.9831 | 1224244.4243
106 | 2592736.0759 | 1224247.3706
107 | 2592688.1628 | 1224244.373
108 | 2592673.1532 | 1224243.4339
109 | 2592600.3269 | 1224318.4909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1