## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_393-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_393-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_393-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_393-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_393-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_393-3_0_4_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_393-3_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_393-3_0_4_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_393-3_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_393-3_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_393-3_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_393-3_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_393-3_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_393-3_0_4_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_393-3_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_393-3_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_393-3_0_4_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_393-3_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_393-3_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_393-3_0_4_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_393-3_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_393-3_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_393-3_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_393-3_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_393-3_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_393-3_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_393-3_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_393-3_0_4_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_393-3_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_393-3_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_393-3_0_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_393-3_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_393-3_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_393-3_0_4_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_393-3_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_393-3_0_4_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_393-3_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_393-3_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_393-3_0_4_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_393-3_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_393-3_0_4_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_393-3_0_4_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_393-3_0_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_393-3_0_4_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_393-3_0_4_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_393-3_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_393-3_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_393-3_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_393-3_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_393-3_0_4_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_393-3_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_393-3_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_393-3_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_393-3_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_393-3_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_393-3_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_393-3_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_393-3_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_393-3_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_393-3_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_393-3_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_393-3_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_393-3_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_393-3_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_393-3_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_393-3_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_393-3_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_393-3_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_393-3_0_4_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_393-3_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_393-3_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_393-3_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_393-3_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_393-3_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_393-3_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_393-3_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_393-3_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_393-3_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_393-3_0_4_node_78 | 0.4 | n |  | TRUE
79 | bus_MV_387_2_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_393-3_0_4_load_0 | 0 | 0.011553 | 0.0028956 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_393-3_0_4_load_1 | 1 | 0.011594 | 0.0029057 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_393-3_0_4_load_3 | 3 | 0.048965 | 0.012272 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_393-3_0_4_load_4 | 4 | 0.040776 | 0.010219 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_393-3_0_4_load_32 | 6 | 0.0080586 | 0.0020197 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_393-3_0_4_load_5 | 8 | 0.010943 | 0.0027426 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_393-3_0_4_load_6 | 9 | 0.019704 | 0.0049383 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_393-3_0_4_load_8 | 11 | 0.015296 | 0.0038336 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_393-3_0_4_load_10 | 12 | 0.00053665 | 0.0001345 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_393-3_0_4_load_9 | 14 | 0.00074796 | 0.00018746 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_393-3_0_4_load_19 | 15 | 0.0020246 | 0.00050741 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_393-3_0_4_load_71 | 16 | 0.00070699 | 0.00017719 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_393-3_0_4_load_22 | 17 | 0.078542 | 0.019685 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_393-3_0_4_load_72 | 19 | 0.00084818 | 0.00021257 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_393-3_0_4_load_11 | 20 | 0.0002203 | 5.5212e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_393-3_0_4_load_12 | 21 | 0.0036539 | 0.00091574 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_393-3_0_4_load_14 | 23 | 0.0010086 | 0.00025278 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_393-3_0_4_load_15 | 24 | 0.00048139 | 0.00012065 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_393-3_0_4_load_80 | 27 | 0.0035267 | 0.00088388 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_393-3_0_4_load_36 | 29 | 0.00065081 | 0.00016311 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_393-3_0_4_load_48 | 30 | 0.0035401 | 0.00088724 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_393-3_0_4_load_28 | 31 | 0.0015996 | 0.0004009 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_393-3_0_4_load_26 | 32 | 0.0014086 | 0.00035303 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_393-3_0_4_load_66 | 33 | 0.0036447 | 0.00091345 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_393-3_0_4_load_34 | 34 | 0.0018125 | 0.00045425 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_393-3_0_4_load_47 | 35 | 0.012004 | 0.0030084 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_393-3_0_4_load_33 | 36 | 0.00039252 | 9.8376e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_393-3_0_4_load_75 | 40 | 0.0010583 | 0.00026523 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_393-3_0_4_load_74 | 41 | 0.00091479 | 0.00022927 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_393-3_0_4_load_76 | 42 | 0.00084695 | 0.00021227 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_393-3_0_4_load_73 | 43 | 0.001351 | 0.00033859 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_393-3_0_4_load_45 | 45 | 0.0050924 | 0.0012763 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_393-3_0_4_load_29 | 46 | 0.00039001 | 9.7744e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_393-3_0_4_load_30 | 47 | 0.0011243 | 0.00028178 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_393-3_0_4_load_49 | 48 | 0.001504 | 0.00037695 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_393-3_0_4_load_79 | 49 | 0.0049906 | 0.0012508 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_393-3_0_4_load_35 | 50 | 0.001667 | 0.00041778 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_393-3_0_4_load_37 | 51 | 0.0020509 | 0.00051402 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_393-3_0_4_load_41 | 52 | 0.0018383 | 0.00046072 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_393-3_0_4_load_38 | 54 | 0.0022844 | 0.00057253 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_393-3_0_4_load_39 | 55 | 0.0016569 | 0.00041527 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_393-3_0_4_load_50 | 57 | 0.0012097 | 0.00030317 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_393-3_0_4_load_46 | 59 | 0.0049684 | 0.0012452 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_393-3_0_4_load_55 | 61 | 0.0013295 | 0.0003332 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_393-3_0_4_load_53 | 62 | 0.00085452 | 0.00021416 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_393-3_0_4_load_61 | 63 | 0.0044718 | 0.0011207 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_393-3_0_4_load_56 | 65 | 0.0032822 | 0.0008226 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_393-3_0_4_load_62 | 67 | 0.0028481 | 0.00071379 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_393-3_0_4_load_65 | 68 | 0.0013928 | 0.00034908 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_393-3_0_4_load_64 | 69 | 0.00052187 | 0.00013079 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_393-3_0_4_load_58 | 71 | 0.00095308 | 0.00023886 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_393-3_0_4_load_59 | 72 | 0.0018309 | 0.00045888 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_393-3_0_4_load_60 | 73 | 0.00094567 | 0.00023701 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_393-3_0_4_load_68 | 74 | 0.0012227 | 0.00030644 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_393-3_0_4_load_70 | 75 | 0.002019 | 0.00050601 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_393-3_0_4_load_69 | 76 | 0.0019304 | 0.0004838 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_393-3_0_4_load_78 | 78 | 0.00063657 | 0.00015954 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_393-3_0_4_line_0 |  | 0 | 1 | 0.0062556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_393-3_0_4_line_1 |  | 0 | 2 | 0.028974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_393-3_0_4_line_2 |  | 2 | 3 | 0.011699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_393-3_0_4_line_3 |  | 2 | 4 | 0.050503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_393-3_0_4_line_4 |  | 3 | 5 | 0.028646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_393-3_0_4_line_5 |  | 5 | 6 | 0.024857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_393-3_0_4_line_6 |  | 5 | 7 | 0.013018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_393-3_0_4_line_7 |  | 6 | 49 | 0.013011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_393-3_0_4_line_8 |  | 7 | 45 | 0.084201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_393-3_0_4_line_9 |  | 7 | 44 | 0.090287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_393-3_0_4_line_10 |  | 8 | 9 | 0.015635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_393-3_0_4_line_11 |  | 8 | 10 | 0.07159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_393-3_0_4_line_12 |  | 9 | 11 | 0.065654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_393-3_0_4_line_13 |  | 10 | 12 | 0.032001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_393-3_0_4_line_14 |  | 11 | 13 | 0.069337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_393-3_0_4_line_15 |  | 12 | 16 | 0.0089772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_393-3_0_4_line_16 |  | 13 | 17 | 0.047588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_393-3_0_4_line_17 |  | 14 | 15 | 0.022461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_393-3_0_4_line_18 |  | 15 | 18 | 0.017021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_393-3_0_4_line_19 |  | 16 | 19 | 0.016794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_393-3_0_4_line_20 |  | 17 | 44 | 0.026862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_393-3_0_4_line_21 |  | 18 | 39 | 0.034516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_393-3_0_4_line_22 |  | 18 | 26 | 0.012967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_393-3_0_4_line_23 |  | 19 | 43 | 0.0064928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_393-3_0_4_line_24 |  | 20 | 21 | 0.046887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_393-3_0_4_line_25 |  | 20 | 22 | 0.050819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_393-3_0_4_line_26 |  | 21 | 23 | 0.023839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_393-3_0_4_line_27 |  | 22 | 24 | 0.01831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_393-3_0_4_line_28 |  | 22 | 25 | 0.026188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_393-3_0_4_line_29 |  | 23 | 26 | 0.017941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_393-3_0_4_line_30 |  | 24 | 27 | 0.059405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_393-3_0_4_line_31 |  | 25 | 31 | 0.013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_393-3_0_4_line_32 |  | 25 | 32 | 0.025531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_393-3_0_4_line_33 |  | 25 | 28 | 0.025317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_393-3_0_4_line_34 |  | 26 | 33 | 0.0092616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_393-3_0_4_line_35 |  | 28 | 29 | 0.009005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_393-3_0_4_line_36 |  | 28 | 30 | 0.03264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_393-3_0_4_line_37 |  | 29 | 34 | 0.031747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_393-3_0_4_line_38 |  | 30 | 35 | 0.089932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_393-3_0_4_line_39 |  | 31 | 36 | 0.0075671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_393-3_0_4_line_40 |  | 32 | 37 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_393-3_0_4_line_41 |  | 33 | 38 | 0.059562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_393-3_0_4_line_42 |  | 34 | 50 | 0.036425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_393-3_0_4_line_43 |  | 35 | 59 | 0.0058894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_393-3_0_4_line_44 |  | 37 | 46 | 0.030041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_393-3_0_4_line_45 |  | 37 | 47 | 0.016347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_393-3_0_4_line_46 |  | 38 | 74 | 0.032914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_393-3_0_4_line_47 |  | 39 | 40 | 0.025469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_393-3_0_4_line_48 |  | 39 | 41 | 0.01363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_393-3_0_4_line_49 |  | 40 | 42 | 0.030778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_393-3_0_4_line_50 |  | 41 | 43 | 0.020821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_393-3_0_4_line_51 |  | 42 | 77 | 0.031407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_393-3_0_4_line_52 |  | 46 | 48 | 0.018423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_393-3_0_4_line_53 |  | 50 | 51 | 0.00037046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_393-3_0_4_line_54 |  | 51 | 52 | 0.028234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_393-3_0_4_line_55 |  | 52 | 53 | 0.05664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_393-3_0_4_line_56 |  | 53 | 56 | 0.077757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_393-3_0_4_line_57 |  | 53 | 54 | 0.053343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_393-3_0_4_line_58 |  | 54 | 55 | 0.022822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_393-3_0_4_line_59 |  | 56 | 57 | 0.078878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_393-3_0_4_line_60 |  | 57 | 58 | 0.021587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_393-3_0_4_line_61 |  | 58 | 60 | 0.038519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_393-3_0_4_line_62 |  | 60 | 61 | 0.022791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_393-3_0_4_line_63 |  | 60 | 62 | 0.04487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_393-3_0_4_line_64 |  | 61 | 63 | 0.010087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_393-3_0_4_line_65 |  | 62 | 64 | 0.043951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_393-3_0_4_line_66 |  | 64 | 65 | 0.029664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_393-3_0_4_line_67 |  | 64 | 66 | 0.053308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_393-3_0_4_line_68 |  | 65 | 67 | 0.028547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_393-3_0_4_line_69 |  | 66 | 68 | 0.009909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_393-3_0_4_line_70 |  | 66 | 69 | 0.022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_393-3_0_4_line_71 |  | 67 | 70 | 0.10949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_393-3_0_4_line_72 |  | 70 | 73 | 0.089411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_393-3_0_4_line_73 |  | 71 | 72 | 0.024717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_393-3_0_4_line_74 |  | 72 | 73 | 0.027656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_393-3_0_4_line_75 |  | 74 | 75 | 0.014895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_393-3_0_4_line_76 |  | 75 | 76 | 0.0048243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_393-3_0_4_line_77 |  | 77 | 78 | 0.033927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_393-3_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 79 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2597591.8482 | 1222754.2287 | 2597596.7558 | 1222758.1079
1 | 2597569.1175 | 1222736.2611 | 2597591.8482 | 1222754.2287
2 | 2597569.1175 | 1222736.2611 | 2597562.5203 | 1222745.922
3 | 2597569.1175 | 1222736.2611 | 2597587.0571 | 1222710.572 | 2597598.033 | 1222694.8554
4 | 2597546.3657 | 1222769.5789 | 2597562.5203 | 1222745.922
5 | 2597546.3657 | 1222769.5789 | 2597565.8958 | 1222784.9555
6 | 2597546.3657 | 1222769.5789 | 2597538.4984 | 1222779.966
7 | 2597565.8958 | 1222784.9555 | 2597576.1189 | 1222793.0043
8 | 2597538.4984 | 1222779.966 | 2597513.601 | 1222760.9879 | 2597472.5211 | 1222727.6665
9 | 2597484.2999 | 1222852.2756 | 2597488.8623 | 1222845.7143 | 2597538.4984 | 1222779.966
10 | 2597327.4567 | 1222810.4162 | 2597339.0509 | 1222820.9062
11 | 2597274.3704 | 1222762.3853 | 2597327.4567 | 1222810.4162
12 | 2597339.0509 | 1222820.9062 | 2597387.7357 | 1222864.9547
13 | 2597274.3704 | 1222762.3853 | 2597254.5878 | 1222784.5519 | 2597252.8343 | 1222783.0787
14 | 2597439.1515 | 1222911.4742 | 2597387.7357 | 1222864.9547
15 | 2597245.961 | 1222777.3039 | 2597252.8343 | 1222783.0787
16 | 2597439.1515 | 1222911.4742 | 2597468.01 | 1222873.6349
17 | 2597243.9984 | 1222734.7599 | 2597227.3823 | 1222719.6464
18 | 2597214.7906 | 1222708.1934 | 2597227.3823 | 1222719.6464
19 | 2597245.961 | 1222777.3039 | 2597233.1027 | 1222766.5005
20 | 2597484.2999 | 1222852.2756 | 2597468.01 | 1222873.6349
21 | 2597214.7906 | 1222708.1934 | 2597201.7546 | 1222740.1626
22 | 2597203.7455 | 1222701.3503 | 2597208.0012 | 1222703.9053 | 2597211.4907 | 1222706.0493 | 2597214.7906 | 1222708.1934
23 | 2597228.1315 | 1222762.3239 | 2597233.1027 | 1222766.5005
24 | 2597250.8535 | 1222626.3744 | 2597247.7967 | 1222632.8229 | 2597244.6905 | 1222639.3726 | 2597241.6213 | 1222644.0101 | 2597226.7727 | 1222666.4894
25 | 2597267.2616 | 1222579.1382 | 2597267.4469 | 1222586.1533 | 2597265.5709 | 1222596.2711 | 2597258.9034 | 1222609.393 | 2597250.8535 | 1222626.3744
26 | 2597226.7727 | 1222666.4894 | 2597213.6339 | 1222686.3803
27 | 2597267.2616 | 1222579.1382 | 2597248.9557 | 1222578.7582
28 | 2597265.4595 | 1222553.0128 | 2597266.2233 | 1222564.5191 | 2597267.2616 | 1222579.1382
29 | 2597203.7455 | 1222701.3503 | 2597213.6339 | 1222686.3803
30 | 2597248.9557 | 1222578.7582 | 2597194.7265 | 1222603.0089
31 | 2597265.4595 | 1222553.0128 | 2597253.9391 | 1222551.862 | 2597252.2437 | 1222551.0336
32 | 2597265.4595 | 1222553.0128 | 2597264.0146 | 1222544.7643 | 2597265.0049 | 1222537.971 | 2597268.8913 | 1222528.4407
33 | 2597265.4595 | 1222553.0128 | 2597266.2233 | 1222564.5191 | 2597269.909 | 1222564.4507 | 2597275.1738 | 1222567.8835 | 2597278.1553 | 1222570.2613
34 | 2597203.7455 | 1222701.3503 | 2597199.2085 | 1222709.4245
35 | 2597278.1553 | 1222570.2613 | 2597278.1455 | 1222561.2563
36 | 2597278.1553 | 1222570.2613 | 2597303.6616 | 1222590.6271
37 | 2597282.0741 | 1222530.0808 | 2597278.2258 | 1222542.7675 | 2597278.142 | 1222557.9541 | 2597278.1455 | 1222561.2563
38 | 2597373.4696 | 1222647.2875 | 2597353.3684 | 1222629.7719 | 2597317.2719 | 1222601.4944 | 2597303.6616 | 1222590.6271
39 | 2597252.2437 | 1222551.0336 | 2597245.445 | 1222547.7112
40 | 2597276.7395 | 1222510.6497 | 2597272.2013 | 1222520.3241 | 2597268.8913 | 1222528.4407
41 | 2597179.5925 | 1222765.4102 | 2597193.1224 | 1222720.2552 | 2597199.2085 | 1222709.4245
42 | 2597282.0741 | 1222530.0808 | 2597282.8297 | 1222527.5899 | 2597286.7372 | 1222515.3032 | 2597292.3292 | 1222504.9057 | 2597296.998 | 1222497.0676
43 | 2597373.4696 | 1222647.2875 | 2597376.1818 | 1222649.6508 | 2597377.9866 | 1222651.0637
44 | 2597276.7395 | 1222510.6497 | 2597252.0472 | 1222496.5198 | 2597251.4859 | 1222495.03
45 | 2597276.7395 | 1222510.6497 | 2597284.8107 | 1222496.4341
46 | 2597179.5925 | 1222765.4102 | 2597155.1972 | 1222743.3141
47 | 2597201.7546 | 1222740.1626 | 2597194.174 | 1222764.4772
48 | 2597201.7546 | 1222740.1626 | 2597212.19 | 1222748.9301
49 | 2597194.174 | 1222764.4772 | 2597188.5569 | 1222782.4935 | 2597185.5253 | 1222794.0072
50 | 2597228.1315 | 1222762.3239 | 2597212.19 | 1222748.9301
51 | 2597177.5281 | 1222824.3786 | 2597185.5253 | 1222794.0072
52 | 2597256.9019 | 1222478.5231 | 2597252.247 | 1222485.9803 | 2597250.2172 | 1222491.6623 | 2597251.4859 | 1222495.03
53 | 2597297.1875 | 1222496.7494 | 2597296.998 | 1222497.0676
54 | 2597311.4209 | 1222472.417 | 2597307.9934 | 1222479.6394 | 2597300.6953 | 1222490.8603 | 2597297.1875 | 1222496.7494
55 | 2597346.1181 | 1222430.56 | 2597331.5827 | 1222437.4485 | 2597326.7166 | 1222443.3986 | 2597321.1917 | 1222451.8283 | 2597311.4209 | 1222472.417
56 | 2597346.1181 | 1222430.56 | 2597353.5488 | 1222427.1769 | 2597362.8229 | 1222424.7824 | 2597371.2412 | 1222424.7119 | 2597379.6286 | 1222423.6519 | 2597386.5807 | 1222418.3457 | 2597390.3547 | 1222411.9625 | 2597400.6121 | 1222386.8767
57 | 2597346.1181 | 1222430.56 | 2597352.5585 | 1222450.6243 | 2597363.3491 | 1222481.0369
58 | 2597363.3491 | 1222481.0369 | 2597363.3491 | 1222481.0369 | 2597353.432 | 1222501.591
59 | 2597400.6121 | 1222386.8767 | 2597469.5126 | 1222425.2761
60 | 2597487.7897 | 1222436.7004 | 2597479.824 | 1222431.0228 | 2597469.5126 | 1222425.2761
61 | 2597515.225 | 1222463.7819 | 2597501.3704 | 1222449.1683 | 2597487.7897 | 1222436.7004
62 | 2597515.225 | 1222463.7819 | 2597502.2216 | 1222482.4993
63 | 2597515.225 | 1222463.7819 | 2597543.962 | 1222498.2424
64 | 2597496.4664 | 1222490.7834 | 2597502.2216 | 1222482.4993
65 | 2597572.1105 | 1222531.9972 | 2597543.962 | 1222498.2424
66 | 2597572.1105 | 1222531.9972 | 2597592.9453 | 1222510.8814
67 | 2597572.1105 | 1222531.9972 | 2597592.7107 | 1222556.0136 | 2597585.3878 | 1222563.3209 | 2597576.2673 | 1222570.0286
68 | 2597592.9453 | 1222510.8814 | 2597596.1109 | 1222507.6731 | 2597611.8273 | 1222489.4819
69 | 2597567.8319 | 1222564.8291 | 2597572.247 | 1222567.929 | 2597576.2673 | 1222570.0286
70 | 2597576.2673 | 1222570.0286 | 2597572.0526 | 1222574.7219 | 2597570.7514 | 1222582.1268 | 2597568.7447 | 1222589.3318 | 2597568.0508 | 1222590.5561
71 | 2597611.8273 | 1222489.4819 | 2597672.0269 | 1222398.023
72 | 2597672.0269 | 1222398.023 | 2597721.5696 | 1222472.4536
73 | 2597750.589 | 1222516.051 | 2597736.8935 | 1222495.4755
74 | 2597721.5696 | 1222472.4536 | 2597736.8935 | 1222495.4755
75 | 2597155.1972 | 1222743.3141 | 2597144.1577 | 1222733.3151
76 | 2597140.5821 | 1222730.0764 | 2597144.1577 | 1222733.3151
77 | 2597177.5281 | 1222824.3786 | 2597205.5583 | 1222843.4923

## bus_geodata
| x | y | coords
0 | 2597591.8482 | 1222754.2287
1 | 2597596.7558 | 1222758.1079
2 | 2597569.1175 | 1222736.2611
3 | 2597562.5203 | 1222745.922
4 | 2597598.033 | 1222694.8554
5 | 2597546.3657 | 1222769.5789
6 | 2597565.8958 | 1222784.9555
7 | 2597538.4984 | 1222779.966
8 | 2597327.4567 | 1222810.4162
9 | 2597339.0509 | 1222820.9062
10 | 2597274.3704 | 1222762.3853
11 | 2597387.7357 | 1222864.9547
12 | 2597252.8343 | 1222783.0787
13 | 2597439.1515 | 1222911.4742
14 | 2597243.9984 | 1222734.7599
15 | 2597227.3823 | 1222719.6464
16 | 2597245.961 | 1222777.3039
17 | 2597468.01 | 1222873.6349
18 | 2597214.7906 | 1222708.1934
19 | 2597233.1027 | 1222766.5005
20 | 2597250.8535 | 1222626.3744
21 | 2597226.7727 | 1222666.4894
22 | 2597267.2616 | 1222579.1382
23 | 2597213.6339 | 1222686.3803
24 | 2597248.9557 | 1222578.7582
25 | 2597265.4595 | 1222553.0128
26 | 2597203.7455 | 1222701.3503
27 | 2597194.7265 | 1222603.0089
28 | 2597278.1553 | 1222570.2613
29 | 2597278.1455 | 1222561.2563
30 | 2597303.6616 | 1222590.6271
31 | 2597252.2437 | 1222551.0336
32 | 2597268.8913 | 1222528.4407
33 | 2597199.2085 | 1222709.4245
34 | 2597282.0741 | 1222530.0808
35 | 2597373.4696 | 1222647.2875
36 | 2597245.445 | 1222547.7112
37 | 2597276.7395 | 1222510.6497
38 | 2597179.5925 | 1222765.4102
39 | 2597201.7546 | 1222740.1626
40 | 2597194.174 | 1222764.4772
41 | 2597212.19 | 1222748.9301
42 | 2597185.5253 | 1222794.0072
43 | 2597228.1315 | 1222762.3239
44 | 2597484.2999 | 1222852.2756
45 | 2597472.5211 | 1222727.6665
46 | 2597251.4859 | 1222495.03
47 | 2597284.8107 | 1222496.4341
48 | 2597256.9019 | 1222478.5231
49 | 2597576.1189 | 1222793.0043
50 | 2597296.998 | 1222497.0676
51 | 2597297.1875 | 1222496.7494
52 | 2597311.4209 | 1222472.417
53 | 2597346.1181 | 1222430.56
54 | 2597363.3491 | 1222481.0369
55 | 2597353.432 | 1222501.591
56 | 2597400.6121 | 1222386.8767
57 | 2597469.5126 | 1222425.2761
58 | 2597487.7897 | 1222436.7004
59 | 2597377.9866 | 1222651.0637
60 | 2597515.225 | 1222463.7819
61 | 2597502.2216 | 1222482.4993
62 | 2597543.962 | 1222498.2424
63 | 2597496.4664 | 1222490.7834
64 | 2597572.1105 | 1222531.9972
65 | 2597592.9453 | 1222510.8814
66 | 2597576.2673 | 1222570.0286
67 | 2597611.8273 | 1222489.4819
68 | 2597567.8319 | 1222564.8291
69 | 2597568.0508 | 1222590.5561
70 | 2597672.0269 | 1222398.023
71 | 2597750.589 | 1222516.051
72 | 2597736.8935 | 1222495.4755
73 | 2597721.5696 | 1222472.4536
74 | 2597155.1972 | 1222743.3141
75 | 2597144.1577 | 1222733.3151
76 | 2597140.5821 | 1222730.0764
77 | 2597177.5281 | 1222824.3786
78 | 2597205.5583 | 1222843.4923
79 | 2597538.4984 | 1222779.966

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1