## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4009-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4009-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4009-6_0_5_node_69 | 0.4 | n |  | TRUE
3 | bus_LV_4009-6_0_5_node_70 | 0.4 | n |  | TRUE
4 | bus_LV_4009-6_0_5_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_4009-6_0_5_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_4009-6_0_5_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_4009-6_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4009-6_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4009-6_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4009-6_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4009-6_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4009-6_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4009-6_0_5_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_4009-6_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4009-6_0_5_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_4009-6_0_5_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_4009-6_0_5_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_4009-6_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4009-6_0_5_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_4009-6_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4009-6_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4009-6_0_5_node_87 | 0.4 | n |  | TRUE
23 | bus_LV_4009-6_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4009-6_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_4009-6_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4009-6_0_5_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4009-6_0_5_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_4009-6_0_5_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_4009-6_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4009-6_0_5_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_4009-6_0_5_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_4009-6_0_5_node_80 | 0.4 | n |  | TRUE
33 | bus_LV_4009-6_0_5_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_4009-6_0_5_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_4009-6_0_5_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_4009-6_0_5_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_4009-6_0_5_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_4009-6_0_5_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_4009-6_0_5_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_4009-6_0_5_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_4009-6_0_5_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_4009-6_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_4009-6_0_5_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_4009-6_0_5_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_4009-6_0_5_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_4009-6_0_5_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_4009-6_0_5_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_4009-6_0_5_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_4009-6_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4009-6_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_4009-6_0_5_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_4009-6_0_5_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_4009-6_0_5_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_4009-6_0_5_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_4009-6_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_4009-6_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_4009-6_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4009-6_0_5_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4009-6_0_5_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_4009-6_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_4009-6_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_4009-6_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_4009-6_0_5_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_4009-6_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_4009-6_0_5_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_4009-6_0_5_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_4009-6_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_4009-6_0_5_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_4009-6_0_5_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_4009-6_0_5_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_4009-6_0_5_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_4009-6_0_5_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_4009-6_0_5_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_4009-6_0_5_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_4009-6_0_5_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_4009-6_0_5_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_4009-6_0_5_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_4009-6_0_5_node_74 | 0.4 | n |  | TRUE
79 | bus_MV_419_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4009-6_0_5_load_0 | 0 | 0.0018634 | 0.00046702 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4009-6_0_5_load_70 | 3 | 0.0013389 | 0.00033556 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4009-6_0_5_load_68 | 4 | 0.00066123 | 0.00016572 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4009-6_0_5_load_24 | 5 | 0.002737 | 0.00068596 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4009-6_0_5_load_4 | 7 | 0.031315 | 0.0078482 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4009-6_0_5_load_5 | 8 | 0.010308 | 0.0025834 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4009-6_0_5_load_42 | 15 | 0.0013538 | 0.00033928 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4009-6_0_5_load_83 | 16 | 0.03341 | 0.0083733 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4009-6_0_5_load_55 | 17 | 0.0026749 | 0.00067041 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4009-6_0_5_load_26 | 19 | 0.0014247 | 0.00035707 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4009-6_0_5_load_87 | 22 | 0.015004 | 0.0037603 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4009-6_0_5_load_20 | 24 | 0.020805 | 0.0052143 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4009-6_0_5_load_15 | 25 | 0.010148 | 0.0025434 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4009-6_0_5_load_39 | 28 | 0.018116 | 0.0045403 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4009-6_0_5_load_21 | 29 | 0.0082289 | 0.0020624 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4009-6_0_5_load_43 | 30 | 0.0082985 | 0.0020798 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4009-6_0_5_load_78 | 33 | 0.027612 | 0.0069202 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4009-6_0_5_load_82 | 36 | 0.025727 | 0.0064477 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4009-6_0_5_load_54 | 38 | 0.0080118 | 0.0020079 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4009-6_0_5_load_23 | 42 | 0.051897 | 0.013007 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4009-6_0_5_load_76 | 43 | 0.0014828 | 0.00037162 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4009-6_0_5_load_57 | 44 | 0.038518 | 0.0096536 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4009-6_0_5_load_58 | 45 | 0.023899 | 0.0059897 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4009-6_0_5_load_56 | 48 | 0.002931 | 0.00073458 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4009-6_0_5_load_27 | 50 | 0.0035227 | 0.00088288 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4009-6_0_5_load_30 | 53 | 0.0032843 | 0.00082313 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4009-6_0_5_load_47 | 56 | 0.0017532 | 0.00043939 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4009-6_0_5_load_40 | 57 | 0.023335 | 0.0058484 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4009-6_0_5_load_45 | 58 | 0.0056437 | 0.0014145 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4009-6_0_5_load_34 | 59 | 0.0018696 | 0.00046857 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4009-6_0_5_load_44 | 60 | 0.0016313 | 0.00040884 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4009-6_0_5_load_46 | 61 | 0.00257 | 0.0006441 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4009-6_0_5_load_49 | 64 | 0.0073358 | 0.0018385 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4009-6_0_5_load_86 | 65 | 0.019143 | 0.0047976 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4009-6_0_5_load_67 | 68 | 0.00093396 | 0.00023407 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4009-6_0_5_load_64 | 69 | 0.0065784 | 0.0016487 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4009-6_0_5_load_60 | 71 | 0.00049591 | 0.00012429 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4009-6_0_5_load_62 | 73 | 0.00073763 | 0.00018487 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4009-6_0_5_load_63 | 74 | 0.0010927 | 0.00027386 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4009-6_0_5_load_71 | 75 | 0.0014975 | 0.00037531 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4009-6_0_5_load_72 | 77 | 0.0014496 | 0.00036331 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4009-6_0_5_load_74 | 78 | 0.0017594 | 0.00044096 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4009-6_0_5_line_0 |  | 0 | 1 | 0.17448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4009-6_0_5_line_1 |  | 1 | 2 | 0.20532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4009-6_0_5_line_2 |  | 2 | 3 | 0.019113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4009-6_0_5_line_3 |  | 2 | 4 | 0.034831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4009-6_0_5_line_4 |  | 3 | 78 | 0.041593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4009-6_0_5_line_5 |  | 5 | 6 | 0.028764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4009-6_0_5_line_6 |  | 6 | 42 | 0.04626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4009-6_0_5_line_7 |  | 6 | 29 | 0.1287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_4009-6_0_5_line_8 |  | 7 | 8 | 0.052436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_4009-6_0_5_line_9 |  | 7 | 9 | 0.036983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4009-6_0_5_line_10 |  | 8 | 10 | 0.050573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_4009-6_0_5_line_11 |  | 9 | 11 | 0.022637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_4009-6_0_5_line_12 |  | 9 | 12 | 0.060023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4009-6_0_5_line_13 |  | 10 | 13 | 0.050167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4009-6_0_5_line_14 |  | 11 | 14 | 0.023737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4009-6_0_5_line_15 |  | 11 | 15 | 0.01833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4009-6_0_5_line_16 |  | 12 | 16 | 0.0039934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4009-6_0_5_line_17 |  | 13 | 29 | 0.012522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4009-6_0_5_line_18 |  | 14 | 17 | 0.012763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4009-6_0_5_line_19 |  | 15 | 30 | 0.023788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4009-6_0_5_line_20 |  | 16 | 34 | 0.015257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4009-6_0_5_line_21 |  | 17 | 37 | 0.034331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4009-6_0_5_line_22 |  | 18 | 19 | 0.036865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4009-6_0_5_line_23 |  | 19 | 24 | 0.036202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4009-6_0_5_line_24 |  | 20 | 21 | 0.033802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4009-6_0_5_line_25 |  | 20 | 22 | 0.020238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4009-6_0_5_line_26 |  | 21 | 39 | 0.025754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4009-6_0_5_line_27 |  | 22 | 40 | 0.0012444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4009-6_0_5_line_28 |  | 23 | 24 | 0.021517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_4009-6_0_5_line_29 |  | 23 | 25 | 0.022292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4009-6_0_5_line_30 |  | 25 | 39 | 0.035524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4009-6_0_5_line_31 |  | 26 | 27 | 0.011316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4009-6_0_5_line_32 |  | 26 | 28 | 0.050867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4009-6_0_5_line_33 |  | 27 | 48 | 0.0032729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4009-6_0_5_line_34 |  | 27 | 49 | 0.005789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4009-6_0_5_line_35 |  | 31 | 32 | 0.01587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4009-6_0_5_line_36 |  | 31 | 33 | 0.002155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4009-6_0_5_line_37 |  | 32 | 65 | 0.010433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4009-6_0_5_line_38 |  | 32 | 35 | 0.041475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_4009-6_0_5_line_39 |  | 34 | 40 | 0.01328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4009-6_0_5_line_40 |  | 34 | 65 | 0.010117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4009-6_0_5_line_41 |  | 35 | 36 | 0.0083725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4009-6_0_5_line_42 |  | 36 | 66 | 0.017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4009-6_0_5_line_43 |  | 37 | 38 | 0.025179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4009-6_0_5_line_44 |  | 38 | 62 | 0.01846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_4009-6_0_5_line_45 |  | 39 | 41 | 0.064401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4009-6_0_5_line_46 |  | 41 | 43 | 0.01801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4009-6_0_5_line_47 |  | 43 | 46 | 0.05216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4009-6_0_5_line_48 |  | 44 | 45 | 0.0052471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4009-6_0_5_line_49 |  | 45 | 67 | 0.024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4009-6_0_5_line_50 |  | 46 | 47 | 0.3456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4009-6_0_5_line_51 |  | 47 | 77 | 0.053441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4009-6_0_5_line_52 |  | 48 | 54 | 0.028267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4009-6_0_5_line_53 |  | 49 | 59 | 0.022351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4009-6_0_5_line_54 |  | 50 | 51 | 0.031258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4009-6_0_5_line_55 |  | 50 | 52 | 0.032859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4009-6_0_5_line_56 |  | 51 | 53 | 0.021425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4009-6_0_5_line_57 |  | 51 | 54 | 0.027465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4009-6_0_5_line_58 |  | 52 | 55 | 0.008343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4009-6_0_5_line_59 |  | 53 | 56 | 0.020722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4009-6_0_5_line_60 |  | 55 | 57 | 0.0075317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4009-6_0_5_line_61 |  | 56 | 58 | 0.05564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4009-6_0_5_line_62 |  | 58 | 60 | 0.037469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_4009-6_0_5_line_63 |  | 60 | 61 | 0.020473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4009-6_0_5_line_64 |  | 61 | 62 | 0.025042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_4009-6_0_5_line_65 |  | 62 | 63 | 0.03596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4009-6_0_5_line_66 |  | 63 | 64 | 0.017535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4009-6_0_5_line_67 |  | 66 | 70 | 0.003805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4009-6_0_5_line_68 |  | 67 | 68 | 0.019615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4009-6_0_5_line_69 |  | 67 | 69 | 0.0062302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4009-6_0_5_line_70 |  | 68 | 70 | 0.027534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4009-6_0_5_line_71 |  | 71 | 72 | 0.027595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4009-6_0_5_line_72 |  | 72 | 73 | 0.051688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4009-6_0_5_line_73 |  | 72 | 74 | 0.011655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4009-6_0_5_line_74 |  | 73 | 75 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4009-6_0_5_line_75 |  | 74 | 76 | 0.032449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4009-6_0_5_line_76 |  | 75 | 77 | 0.030851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4009-6_0_5_line_77 |  | 76 | 78 | 0.020028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4009-6_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 79 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2645878.8969 | 1242557.0891 | 2645965.5577 | 1242552.2782 | 2646053.2394 | 1242552.8776
1 | 2645784.6905 | 1242739.5261 | 2645878.8969 | 1242557.0891
2 | 2645784.6905 | 1242739.5261 | 2645792.4985 | 1242756.9718
3 | 2645784.6905 | 1242739.5261 | 2645765.9742 | 1242747.5538 | 2645752.4992 | 1242752.8153
4 | 2645810.1088 | 1242794.6509 | 2645796.8244 | 1242766.6374 | 2645792.4985 | 1242756.9718
5 | 2646421.6203 | 1242826.283 | 2646421.108 | 1242821.2312 | 2646420.1824 | 1242812.9852 | 2646416.8897 | 1242797.9535
6 | 2646421.6203 | 1242826.283 | 2646422.8055 | 1242829.3609 | 2646428.6972 | 1242835.6556 | 2646436.6995 | 1242839.7875 | 2646460.2905 | 1242849.2894
7 | 2646421.6203 | 1242826.283 | 2646430.2656 | 1242826.4729 | 2646441.7221 | 1242824.8059 | 2646452.3019 | 1242823.1319 | 2646474.3526 | 1242818.9239 | 2646492.6358 | 1242817.088 | 2646501.8878 | 1242816.0598 | 2646508.4866 | 1242816.9899 | 2646517.259 | 1242821.228 | 2646522.9202 | 1242828.9552 | 2646525.7107 | 1242838.4166 | 2646525.7711 | 1242850.1956
8 | 2646506.2939 | 1242956.3957 | 2646501.1999 | 1242970.4225 | 2646494.2938 | 1242972.0695 | 2646490.5272 | 1242973.3742 | 2646488.8992 | 1242975.6852 | 2646481.1528 | 1242996.8051 | 2646480.7689 | 1242997.8403
9 | 2646486.5429 | 1243024.6545 | 2646473.0751 | 1243018.7452 | 2646473.8022 | 1243016.6273 | 2646480.7689 | 1242997.8403
10 | 2646521.8748 | 1242908.3214 | 2646518.7787 | 1242920.494 | 2646511.5436 | 1242941.9403 | 2646506.2939 | 1242956.3957
11 | 2646502.5658 | 1243018.9206 | 2646496.0506 | 1243017.0017 | 2646491.5177 | 1243015.7765 | 2646489.2172 | 1243023.8527 | 2646486.5429 | 1243024.6545
12 | 2646459.2456 | 1243058.0739 | 2646481.2705 | 1243061.8821 | 2646481.7491 | 1243055.7707 | 2646484.1858 | 1243034.1645 | 2646486.5429 | 1243024.6545
13 | 2646524.1988 | 1242862.5429 | 2646517.2257 | 1242907.4399 | 2646521.8748 | 1242908.3214
14 | 2646497.6449 | 1243042.1418 | 2646498.9306 | 1243036.248 | 2646502.5658 | 1243018.9206
15 | 2646502.5658 | 1243018.9206 | 2646505.3604 | 1243007.5906 | 2646507.5022 | 1243001.2834
16 | 2646459.2456 | 1243058.0739 | 2646455.3108 | 1243057.3927
17 | 2646524.1988 | 1242862.5429 | 2646525.7974 | 1242855.3173 | 2646525.7711 | 1242850.1956
18 | 2646497.6449 | 1243042.1418 | 2646509.2427 | 1243047.4694
19 | 2646507.5022 | 1243001.2834 | 2646515.151 | 1242978.7582
20 | 2646440.2777 | 1243054.7901 | 2646455.3108 | 1243057.3927
21 | 2646512.1308 | 1243077.2561 | 2646512.8415 | 1243068.5448 | 2646508.1046 | 1243068.2853 | 2646509.2427 | 1243047.4694
22 | 2646460.3107 | 1242961.6078 | 2646465.7866 | 1242947.6192 | 2646454.5426 | 1242947.2643 | 2646444.5242 | 1242950.7067
23 | 2646444.5242 | 1242950.7067 | 2646437.8696 | 1242952.9933 | 2646422.3925 | 1242962.3673 | 2646416.9453 | 1242972.0059
24 | 2646434.3026 | 1243025.3796 | 2646417.5898 | 1243022.6916 | 2646400.8316 | 1243020.0033
25 | 2646434.3026 | 1243025.3796 | 2646430.5228 | 1243045.2618
26 | 2646400.8316 | 1243020.0033 | 2646375.6471 | 1243014.2806
27 | 2646430.2904 | 1243046.4843 | 2646430.5228 | 1243045.2618
28 | 2646406.3588 | 1242990.7384 | 2646416.9453 | 1242972.0059
29 | 2646406.3588 | 1242990.7384 | 2646386.5684 | 1242980.477
30 | 2646375.6471 | 1243014.2806 | 2646386.5684 | 1242980.477
31 | 2646559.8193 | 1242861.866 | 2646549.1081 | 1242858.124
32 | 2646549.1081 | 1242858.124 | 2646547.1037 | 1242857.3523 | 2646534.9933 | 1242857.5797 | 2646533.7971 | 1242826.0274 | 2646533.6551 | 1242821.0008 | 2646533.6548 | 1242820.9975
33 | 2646559.8193 | 1242861.866 | 2646558.5407 | 1242864.8788
34 | 2646559.8193 | 1242861.866 | 2646561.7592 | 1242856.411
35 | 2646439.3386 | 1243075.3185 | 2646455.192 | 1243076.7323
36 | 2646455.192 | 1243076.7323 | 2646455.0824 | 1243077.2206 | 2646455.051 | 1243078.8748
37 | 2646439.3386 | 1243075.3185 | 2646439.8154 | 1243064.8962
38 | 2646439.3386 | 1243075.3185 | 2646439.0935 | 1243080.5644 | 2646449.4337 | 1243081.4348 | 2646450.1975 | 1243098.7632 | 2646441.6426 | 1243098.6518
39 | 2646430.2904 | 1243046.4843 | 2646438.3303 | 1243054.4635 | 2646440.2777 | 1243054.7901
40 | 2646440.2777 | 1243054.7901 | 2646439.8154 | 1243064.8962
41 | 2646441.6426 | 1243098.6518 | 2646433.2708 | 1243098.546
42 | 2646416.2197 | 1243098.3306 | 2646433.2708 | 1243098.546
43 | 2646512.1308 | 1243077.2561 | 2646537.3093 | 1243077.3958
44 | 2646555.7695 | 1243077.4982 | 2646537.3093 | 1243077.3958
45 | 2646313.2185 | 1242998.5164 | 2646336.5605 | 1243005.0139 | 2646358.4298 | 1243010.377 | 2646360.8518 | 1243010.9184 | 2646375.6471 | 1243014.2806
46 | 2646313.2185 | 1242998.5164 | 2646316.3047 | 1242980.7733
47 | 2646267.1072 | 1242963.4451 | 2646316.3047 | 1242980.7733
48 | 2646381.4322 | 1243061.401 | 2646379.007 | 1243066.054
49 | 2646367.8344 | 1243087.4899 | 2646379.007 | 1243066.054
50 | 2646267.1072 | 1242963.4451 | 2645921.7839 | 1242977.3406
51 | 2645921.7839 | 1242977.3406 | 2645920.0892 | 1242941.4039 | 2645916.0788 | 1242924.4062
52 | 2646547.4981 | 1242890.8996 | 2646558.5407 | 1242864.8788
53 | 2646561.7592 | 1242856.411 | 2646569.3208 | 1242835.3782
54 | 2646573.7007 | 1242898.8881 | 2646577.9665 | 1242894.6743 | 2646581.4926 | 1242891.2886 | 2646587.567 | 1242885.8216 | 2646590.9397 | 1242881.7565 | 2646597.5689 | 1242879.7739
55 | 2646595.5754 | 1242908.4104 | 2646602.6116 | 1242884.4276 | 2646601.7088 | 1242880.996 | 2646597.5689 | 1242879.7739
56 | 2646573.7007 | 1242898.8881 | 2646574.8585 | 1242915.0856 | 2646574.2537 | 1242920.2361
57 | 2646547.4981 | 1242890.8996 | 2646564.4303 | 1242897.4589 | 2646573.7007 | 1242898.8881
58 | 2646595.5754 | 1242908.4104 | 2646603.7235 | 1242910.3089
59 | 2646572.0537 | 1242940.8383 | 2646572.6149 | 1242934.1916 | 2646574.2537 | 1242920.2361
60 | 2646603.7235 | 1242910.3089 | 2646610.5924 | 1242913.3981
61 | 2646572.0537 | 1242940.8383 | 2646569.7318 | 1242968.3359 | 2646570.2188 | 1242996.3758
62 | 2646567.5011 | 1243033.5411 | 2646570.5908 | 1243017.7974 | 2646570.2188 | 1242996.3758
63 | 2646567.5011 | 1243033.5411 | 2646566.1268 | 1243040.544 | 2646562.5576 | 1243053.3943
64 | 2646555.7695 | 1243077.4982 | 2646558.8545 | 1243066.7264 | 2646562.5576 | 1243053.3943
65 | 2646547.2497 | 1243112.4099 | 2646551.13 | 1243093.7169 | 2646555.7695 | 1243077.4982
66 | 2646547.2497 | 1243112.4099 | 2646529.7143 | 1243112.4059
67 | 2646412.4033 | 1243098.2785 | 2646416.2197 | 1243098.3306
68 | 2646367.8344 | 1243087.4899 | 2646385.2126 | 1243096.5872
69 | 2646367.8344 | 1243087.4899 | 2646364.9553 | 1243093.0149
70 | 2646412.4033 | 1243098.2785 | 2646387.8645 | 1243097.9755 | 2646385.2126 | 1243096.5872
71 | 2645842.0013 | 1242849.8517 | 2645814.8737 | 1242854.9081
72 | 2645842.0013 | 1242849.8517 | 2645860.6631 | 1242868.419 | 2645879.4623 | 1242885.444
73 | 2645842.0013 | 1242849.8517 | 2645834.7464 | 1242840.73
74 | 2645896.4419 | 1242900.8212 | 2645879.4623 | 1242885.444
75 | 2645818.6904 | 1242812.7474 | 2645827.9431 | 1242832.176 | 2645834.7464 | 1242840.73
76 | 2645896.4419 | 1242900.8212 | 2645904.3619 | 1242907.9937 | 2645916.0788 | 1242924.4062
77 | 2645818.6904 | 1242812.7474 | 2645810.1088 | 1242794.6509

## bus_geodata
| x | y | coords
0 | 2646053.2394 | 1242552.8776
1 | 2645878.8969 | 1242557.0891
2 | 2645784.6905 | 1242739.5261
3 | 2645792.4985 | 1242756.9718
4 | 2645752.4992 | 1242752.8153
5 | 2646416.8897 | 1242797.9535
6 | 2646421.6203 | 1242826.283
7 | 2646480.7689 | 1242997.8403
8 | 2646506.2939 | 1242956.3957
9 | 2646486.5429 | 1243024.6545
10 | 2646521.8748 | 1242908.3214
11 | 2646502.5658 | 1243018.9206
12 | 2646459.2456 | 1243058.0739
13 | 2646524.1988 | 1242862.5429
14 | 2646497.6449 | 1243042.1418
15 | 2646507.5022 | 1243001.2834
16 | 2646455.3108 | 1243057.3927
17 | 2646509.2427 | 1243047.4694
18 | 2646460.3107 | 1242961.6078
19 | 2646444.5242 | 1242950.7067
20 | 2646434.3026 | 1243025.3796
21 | 2646400.8316 | 1243020.0033
22 | 2646430.5228 | 1243045.2618
23 | 2646406.3588 | 1242990.7384
24 | 2646416.9453 | 1242972.0059
25 | 2646386.5684 | 1242980.477
26 | 2646549.1081 | 1242858.124
27 | 2646559.8193 | 1242861.866
28 | 2646533.6548 | 1242820.9975
29 | 2646525.7711 | 1242850.1956
30 | 2646515.151 | 1242978.7582
31 | 2646455.192 | 1243076.7323
32 | 2646439.3386 | 1243075.3185
33 | 2646455.051 | 1243078.8748
34 | 2646440.2777 | 1243054.7901
35 | 2646441.6426 | 1243098.6518
36 | 2646433.2708 | 1243098.546
37 | 2646512.1308 | 1243077.2561
38 | 2646537.3093 | 1243077.3958
39 | 2646375.6471 | 1243014.2806
40 | 2646430.2904 | 1243046.4843
41 | 2646313.2185 | 1242998.5164
42 | 2646460.2905 | 1242849.2894
43 | 2646316.3047 | 1242980.7733
44 | 2646381.4322 | 1243061.401
45 | 2646379.007 | 1243066.054
46 | 2646267.1072 | 1242963.4451
47 | 2645921.7839 | 1242977.3406
48 | 2646558.5407 | 1242864.8788
49 | 2646561.7592 | 1242856.411
50 | 2646597.5689 | 1242879.7739
51 | 2646573.7007 | 1242898.8881
52 | 2646595.5754 | 1242908.4104
53 | 2646574.2537 | 1242920.2361
54 | 2646547.4981 | 1242890.8996
55 | 2646603.7235 | 1242910.3089
56 | 2646572.0537 | 1242940.8383
57 | 2646610.5924 | 1242913.3981
58 | 2646570.2188 | 1242996.3758
59 | 2646569.3208 | 1242835.3782
60 | 2646567.5011 | 1243033.5411
61 | 2646562.5576 | 1243053.3943
62 | 2646555.7695 | 1243077.4982
63 | 2646547.2497 | 1243112.4099
64 | 2646529.7143 | 1243112.4059
65 | 2646439.8154 | 1243064.8962
66 | 2646416.2197 | 1243098.3306
67 | 2646367.8344 | 1243087.4899
68 | 2646385.2126 | 1243096.5872
69 | 2646364.9553 | 1243093.0149
70 | 2646412.4033 | 1243098.2785
71 | 2645814.8737 | 1242854.9081
72 | 2645842.0013 | 1242849.8517
73 | 2645879.4623 | 1242885.444
74 | 2645834.7464 | 1242840.73
75 | 2645896.4419 | 1242900.8212
76 | 2645818.6904 | 1242812.7474
77 | 2645916.0788 | 1242924.4062
78 | 2645810.1088 | 1242794.6509
79 | 2646438.119 | 1243021.5736

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1