## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4009-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4009-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4009-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4009-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4009-8_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4009-8_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4009-8_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4009-8_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4009-8_0_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_4009-8_0_4_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_4009-8_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4009-8_0_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_4009-8_0_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_4009-8_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_4009-8_0_4_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_4009-8_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_4009-8_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4009-8_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4009-8_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4009-8_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4009-8_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4009-8_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_4009-8_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_4009-8_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_4009-8_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4009-8_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4009-8_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4009-8_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4009-8_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4009-8_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4009-8_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_4009-8_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_4009-8_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_4009-8_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_4009-8_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_4009-8_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_4009-8_0_4_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_4009-8_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_4009-8_0_4_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_4009-8_0_4_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_4009-8_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4009-8_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_4009-8_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4009-8_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4009-8_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_4009-8_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_4009-8_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_4009-8_0_4_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_4009-8_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_4009-8_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_4009-8_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_4009-8_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_4009-8_0_4_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_4009-8_0_4_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_4009-8_0_4_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_4009-8_0_4_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_4009-8_0_4_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_4009-8_0_4_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_4009-8_0_4_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_4009-8_0_4_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_4009-8_0_4_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_4009-8_0_4_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_4009-8_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_4009-8_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_4009-8_0_4_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_4009-8_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_4009-8_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_4009-8_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_4009-8_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_4009-8_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_4009-8_0_4_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_4009-8_0_4_node_96 | 0.4 | n |  | TRUE
72 | bus_LV_4009-8_0_4_node_97 | 0.4 | n |  | TRUE
73 | bus_LV_4009-8_0_4_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_4009-8_0_4_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_4009-8_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_4009-8_0_4_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_4009-8_0_4_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_4009-8_0_4_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_4009-8_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_4009-8_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_4009-8_0_4_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_4009-8_0_4_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_4009-8_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_4009-8_0_4_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_4009-8_0_4_node_99 | 0.4 | n |  | TRUE
86 | bus_LV_4009-8_0_4_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_4009-8_0_4_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_4009-8_0_4_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_4009-8_0_4_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_4009-8_0_4_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_4009-8_0_4_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_4009-8_0_4_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_4009-8_0_4_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_4009-8_0_4_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_4009-8_0_4_node_89 | 0.4 | n |  | TRUE
96 | bus_MV_419_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4009-8_0_4_load_0 | 0 | 0.0026707 | 0.00066933 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4009-8_0_4_load_1 | 1 | 0.0028622 | 0.00071733 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4009-8_0_4_load_2 | 2 | 0.0023464 | 0.00058805 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4009-8_0_4_load_3 | 3 | 0.0026527 | 0.00066482 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4009-8_0_4_load_4 | 4 | 0.0071881 | 0.0018015 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4009-8_0_4_load_5 | 5 | 0.0064197 | 0.0016089 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4009-8_0_4_load_6 | 6 | 0.0026933 | 0.000675 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4009-8_0_4_load_7 | 7 | 0.00050263 | 0.00012597 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4009-8_0_4_load_28 | 9 | 0.0027287 | 0.00068388 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4009-8_0_4_load_8 | 10 | 0.0023877 | 0.00059841 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4009-8_0_4_load_25 | 11 | 0.0072914 | 0.0018274 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4009-8_0_4_load_26 | 12 | 0.0016682 | 0.0004181 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4009-8_0_4_load_29 | 13 | 0.0023702 | 0.00059402 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4009-8_0_4_load_27 | 14 | 0.0005032 | 0.00012611 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4009-8_0_4_load_18 | 15 | 0.00051896 | 0.00013006 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4009-8_0_4_load_9 | 16 | 0.00026827 | 6.7235e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4009-8_0_4_load_10 | 17 | 0.0011668 | 0.00029244 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4009-8_0_4_load_13 | 20 | 0.0054299 | 0.0013609 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4009-8_0_4_load_31 | 21 | 0.00082818 | 0.00020756 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4009-8_0_4_load_17 | 22 | 0.00082088 | 0.00020573 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4009-8_0_4_load_32 | 23 | 0.0040287 | 0.0010097 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4009-8_0_4_load_15 | 24 | 0.00055098 | 0.00013809 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4009-8_0_4_load_14 | 25 | 0.00047655 | 0.00011943 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4009-8_0_4_load_16 | 26 | 0.001523 | 0.00038169 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4009-8_0_4_load_19 | 27 | 0.0027451 | 0.00068798 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4009-8_0_4_load_20 | 28 | 0.0028309 | 0.00070949 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4009-8_0_4_load_21 | 29 | 0.0015748 | 0.00039468 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4009-8_0_4_load_22 | 30 | 0.002108 | 0.00052832 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4009-8_0_4_load_23 | 31 | 0.0049236 | 0.001234 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4009-8_0_4_load_30 | 32 | 0.0024023 | 0.00060206 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4009-8_0_4_load_35 | 33 | 0.002892 | 0.00072481 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4009-8_0_4_load_34 | 34 | 0.00040121 | 0.00010055 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4009-8_0_4_load_36 | 35 | 0.0051124 | 0.0012813 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4009-8_0_4_load_37 | 37 | 0.0087818 | 0.0022009 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4009-8_0_4_load_56 | 38 | 0.0020325 | 0.0005094 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4009-8_0_4_load_81 | 39 | 0.0017137 | 0.0004295 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4009-8_0_4_load_33 | 40 | 0.00086011 | 0.00021556 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4009-8_0_4_load_38 | 41 | 0.008343 | 0.002091 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4009-8_0_4_load_39 | 42 | 0.0022951 | 0.0005752 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4009-8_0_4_load_41 | 44 | 0.0033151 | 0.00083085 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4009-8_0_4_load_42 | 45 | 0.0030337 | 0.00076032 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4009-8_0_4_load_53 | 46 | 0.0011416 | 0.00028611 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4009-8_0_4_load_55 | 47 | 0.0034343 | 0.00086071 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4009-8_0_4_load_54 | 48 | 0.0011086 | 0.00027785 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4009-8_0_4_load_43 | 49 | 0.0020894 | 0.00052366 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4009-8_0_4_load_47 | 51 | 0.00459 | 0.0011504 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4009-8_0_4_load_86 | 52 | 0.021267 | 0.00533 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4009-8_0_4_load_87 | 53 | 0.0015544 | 0.00038956 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4009-8_0_4_load_88 | 54 | 0.019387 | 0.0048589 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4009-8_0_4_load_83 | 55 | 0.015247 | 0.0038213 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4009-8_0_4_load_79 | 56 | 0.0076596 | 0.0019197 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4009-8_0_4_load_78 | 57 | 0.0082898 | 0.0020776 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4009-8_0_4_load_77 | 58 | 0.0092362 | 0.0023148 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4009-8_0_4_load_74 | 59 | 0.00064923 | 0.00016271 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4009-8_0_4_load_60 | 60 | 0.024477 | 0.0061344 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4009-8_0_4_load_65 | 61 | 0.0018332 | 0.00045945 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4009-8_0_4_load_63 | 62 | 0.00135 | 0.00033835 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4009-8_0_4_load_58 | 63 | 0.020426 | 0.0051192 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4009-8_0_4_load_75 | 64 | 0.0013774 | 0.0003452 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4009-8_0_4_load_48 | 65 | 0.01002 | 0.0025112 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4009-8_0_4_load_49 | 66 | 0.0021741 | 0.00054488 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4009-8_0_4_load_50 | 67 | 0.0014066 | 0.00035252 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4009-8_0_4_load_51 | 68 | 0.010652 | 0.0026696 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4009-8_0_4_load_52 | 69 | 0.010649 | 0.0026689 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4009-8_0_4_load_93 | 70 | 0.0012047 | 0.00030193 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4009-8_0_4_load_96 | 71 | 0.011809 | 0.0029597 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4009-8_0_4_load_100 | 73 | 0.011572 | 0.0029003 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4009-8_0_4_load_57 | 74 | 0.0070483 | 0.0017665 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4009-8_0_4_load_59 | 75 | 0.0024964 | 0.00062565 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4009-8_0_4_load_94 | 76 | 0.0013579 | 0.00034031 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4009-8_0_4_load_95 | 77 | 0.0088748 | 0.0022242 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4009-8_0_4_load_85 | 78 | 0.0015897 | 0.00039842 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4009-8_0_4_load_62 | 79 | 0.0017396 | 0.00043599 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4009-8_0_4_load_66 | 81 | 0.0015972 | 0.0004003 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4009-8_0_4_load_84 | 83 | 0.001086 | 0.00027218 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4009-8_0_4_load_91 | 84 | 0.001769 | 0.00044336 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4009-8_0_4_load_99 | 85 | 0.0019388 | 0.00048591 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4009-8_0_4_load_90 | 86 | 0.0024035 | 0.00060238 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4009-8_0_4_load_98 | 87 | 0.063505 | 0.015916 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4009-8_0_4_load_69 | 88 | 0.0011055 | 0.00027707 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4009-8_0_4_load_70 | 89 | 0.0011709 | 0.00029347 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4009-8_0_4_load_71 | 90 | 0.0011282 | 0.00028276 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4009-8_0_4_load_72 | 91 | 0.0017704 | 0.00044371 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4009-8_0_4_load_73 | 92 | 0.001363 | 0.00034159 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4009-8_0_4_load_80 | 93 | 0.0018366 | 0.00046031 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4009-8_0_4_load_76 | 94 | 0.0017778 | 0.00044557 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4009-8_0_4_load_89 | 95 | 0.0018558 | 0.00046511 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4009-8_0_4_line_0 |  | 0 | 1 | 0.008552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4009-8_0_4_line_1 |  | 0 | 2 | 0.0064365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4009-8_0_4_line_2 |  | 1 | 3 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4009-8_0_4_line_3 |  | 2 | 4 | 0.0077645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4009-8_0_4_line_4 |  | 3 | 5 | 0.024195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4009-8_0_4_line_5 |  | 3 | 6 | 0.018248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4009-8_0_4_line_6 |  | 4 | 7 | 0.022539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4009-8_0_4_line_7 |  | 5 | 8 | 0.061708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4009-8_0_4_line_8 |  | 6 | 9 | 0.026416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4009-8_0_4_line_9 |  | 7 | 10 | 0.00084851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4009-8_0_4_line_10 |  | 8 | 11 | 0.026607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4009-8_0_4_line_11 |  | 8 | 12 | 0.011455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4009-8_0_4_line_12 |  | 9 | 13 | 0.00045904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4009-8_0_4_line_13 |  | 10 | 14 | 0.0055888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4009-8_0_4_line_14 |  | 11 | 35 | 0.035609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4009-8_0_4_line_15 |  | 12 | 36 | 0.028249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4009-8_0_4_line_16 |  | 13 | 32 | 0.00060395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4009-8_0_4_line_17 |  | 14 | 15 | 0.0006709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4009-8_0_4_line_18 |  | 15 | 26 | 0.00080485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4009-8_0_4_line_19 |  | 16 | 17 | 0.034602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4009-8_0_4_line_20 |  | 16 | 18 | 0.016202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4009-8_0_4_line_21 |  | 17 | 19 | 0.0099279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4009-8_0_4_line_22 |  | 18 | 20 | 0.023813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4009-8_0_4_line_23 |  | 19 | 21 | 0.019663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4009-8_0_4_line_24 |  | 20 | 22 | 0.031088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4009-8_0_4_line_25 |  | 21 | 23 | 0.001817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4009-8_0_4_line_26 |  | 22 | 24 | 0.041278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4009-8_0_4_line_27 |  | 23 | 40 | 0.047824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4009-8_0_4_line_28 |  | 24 | 25 | 0.015424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4009-8_0_4_line_29 |  | 25 | 26 | 0.0054287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4009-8_0_4_line_30 |  | 27 | 28 | 0.01554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4009-8_0_4_line_31 |  | 27 | 29 | 0.020503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4009-8_0_4_line_32 |  | 28 | 30 | 0.0028967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4009-8_0_4_line_33 |  | 29 | 31 | 0.025209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4009-8_0_4_line_34 |  | 30 | 32 | 0.000499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4009-8_0_4_line_35 |  | 31 | 33 | 0.0078009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4009-8_0_4_line_36 |  | 33 | 34 | 0.018931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4009-8_0_4_line_37 |  | 35 | 37 | 0.03164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4009-8_0_4_line_38 |  | 36 | 38 | 0.02113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4009-8_0_4_line_39 |  | 36 | 39 | 0.038969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4009-8_0_4_line_40 |  | 37 | 41 | 0.044896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4009-8_0_4_line_41 |  | 38 | 47 | 0.01897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4009-8_0_4_line_42 |  | 39 | 93 | 0.0054284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4009-8_0_4_line_43 |  | 42 | 43 | 0.012205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4009-8_0_4_line_44 |  | 43 | 44 | 0.0096445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4009-8_0_4_line_45 |  | 43 | 45 | 0.0048991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4009-8_0_4_line_46 |  | 44 | 46 | 0.018306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4009-8_0_4_line_47 |  | 45 | 47 | 0.0032192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4009-8_0_4_line_48 |  | 46 | 48 | 0.0088557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4009-8_0_4_line_49 |  | 49 | 50 | 0.021564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4009-8_0_4_line_50 |  | 50 | 51 | 0.014652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4009-8_0_4_line_51 |  | 51 | 59 | 0.0028357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4009-8_0_4_line_52 |  | 52 | 53 | 0.032097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4009-8_0_4_line_53 |  | 52 | 54 | 0.054489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4009-8_0_4_line_54 |  | 52 | 55 | 0.01363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4009-8_0_4_line_55 |  | 52 | 56 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4009-8_0_4_line_56 |  | 53 | 92 | 0.0055188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4009-8_0_4_line_57 |  | 54 | 78 | 0.019598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4009-8_0_4_line_58 |  | 55 | 60 | 0.024429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4009-8_0_4_line_59 |  | 56 | 57 | 0.011724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4009-8_0_4_line_60 |  | 57 | 58 | 0.016129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4009-8_0_4_line_61 |  | 58 | 69 | 0.0071729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4009-8_0_4_line_62 |  | 59 | 64 | 0.027745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4009-8_0_4_line_63 |  | 60 | 63 | 0.0089265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4009-8_0_4_line_64 |  | 61 | 62 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4009-8_0_4_line_65 |  | 62 | 79 | 0.0054342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4009-8_0_4_line_66 |  | 63 | 74 | 0.026746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4009-8_0_4_line_67 |  | 64 | 94 | 0.00013754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4009-8_0_4_line_68 |  | 65 | 66 | 0.01476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4009-8_0_4_line_69 |  | 65 | 67 | 0.0047898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4009-8_0_4_line_70 |  | 66 | 68 | 0.006233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4009-8_0_4_line_71 |  | 67 | 69 | 0.016502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4009-8_0_4_line_72 |  | 68 | 70 | 0.010511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4009-8_0_4_line_73 |  | 69 | 73 | 0.04307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4009-8_0_4_line_74 |  | 71 | 72 | 0.0021106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4009-8_0_4_line_75 |  | 72 | 73 | 0.060959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4009-8_0_4_line_76 |  | 74 | 75 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4009-8_0_4_line_77 |  | 76 | 77 | 0.021354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4009-8_0_4_line_78 |  | 77 | 78 | 0.052951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4009-8_0_4_line_79 |  | 78 | 83 | 0.018973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4009-8_0_4_line_80 |  | 79 | 80 | 0.020616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4009-8_0_4_line_81 |  | 80 | 81 | 0.011994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4009-8_0_4_line_82 |  | 80 | 82 | 0.026876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4009-8_0_4_line_83 |  | 81 | 83 | 0.0012958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4009-8_0_4_line_84 |  | 82 | 84 | 0.0079331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4009-8_0_4_line_85 |  | 82 | 85 | 0.025515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4009-8_0_4_line_86 |  | 84 | 86 | 0.0091143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4009-8_0_4_line_87 |  | 85 | 87 | 0.027496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4009-8_0_4_line_88 |  | 86 | 95 | 0.0077151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4009-8_0_4_line_89 |  | 88 | 89 | 0.024104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4009-8_0_4_line_90 |  | 88 | 90 | 0.010172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4009-8_0_4_line_91 |  | 89 | 91 | 0.011816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4009-8_0_4_line_92 |  | 90 | 92 | 0.0095185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4009-8_0_4_line_93 |  | 91 | 93 | 0.005386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4009-8_0_4_line_94 |  | 94 | 95 | 0.022424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4009-8_0_4_trafo_87 | 0.63 MVA 20/0.4 kV | 96 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2646657.8944 | 1243816.3943 | 2646649.4235 | 1243817.5694
1 | 2646657.8944 | 1243816.3943 | 2646664.2698 | 1243815.5098
2 | 2646634.8149 | 1243819.596 | 2646649.4235 | 1243817.5694
3 | 2646671.9607 | 1243814.4429 | 2646664.2698 | 1243815.5098
4 | 2646634.8149 | 1243819.596 | 2646624.743 | 1243797.5966
5 | 2646634.8149 | 1243819.596 | 2646639.5416 | 1243830.696 | 2646640.905 | 1243836.7274
6 | 2646694.2857 | 1243811.3459 | 2646671.9607 | 1243814.4429
7 | 2646598.244 | 1243741.8687 | 2646623.024 | 1243793.8419 | 2646624.743 | 1243797.5966
8 | 2646646.7294 | 1243862.4931 | 2646640.905 | 1243836.7274
9 | 2646695.1261 | 1243811.2293 | 2646694.2857 | 1243811.3459
10 | 2646598.244 | 1243741.8687 | 2646620.9832 | 1243728.0542
11 | 2646598.244 | 1243741.8687 | 2646593.3117 | 1243731.5297
12 | 2646646.8306 | 1243862.9408 | 2646646.7294 | 1243862.4931
13 | 2646700.6618 | 1243810.4614 | 2646695.1261 | 1243811.2293
14 | 2646620.9832 | 1243728.0542 | 2646625.201 | 1243725.4917 | 2646654.2147 | 1243715.5368
15 | 2646580.9008 | 1243706.1535 | 2646588.9429 | 1243722.3718 | 2646593.3117 | 1243731.5297
16 | 2646646.9638 | 1243863.5299 | 2646646.8306 | 1243862.9408
17 | 2646701.3264 | 1243810.3692 | 2646700.6618 | 1243810.4614
18 | 2646702.1236 | 1243810.2586 | 2646701.3264 | 1243810.3692
19 | 2646773.5633 | 1243743.7105 | 2646772.0212 | 1243748.873 | 2646772.0172 | 1243756.0999 | 2646774.7712 | 1243777.9136
20 | 2646770.7981 | 1243730.5068 | 2646775.396 | 1243733.0002 | 2646775.3512 | 1243737.7252 | 2646773.5633 | 1243743.7105
21 | 2646776.0148 | 1243787.7634 | 2646774.7712 | 1243777.9136
22 | 2646770.7981 | 1243730.5068 | 2646762.5309 | 1243746.7524 | 2646760.8173 | 1243752.0676
23 | 2646776.0148 | 1243787.7634 | 2646777.5344 | 1243807.3679
24 | 2646750.992 | 1243781.5497 | 2646752.3906 | 1243778.2044 | 2646760.8173 | 1243752.0676
25 | 2646777.5344 | 1243807.3679 | 2646777.6748 | 1243809.1795 | 2646777.6748 | 1243809.1795
26 | 2646722.779 | 1243807.3932 | 2646727.4991 | 1243806.7384 | 2646738.4594 | 1243802.5997 | 2646745.7512 | 1243794.0848 | 2646750.992 | 1243781.5497
27 | 2646777.6748 | 1243809.1795 | 2646786.1081 | 1243829.3704 | 2646786.2681 | 1243835.9093 | 2646788.3881 | 1243839.2393 | 2646793.4376 | 1243839.0678 | 2646796.7946 | 1243835.9923 | 2646798.3866 | 1243830.3644
28 | 2646722.779 | 1243807.3932 | 2646707.5008 | 1243809.5126
29 | 2646702.1236 | 1243810.2586 | 2646707.5008 | 1243809.5126
30 | 2646647.7125 | 1243866.8421 | 2646649.3863 | 1243874.2465 | 2646650.389 | 1243882.132
31 | 2646652.9753 | 1243902.4709 | 2646650.389 | 1243882.132
32 | 2646647.0738 | 1243864.0167 | 2646647.7125 | 1243866.8421
33 | 2646652.9753 | 1243902.4709 | 2646654.8095 | 1243916.895 | 2646656.7897 | 1243927.3779
34 | 2646647.0738 | 1243864.0167 | 2646646.9638 | 1243863.5299
35 | 2646656.7897 | 1243927.3779 | 2646658.2376 | 1243935.0433
36 | 2646661.7516 | 1243953.6457 | 2646658.2376 | 1243935.0433
37 | 2646654.2147 | 1243715.5368 | 2646684.1424 | 1243705.2683
38 | 2646580.9008 | 1243706.1535 | 2646571.5114 | 1243687.2239
39 | 2646580.9008 | 1243706.1535 | 2646562.2128 | 1243724.2967 | 2646553.4645 | 1243733.8073
40 | 2646684.1424 | 1243705.2683 | 2646726.6085 | 1243690.6977
41 | 2646563.0821 | 1243670.2298 | 2646571.5114 | 1243687.2239
42 | 2646549.7895 | 1243737.8025 | 2646553.4645 | 1243733.8073
43 | 2646559.4747 | 1243662.957 | 2646570.7188 | 1243658.2107
44 | 2646559.4747 | 1243662.957 | 2646554.8071 | 1243654.5172
45 | 2646559.4747 | 1243662.957 | 2646561.6516 | 1243667.3459
46 | 2646554.8071 | 1243654.5172 | 2646545.948 | 1243638.498
47 | 2646561.6516 | 1243667.3459 | 2646563.0821 | 1243670.2298
48 | 2646541.6622 | 1243630.7484 | 2646545.948 | 1243638.498
49 | 2646274.5063 | 1243697.2075 | 2646271.0631 | 1243675.92
50 | 2646274.5063 | 1243697.2075 | 2646289.1122 | 1243696.0395
51 | 2646291.9388 | 1243695.8135 | 2646289.1122 | 1243696.0395
52 | 2646466.7589 | 1243744.2732 | 2646497.9329 | 1243751.9135
53 | 2646466.7589 | 1243744.2732 | 2646414.6432 | 1243728.3656
54 | 2646466.7589 | 1243744.2732 | 2646462.3362 | 1243757.166
55 | 2646466.7589 | 1243744.2732 | 2646472.9646 | 1243727.9642
56 | 2646503.293 | 1243753.2271 | 2646497.9329 | 1243751.9135
57 | 2646395.047 | 1243728.0698 | 2646414.6432 | 1243728.3656
58 | 2646459.1952 | 1243781.3436 | 2646461.6314 | 1243759.2207 | 2646462.3362 | 1243757.166
59 | 2646472.9646 | 1243727.9642 | 2646477.134 | 1243717.0066
60 | 2646482.87 | 1243701.9321 | 2646477.134 | 1243717.0066
61 | 2646482.87 | 1243701.9321 | 2646485.4209 | 1243695.2282
62 | 2646291.9388 | 1243695.8135 | 2646319.5952 | 1243693.6018
63 | 2646458.2181 | 1243790.2165 | 2646459.1952 | 1243781.3436
64 | 2646322.7552 | 1243741.9301 | 2646343.8127 | 1243740.0397
65 | 2646349.2251 | 1243739.5538 | 2646343.8127 | 1243740.0397
66 | 2646454.3544 | 1243816.6464 | 2646454.9947 | 1243814.4274 | 2646456.4652 | 1243806.1335 | 2646458.2181 | 1243790.2165
67 | 2646319.5952 | 1243693.6018 | 2646319.7323 | 1243693.5908
68 | 2646492.9928 | 1243675.3287 | 2646498.2417 | 1243661.534
69 | 2646492.9928 | 1243675.3287 | 2646491.2893 | 1243679.8054
70 | 2646500.4584 | 1243655.7085 | 2646498.2417 | 1243661.534
71 | 2646485.4209 | 1243695.2282 | 2646491.2893 | 1243679.8054
72 | 2646500.4584 | 1243655.7085 | 2646504.1963 | 1243645.8851
73 | 2646485.4209 | 1243695.2282 | 2646447.1881 | 1243675.397
74 | 2646410.6217 | 1243626.6234 | 2646408.5944 | 1243627.2108
75 | 2646447.1881 | 1243675.397 | 2646410.6217 | 1243626.6234
76 | 2646454.3544 | 1243816.6464 | 2646452.6099 | 1243822.692 | 2646451.2022 | 1243826.3173
77 | 2646403.9789 | 1243780.2616 | 2646382.7103 | 1243782.1676
78 | 2646395.047 | 1243728.0698 | 2646403.9789 | 1243780.2616
79 | 2646376.0766 | 1243727.7834 | 2646395.047 | 1243728.0698
80 | 2646362.7879 | 1243727.5829 | 2646361.9861 | 1243732.5243 | 2646359.2637 | 1243736.6169 | 2646354.9447 | 1243739.0403 | 2646349.2251 | 1243739.5538
81 | 2646362.7879 | 1243727.5829 | 2646374.7809 | 1243727.7639
82 | 2646360.3142 | 1243700.8237 | 2646362.7879 | 1243727.5829
83 | 2646374.7809 | 1243727.7639 | 2646376.0766 | 1243727.7834
84 | 2646360.3142 | 1243700.8237 | 2646358.4851 | 1243693.1043 | 2646358.4851 | 1243693.1043
85 | 2646360.3142 | 1243700.8237 | 2646383.0156 | 1243700.9233 | 2646385.8184 | 1243701.1702
86 | 2646349.7752 | 1243691.1883 | 2646352.7887 | 1243690.9473 | 2646358.4851 | 1243693.1043
87 | 2646413.2082 | 1243703.5827 | 2646385.8184 | 1243701.1702
88 | 2646342.0846 | 1243691.8033 | 2646349.7752 | 1243691.1883
89 | 2646522.4176 | 1243757.9143 | 2646535.1341 | 1243761.0309 | 2646538.213 | 1243759.6763 | 2646541.4113 | 1243752.7301 | 2646541.4113 | 1243752.7301
90 | 2646522.4176 | 1243757.9143 | 2646512.5379 | 1243755.4929
91 | 2646541.4113 | 1243752.7301 | 2646546.758 | 1243742.1932
92 | 2646512.5379 | 1243755.4929 | 2646503.293 | 1243753.2271
93 | 2646549.7895 | 1243737.8025 | 2646547.9972 | 1243739.751 | 2646546.758 | 1243742.1932
94 | 2646342.0846 | 1243691.8033 | 2646319.7323 | 1243693.5908

## bus_geodata
| x | y | coords
0 | 2646657.8944 | 1243816.3943
1 | 2646649.4235 | 1243817.5694
2 | 2646664.2698 | 1243815.5098
3 | 2646634.8149 | 1243819.596
4 | 2646671.9607 | 1243814.4429
5 | 2646624.743 | 1243797.5966
6 | 2646640.905 | 1243836.7274
7 | 2646694.2857 | 1243811.3459
8 | 2646598.244 | 1243741.8687
9 | 2646646.7294 | 1243862.4931
10 | 2646695.1261 | 1243811.2293
11 | 2646620.9832 | 1243728.0542
12 | 2646593.3117 | 1243731.5297
13 | 2646646.8306 | 1243862.9408
14 | 2646700.6619 | 1243810.4614
15 | 2646701.3264 | 1243810.3692
16 | 2646773.5633 | 1243743.7105
17 | 2646774.7712 | 1243777.9136
18 | 2646770.7981 | 1243730.5068
19 | 2646776.0148 | 1243787.7634
20 | 2646760.8173 | 1243752.0676
21 | 2646777.5344 | 1243807.3679
22 | 2646750.992 | 1243781.5497
23 | 2646777.6748 | 1243809.1795
24 | 2646722.779 | 1243807.3932
25 | 2646707.5008 | 1243809.5126
26 | 2646702.1236 | 1243810.2586
27 | 2646650.389 | 1243882.132
28 | 2646647.7125 | 1243866.8421
29 | 2646652.9753 | 1243902.4709
30 | 2646647.0738 | 1243864.0167
31 | 2646656.7897 | 1243927.3779
32 | 2646646.9638 | 1243863.5299
33 | 2646658.2376 | 1243935.0433
34 | 2646661.7516 | 1243953.6457
35 | 2646654.2147 | 1243715.5368
36 | 2646580.9008 | 1243706.1535
37 | 2646684.1424 | 1243705.2683
38 | 2646571.5114 | 1243687.2239
39 | 2646553.4645 | 1243733.8073
40 | 2646798.3866 | 1243830.3644
41 | 2646726.6085 | 1243690.6977
42 | 2646570.7188 | 1243658.2107
43 | 2646559.4747 | 1243662.957
44 | 2646554.8071 | 1243654.5172
45 | 2646561.6516 | 1243667.3459
46 | 2646545.948 | 1243638.498
47 | 2646563.0821 | 1243670.2298
48 | 2646541.6622 | 1243630.7484
49 | 2646271.0631 | 1243675.92
50 | 2646274.5063 | 1243697.2075
51 | 2646289.1122 | 1243696.0395
52 | 2646466.7589 | 1243744.2732
53 | 2646497.9329 | 1243751.9135
54 | 2646414.6432 | 1243728.3656
55 | 2646462.3362 | 1243757.166
56 | 2646472.9646 | 1243727.9642
57 | 2646477.134 | 1243717.0066
58 | 2646482.87 | 1243701.9321
59 | 2646291.9388 | 1243695.8135
60 | 2646459.1952 | 1243781.3436
61 | 2646322.7552 | 1243741.9301
62 | 2646343.8127 | 1243740.0397
63 | 2646458.2181 | 1243790.2165
64 | 2646319.5952 | 1243693.6018
65 | 2646492.9928 | 1243675.3287
66 | 2646498.2417 | 1243661.534
67 | 2646491.2893 | 1243679.8054
68 | 2646500.4584 | 1243655.7085
69 | 2646485.4209 | 1243695.2281
70 | 2646504.1963 | 1243645.8851
71 | 2646408.5944 | 1243627.2108
72 | 2646410.6217 | 1243626.6234
73 | 2646447.1881 | 1243675.397
74 | 2646454.3544 | 1243816.6464
75 | 2646451.2022 | 1243826.3173
76 | 2646382.7103 | 1243782.1676
77 | 2646403.9789 | 1243780.2616
78 | 2646395.047 | 1243728.0698
79 | 2646349.2251 | 1243739.5538
80 | 2646362.7879 | 1243727.5829
81 | 2646374.7809 | 1243727.7639
82 | 2646360.3142 | 1243700.8237
83 | 2646376.0766 | 1243727.7834
84 | 2646358.4851 | 1243693.1043
85 | 2646385.8184 | 1243701.1702
86 | 2646349.7752 | 1243691.1883
87 | 2646413.2082 | 1243703.5827
88 | 2646522.4176 | 1243757.9143
89 | 2646541.4113 | 1243752.7301
90 | 2646512.5379 | 1243755.4929
91 | 2646546.758 | 1243742.1932
92 | 2646503.293 | 1243753.2271
93 | 2646549.7895 | 1243737.8025
94 | 2646319.7323 | 1243693.5908
95 | 2646342.0846 | 1243691.8033
96 | 2646497.9329 | 1243751.9135

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1