## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4024-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4024-1_0_3_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_4024-1_0_3_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_4024-1_0_3_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_4024-1_0_3_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_4024-1_0_3_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_4024-1_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_4024-1_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4024-1_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4024-1_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4024-1_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4024-1_0_3_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_4024-1_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_4024-1_0_3_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_4024-1_0_3_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_4024-1_0_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_4024-1_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_4024-1_0_3_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_4024-1_0_3_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_4024-1_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_4024-1_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4024-1_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4024-1_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4024-1_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4024-1_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4024-1_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_4024-1_0_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_4024-1_0_3_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_4024-1_0_3_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_4024-1_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_4024-1_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4024-1_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4024-1_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_4024-1_0_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_4024-1_0_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_4024-1_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_4024-1_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_4024-1_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_4024-1_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_4024-1_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_4024-1_0_3_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_4024-1_0_3_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_4024-1_0_3_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_4024-1_0_3_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_4024-1_0_3_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_4024-1_0_3_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_4024-1_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_4024-1_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_4024-1_0_3_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_4024-1_0_3_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_4024-1_0_3_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_4024-1_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_4024-1_0_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_4024-1_0_3_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_4024-1_0_3_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_4024-1_0_3_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_4024-1_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_4024-1_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_4024-1_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4024-1_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_4024-1_0_3_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_4024-1_0_3_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_4024-1_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_4024-1_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_4024-1_0_3_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_4024-1_0_3_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_4024-1_0_3_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_4024-1_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_MV_421_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4024-1_0_3_load_0 | 0 | 0.0063239 | 0.0015849 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4024-1_0_3_load_16 | 2 | 0.0049074 | 0.0012299 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4024-1_0_3_load_13 | 3 | 0.0034427 | 0.00086281 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4024-1_0_3_load_2 | 5 | 0.0075133 | 0.001883 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4024-1_0_3_load_3 | 6 | 0.025958 | 0.0065058 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4024-1_0_3_load_5 | 8 | 0.04671 | 0.011707 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4024-1_0_3_load_6 | 9 | 0.0083533 | 0.0020935 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4024-1_0_3_load_26 | 11 | 0.0088267 | 0.0022122 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4024-1_0_3_load_27 | 12 | 0.005999 | 0.0015035 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4024-1_0_3_load_38 | 14 | 0.0083539 | 0.0020937 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4024-1_0_3_load_24 | 15 | 0.0062363 | 0.001563 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4024-1_0_3_load_28 | 16 | 0.0048811 | 0.0012233 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4024-1_0_3_load_51 | 17 | 0.080868 | 0.020267 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4024-1_0_3_load_8 | 19 | 0.0016887 | 0.00042322 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4024-1_0_3_load_19 | 24 | 0.00093554 | 0.00023447 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4024-1_0_3_load_36 | 26 | 0.0010691 | 0.00026794 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4024-1_0_3_load_53 | 28 | 0.0011542 | 0.00028927 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4024-1_0_3_load_37 | 29 | 0.00095494 | 0.00023933 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4024-1_0_3_load_17 | 30 | 0.0036979 | 0.00092677 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4024-1_0_3_load_18 | 31 | 0.0034801 | 0.0008722 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4024-1_0_3_load_32 | 32 | 0.0047448 | 0.0011892 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4024-1_0_3_load_31 | 35 | 0.0026299 | 0.00065913 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4024-1_0_3_load_44 | 36 | 0.0024962 | 0.0006256 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4024-1_0_3_load_41 | 37 | 0.0093596 | 0.0023457 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4024-1_0_3_load_71 | 41 | 0.0076611 | 0.0019201 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4024-1_0_3_load_62 | 42 | 0.015431 | 0.0038674 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4024-1_0_3_load_72 | 43 | 0.00085711 | 0.00021481 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4024-1_0_3_load_63 | 45 | 0.015743 | 0.0039457 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4024-1_0_3_load_60 | 46 | 0.015303 | 0.0038353 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4024-1_0_3_load_54 | 47 | 0.0011234 | 0.00028155 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4024-1_0_3_load_22 | 48 | 0.0085207 | 0.0021355 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4024-1_0_3_load_23 | 49 | 0.0020769 | 0.00052051 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4024-1_0_3_load_25 | 50 | 0.01332 | 0.0033382 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4024-1_0_3_load_66 | 52 | 0.0012708 | 0.00031849 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4024-1_0_3_load_29 | 54 | 0.0026817 | 0.00067211 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4024-1_0_3_load_30 | 55 | 0.0048505 | 0.0012156 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4024-1_0_3_load_33 | 56 | 0.053554 | 0.013422 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4024-1_0_3_load_52 | 57 | 0.009964 | 0.0024972 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4024-1_0_3_load_45 | 58 | 0.016268 | 0.0040771 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4024-1_0_3_load_49 | 59 | 0.0066712 | 0.001672 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4024-1_0_3_load_64 | 60 | 0.0064049 | 0.0016052 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4024-1_0_3_load_70 | 61 | 0.0073284 | 0.0018367 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4024-1_0_3_load_55 | 62 | 0.0017218 | 0.00043152 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4024-1_0_3_load_59 | 63 | 0.0018928 | 0.00047438 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4024-1_0_3_load_61 | 64 | 0.0072926 | 0.0018277 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4024-1_0_3_load_68 | 65 | 0.0011691 | 0.000293 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4024-1_0_3_load_65 | 66 | 0.0017201 | 0.00043111 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4024-1_0_3_load_67 | 67 | 0.0011026 | 0.00027635 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4024-1_0_3_line_0 |  | 0 | 1 | 0.088195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4024-1_0_3_line_1 |  | 1 | 2 | 0.012187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4024-1_0_3_line_2 |  | 1 | 3 | 0.014428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4024-1_0_3_line_3 |  | 2 | 32 | 0.0036506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4024-1_0_3_line_4 |  | 3 | 4 | 0.014777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4024-1_0_3_line_5 |  | 4 | 30 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4024-1_0_3_line_6 |  | 4 | 31 | 0.024924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4024-1_0_3_line_7 |  | 5 | 6 | 0.016997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4024-1_0_3_line_8 |  | 5 | 7 | 0.021124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4024-1_0_3_line_9 |  | 6 | 8 | 0.014226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4024-1_0_3_line_10 |  | 7 | 9 | 0.0038734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4024-1_0_3_line_11 |  | 7 | 10 | 0.022558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4024-1_0_3_line_12 |  | 8 | 11 | 0.017597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4024-1_0_3_line_13 |  | 9 | 12 | 0.021654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4024-1_0_3_line_14 |  | 10 | 13 | 0.006366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4024-1_0_3_line_15 |  | 10 | 14 | 0.040276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4024-1_0_3_line_16 |  | 11 | 15 | 0.0062063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4024-1_0_3_line_17 |  | 12 | 16 | 0.01643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4024-1_0_3_line_18 |  | 13 | 17 | 0.00017055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4024-1_0_3_line_19 |  | 13 | 18 | 0.017958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4024-1_0_3_line_20 |  | 15 | 48 | 0.018742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4024-1_0_3_line_21 |  | 16 | 54 | 0.00083041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4024-1_0_3_line_22 |  | 17 | 57 | 0.038047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4024-1_0_3_line_23 |  | 18 | 56 | 0.022639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4024-1_0_3_line_24 |  | 19 | 20 | 0.053639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4024-1_0_3_line_25 |  | 20 | 21 | 0.043059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4024-1_0_3_line_26 |  | 21 | 25 | 0.050523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4024-1_0_3_line_27 |  | 21 | 26 | 0.019015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4024-1_0_3_line_28 |  | 22 | 23 | 0.027479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4024-1_0_3_line_29 |  | 22 | 24 | 0.042586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4024-1_0_3_line_30 |  | 23 | 27 | 0.078253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4024-1_0_3_line_31 |  | 23 | 28 | 0.053527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4024-1_0_3_line_32 |  | 24 | 25 | 0.05002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4024-1_0_3_line_33 |  | 26 | 29 | 0.012444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4024-1_0_3_line_34 |  | 27 | 43 | 0.0043757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4024-1_0_3_line_35 |  | 28 | 47 | 0.022791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4024-1_0_3_line_36 |  | 30 | 33 | 0.012346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4024-1_0_3_line_37 |  | 31 | 34 | 0.01188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4024-1_0_3_line_38 |  | 32 | 35 | 0.017809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4024-1_0_3_line_39 |  | 33 | 36 | 0.008759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4024-1_0_3_line_40 |  | 33 | 37 | 0.015761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4024-1_0_3_line_41 |  | 34 | 38 | 0.030541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4024-1_0_3_line_42 |  | 34 | 39 | 0.010946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4024-1_0_3_line_43 |  | 35 | 55 | 0.024746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4024-1_0_3_line_44 |  | 36 | 54 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4024-1_0_3_line_45 |  | 38 | 58 | 0.0037648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4024-1_0_3_line_46 |  | 39 | 59 | 0.018228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4024-1_0_3_line_47 |  | 40 | 41 | 0.017548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4024-1_0_3_line_48 |  | 40 | 42 | 0.021964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4024-1_0_3_line_49 |  | 42 | 64 | 0.0081982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4024-1_0_3_line_50 |  | 43 | 65 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4024-1_0_3_line_51 |  | 44 | 45 | 0.021007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4024-1_0_3_line_52 |  | 44 | 46 | 0.0072716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4024-1_0_3_line_53 |  | 45 | 53 | 0.0061429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4024-1_0_3_line_54 |  | 46 | 64 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4024-1_0_3_line_55 |  | 47 | 62 | 0.023207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4024-1_0_3_line_56 |  | 48 | 49 | 0.0020676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4024-1_0_3_line_57 |  | 49 | 50 | 0.025897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4024-1_0_3_line_58 |  | 50 | 51 | 0.01287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4024-1_0_3_line_59 |  | 51 | 52 | 0.011292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4024-1_0_3_line_60 |  | 51 | 53 | 0.022094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4024-1_0_3_line_61 |  | 52 | 60 | 0.00019121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4024-1_0_3_line_62 |  | 53 | 61 | 0.016974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4024-1_0_3_line_63 |  | 60 | 66 | 0.0062838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4024-1_0_3_line_64 |  | 62 | 63 | 0.023016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4024-1_0_3_line_65 |  | 65 | 67 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4024-1_0_3_line_66 |  | 66 | 67 | 0.013194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4024-1_0_3_trafo_5 | 0.63 MVA 20/0.4 kV | 68 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2660812.044 | 1257229.2505 | 2660762.8832 | 1257302.4734
1 | 2660812.044 | 1257229.2505 | 2660820.7735 | 1257220.7467
2 | 2660812.044 | 1257229.2505 | 2660800.4917 | 1257220.6065
3 | 2660823.3884 | 1257218.1993 | 2660820.7735 | 1257220.7467
4 | 2660788.66 | 1257211.7534 | 2660800.4917 | 1257220.6065
5 | 2660788.66 | 1257211.7534 | 2660777.622 | 1257203.492
6 | 2660788.66 | 1257211.7534 | 2660807.6735 | 1257195.6389
7 | 2660704.3833 | 1257175.0536 | 2660700.0496 | 1257181.156 | 2660695.2843 | 1257189.3884
8 | 2660716.614 | 1257157.8312 | 2660704.3833 | 1257175.0536
9 | 2660688.1574 | 1257201.7006 | 2660695.2843 | 1257189.3884
10 | 2660716.614 | 1257157.8312 | 2660719.715 | 1257160.1521
11 | 2660700.1992 | 1257142.3074 | 2660716.614 | 1257157.8312
12 | 2660688.1574 | 1257201.7006 | 2660687.0611 | 1257203.5945 | 2660680.2218 | 1257217.4022
13 | 2660737.051 | 1257173.127 | 2660719.715 | 1257160.1521
14 | 2660700.1992 | 1257142.3074 | 2660695.5691 | 1257137.9234
15 | 2660700.1992 | 1257142.3074 | 2660711.6625 | 1257129.6491 | 2660729.8055 | 1257115.1925
16 | 2660677.4671 | 1257222.9637 | 2660680.2218 | 1257217.4022
17 | 2660750.205 | 1257182.972 | 2660737.051 | 1257173.127
18 | 2660695.6996 | 1257137.8136 | 2660695.5691 | 1257137.9234
19 | 2660695.5691 | 1257137.9234 | 2660682.7043 | 1257150.4895
20 | 2660677.4671 | 1257222.9637 | 2660669.1482 | 1257239.7585
21 | 2660750.205 | 1257182.972 | 2660750.8698 | 1257183.4695
22 | 2660695.6996 | 1257137.8136 | 2660722.7004 | 1257115.0851 | 2660724.8271 | 1257113.3356
23 | 2660682.7043 | 1257150.4895 | 2660665.6507 | 1257135.5997
24 | 2660527.4185 | 1257181.8786 | 2660490.3001 | 1257220.6007
25 | 2660527.4185 | 1257181.8786 | 2660559.4794 | 1257210.7271
26 | 2660559.4794 | 1257210.7271 | 2660598.564 | 1257242.8833
27 | 2660559.4794 | 1257210.7271 | 2660555.2765 | 1257215.4319 | 2660543.789 | 1257217.2491 | 2660542.788 | 1257217.6442
28 | 2660537.2371 | 1257312.2726 | 2660539.4949 | 1257314.8976 | 2660540.9406 | 1257318.048 | 2660541.4787 | 1257321.467 | 2660541.0515 | 1257324.8985 | 2660539.6993 | 1257328.0869 | 2660543.9495 | 1257330.5433 | 2660548.5917 | 1257333.0147
29 | 2660537.2371 | 1257312.2726 | 2660565.4393 | 1257280.3627
30 | 2660548.5917 | 1257333.0147 | 2660555.3861 | 1257336.6312 | 2660561.2427 | 1257339.7934 | 2660581.1068 | 1257315.9238 | 2660588.4815 | 1257309.2612 | 2660603.2236 | 1257295.9357 | 2660603.9851 | 1257292.997
31 | 2660548.5917 | 1257333.0147 | 2660551.5785 | 1257328.5087 | 2660547.4992 | 1257324.086 | 2660545.4362 | 1257321.5742 | 2660544.8555 | 1257315.6863 | 2660545.7671 | 1257312.0819 | 2660547.1161 | 1257309.2047 | 2660557.0573 | 1257297.1088 | 2660563.8146 | 1257289.2237
32 | 2660598.564 | 1257242.8833 | 2660565.4393 | 1257280.3627
33 | 2660531.2136 | 1257222.213 | 2660542.788 | 1257217.6442
34 | 2660603.9851 | 1257292.997 | 2660605.0856 | 1257288.7619
35 | 2660563.8146 | 1257289.2237 | 2660578.6448 | 1257271.9184
36 | 2660767.7378 | 1257196.0942 | 2660777.622 | 1257203.492
37 | 2660816.7362 | 1257187.9579 | 2660807.6735 | 1257195.6389
38 | 2660823.3884 | 1257218.1993 | 2660836.1449 | 1257205.7723
39 | 2660767.7378 | 1257196.0942 | 2660760.7253 | 1257190.8458
40 | 2660767.7378 | 1257196.0942 | 2660779.7412 | 1257185.8796
41 | 2660816.7362 | 1257187.9579 | 2660816.7982 | 1257179.7304 | 2660814.6667 | 1257178.7523 | 2660802.3487 | 1257163.0367
42 | 2660816.7362 | 1257187.9579 | 2660825.1036 | 1257180.8721
43 | 2660836.1449 | 1257205.7723 | 2660853.8705 | 1257188.5048
44 | 2660750.8698 | 1257183.4695 | 2660760.7253 | 1257190.8458
45 | 2660802.3487 | 1257163.0367 | 2660805.2436 | 1257160.6299
46 | 2660825.1036 | 1257180.8721 | 2660839.0092 | 1257169.0869
47 | 2660625.5776 | 1257380.87 | 2660631.9897 | 1257390.8873 | 2660634.7736 | 1257395.8082
48 | 2660625.5776 | 1257380.87 | 2660632.5415 | 1257367.2093 | 2660633.433 | 1257360.6384
49 | 2660633.433 | 1257360.6384 | 2660634.5352 | 1257352.5147
50 | 2660612.9254 | 1257271.9931 | 2660608.1925 | 1257276.8062 | 2660605.0856 | 1257288.7619
51 | 2660639.1926 | 1257323.7239 | 2660642.6779 | 1257303.0085
52 | 2660639.1926 | 1257323.7239 | 2660637.9842 | 1257330.8943
53 | 2660643.6971 | 1257296.9508 | 2660642.6779 | 1257303.0085
54 | 2660637.9842 | 1257330.8943 | 2660635.339 | 1257346.5898 | 2660634.5352 | 1257352.5147
55 | 2660578.6448 | 1257271.9184 | 2660579.822 | 1257270.5447 | 2660594.0292 | 1257254.5442
56 | 2660668.2305 | 1257241.6113 | 2660669.1482 | 1257239.7585
57 | 2660668.2305 | 1257241.6113 | 2660661.5749 | 1257255.0482 | 2660656.2935 | 1257264.5858
58 | 2660650.0587 | 1257275.8452 | 2660656.2935 | 1257264.5858
59 | 2660650.0587 | 1257275.8452 | 2660642.0771 | 1257272.55 | 2660640.0637 | 1257270.8161
60 | 2660650.0587 | 1257275.8452 | 2660644.5641 | 1257291.8115 | 2660643.6971 | 1257296.9508
61 | 2660640.0637 | 1257270.8161 | 2660639.9188 | 1257270.6914
62 | 2660643.6971 | 1257296.9508 | 2660627.9043 | 1257303.1713
63 | 2660639.9188 | 1257270.6914 | 2660636.3144 | 1257267.5874 | 2660634.8974 | 1257267.0181
64 | 2660609.2239 | 1257237.2575 | 2660603.0197 | 1257244.4189 | 2660594.0292 | 1257254.5442
65 | 2660622.6547 | 1257262.0992 | 2660612.9254 | 1257271.9931
66 | 2660634.8974 | 1257267.0181 | 2660622.6547 | 1257262.0992 | 2660622.6547 | 1257262.0992

## bus_geodata
| x | y | coords
0 | 2660762.8832 | 1257302.4734
1 | 2660812.044 | 1257229.2505
2 | 2660820.7735 | 1257220.7467
3 | 2660800.4917 | 1257220.6065
4 | 2660788.66 | 1257211.7534
5 | 2660704.3833 | 1257175.0536
6 | 2660695.2843 | 1257189.3884
7 | 2660716.614 | 1257157.8312
8 | 2660688.1574 | 1257201.7006
9 | 2660719.715 | 1257160.1521
10 | 2660700.1992 | 1257142.3074
11 | 2660680.2218 | 1257217.4022
12 | 2660737.051 | 1257173.127
13 | 2660695.5691 | 1257137.9234
14 | 2660729.8055 | 1257115.1925
15 | 2660677.4671 | 1257222.9637
16 | 2660750.205 | 1257182.972
17 | 2660695.6996 | 1257137.8136
18 | 2660682.7043 | 1257150.4895
19 | 2660490.3001 | 1257220.6007
20 | 2660527.4185 | 1257181.8786
21 | 2660559.4794 | 1257210.7271
22 | 2660537.2371 | 1257312.2726
23 | 2660548.5917 | 1257333.0147
24 | 2660565.4393 | 1257280.3627
25 | 2660598.564 | 1257242.8833
26 | 2660542.788 | 1257217.6442
27 | 2660603.9851 | 1257292.997
28 | 2660563.8146 | 1257289.2237
29 | 2660531.2136 | 1257222.213
30 | 2660777.622 | 1257203.492
31 | 2660807.6734 | 1257195.6389
32 | 2660823.3884 | 1257218.1993
33 | 2660767.7378 | 1257196.0942
34 | 2660816.7362 | 1257187.9579
35 | 2660836.1449 | 1257205.7723
36 | 2660760.7253 | 1257190.8458
37 | 2660779.7412 | 1257185.8796
38 | 2660802.3487 | 1257163.0367
39 | 2660825.1036 | 1257180.8721
40 | 2660625.5776 | 1257380.87
41 | 2660634.7736 | 1257395.8082
42 | 2660633.433 | 1257360.6384
43 | 2660605.0856 | 1257288.7619
44 | 2660639.1926 | 1257323.7239
45 | 2660642.6779 | 1257303.0085
46 | 2660637.9842 | 1257330.8943
47 | 2660578.6448 | 1257271.9184
48 | 2660669.1482 | 1257239.7585
49 | 2660668.2305 | 1257241.6113
50 | 2660656.2935 | 1257264.5858
51 | 2660650.0587 | 1257275.8452
52 | 2660640.0637 | 1257270.8161
53 | 2660643.6971 | 1257296.9508
54 | 2660750.8698 | 1257183.4695
55 | 2660853.8705 | 1257188.5048
56 | 2660665.6507 | 1257135.5997
57 | 2660724.8271 | 1257113.3356
58 | 2660805.2436 | 1257160.6299
59 | 2660839.0092 | 1257169.0869
60 | 2660639.9188 | 1257270.6914
61 | 2660627.9043 | 1257303.1713
62 | 2660594.0292 | 1257254.5442
63 | 2660609.2239 | 1257237.2575
64 | 2660634.5352 | 1257352.5147
65 | 2660612.9254 | 1257271.9931
66 | 2660634.8974 | 1257267.0181
67 | 2660622.6547 | 1257262.0992
68 | 2660716.614 | 1257157.8312

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1