## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4032-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4032-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4032-4_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4032-4_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4032-4_0_5_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_4032-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4032-4_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4032-4_0_5_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_4032-4_0_5_node_97 | 0.4 | n |  | TRUE
9 | bus_LV_4032-4_0_5_node_102 | 0.4 | n |  | TRUE
10 | bus_LV_4032-4_0_5_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_4032-4_0_5_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_4032-4_0_5_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_4032-4_0_5_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_4032-4_0_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_4032-4_0_5_node_108 | 0.4 | n |  | TRUE
16 | bus_LV_4032-4_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_4032-4_0_5_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_4032-4_0_5_node_98 | 0.4 | n |  | TRUE
19 | bus_LV_4032-4_0_5_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_4032-4_0_5_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_4032-4_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_4032-4_0_5_node_104 | 0.4 | n |  | TRUE
23 | bus_LV_4032-4_0_5_node_101 | 0.4 | n |  | TRUE
24 | bus_LV_4032-4_0_5_node_99 | 0.4 | n |  | TRUE
25 | bus_LV_4032-4_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4032-4_0_5_node_106 | 0.4 | n |  | TRUE
27 | bus_LV_4032-4_0_5_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_4032-4_0_5_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_4032-4_0_5_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_4032-4_0_5_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_4032-4_0_5_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_4032-4_0_5_node_109 | 0.4 | n |  | TRUE
33 | bus_LV_4032-4_0_5_node_107 | 0.4 | n |  | TRUE
34 | bus_LV_4032-4_0_5_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_4032-4_0_5_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_4032-4_0_5_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_4032-4_0_5_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_4032-4_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4032-4_0_5_node_95 | 0.4 | n |  | TRUE
40 | bus_LV_4032-4_0_5_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_4032-4_0_5_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_4032-4_0_5_node_7 | 0.4 | n |  | TRUE
43 | bus_LV_4032-4_0_5_node_8 | 0.4 | n |  | TRUE
44 | bus_LV_4032-4_0_5_node_9 | 0.4 | n |  | TRUE
45 | bus_LV_4032-4_0_5_node_10 | 0.4 | n |  | TRUE
46 | bus_LV_4032-4_0_5_node_14 | 0.4 | n |  | TRUE
47 | bus_LV_4032-4_0_5_node_15 | 0.4 | n |  | TRUE
48 | bus_LV_4032-4_0_5_node_13 | 0.4 | n |  | TRUE
49 | bus_LV_4032-4_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4032-4_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4032-4_0_5_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_4032-4_0_5_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_4032-4_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_4032-4_0_5_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_4032-4_0_5_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_4032-4_0_5_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_4032-4_0_5_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_4032-4_0_5_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_4032-4_0_5_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_4032-4_0_5_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4032-4_0_5_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_4032-4_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_4032-4_0_5_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_4032-4_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_4032-4_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_4032-4_0_5_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_4032-4_0_5_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_4032-4_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_4032-4_0_5_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_4032-4_0_5_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_4032-4_0_5_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_4032-4_0_5_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_4032-4_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_4032-4_0_5_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_4032-4_0_5_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_4032-4_0_5_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_4032-4_0_5_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4032-4_0_5_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_4032-4_0_5_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_4032-4_0_5_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_4032-4_0_5_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_4032-4_0_5_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_4032-4_0_5_node_53 | 0.4 | n |  | TRUE
84 | bus_LV_4032-4_0_5_node_56 | 0.4 | n |  | TRUE
85 | bus_LV_4032-4_0_5_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_4032-4_0_5_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_4032-4_0_5_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_4032-4_0_5_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_4032-4_0_5_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_4032-4_0_5_node_65 | 0.4 | n |  | TRUE
91 | bus_LV_4032-4_0_5_node_66 | 0.4 | n |  | TRUE
92 | bus_LV_4032-4_0_5_node_68 | 0.4 | n |  | TRUE
93 | bus_LV_4032-4_0_5_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_4032-4_0_5_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_4032-4_0_5_node_72 | 0.4 | n |  | TRUE
96 | bus_LV_4032-4_0_5_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_4032-4_0_5_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_4032-4_0_5_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_4032-4_0_5_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_4032-4_0_5_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_4032-4_0_5_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_4032-4_0_5_node_87 | 0.4 | n |  | TRUE
103 | bus_LV_4032-4_0_5_node_86 | 0.4 | n |  | TRUE
104 | bus_LV_4032-4_0_5_node_88 | 0.4 | n |  | TRUE
105 | bus_LV_4032-4_0_5_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_4032-4_0_5_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_4032-4_0_5_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_4032-4_0_5_node_112 | 0.4 | n |  | TRUE
109 | bus_MV_423_1_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4032-4_0_5_load_0 | 0 | 0.042022 | 0.010532 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4032-4_0_5_load_5 | 5 | 0.0015307 | 0.00038362 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4032-4_0_5_load_6 | 6 | 0.0023604 | 0.00059158 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4032-4_0_5_load_97 | 8 | 0.0036387 | 0.00091195 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4032-4_0_5_load_102 | 9 | 0.0023223 | 0.00058201 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4032-4_0_5_load_96 | 12 | 0.0047195 | 0.0011828 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4032-4_0_5_load_108 | 15 | 0.0043298 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4032-4_0_5_load_98 | 18 | 0.0025885 | 0.00064874 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4032-4_0_5_load_104 | 22 | 0.00064509 | 0.00016167 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4032-4_0_5_load_101 | 23 | 0.0045436 | 0.0011387 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4032-4_0_5_load_99 | 24 | 0.0037736 | 0.00094576 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4032-4_0_5_load_106 | 26 | 0.0027915 | 0.0006996 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4032-4_0_5_load_105 | 27 | 0.097167 | 0.024352 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4032-4_0_5_load_59 | 29 | 0.0014912 | 0.00037373 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4032-4_0_5_load_107 | 33 | 0.0026702 | 0.0006692 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4032-4_0_5_load_16 | 34 | 0.0045887 | 0.00115 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4032-4_0_5_load_57 | 37 | 0.068878 | 0.017262 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4032-4_0_5_load_71 | 40 | 0.0026237 | 0.00065755 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4032-4_0_5_load_85 | 41 | 0.0028572 | 0.00071609 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4032-4_0_5_load_7 | 42 | 0.001726 | 0.00043257 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4032-4_0_5_load_8 | 43 | 0.0015439 | 0.00038693 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4032-4_0_5_load_14 | 46 | 0.0009324 | 0.00023368 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4032-4_0_5_load_15 | 47 | 0.0019892 | 0.00049855 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4032-4_0_5_load_13 | 48 | 0.0019553 | 0.00049005 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4032-4_0_5_load_36 | 49 | 0.0059486 | 0.0014908 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4032-4_0_5_load_39 | 50 | 0.0051497 | 0.0012906 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4032-4_0_5_load_114 | 51 | 0.0017219 | 0.00043154 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4032-4_0_5_load_37 | 52 | 0.0015076 | 0.00037784 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4032-4_0_5_load_40 | 53 | 0.0010924 | 0.00027377 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4032-4_0_5_load_113 | 54 | 0.0017208 | 0.00043128 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4032-4_0_5_load_82 | 56 | 0.0054135 | 0.0013567 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4032-4_0_5_load_33 | 57 | 0.004743 | 0.0011887 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4032-4_0_5_load_58 | 58 | 0.0013934 | 0.00034922 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4032-4_0_5_load_100 | 59 | 0.0037631 | 0.00094312 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4032-4_0_5_load_35 | 60 | 0.0030309 | 0.00075963 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4032-4_0_5_load_38 | 61 | 0.002536 | 0.00063559 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4032-4_0_5_load_41 | 62 | 0.0013135 | 0.00032919 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4032-4_0_5_load_48 | 63 | 0.0013999 | 0.00035084 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4032-4_0_5_load_49 | 64 | 0.0038979 | 0.00097691 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4032-4_0_5_load_42 | 65 | 0.0027232 | 0.0006825 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4032-4_0_5_load_43 | 66 | 0.0020889 | 0.00052354 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4032-4_0_5_load_45 | 68 | 0.0018997 | 0.00047612 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4032-4_0_5_load_46 | 69 | 0.0022945 | 0.00057505 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4032-4_0_5_load_55 | 70 | 0.0044263 | 0.0011093 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4032-4_0_5_load_80 | 71 | 0.0029054 | 0.00072815 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4032-4_0_5_load_54 | 73 | 0.0029481 | 0.00073886 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4032-4_0_5_load_51 | 74 | 0.0026622 | 0.00066722 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4032-4_0_5_load_81 | 75 | 0.0017219 | 0.00043154 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4032-4_0_5_load_69 | 77 | 0.0027529 | 0.00068994 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4032-4_0_5_load_52 | 78 | 0.0026622 | 0.00066722 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4032-4_0_5_load_50 | 79 | 0.0032862 | 0.00082361 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4032-4_0_5_load_77 | 81 | 0.0063343 | 0.0015875 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4032-4_0_5_load_78 | 82 | 0.0063335 | 0.0015873 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4032-4_0_5_load_53 | 83 | 0.0026655 | 0.00066804 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4032-4_0_5_load_56 | 84 | 0.0026622 | 0.00066722 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4032-4_0_5_load_63 | 86 | 0.0022102 | 0.00055392 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4032-4_0_5_load_92 | 87 | 0.002072 | 0.0005193 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4032-4_0_5_load_91 | 88 | 0.0033353 | 0.0008359 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4032-4_0_5_load_64 | 89 | 0.0029217 | 0.00073224 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4032-4_0_5_load_65 | 90 | 0.0021197 | 0.00053124 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4032-4_0_5_load_66 | 91 | 0.0023388 | 0.00058615 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4032-4_0_5_load_68 | 92 | 0.0020733 | 0.00051963 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4032-4_0_5_load_73 | 93 | 0.0018337 | 0.00045958 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4032-4_0_5_load_74 | 94 | 0.0024458 | 0.00061298 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4032-4_0_5_load_72 | 95 | 0.0030749 | 0.00077063 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4032-4_0_5_load_93 | 96 | 0.0024386 | 0.00061117 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4032-4_0_5_load_75 | 97 | 0.004546 | 0.0011393 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4032-4_0_5_load_84 | 99 | 0.0038879 | 0.00097441 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4032-4_0_5_load_90 | 101 | 0.0024722 | 0.0006196 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4032-4_0_5_load_87 | 102 | 0.0033972 | 0.00085143 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4032-4_0_5_load_86 | 103 | 0.005028 | 0.0012601 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4032-4_0_5_load_88 | 104 | 0.0029481 | 0.00073887 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4032-4_0_5_load_94 | 105 | 0.0022865 | 0.00057306 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4032-4_0_5_load_110 | 106 | 0.0017219 | 0.00043154 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4032-4_0_5_load_111 | 107 | 0.0017212 | 0.00043138 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4032-4_0_5_line_0 |  | 0 | 1 | 0.024858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4032-4_0_5_line_1 |  | 1 | 2 | 0.037406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4032-4_0_5_line_2 |  | 1 | 3 | 0.023091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4032-4_0_5_line_3 |  | 2 | 7 | 0.024653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4032-4_0_5_line_4 |  | 2 | 5 | 0.031508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4032-4_0_5_line_5 |  | 3 | 8 | 0.012015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4032-4_0_5_line_6 |  | 4 | 5 | 0.035969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4032-4_0_5_line_7 |  | 4 | 6 | 0.020277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4032-4_0_5_line_8 |  | 6 | 9 | 0.0027671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4032-4_0_5_line_9 |  | 7 | 10 | 0.023009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4032-4_0_5_line_10 |  | 7 | 11 | 0.022086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4032-4_0_5_line_11 |  | 7 | 12 | 0.057379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4032-4_0_5_line_12 |  | 10 | 22 | 0.03626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4032-4_0_5_line_13 |  | 10 | 17 | 0.01945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4032-4_0_5_line_14 |  | 11 | 23 | 0.033453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4032-4_0_5_line_15 |  | 11 | 24 | 0.02061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4032-4_0_5_line_16 |  | 12 | 35 | 0.053811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4032-4_0_5_line_17 |  | 13 | 14 | 0.029404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4032-4_0_5_line_18 |  | 13 | 15 | 0.0048433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4032-4_0_5_line_19 |  | 13 | 16 | 0.010022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4032-4_0_5_line_20 |  | 14 | 38 | 0.024908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4032-4_0_5_line_21 |  | 15 | 33 | 0.02322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4032-4_0_5_line_22 |  | 16 | 34 | 0.0052295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4032-4_0_5_line_23 |  | 16 | 28 | 0.008413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4032-4_0_5_line_24 |  | 17 | 18 | 0.012172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4032-4_0_5_line_25 |  | 19 | 20 | 0.07542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4032-4_0_5_line_26 |  | 19 | 21 | 0.036308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4032-4_0_5_line_27 |  | 20 | 27 | 0.022493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4032-4_0_5_line_28 |  | 20 | 25 | 0.030142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4032-4_0_5_line_29 |  | 21 | 35 | 0.008611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4032-4_0_5_line_30 |  | 21 | 36 | 0.0301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4032-4_0_5_line_31 |  | 21 | 37 | 0.028858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4032-4_0_5_line_32 |  | 24 | 59 | 0.0064831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4032-4_0_5_line_33 |  | 25 | 26 | 0.011794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4032-4_0_5_line_34 |  | 28 | 29 | 0.013164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4032-4_0_5_line_35 |  | 28 | 30 | 0.025049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4032-4_0_5_line_36 |  | 29 | 58 | 0.04112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4032-4_0_5_line_37 |  | 30 | 49 | 0.023212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4032-4_0_5_line_38 |  | 30 | 44 | 0.00983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4032-4_0_5_line_39 |  | 31 | 32 | 0.039108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4032-4_0_5_line_40 |  | 31 | 33 | 0.016951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4032-4_0_5_line_41 |  | 32 | 60 | 0.014144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4032-4_0_5_line_42 |  | 36 | 55 | 0.020792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4032-4_0_5_line_43 |  | 36 | 56 | 0.025232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4032-4_0_5_line_44 |  | 38 | 57 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4032-4_0_5_line_45 |  | 39 | 40 | 0.011199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4032-4_0_5_line_46 |  | 39 | 41 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4032-4_0_5_line_47 |  | 40 | 85 | 0.015731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4032-4_0_5_line_48 |  | 41 | 98 | 0.036963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4032-4_0_5_line_49 |  | 42 | 43 | 0.0079642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4032-4_0_5_line_50 |  | 42 | 44 | 0.03911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4032-4_0_5_line_51 |  | 43 | 45 | 0.031053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4032-4_0_5_line_52 |  | 45 | 46 | 0.011695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4032-4_0_5_line_53 |  | 45 | 47 | 0.034652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4032-4_0_5_line_54 |  | 45 | 48 | 0.019104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4032-4_0_5_line_55 |  | 46 | 50 | 0.011151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4032-4_0_5_line_56 |  | 47 | 51 | 0.014282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4032-4_0_5_line_57 |  | 49 | 52 | 0.010191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4032-4_0_5_line_58 |  | 50 | 53 | 0.025271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4032-4_0_5_line_59 |  | 51 | 54 | 0.0048931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4032-4_0_5_line_60 |  | 52 | 61 | 0.0088333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4032-4_0_5_line_61 |  | 53 | 62 | 0.013595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4032-4_0_5_line_62 |  | 54 | 108 | 0.0081706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4032-4_0_5_line_63 |  | 55 | 80 | 0.061773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_4032-4_0_5_line_64 |  | 62 | 63 | 0.024877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4032-4_0_5_line_65 |  | 63 | 64 | 0.01986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4032-4_0_5_line_66 |  | 64 | 79 | 0.0027446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4032-4_0_5_line_67 |  | 65 | 66 | 0.021316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4032-4_0_5_line_68 |  | 65 | 67 | 0.016596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4032-4_0_5_line_69 |  | 66 | 68 | 0.022677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4032-4_0_5_line_70 |  | 67 | 69 | 0.014842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4032-4_0_5_line_71 |  | 68 | 70 | 0.0073883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4032-4_0_5_line_72 |  | 69 | 71 | 0.021574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4032-4_0_5_line_73 |  | 70 | 75 | 0.0092154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4032-4_0_5_line_74 |  | 71 | 76 | 0.012158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4032-4_0_5_line_75 |  | 72 | 73 | 0.014918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4032-4_0_5_line_76 |  | 72 | 74 | 0.033128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4032-4_0_5_line_77 |  | 73 | 77 | 0.00054692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4032-4_0_5_line_78 |  | 74 | 78 | 0.021141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4032-4_0_5_line_79 |  | 76 | 81 | 0.021718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4032-4_0_5_line_80 |  | 76 | 90 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4032-4_0_5_line_81 |  | 77 | 85 | 0.044101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4032-4_0_5_line_82 |  | 78 | 83 | 0.019757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4032-4_0_5_line_83 |  | 79 | 80 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4032-4_0_5_line_84 |  | 80 | 81 | 0.022077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4032-4_0_5_line_85 |  | 80 | 82 | 0.040255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4032-4_0_5_line_86 |  | 82 | 98 | 0.019676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4032-4_0_5_line_87 |  | 83 | 84 | 0.019511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4032-4_0_5_line_88 |  | 85 | 95 | 0.018059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4032-4_0_5_line_89 |  | 86 | 87 | 0.018369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4032-4_0_5_line_90 |  | 87 | 88 | 0.015826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4032-4_0_5_line_91 |  | 88 | 96 | 0.02091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4032-4_0_5_line_92 |  | 89 | 90 | 0.0016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4032-4_0_5_line_93 |  | 89 | 91 | 0.020308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4032-4_0_5_line_94 |  | 91 | 92 | 0.0012818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4032-4_0_5_line_95 |  | 92 | 93 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4032-4_0_5_line_96 |  | 93 | 94 | 0.0011164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4032-4_0_5_line_97 |  | 94 | 97 | 0.0033188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4032-4_0_5_line_98 |  | 95 | 96 | 0.026211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4032-4_0_5_line_99 |  | 98 | 99 | 0.024969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4032-4_0_5_line_100 |  | 99 | 100 | 0.020017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4032-4_0_5_line_101 |  | 100 | 101 | 0.025171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4032-4_0_5_line_102 |  | 100 | 102 | 0.0045719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4032-4_0_5_line_103 |  | 101 | 105 | 0.011164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4032-4_0_5_line_104 |  | 102 | 103 | 0.020508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4032-4_0_5_line_105 |  | 103 | 104 | 0.002565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4032-4_0_5_line_106 |  | 106 | 107 | 0.0087786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4032-4_0_5_line_107 |  | 106 | 108 | 0.0067385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4032-4_0_5_trafo_61 | 0.63 MVA 20/0.4 kV | 109 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2660029.6456 | 1251494.2354 | 2660020.9544 | 1251487.9096 | 2660006.8471 | 1251487.7667
1 | 2660029.6456 | 1251494.2354 | 2660030.1648 | 1251531.6335
2 | 2660029.6456 | 1251494.2354 | 2660052.7942 | 1251493.5138
3 | 2660030.1648 | 1251531.6335 | 2660030.2068 | 1251534.9362 | 2660030.3377 | 1251556.2859
4 | 2660030.1648 | 1251531.6335 | 2659998.6612 | 1251531.1064
5 | 2660052.7942 | 1251493.5138 | 2660064.8018 | 1251493.1029
6 | 2659984.5055 | 1251508.8776 | 2659984.6904 | 1251530.8727 | 2659998.6612 | 1251531.1064
7 | 2659984.5055 | 1251508.8776 | 2659964.5233 | 1251505.433
8 | 2659961.7965 | 1251504.963 | 2659964.5233 | 1251505.433
9 | 2660007.2904 | 1251557.4645 | 2660030.3377 | 1251556.2859
10 | 2660030.3377 | 1251556.2859 | 2660030.3639 | 1251560.4001 | 2660043.7068 | 1251559.7793 | 2660043.9772 | 1251564.3852
11 | 2660030.3377 | 1251556.2859 | 2660083.3205 | 1251551.964 | 2660087.5289 | 1251551.6528
12 | 2660007.2904 | 1251557.4645 | 2659971.0834 | 1251559.4203
13 | 2659995.5279 | 1251566.7408 | 2659995.2863 | 1251562.2686 | 2660005.7913 | 1251561.6522 | 2660007.2904 | 1251557.4645
14 | 2660043.9772 | 1251564.3852 | 2660064.1576 | 1251563.8226 | 2660077.4216 | 1251563.9021
15 | 2660043.9772 | 1251564.3852 | 2660045.1868 | 1251584.9595
16 | 2660137.7246 | 1251539.9851 | 2660134.4626 | 1251544.5885 | 2660130.8949 | 1251547.332 | 2660124.9694 | 1251548.8841 | 2660087.5289 | 1251551.6528
17 | 2660281.9503 | 1251561.7096 | 2660281.7603 | 1251552.9348 | 2660302.388 | 1251552.9335
18 | 2660302.388 | 1251552.9335 | 2660307.2313 | 1251552.9314
19 | 2660302.388 | 1251552.9335 | 2660302.4521 | 1251547.3747 | 2660302.6937 | 1251542.9185
20 | 2660283.9028 | 1251586.4134 | 2660282.3556 | 1251580.4713 | 2660281.9503 | 1251561.7096
21 | 2660330.4518 | 1251552.9212 | 2660307.2313 | 1251552.9314
22 | 2660302.6937 | 1251542.9185 | 2660307.9228 | 1251542.9868
23 | 2660294.2566 | 1251542.8104 | 2660302.6937 | 1251542.9185
24 | 2659995.5279 | 1251566.7408 | 2659995.7126 | 1251570.1117 | 2660004.2624 | 1251572.1786
25 | 2660113.6331 | 1251610.5902 | 2660130.8603 | 1251619.8937 | 2660137.5836 | 1251610.3774 | 2660142.3781 | 1251599.0515 | 2660143.1173 | 1251589.43 | 2660142.4332 | 1251578.015 | 2660140.9904 | 1251573.6751 | 2660138.9898 | 1251567.7729
26 | 2660138.9898 | 1251567.7729 | 2660148.2298 | 1251567.5999 | 2660147.1635 | 1251554.4243 | 2660146.2317 | 1251545.8421 | 2660146.3375 | 1251540.6284
27 | 2660113.6331 | 1251610.5902 | 2660115.4839 | 1251588.1731
28 | 2660108.7475 | 1251639.8279 | 2660110.5222 | 1251615.9291 | 2660113.6331 | 1251610.5902
29 | 2660146.3375 | 1251540.6284 | 2660137.7246 | 1251539.9851
30 | 2660146.3375 | 1251540.6284 | 2660146.6702 | 1251524.2092 | 2660148.7095 | 1251510.6871
31 | 2660146.3375 | 1251540.6284 | 2660158.4431 | 1251540.7069 | 2660160.8557 | 1251543.9448 | 2660169.5489 | 1251546.3347 | 2660173.2397 | 1251546.58
32 | 2660045.5673 | 1251591.4314 | 2660045.1868 | 1251584.9595
33 | 2660108.7475 | 1251639.8279 | 2660098.7538 | 1251646.0899
34 | 2660294.2566 | 1251542.8104 | 2660281.0975 | 1251543.1532
35 | 2660293.8926 | 1251517.7669 | 2660294.2566 | 1251542.8104
36 | 2660281.0975 | 1251543.1532 | 2660246.9958 | 1251544.0418 | 2660239.9902 | 1251543.9194
37 | 2660293.8926 | 1251517.7669 | 2660270.6811 | 1251517.7385
38 | 2660293.5095 | 1251507.945 | 2660293.8926 | 1251517.7669
39 | 2660344.8839 | 1251591.9377 | 2660345.6456 | 1251583.106 | 2660347.4023 | 1251552.9138
40 | 2660347.4023 | 1251552.9138 | 2660330.4518 | 1251552.9212
41 | 2660344.8839 | 1251591.9377 | 2660330.7421 | 1251591.6724
42 | 2660151.8015 | 1251490.1263 | 2660150.5551 | 1251498.4083 | 2660148.7095 | 1251510.6871
43 | 2660148.7095 | 1251510.6871 | 2660173.9348 | 1251511.2703
44 | 2660283.9028 | 1251586.4134 | 2660271.2439 | 1251587.9055
45 | 2660051.8277 | 1251430.2596 | 2660040.6695 | 1251429.3004
46 | 2660051.8277 | 1251430.2596 | 2660067.5917 | 1251430.1369
47 | 2660024.9961 | 1251427.953 | 2660040.6695 | 1251429.3004
48 | 2660104.5531 | 1251429.8492 | 2660067.5917 | 1251430.1369
49 | 2660292.7891 | 1251468.842 | 2660292.6424 | 1251460.8791
50 | 2660293.5095 | 1251507.945 | 2660292.7891 | 1251468.842
51 | 2660292.0704 | 1251429.8311 | 2660292.6424 | 1251460.8791
52 | 2660292.0704 | 1251429.8311 | 2660280.376 | 1251429.9767
53 | 2660292.0704 | 1251429.8311 | 2660292.2417 | 1251412.9988 | 2660293.4384 | 1251397.7559 | 2660293.8616 | 1251395.2626
54 | 2660292.0704 | 1251429.8311 | 2660311.1708 | 1251430.1925
55 | 2660269.2254 | 1251430.1155 | 2660280.376 | 1251429.9767
56 | 2660296.3531 | 1251381.2031 | 2660296.0158 | 1251382.5715 | 2660293.8616 | 1251395.2626
57 | 2660270.6811 | 1251517.7385 | 2660260.4896 | 1251517.726
58 | 2660243.9565 | 1251430.4301 | 2660269.2254 | 1251430.1155
59 | 2660297.5243 | 1251376.4522 | 2660296.3531 | 1251381.2031
60 | 2660251.6563 | 1251517.7152 | 2660260.4896 | 1251517.726
61 | 2660243.9565 | 1251430.4301 | 2660239.4783 | 1251430.4858 | 2660230.3626 | 1251430.3864
62 | 2660299.4799 | 1251368.5191 | 2660297.5243 | 1251376.4522
63 | 2660151.8015 | 1251490.1263 | 2660164.4843 | 1251429.6681
64 | 2660230.3626 | 1251430.3864 | 2660205.4872 | 1251430.1152
65 | 2660185.6282 | 1251429.8987 | 2660205.4872 | 1251430.1152
66 | 2660182.8838 | 1251429.8688 | 2660185.6282 | 1251429.8987
67 | 2660206.7845 | 1251334.5572 | 2660185.5611 | 1251336.5399
68 | 2660169.0374 | 1251338.0835 | 2660185.5611 | 1251336.5399
69 | 2660206.7845 | 1251334.5572 | 2660229.3634 | 1251332.4479
70 | 2660169.0374 | 1251338.0835 | 2660170.167 | 1251352.8822
71 | 2660229.3634 | 1251332.4479 | 2660236.7198 | 1251331.7606
72 | 2660170.167 | 1251352.8822 | 2660171.6221 | 1251371.9446 | 2660171.71 | 1251374.3993
73 | 2660245.8952 | 1251330.9035 | 2660236.7198 | 1251331.7606
74 | 2660172.1455 | 1251386.549 | 2660171.71 | 1251374.3993
75 | 2660016.7243 | 1251369.0391 | 2660018.8929 | 1251383.7985
76 | 2660016.7243 | 1251369.0391 | 2660010.6648 | 1251366.6649 | 2659984.0484 | 1251367.0735
77 | 2660018.8929 | 1251383.7985 | 2660018.9724 | 1251384.3396
78 | 2659984.0484 | 1251367.0735 | 2659962.9096 | 1251367.398
79 | 2660172.1455 | 1251386.549 | 2660168.3463 | 1251407.9319
80 | 2660172.1455 | 1251386.549 | 2660186.0448 | 1251386.8655
81 | 2660024.9961 | 1251427.953 | 2660023.3221 | 1251406.9324 | 2660019.6546 | 1251388.9827 | 2660018.9724 | 1251384.3396
82 | 2659962.9096 | 1251367.398 | 2659953.0506 | 1251367.5493 | 2659943.1536 | 1251367.5072
83 | 2660164.4843 | 1251429.6681 | 2660182.8838 | 1251429.8688
84 | 2660164.4843 | 1251429.6681 | 2660168.3463 | 1251407.9319
85 | 2660164.4843 | 1251429.6681 | 2660124.2292 | 1251429.7898
86 | 2660104.5531 | 1251429.8492 | 2660124.2292 | 1251429.7898
87 | 2659923.6427 | 1251367.4242 | 2659943.1536 | 1251367.5072
88 | 2660024.9961 | 1251427.953 | 2660007.0006 | 1251426.4391
89 | 2659944.2244 | 1251422.1466 | 2659925.8592 | 1251421.7798
90 | 2659960.0457 | 1251422.4889 | 2659959.6351 | 1251422.4543 | 2659944.2244 | 1251422.1466
91 | 2659960.0457 | 1251422.4889 | 2659980.8818 | 1251424.2418
92 | 2660187.7296 | 1251386.9039 | 2660186.0448 | 1251386.8655
93 | 2660187.7296 | 1251386.9039 | 2660208.0322 | 1251387.3662
94 | 2660208.0322 | 1251387.3662 | 2660209.3136 | 1251387.3954
95 | 2660231.2041 | 1251387.8938 | 2660209.3136 | 1251387.3954
96 | 2660231.2041 | 1251387.8938 | 2660232.3203 | 1251387.9193
97 | 2660235.6383 | 1251387.9948 | 2660232.3203 | 1251387.9193
98 | 2659980.8818 | 1251424.2418 | 2660007.0006 | 1251426.4391
99 | 2660104.5531 | 1251429.8492 | 2660104.5844 | 1251404.88
100 | 2660104.6095 | 1251384.8627 | 2660104.5844 | 1251404.88
101 | 2660104.6095 | 1251384.8627 | 2660079.4511 | 1251385.6551
102 | 2660104.6095 | 1251384.8627 | 2660106.8989 | 1251380.9054
103 | 2660068.2928 | 1251386.0066 | 2660079.4511 | 1251385.6551
104 | 2660127.4064 | 1251380.9616 | 2660106.8989 | 1251380.9054
105 | 2660127.4064 | 1251380.9616 | 2660129.9713 | 1251380.9686
106 | 2660301.9071 | 1251362.2329 | 2660305.0692 | 1251354.0436
107 | 2660299.4799 | 1251368.5191 | 2660301.9071 | 1251362.2329

## bus_geodata
| x | y | coords
0 | 2660006.8471 | 1251487.7667
1 | 2660029.6456 | 1251494.2354
2 | 2660030.1648 | 1251531.6335
3 | 2660052.7942 | 1251493.5138
4 | 2659984.5055 | 1251508.8776
5 | 2659998.6612 | 1251531.1064
6 | 2659964.5233 | 1251505.433
7 | 2660030.3377 | 1251556.2859
8 | 2660064.8018 | 1251493.1029
9 | 2659961.7965 | 1251504.963
10 | 2660007.2904 | 1251557.4645
11 | 2660043.9772 | 1251564.3852
12 | 2660087.5289 | 1251551.6528
13 | 2660302.388 | 1251552.9335
14 | 2660281.9503 | 1251561.7096
15 | 2660307.2313 | 1251552.9314
16 | 2660302.6937 | 1251542.9185
17 | 2659995.5279 | 1251566.7408
18 | 2660004.2624 | 1251572.1786
19 | 2660138.9898 | 1251567.7729
20 | 2660113.6331 | 1251610.5902
21 | 2660146.3375 | 1251540.6284
22 | 2659971.0834 | 1251559.4203
23 | 2660077.4216 | 1251563.9021
24 | 2660045.1868 | 1251584.9595
25 | 2660108.7475 | 1251639.8278
26 | 2660098.7538 | 1251646.0899
27 | 2660115.4839 | 1251588.1731
28 | 2660294.2566 | 1251542.8104
29 | 2660281.0975 | 1251543.1532
30 | 2660293.8926 | 1251517.7669
31 | 2660347.4023 | 1251552.9138
32 | 2660344.8839 | 1251591.9377
33 | 2660330.4518 | 1251552.9212
34 | 2660307.9228 | 1251542.9868
35 | 2660137.7246 | 1251539.9851
36 | 2660148.7095 | 1251510.6871
37 | 2660173.2397 | 1251546.58
38 | 2660283.9028 | 1251586.4134
39 | 2660051.8277 | 1251430.2596
40 | 2660040.6695 | 1251429.3004
41 | 2660067.5917 | 1251430.1369
42 | 2660292.7891 | 1251468.842
43 | 2660292.6424 | 1251460.8791
44 | 2660293.5095 | 1251507.945
45 | 2660292.0704 | 1251429.8311
46 | 2660280.376 | 1251429.9767
47 | 2660293.8616 | 1251395.2626
48 | 2660311.1708 | 1251430.1925
49 | 2660270.6811 | 1251517.7385
50 | 2660269.2254 | 1251430.1155
51 | 2660296.3531 | 1251381.2031
52 | 2660260.4896 | 1251517.726
53 | 2660243.9565 | 1251430.4301
54 | 2660297.5243 | 1251376.4522
55 | 2660151.8015 | 1251490.1263
56 | 2660173.9348 | 1251511.2703
57 | 2660271.2439 | 1251587.9055
58 | 2660239.9902 | 1251543.9194
59 | 2660045.5673 | 1251591.4314
60 | 2660330.7421 | 1251591.6724
61 | 2660251.6563 | 1251517.7152
62 | 2660230.3626 | 1251430.3864
63 | 2660205.4872 | 1251430.1152
64 | 2660185.6282 | 1251429.8987
65 | 2660185.5611 | 1251336.5399
66 | 2660206.7845 | 1251334.5572
67 | 2660169.0374 | 1251338.0835
68 | 2660229.3634 | 1251332.4479
69 | 2660170.167 | 1251352.8822
70 | 2660236.7198 | 1251331.7606
71 | 2660171.71 | 1251374.3993
72 | 2660016.7243 | 1251369.0391
73 | 2660018.8929 | 1251383.7985
74 | 2659984.0484 | 1251367.0735
75 | 2660245.8952 | 1251330.9035
76 | 2660172.1455 | 1251386.549
77 | 2660018.9724 | 1251384.3396
78 | 2659962.9096 | 1251367.398
79 | 2660182.8838 | 1251429.8688
80 | 2660164.4843 | 1251429.6681
81 | 2660168.3463 | 1251407.9319
82 | 2660124.2292 | 1251429.7898
83 | 2659943.1536 | 1251367.5072
84 | 2659923.6427 | 1251367.4242
85 | 2660024.9961 | 1251427.953
86 | 2659925.8592 | 1251421.7798
87 | 2659944.2244 | 1251422.1466
88 | 2659960.0457 | 1251422.4889
89 | 2660187.7296 | 1251386.9039
90 | 2660186.0448 | 1251386.8655
91 | 2660208.0322 | 1251387.3662
92 | 2660209.3136 | 1251387.3954
93 | 2660231.2041 | 1251387.8938
94 | 2660232.3203 | 1251387.9193
95 | 2660007.0006 | 1251426.4391
96 | 2659980.8818 | 1251424.2418
97 | 2660235.6383 | 1251387.9948
98 | 2660104.5531 | 1251429.8492
99 | 2660104.5844 | 1251404.88
100 | 2660104.6095 | 1251384.8627
101 | 2660079.4511 | 1251385.6551
102 | 2660106.8989 | 1251380.9054
103 | 2660127.4064 | 1251380.9616
104 | 2660129.9713 | 1251380.9686
105 | 2660068.2928 | 1251386.0066
106 | 2660301.9071 | 1251362.2329
107 | 2660305.0692 | 1251354.0436
108 | 2660299.4799 | 1251368.5191
109 | 2660150.5551 | 1251498.4083

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1